INDEX OF NITS REQUIREMENTS

001-101
NETWORK INTEGRATION SERVICE – GENERAL REQUIREMENTS

001-101.11
Designation and Re-designation of Network Resource Information Requirements:
001-101.13
Designation Of Network Load Information Requirements
001-101.14
Network Transmission Commitment Information Requirements

001-101.15
Generation Information Requirements

001-101.16
Transmission Customers’ System Information Requirements

001-101.17
Transmission Customer Description Information Requirements

001-101.18
Agent Information Requirements
001-102
NETWORK INTEGRATION TRANSMISSION SERVICE – APPLICATION

001-102.1 
Submission of NITS Application 

001-102.2
Initial Review of NITS Application

001-102.3
Invalid NITS Application

001-102.4
Deficient NITS Application
001-102.5
Completed NITS Application

001-103
NETWORK INTEGRATION SERVICE – EVALUATION OF NITS APPLICATION

001-103.1
Review of  Completed NITS Application

001-103.2
Study of NITS Application
001-103.3
Declining a NITS Application
001-103.4
Refusal of Completed NITS Application

001-103.5
Counteroffer to NITS Application
001-103.6
Acceptance of NITS Application
001-103.7
Changes to NITS Application

001-103.8
Customer Actions

001-103.9
Final Disposition of NITS Application

001-104
NETWORK INTEGRATION SERVICE – ADMINISTRATIVE CHANGES

001-105
NETWORK INTEGRATION SERVICE – MODIFICATION TO SERVICE

001-105.1
General Requirements 
001-105.2
Designation of New Network Resource 
001-105.2.1
Submission of Request for Designation of New Network Resource

001-105.2.2
Initial Review of Request for Designation of New Network Resource
001-105.2.3
Invalid Request for Designation of New Network Resource

001-105.2.4
Deficient Request for Designation of New Network Resource
001-105.2.5
Completed Request for Designation of New Network Resource

001-105.2.6
Review of Completed Request for Designation of New Network Resource

001-105.2.7
Study of Request for Designation of New Network Resource

001-105.2.8
Declining a Request for Designation of New Network Resource

001-105.2.9
Refusal of Request for Designation of New Network Resource
001-105.2.10
Counteroffer to Request for Designation of New Network Resource
001-105.2.11
Acceptance of Request for Designation of New Network Resource
001-105.2.12
Changes to Request for Designation of New Network Resource
001-105.2.13
Customer Actions
001-105.2.14
Final Disposition of Request for Designation of New Network Resource

001-105.3     Temporary Termination (Undesignation) of Network Resource

001-105.3.1
Request for Temporary Undesignation (Termination) of Network Resource
001-105.3.2
Submission of Request for Temporary Undesignation of Network Resource with Redesignation of the Same Network Resource
001-105.3.3
Initial Review of Request for Temporary Undesignation of Network Resource with Redesignation of the Same Network Resource

001-105.3.4
Invalid Request for Temporary Undesignation of Network Resource with Redesignation of the Same Network Resource
001-105.3.5
Deficient Request for Temporary Undesignation of Network Resource with Redesignation of the Same Network Resource 

001-105.3.6
Completed Request for Temporary Undesignation of Network Resource with Redesignation of the Same Network Resource
001-105.3.7
Acceptance of Request for Temporary Undesignation of Network Resource with Redesignation of the Same Network Resource
001-105.3.8
Customer Actions
001-105.3.9
Final Disposition of Request for Temporary Undesignation of Network Resource with Redesignation of the Same Network Resource
001-105.4
Permanent Termination (Undesignation) of Network Resource

001-105.4.1
Request for Permanent Undesignation (Termination) of  Network Resource

001-105.4.2
Submission of Request for Permanent Undesignation of Network Resource

001-105.4.3
Initial Review of Request for Permanent Undesignation of Network Resource
001-105.4.4
Invalid Request for Permanent Undesignation of Network Resource

001-105.4.5
Acceptance of Request for Permanent Undesignation of Network Resource
001-105.4.6
Customer Actions
001-105.4.7
Final Disposition of Request for Permanent Undesignation of Network Resource

001-105.5
Designation of New Network Load
001-105.5.1
Request for Designation of New Network Load 

001-105.5.2
Submission of Request for Designation of New Network Load

001-105.5.3
Initial Review of Request for Designation of New Network Load
001-105.5.4
Invalid Request for Designation of New Network Load

001-105.5.5
Deficient Request for Designation of New Network Load
001-105.5.6
Completed Request for Designation of New Network Load

001-105.5.7
Review of Completed Request for Designation of New Network Load

001-105.5.8
Study of Request for Designation of New Network Load

001-105.5.9
Declining Request for Designation of New Network Load

001-105.5.10
Refusal of Request for Designation of New Network Load

001-105.5.11
Acceptance of Request for Designation of New Network Load

001-105.5.12
Changes to Request for Designation of New Network Load

001-105.5.13
Customer Actions
001-105.5.14
Final Disposition of Request for Designation of New Network Load


001-105.6         Termination (Undesignation) of Network Load

001-105.6.1
Submission of Request for Permanent Undesignation of Network Load

001-105.6.2
Initial Review of Request for Permanent Undesignation of Network Load
001-105.6.3
Invalid Request for Permanent Undesignation of Network Load

001-105.6.4
Acceptance of Request for Permanent Undesignation of Network Load
001-105.6.5
Customer Actions
001-105.6.6
Final Disposition of Request for Permanent Undesignation of Network Load

001-105.7
Network Scheduling Rights (NSR)

001-105.8
Requirements for Dealing with Requests to Deliver Energy to Network Loads from Non-Designated Resources
001-106
NETWORK INTEGRATION SERVICE – CONCOMITANT REQUESTS ON A SINGLE TRANSMISSION PROVIDER SYSTEM

001-107
NETWORK INTEGRATION SERVICE – ANNUAL UPDATES

001-108
NETWORK INTEGRATION SERVICE – RENEWAL OF SERVICE (or ROLLOVER RIGHTS) 
001-109
NETWORK INTEGRATION SERVICE – TRANSFERS, AGGREGATION, DISAGGREGATION 

001-109.1
Rights Conveyed
001-109.2
Financial Obligations
001-109.3
Service Attributes and Timing
001-109.4
Quantity
001-109.5
Posting on OASIS
NYISO, et al comment:  On the cover/first page of this recommendation, there are references to three Request Numbers.  Each of them are specific items in the 2009 Annual Plan.   Specific to the reference, 2009 Annual Plan item 3(b)(i)(1), is this item correctly included in this Recommendation as it is specific to PKI certification which this draft does not address? 

Southern Comment:  Regarding Section 3 of the Recommendation (RECOMMENDATION, RECOMMENDED STANDARDS): Verify that 890-C included findings on this issue.  If so, add to Support Documentation and Summary.  If not, then remove.

NOTE: Combined comments related to definitions have not been included in this document.
001-101
NETWORK INTEGRATION SERVICE – GENERAL REQUIREMENTS

The following practices are defined in order to enhance consistency of the application process across OASIS Phase IA nodes.

001-101.1
Arrangement of NITS, both the NITS Application and any subsequent modifications of service, shall be supported on OASIS as specified in the technical requirements of WEQ Standards WEQ-002, WEQ-003 and WEQ-013. 
001-101.2
OASIS shall support the capability for the Transmission Customer to submit the information required for the arrangement of NITS through multiple requests that together represent the service being requested.  This shall include multiple requests submitted as part of a NITS Application, as well as multiple requests submitted as a modification of service (including concomitant evaluations).
001-101.3
All requests for NITS and the current status of those requests shall be posted on OASIS using the defined values for STATUS as set forth in the WEQ-013 Business Practice Requirements for NITS.  
001-101.4
The Transmission Provider may opt to input information into OASIS on behalf of a Network Customer at the request of the Network Customer.  In such instances, the Transmission Provider must have a posted business practice that addresses the circumstances under which the Transmission Provider will input such information. 
001- 101.5
The Transmission Provider shall provide the capability on OASIS for the Network Customer to enter, save, and revise information prior to the submittal of the NITS Application or modifications of service to the Transmission Provider (i.e., a pre-submittal workspace shall be available for the Network Customer to develop an Application over time). 
001-101.5.1
OASIS shall restrict access to and viewing of all information associated with this pre-submittal workspace to only the Network Customer and the Transmission Provider.  
001-101.5.2
OASIS shall have the functionality such that an Eligible Customer may replicate all or a portion of an existing Application into a pre-submittal workspace for use in a subsequent NITS Application or modifications of service.

001-101.5.3
Audit and data retention requirements set forth in 18 CFR 37.6 and 37.7 are not applicable to the information in this pre-submittal workspace. 
001-101.5.3.1
The Transmission Provider may remove information in the pre-submittal workspace once the NITS Application has been submitted. 

001-101.5.3.2
If submission of the NITS Application has not occurred within 6 months of the time of the last update, the Transmission Provider may remove the NITS Application and all associated information from the pre-submittal workspace, unless the Eligible Customer has requested a longer retention period.
001- 101.6
OASIS shall have upload functionality such that an Eligible Customer may, as an alternative to entering the information directly on OASIS, complete the application off OASIS and upload the NITS Application to OASIS for additional modifications or for submittal of the Application to the Transmission Provider. 
.001- 101.7
Any required information, including deposits, which can not be supplied electronically through OASIS shall be provided to the Transmission Provider by some other method. 

001-101.8
The Transmission Provider will evaluate all NITS related requests consistent with the Transmission Provider’s business practice(s) and OATT. 
001-101.9
Consistent with the requirements in Standard WEQ-013-x, Transmission 
Providers are required to post a reason for certain STATUS changes.
001-101.10
The Eligible Customer shall have the ability to remove any NITS Application or request for modification of service from further consideration by setting that request’s status to WITHDRAWN at any time prior to confirmation.
001-101.11
Designation and Re-designation of Network Resource Information Requirements:
001-101.11.1
For off-system Network Customer-owned generation, the Network Customer should use the TSIN-registered source name if available. If not available, the Network Customer should use a Transmission Provider-approved (the Transmission Provider providing this network service) name which could later be modified to reflect the TSIN-registered name (after the initial submission, but prior to confirmation of the DNR). 
001-101.11.2
For off-system Network Customer-owned generation, the electrical location will be identified by the BAA where the generation is electrically located and the geographical location will be identified by the county and state. 
001-101.11.3
For on-system Network Customer-owned generation, the Network Customer should use the TSIN-registered source name if available. If not available, the Network Customer should use a Transmission Provider-approved (the Transmission Provider providing this network service) name which could later be modified to reflect the TSIN-registered name (after the initial submission, but prior to confirmation of the DNR). 
001-101.11.4
For on-system Network Customer-owned generation, the electrical location will be identified by the BAA where the generation is electrically located and the geographical location will be identified by the county and state. 
001-101.11.5
For off-system purchased power, the electrical location is the point of receipt (on the Transmission Provider’s system referenced in the Customer’s Application or request for modification of NITS) and the geographical location is “not applicable”. 
001-101.11.6
For on-system purchased power, the electrical location is the point of receipt (on the Transmission Provider’s system referenced in the Customer’s Application or request for modification of NITS) and the geographical location is “not applicable”. 

001-101.12
Pre-confirmation has no effect on the priority of a NITS Application or modification of network service.
001-101.13
Designation Of Network Load Information Requirements
001-101.14
Network Transmission Commitment Information Requirements
001-101.15
Generation Information Requirements
001-101.16
Transmission Customers’ System Information Requirements
001-101.17
Transmission Customer Description Information Requirements
001-101.18
Agent Information Requirements
The NAESB OASIS Implementation Guide (Standard WEQ-013) provides a process state diagram to define the Transmission Customer and Transmission Provider interactions for negotiating transmission service.  This diagram defines allowable steps in the reservation request, negotiation, approval confirmation and post-confirmation processes.
PRS Comment: Add additional stuff here that applies to things as a whole or just concepts in general related to NITS.
MO Comment: I have not attempted to rework the following 001-102 standards to be consistent with the agreed-to state table. I think that changes will be needed.

001-102
NETWORK INTEGRATION TRANSMISSION SERVICE – APPLICATION

001- 102.1 
Submission of NITS Application 

001- 102.1.1 
An Eligible Customer shall submit, or arrange for the submittal of, the NITS Application on the Transmission Provider’s OASIS in accordance with the technical requirements of WEQ Standards WEQ-002, WEQ-003 and WEQ-013. 
001-102.1.1.1
OASIS shall assign a unique identifier in association with each NITS Application.  
001-102.1.1.2
An Eligible Customer may enter and update information on OASIS in association with a NITS Application prior to submission to the Transmission Provider by setting the status of the request for modification to service to PENDING. 
001-102.1.1.2.1
All related information (e.g., load forecasts, resource designations, etc.) associated with such a PENDING NITS Application (whether such information is submitted electronically or by other means) shall not be considered submitted until the NITS Application is submitted in its entirety.  
001- 102.1.2
The Transmission Provider shall specify, through the posting of a business practice, the minimum information required for a NITS Application. 
001- 102.1.3
The Eligible Customer shall indicate to the Transmission Provider that the NITS Application is ready for Transmission Provider review by submitting the the NITS Application on OASIS.  

001-102.1.3.1
OASIS shall set the queue time for the the NITS Application to the time that the Eligible Customer submits the the NITS Application, which shall set the status of the NITS Application to QUEUED.
001-102.1.3.2
The Transmission Provider shall acknowledge the queued NITS Application  by setting the status of the NITS Application to RECEIVED.

001-102.2
Initial Review of NITS Application

001- 102.2.1
The Transmission Provider shall review the received NITS Application to determine if the NITS Application: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; and (2) is complete consistent with the Transmission Provider’s tariff requirements.
001- 102.2.2
The Transmission Provider shall respond to a NITS Application by setting the status to one of the following:

I.
INVALID 
II.
DEFICIENT 
III.
COMPLETED 
001-102.3
Invalid NITS Application

001-102.3.1
If the minimum required information, as specified in the Transmission Provider’s posted business practice, is not provided, the Transmission Provider shall set the status of the NITS Application to INVALID and the NITS Application shall be deemed withdrawn.

001-102.3.2
In response to a state of INVALID, the Eligible Customer may submit a new or revised NITS Application, which will be assigned a new unique identifier in association with such NITS Application and a new queue time.   
001-102.4
Deficient NITS Application
001-102.4.1
For each portion of information required in a NITS Application that has not been deemed invalid, the Transmission Provider shall determine if such portion can be deemed sufficient and, if so, shall set the status of such portion to COMPLETED or, if not, shall set the status of such portion as DEFICIENT. 

001-102.4.2
If the Transmission Provider determines that any portion of the NITS Application is DEFICIENT, the Transmission Provider shall set the overall status of the NITS Application to DEFICIENT and begin informal communications with the Eligible Customer to resolve those deficiencies. 

001-102.4.3
The Eligible Customer shall remedy the deficiency and shall set that portion’s status to REEVALUATE. Once all deficiencies have been remedied, the Eligible Customer shall set the status of the overall NITS Application to REEVALUATE.
001-102.4.4
Upon notification that the Eligible Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:

001-102.4.4.1
If the information provided for any portion identified as deficient fails to remedy that deficiency, the Transmission Provider shall set the status for that portion of the NITS Application to DEFICIENT.

001-102.4.4.2
If the information provided for any portion identified as deficient remedies that deficiency, the Transmission Provider shall set the status for that portion of the NITS Application to COMPLETED.

001-102.4.4.3
If the information provided for any portion of the NITS Application is deemed by the Transmission Provider to be a significant change to the overall NITS Application, the Transmission Provider shall set the status of the overall NITS Application to DECLINED.

001-102.4.5
If the Eligible Customer fails to respond to the Transmission Provider’s notice of a DEFICIENT NITS Application, or fails to remedy the deficiency to the Transmission Provider’s satisfaction in a timely manner, the Transmission Provider shall set the status of the overall NITS Application to DECLINED.

001-102.4.6
If the Eligible Customer fails to provide the necessary credit or deposit information in a timely manner, the Transmission Provider may respond by setting the status of the overall NITS Application to DECLINED.
001-102.4.7
In response to a state of DECLINED, the Eligible Customer may submit a new or revised NITS Application, which will be assigned a new unique identifier in association with such NITS Application and a new queue time.  

001-102.4.8
When the Transmission Provider determines that all deficiencies have been remedied and all portions of the NITS Application have been identified as COMPLETED, the Transmission Provider shall continuing processing the NITS Application in accordance with the Business Practice Standards for a Completed NITS Application.
001-102.5
Completed NITS Application

001-102.5.1
When the Transmission Provider has reviewed the entire NITS Application for completeness and all portions associated with the NITS Application have been designated as COMPLETED, the Transmission Provider shall indicate that the NITS Application is deemed complete by setting the status of the overall NITS Application to COMPLETED.

001-102.5.2
OASIS shall set the queue time of all COMPLETED portions associated with the COMPLETED NITS Application to be equal to the queue time established on the initial submission of the NITS Application.

001-102.5.3
The COMPLETED NITS Application and set of associated COMPLETED portions shall constitute the entire initial NITS Application to be considered and evaluated further for granting of service by the Transmission Provider.
NOTE:  Include Ancillary Service requests

Note:  In giving the “reason for denial” there is a need to be sensitive to the insufficient credit or deposit denial information posted publicly on OASIS

Note: These state changes require dynamic notification to the Network Customer if the Network Customer has requested dynamic notification on OASIS. Include a section in NITS 001 consistent with current language in 001-4.18 and ensure 002-4.2.10.3 is either duplicated or referenced as applicable.
Note:  In WEQ-002 allow for customer to electronically link certain application information through OASIS.
Need to address in various sections of the standards:  OATi informal comment:  This set of standards are titled to apply to NTCs, DNRs, and DNLs.  The OS has no doubt discussed these concepts at length, but there really appears to be some concepts that may not apply to each of these requests.  For instance, in a NITS application, can the TP exclude portions of load (partial DNL)?  Does a TC really apply for a NTC?  It would seem much more likely that a customer requests the Designation of a Network Resource (DNR) and the NTC needed to support delivery of that DNR to load is an outcome of the assessment/study of the DNR.  If the TP can’t grant a NTC is there, or can there really be, a DNR anymore?? I would also doubt the TC can control the flow of electrons such that for a given resource and load they can use one path versus another in most circumstances; maybe an east vs. west variant.  At best, information related to a NTC in support of a DNR would be dependent on and subordinate to the DNR itself.  This relationship is not clear as written.

001-103
NETWORK INTEGRATION SERVICE – EVALUATION OF NITS APPLICATION

001-103.1
Review of  Completed NITS Application

001- 103.1.1
Once the Transmission Provider has set the status of the NITS Application to COMPLETED, the Transmission Provider shall change the status of the overall NITS Application to one of the following to indicate its evaluation of the NITS Application:
I.
STUDY

II.
DECLINED

III.
REFUSED 

IV.
COUNTEROFFER

V.
ACCEPTED 

001-103.2
Study of NITS Application
001-103.2.1 
If the Transmission Provider determines that some level of study is required or is being performed, the Transmission Provider shall set the status of the overall NITS Application to STUDY.

001-103.2.2
The Transmission Provider may update the status of any portion of the NITS Application, as appropriate.

001-103.2.3
From the status of STUDY, the Transmission Provider shall set the status of the overall NITS Application to DECLINED, REFUSED, COUNTEROFFER, or ACCEPTED.

001-103.3
Declining a NITS Application
001-103.3.1
If at any time in the evaluation of the NITS Application or conduct of any associated study(ies) the Transmission Provider determines that the Eligible Customer has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.), the Transmission Provider shall set the status of the overall NITS Application to DECLINED.

001-103.3.2
In response to a state of DECLINED, the Eligible Customer may submit a new or revised NITS Application, which will be assigned a new unique identifier in association with such NITS Application and a new queue time.   

001-103.4
Refusal of Completed NITS Application

001-103.4.1
If at any time in the evaluation of the NITS Application or conduct of any associated study(ies) the Transmission Provider determines that the requested service cannot be provided due to insufficient transfer capability consistent with the Transmission Provider’s OATT requirements, the Transmission Provider may set the status of the overall NITS Application to REFUSED.

001-103.4.2
In response to a state of REFUSED, the Eligible Customer may submit a new or revised NITS Application, which will be assigned a new unique identifier in association with such NITS Application and a new queue time.  

001-103.5
Counteroffer to NITS Application
001-103.5.1
When, in the evaluation of the NITS Application or on completion of any applicable study(ies), and, where appropriate, through informal communication with the Eligible Customer, the Transmission Provider determines that the requested transmission service may only be granted in part or subject to modification to the NITS Application, the Transmission Provider shall set the status of the overall NITS Application to COUNTEROFFER.

001-103.5.2
Prior to setting the status of the overall NITS Application to COUNTEROFFER, the Transmission Provider shall update the status associated with each portion of the Completed Application as follows:

001-103.5.2.1
The status of any portion of the NITS Application that will not be granted shall be set to the appropriate final state.

001-103.5.2.2
The status of any portion of the NITS Application that is to be granted as specified in the NITS Application shall be set to ACCEPTED.

001-103.5.2.3
The status of any portion of the NITS Application that is to be granted but at a reduced capacity or subject to other modification from that specified in the NITS Application shall be set to COUNTEROFFER.

001-103.6
Acceptance of NITS Application
001-103.6.1
When, in the evaluation of the NITS Application or on completion of any applicable study(ies), and, where appropriate, through informal communication with the Eligible Customer, the Transmission Provider determines that the requested transmission service may be granted, the Transmission Provider shall set the status of the overall NITS Application to ACCEPTED.

001-103.6.2
Prior to setting the status of the overall NITS Application to ACCEPTED, the Transmission Provider shall update the status associated with each portion of the NITS Application to ACCEPTED.

001-103.7
Changes to NITS Application

001-103.7.1
Based on the evaluation results and informal communications between the Transmission Provider and the Eligible Customer, the Eligible Customer may submit a request to change the completed NITS Application while the overall NITS Application is under evaluation with a status of either COMPLETED or STUDY. These changes may include updates to existing portions, withdrawal of certain portions and/or submission of additional portions of information to be incorporated into the NITS Application.

001-103.7.1.1
Any request submitted by the Eligible Customer associated with a NITS Application where the overall NITS Application status is ACCEPTED or COUNTEROFFER shall be deemed a request for modifications to service and held for later evaluation until the overall NITS Application is set to a final state.

001-103.7.1.2
Any request submitted by the Eligible Customer associated with a NITS Application where the overall NITS Application status is CONFIRMED shall be treated as a request for modifications to service and processed in accordance with the applicable Business Practice Standards.
001-103.7.1.3
Any request submitted by the Eligible Customer associated with a NITS Application where the overall NITS Application status is in any final state shall be deemed INVALID.
001-103.7.2
The Transmission Provider shall evaluate all Eligible Customer requests to change the NITS Application and may take one of the following actions:

001-103.7.2.1
The Transmission Provider may deny the change in the service being requested when the change is outside the scope of the informal communications and mutual agreement between the Transmission Provider and Eligible Customer. The Transmission Provider will update the status associated with the requested change to an appropriate final state.

001-103.7.2.2
The Transmission Provider may hold the change until the status of the overall NITS Application is set to an appropriate final state and treat the request as a request for modifications to service.

001-103.7.2.3
The Transmission Provider may approve the change and incorporate the change into the NITS Application by setting its status to COMPLETED.  The final status of the change will be reflected when the Transmission Provider sets the overall NITS Application to an appropriate final state.

001-103.8
Customer Actions

001-103.8.1
After the status of the overall NITS Application has been set to ACCEPTED or COUNTEROFFER by the Transmission Provider, the Eligible Customer may confirm or withdraw the overall NITS Application by setting the status to CONFIRMED or WITHDRAWN. 
001-103.8.1.1
Confirming the overall NITS Application shall constitute the Network Customer’s agreement to receive service as specified in all portions of the NITS Application which are not already in a final state. Confirming the overall NITS Application shall set the status of all portions of the NITS Application not already in a final state to CONFIRMED.

001-103.8.1.1.1
If the Eligible Customer requests the Transmission Provider to file an unexecuted service agreement at FERC, the Eligible Customer, at the time of setting the status of the overall NITS Application to CONFIRMED, shall also set the indicator to “Unexecuted” (language in blue to be determined).
001-103.8.1.2
Withdrawal of the overall NITS Application shall constitute the Eligible Customer’s withdrawal of all portions of the NITS Application which are not already in a final state.  Withdrawal of the overall NITS Application shall set the status of the portions not already in a final state to WITHDRAWN.

001-103.8.1.3
The Eligible Customer may not act on the individual portions of the NITS Application.  Once the overall NITS application is in a final state of CONFIRMED, any subsequent changes must be made through a request for modifications to service as provided for in the Business Practice Standards.  

001-103.9
Final Disposition of NITS Application

001-103.9.1
Once CONFIRMED the overall NITS Application shall remain CONFIRMED throughout its term of service regardless of subsequent modifications unless otherwise mutually agreed;  in which case the Transmission Provider shall set the status of the overall NITS Application to ANNULLED.
001-103.9.1.1
If the Transmission Provider filed an unexecuted service agreement, upon receiving a Commission order, the Eligible Customer shall use the modifications to service as provided for in the Business Practice Standards to modify the overall NITS Application to reflect the Commission order.
001-103.9.1.1.2
If the Eligible Customer determines not to accept the terms and conditions order by the Commission, the Eligible Customer may direct the Transmission Provider to set the status of the overall NITS Application to ANNULLED.
001-103.9.2
If, within the time limits specified in the Transmission Provider’s OATT for execution of a service agreement or for requesting filing of an unexecuted service agreement, the Eligible Customer fails to set the status to CONFIRMED or WITHDRAWN or does not request the Transmission Provider to file at FERC an unexecuted service agreement, the Transmission Provider may set the status of the overall NITS Application to RETRACTED. Retraction of the overall NITS Application shall set the status of the portions not already in a final state to RETRACTED.
001-103.9.2.1
In response to a state of RETRACTED, the Eligible Customer may submit a new or revised NITS Application, which will be assigned a new unique identifier in association with such NITS Application and a new queue time.   
001-104 NETWORK INTEGRATION SERVICE – ADMINISTRATIVE CHANGES

001-104.1
The Network Customer shall have the right to request administrative changes pursuant to the NITS Application. 
001-104.2
A request for administrative changes shall be submitted to the Transmission Provider on OASIS with explicit reference to the associated NITS Application.
001-104.3
A request for administrative changes shall be submitted as pre-confirmed. 

001-104.4
The Transmission Provider will accept or deny the request within 7 days of receipt of the request. The Transmission Provider will provide a reason for denial of a request for administrative change.

001-104.5
The following types of requests will be considered administrative changes:

· Requests to change customer description information

· Requests to change agent information

· Generation Information
· Transmission Customer System Information
001-105
NETWORK INTEGRATION SERVICE – MODIFICATION TO SERVICE

001-105.1
General Requirements 
001-105.1.1
The Network Customer shall have the right to request modification to service pursuant to the NITS Application. 
001-105.1.2
A request for modification to service shall be submitted to the Transmission Provider on OASIS with explicit reference to the associated NITS Application.
001-105.1.3
A request for modification to service shall be queued and evaluated in the same manner as any other request, subject to the other requirements of the Business Practice Standards. 
001-105.1.4
A request for modification to service is subject to all request timing requirements consistent with Table 4-A. 
001-105.1.5
The following requests are considered modifications of service:

· Request for designation of a new Network Resource

· Request for temporary termination of a Network Resource with redesignation of same network resource
· Request for permanent termination of a Network Resource

· Request for designation of a new Network Load

· Request for termination of a Network Load

· Request for Network Scheduling Rights (????)
· Request for secondary Network Service (?????). 

001-105.2
Designation of  New Network Resource 
001-105.2.1
Submission of Request for Designation of New Network Resource

001-105.2.1.1
The Network Customer may enter and update information on OASIS in association with a request for designation of a new Network Resource prior to submission to the Transmission Provider by setting the status of the request for modification to service to PENDING.

001- 105.2.1.2
The Transmission Provider may specify, in its posted business practice, the minimum information required for a request for designation of a new Network Resource.  
001- 105.2.1.3
The Network Customer shall indicate to the Transmission Provider that the request for designation of a new Network Resource is ready for Transmission Provider review by submitting the request for designation of a new Network Resource on OASIS.  

001-105.2.1.3.1
OASIS shall set the queue time for the request for designation of a new Network Resource to the time that the Network Customer submits the request for modification to service, which shall set the status of the request for designation of a new Network Resource to QUEUED.

001-105.2.1.3.2
The Transmission Provider shall acknowledge the queued request for designation of a new Network Resource by setting the status of the request for designation of a new Network Resource to RECEIVED.

START HERE ON APRIL 13, 2010. 
001-105.2.2
Initial Review of Request for Designation of New Network Resource
001- 105.2.2.1
The Transmission Provider shall review the request for modification to service to determine if the request: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; and (2) is complete consistent with the Transmission Provider’s tariff requirements.

001- 105.2.2.2
The Transmission Provider shall respond to a request for modification to service by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 
III.
COMPLETED 
001-105.2.3
Invalid Request for Designation of New Network Resource

001-105.2.3.1
If the minimum required information, as specified in the Transmission Provider’s posted business practice, is not provided, the Transmission Provider shall set the state of the request for modification to service to INVALID and the request for modification to service shall be deemed withdrawn.

001-105.2.3.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.   

001-105.2.4
Deficient Request for Designation of New Network Resource
001-105.2.4.1
For each request for modification to service which is not INVALID, the Transmission Provider shall determine if such request for modification to service can be deemed sufficient and, if so, shall set the status of such request for modification of service to COMPLETED or, if not, shall set the status of  such request for modification to service  to DEFICIENT. 

001-105.2.4.2
A request for designation of a new network resource shall be accompanied by an attestation in accordance with the Transmission Provider’s tariff. 
001-105.2.4.3
If the Transmission Provider determines that the request for modification to service is DEFICIENT, the Transmission Provider shall set the request for modification to service to DEFICIENT and begin informal communications with the Eligible Customer to resolve the deficiencies. 

001-105.2.4.4
The Network Customer shall remedy the deficiency and shall set the status of the request for modification to service to REEVALUATE.
001-105.2.4.5
Upon notification that the Network Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:

001-105.2.4.5.1
If the information provided fails to remedy the deficiency, the Transmission Provider shall set the status of the request for modification to service to DEFICIENT.

001-105.2.4.5.2
If the information provided remedies the deficiency, the Transmission Provider shall set the status of the request for modification to service to COMPLETED.

001-105.2.4.5.3
If the information provided is deemed by the Transmission Provider to be a significant change to the request for modification to service, the Transmission Provider shall set the status of the request for modification to service to DECLINED.

001-105.2.4.6
If the Network Customer fails to respond to the Transmission Provider’s notice of a DEFICIENT request for modification to service, or fails to remedy the deficiency to the Transmission Provider’s satisfaction in a timely manner, the Transmission Provider shall set the status of the request for modification to service to DECLINED.

001-105.2.4.7
In response to a state of DECLINED, the Network Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.  

001-105.2.5
Completed Request for Designation of New Network Resource

001-105.2.5.1
Once the Transmission Provider has designated the request for modification to service as COMPLETED, the Transmission Provider shall continuing processing the request for modification to service in accordance with these Business Practice Standards.
001-105.2.5.2
OASIS shall set the queue time of COMPLETED request for modification to service to be equal to the queue time established on the initial submission of the request for modification to service.

001-105.2.6
Review of Completed Request for Designation of New Network Resource

001- 105.2.6.1
Once the Transmission Provider has set the status of the request for modification to service to COMPLETED, the Transmission Provider shall change the status of the request for modification to service to one of the following to indicate its evaluation of the  request for modification to service:
I.
STUDY

II.
DECLINED

III.
REFUSED 

IV.
COUNTEROFFER

V.
ACCEPTED 

001-105.2.7
Study of Request for Designation of New Network Resource

001-105.2.7.1 
If the Transmission Provider determines that some level of study is required or is being performed, the Transmission Provider shall set the status of the  request for modification to service to STUDY.

001-105.2.7.2
From the status of STUDY, the Transmission Provider shall set the status of the request for modification to service to DECLINED, REFUSED, COUNTEROFFER, or ACCEPTED.

001-105.2.8
Declining Request for Designation of New Network Resource

001-105.2.8.1
If at any time in the evaluation of the request for modification to service or conduct of any associated study(ies) the Transmission Provider determines that the Network Customer has failed to meet any of the terms and conditions for the provision of service (e.g., failure to execute a study agreement, etc.), the Transmission Provider shall set the status of the request for modification to service to DECLINED.

001-105.2.8.2
In response to a state of DECLINED, the Eligible Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.   

001-105.2.9
Refusal of Request for Designation of New Network Resource
001-105.2.9.1
If at any time in the evaluation of the request for modification to service or conduct of any associated study(ies) the Transmission Provider determines that the requested service cannot be provided due to insufficient transfer capability consistent with the Transmission Provider’s OATT requirements, the Transmission Provider may set the status of the request for modification to service to REFUSED.

001-105.2.9.2
In response to a state of REFUSED, the Eligible Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.  

001-105.2.10
Counteroffer to Request for Designation of New Network Resource
001-105.2.10.1
When, in the evaluation of a request for modification to service or on completion of any applicable study(ies), and, where appropriate, through informal communication with the Eligible Customer, the Transmission Provider determines that the request may only be granted in part or subject to modification to the request for modification to service, the Transmission Provider shall set the status of the request for modification to service to COUNTEROFFER.

001-105.2.11
Acceptance of Request for Designation of New Network Resource
001-105.2.11.1
When, in the evaluation of the request for modification to service or on completion of any applicable study(ies), and, where appropriate, through informal communication with the Network Customer, the Transmission Provider determines that the request may be granted, the Transmission Provider shall set the status of the request for modification to service to ACCEPTED.

001-105.2.12
Changes to Request for Designation of New Network Resource
001-105.2.12.1
Based on the evaluation results and informal communications between the Transmission Provider and the Network Customer, the Network Customer may submit a request to change the completed request for modification to service while the request for modification to service is under evaluation with a status of either COMPLETED or STUDY. 
001-105.2.12.2
The Transmission Provider shall evaluate any Network Customer requests to change the request for modification to service and may take one of the following actions:
001-105.2.12.2.1
The Transmission Provider may deny the change when the change is outside the scope of the informal communications and mutual agreement between the Transmission Provider and Network Customer. The Transmission Provider will update the status associated with the requested change to an appropriate final state.
001-105.2.12.2.2
The Transmission Provider may approve the change and incorporate the change into the request for modification to service by setting its status to COMPLETED.  The final status of the change will be reflected when the Transmission Provider sets the request for modification to service to an appropriate final state.
001-105.2.13
Customer Actions
001-105.2.13.1
After the status of the request for modification to service has been set to ACCEPTED or COUNTEROFFER by the Transmission Provider, the Network Customer may confirm or withdraw the request for modification to service by setting the status to CONFIRMED or WITHDRAWN. 

001-105.2.14
Final Disposition of Request for Designation of New Network Resource
001-105.2.14.1
Once CONFIRMED, the request for modification to service will be incorporated into the entire NITS Application.

001-105.2.14.2
If, within the time limits specified in the Transmission Provider’s OATT, the Network Customer fails to set the status to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request for modification to service to RETRACTED. 
001-105.2.14.2.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.   
001-105.3
Temporary Termination (Undesignation) of Network Resource

001-105.3.1
Request for Undesignation (Termination) of  Network Resource
001-105.3.1.1
The Transmission Provider must accommodate all requests for temporary termination of a Network Resource.
001-105.3.2
Submission of Request for Temporary Undesignation  of Network Resource with Redesignation of the Same Network Resource
001-105.3.2.1
Information may be entered and updated on OASIS in association with a request for modification to service prior to submission to the Transmission Provider by identifying the request for modification to service as PENDING.

001- 105.3.2.2
The Transmission Provider shall specify, through the posting of a business practice, the minimum information required for submission of a request for modification to service and obtaining a queue time. 

001- 105.3.2.3
The Network Customer shall indicate to the Transmission Provider that the request for modification to service is ready for Transmission Provider review by submitting the request for modification to service on OASIS.  

001-105.3.2.4
OASIS shall set the queue time for the request for modification to service to the time that the Network Customer submits the request for modification to service, which shall set the request for modification to service to QUEUED.

001-105.3.2.5
The Transmission Provider shall acknowledge the queued request for modification to service by setting the status of the request for modification to service to RECEIVED.

001-105.3.3
Initial Review of Request for Temporary Undesignation of Network Resource with Redesignation of the Same Network Resource
001- 105.3.3.1
The Transmission Provider shall review the request for modification to service to determine if the request: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; and (2) is complete consistent with the Transmission Provider’s tariff requirements.

001- 105.3.3.2
The Transmission Provider shall respond to a request for modification to service by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 
III.
COMPLETED 
001-105.3.4
Invalid Request for Temporary Undesignation of Network Resource with Redesignation of the Same Network Resource
001-105.3.4.1
If the minimum required information, as specified in the Transmission Provider’s posted business practice, is not provided, the Transmission Provider shall set the state of the request for modification to service to INVALID and the request for modification to service shall be deemed withdrawn.

001-105.3.4.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time. 
001-105.3.5
Deficient Request for Temporary Undesignation of Network Resource with Redesignation of the Same Network Resource 

001-105.3.5.1
For each request for modification to service which is not INVALID, the Transmission Provider shall determine if such request for modification to service can be deemed sufficient and, if so, shall set the status of such request for modification of service to COMPLETED or, if not, shall set the status of  such request for modification to service  to DEFICIENT. 

001-105.3.5.2
A request for redesignation of a network resource shall be accompanied by an attestation in accordance with the Transmission Provider’s tariff. 
001-105.3.5.3
If the Transmission Provider determines that the request for modification to service is DEFICIENT, the Transmission Provider shall set the request for modification to service to DEFICIENT and begin informal communications with the Eligible Customer to resolve the deficiencies. 

001-105.3.5.4
The Network Customer shall remedy the deficiency and shall set the status of the request for modification to service to REEVALUATE.
001-105.3.5.5
Upon notification that the Network Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:

001-105.3.5.5.1
If the information provided fails to remedy the deficiency, the Transmission Provider shall set the status of the request for modification to service to DEFICIENT.

001-105.3.5.5.2
If the information provided remedies the deficiency, the Transmission Provider shall set the status of the request for modification to service to COMPLETED.

001-105.3.5.5.3
If the information provided is deemed by the Transmission Provider to be a significant change to the request for modification to service, the Transmission Provider shall set the status of the request for modification to service to DECLINED.

001-105.3.5.6
If the Network Customer fails to respond to the Transmission Provider’s notice of a DEFICIENT request for modification to service, or fails to remedy the deficiency to the Transmission Provider’s satisfaction in a timely manner, the Transmission Provider shall set the status of the request for modification to service to DECLINED.

001-105.3.5.7
In response to a state of DECLINED, the Network Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.  

001-105.3.6
Completed Request for Temporary Undesignation of Network Resource with Redesignation of the Same Network Resource
001-105.3.6.1
Once the Transmission Provider has designated the request for modification to service as COMPLETED, the Transmission Provider shall continuing processing the request for modification to service in accordance with these Business Practice Standards.

001-105.3.6.2
OASIS shall set the queue time of COMPLETED request for modification to service to be equal to the queue time established on the initial submission of the request for modification to service.

001-105.3.7
Acceptance of Request for Temporary Undesignation of Network Resource with Redesignation of the Same Network Resource
001-105.3.7.1
When the Transmission Provider determines that the request may be granted, the Transmission Provider shall set the status of the request for modification to service to ACCEPTED.

001-105.3.8
Customer Actions
001-105. 3.8.1
After the status of the request for modification to service has been set to ACCEPTED or COUNTEROFFER by the Transmission Provider, the Network Customer may confirm or withdraw the request for modification to service by setting the status to CONFIRMED or WITHDRAWN. 

001-105.3.9
Final Disposition of Request for Temporary Undesignation of Network Resource with Redesignation of the Same Network Resource
001-105.3.9.1
Once CONFIRMED, the request for modification to service will be incorporated into the entire NITS Application.

001-105.3.9.2
If, within the time limits specified in the Transmission Provider’s OATT, the Network Customer fails to set the status to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request for modification to service to RETRACTED. 
001-105.3.9.2.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.   
001-105.4
Permanent Termination (Undesignation) of Network Resource

001-105.4.1
Request for Permanent Undesignation (Termination) of  Network Resource
001-105.4.1.1
The Transmission Provider must accommodate all requests for permanent termination of a Network Resource.
001-105.4.2
Submission of Request for Permanent Undesignation (Termination) of Network Resource

001-105.4.2.1
Information may be entered and updated on OASIS in association with a request for modification to service prior to submission to the Transmission Provider by identifying the request for modification to service as PENDING.

001- 105.4.2.2
The Transmission Provider shall specify, through the posting of a business practice, the minimum information required for submission of a request for modification to service and obtaining a queue time. 

001- 105.4.2.3
The Network Customer shall indicate to the Transmission Provider that the request for modification to service is ready for Transmission Provider review by submitting the request for modification to service on OASIS.  

001-105.4.2.3.1
OASIS shall set the queue time for the request for modification to service to the time that the Network Customer submits the request for modification to service, which shall set the request for modification to service to QUEUED.

001-105.4.2.3.2
The Transmission Provider shall acknowledge the queued request for modification to service by setting the status of the request for modification to service to RECEIVED.

001-105.4.3
Initial Review of Request for Permanent Undesignation of Network Resource
001- 105.4.3.1
The Transmission Provider shall review the request for modification to service to determine if the request: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; and (2) is complete consistent with the Transmission Provider’s tariff requirements.

001- 105.4.3.2
The Transmission Provider shall respond to a request for modification to service by setting the status to one of the following:

I.
INVALID 

II.
ACCEPTED 
001-105.4.4
Invalid Request for Permanent Undesignation of Network Resource
001-105.4.4.1
If the minimum required information, as specified in the Transmission Provider’s posted business practice, is not provided, the Transmission Provider shall set the state of the request for modification to service to INVALID and the request for modification to service shall be deemed withdrawn.

001-105.4.4.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.   

001-105.4.5
Acceptance of Request for Permanent Undesignation of Network Resource
001-105.4.5.1
When the Transmission Provider determines that the request may be granted, the Transmission Provider shall set the status of the request for modification to service to ACCEPTED.

001-105.4.6
Customer Actions
001-105.4.6.1
After the status of the request for modification to service has been set to ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request for modification to service by setting the status to CONFIRMED or WITHDRAWN. 

001-105.4.7
Final Disposition of Request for Permanent Undesignation of Network Resource
001-105.4.7.1
Once CONFIRMED, the request for modification to service will be incorporated into the entire NITS Application.

001-105.4.7.2
If, within the time limits specified in the Transmission Provider’s OATT, the Network Customer fails to set the status to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request for modification to service to RETRACTED. 
001-105.4.7.2.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.   
001-105.5
Designation of New Network Load
001-105.1
Request for Designation of New Network Load

001-501.1.1
If the Transmission Provider determines that the request to add new DNLs can not be aggregated under an existing DNL assigned under the NITS Application, the Transmission Provider shall set the status of the request to ACCEPTED and register the new name with TSIN
.
001-105.5.2
Submission of Request for Designation of New Network Load
001-105.5.2.1
Information may be entered and updated on OASIS in association with a request for modification to service prior to submission to the Transmission Provider by identifying the request for modification to service as PENDING.

001- 105.5.2.2
The Transmission Provider shall specify, through the posting of a business practice, the minimum information required for submission of a request for modification to service and obtaining a queue time. 

001- 105.5.2.3
The Network Customer shall indicate to the Transmission Provider that the request for modification to service is ready for Transmission Provider review by submitting the request for modification to service on OASIS.  

001-105.5.2.3.1
OASIS shall set the queue time for the request for modification to service to the time that the Network Customer submits the request for modification to service, which shall set the request for modification to service to QUEUED.

001-105.5.2.3.2
The Transmission Provider shall acknowledge the queued request for modification to service by setting the status of the request for modification to service to RECEIVED.

001-105.5.3
Initial Review of Request for Designation of New Network Load
001- 105.5.3.1
The Transmission Provider shall review the request for modification to service to determine if the request: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; and (2) is complete consistent with the Transmission Provider’s tariff requirements.

001- 105.5.3.2
The Transmission Provider shall respond to a request for modification to service by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 
III.
COMPLETED 
001-105.5.4
Invalid Request for Designation of New Network Load
001-105.5.4.1
If the minimum required information, as specified in the Transmission Provider’s posted business practice, is not provided, the Transmission Provider shall set the state of the request for modification to service to INVALID and the request for modification to service shall be deemed withdrawn.

001-105.5.4.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.   

001-105.5.5
Deficient Request for Designation of New Network Load
001-105.5.5.1
For each request for modification to service which is not INVALID, the Transmission Provider shall determine if such request for modification to service can be deemed sufficient and, if so, shall set the status of such request for modification of service to COMPLETED or, if not, shall set the status of  such request for modification to service  to DEFICIENT. 

001-105.5.5.2
If the Transmission Provider determines that the request for modification to service is DEFICIENT, the Transmission Provider shall set the request for modification to service to DEFICIENT and begin informal communications with the Eligible Customer to resolve the deficiencies. 

001-105.5.5.3
The Network Customer shall remedy the deficiency and shall set the status of the request for modification to service to REEVALUATE.
001-105.5.5.4
Upon notification that the Network Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:

001-105.5.5.4.1
If the information provided fails to remedy the deficiency, the Transmission Provider shall set the status of the request for modification to service to DEFICIENT.

001-105.5.5.4.2
If the information provided remedies the deficiency, the Transmission Provider shall set the status of the request for modification to service to COMPLETED.

001-105.5.5.4.3
If the information provided is deemed by the Transmission Provider to be a significant change to the request for modification to service, the Transmission Provider shall set the status of the request for modification to service to DECLINED.

001-105.5.5.5
If the Network Customer fails to respond to the Transmission Provider’s notice of a DEFICIENT request for modification to service, or fails to remedy the deficiency to the Transmission Provider’s satisfaction in a timely manner, the Transmission Provider shall set the status of the request for modification to service to DECLINED.

001-105.5.5.6
In response to a state of DECLINED, the Network Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.  

001-105.5.6
Completed Request for Designation of New Network Load
001-105.5.6.1
Once the Transmission Provider has designated the request for modification to service as COMPLETED, the Transmission Provider shall continuing processing the request for modification to service in accordance with these Business Practice Standards.

001-105.5.6.2
OASIS shall set the queue time of COMPLETED request for modification to service to be equal to the queue time established on the initial submission of the request for modification to service.

001-105.5.7
Review of Completed Request for Designation of New Network Load

001- 105.5.7.1
Once the Transmission Provider has set the status of the request for modification to service to COMPLETED, the Transmission Provider shall change the status of the request for modification to service to one of the following to indicate its evaluation of the  request for modification to service:
I.
STUDY

II.
DECLINED

III.
REFUSED 
IV.
ACCEPTED 

001-105.5.8
Study of Request for Designation of New Network Load

001-105.5.8.1 
If the Transmission Provider determines that some level of study is required or is being performed, the Transmission Provider shall set the status of the request for modification to service to STUDY.

001-105.5.8.2
From the status of STUDY, the Transmission Provider shall set the status of the request for modification to service to DECLINED, REFUSED, COUNTEROFFER, or ACCEPTED.

001-105.5.9
Declining Request for Designation of New Network Load

001-105.5.9.1
If at any time in the evaluation of the request for modification to service or conduct of any associated study(ies) the Transmission Provider determines that the Network Customer has failed to meet any of the terms and conditions for the provision of service (e.g., failure to execute a study agreement, etc.), the Transmission Provider shall set the status of the request for modification to service to DECLINED.

001-105.5.9.2
In response to a state of DECLINED, the Eligible Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.   

001-105.5.10
Refusal of Request for Designation of New Network Load

001-105.5.10.1
If at any time in the evaluation of the request for modification to service or conduct of any associated study(ies) the Transmission Provider determines that the requested service cannot be provided due to insufficient transfer capability consistent with the Transmission Provider’s OATT requirements, the Transmission Provider may set the status of the request for modification to service to REFUSED.

001-105.5.10.2
In response to a state of REFUSED, the Eligible Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.  

001-105.5.11
Acceptance of Request for Designation of New Network Load

001-105.5.11.1
When, in the evaluation of the request for modification to service or on completion of any applicable study(ies), and, where appropriate, through informal communication with the Network Customer, the Transmission Provider determines that the request may be granted, the Transmission Provider shall set the status of the request for modification to service to ACCEPTED.

001-105.5.12
Changes to a Request for Designation of New Network Load

001-105.5.12.1
Based on the evaluation results and informal communications between the Transmission Provider and the Network Customer, the Network Customer may submit a request to change the completed request for modification to service while the request for modification to service is under evaluation with a status of either COMPLETED or STUDY. 
001-105.5.12.2
The Transmission Provider shall evaluate any Network Customer requests to change the request for modification to service and may take one of the following actions:
001-105.5.12.2.1
The Transmission Provider may deny the change when the change is outside the scope of the informal communications and mutual agreement between the Transmission Provider and Network Customer. The Transmission Provider will update the status associated with the requested change to an appropriate final state.
001-105.5.12.2.2
The Transmission Provider may approve the change and incorporate the change into the request for modification to service by setting its status to COMPLETED.  The final status of the change will be reflected when the Transmission Provider sets the request for modification to service to an appropriate final state.
001-105.5.13
Customer Actions
001-105.3.13.1
After the status of the request for modification to service has been set to ACCEPTED or COUNTEROFFER by the Transmission Provider, the Network Customer may confirm or withdraw the request for modification to service by setting the status to CONFIRMED or WITHDRAWN. 

001-105.5.14
Final Disposition of Request for Designation of New Network Load

001-105.5.14.1
Once CONFIRMED, the request for modification to service will be incorporated into the entire NITS Application.

001-105.5.14.2
If, within the time limits specified in the Transmission Provider’s OATT, the Network Customer fails to set the status to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request for modification to service to RETRACTED. 
001-105.5.14.2.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.   
001-105.6
Termination (Undesignation) of Network Load
001-105.6.1
Submission of Request for Permanent Undesignation of Network Load

001-105.6.1.1
Information may be entered and updated on OASIS in association with a request for modification to service prior to submission to the Transmission Provider by identifying the request for modification to service as PENDING.

001- 105.6.1.2
The Transmission Provider shall specify, through the posting of a business practice, the minimum information required for submission of a request for modification to service and obtaining a queue time. 

001- 105.6.1.3
The Network Customer shall indicate to the Transmission Provider that the request for modification to service is ready for Transmission Provider review by submitting the request for modification to service on OASIS.  

001-105.6.1.3.1
OASIS shall set the queue time for the request for modification to service to the time that the Network Customer submits the request for modification to service, which shall set the request for modification to service to QUEUED.

001-105.6.1.3.2
The Transmission Provider shall acknowledge the queued request for modification to service by setting the status of the request for modification to service to RECEIVED.

001-105.6.2
Initial Review of Request for Permanent Undesignation of Network Load
001- 105.6.2.1
The Transmission Provider shall review the request for modification to service to determine if the request: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; and (2) is complete consistent with the Transmission Provider’s tariff requirements.

001- 105.6.2.2
The Transmission Provider shall respond to a request for modification to service by setting the status to one of the following:

I.
INVALID 

II.
ACCEPTED 
001-105.6.3
Invalid Request for Permanent Undesignation of Network Load
001-105.6.3.1
If the minimum required information, as specified in the Transmission Provider’s posted business practice, is not provided, the Transmission Provider shall set the state of the request for modification to service to INVALID and the request for modification to service shall be deemed withdrawn.

001-105.6.3.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.   

001-105.6.4
Acceptance of Request for Permanent Undesignation of Network Load
001-105.6.4.1
When the Transmission Provider determines that the request may be granted, the Transmission Provider shall set the request for modification to service to ACCEPTED.

001-105.6.5
Customer Actions
001-105.6.5.1
When the Transmission Provider determines that the request may be granted, the Transmission Provider shall set the status of the request for modification to service to ACCEPTED.

001-105.6.6
Final Disposition of Request for Permanent Undesignation of Network Load

001-105.6.6.1
Once CONFIRMED, the request for modification to service will be incorporated into the entire NITS Application.

001-105.6.6.2
If, within the time limits specified in the Transmission Provider’s OATT, the Network Customer fails to set the status to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request for modification to service to RETRACTED. 
001-105.6.6.2.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for modification to service, which will be assigned a new unique identifier in association with such request for modification to service and a new queue time.   
001-105.7
Network Scheduling Rights (NSR)
001-105.7.1
Is the NSR template required?

001-105.7.2
Address studies (state for Study)

If the Transmission Provider determines that there is not enough information to evaluate whether the request to add a new NTC can be accommodated, the Transmission Provider shall set the status of the request to INVALID.

001-105.7.2.1
If the Transmission Provider determines that the request to add a new NTC cannot be accommodated, the Transmission Provider shall set the status of the request to REFUSED.

001-105.7.2.2
If the Transmission Provider determines that the request to add a new NTC can be accommodated, the Transmission Provider shall set the status of the request to ACCEPTED.
001-105.7.2.3
If the Transmission Provider determines that only a portion of the request to add a new NTC can be accommodated, the Transmission Provider shall extend to the Network Customer that portion of the NTC that can be accommodated by setting the status of the request to COUNTEROFFER.
001-105.8
Requirements for Dealing with Requests to Deliver Energy to Network Loads from Non-designated Resources: (Previously 001-xx(2).2.9)
To be written
Note:  The Transmission Provider will be responsible for posting sufficient data to document ATC/ETC calculations.  This may include specific ETC set asides for load growth which are not captured in specific DNRs, but are reflected in load forecasts.  This section may belong in standard WEQ-001-19, 20 – Version 002 in that area addressing the ATC calculation methodology.

Note:  Can/should the customer have the ability to include ancillary service request(s)?

Note:  Need transition – TP needs to create the TSNs for existing NITS agreements and maybe own load.
001-104.xxx
The following timing requirements shall apply to all NTC, DNR, and DNL requests:

Table 4-A
service REQUEST Timing Requirements

	Class  name will probably change
	Duration Of the NTC, DNR, DNL not of the NITSA
	Time Queued Prior to Start

(When the request is queued within this timeframe the following evaluation and confirmation time limits apply)
	Provider Evaluation Time Limit1
	Customer Confirmation Time Limit2 After ACCEPTED or COUNTEROFFER3
	Provider Counter Time Limit after REBID4

	Secondary Network/nondesignated resource/ non-firm network service/non-firm
	Hourly

Daily

Weekly

Monthly
	< 1 hour

> 1hour

Day ahead

N/A

N/A

N/A
	Best effort

30 minutes

30 minutes

30 minutes

4 hours

2 days5
	5 minutes

5 minutes

30 minutes

2 hours

24 hours

24 hours
	5 minutes

5 minutes

10 minutes

10 minutes

4 hours

4 hours

	Designation of new network resource/firm
	Daily

Weekly

Monthly

Yearly
	<24 hours
N/A

N/A

N/A

60 days7

	Best effort

30 days6
30 days6
30 days6
30 days6
	2 hours

24 hours

48 hours

4 days

15 days
	30 minutes

4 hours

4 hours

4 hours

4 hours


Notes for Table 4-A:
1
Consistent with regulations and filed tariffs, measurement starts at the time the request is QUEUED.

2
Confirmation time limits are not to be interpreted to extend scheduling deadlines or to override pre-exemption deadlines.

3
Measurement starts at the time the request is first moved to either ACCEPTED or COUNTEROFFER.  The time limit does not reset on subsequent changes of state.

4
Measurement starts at the time the Network Customer changes the state to REBID.  The measurement resets each time the request is changed to REBID.

5
Days are defined as calendar days.

6

Subject to expedited time requirements of Section 17.1 of the pro forma tariff.  Transmission Providers shall make best efforts to respond within 72 hours, or prior to the scheduling deadline, whichever is earlier, to a request for Daily Firm Service received during period 2-30 days ahead of the service start time.

7
Subject to Section 17.1 of the pro forma tariff, whenever feasible and on a nondiscriminatory basis, Transmission Providers should accommodate requests made with less than 60 days notice.

001-106
NETWORK INTEGRATION SERVICE – CONCOMITANT REQUESTS ON A SINGLE TRANSMISSION PROVIDER SYSTEM
Note:  What about pre-confirmed requests – should they not also be addressed – especially with respect to retraction/withdrawal?

Prior language:

001-xx(2).3
NITS Transactions/Batch Submittals
TAPS Comment: Protections afforded with respect to temporary undesignations (including those discussed in Order 890 PP 1541-42) must be clearly reflected in 001-xx(2).3.

United Illuminating comment:  ???????
001-106.1
Any Network Customer shall have the right to request simultaneous evaluations for modifications or NITS transactions which are dependent upon each other. (Previously 001-xx(2).3)
001-106.2
The Network Customer shall be allowed to request concomitant submittals from a single customer to a single transmission provider for requests which are dependent upon each other. (Previously 001-xx(2).3.1)
Prior language:

001-xx(2).3.1
The Network Customer shall be allowed to request batch submittals from a single customer to a single transmission provider for requests which are dependant upon each other.

Entergy proposed language:  The Network Customer shall be allowed to request batch submittals to a single transmission provider for requests that are dependant upon each other.
001-106.3
The Transmission Provider must process the request as a single group with the same queue time. (Previously 001-xx(2).3.2)
Prior language:

001-xx(2).3.2
The Transmission Provider must process the request as a single group with the same queue time.

United Illuminating proposed language:   The Transmission Provider must process a batch submittal requests as a single group with the same queue time.
001-106.3.1
Failure of any single request piece fails all concomitant requests in the concomitant submittal. (Previously 001-xx(2).3.2.1)
001-106.3.2
If the request for concomitant submittal is denied for any reason, all rights and obligations shall remain per the original individual pieces. (Previously 001-xx(2).3.2.2)
Prior language:

001-xx(2).3.2.2
If the request for batch submittal is denied for any reason, all rights and obligations shall remain per the original individual pieces.

Entergy proposed language:  If the request for batch submittal is denied for any reason, all rights and obligations shall remain per the original requests that the batch submittal would have eliminated, terminated, or otherwise modified.

001-106.4
To be considered a concomitant submittal the requests which are dependent upon each other must be submitted at the same time and require that the flag be set to so indicate that the requests are to be processed together. (Previously 001-xx(2).3.3)
Prior language:

001-xx(2).3.3
To be considered a batch submittal the requests which are dependent upon each other must be submitted at the same time and require that the flag be set to so indicate that the requests are to be processed together.

Entergy proposed language:  To be considered a batch submittal the requests which are dependent upon each other must be submitted within a submittal window defined by the Transmission Provider and the flag indicating the the requests are to be considered a batch submittal be set to so indicate that the requests are to be processed together.

United Illuminating proposed language:  To be considered a batch submittal the requests which are dependent upon each other must be submitted at the same time and the batch flag must be set to indicate that the requests are to be processed together.
001-106.4.1
Any requests not submitted at the same time with the flag set will be considered two separate requests and will be processed accordingly. (Previously 001-xx(2).3.3.1)
Prior language:

001-xx(2).3.3.1
Any requests not submitted at the same time with the flag set will be considered two separate requests and will be processed accordingly.

United Illuminating proposed language:  Any requests not submitted at the same time with the batch flag set will be considered separate requests and will be processed accordingly.
001-106.5
Counteroffers for concomitant submittals will be handled in accordance with the Transmission Provider’s business practices. (Previously 001-xx(2).3.4)
Prior language:

001-xx(2).3.4
Counteroffers for batch submittals will be handled in accordance with the Transmission Provider’s business practices.

United Illuminating proposed language:  Counteroffers for batch submittal requests will be handled in accordance with the Transmission Provider’s Business Practices and their Tariff.
Note:  All of Section 105 and its subsections to be discussed after determination of technical specifications.  

Note:  Protections afforded with respect to temporary undesignations (including those discussed in Order 890 PP 1541-42) must be clearly reflected in 001-xx(2).3.

PRS comment: This section would describe what types of requests may be submitted in a batch or transactional basis and considered as a whole: undesignation of resource, designation of new resource, request for new ptp service, others?]

Note:  Need to include a PtP request can be part of a NITS concomitant evaluation.
001-107
NETWORK INTEGRATION SERVICE – ANNUAL UPDATES

To be written
PRS Comment: This set of standards should set forth the requirements to submit updates to the NITS load and resource forecasts and any obligations on either party (customer or provider) on what must be done with the supplied information to insure ongoing service.  Does the TP have some recourse that should be established if a customer fails to supply the information?  Is there a requirement that the sum of forecasted resources must minimally meet the total forecasted load (one would think this is reasonable; it is not a binding designation of said resources).

001-108
NETWORK INTEGRATION SERVICE – RENEWAL OF SERVICE (or ROLLOVER RIGHTS) (Draft language provided by B. Rehman, BPA)
001-108.1
The Transmission Provider, upon approving a Long-Term Firm Network Integration Transmission Service reservation request with rollover rights, shall post on OASIS the information relevant to the rollover rights associated with that request.  Such information shall be posted such that it can be viewed and queried using the transstatusnits and rollovernits templates (See Standards WEQ-002 and WEQ-013).
001-108.2
To exercise the rollover rights associated with a Long-Term Network Integration Transmission Service  reservation, the Network Customer shall submit a request to renew its service for a new term prior to the deadline to notify the Transmission Provider to exercise those rights and in accordance with WEQ-013.
001-108.3
Submission of a request to renew service in an amount that exceeds the Long-Term Network Integration Transmission Service  reservation’s current Unexercised Rollover Rights shall be deemed an invalid request. 
001-108.4
The  Network Customer shall not confirm any request to renew service that would exceed the Unexercised Rollover Rights at that point in time (i.e., at the time of attempted confirmation and over the time interval of the renewal request). The Transmission Provider shall have the right to block any such confirmation. 

001-108.5
The Network Customer should withdraw any request to renew service that would exceed the current Unexercised Rollover Rights associated with the Long-Term Firm Network Integration Transmission Service reservation being renewed. The Transmission Provider shall have the right to withdraw their acceptance of any request to renew service that cannot be confirmed due to limitations in the Unexercised Rollover Rights held on such Long-Term Network Integration Transmission Service  reservation by setting the OASIS standard STATUS data element to the value of SUPERSEDED. 
001-108.6
Upon confirmation of a Long-Term Firm Network Integration Transmission Service renewal request by the Network Customer exercising their rollover rights, the Transmission Provider shall reduce the rollover capacity (i.e., the Unexercised Rollover Rights) as viewed in the Parent Reservation’s rollovernits template by the capacity granted to the renewal reservation. 
001-108.7
Once the deadline for the Network Customer to submit a renewal request has passed for a Long-Term Firm Network Integration Transmission Service reservation that is eligible for rollover rights and there are no outstanding pending renewal requests, the Transmission Provider shall set the rollover capacity associated with that reservation (i.e., the Unexercised Rollover Rights) to zero.
PRS Comment: This section would deal with extending the term of service under the NITSA in addition to rights/requirements for extending the term of an existing DNR.   These two may not be treated the same.  For instance, if DNR is for term of one year and is also included in the resource forecast for next 10 years, can it be extended year-by-year forever, or does it have to be designated for min of 5 years and redesignated with year notice for min of another 5 years to be eligible for renewal/rollover/extension?  Clear that the agreement/contract is the thing that got renewed as discussed in 890, but how you treat the DNRs under that agreement was not so clearly stated.
001-109
NETWORK INTEGRATION SERVICE – TRANSFERS, AGGREGATION, DISAGGREGATION (Draft language provided by B. Rehman, BPA)
Subject to the limitations below, a Financially Obligated Transmission Customer (FOTC or Reseller) shall have the right to Transfer all of their rights and obligations under an existing, confirmed Firm Network Integration Transmission Service reservation (i.e. Parent Reservation) to another Transmission Customer (Assignee).  Such Transfer may be for all or a portion of the capacity of that reservation.  Resales may not be Transferred.
Subject to the limitations below, a Network Customer shall have the right to Transfer all of their rights and obligations under a NITS reservation to another Network Customer.

001-109.1
Rights Conveyed

The confirmation of a Transfer of transmission rights shall convey all rights and obligations under the Transmission Provider’s tariff from the Reseller to the Assignee, including the financial obligation to the TP.

001-109.1.1
Prior to the confirmation of a Transfer, the prospective Assignee and TP shall have executed a Network Integration Transmisison Service Agreement.

001-109.1.2
The Transfer must be agreed to by the FOTC, the Assignee, and the TP. The conveyance of Transfer rights is not complete until the TP approves the Transfer.  The Transmission Provider shall not unduly withhold such approval.
001-109.1.3
Upon confirmation of the Transfer on OASIS, the FOTC (Reseller) shall lose those conveyed rights for the time frame and in the amount of the Transfer. 

001-109.1.4
New:  Upon confirmation of the  NITS Transfer on OASIS, the Assignee shall modify the existing Application related to the Parent Reservation to reflect the change of ownership associated with the rights and obligations in the new or revised NITS Agreement.
001-109.1.5
The Assignee shall be obligated directly to the TP for all arrangements required for scheduling transactions on the TP’s system, including submission of schedules, provision for losses, etc. 

001-109.1.6
Any renewal rights held by the Parent Reservation, including all limitations to those renewal rights, shall be conveyed from the Reseller to the Assignee in the amount transferred.

001-109.1.7
The Assignee of a Transfer shall have the same rights as the Reseller previously had with respect to the Parent Reservation.

001-109.2
Financial Obligations
Upon confirmation of the Transfer on OASIS, the Reseller is released from the financial obligation to the TP for the capacity granted over the time period of that Transfer and those financial obligations are conveyed to the Assignee. 

 001-109.3
Service Attributes and Timing
Transfers shall retain all the same transmission service attributes, transmission service priority, and all DNRs, DNLs, and NTCs, under the Parent Reservation.  

001-109.3.1
The start time of the Transfer may occur at any point during the period of service of the Parent Reservation, but must begin at the top of an hour unless the TP requires the Transfer to occur at the top of the next settlement interval.

001-109.3.2
The stop time of the Transfer must coincide with the stop time of the Parent Reservation.
001-109.4
Quantity
Partial Transfers do not apply to Network Integration Transmission Service.

A Transfer must be in whole MW’s and equal to or less than the capacity of the Parent Reservation subject to the following: 

001-109.4.1
Transfers shall result in the Transfer of all capacity of the Parent Reservation and the Transfer of all encumbrances associated with that capacity in the form of confirmed Redirects, or any other reductions in reserved capacity.
001-109.4.2
Transfer of a Parent Reservation which has been redirected, in whole or in part, will automatically result in the Transfer of the child(ren) Redirect(s).

001-109.4.3
The amount (MW’s) of the Transfer will include capacity which is not available for scheduling due to curtailment or other reduction, if any.
001-109.5
Posting on OASIS
All Transfers shall be posted on OASIS.

001-109.5.1
Notwithstanding negotiations between the Assignee and the FOTC (Reseller), which may be conducted off OASIS, Transfers must be posted and approved by all parties on OASIS, in accordance with the OASIS S&CP.

001-109.5.2
The FOTC (Reseller) shall identify on OASIS those existing transmission service rights that are to be conveyed to the Assignee subject to the review and approval by the TP
State Table for Network Service Application
(* indicates final state)

	State
	TP Response Options
	TC Response Options

	PENDING
	
	QUEUED

	QUEUED
	RECEIVED
	WITHDRAWN*

	RECEIVED
	INVALID*

DEFICIENT
COMPLETED
STUDY

COUNTEROFFER

ACCEPTED
	WITHDRAWN*

	DEFICIENT
	INVALID*

DECLINED*

COMPLETED
	REEVALUATE
WITHDRAWN*

	REEVALUATE
	INVALID*

DEFICIENT
COMPLETED
STUDY

COUNTEROFFER

ACCEPTED
DECLINED*
	WITHDRAWN*

REEVALUATE

	COMPLETED
	REFUSED

DECLINED

STUDY

COUNTEROFFER

ACCEPTED
	WITHDRAWN*

	STUDY
	COUNTEROFFER

ACCEPTED

REFUSED
DECLINED*
	WITHDRAWN*

	COUNTEROFFER
	RETRACTED*
	WITHDRAWN*

CONFIRMED*
REBID

	REBID
	Not Applicable to NITS
	Not Applicable to NITS

	ACCEPTED
	RETRACTED*
	WITHDRAWN*

CONFIRMED*

	CONFIRMED*
	ANNULLED*

(may be used if customer fails to complete the application process such as failing to participate in the service agreement phase of the application process)
	


QUEUED – initial status assigned by TSIP on receipt of "customer services purchase request".

INVALID – assigned by TSIP or Primary Provider indicating an invalid field in the request, such as improper POR, POD, source, sink, etc. (Final state).

RECEIVED – assigned by Primary Provider or Seller to acknowledge QUEUED requests and indicate the service request is being evaluated, including for completing the required ancillary services.

STUDY – assigned by Primary Provider or Seller to indicate some level of study is required or being performed to evaluate service request.

REFUSED – assigned by Primary Provider or Seller to indicate service request has been denied due to lack of availability of transfer capability. (Final state).

COUNTEROFFER – assigned by Primary Provider or Seller to indicate that a new OFFER_PRICE and/or CAPACITY_GRANTED over time is being proposed in the negotiation of requested service (i.e., offering of partial service or negotiation of price).

REBID – assigned by Customer to indicate that a new BID_PRICE and/or CAPACITY_REQUESTED over time is being proposed. Used only for Point-To-Point.
SUPERSEDED – assigned by Primary Provider or Seller when a request which has not yet been confirmed is preempted by another reservation request. (Final state).

ACCEPTED – assigned by Primary Provider or Seller to indicate the service request at the designated BID_PRICE and CAPACITY_REQUESTED has been approved/accepted. Depending upon the type of ancillary services required, the Seller may or may not require all ancillary service reservations to be completed before accepting a request.

DECLINED – assigned by the Primary Provider or Seller to indicate that the terms and conditions, such as the BID_PRICE, are unacceptable and that negotiations are terminated or that contractual terms have not been met or the Transmission Customer (need to make sure definition of TC includes Network Customer) has failed to respond to a deficiency within an established timeframe.  (Final state).

RETRACTED - assigned by Primary Provider or Seller when the Customer fails to confirm or withdraw the request within the required time period. (Final state).

WITHDRAWN – assigned by the Customer during request evaluation to withdraw the request from any further action. (Final state).

CONFIRMED – assigned by the Customer in response to the Primary Provider or Seller posting "ACCEPTED" status, to confirm service. Once a request has been "CONFIRMED", a transmission service reservation exits. (Final state, unless overridden by DISPLACED or ANNULLED state).

DISPLACED – assigned by Primary Provider or Seller when a "CONFIRMED" reservation from a Customer is displaced by a higher priority reservation, and the Customer is not offered or has not exercised right of first refusal (i.e. refused to match terms of new request). (Final state).

ANNULLED – assigned by the Seller when, by mutual agreement with the Customer, a confirmed reservation is to be voided or assigned unilaterally by the Primary Provider when a confirmed reservation is to be voided. (Final state).

DEFICIENT – assigned by Primary Provider indicating a correctable deficiency in the Network Service Application, such as missing, incomplete, or inconsistent information 

REEVALUATE – assigned by the Customer during the Network Service Application process indicating that deficiencies have been corrected and submitting the revised application to the Primary Provider for review

COMPLETED – assigned by Primary Provider to acknowledge receipt of a completed Network Service Application and to indicate the service request is being evaluated, including for completing the required ancillary services.
PENDING – assigned by OASIS prior to submission by the Network Customer, to be used while the Network Customer is developing the application.
�who does this?





Page 17 of 40
3-15-2010


