Comments from Tennessee Valley Authority

on the Proposed SAMTS Recommendation

April 29, 2011

General Comments

Generally the recommendation is acceptable, knowing that system changes will be needed prior to implementation.

The value of having all SAMTS requests preconfirmed is not apparent if the customer can withdraw the request at any point of the process (001-xx.3.5.1).  It seems like the CG Flag itself could make the rules stand under 001-4.11.1.

SAMTS timing information should be added to Table 4-2.

It is not clear how existing requests will be included in the contiguity of the coordinated groups.   (001-xx.2.1)