001-105.10
Secondary Network Service
 
001-105.10.1
Submission of Request for Secondary Network Service 
001-105.10.1.1
The Network Customer may enter and update information on OASIS in association with a request for Secondary Network Serviceprior to submission to the Transmission Provider by setting the status of the request to PENDING.
001- 105.10.1.2
The Transmission Provider may specify, in its posted business practice, the minimum information required for Secondary Network Service.  
001- 105.10.1.3
The Network Customer shall indicate to the Transmission Provider that the request for Secondary Network Service is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.10.1.3.1
OASIS shall set the queue time for the request for Secondary Network Service to the time that the Network Customer submits the request, which shall set the status of the request to QUEUED.

001-105.10.1.3.2
The Transmission Provider shall acknowledge the queued request for Secondary Network Service by setting the status of the request to RECEIVED.
001-105.10.2
Initial Review of Request for Secondary Network Service
001- 105.10.2.1
The Transmission Provider shall review the request for Secondary Network Service to determine if the request: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; or (2) is consistent with the Transmission Provider’s tariff requirements.

001- 105.10.2.2
The Transmission Provider shall respond to a request by setting the status to one of the following:

I.
INVALID 


II.
COMPLETED

001-105.10.3
Invalid Request for Secondary Network Service
001-105.10.3.1
If the required information, as specified in WEQ-001-105.10.2.1, is not provided, the Transmission Provider shall set the state of the request for Secondary Network Service to INVALID and the request shall be deemed withdrawn.

001-105.10.3.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for Secondary Network Service, which will be assigned a new unique identifier and a new queue time.   














001-105.10.4
Completed Request for Secondary Network Service
001-105.10.4.1
Once the Transmission Provider has set the status of the request for Secondary Network Service to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.10.5
Review of Completed Request for Secondary Network Service 
001- 105.10.5.1
Once the Transmission Provider has set the status of the request for Secondary Network Service to COMPLETED, the Transmission Provider shall respond to the request, consistent with filed tariffs, within the Provider Response Time Limit defined in Table 105-A Network Timing Requirements. The time limit is measured from the time the request is QUEUED.  To indicate its evaluation of the request, a Transmission Provider may respond by setting the state of the request to one of the following:

I.
DECLINED

II.
REFUSED 

III.
COUNTEROFFER

IV.
ACCEPTED 




001-105.10.6
Decline of Request for Secondary Network Service
001-105.10.6.1
If, at any time in the evaluation of the request for Secondary Network Service, the Transmission Provider determines that the Network Customer has failed to meet any of the terms and conditions for Secondary Network Service, the Transmission Provider shall set the status of the request to DECLINED.

001-105.10.6.2
In response to a state of DECLINED, the Network Customer may submit a new or revised request for Secondary Network Service, which will be assigned a new unique identifier and a new queue time.

001-105.10.7
Refusal of Request for Secondary Network Service
001-105.10.7.1
If, at any time in the evaluation of the request for Secondary Network Service, the Transmission Provider determines that the requested service cannot be provided due to lack of availability of transfer capability consistent with the Transmission Provider’s OATT requirements, the Transmission Provider may set the status of the request to REFUSED.

001-105.10.7.2
In response to a state of REFUSED, the Network Customer may submit a new or revised request for Secondary Network Service, which will be assigned a new unique identifier and a new queue time.

001-105.10.8
Counteroffer to Request for Secondary Network Service
001-105.10.8.1
When, in the evaluation of a request for Secondary Network Service, the Transmission Provider determines that the request may be granted in part, the Transmission Provider may make a partial offer.  

001-105.10.8.1.1
If the Transmission Provider makes a partial offer, the Transmission Provider shall notify the Network Customer on OASIS by setting the amount of Secondary Network Service capacity granted over time in the response to the request for Secondary Network Service and setting the status of such request to COUNTEROFFER.

001-105.10.9
Acceptance of Request for Secondary Network Service
001-105.10.9.1
When, in the evaluation of the request for Secondary Network Service, the Transmission Provider determines that the request can be approved, the Transmission Provider shall set the status of the request to ACCEPTED.

001-105.10.10
Customer Actions
001-105.10.10.1
From ACCEPTED or COUNTEROFFER, the Network Customer may change the status of the request for Secondary Network Service to CONFIRMED, REBID or WITHDRAWN. The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 105-A Network Timing Requirements to change the state of the request. The Customer Confirmation Time Limit is measured from the first time the request is moved to ACCEPTED or COUNTEROFFER, and is not reset with subsequent iterations of negotiation. 

001-105.10.10.1.1
The Network Customer shall use the request status of REBID to initiate or continue the negotiation of Secondary Network Service capacity.

001-105.10.10.1.2
Should the Network Customer elect to initiate or continue the negotiation of Secondary Network Service capacity by moving the request to REBID, the Transmission Provider shall respond by taking the request to a DECLINED, SUPERSEDED, ACCEPTED, or COUNTEROFFER state within the Provider Counter Time Limit, specified in Table 105-A Network Timing Requirements. The Transmission Provider response time is measured from the most recent REBID time.

001-105.10.10.1.3
The Network Customer may negotiate for a lower amount of Secondary Network Service capacity by updating the capacity requested over time and changing the request status from ACCEPTED or COUNTEROFFER to REBID. Negotiation for a higher amount of Secondary Network Service capacity shall not be allowed. A Network Customer seeking additional Secondary Network Service capacity must submit a new request, which will be assigned a new unique identifier and a new queue time.

001-105.10.10.1.4
Once the status of the request for Secondary Network Service has been set to ACCEPTED or COUNTEROFFER, the Network Customer may change the status to CONFIRMED after positively acknowledging agreement by setting the requested Secondary Network Service capacity equal to the Transmission Provider’s granted Secondary Network Service capacity.  Alternatively, the Network Customer may withdraw the request or the Network Customer may continue negotiations consistent with WEQ-001-105-.10.10.1.2.

001-105.10.11
Final Disposition of Request for Secondary Network Service
001-105.10.11.1
Once CONFIRMED, the request for Secondary Network Service will be incorporated into the associated CONFIRMED NITS Application.

001-105.10.11.2
If, within the time limits specified in Table 105-A Network Timing Requirements, the Network Customer fails to set the status of the ACCEPTED request for Secondary Network Service to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request to RETRACTED. 
001-105.10.11.2.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for Secondary Network Service, which will be assigned a new unique identifier and a new queue time.

001-105.10.11.3
Should the Network Customer elect to initiate or continue the negotiation of Secondary Network Service capacity by changing the status of the request forSecondary Network Service to REBID, the Transmission Provider shall respond by changing the status of the request to DECLINED, ACCEPTED, or COUNTEROFFER within the Provider Counter Time Limit, specified in Table 105-A Network Timing Requirements. The Transmission Provider response time is measured from the most recent REBID time.

001-105.10.11.3.1
The Transmission Provider shall positively acknowledge agreement to Secondary Network Service capacity over time by setting the granted Secondary Network Service capacity equal to the Network Customer’s requested Secondary Network Service capacity prior to acceptance of the request.


001-105.9
Termination of Secondary Network Service
001-105.9.1
Use of a request for termination of Secondary Network Service, either for temporary termination or indefinite termination, is optional at the discretion of the Transmission Provider.
001-105.9.2
If a request for termination of Secondary Network Service is used, the Transmission Provider shall specify such use in its posted business practice.
001-105.9.3
Request for Termination of Secondary Network Service
001-105.9.3.1
The Transmission Provider shall not refuse a valid and complete request for termination of Secondary Network Service.


001-105.9.4
Submission of Request for Termination of Secondary Network Service 
001-105.9.4.1
The Network Customer may enter and update information on OASIS in association with a request for termination of Secondary Network Service prior to submission to the Transmission Provider by setting the status of the request to PENDING.
001-105.9.4.2
The Network Customer shall indicate to the Transmission Provider that the request for termination of Secondary Network Service is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.9.4.3
OASIS shall set the queue time for the request for termination of Secondary Network Service to the time that the Network Customer submits the request, which shall set the request to QUEUED.

001-105.9.4.4
The Transmission Provider shall acknowledge the queued request for termination of Secondary Network Serviceby setting the status of the request to RECEIVED.

001-105.9.5
Initial Review of Request for Termination of Secondary Network Service 

001- 105.9.5.1
The Transmission Provider shall review the request for termination of Secondary Network Service to determine if the request: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; and (2) is consistent with the Transmission Provider’s tariff requirements.

001- 105.9.5.2
The Transmission Provider shall respond to a request by setting the status to one of the following:

I.
INVALID 


II.
COMPLETED

001-105.9.6
Invalid Request for Termination of Secondary Network Service 
001-105.9.6.1
If the information necessary to process the request for termination of Secondary Network Service is not provided, the Transmission Provider shall set the state of the request for termination of Secondary Network Service to INVALID and the request shall be deemed withdrawn.

001-105.9.6.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for termination of Secondary Network Service, which will be assigned a new unique identifier and a new queue time.

















001-105.9.7
Completed Request for Termination of Secondary Network Service 
001-105.9.7.1
Once the Transmission Provider has set the status of the request for termination of Secondary Network Service to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.9.8
Acceptance of Request for Termination of Secondary Network Service
001-105.9.8.1
Once the status of the request for termination of Secondary Network Service is set to COMPLETED, the status of the request shall then be changed to ACCEPTED.

001-105.9.9
Customer Actions
001-105.9.9.1
After the status of the request for termination of Secondary Network Service has been set to ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request by setting the status to CONFIRMED or WITHDRAWN. 

001-105.9.10
Final Disposition of Request for Termination of Secondary Network Service 
001-105.9.10.1
Once CONFIRMED, the request for termination of Secondary Network Service will be incorporated into the associated CONFIRMED NITS Application.

001-105.9.10.2
If, within the time limits specified in Table 105-A Network Timing Requirements, the Network Customer fails to set the status of the ACCEPTED request for termination of Secondary Network Service to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request to RETRACTED. 
001-105.9.10.2.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for termination of Secondary Network Service, which will be assigned a new unique identifier and a new queue time.

























� Termination of a Network Scheduling Right is also known as “Undesignation” of a Network Scheduling Right.





�Include a definition “Scondary Network Service - Non-firm NITS from non-designated resources.”





Page 10 of 11

 5/27/10


