
Changes to WEQ-002
002-2.4
INTERNET TOOL REQUIREMENTS

Support for the following specific internet tools is required, both for use over the public Internet as well as for any private connections between Users and OASIS Nodes:

a. Browser Support
OASIS Nodes shall iensure that Users running browsers commercially available and in common use shall have a fully functional user interface based on the Interface Requirements defined in Standards WEQ-001-4 WEQ-002-4 and WEQ-002-6.
Browser Characteristics (includes defined NAESB WEQ current versions):
Features and extensions (e.g. plug-ins), as supported by the latest Generally Available (GA) versions of both Netscape® and Internet Explorer® within 9 months of such GA version

becoming commercially available.  the top 3 commercial browsers, based on market share, are acceptable for use once adopted and incorporated in the GA browsers of all top 3 commercial browsers.
b. HTMLBrowser-based Forms and Plugins
Browser-based Forms shall be provided by the TSIPs to allow Customers to enter information to the OASIS Node. Generally Available browser plugins may be used to provide browser based forms.  
002-3.3
ACCESS TO INFORMATION 
c. Downloading Capability
Users shall be able to download from an OASIS Node the TS Information in electronic format as a file. The information required to be made available for downloading and rules for formatting of this downloaded data are described in Business Practice Standards WEQ-002-4.2 and WEQ-002-6.
e. Uploading Capability

Customers shall be able to programmatically upload to OASIS Nodes the same information as provided for in the filled-out on-line data entry forms. TSIPs shall ensure that programmatically uploaded forms are information is handled identically to forms filled out on-line. TSIPs shall provide forms templates that support the HTTP input of Comma Separated ValueVariable (CSV) records. This capability shall permit a Customer to upload CSV records using standard Web browsers or additional client software to specify the location of the CSV records stored on the Customer's hard disk. The required templates and rules for formatting of this uploaded data are described in Business Practice Standards WEQ-002-4 and WEQ-002-6.
002-3.4
PROVIDER UPDATING REQUIREMENTS
c. OASIS Node Space for Secondary Provider
To permit users to readily find TS Information for the transmission systems that they are interested in, TSIPs shall provide database space on their OASIS Node for all Secondary Providers who have purchased, and who request to resell, transmission access rights for the power systems of the Transmission Providers supported by that OASIS Node. The right to resell transmission access right is not applicable to Network Integration Transmission Service (NITS).
d. Secondary Provider Posting to Primary Provider Node
The Secondary Providers shall post the relevant TS Information on the OASIS Node associated with each Transmission Provider from whom the transmission access rights were originally purchased. The right to resell transmission access right is not applicable to NITS.
e. Secondary Provider Posting Capabilities
The TSIPs shall ensure that the Secondary Providers shall be able to post their TS Information to the appropriate OASIS Nodes using the same tools and capabilities as the Transmission Customers, meet the same performance criteria as the Transmission Providers, and allow users to view these postings on the same display page, using the same tables, as similar capacity being sold by the Transmission Providers. The right to resell transmission access right is not applicable to NITS.
h. Transaction Tracking by an Assignment Reference Number
All requests for purchase of transmission or ancillary services will be marked by a unique accounting number, called an Assignment Reference Number
. 
002-3.6
USER INTERACTION WITH AN OASIS NODE

There are three basic types of user interactions which must be supported by the OASIS Node. These interactions are defined in Business Practice Standard WEQ-002-4.3.
a. Query/Response
The simplest level of interactions is the query of posted information and the corresponding response. The User may determine the scope of the information queried by specifying values, through an browser-based form, a URL string, or an uploaded file, using Query Variables and their associated input values as defined with each Template in WEQ-002-4.3. The response will be either a browser-based display or a record oriented file, depending on the output format that the User requests. The TSIP may establish procedures to restrict the size of the response, if an overly broad query could result in a response that degrades the overall performance of the OASIS Node for their Users.
b. Purchase Request
The second type of Transmission Customer interaction is the submittal of a request to purchase a service. The Transmission Customer completes an input form, a URL string or uploads a file and submits it to the OASIS Node. The uploaded file can either be a series of Query Variables or a record oriented file, as applicable and supported for the particular service(s) being requested.  The Seller of the service, possibly off-line from the OASIS Node, processes the request and the status is updated accordingly. If the Seller approves the purchase request, then the Transmission Customer must again confirmed it. Once the Transmission Customer confirms an approved purchase, a reservation for those services is considered to exist, unless later the reservation is reassigned, displaced, or annulled or, if related to the arrangement of NITS, is later terminated or released.
c. Upload and Modify Postings

Transmission Customers who wish to resell their rights may upload a form, create the appropriate OASIS URL or upload a file to post services for sale. A similar process applies to eligible third party Sellers of ancillary services. The products are posted by the TSIP. The Seller may monitor the status of the services by requesting status information. Similarly the Seller may modify its posted Transmission Services by submitting a service modification request through a form, a OASIS URL query, or by uploading a file.  The right to resell transmission access rights is not applicable to NITS.
002-4
GENERAL OASIS AND PTP INTERFACE REQUIREMENTS
The following technical requirements apply to the posting and availability of information on OASIS related to general OASIS information and the arrangement of Point-to-Point (PTP) Transmission and related Ancillary Services.  The technical requirements for the arrangement of Network Integration Transmission Service are specified in Business Practice Standard WEQ-002-6. 
002-4.2.1.3
Script Names
Common Gateway Interface (CGI) scripts shall be located in the directory "data" as follows (case sensitive): http://(OASIS Node name)/OASIS/ (PRIMARY_PROVIDER_CODE) /data/(cgi script name)?(Query Variables)

Where:

(cgi script name) is the OASIS Template name in lower case (see section 4.3). Other cgi scripts may be defined as required to implement the HTML browser-based interface to the documented Templates.

(Query Variables) is a list of query variables with their settings formatted as defined by the HTTP protocol (i.e., URL encoded separated by ampersands).

Example:

To request the hourly scheduledetail Template at Primary Provider WXYZ Co.

http://www.wxyz.com/OASIS/WXYZ/data/schedule ?templ=scheduledetail& ver=1.5& fmt=data &stime=19960412040000PD &sptime=19960412100000PD& pprov=wxyz

002-4.2.3
OASIS Template Constructs
002-4.2.3.1
OASIS Template Construction
Business Practice Standard WEQ-002-4.3 lists the set of OASIS Templates that shall be supported by all OASIS Nodes for accessing or posting of General OASIS and PTP information. These OASIS Templates are intended to be used precisely as shown for the transfer of data to/from OASIS Nodes, and identify, by Data Elements names, the information to be transferred. The construction of the OASIS Templates shall follow the rules described below:
b. Transfer Protocol
OASIS Templates are transferred using the HTTP protocol. Templates shall support both the "GET" and "POST" methods for transferring "query string" name/value pairs, as well as the OASIS specific "comma separated value" (CSV) format for posting and retrieval of information from OASIS Nodes. HTML Browser-based screens and forms shall be implemented for each OASIS Template.
002-4.2.3.3
Template HTML Browser-based Screens

Though the exact form and content of the HTML screens and forms associated with the OASIS Templates are not dictated by this document, the following guidelines shall be adhered to for all HTML screens and forms implemented on an OASIS Node:
a. Data Element Headings
Data displayed in any HTML browser-based screen/form shall be labeled such that the associated data value(s) is(are) easily and readily identifiable as being associated with a particular OASIS Template Data Element. HTML "Hot-Links" Hyperlinks or other pointer mechanisms may be provided for Data Element headings in OASIS Templates which permit the User to access documentation describing the meaning, type, and format of the associated data.
b. Display Limitations 
HTML Browser-based screens and forms shall be implemented in such a way to allow the display of all data specified for each OASIS Template. This may take the form of "wrapping" of lines of information on the screen, the use of horizontal and/or vertical scrolling, or the use of "Hot-Links" Hyperlinks or other pointer mechanisms. There is not necessarily a one-to-one relationship between HTML screens implemented on OASIS Nodes, and their associated Template. However, all Template Data Elements shall be viewable through one or more HTML browser-based screens.
c. Template Navigation
HTML "Hot-Links" Hyperlinks or other pointer mechanisms may be provided to assist the navigation between screens/forms associated with related OASIS Templates.

002-4.2.4.1
Query Requirements

Query information is transferred to an OASIS Node using the HTTP protocol as a string of Query Variables in the form of name/value pairs. Query Variable name/value pairs are specified as a collection of encoded strings (e.g., blank characters replaced by plus (+) character, etc.) in the form of name=value, with each name/value pair separated by ampersands (&) (see section 4.2.6). OASIS Nodes shall support the following methods for Users to input Query information:
a. HTMLBROWSER FORMS
HTMLBrowser-based FORM input and/or hypertext links shall be provided to allow Users to specify OASIS Template Query Variables. This will be the easiest way to obtain information and should be the choice of most casual Users and for simple requests. The exact nature and form of these HTML screens are not specified, and may differ between OASIS Nodes.
002-4.2.5.1
Input Requirements

a. HTMLBROWSER FORMS
HTMLBrowser-based FORM input shall be provided to allow Users to specify the necessary Input data associated with each Input/Response OASIS Template. This may be in the form of fill in blanks, buttons, pull-down selections, etc., and may use either the GET or POST methods. The exact nature and form of these HTML screens are not specified, and may differ between OASIS Nodes.
002-4.2.10
Transaction Process
OASIS shall implement OASIS Templates that allow Transmission Customers and Sellers to enter, modify and consummate arrangements for PTP transmission and ancillary services.  In addition to the OASIS Template interface defined by these Business Practice Standards WEQ-002-4.2.10.1 through WEQ-002-4.2.10.4, OASIS shall also provide a browser-based user interface that implements the same basic functionality provided by the OASIS Template interface through one or more displays or forms.

The OASIS PTP transaction process is controlled through the transaction REQUEST_TYPE, identifying the type of transaction being conducted, and STATUS, indicating the request’s current state in the transaction process. The Business Practice Standard WEQ-013-2 describes in detail the transaction process that must be implemented on OASIS for PTP and related Ancillary Service arrangements.  The OASIS Implementation Guide also provides specific requirements and recommendations related to the handling of particular requests from both a technical and business process perspective.
002-4.2.10.1
Request Types
Transmission Customers must submit requests for PTP transmission and ancillary services to OASIS using one of the valid enumerated values in the REQUEST_TYPE Data Element.  The valid values for REQUEST_TYPE are defined in the Business Practice Standard WEQ-003.  Each REQUEST_TYPE is also defined and its use in the OASIS transaction process in the Business Practice Standard WEQ-013-2.1.  The Implementation Guide also describes request type specific requirements.
002-4.2.10.3
Dynamic Notification

Transmission Customers may specify the delivery of dynamic notification messages on each change in STATUS or any other Data Element(s) associated with an ancillary, or PTP Transmission Service reservation. OASIS Nodes shall support the delivery of dynamic notification messages through either the HTTP protocol or by electronic mail. The selection of which mechanism is used and the contents of the messages delivered to the client program or e-mail address is defined by the content of the STATUS_NOTIFICATION Data Element as described in the next subsections. Regardless of whether this dynamic notification method is used or not, it shall still remain the user's responsibility to get the desired information, possibly through the use of a periodic "integrity request". OASIS Nodes shall not be obligated or liable to guarantee delivery/receipt of messages via the STATUS_NOTIFICATION mechanism other than on a "best effort" basis. As an extension of the Transmission Customer company registration information of the host, domain and port identifiers for dynamic notification of changes in the Transmission Customer's purchase requests, a field should be added to the Transmission Customer company's registration information that would define/identify how notification would be delivered to that Transmission Customer company should a PTP transmission or ancillary purchase request be directed to that Transmission Customer company as a Seller of a transmission or ancillary service. The pertinent information would be either a full HTTP protocol OASIS URL defining the protocol, host name, port, path, resource, etc. information or a "mailto:" OASIS URL with the appropriate mailbox address string. On receipt of any purchase request directed to that Transmission Customer Company as SELLER via either the transrequest or ancrequest OASIS Templates, or on submission of any change in request STATUS (or any other Data Elements associated with the request) to that Transmission Customer company as SELLER via either the transcust or anccust OASIS Templates, a notification message formatted as documented for the delivery of notification to the Transmission Customer, shall be formatted and directed to the Seller. This extension of dynamic notification is required only where the Transmission Provider has programmed its computer system for its own notification.
002-4.2.10.4
Use of Comments

PTP Transmission and ancillary service reservation OASIS templates support the following text Data Elements to be used to communicate information between parties (i.e., Transmission Provider, Reseller, and Transmission Customer) to a transaction:
· PRIMARY_PROVIDER_COMMENTS - for information to be communicated by the Transmission Provider to all other parties

· SELLER_COMMENTS - for information to be communicated by the Seller (either Transmission Provider or Reseller) to the Transmission Customer

· CUSTOMER_COMMENTS - for information to be communicated by the Transmission Customer to the Seller

· STATUS_COMMENTS - for information to be communicated by any party to all other parties

Use of these comments fields is at the discretion of the parties to the transaction with the exception that Sellers of services must indicate via SELLER_COMMENTS the reason for denial of any request for service (STATUS values of INVALID, REFUSED, or DENIED). Transactions which are subject to displacement, either before or after confirmation (STATUS values of SUPERSEDED or DISPLACED), shall also include a reference to the competing reservation request that initiated the displacement in the SELLER_COMMENTS.
002-4.2.12
Linking of Ancillary Services to PTP Transmission Services
The requirements related to ancillary services are shown in transoffering (and updated using transupdate) using the ANC_SVC_REQ Data Element. The value must conform to the following syntax. The concept is to enter zero or more unique ancillary service requirements.
[ [y:x] 0 [;y:x] n ]

The letter y represents the code for the ancillary service per the OASIS Data Dictionary allowed values for AS_TYPE.

The letter x represents the code for requirements as follows:

· M - Mandatory, which implies that the Transmission Provider must provide the ancillary service

· R - Required, which implies that the ancillary service is required, but not necessarily from the Transmission Provider

· O - Optional, which implies that the ancillary service is not necessarily required, but could be provided

· U - Unknown, which implies that the requirements for the ancillary service are not known at this time
The letter n represents the maximum occurrences which shall not exceed the number of allowed values for AS_TYPE.

Ancillary services may be requested by a user from the Seller at the same time as Transmission Services are requested via the transrequest OASIS Template Data Element ANC_SVC_LINK. The value must conform to the following syntax. The concept is to enter zero or more unique ancillary service request as indicated by the ANC_SVC_REQ value as being Mandatory or Required.
[ [y:(AA[:xxx[:yyy[:nnn]]])] 0 [;y:(AA[:xxx[:yyy[:nnn]]])] n ]

The letter y represents the code for the ancillary service per the OASIS Data Dictionary allowed values for AS_TYPE.

The AA is the appropriate PRIMARY_PROVIDER_CODE, SELLER_CODE, or CUSTOMER_CODE, and represents the Transmission Customer company providing the ancillary services. "AA" may be unspecified for "xxx" type identical to "FT", in which case the ":" character must be present and precede the "FT" type. If multiple "AA" terms are necessary, then each "AA" grouping will be enclosed within parenthesis, with the overall group subordinate to the AS_TYPE specified within parenthesis. 

The xxx represents either:

· "FT" to indicate that the Transmission Customer will determine ancillary services at a future time, or

· "SP" to indicate that the Transmission Customer will self-provide the ancillary services, or

· "RQ" to indicate that the Transmission Customer is asking the OASIS Node to initiate the process for making an ancillary services reservation with the indicated Transmission Provider or Reseller on behalf of the Transmission Customer. The Transmission Customer must then continue the reservation process with the Transmission Provider or Reseller. If the Transmission Services request is for pre-confirmed service, then the ancillary services shall also be pre-confirmed, or

· "AR" to indicate an Assignment Reference Number sequence follows.
The terms "yyy" and "nnn" are subordinate to the xxx type of "AR". The yyy represents the ancillary services reservation number (ASSIGMNENT_REF) and nnn represents the capacity of the reserved ancillary services. Square brackets are used to indicate optional elements and are not used in the actual linkage itself. Specifically, the :yyy is applicable to only the "AR" term and the :nnn may optionally be left off if the capacity of ancillary services is the same as for the Transmission Services, and optionally multiple ancillary reservations may be indicated by additional (xxx[:yyy[:nnn]]) enclosed within parenthesis. 
If no capacity amount is indicated, the required capacity is assumed to come from the ancillary reservations in the order indicated in the codes, on an "as-needed" basis.

Examples for the handling of ancillary service linkage to Transmission Service requests/reservations are presented in Business Practice Standard WEQ-013-4.2.
002-4.3
GENERAL OASIS AND PTP TEMPLATE DESCRIPTIONS

Unless otherwise specifically indicated, Business Practice Standard WEQ-002-4.3, including all subsections, shall only apply to PTP transmission and associated ancillary services. NITS template requirements are specified in Business Practice Standard WEQ-002-6.  
The following OASIS Templates define the Data Elements in fixed number and sequence which must  be provided for all data transfers to and from the OASIS Nodes. The definitions of the Data Elements are listed in Business Practice Standard WEQ-003. TSIPs must provide a more detailed supplemental definition of the list of Sellers, Posted Paths, POR, POD, capacity types, ancillary service types and OASIS Templates online, clarifying how the terms are being used (see Business Practice Standard WEQ-00204.3.5.1, list ). If POR and POD are not used, then Posted Path must include directionality. Many of the OASIS Templates represent query/response interactions between the User and the OASIS Node.  These interactions are indicated by the "query" and "response" section respectively of each OASIS Template.  Some, as noted in their descriptions, are input information, sent from the user to the OASIS Node. The response is generally a mirror of the input, although in some OASIS Templates, the TSIP must add some information.

002-4.3.1
OASIS Template Summary
The following table provides a summary of the process areas, and OASIS Templates to be used by users to query information that will be downloaded or to upload information to the Transmission Provider’s OASIS. These processes define the functions that must be supported by an OASIS Node related to the General OASIS, PTP transmission and related ancillary service information.
	Process Area 
	Process Name 
	OASIS Template(s) 

	4.3.2 Query/Response of Posted Services Being Offered 
	Transmission Capacity Offerings Available for Purchase (query/response)
	transoffering 

	
	Ancillary Services Available for Purchase (query/response) 
	ancoffering 

	
	
	

	4.3.3 Query/Response of Services Information 
	Transmission Services (query/response)
	transserv 

	
	Ancillary Services (query/response)
	ancserv 

	
	
	

	4.3.4 Query/Response of Schedule details and Curtailments, Security Events, Reductions, and System Data 
	Transmission Schedule (query/response) 
	Sscheduledetail/1/ 

	
	Security Event (query/response) 
	security/1/ 

	
	Transmission Reservation Reduction (query/response) 
	reduction/1/ 

	
	System Data (query/response)
	systemdata/1/  

	
	
	

	4.3.5 Query/Response of Lists of Information 
	List (query/response)
	list/1/ 

	
	
	

	4.3.6 Purchase Transmission Services 
	Transmission Customer Capacity Purchase Request (input/response) 
	transrequest 

	
	Status of Transmission Customer Purchase Request/Reservation (query/response)
	transstatus 

	
	
	

	
	Renewal Provisions (query/response)
	rollover

	
	CCO Provisions (query/response)
	cco

	
	Seller Approval of Purchase (input/response)
	transsell

	
	Transmission Customer Confirmation of Purchase (input/response)
	transcust 

	
	Seller to Reassign Service Rights to Another Transmission Customer (input/response) 
	transassign 

	
	
	

	4.3.7 Seller Posting of Transmission Service 
	Seller Capacity Posting (Input) 
	transpost 

	
	Seller Capacity Modify (input/response) 
	transupdate 

	
	
	

	4.3.8 Purchase of Ancillary Services
	Transmission Customer Requests to Purchase Ancillary Services (input/response) 
	ancrequest 

	
	Ancillary Services  Status (query/response) 
	ancstatus 

	
	Seller Approves Ancillary Service (input/response) 
	ancsell 

	
	Transmission Customer a Ancillary Service (input/response) 
	anccust 

	
	Seller to Reassign Service Rights to Another Transmission Customer (input/response) 
	ancassign 

	
	
	

	4.3.9 Seller Posting of Ancillary Services 
	Seller Ancillary Services Posting (input/response) 
	ancpost 

	
	Seller Modify  Ancillary Services Posting (input/response) 
	ancupdate 

	
	
	
	

	4.3.10 Informal Messages 
	Transmission
Provider/Transmission
Customer Want Ads and Informal Message Posting Request (input/response) 
	messagepost/1/  

	
	Message (query/response)
	message/1/  

	
	Transmission
Provider/Reseller Message
Delete Request (input/response)
	messagedelete/1/ 

	
	Personnel Transfers (query/response)
	personnel/1/ (optional template to be implemented at Transmission Provider’s discretion)

	
	Discretion (query/response)
	discretion/1/ (optional template to be implemented at Transmission Provider’s discretion)

	
	Standards of Conduct (query/response)
	stdconduct/1/  (optional template to be implemented at Transmission Provider’s discretion)

	
	
	

	4.3.11 OASIS Audit Log 
	OASIS Audit Log (query/response)
	(various) /1/ 


/1/  These templates provide access to General OASIS information postings applicable to both PTP and NITS transactions on OASIS.

Additions to WEQ-002
002-101
NITS Requirements 

002-101.1
NITS Template Hierarchy 
NITS on OASIS shall utilize a Process – SubProcess – Template hierarchy as shown in Diagram XXX – NITS Template Hierarchy Flowchart.
Diagram XXX - NITS  Hierarchy Flowchart

                         Process                      SubProcess                      Template

[image: image1.png]NITSApplication -
Request/Update

NITSGeneral Information -
Request/Update

NITSResource-
Designate/Update/Terminat
e (Temporary/Indefinite)

NITSGeneration -
Request/Update/Eliminate

NITSLoad -
Designate/Update/Terminate
(Indefinite)

NITSCustomerSysteminfo-
Request/Update/Eliminate

NITSCustomerDesc

NITSAgentDesc

NITSAncillaryDesc

NITSAdditionallnfo

NITSResourceDesc

NITSResourceCapacit
y

NITSResourceExternal
Transmission

NITSResourceProjecti
on

NITSGenerationDesc|

NITSGenerationAttrib)
ute

NITSGenerationRestr
iction

NITSGenerationDisp
atch

NITSLoadDesc

NITSLoadProjection

N

NITSCustSysteminfo

NITSNetworkSchedulingRi
ghts (Firm)-
Request/Update/Terminate
(Temporary/Indefinite)

Desc

f~_|NITSTransmissionCayx

city AllocationProfile

NITSNetworkSchedulingRig
hts (Secondary)-
Request/Update/Terminate
(Indefinite)

NITSTransmissionCapa|

city AllocationProfile





002-101.2
NITS Process,  Subprocess,  and Templates Transactions and Data Elements
Table XXX – NITS Template Transactions and Data Elements illustrates the required templates, sub templates and sub sub templates, along with the data elements and masking of certain data elements that is required.  The columns headers “R”, “C”, “T” and “Q” are abbreviations for:
Column “R” = Request

Column “C” = Customer supplied data

Column “T” = TP/OASIS supplied data

Column “Q” = Query data

Table XXX – NITS Template Transactions and Data Elements

	Process Area

	Process
	SubProcess
	Template
	R
	C
	T
	Template Use
Optional at TP’s Discretion
	Data
Elements
	Is Data Element Masked?

	Submit/Update NITS Application
	NITSRequestApplication
NITSUpdateApplication
NITSQueryApplication
	
	
	X
X
	
	
	
	
	

	
	
	NITSRequestApplicationDesc

NITSUpdateApplicationDesc

NITSEliminateApplicationDesc

NITSQueryApplicationDesc
	
	X
X
X
	
	
	
	New data element
	

	
	
	
	nitsapp
	
	
	
	N
	
	

	done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF (of Application)
	No

	Done
	
	
	
	
	X
	
	
	SELLER_CODE
	No

	Done
	
	
	
	
	X
	
	
	SELLER_DUNS
	No

	Done
	
	
	
	
	X
	
	
	STATUS_NOTIFICATION
	No

	Done
	
	
	
	
	X
	
	
	START_TIME (of Application)
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME (of Application)
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	nitscust
	X
	
	
	N
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF 
(of Application)
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_CODE
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_DUNS
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_NAME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_STATEMENT
	No

	Done
	
	
	
	
	
	X
	
	AFFILIATE_FLAG
	No

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	agent
	X
	
	
	Y
	
	

	done onlyEERIZATIONe AGENT_PHONE, AGENT_FAX, AGENT_EMAIL, AGENT_DUNS




























































	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF 
(of Application)
	No

	Done
	
	
	
	
	X
	
	
	AGENT_ROLE
	Yes

	Done
	
	
	
	
	X
	
	
	AGENT_CODE
	Yes

	Done
	
	
	
	
	X
	
	
	AGENT_DUNS
	Yes

	Done
	
	
	
	
	X
	
	
	AGENT_NAME
	Yes

	Done
	
	
	
	
	X
	
	
	AGENT_AUTHORIZATION
	Yes

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	nitsanc
	X
	
	
	Y
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF 
(of Application)
	No

	Done
	
	
	
	
	X
	
	
	AS_TYPE
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_CODE
	No

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	nitsadditionalinfo
	X
	
	
	Y
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF 
(of Application)
	No

	Done
	
	
	
	
	X
	
	
	ADDITIONAL_INFO {TP specific}
	Yes

	Done
	
	
	
	
	X
	
	
	CUSTOMER_CREDIT_WORTH
	Yes

	Done
	
	
	
	
	X
	
	
	CUSTOMER_DEPOSIT
	Yes

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	
	
	
	
	
	
	

	Submit/update NITS DNR
	
	NITSRequestDNR
NITSTerminateDNRTemporary
NITSTerminateDNRIndefinite

NITSQueryDNR
	
	X
X
X
	
	
	
	
	

	
	
	
	nitsdnr
	X
	
	
	
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF 
(of Application)
	No

	Done
	
	
	
	
	X
	
	
	GEN_REF 
(references back to the AREF of one or more on-system or off-system ; generation records )
	No

	Done
	
	
	
	
	X
	
	
	DNR_NAME
	No

	Done
	
	
	
	
	X
	
	
	DNR_TYPE
	No

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	nitsdnrcapacity
	X
	
	
	
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF 
(of Application)
	No

	Done
	
	
	
	
	X
	
	
	DNR_CAPACITY_REQUESTED
	No

	Done
	
	
	
	
	
	X
	
	DNR_CAPACITY_GRANTED
	No

	Done
	
	
	
	
	X
	
	
	DNR_ATTESTATION
	No

	Done
	
	
	
	
	X
	
	
	CAPACITY_REQUESTED
	No

	Done
	
	
	
	
	
	X
	
	CAPACITY_GRANTED
	No

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	nitsdnrexternaltrans
	X
	
	
	
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF(of Application)
	No

	
	
	
	
	
	
	X
	
	DNR_REF
	No

	
	
	
	
	
	X
	
	
	DNR_EXTERNAL_TP_CODE
	No

	
	
	
	
	
	X
	
	
	DNR_EXTERNAL_TP_AREF

	No

	
	
	
	
	
	X
	
	
	URL_EXTERNAL_AREF

	No

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	

	Done
	
	
	nitsdnrproject

	X
	
	
	
	
	

	Done 
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF (of application)
	No

	Done 
	
	
	
	
	X
	
	
	DNR_PROJECTION_CAPACITY
	Yes

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	 Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	Submit/update NITS Generation
	
	NITSRequestGeneration

NITSUpdateGeneration

NITSEliminateGeneration

NITSQueryGeneration
	
	X
X
X
	
	
	
	
	

	
	
	
	nitsonsysgen
	X
	
	
	
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF (of Application
	No

	Done

	
	
	
	
	X
	
	
	GEN_NAME
	No

	Done
	
	
	
	
	X
	
	
	GEN_GEOGRAPHIC_LOCATION
	No

	Done
	
	
	
	
	X
	
	
	GEN_ELECTRICAL_LOCATION
	No

	Done
	
	
	
	
	X
	
	
	POINT_OF_RECEIPT
	No

	Done
	
	
	
	
	
	
	
	
	

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	nitsonsysgenat
	X
	
	
	
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF (of Application)
	No

	Done
	
	
	
	
	X
	
	
	GEN_JOINT_OWNERSHIP
	No

	Done
	
	
	
	
	X
	
	
	GEN_OPERATOR
	No

	Done
	
	
	
	
	
	
	
	
	

	Done
	
	
	
	
	X
	
	
	GEN_ATTR_MWCAPICTY
	Yes

	Done
	
	
	
	
	X
	
	
	GEN_ATTR_MWDESIGNATED
	Yes

	Done
	
	
	
	
	X
	
	
	GEN_ATTR_LEDVAR
	Yes

	Done
	
	
	
	
	X
	
	
	GEN_ATTR_LAGVAR
	Yes

	Done
	
	
	
	
	
	
	
	
	

	Done
	
	
	
	
	X
	
	
	GEN_ATTRIBUTE_DESC
	Yes

	done
	
	
	
	
	X
	
	
	GEN_THIRD PARTY_SALES
	Yes

	Done
	
	
	
	
	X
	
	
	GEN_ATTRIBUTE_ATTACHMENT

	Yes

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	nitsonsysgenrestr
	X
	
	
	
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF (of Application)
	No

	Done
	
	
	
	
	X
	
	
	GEN_RESTR_RESTROPER
	Yes

	Done
	
	
	
	
	X
	
	
	GEN_RESTR_MAINTSCHED
	Yes

	Done
	
	
	
	
	X
	
	
	GEN_RESTR_MIN
	Yes

	Done
	
	
	
	
	X
	
	
	GEN_RESTR_NORM
	Yes

	Done
	
	
	
	
	X
	
	
	GEN_RESTR_MUSTRUN
	Yes

	Done
	
	
	
	
	
	
	
	GEN
	

	Done
	
	
	
	
	X
	
	
	GEN_RESTRICTION_DESC
	Yes

	Done
	
	
	
	
	X
	
	
	GEN_RESTRICTION_ATTACHMENT

	Yes

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	nitsonsysgendisp
	X
	
	
	
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF (of Application)
	No

	Done
	
	
	
	
	X
	
	
	VARIABLE_GEN_COST
	Yes

	Done
	
	
	
	
	X
	
	
	THIRD_PARTY_POWER_ARRANGEMENTS
	Yes

	Done
	
	
	
	
	X
	
	
	DISPATCH_MERIT_ORDER
	Yes

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	nitsoffsysgen
	X
	
	
	
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF (of Application)
	No

	Done
	
	
	
	
	X
	
	
	GEN_NAME
	No

	Done
	
	
	
	
	X
	
	
	GEN_GEOGRAPHIC_LOCATION
	No

	Done
	
	
	
	
	X
	
	
	GEN_ELECTRICAL_LOCATION
	No

	Done
	
	
	
	
	X
	
	
	POINT_OF_RECEIPT
	No

	Done
	
	
	
	
	X
	
	
	ADDITIONAL_INFO {TP specific}
	Yes 

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	nitsoffsysgenat
	X
	
	
	
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF (of Application)
	No

	Done
	
	
	
	
	X
	
	
	SOURCE_BA
	Yes

	Done
	
	
	
	
	X
	
	
	POINT_OF_DELIVERY
	No

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	nitsoffsysgenrestr
	X
	
	
	
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF (of Application)
	No

	Done
	
	
	
	
	X
	
	
	GEN_RESTR_RESTROPER
	Yes

	Done
	
	
	
	
	X
	
	
	GEN_RESTR_MAINTSCHED
	Yes

	Done
	
	
	
	
	X
	
	
	GEN_RESTR_MIN
	Yes

	Done
	
	
	
	
	X
	
	
	GEN_RESTR_NORM
	Yes

	Done
	
	
	
	
	X
	
	
	GEN_RESTR_MUSTRUN
	Yes

	Done
	
	
	
	
	X
	
	
	GEN_RESTRICTION_DESC
	Yes

	Done
	
	
	
	
	X
	
	
	GEN_RESTRICTION_ATTACHMEN
T
	Yes

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	nitsoffsysgendisp
	X
	
	
	
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF (of Application)
	No

	Done
	
	
	
	
	X
	
	
	VARIABLE_GEN_COST
	Yes

	Done
	
	
	
	
	X
	
	
	THIRD_PARTY_POWER_ARRANGEMENTS
	Yes

	Done
	
	
	
	
	X
	
	
	DISPATCH_MERIT_ORDER
	Yes

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	Submit/update NITS Load
	
	NITSRequestLoad

NITSUpdateLoad

NITSEliminateLoad

NITSQueryLoad
	
	X
X
X
	
	
	
	
	

	
	
	
	nitsload
	
	
	
	 
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF (of Application)
	No

	Done
	
	
	
	
	X
	
	
	SINK
	No

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No


	Done
	
	
	nitsloadadditionalinfor
	X
	
	
	Y
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF (of Application)
	No

	Done
	
	
	
	
	
	
	
	NITS_LOAD_REF
 (of NITS load)
	

	Done
	
	
	
	
	X
	
	
	POINT_OF_DELIVERY
	No

	Done
	
	
	
	
	X
	
	
	VOLTAGE_LEVEL
	Yes

	Done
	
	
	
	
	X
	
	
	SUMMER LOAD_FORECAST
	No

	Done
	
	
	
	
	X
	
	
	WINTER LOAD FORECAST
	No

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	nitsinterruptload
	
	
	
	Y
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF (of Application)
	No

	Done
	
	
	
	
	X
	
	
	NITS_LOAD_REF
 (of NITS load)
	No

	Done
	
	
	
	
	x
	
	
	POINT_OF_DELIVERY
	No

	Done
	
	
	
	
	X
	
	
	SUMMER_INTERRUPT_LOAD_CONDITIONS
	No

	Done
	
	
	
	
	X
	
	
	WINTER_INTERRUPT_LOAD_CONDITIONS
	No

	Done
	
	
	
	
	X
	
	
	SUMMER_INTERRUPT_LOAD_AMOUNT
	No

	Done
	
	
	
	
	X
	
	
	WINTER_INTERRUPT_LOAD_AMOUNT
	No

	Done
	
	
	
	
	X
	
	
	SUMMER_INTERRUPT_LIMITATIONS
	No

	Done
	
	
	
	
	X
	
	
	WINTER_INTERRUPT_LIMITATIONS
	No

	Done
	
	
	
	
	X
	
	
	SUMMER_INTERRUPT_FREQUENCY
	No

	Done
	
	
	
	
	X
	
	
	WINTER_INTERRUPT_FREQUENCY
	No

	Done
	
	
	
	
	X
	
	
	SUMMER_INTERRUPT_FREQUENCY_PERIOD
	No

	Done
	
	
	
	
	X
	
	
	WINTER_INTERRUPT_FREQUENCY_PERIOD
	No

	Done
	
	
	
	
	X
	
	
	WINTER_INTERRUPT_LOAD_PORTION
	No

	Done
	
	
	
	
	X
	
	
	SUMMER_INTERRUPT_LOAD_PORTION
	No

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	X
	
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	Submit/update NITS Customer System Info
	
	NITSRequestCustSysInfo

NITSUpdateCustSysInfo

NITSEliminateCustSysInfo

NITSQueryCustSysInfo
	
	X

X

X
	
	
	
	
	

	
	
	
	nitscustsysinfo
	X
	
	
	Y
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF (of Application)
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_SYSTEM_REF
	No

	Done
	
	
	
	
	X
	X
	
	REQUEST_STATUS
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_SYSTEM_NAME
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_SYSTEM_LOAD_FLOW
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_SYSTEM_OP_RESTRICTIONS
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_SYSTEM_OP_GUIDES
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_SYSTEM_CONTRACT_RESTRICTIONS
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_SYSTEM_TIE_THERMAL_RATING
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_SYSTEM_PROJECTION
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_SYSTEM_MAPS
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	Submit/update NITS NSR
	
	NITSRequestNSR

NITSUpdateNSR

NITSEliminateNSR

NITSQueryNSR
	
	X

X

X
	
	
	
	
	

	
	
	
	nitsnsr
	X
	
	
	
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS
	No

	Done
	
	
	
	
	X
	
	
	Related_REF (of Application)
	No

	Done
	
	
	
	
	X
	
	
	DNR_REF (of NITS DNR)
	No

	Done
	
	
	
	
	X
	
	
	LOAD_REF (of NITS load)
	No

	Done
	
	
	
	
	X
	X
	
	PATH_NAME
	No

	Done
	
	
	
	
	X
	X
	
	POINT_OF_RECEIPT
	No

	Done
	
	
	
	
	X
	X
	
	POINT_OF_DELIVERY
	No

	Done
	
	
	
	
	X
	X
	
	SOURCE
	No

	Done
	
	
	
	
	X
	X
	
	SINK
	No

	Done
	
	
	
	
	X
	X
	
	TS_CLASS
	No

	Done
	
	
	
	
	X
	X
	
	TS_TYPE
	No

	Done
	
	
	
	
	X
	X
	
	REQUEST_INTERVAL
	No

	Done
	
	
	
	
	X
	X
	
	TS_PERIOD
	No

	Done
	
	
	
	
	X
	X
	
	TS_WINDOW
	No

	Done
	
	
	
	
	X
	X
	
	TS_SUBCLASS
	No

	Done
	
	
	
	
	X
	X
	
	PROFILE
	Yes

	Done
	
	
	
	
	X
	
	
	CAPACITY_REQUESTED
	No

	Done
	
	
	
	
	
	X
	
	CAPACITY_GRANTED
	No

	Done
	
	
	
	
	X
	
	
	START_TIME
	No

	Done
	
	
	
	
	
	
	
	STOP_TIMEO
	No

	Done
	
	
	
	
	
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No


	Submit/update NITS Secondary
	
	NITSRequestSec

NITSUpdateSec

NITSEliminateSec

NITSQuerySec
	
	XXX
	
	
	
	
	

	
	
	
	nitssecondary
	X
	
	
	
	
	

	Done
	
	
	
	
	
	X
	
	ASSIGNMENT_REF
	No

	Done
	
	
	
	
	X
	X
	
	STATUS (for AREF)
	No

	Done
	
	
	
	
	X
	X
	
	APPLICATION_STATUS 
	No

	Done
	
	
	
	
	X
	
	
	RELATED_REF (of Application)
	No

	Done
	
	
	
	
	X
	
	
	LOAD_REF
	No

	Done
	
	
	
	
	X
	X
	
	PATH_NAME
	No

	Done
	
	
	
	
	X
	X
	
	POINT_OF_RECEIPT
	No

	Done
	
	
	
	
	X
	X
	
	POINT_OF_DELIVERY
	No

	Done
	
	
	
	
	X
	X
	
	SOURCE
	No

	Done
	
	
	
	
	X
	X
	
	SINK
	No

	Done
	
	
	
	
	X
	X
	
	TS_CLASS
	No

	Done
	
	
	
	
	X
	X
	
	TS_TYPE
	No

	Done
	
	
	
	
	X
	X
	
	SERVICE_INCREMENT
	No

	Done
	
	
	
	
	X
	X
	
	TS_PERIOD
	No

	Done
	
	
	
	
	X
	X
	
	TS_WINDOW
	No

	Done
	
	
	
	
	X
	X
	
	TS_SUBCLASS
	No

	Done
	
	
	
	
	X
	X
	
	START_TIME
	No

	Done
	
	
	
	
	X
	X
	
	STOP_TIME
	No

	Done
	
	
	
	
	X
	
	
	CAPACITY_REQUESTED
	No

	Done
	
	
	
	
	
	X
	
	CAPACITY_GRANTED
	No

	Done
	
	
	
	
	X
	
	
	CUSTOMER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	PRIMARY_PROVIDER_COMMENTS
	No

	Done
	
	
	
	
	
	X
	
	TIME_OF_LAST_UPDATE
	No

	
	
	
	NITSAudit (this is reminder that audit templates will need to be named by tech team or subcommittee)
	
	
	
	
	
	


Done 002-100.3
Binding of requests into single request

TECH TEAM - NEED TO DISCUSS
Need:  

1. Structure to bind undesignation with concomitant request for PTP (could also use for ancillary services – some sort of related ref).

2. Network Ancillary Service sub-templates will look substantively similar to the current ancillary service templates.

3. Audit sub-templates.

Do we need to identify what can be wrapped together – all of the pieces of a NITS Application, can point to point requests be wrapped with NITS?

Example of possible way to draft standard:

Template: BeginTransaction
1.  Input

TransactionRef

TransactionStatus

2.  Response

To Be Determined

Then select template???

Template:  RequestAgreement

Then select sub template???

Subtemplate:  RequestAgreementDesc

1. Input

RequestRef

AgreementStatus

AgreementRef

AgreementStart

AgreementStop

2.  Response

To Be Determined

Then select sub sub template???

Subtemplate:  CustomerDesc
1. Input

AgreementRef

CustomerDescName

CustomerDescCode

CustomerDescContact

CustomerDescAttestation

CustomerStartTime

CustomerStopTime

2.  Response

To Be Determined

Save and close CustomerDesc sub sub template???
Then select another sub sub template???

Subtemplate:  AgentDesc

1. Input

AgreementRef 

AgentDescRole

AgentDescName

AgentDescContact

AgentDescTransactionStart

AgentDescTransactionStop

AgentDescAuthorizationStart

AgentDescAuthorizationStop

2.  Response

To Be Determined

Save and close AgentDesc sub sub template???
Save and close RequestAgreementDesc sub template???
Then select another sub template???

Subtemplate:  RequestResource

1. Input

RequestRef

ResourceStatus

AgreementRef

ResourceRef

GenerationRef

NetworkSchedulingRightsFirmRef
ResourceStart
ResourceStop

2.  Response

To Be Determined

Then select sub sub template???

Subtemplate:  ResourceDesc
1. Input

ResourceRef

ResourceDescName

ResourceDescSystemLocation

ResourceDescType

ResourceDescLocation

ResourceDescTitleTakenLocation

ResourceDescElectricalLocation

ResourceDescGeographicLocation

ResourceDescService

ResourceDescPOR

ResourceDescPOD

ResourceDescSink

ResourceDescAttestation

ResourceDescCustomerComment

2.  Response

To Be Determined

Save and close ResourceDesc sub sub template???
Save and close RequestResource sub template???
Template: EndTransaction
1.  Input

TransactionRef

TransactionStatus

2.  Response

To Be Determined

002-101.4
NITS Templates
002-101.4.1
NITS Application Description (nitsappdesc)
Transmission Customer Capacity Purchase Request (transrequest)

The NITS Application Description Request (nitsappdesc) is used by the Eligible Transmission Customer or Network Customer to submit or request changes to a NITS Application. The response simply acknowledges that the Eligible Transmission Customer's or Network Customer’s request was received by the OASIS Node. It does not imply that the Seller has received the request. Inputting values into the reference Data Elements is optional.

CUSTOMER_CODE and CUSTOMER_DUNS shall be determined from the registered connection used to input the request.

The earliest START_TIME and latest STOP_TIME indicate the overall requested period of service and can be modified by subsequent actions.  

When a valid request is received at the OASIS Node, the TSIP assigns a unique ASSIGNMENT_REF value and queues the request with a time stamp. The APPLICATION_STATUS for the request is QUEUED. The IMPACTED counter is initially set to 0. 

If the new request is modifying an existing NITS Application Description, (start here) the Data Elements REQUEST_TYPE and RELATED_REF must be entered. RELATED_REF contains the ASSIGNMENT_REF for the NITS Application being modified, and REQUEST_TYPE must be one of MATCHING, REDIRECT, DEFERRAL, RENEWAL, RELINQUISH, or a Transmission Provider registered value.

Specification of a value YES in the PRECONFIRMED field authorizes the TSIP to automatically change the STATUS field in the nitsappdesc OASIS Template to CONFIRMED when that request is ACCEPTED by the Seller.

OASIS Template: nitsappdesc
1. Input

SELLER_CODE (Transmission Provider or Reseller)

SELLER_DUNS

STATUS_NOTIFICATION

START_TIME

STOP_TIME

PRECONFIRMED

CUSTOMER_COMMENTS

REQUEST_TYPE (Required for request changes)

RELATED_REF (Required for request changes)

2. Response (acknowledgment)

RECORD_STATUS

ASSIGNMENT_REF (assigned by TSIP)

SELLER_CODE

SELLER_DUNS

STATUS_NOTIFICATION

START_TIME

STOP_TIME

PRECONFIRMED

CUSTOMER_COMMENTS

REQUEST_TYPE

RELATED_REF

ERROR_MESSAGE

002-101.4.2

002-101.4.3

002-101.4.4

002-101.4.5
Query DNR List (DNRList)

Query DNR List (DNRList) is used to ….[need to write explanation]

Template: DNRList
1.  Input

To Be Determined

2.  Response

ResourceStatus
AgreementRef

ResourceRed

GenerationRef

ResourceStart

ResourceStop

ResourceDescElectricalLocation

ResourceDescGeographicLocation

ResourceCapacityStart

ResourceCapacityStop

ResourceCapacityDesignated

002-100.4.6
Query DNR Metrics (DNRMetrics)

Query DNR Metrics (DNRMetrics) is used to ….[need to write explanation]

Template: DNRMetrics
1.  Input

To Be Determined

2.  Response

To Be Determined

002-100.5
NITS Sub Templates 

002-100.5.1
Request NITS Agreement Description (RequestAgreementDesc)
Request NITS Agreement Description (RequestAgreementDesc) is used to ….[need to write explanation]
Subtemplate:  RequestAgreementDesc


1. Input

RequestRef

AgreementStatus

AgreementRef

AgreementStart

AgreementStop

2.  Response

To Be Determined
002-100.5.2
Update NITS Agreement Description (UpdateAgreementDesc)
Update NITS Agreement Description (UpdateAgreementDesc) is used to ….[need to write explanation]

Subtemplate:  UpdateAgreementDesc


1. Input

RequestRef

AgreementStatus

AgreementRef

AgreementStart

AgreementStop

2.  Response

To Be Determined
Etc. through all remaining NITS sub templates

002-100.6
NITS Sub Sub Template
002-100.6.1
NITS Customer Description (CustomerDesc)
NITS Customer Description (CustomerDesc) is used to ….[need to write explanation]

Subtemplate:  CustomerDesc


1. Input

AgreementRef

CustomerDescName

CustomerDescCode

CustomerDescContact

CustomerDescAttestation

CustomerStartTime

CustomerStopTime

2.  Response

To Be Determined
Etc. through all remaining NITS sub sub template
002-6
NITS INTERFACE REQUIREMENTS

The following technical requirements apply to the posting and availability of information on OASIS related to the arrangement of Network Integration Transmission Service.  The organization of this section of Business Practice Standard WEQ-002 is intentionally aligned with WEQ-002-4, General OASIS and PTP Interface Requirements, to facilitate comparisons between the requirements for these two OASIS interfaces. 

002-6.1
INFORMATION MODEL CONCEPTS

a. ASCII-Based OASIS NITS Templates

For providing NITS information to users, TSIPs shall use the specified OASIS NITS Templates. These NITS Templates define the information that must be presented to users, both in the form of graphical displays and as downloaded files. Users shall be able to request OASIS NITS Template information using query/response data flows. The OASIS NITS Templates are described in Business Practice Standard WEQ-002-6.3. The OASIS Data Dictionary, which defines the Data Elements in the OASIS Templates, is provided in Business Practice Standard WEQ-003. Data Elements must be used in the exact sequence and number as shown in the OASIS NITS Templates when file uploads and downloads are used. Although the contents of the graphical displays are precisely defined as the same information as required in the OASIS NITS Templates, the actual graphical display formats of the Transmission Service Information are beyond the scope of the OASIS standards requirements. Due to the nature of graphical displays, there may be more than one graphical display used to convey the information associated with a given OASIS NITS Template.
b. ASCII-Based OASIS NITS File Structures

For uploading requests from and downloading information to users, TSIPs shall use specific file structures that are defined for OASIS NITS Template information as specifed in Business Practice Standard WEQ-002-6.2. These file structures are based on the use of combinations of template header and data records to indicate the action to be taken and the information associated with each request related to the arrangement of NITS on OASIS.  The supported OASIS NITS templates and data elements are defined in Business Practice Standard WEQ-002-6.3. The file structure used for OASIS NITS Template information shall provide for the capability to include multiple templates within a given file exchanged to/from OASIS, and to bind multiple templates into an autonomous transaction that will be treated as a single request.

002-6.2
NITS OASIS NODE CONVENTIONS AND STRUCTURES
002-6.2.1 
OASIS Node Naming Requirements
All OASIS Nodes shall comply with Business Practice Standard WEQ-002-4.2.1 in implementing NITS on OASIS. 

002-6.2.1.1 
OASIS Node Names
All OASIS Nodes shall comply with Business Practice Standard WEQ-002-4.2.1.1 in implementing NITS on OASIS. 

002-6.2.1.2 
OASIS Node and Primary Provider Home Directory
All OASIS Nodes shall comply with Business Practice Standard WEQ-002-4.2.1.2 in implementing NITS on OASIS. 

002-6.2.1.3 
Script Names
All OASIS Nodes shall comply with Business Practice Standard WEQ-002-4.2.1.3 in implementing NITS on OASIS.  The OASIS Template name as specified in the (cgi script name) field of the Primary Provider’s URL shall designate one of the defined NITS INPUT or QUERY Template names as specified in WEQ-002-6.3 and WEQ-002-6.4.
002-6.2.2 
Data Element Dictionary
All OASIS Nodes shall comply with Business Practice Standard WEQ-002-4.2.2 in implementing NITS on OASIS. 

002-6.2.3
OASIS NITS Template Constructs
002-6.2.3.1
OASIS NITS Template Construction
Business Practice Standard WEQ-002-6.3 lists the set of OASIS NITS Templates that shall be supported by all OASIS Nodes. These OASIS NITS Templates are intended to be used precisely as shown for the transfer of data to/from OASIS Nodes, and identify, by Data Elements names, the information to be transferred. The construction of the OASIS NITS Templates shall follow the rules described below:
a. Unique OASIS Template Name
Each type of OASIS NITS Template shall be identified with a unique name which shall be displayed to the User whenever the OASIS NITS Template is accessed.
b. Transfer Protocol
OASIS NITS Templates are transferred using the HTTP protocol.
Query/Response Templates shall support both the HTTP "GET" and "POST" methods for transferring a "query string" of name/value pairs to OASIS.  The OASIS response returned in association with a Query/Response Template invocation may be specified to be in HTML format or as a NITS CSV Format structured record stream.

Input/Response Templates shall only support the “POST” method for delivery of a properly formatted OASIS NITS Comma Separated Values (CSV) Format structured record stream.  The OASIS response returned in association with an Input/Response Template invocation shall only be as a NITS CSV Format structured record stream.
c. Source Information
Each OASIS NITS Template shall identify the source of its information by including or linking to the name of the Primary Provider, the Secondary Provider, or the Customer who provided the information.
d. Time Of Last Update
Each OASIS NITS Template shall include a time indicating when it was created or whenever the value of any Data Element was changed.
e. Data Elements
OASIS NITS Templates shall define the elementary Data Element Dictionary names for the data values to be transferred or displayed for that Template.
f. Documentation
OASIS Information shall be in non-cryptic English, with all mnemonics defined in the Data Element Dictionary or a glossary of terms. TSIPs shall provide on-line descriptions and help screens to assist Users understanding the displayed information. Documentation of all formats, contents, and mnemonics shall be available both as displays and as files that can be downloaded electronically. In order to meet the "User-Friendly" goal and permit the flexibility of the OASIS Nodes to expand to meet new requirements, the OASIS NITS Templates shall be as self-descriptive as possible.
002-6.2.3.2
OASIS NITS Template Categories

OASIS NITS Templates are grouped into the following two major categories:
a. Query/Response
These OASIS NITS Templates are used to query and display information posted on an OASIS Node. Each query/response OASIS NITS Template accepts a set of user specified Query Variables and returns the appropriate information from data posted on the OASIS Node based on those Query Variables. The valid Query Variables and information to be returned in response are identified by Data Element in Business Practice Standard WEQ-002-6.3.

b. Input/Response
These OASIS NITS Templates are used to upload/input information on an OASIS Node. The required input information and information to be returned in response are identified by Data Element in Business Practice Standard WEQ-002-6.3, NITS Template Descriptions.

002-6.2.3.3
NITS Template HTML Screens
All OASIS NITS Template browser-based screens must adhere to the requirements specified in WEQ-002-4.2.3.3. 
002-6.2.4
NITS Query/Response Template Requirements
All OASIS NITS Query/Response Templates must adhere to the requirements specified in WEQ-002-4.2.4, 4.2.4.1 and 4.2.4.2 with the exception that all references to CSV Format shall mean the NITS CSV Format record structure as specified in Business Practice Standard WEQ-002-6.2.7. 

002-6.2.5
NITS Input/Response Template Requirements

NITS Input/Response Templates support the posting of information on an OASIS Node related to the arrangement of NITS on OASIS. The "input" identifies the required data associated with an OASIS NITS Template(s) to be posted on the OASIS Node, and the "response" specifies the information returned to the User.

002-6.2.5.1
Input Requirements

Input information is transferred to an OASIS Node using the HTTP protocol through an HTML forms-based user interface or programmatically via a structured Comma Separated Value (CSV) message in the form defined for the NITS CSV Format. CSV formatted messages are specified in the body of an HTTP message as a series of template Header and associated Data records as specified in WEQ-002-6.2.7. 
OASIS Nodes shall support the following methods for Users to transfer Input data:
a. BROWSER FORMS
Browser-based FORM input shall be provided to allow Users to specify the necessary Input data associated with each Input/Response OASIS NITS Templates through a defined User Interface. This may be in the form of fill in blanks, buttons, pull-down selections, etc., and may use either the GET or POST methods. The exact nature and form of these screens are not specified, and may differ between OASIS Nodes.
b. GET Method

The HTTP GET method for specifying Input information in the form of a query string appended to a standard OASIS URL is not supported for the input of NITS Input/Response Template information.

c. POST Method

The HTTP POST method for specifying Input information in the form of a query string in the message body is not supported for the input of NITS Input/Response Template information.
d. CSV Format
Comma Separated Value (CSV) formatted Input information transferred in the body of a User's HTTP message shall be supported for the input of NITS Input/Response Template information. The "Content-length:" HTTP header shall define the length in bytes of the Input, and the "Content-type: text/x-oasis-csv" HTTP header shall be used to identify the data type included in the message body.

002-6.2.5.2
Response to Input
In response to a validly formatted Input for each NITS Input/Response Template, the OASIS Node shall return an indication as to the success/failure of the requested action. The OASIS Node shall respond to the Input in one of two forms based on the method used to upload the information in association with the Input/Response template:
a. HTML

If the User uses the browser-based form entry method to upload Input/Response template data to OASIS,  the response from the OASIS Node shall be a web page using the HTML format. This shall be the only method returned for all Input/Response Templates invoked using the browser-based FORM methods of input via the OASIS User Interface.
b. CSV Format
If the User submits Input/Response template information using the NITS Comma Separated Value (CSV) File format,then the response from the OASIS Node shall also be in Comma Separated Value (CSV) File format as specified in WEQ-002-6.2.7.  OASIS returns the response information in the body of the HTTP response message. The "Content-length:" HTTP header shall define the length in bytes of the response, and the "Content-type: text/x-oasis-csv" HTTP header shall be used to identify the data type included in the message body. This shall be the only method returned for all Input/Response Templates uploaded using the NITS CSV Format.

002-6.2.6
Query Variables
002-6.2.6.1
General

All OASIS NITS Query/Response Templates shall support the specification of a query string consisting of Query Variables formatted as name/value pairs. OASIS Nodes shall support the specification of Data Element names ("name" portion of name=value pair) in both the full name and alias forms defined in the Data Dictionary. OASIS Nodes shall support the specification of Query Variables from the User using either the HTTP GET or POST methods. On input, Data Element names and associated values shall be accepted and processed without regard to case. On output, Data Element names and associated values may not necessarily retain the input case, and could be returned in either upper or lower case.
OASIS NITS Input/Response Templates shall only support the submission of input data to OASIS using the NITS CSV Format as specified in WEQ-002-6.2.7.
002-6.2.6.2
Standard Header Query Variables

The following standard Query Variable Data Elements shall be supported by the NITS Query/Response Templates:
VERSION

TEMPLATE

OUTPUT_FORMAT

PRIMARY_PROVIDER_CODE

PRIMARY_PROVIDER_DUNS

RETURN_TZ

Since these header Query Variables must be supported for all Query/Response Templates, they are not listed explicitly in the Query Variable Data Element names in the Query/Response Template descriptions in WEQ-002-6.4.  If not supplied by the User, OASIS shall assume the specified default values listed below:
VERSION – defaults to the most current OASIS S&CP version required to be supported by regulatory order.

TEMPLATE – defaults to the value specified for (cgi script name) as defined in WEQ-002-4.2.1.3 for the OASIS Node Script Names for the Query template to be executed. 
OUTPUT_FORMAT – defaults to the value of DATA. 
PRIMARY_PROVIDER_CODE – defaults to the value specified in the URL for this Data Element

PRIMARY_PROVIDER_DUNS – defaults to the Transmission Provider’s registered DUNS.

RETURN_TZ – defaults to the Transmission Provider’s specified default time zone.



002-6.2.6.3
Responses to Queries
Responses to Queries will include the following information as a minimum:
TIME_STAMP

VERSION

TEMPLATE

OUTPUT_FORMAT

PRIMARY_PROVIDER_CODE

PRIMARY_PROVIDER_DUNS
RETURN_TZ
For the HTML format (OUTPUT_FORMAT=HTML) response, there are no specific requirements dictating how or where such information shall be provided other than the above information must be identified and visible to the user from the HTML formatted response.  When the OUTPUT_FORMAT js designated as DATA, the above information shall be supplied as specified in the NITS CSV Format requirements of WEQ-002-6.2.7.3 in the first Query Template header record of the response.  Note that value for the above TEMPLATE Data Element will be returned in the first field (column) of the first response record as QUERY=<QueryTemplateName>, e.g., QUERY=QueryDNRList. 
The additional information returned shall include:
a
The requested information as defined by the Template indicated in the Query
b.
For CSV downloads, the requested information shall be returned in compliance with the NITS CSV Format as specified in WEQ-002-6.2.7.3 and the specific Query template executed.
002-6.2.6.4
Multiple Instances
All OASIS Nodes shall comply with Business Practice Standard WEQ-002-4.2.6.4 in implementing NITS on OASIS.
002-6.2.6.5
Logical Operations
All OASIS Nodes shall comply with Business Practice Standard WEQ-002-4.2.6.5 in implementing NITS on OASIS.
002-6.2.6.6
Handling of Time Data Elements
All OASIS Nodes shall comply with Business Practice Standard WEQ-002-4.2.6.6 in implementing NITS on OASIS.
002-6.2.6.7
Default Values
All OASIS Nodes shall comply with Business Practice Standard WEQ-002-4.2.6.7 in implementing NITS on OASIS.
002-6.2.6.8
Limitations on Queries

All OASIS Nodes shall comply with Business Practice Standard WEQ-002-4.2.6.8 in implementing NITS on OASIS.
002-6.2.7
NITS CSV Format

002-6.2.7.1
General Record Format

The NITS CSV Format defines the structure for all HTTP (file) uploads to OASIS with respect to the information that must be conveyed in association with each input/response template necessary for the support of NITS transaction processing on OASIS.  This file format is also used to convey the results of any query issued by the user where the response is specified to be returned with the OUTPUT_FORMAT=DATA query variable.  

The NITS CSV Format is a record oriented, comma separated value file structure consisting of two types of records: 1) header records and 2) data records.   Each record within the NITS CSV Format file structure shall be terminated by a fixed carriage return (CR) and linefeed (LF) combination (denoted by the symbol ↵ in all examples).  The fields within a record shall be delimited by commas (,). All data within a CSV formatted message shall use printable ASCII characters with no other special embedded codes, with the exception of the special encoding requirements associated with text fields.  The information in each record shall be composed of named data elements as defined in the WEQ-003 OASIS Data Dictionary.  The values associated with each of those named data elements shall comply with the OASIS Data Dictionary data element definition. 

The NITS CSV Format header and data records are organized in a hierarchical structure of templates.  The following is the general format followed for each header record represented in the NITS CSV Format:

<HeaderRecordType>=<TemplateName>,<DataElementNameList>

where,

<HeaderRecordType>
- Data element name identifying the general type of information contained in the header record and subsequent information records 

<TemplateName>
- Name of the NITS template identifying the specific form and content of information records or subordinate template header and information records associated with the named template.

<DataElementNameList>
- Comma separated list of additional template specific data element names identifying the type of information conveyed as corresponding data element values in each column of each subsequent data record up to the next header record.

The general format for each data record follows:

,<DataElementValueList>

where,

<DataElementValueList>
- Comma separated list of additional template specific values to be associated with the corresponding data element names specified in the preceding header record’s <DataElementNameList>.

The first record in the NITS CSV Format file must contain a header record identifying which of the two main template categories are being exchanged via the <HeaderRecordType> as follows:
· Input/Response templates:

INPUT=<TemplateName>,<DataElementNameList>
· Query/Response templates:



QUERY=<TemplateName>,<DataElementNameList>
The OASIS Data Elements that must appear in the INPUT or QUERY header record’s <DataElementNameList> are specified in WEQ-002-6.2.7.2 and WEQ-002-6.2.7.3 respectively.  Additional subordinate header and data records that may appear in the subsequent records in the NITS CSV Format Input/Response data uploads or the Query/Response downloads are also specified in WEQ-002-6.2.7.2 and WEQ-002-6.2.7.3.
OASIS nodes shall ignore any leading or trailing white-space (ASCII space characters) that is not encoded within explicit double quote characters within any value supplied for a template data element or that precedes or trails any data record.  Extraneous comma delimiters that may be appended to any record beyond the defined limits of the data values (columns) being conveyed in a given data record shall also be ignored.

002-6.2.7.2
Input/Response Header Records

All Input/Response category template submissions (uploads) shall be identified by the first header record in the NITS CSV Format with the key string of “INPUT=<InputTemplateName>”.  The specific template names that may appear in the INPUT header record are referred to as NITS Input Templates and are described in WEQ-002-6.3.1.   
The general structure of the information conveyed in a given Input Template using the NITS CSV Format is shown below:


[image: image2]
The Input Template consists of a leading INPUT header record and associated data elements followed by one or more subordinate Request Templates.  Each Request Template consists of a REQUEST header record and associated data elements followed by zero or more Data Templates.  Each Data Template consists of a DATA header record followed by one or more records of data values.

The general form of the NITS CSV Format for any NITS Input/Response template shall conform to:
INPUT=<InputTemplateName>, <InputTemplateDataElementList>↵
,<InputTemplateDataElementValues>↵

REQUEST=<RequestTemplateName>, <RequestTemplateDataElementList>↵
,<RequestTemplateDataElementValues>↵

DATA=<DataTemplateName>, <DataTemplateDataElementList>↵
,<DataTemplateDataElementValues>↵

  …

,<DataTemplateDataElementValues>↵
DATA=<DataTemplateName>, <DataTemplateDataElementList>↵
,<DataTemplateDataElementValues>↵

  …

,<DataTemplateDataElementValues>↵
REQUEST=<RequestTemplateName>, <RequestTemplateDataElementList>↵
,<RequestTemplateDataElementValues>↵

DATA=<DataTemplateName>, <DataTemplateDataElementList>↵
,<DataTemplateDataElementValues>↵

REQUEST=<RequestTemplateName>, <RequestTemplateDataElementList>↵
,<RequestTemplateDataElementValues>↵

REQUEST=<RequestTemplateName>, <RequestTemplateDataElementList>↵
,<RequestTemplateDataElementValues>↵

DATA=<DataTemplateName>, <DataTemplateDataElementList>↵
,<DataTemplateDataElementValues>↵

 …

The valid Request Templates that may be submitted in association with a given Input Template are specified in WEQ-002-6.3.2.  There shall be no limit to the number of Request Templates that may be submitted in association with a given Input Template.  Multiple instances of the same Request Template may appear in association with a single Input Template submission where the Request Template definition indicates that multiple instances are allowed.

The set of valid Data Templates that may be submitted in association with a given Request Template are specified in WEQ-002-6.3.4.  There shall be only one instance of a given Data Template specified in association with a given Request Template.

Note that in contrast to the General OASIS and PTP Template constructs, a given NITS Template request may require the submission of several different types of data using different Data Templates.  Therefore each specific OASIS request submission is made using separate distinct Request Templates that may be included in a given Input Template upload.  Multiple requests may be submitted in a single upload (Input Template submission), but rather than being supplied as multiple data records within a single PTP Template upload, these multiple requests must be submitted as separate Request Templates followed by the associated Data Template(s) data records for each individual request being made.
The information returned to the User in response to submission of any Input/Response template shall be an echo of each header record present in the NITS CSV Format submission followed by the data element names and values as dictated for the defined “response” in each of the specific INPUT, REQUEST or DATA template records corresponding to the information submitted. 
002-6.2.7.3
Query/Response Header Records

All Query/Response category templates are initiated by the submission of a specific set of URL Query Variables as a series of OASIS Data Element name/value pairs as specified in WEQ-002-6.2.6.  The TEMPLATE Data Element value shall specify which of the supported NITS Query Templates is being invoked.  Each of the supported NITS Query Templates is described in WEQ-002-6.4.  
When the OUTPUT_FORMAT=DATA header query variable is specified, the response to the user will be in the NITS CSV Format as specified below and shall be identified by the first header record returned in the response with the key string of “QUERY=<QueryTemplateName>”.  The general structure of the information returned in response to a given Query Template using the NITS CSV Format is shown below:

[image: image3.png]QUERY/RESPONSE
TEMPLATE

QUERYHEADER

OBJECTTEMPLATE

OBJECTTEMPLATE

OBJECTHEADER

DATAHEADER
DATA TEMPLATE
DATA

DATAHEADER
DATA TEMPLATE
DATA

OBJECTHEADER
DATAHEADER
DATATEMPLATE
DATA
DATAHEADER

DATATEMPLATE
DATA




The response to a Query Template consists of a leading QUERY header record and associated data elements followed by one or more subordinate Object Templates dependent on the results being returned.  Each Object Template consists of a OBJECT header record and associated data elements followed by zero or more Data Templates.  Each Data Template consists of a DATA header record followed by one or more records of data values.
The general form of the NITS CSV Format received in response for any NITS Query/Response template shall conform to:

QUERY=<QueryTemplateName>, <QueryTemplateDataElementList>↵
,<QueryTemplateDataElementValues>↵

OBJECT=<ObjectTemplateName>, <ObjectTemplateDataElementList>↵
,<ObjectTemplateDataElementValues>↵

DATA=<DataTemplateName>, <DataTemplateDataElementList>↵
,<DataTemplateDataElementValues>↵

  …

,<DataTemplateDataElementValues>↵

DATA=<DataTemplateName>, <DataTemplateDataElementList>↵
,<DataTemplateDataElementValues>↵

  …

,<DataTemplateDataElementValues>↵

OBJECT=<ObjectTemplateName>, <ObjectTemplateDataElementList>↵
,<ObjectTemplateDataElementValues>↵

DATA=<DataTemplateName>, <DataTemplateDataElementList>↵
,<DataTemplateDataElementValues>↵
  …

,<DataTemplateDataElementValues>↵

OBJECT=<ObjectTemplateName>, <ObjectTemplateDataElementList>↵
,<ObjectTemplateDataElementValues>↵

  …

If an Object Template has no associated Data Templates defined, multiple instances of the same Object Template information to be returned in the query response shall be returned as multiple data records immediatelu following the Object Header record containing the Object Template Data Element values for each such instance:

QUERY=<QueryTemplateName>, <QueryTemplateDataElementList>↵
,<QueryTemplateDataElementValues>↵

OBJECT=<ObjectTemplateName>, <ObjectTemplateDataElementList>↵
,<ObjectTemplateDataElementValues>↵

,<ObjectTemplateDataElementValues>↵

  …

,<ObjectTemplateDataElementValues>↵

The valid Object Templates and associated Data Templates that may be returned in the response to  the supported Query Templates are specified in WEQ-002-6.4.  


[Detail to follow once all necessary query templates are better defined.  Such templates would include things as:

· QueryDNRList

· QueryNITSRequestStatus

· QueryNITSRequestDetails

· QueryNITSApplicationStatus(?)
· QueryNITSApplicationDetails

· QueryNITSGenerationDetails

· QueryNITSLoadDetails

· QueryNITSResourceDetails

· Etc.

· QueryTransmissionQueue

· List all PTP and NITS transmission request/reservation

]

002-6.2.7.4
Data Records

Data Records immediately follow an associated Header Record in the NITS CSV Format Input/Response and Query/Response Templates. Data Records are uniquely identified as always having the first data field (column) containing a null value.  The remaining information contained in each Data Record specifies the value to be associated with each named Data Element that appears in the preceding Header Record.  

If the NITS Template definition allows for multiple Data Records, there may be more than one Data Record in association with that Template.  Multiple Data Records for a given NITS Template appear in immediate succession up to the next Header Record or encountering the end of the input data stream.  
The data values associated with each column’s Data Element are interpreted based on the Data Element type as defined in the OASIS Data Dictionary:

a. Numeric Data Elements: All numeric Data Elements shall be represented by an ASCII string of numeric digits in base ten.  Decimal point and sign are implied, or may be explicitly specified.

b. Text Data Elements: Alphabetic and alphanumeric Data Elements shall be represented as ASCII strings and encoded using the following rules:
· Text strings that do not contain commas (,) or double quotes (") shall be accepted both with and without being enclosed by double quotes.
· Text fields with commas (,) or double quotes (") must be enclosed with double quotes. In addition double quotes within a text field shall be indicated by two double quotes ("").
· The Data Element field length specified in Data Dictionary does not include the additional double quotes necessary to encode text data.
c. Null Data Elements: Null Data Elements shall be represented by two consecutive commas (,,) corresponding to the leading and trailing (if appropriate) Data Element comma separators. Null text strings may optionally be represented by two consecutive double quote characters within the leading and trailing comma separators (i.e., Y,"",Y).

002-6.2.7.5
Continuation Records

The NITS CSV Format does not require an explicit distinction of Continuation Records.  The second and all subsequent Data Records appearing after a given Header Record and prior to the next Header Record always represent Continuation Records associated with the Template identified in the preceding Header Record and first Data Record.  Any required Data Elements that must be specified in the second or subsequent Data Records are described in each NITS Template definition in WEQ-002-6.3 and WEQ-002-6.4.  On upload or input of template Data Records, any values supplied in the second or subsequent Data Records that correspond to Template Data Elements other than those explicitly allowed to appear in multiple Data Records shall be ignored.
 However, commas must be included to properly align the fields (columns) of each Data Record with the corresponding Data Element names listed in the associated Header Record.
002-6.2.7.6
Error Handling in NITS CSV Formatted Responses
a. Validity of each record in the NITS CSV Format response to each Data Template input in association with a given Request Template shall be indicated through the use of the RECORD_STATUS and ERROR_MESSAGE Data Elements which are included in each Data Record (row) of the response:

· If no error was encountered in an input Data Record, the RECORD_STATUS Data Element in the corresponding Data Template response Data Record shall be returned with a value of 200 (success), and the ERROR_MESSAGE shall be blank.

· If any error is detected in processing an Input Data Record, it shall be indicated by a RECORD_STATUS Data Element value other than 200. The ERROR_MESSAGE shall be set to an appropriate text message to indicate the source of the error in that Data Template Data Record.
b. The overall validity of each Request Template submitted shall be indicated in the NITS CSV Format response to each Request Template through the use of the RECORD_STATUS and ERROR_MESSAGE Data Elements which are included in the Request Template Data Record (row) of the response:

· If no error was encountered in any of the input Data Records submitted in association with the Request Template, the RECORD_STATUS Data Element in the corresponding Request Template response Data Record shall be returned with a value of 200 (success), and the ERROR_MESSAGE shall be blank.

· If any error is detected in processing any of the input Data Records submitted in association with the Request Template, the error shall be indicated for the overall request by a RECORD_STATUS Data Element value other than 200. The ERROR_MESSAGE shall be set to an appropriate text message to indicate the source of the error.
c. The OASIS Node shall validate all Input Template records submitted  before returning a response to the User. The Node shall process all valid Request Templates, while invalid request shall be identified as erroneous through the use of RECORD_STATUS and ERROR_MESSAGE as noted above. The User must correct the invalid requests and resubmit only those Request Templates and associated Data Templates that were identified in error. 
d. If an error is encountered validating the basic structure of the input data stream according to the defined Header and Data Record format specified in the NITS CSV Format, the entire data submission shall be rejected and a 4xx Client Error code shall be returned in the Status-line of  the HTTP response. The message body should describe the nature of the validation error encountered.

002-6.2.8
Registration Information
All OASIS Nodes shall comply with Business Practice Standard WEQ-002-4.2.8 in implementing NITS on OASIS.

002-6.2.9
Representation of Time

All OASIS Nodes shall comply with Business Practice Standard WEQ-002-4.2.9 in implementing NITS on OASIS.
002-6.2.10
Transaction Process
OASIS shall implement the defined OASIS NITS Input/Response Templates to allow Customers to submit and update their initial application for NITS and to submit and update any modifications to that application for NITS after the initial application has been completed and NITS granted on OASIS.  OASIS shall also provide a browser-based User Interface that implements the same basic functionality provided by the NITS Template interface through one or more displays or forms.

The OASIS transaction process is managed through the submission of a Request Template.  The Request Template specifies what action the NITS Customer is requesting the Transmission Provider to review/evaluate and the associated data that may or must be submitted to describe the request.  The current state associated with every NITS request is tracked as actions are taken by the Customer or Transmission Provider in the STATUS Data Element associated with each individual Request Template submitted.  The WEQ-013-x OASIS Implementation Guide Standard describes the NITS transaction process and the valid STATUS values and state transitions that the Customer and Transmission Provider may take in the course of processing each request.  The Implementation Guide also provides specific requirements and recommendations related to the handling of particular requests from both a technical and business process perspective.

With the exception of the handling of the initial NITS application request (REQUEST=NewNITSApplication) and the concomitant request process (INPUT=NewConcomitantRequest), each NITS request submitted via a Request Template is managed separately and independently.  Multiple requests may be submitted in a single batch upload, or requests may be submitted separately using the NewNITSRequest Input Template.   After the initial submission, the request may be updated to change its STATUS and/or any other relevant information associated with the request as allowed for the specific Request Template submitted using the UpdateNITSRequest Input Template.  
Certain NITS requests support a full Customer-Provider interaction consisting of Customer request submittal, Transmission Provider approve/deny action, and final Customer confirmation.  The final Customer confirmation requirement can be waived by the Customer using the PRECONFIRMED Data Element set to a value of YES.  NITS requests that only require Transmission Provider approval to be finalized will be specified in the Request Template definition as requiring that the PRECONFIRMED Data Element be set to YES on initial submission.

Any NITS request may be queried to view the current STATUS and latest set of information associated with that request using the NITS Query/Response Templates.
002-6.2.10.1
Request Types

The NITS Request Templates themselves define each type of NITS related request that may be submitted to OASIS.  The recognized NITS Request Templates are described in WEQ-002-6.3.2, and further discussed in the WEQ-013 OASIS Implementation Guide Business Practice Standards.
There is no current requirement for use of an explicit REQUEST_TYPE data element specified within the data associated with a given NITS related request.  The REQUEST_TYPE Data Element is included within any Point-to-Point transmission service request submitted as part of a NITS concomitant request for compatibility with the PTP transrequest template. 

002-6.2.10.2
Status Values

The STATUS Data Element is used in the OASIS transaction process to control the interaction between Customer and Seller and communicate information regarding the state of each requested transaction between the parties. The valid values for the STATUS Data Element are enumerated in the WEQ-003 Standard, OASIS Data Dictionary. Definitions for each of the STATUS values and a NITS request transaction state transition diagram for the STATUS Data Element is described in detail in the WEQ-013-x Standard, OASIS Implementation Guide.
002-6.2.10.3
Dynamic Notification

NITS Customers and their Agents may request the delivery of dynamic notifications from OASIS when any request associated with a given NITS Application is updated by the Customer or the Transmission Provider.  OASIS nodes shall support the delivery of dynamic notifications through either the HTTP protocol or via electronic mail.  The selection of which mechanism is used and the contents of the messages delivered to the client program or e-mail address is defined by the content of the STATUS_NOTIFICATION Data Element as described in the next subsections.   This STATUS_NOTIFICATION Data Element is established for  a given NITS Application in association with the NITS Customer and/or NITS Agent information as specified in the applicable Request Templates.  

OASIS Nodes shall monitor the information associated with every Request Template submitted in association with a NITS Application.  OASIS Nodes shall issue a dynamic notification message to the Customer or any Agent registered with that NITS Application whenever the STATUS or any other Data Element associated with any pending request is updated or changed either by the Customer or the Transmission Provider.
Regardless of whether this dynamic notification method is used or not, it shall still remain the User's responsibility to monitor and verify the desired request information.  OASIS nodes shall not be obligated or liable to guarantee delivery/receipt of dynamic notification messages via the STATUS_NOTIFICATION mechanism other than on a "best effort" basis.
002-6.2.10.3.1
HTTP Notification
OASIS Nodes shall deliver dynamic notification to a client system based on HTTP URL information supplied in part by the STATUS_NOTIFICATION Data Element and by information supplied as part of the Customer's Company registration information. HTTP URL's are formed by the concatenation of a protocol field (i.e., http: ), a domain name (e.g.,//www.tsin.com), a port designation (e.g., :80), and resource location information in exactly the same fashion as specified for OASIS PTP templates.
The STATUS_NOTIFICATION Data Element shall contain the protocol field "http:", which designates the notification method/protocol to be used, followed by all resource location information required; the target domain name and port designations shall be inserted into the notification URL based on the Customer's Company registration information. The resource location information may include directory information, cgi script identifiers

and URL encoded query string name/value pairs as required by the Customer's application. An OASIS Node performs no processing on the resource location information other than to include it verbatim along with the protocol, domain name and port information when forming the URL that will be used to deliver the HTTP protocol notification message.  Example usage of this information is specified in WEQ-002-4.2.10.3.1.
The contents of the HTTP protocol notification message delivered by an OASIS Node shall consist of the complete URL created by combining fields from the STATUS_NOTIFICATION Data Element and Company registration information as part of an HTTP POST method request. The standard HTTP header records for Content-type: text/x-oasis-csv and appropriate Content-length: value shall be used. OASIS Nodes shall append in the body of the HTTP request a NITS CSV Format output data stream of information associated with the specific pending NITS request that was submitted or updated and triggered the dynamic notification.  The NITS CSV Format output data shall take the same form as that which would be returned in response to a Customer issued QueryNITSRequest template for the specific NITS request that was submitted or updated.    The Transmission Provider’s prevailing time zone will be used as the default value for RETURN_TZ when formatting the NITS CSV Format response.
In the event an error is encountered delivering the HTTP dynamice notification message to the target URL as indicated by a failure of the target system to respond, or return of HTTP response status of 408, 500, 503, or 504, OASIS Nodes shall retry up to two more times, once every 5 minutes.
002-6.2.10.3.2
E-mail Notification
OASIS Nodes shall deliver dynamic notification to an e-mail address based on Mailto: URL information specified in the STATUS_NOTIFICATION Data Element. Mailto: URL's consist of the "mailto:" protocol identifier and an Internet mail address to which the notification message should be sent.  The STATUS_NOTIFICATION Data Element shall contain the protocol field "mailto:", which designates the notification method/protocol to be used, followed by an Internet mail address in conformance with RFC 822.  OASIS Nodes shall send an e-mail message to that Internet mail address containing the following information:

· "To:" set to the mail address from the STATUS_NOTIFICATION Data Element

· "From:" set to an appropriate mail address of the OASIS Node

· "Subject:" shall be the Request Template name associated with the request submitted/updated followed by the value of the NITS Application APPLICATION_REF, the specific NITS request’s ASSIGNMENT_REF Data Element and the current value for the STATUS Data Element associated with the request formatted as data element name/value pairs, e.g., "Subject: REQUEST=AddNITSResource, APPLICATION_REF=718, ASSIGNMENT_REF=245, STATUS=ACCEPTED"),

The body of the mail message shall take the same form as that which would be returned in response to a Customer issued QueryNITSRequest template for the specific NITS request that was submitted or updated.    The Transmission Provider’s prevailing time zone will be used as the default value for RETURN_TZ when formatting the NITS CSV Format response.

002-6.2.10.4
Use of Comments

All OASIS Nodes shall comply with Business Practice Standard WEQ-002-4.2.10.4 in implementing NITS on OASIS
.

002-6.2.11
Reference Identifiers
The TSIP shall assign a unique reference identifier in association with the following NITS template Data Elements.  These reference identifiers are returned in the OASIS response on initial submittal of the applicable information and must be specified by the Customer/Agent in any subsequent request to update or modify the associated information:
· APPLICATION_REF: Assigned on initial creation/submission of an application for NITS on OASIS, and referenced in all subsequent requests to add/update/modify any information in association with that application.

· 
· ASSIGNMENT_REF: Assigned on initial submission of a NITS Request Template and referenced in all subsequent requests to add/update/modify any information in association with that request.  ASSIGNMENT_REF must be a unique value for each NITS request and coordinated with ASSIGNMENT_REF values associated with any PTP or Ancillary service requests submitted using the General OASIS and PTP Templates as specified in Business Practice Standard WEQ-002-4.
· TRANSACTION_REF: Assigned on initial creation/submission of a concomitant request and associated with each individual request submitted under that concomitant request.  TRANSACTION_REF must be referenced in all subsequent requests to update any of individual requests within that concomitant request submittal.
The NITS Customer shall assign unique identifiers for the following NITS Application information Data Elements to be used and supplied when referring to the corresponding portions of information defining key elements of the overall NITS Application:

· GENERATION_NAME: Assigned on initial creation/definition of a specific physical generation asset that may then be referenced in any Generation or Resource specific requests that are associated with that generation asset.

· LOAD_NAME: Assigned on initial creation/designation of a specific network load that may then be referenced in any Load specific requests that are associated with that network load.

· RESOURCE_NAME: Assigned on initial creation/definition of a network resource that may then be referenced in any request to designate that resource as a Designated Network Resource (DNR) or eliminate that DNR in support of third party sales, etc. 
[Additional reference identifiers will be placed here as their use/need is determined in defining specific template data elements.]
002-6.2.12
Linking of Ancillary Services to NITS
The OASIS shall support the capability for the Transmission Customer to submit arrangements for Ancillary Services required in support of their NITS Application using the NITS Request Templates.  These submissions shall be functionally equivalent to the General OASIS and PTP Templates for ancrequest, and anccust.  Third Party Ancillary Service suppliers shall use the General OASIS and PTP Templates to receive and respond to any NITS Customer requests for the arrangement of Ancillary Services.   
002-6.3
INPUT/RESPONSE TEMPLATE DESCRIPTIONS

The following OASIS NITS Templates define the structure and Data Elements in fixed number and sequence 
which must be provided for all data transfers to and from the OASIS Nodes in association with the arrangement of NITS on OASIS. The definitions of the associated Template Data Elements are listed in Open Access Same-Time Information System (OASIS) Data Dictionary WEQ-003. TSIPs must provide a more detailed supplemental definition of any specific enumerated or restricted Data Element values required on submission of any of the defined Templates.  The definition and use of these enumerated or restricted Data Element values should be provided and accessible online via the General OASIS list Template.  Additional information on the use of each Template and the associated Data Elements is provided in the detailed template descriptions below and in the OASIS Implementation Guide WEQ-013.

The following is a tabular summary of each OASIS NITS Input/Response Templates describing the valid INPUT, REQUEST and DATA Templates that may be submitted on OASIS using the NITS CSV Format.  The detailed description for each INPUT, REQUEST and DATA template are specified in WEQ-002-6.3.1 through 6.3.3 respectively.

Each INPUT template must contain one or more REQUEST templates defining the actions to be performed on OASIS.  Each REQUEST template must contain zero or more DATA templates defining any required additional information that may be specified for a given REQUEST.  For example, submission of the INPUT template NewNITSRequest for the Request Template AddNITSDNR requires submission of the NITSResourceDesignation, NITSResourceCapacity, and AuxiliaryTransmission templates.  To update the STATUS of that AddNITSDNR request requires only submission of the INPUT template UpdateNITSRequest with the REQUEST template AddNITSDNR and no DATA templates as the STATUS data element being updated is included in the REQUEST template header record.
INPUT/REQUEST Template Summary

	INPUT Template
	INPUT Template Description 
	REQUEST Template(s)
	REQUEST Template Description
	DATA Template(s)
	DATA Template Description

	NewNITSRequest
	The main INPUT template used to initiate new requests to define or modify key components of a NITS application.  The NewNITSRequest template must contain one or more specific REQUEST templates to be submitted in association with a given NITS Application.
	NewNITSApplication
	Directs the OASIS to open a new NITS Application workspace with an initial set of information defining the basic characteristics of service being requested and assign/return a unique NITS application reference to be used in all subsequent requests associated with the new application for NITS.  The NewNITSApplication request must be submitted on its own with no other Request Templates present in the NewNITSRequest Input Template submission. 


	NITSService
	Defines the basic term of NITS service to be requested, or any additional term(s) to be renewed under the NITS Application.



	
	
	
	
	NITSCustomer
	Defines the basic information identifying the Eligible Customer that is responsible for the obligations under the NITS Application.



	
	
	
	
	NITSAgent
	Defines the basic information regarding and agency relationship(s) between the Eligible Customer and those entities authorized to act on their behalf.



	
	
	ModifyNITSService
	Allows for the modification of the term of service associated with a NITS application, i.e., extension or renewal for a subsequent term.


	NITSService
	(see above)

	
	
	ModifyNITSCustomer
	Allows for the modification of the Customer associated with a NITS Appllcation, i.e., transfer of obligation under NITS application.
	NITSCustomer
	(see above)

	
	
	AddNITSAgent

	Request to add a new Agent authorized to act on the NITS Customer’s behalf.


	NITSAgent
	(see above)

	
	
	ModifyNITSAgent
	Request to modify specific information associated with an existing Agent, including termination of agency relationship.


	NITSAgent
	(see above)

	
	
	AddNITSLoad
	Request to define or add a new designated load to be served under the NITS Application.


	NITSLoadDescription
	Defines the basic attributes of a load to be designated under the NITS Application.



	
	
	
	
	NITSLoadForecast
	Defines the required 10-year load forecast information associated with the load designated under the NITS Application.  This is an optional template; TP Business Practices may require Customers to supply this information off-OASIS.



	
	
	ModifyNITSLoad
	Request to modify the characteristics or information associated with an existing designated Load including the request for elimination of a specific designated load from the NITS Application.


	NITSLoadDescription
	(see above)



	
	
	
	
	NITSLoadForecast
	(see above)



	
	
	AddNITSGeneration
	Request to define a new Generation asset and related attributes that will be used in association with the application for NITS as a defined Network Resource.


	NITSGenerationDescription
	Defines the basic attributes of each physical generation asset owned, leased, etc., by the NITS Customer and eligible to be a designated network resource under the NITS Application.



	
	
	
	
	NITSGenerationDispatch
	Defines the (re)dispatch cost information associated with a Customer’s generation asset for use by the TP in operating the designated network resource.  This is an optional template; TP Business Practices may require Customers to supply this information off-OASIS.



	
	
	ModifyNITSGeneration
	Request to modify specific information or attributes associated with an existing Generation asset.


	NITSGenerationDescription
	(see above)



	
	
	
	
	NITSGenerationDispatch
	(see above)


	
	
	AddNITSResource
	Request to define/add a new Resource that may then  be designated and called upon to serve any designated load(s) served under the NITS Application.


	NITSResourceDescription
	Defines the basic attributes of an energy resource that is forecasted or designated to serve load under the NITS Application.



	
	
	
	
	NITSResourceForecast
	Defines the required 10-year resource forecast information associated with the energy resource projected to be used to serve load under the NITS Application.  This is an optional template; TP Business Practices may require Customers to supply this information off-OASIS.



	
	
	ModifyNITSResource
	Request to modify the characteristics or information associated with an existing Resource under the NITS Application.


	NITSResourceDescription
	(see above)



	
	
	
	
	NITSResourceForecast
	(see above)



	
	
	AddNITSDNR


	Request to designate and commit a Resource for firm delivery to load(s) served under the NITS Application.


	NITSResourceDescription
	(see above)



	
	
	
	
	NITSResourceForecast
	(see above)



	
	
	
	
	NITSResourceDesignation
	Defines the additional information required for a defined resource to be qualified as a designated network resource under the NITS Application.



	
	
	
	
	NITSResourceCapacity
	Defines the MW capacity over time that is being designated from a defined resource to serve load under the NITS Application.



	
	
	
	
	NITSSchedulingRights
	Defines any limitations as to the deliverability of a given designated network resource to serve a given designated load under the NITS Application.



	
	
	
	
	AuxiliaryTransmission

	Defines the nature of any transmission service rights acquired or eligible to be used by the NITS Customer in delivering a DNR to load on any intervening TP transmission system(s) and/or additional transmission requests for coordinated evaluation.



	
	
	TerminateNITSDNR


	Request to release on a temporary or permanent basis a designated resource from those resources committed for firm delivery to load(s) served under the NITS Application.


	NITSResourceDesignation
	(see above – defines the DNR to be terminated)



	
	
	
	
	NITSResourceCapacity
	(see above – defines the capacity over time to be terminated from the DNR)



	
	
	AddNITSSecondary
	Request to serve load on a secondary/non-firm basis from an non-designated Network Resource.


	NITSSecondaryService
	Defines the information required to request transmission service for delivery of a non-designated (secondary) resource to serve load on a non-firm basis under the NITS Application.



	
	
	
	
	NITSSecondaryCapacity
	Defines the MW capacity over time that is being requested for delivery of a non-designated resource to serve load under the NITS Application.



	
	
	
	
	AuxiliaryTransmission

	Optional information on Coordinated Requests submitted to applicable TPs that are to be evaluated with the NITSSecondaryService as a Coordinated Group.



	
	
	TerminateNITSSecondary
	Request to release capacity from  secondary/non-firm transmission service used for delivery of a non-designated resource to serve load.

 
	NITSSecondaryService
	Defines the secondary service to be terminated (see above).



	
	
	
	
	NITSSecondaryCapacity
	Defines the capacity over time to be terminated from the secondary service (see above).



	
	
	AddNITSAncillary
	Request to arrange Ancillary Services in support of the NITS Application.
	NITSAncillaryService
	Defines the information required to request the arrangement of Ancillary Services, if required.



	
	
	
	
	
NITSAncillaryCapacity
	Defines the MW capacity and price over time for the requested  Ancillary Services.


	
	
	
	
	
	

	UpdateNITSRequest
	The UpdateNITSRequest INPUT template is used to update elements of an existing pending request submitted via the NewNITSRequest INPUT template.  This template allows the user to change the STATUS of any pending REQUEST in accordance with the allowed template STATUS state transitions, or to add/replace component DATA template information associated with a given request to revise the NITS Application information to be submitted or resolve a deficiency.


	(Any of the REQUEST templates allowed under the NewNITSRequest template)
	Dependent on the current STATUS of a given request identified by the type of REQUEST template and unique ASSIGNMENT_REF identifier, allows the User to alter the STATUS or associated DATA contained in that request as allowed within the context of that request and its current STATUS.  The NewNITSApplication request must be submitted on its own with no other Request Templates present in the UpdateNITSRequest Input Template submission. 


	(Any of the DATA templates allowed under each REQUEST template)
	

	
	
	
	
	
	

	CopyNITSRequest
	The CopyNITSRequest INPUT template is used to copy any existing NITS Request Template information into the OASIS presubmittal workspace.  The copied NITS Request(s) will be assigned new ASSIGNMENT_REF identifiers and will be set to the STATUS of PRESUBMITTED.
	(Any of the REQUEST templates allowed under the NewNITSRequest template)
	The Request(s) to be copied into the presubmittal workspace are identified by the REQUEST template name, APPLICATION_REF and ASSIGNMENT_REF
(Flesh this out more to be clear of what is intended and how it functions).
	
	

	
	
	
	
	
	

	NewConcomitantRequest
	This INPUT template is used to submit a new set of requests to modify service under a NITS Application that are to be evaluated concomitantly and acted upon as a single request.  Current restrictions require the submission of a single TerminateNITSDNR request in addition to only one of the other three requests for additional transmission service, AddNITSDNR, AddNITSSecondary, or AddPTPService.
 
	TerminateNITSDNR
	Request to release on a temporary or permanent basis a designated resource from those resources committed for firm delivery to load(s) served under the NITS Application.


	NITSResourceDesignation
	Defines the DNR to be terminated (see above).


	
	
	
	
	NITSResourceCapacity
	Defines the capacity over time to be terminated from the DNR (see above).


	
	
	AddNITSDNR
	Request to designate and commit a Resource for firm delivery to load(s) served under the NITS Application to be evaluated respecting the simultaneous release of a designated resource and/or request for incremental point-to-point service submitted as a concomitant request.


	NITSResourceDescription
	(see above).


	
	
	
	
	NITSResourceForecast
	(see above).


	
	
	
	
	NITSResourceDesignation
	(see above).


	
	
	
	
	NITSResourceCapacity
	(see above).


	
	
	
	
	NITSSchedulingRights
	(see above).


	
	
	
	
	AuxiliaryTransmission

	(see above).


	
	
	AddNITSSecondary
	Request to serve load on a secondary/non-firm basis from a non-designated Network Resource.


	NITSSecondaryService
	Identifies the secondary service requested for deliveyr on non-designated Resource (see above).


	
	
	
	
	NITSSecondaryCapacity
	Defines the secondary network transmission capacity being requested over time .(see above).


	
	
	
	
	AuxiliaryTransmission

	Optional information on Coordinated Requests (see above). 


	
	
	AddPTPService
	Request for new PTP transmission service to be evaluated respecting the simultaneous release of a designated resource and/or request for designation of alternate resource(s) submitted as a concomitant request.


	PTPService
	Identifies the Point-to-Point service being requested for concomitant evaluation.



	
	
	
	
	PTPCapacity
	Defines the transmission capacity being requested over time.



	
	
	
	
	AuxiliaryTransmission

	Optional information on Coordinated Requests (see above). 



	
	
	
	
	
	

	UpdateConcomitantRequest
	The UpdateConcomitantRequest  INPUT template is used to update elements of an existing pending set of requests submitted for concomitant evaluation to the Transmission Provider.  


	(Any of the REQUEST templates allowed under the NewConcomitantRequest template)
	Used to alter the STATUS on the group of requests submitted for concomitant evaluation or associated DATA contained in the request as allowed within the context of that request and its current STATUS.

	
	


002-6.3.1
Input Template Definitions
The OASIS shall support the following Input Templates for the uploading of NITS related request information.  Input Template information is conveyed via the first record in a NITS CSV Format submitted data message, the INPUT Header Record.

The following Data Elements shall be supported by all defined Input Templates, and included in the INPUT Header Record’s Header Data Element List.
Input Template Data Element List – Upload:
	Data Element Name
	Requirement
	Usage

	VERSION
	Optional
	Defines the OASIS S&CP Protocol Version for all Template information specified; if null, OASIS defaults to the current VERSION.

	PRIMARY_PROVIDER_CODE
	Required
	Defines by Registered Entity Code the Transmission Provider the Template is being submitted to.

	PRIMARY_PROVIDER_DUNS
	Optional
	Defines by Registered Entity Code DUNS the Transmission Provider the Template is being submitted to; if null, OASIS defaults to the DUNS registered under the PRIMARY_PROVIDER_CODE.

	RETURN_TZ
	Optional
	Defines the time zone to be returned for all date/time related template Data Elements; if null, OASIS defaults to the prevailing time zone associated with the Transmission Provider.

	TIME_STAMP
	Must be Null
	Required on input/upload to be null; returned in response.


Input Template Data Element List – Response:
	Data Element Name
	Requirement
	Usage

	VERSION
	Required
	OASIS S&CP Protocol Version for all Template information returned in the response.

	PRIMARY_PROVIDER_CODE
	Required
	Registered Entity Code of the Transmission Provider generating the Template response.

	PRIMARY_PROVIDER_DUNS
	Required
	Registered Entity DUNS of the Transmission Provider generating the Template response.

	RETURN_TZ
	Required
	Time zone used for return of all date/time related template Data Elements in Template response.

	TIME_STAMP
	Required
	Time stamp associated with the OASIS date/time the Template response was generated.


Example:
INPUT=NewNITSRequest,VERSION,PRIMARY_PROVIDER_CODE,PRIMARY_PROVIDER_DUNS,RETURN_TZ,TIME_STAMP↵
,2.0,ATP,123456789,ES,↵
002-6.3.1.1
Submit New NITS Request (NewNITSRequest)

The NewNITSRequest Input Template is used to either 1) open a new OASIS workspace and begin the process for submitting a new Application for NITS, or 2) enter one or more new NITS requests in association with a pending or completed NITS Application.  
To begin the NITS Application process on OASIS, the Customer must submit the NewNITSRequest Input Template containing a single NewNITSApplication Request Template describing the basic attributes for the service being requested.  Once a corresponding APPLICATION_REF has been assigned to the NITS Application, subsequent NewNITSRequest Input Template submissions may be used to submit any of the supported Request Templates and their associated Data Templates as appropriate that will be associated with that new NITS Application.

Each Request Template submitted with the NewNITSRequest Input Template shall be assigned a unique ASSIGNMENT_REF reference identifier by OASIS which is returned in the Request Template response.
The initial STATUS assigned to each new request submitted with the NewNITSRequest Input Template shall be restricted to either PRESUBMITTED or QUEUED depending on the current STATUS of the associated NITS Application referenced in the APPLICATION_REF Data Element as follows.

If the NITS Application has a STATUS of PRESUBMITTED, all new NITS requests submitted referencing that NITS Application shall be restricted to the having the initial STATUS value of PRESUBMITTED.  

If the NITS Application has a STATUS of CONFIRMED or any other intermediate pending state value (e.g., DEFICIENT), new NITS requests may be submitted as either PRESUBMITTED or QUEUED.  Requests that are PRESUBMITTED will not be considered part of the NITS Application until they are completed and updated using the UpdateNITSRequest Input Template to set the STATUS to QUEUED for evaluation by the Transmission Provider.

If the NITS Application STATUS is in any final state other than CONFIRMED, any attempts to submit a new request referencing that NITS Application shall be rejected with an error.

The following Request Templates shall be supported by the NewNITSRequest Input Template:

NewNITSApplication  (must appear alone)
ModifyNITSService
ModifyNITSCustomer

AddNITSAgent

ModifyNITSAgent

AddNITSLoad

ModifyNITSLoad

AddNITSGeneration

ModifyNITSGeneration

AddNITSResource

ModifyNITSResource

AddNITSDNR
TerminateNITSDNR
AddNITSSecondary
TerminateNITSSecondary
AddNITSAncillary
002-6.3.1.2
Update NITS Request (UpdateNITSRequest)
The UpdateNITSRequest Input Template is used to change the STATUS and/or information associated with one or more NITS Request Templates submitted to OASIS using the NewNITSRequest Input Template. 

The specific requests to be updated using the UpdateNITSRequest template are identified by the name of each Request Template included in the Input Template submission, the designated APPLICATION_REF identifying the specific NITS Application the request is a part of,  and the unique OASIS assigned ASSIGNMENT_REF that was returned in response to the initial request submission.  OASIS shall return an error if the supplied Request Template name, NITS Application, and associated ASSIGNMENT_REF do not match an existing NITS request.

The NewNITSApplication Request Template must be submitted as the only request in the UpdateNITSRequest Input template submission.  Additional special handling for updating the NewNITSApplication request are described in the Request Template definition.  There are no other restrictions with respect to the order or number of Request Template submissions that may be included and updated using the UpdateNITSRequest Input Template.

All Request Templates shall support the updating of the STATUS and CUSTOMER_COMMENTS Data Elements in the Request Header.  The valid STATUS Data Element values that may be set by the Customer (or their Agent) are specified in Business Practice Standard WEQ-013-x.x.  Requests that are in a final state as established by the STATUS state transition diagram may not be updated, and any attempt to update these requests will be returned in error.
  

Each Request Template may permit the updating of information contained in one or more Data Templates associated with the given request.  The Data Templates permitted in association with each Request Template are specified in the Request Template definition.  Any Data Template(s) included in association with a Request Template referenced in the UpdateNITSRequest Input Template shall be handled as follows.  
If the Data Template referenced is not already part of the request as submitted in a preceding NewNITSRequest or UpdateNITSRequest Input Template submission, the submitted information shall be incorporated into and treated as part of the updated request.   If the Data Template referenced has already been included in a prior NewNITSRequest or UpdateNITSRequest Input Template submission, the information provided in the subsequent UpdateNITSRequest shall replace the prior information in its entirety.  An exception to this handling of updates, i.e., replacement of data in its entirety, must be implemented for submission of the AuxiliaryTransmission Data Template.  The AuxiliaryTransmission template shall support the incremental addition and deletion of information as specified for this template in WEQ-002-6.3.3.13.  
Submission of a given Data Template with no (0) corresponding data value records specified following the Data Template Header Record shall effectively remove that Data Template and all associated information from inclusion in the associated request.
The following Request Templates shall be supported by the UpdateNITSRequest Input Template:

NewNITSApplication  (must appear alone)
ModifyNITSApplication

AddNITSAgent

ModifyNITSAgent

AddNITSLoad

ModifyNITSLoad

AddNITSGeneration

ModifyNITSGeneration

AddNITSResource

ModifyNITSResource

AddNITSDNR
TerminateNITSDNR
AddNITSSecondary
TerminateNITSSecondary
AddNITSAncillary

002-6.3.1.3
Submit New Concomitant Request (NewConcomitantRequest)

The NewConcomitantRequest Input Template is used to submit a set of qualifying requests to be treated and acted on as a single action.  Only a subset of valid NITS Request Templates are allowed to be submitted as part of a concomitant request to OASIS.  

The NewConcomitantRequest submission must contain at least one TerminateNITSDNR request, and at most one other request for AddNITSDNR, 
AddNITSSecondary, or AddPTPService.  

The NITS Application specified in the APPLICATION_REF Data Element for each request included in the NewConcomitantRequest  Input Template must be identical and must reference a CONFIRMED NITS Application.  
OASIS shall assign and return a unique ASSIGNMENT_REF identifier to each submitted request.  OASIS shall also assign a single unique TRANSACTION_REF identifier that will be associated to each request in the NewConcomitantRequest.
The individual Request Template submissions that comprise the set of request to be treated as concomitant requests may be set with an initial STATUS of PRESUBMITTED and updated or deleted as long as their request STATUS remains PRESUBMITTED.  However, when ready for final submission to the Transmission Provider, all of the valid requests to be treated as concomitant requests (by TRANSACTION_REF) must be simultaneously updated to set each request STATUS to QUEUED using the UpdateConcomitantRequest Input Template.  Any attempt to set a given concomitant request to QUEUED when there are additional concomitant requests (by TRANSACTION_REF) set to PRESUBMITTED shall return an error.

The PRECONFIRMED Data Element value must be identical (YES or NO) for all requests at the time the concomitant requests are set to QUEUED.
OASIS shall validate all Request Template information submitted in the NewConcomitantRequest Input Template.  If any request is found to be in error, all requests in the template submission shall be returned with an error.  
The following Request Templates shall be supported by the NewConcomitantRequest Input Template:

TerminateNITSDNR (must be included)
AddNITSDNR

AddNITSSecondary
AddPTPService
002-6.3.1.4
Update Concomitant Request (UpdateConcomitantRequest) 

The UpdateConcomitantRequest Input Template is used to update the STATUS of a set of qualifying requests that were submitted for concomitant evaluation.    All of the requests that were included in the original submission under the NewConcomitantRequest Input Template must be included in the UpdateConcomitantRequest submission.  


 
Any new STATUS value to be set into each of the requests referenced in the UpdateConcomitantRequest submission must be the same and reflect a valid STATUS state transition in accordance with Business Practice Standard WEQ-001-107 and WEQ-013.

The following Request Templates shall be supported by the UpdateConcomitantRequest Input Template:

TerminateNITSDNR

AddNITSDNR

AddNITSSecondary

AddPTPService

002-6.3.2
Request Template Definitions
The OASIS shall support the following Request Templates for the uploading of NITS related request information.  Request Template information is conveyed via the REQUEST Header Record and immediately following Header Data Element values record and any additional Data Templates supported by the request.  Each Request Template submission shall support only a single instance of a given Data Template.  However, multiple different Data Templates may be conveyed within a single Request Template submission depending on the nature of the request submitted.
Each successful Request Template submission shall be assigned an OASIS reference identifier returned in the ASSIGNMENT_REF header Data Element.  ASSIGNMENT_REF must be a unique value for a given Transmission Provider at a minimum, and must also be unique from all other ASSIGNMENT_REF values assigned for that Transmission Provider in association with the General OASIS and PTP Templates specified under Business Practice Standard WEQ-002-4.

The following Data Elements shall be supported by all defined Request Templates, and included in the Request Header Record’s Header Data Element List.

Request Template Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	TRANSACTION_REF
	Required*

	Required only on submission of UpdateConcomitantRequest Input Template; must be null in all other instances. 


	ASSIGNMENT_REF

	Required*
	Required only on submission of UpdateNITSRequest and  UpdateConcomitantRequest; must be null in all other instances.


	APPLICATION_REF
	Required*
	Must be null in NewNITSApplication submission only; required in all other instances.


	PRECONFIRMED
	Optional
	Specifies if request is pre-confirmed or not on initial submission with STATUS=QUEUED; if null, current value retained with default of ‘NO’.


	STATUS
	Optional
	Specifies initial or any change in request STATUS value; if null, current value retained.


	STATUS_COMMENTS
	Optional
	Optional comments that can be used to describe action taken in setting STATUS; if null, current value retained.




	CUSTOMER_COMMENTS
	Optional
	Optional comments to be included in request; if null, current value retained.


	PRIMARY_PROVIDER_COMMENTS
	Must be null
	Returned in response.



	SELLER_COMMENTS
	Must be null
	Returned in response.




	SELLER_CODE
	Must be null
	Returned in response.



	SELLER_DUNS
	Must be null
	Returned in response.



	CUSTOMER_CODE
	Must be null
	Returned in response.



	CUSTOMER_DUNS
	Must be null
	Returned in response.



	AFFILIATE_FLAG
	Must be null
	Returned in response.



	TIME_QUEUED
	Must be null
	Returned in response.



	RESPONSE_TIME_LIMIT
	Must be null
	Returned in response


	TIME_OF_LAST_UPDATE
	Must be null
	Returned in response.



	REQUEST_STATUS

	Must be null
	Returned in response.



	ERROR_MESSAGE
	Must be null
	Returned in response.




Request Template Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	TRANSACTION_REF
	May be null

	Returns unique OASIS assigned transaction reference identifier for concomitant requests only; null returned in all other instances. 


	ASSIGNMENT_REF
	Required
	Returns unique OASIS assigned request reference identifier for each request.



	APPLICATION_REF
	Required
	Returns the unique OASIS assigned application reference identifier required to associate request with given NITS Application.

 

	PRECONFIRMED
	Required
	Returns current value for pre-confirmation status of request.



	STATUS
	Required
	Returns current request STATUS value.



	STATUS_COMMENTS
	May be null
	Optional comments set by NITS Customer or Transmission Provider (Seller) to describe action taken in setting STATUS; if null, current value retained.



	CUSTOMER_COMMENTS
	May be null
	Returns current customer comments associated with request.


	PRIMARY_PROVIDER_COMMENTS
	May be null
	Returns any comments associated with request as set by the Transmission Provider.


	SELLER_COMMENTS
	May be null
	Returns any comments associated with the request as set by the Transmission Provider for all but the AddNITSAncillary request which is set by the ancillary service provider.


	SELLER_CODE
	Required
	Set to PRIMARY_PROVIDER_CODE for all but the AddNITSAncillary request which is set to identify the ancillary service provider.



	SELLER_DUNS
	Required
	Set to PRIMARY_PROVIDER_DUNS for all but the AddNITSAncillary request which is set to identify the ancillary service provider.



	CUSTOMER_CODE
	Required
	Set to the NITS Customer’s registered entity code at time of initial submission.



	CUSTOMER_DUNS
	Required
	Set to the NITS Customer’s registered DUNS at time of initial submission.



	AFFILIATE_FLAG
	May be null
	Identifies if the NITS Customer submitting the request is affiliated with the Transmission Provider (Seller); returns null value while request  is PRESUBMITTED.



	TIME_QUEUED
	May be null
	Date/time that the request was submitted as QUEUED; returns null value while request is PRESUBMITTED.



	RESPONSE_TIME_LIMIT
	May be null
	Once submitted and under evaluation by the Transmission Provider, this field may be set by the Transmission Provider with a deadline for customer action dependent on the nature of the request and applicable Business Practices.



	TIME_OF_LAST_UPDATE
	Required
	Date/time the request was last updated, i.e., time OASIS acted on request submission.




	REQUEST_STATUS

	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.


	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.



Example:

REQUEST=NewNITSApplication, TRANSACTION_REF, ASSIGNMENT_REF, APPLICATION_REF, PRECONFIRMED, STATUS, STATUS_COMMENTS, CUSTOMER_COMMENTS ↵
,,,,NO,PRESUBMITTED,”Customer requesting NITS service to City of Abc”,,,,,,,↵


002-6.3.2.1
Request for New NITS Application (NewNITSApplication)
The NewNITSApplication Request Template must be submitted as the only request contained within the NewNITSRequest Input Template and will result in OASIS opening a new workspace for creation of the full initial Application for NITS and returning a unique APPLICATION_REF to be used in all subsequent requests associated with this NITS Application. The initial STATUS may be set to either PRESUBMITTED or QUEUED.  The PRESUBMITTED STATUS shall allow the Transmission Customer to add and update additional NITS requests to form the final application before it is presented to the Transmission Provider for evaluation.

The initial term of service being requested and the identification of the Eligible Customer making the application for NITS must be supplied using the NITSServiceDescription and NITSCustomer Data Templates.   OASIS shall associate the new NITS Application with the registered entity that is submitting the request on OASIS.  If the entity submitting the NewNITSAppliction request is not the NITS Customer, that entity must be identified as a prospective Agent of the NITS Customer by inclusion of the NITSAgent Data Template as part of the NewNITSApplication request. If this agency relationship has not been established, OASIS shall prevent the submission of the NITS Application on behalf of a Transmission Customer other than itself.  

While the NewNITSApplication request is PRESUBMITTED, the information in any of the Data Templates associated with the request may be updated/replaced through the UpdateNITSRequest Input Template.  All related requests submitted with reference to a PRESUBMITTED NITS Application must also be set to the initial STATUS of PRESUBMITTED.  Any request that is no longer to be considered part of the initial NITS Application may be updated by the Customer with the STATUS of DELETED
 to remove that request from further consideration prior to setting the NewNITSApplication STATUS from PRESUBMITTED to QUEUED.
Once all required information associated with the initial application for NITS has been established through one or more related NITS Request Template submissions, the Transmission Customer shall submit the NITS Application for evaluation by the Transmission Provider by updating the NewNITSApplication request to QUEUED.  OASIS shall simultaneously update all PRESUBMITTED requests referencing that NITS Application to QUEUED.
After the NewNITSApplication request is QUEUED, no further updates to the NITSServiceDescription, NITSCustomer, or NITSAgent (if applicable) Data Templates shall be allowed.  If changes are required and permitted by the Transmission Provider, the Transmission Customer must use the ModifyNITSService, ModifyNITSCustomer and Add/ModifyNITSAgent Request Templates to submit those modifications for Transmission Provider review and approval.

The UpdateNITSRequest Input Template is used by the Transmission Customer to make any appropriate changes in the NewNITSApplication request STATUS.  The NewNITSApplication Request Template must be the only request included in the UpdateNITSRequest submission.  Any attempts to update the NewNITSApplication by an entity that is not the Transmission Customer or an authorized Agent of the customer effective at the time the request update is submitted shall be blocked by OASIS.
The following Data Templates shall be supported by the NewNITSApplication Request Template:

NITSServiceDescription (must be supplied)
NITSCustomer (must be supplied)
NITSAgent
002-6.3.2.2
Request to Modify NITS Service (ModifyNITSService)
The ModifyNITSService Request Template is used to request a modification to the existing term of service under the NITS Application.  The information regarding the modification being requested shall be included in the associated NITSServiceDescription Data Template.  Modifications to the NITS Application while it is still pending final confirmation may be rejected by the Transmission Provider as dictated by their Business Practices through setting of the request’s STATUS as appropriate.  

While set to the STATUS of PRESUBMITTED, the information supplied in the NITSServiceDescription Data Template may be updated using the UpdateNITSRequest Input Template.  Once QUEUED for evaluation, the UpdateNITSRequest Input Template is limited to only making appropriate changes to the ModifyNITSService request STATUS.  

Any attempts to submit or update the ModifyNITSService request by an entity that is not the current Transmission Customer or an authorized Agent of the customer effective at the time the request is submitted shall be blocked by OASIS.
The following Data Template shall be supported by the ModifyNITSService Request Template:

NITSServiceDescription (must be supplied)
002-6.3.2.3
Request to Modify NITS Customer (ModifyNITSCustomer)
The ModifyNITSCustomer Request Template is used to request a transfer of obligations under the NITS Application to another Eligible Customer or simply to update contact information or dynamic notification settings for the existing NITS Customer.  The information associated with the modification being requested shall be included in an associated NITSCustomer Data Template.  Modifications to the NITS Customer while the NITS Application is still pending final confirmation may be rejected by the Transmission Provider as dictated by their Business Practices through setting of the request’s STATUS as appropriate.  


The ModifyNITSCustomer request must be submitted as PRECONFIRMED.   There is no negotiation or final confirmation required for this request.  Once verified with all affected parties and ACCEPTED by the Transmission Provider, the Customer obligations under the NITS Application shall be transferred to the new NITS Customer if applicable.  
While set to the STATUS of PRESUBMITTED, the information supplied in the NITSCustomer Data Template may be updated using the UpdateNITSRequest Input Template.  Once QUEUED for evaluation, the UpdateNITSRequest Input Template is limited to only making appropriate changes to the ModifyNITCustomer request STATUS.  

Any attempts to submit or update the ModifyNITSCustomer request by an entity that is not the current Transmission Customer or an authorized Agent of the customer effective at the time the request is submitted shall be blocked by OASIS.
Upon final approval and confirmation of any change in the NITSCustomer information, OASIS shall set the EFFECTIVE_STOP_TIME of the currently active Customer information equal to the EFFECTIVE_START_TIME of the newly approved change in NITS Customer.  The EFFECTIVE_STOP_TIME of any new or modified Customer information shall be open ended and remain in effect until a subsequent request to ModifyNITSCustomer is received and approved. There shall be only one active Customer information record in effect at any point in time over the term of the NITS Application.

The following Data Template shall be supported by the ModifyNITSCustomer Request Template:

NITSCustomer (must be supplied)
002-6.3.2.4
Request to Add an Agent (AddNITSAgent)
The AddNITSAgent Request Template is used to request the addition of a new entity to be recognized as an authorized Agent for the NITS Transmission Customer.  This request may be submitted by the Transmission Customer, any of the current Agents effective at the time of submission or the perspective Agent entity themselves.  

If submitted with an initial STATUS of PRESUBMITTED, the information supplied in the NITSAgent Data Template may be updated using the UpdateNITSRequest Input Template.  Once QUEUED for evaluation, the UpdateNITSRequest Input Template is limited to only making appropriate changes to the AddNITSAgent request STATUS.  Any changes required to the Agent information must then be made through submission of the ModifyNITSAgent Request Template.  

Unless explicitly specified with an EFFECTIVE_STOP_TIME, NITS Agent information may be open ended until terminated through the ModifyNITSAgent request.

The following Data Templates shall be supported by the AddNITSAgent Request Template:

NITSAgent (must be supplied)
002-6.3.2.5
Request to Modify an Agent (ModifyNITSAgent)
The ModifyNITSAgent Request Template is used to request a modification to an existing authorized Agent for the NITS Transmission Customer.  This request may be submitted by the Transmission Customer, or any of the current Agents effective at the time of submission.  

Termination of an agency relationship with the Transmission Customer is effected by setting the EFFECTIVE_STOP_TIME in the NITSAgent Data Template using this ModifyNITSAgent request.
If submitted with an initial STATUS of PRESUBMITTED, the information supplied in the NITSAgent Data Template may be updated using the UpdateNITSRequest Input Template.  Once QUEUED for evaluation, the UpdateNITSRequest Input Template is limited to only making appropriate changes to the ModifyNITSAgent request STATUS.  Any changes required to the Agent information must then be made through submission of another ModifyNITSAgent Request Template.  

The following Data Templates shall be supported by the ModifyNITSAgent Request Template:

NITSAgent (must be supplied)
002-6.3.2.6
Request to Add a Network Load (AddNITSLoad)
The AddNITSLoad Request Template is used to request the addition of a new load to be served under the NITS Application.  This request may be submitted by the Transmission Customer, or any of the current Agents effective at the time of submission.  The information describing the nature of the new network load is supplied in one or more related Data Templates that are supported for this request.
If submitted with an initial STATUS of PRESUBMITTED or when the request STATUS has been set to DEFICIENT by the Transmission Provider, any information supplied in any of the supported load Data Templates may be updated using the UpdateNITSRequest Input Template.  New data may be added to the AddNITSLoad request by submission of a previously omitted load Data Template.  If information has already been submitted for a given Data Template, that information may be replaced in its entirety by re-submitting the correct information to replace the current information associated with the AddNITSLoad request. 

Once QUEUED for evaluation or set to be reevaluated, the UpdateNITSRequest Input Template is limited to only making appropriate changes to the AddNITSLoad request STATUS.  Any changes required to the network load information must then be made through submission of the ModifyNITSLoad Request Template.  

Each discreet load to be served under the Customer’s NITS Application must be assigned a Customer supplied, application unique LOAD_NAME to be used to reference that load in any associated NITSLoadDesignation or NITSLoadForecast Data Template information.  NITS Loads may be defined without being designated so that they may be included in the load forecast information supplied to the Transmission Provider under the NITS Application.
Submission of an AddNITSLoad request with reference to a LOAD_NAME that is currently defined under the NITS Application shall be returned with an error condition indicating that the named load already exists.  The ModifyNITSLoad request shall be used to modify existing load designations and forecasts.
As part of the Transmission Provider’s evaluation, the Provider may determine that a given network load being added to the NITS Application cannot be served reliably as a single designated Point of Delivery and/or Sink on the Provider’s transmission system.  The Transmission Provider may require the Transmission Customer to disaggregate the network load into separately identified and named  loads with associated unique transmission system Points of Delivery and/or Sinks on the Transmission Provider’s transmission system.  If discreetly named Customer loads are considered electrically equivalent in terms of their impact on transfer capability or may be modeled in aggregate, the Transmission Provider may require the Transmission Customer to specify the same Point of Delivery and/or Sink for multiple loads.

The Transmission Customer shall be required to schedule each of the discreet loads designated under the NITS Application using the transmission system POD/Sink designations as established in the NITSLoadDescription.  If multiple discreet Customer named loads are assigned to the same Point-of-Delivery and Sink (if applicable) by the Transmission Provider, the NITS Customer shall be permitted to schedule deliveries to all designated network loads at that Point-of-Delivery and Sink on an aggregated basis.

All Data Templates included in a given AddNITSLoad request must reference the same unique LOAD_NAME; OASIS shall return an error on any attempt to submit a new or update an exsting AddNITSLoad request where the LOAD_NAME is not consistent across all associated Data Templates in the request.
The following Data Templates shall be supported by the AddNITSLoad Request Template:

NITSLoadDescription (must be supplied)
NITSLoadForecast (optional template)
002-6.3.2.7
Request to Modify a Network Load (ModifyNITSLoad)
The ModifyNITSLoad Request Template is used to request the modification of the capacity designated or forecasted in association with an existing named network load under a NITS Application.    This request may be submitted by the Transmission Customer, or any of the current Agents effective at the time of the request submission. 

The information supplied in association with the ModifyNITSLoad request, if approved and confirmed, shall effectively replace any existing information associated with that named load under the NITS Application over the period of time specified in the Data Template(s) submitted as part of the ModifyNITSLoad request.
Removal of a named load from consideration under the NITS Application is accomplished by setting the EFFECTIVE_STOP_TIME in the NITSLoadDescription Data Template.   EFFECTIVE_STOP_TIME establishes the point in time after which all information that may have been provided in association with that NITS Load. i.e., designations and forecasts, shall be considered terminated or no longer considered as part of the NITS Application.

Termination of only a portion of a designated network load or the incremental addition of capacity for the designated load is accomplished by restating the NITSLoadForecast information over time with the new total MW capacity to be treated as designated load under the NITS Application.
  If load forecast information is communicated to the Transmission Provider off-OASIS, the revised load information should reflect the new total load designated under the NITS Application.
New or revised load forecast information associated with the named NITS Load are submitted with the NITSLoadForecast Data Template.  Changes to the NITSLoadForecast may be submitted using separate ModifyNITSLoad requests. 
If submitted with an initial STATUS of PRESUBMITTED or when the request STATUS has been set to DEFICIENT by the Transmission Provider, any information supplied in any of the supported load Data Templates may be updated using the UpdateNITSRequest Input Template.  New data may be added to the ModifyNITSLoad request by submission of a previously omitted load Data Template.  If information has already been submitted for a given Data Template, that information may be replaced in its entirety by re-submitting the correct information to replace the current information associated with the ModifyNITSLoad request. 

All Data Templates included in a given ModifyNITSLoad request must reference the same unique LOAD_NAME; OASIS shall return an error on any attempt to submit a new or update an existing ModifyNITSLoad request where the LOAD_NAME is not consistent across all associated Data Templates in the request.

On approval and final confirmation of any modification to the NITS load, the information provided in the ModifyNITSLoad request shall replace any existing information previously associated with that network load over the timeframe(s) as specified in the associated Data Template(s) submitted.

The following Data Templates shall be supported by the ModifyNITSLoad Request Template:

NITSLoadDescription

NITSLoadForecast

002-6.3.2.8
Request to Add a Generation Asset (AddNITSGeneration)
The AddNITSGeneration Request Template is used to request the addition of a new generation asset that may be used as a NITS resource. This request may be submitted by the Transmission Customer, or any of the current Agents effective at the time of submission.  The information describing the nature of the generation asset is supplied in one or more related Data Templates that are supported for this request.

If submitted with an initial STATUS of PRESUBMITTED or when the request STATUS is set to DEFICIENT, any information supplied in any of the supported generation Data Templates may be updated using the UpdateNITSRequest Input Template.  New data may be added to the AddNITSGeneration request by submission of a previously omitted generation Data Template.  If information has already been submitted for a given Data Template, that information may be replaced in its entirety by re-submitting the correct information to replace the current information associated with the AddNITSGeneration request. 

Once QUEUED for evaluation or set to be reevaluated, the UpdateNITSRequest Input Template is limited to only making appropriate changes to the AddNITSGeneration request STATUS.  Any changes required to the generation information must then be made through submission of a separate ModifyNITSGeneration Request Template.  

The AddNITSGeneration request must contain the NITSGenerationDescription defining the basic attributes of the generation asset.  The NITSGenerationDispatch Data Template is optional.
Each generation asset that may be used to serve network load as a Designated Network Resource under the Customer’s NITS Application must be assigned a Customer supplied, application unique GEN_NAME to be used to reference that generation asset in any associated NITSGenerationDispatch Data Template information, or subsequent AddNITSDNR request.

All Data Templates included in a given AddNITSGeneration request must reference the same unique GEN_NAME; OASIS shall return an error on any attempt to submit a new or update an exsting AddNITSGeneration request where the GEN_NAME is not consistent across all associated Data Templates in the request.

To facilitate the designation of multiple physical generation assets as a single Designated Network Resource while providing for the ability to designate or terminate any of those resources on an aggregate basis or on an individual generation asset basis, a given generation asset may be assigned to a named aggregate generation group (GEN_GROUP) in the NITSGenerationDescription Data Template.
The following Data Templates shall be supported by the AddNITSGeneration Request Template:

NITSGenerationDescription (must be supplied)
NITSGenerationDispatch


002-6.3.2.9
Request to Modify a Generation Asset (ModifyNITSGeneration)
The ModifyNITSGeneration Request Template is used to request the modification of information in association with an existing NITS Generation asset.    This request may be submitted by the Transmission Customer or any of the current Agents effective at the time of submission. 

Removing the relationship of a generation asset to the NITS Application is effected by setting the effective stop time in the NITSGenerationDescription Data Template using this ModifyNITSGeneration request.  All NITS Resource definitions and designations that reference a given generation asset being removed from the NITS Application must be terminated by the Customer effective at or prior to the time requested for the removal of the generation asset.
   The Transmission Provider may deny the request to remove a generation asset from a NITS Application if there are NITS Resource definitions and designations that have not yet been terminated.
If submitted with an initial STATUS of PRESUBMITTED or when the request STATUS is set to DEFICIENT, any information supplied in any of the supported generation Data Templates may be updated using the UpdateNITSRequest Input Template.  New data may be added to the ModifyNITSGeneration request by submission of a previously omitted generation Data Template.  If information has already been submitted for a given Data Template, that information may be replaced in its entirety by re-submitting the correct information to replace the current information associated with the ModifyNITSGeneration request.
On approval and final confirmation of any modification to the NITS generation asset, the information provided in the ModifyNITSGeneration request shall replace any existing information previously associated with the generation asset over that timeframe as specified in the associated generation Data Template(s) submitted.

All Data Templates included in a given ModifyNITSGeneration request must reference the same unique GEN_NAME; OASIS shall return an error on any attempt to submit a new or update an exsting ModifyNITSGeneration request where the GEN_NAME is not consistent across all associated Data Templates in the request.  
The following Data Templates shall be supported by the ModifyNITSGeneration Request Template:

NITSGenerationDescription

NITSGenerationDispatch

002-6.3.2.10
Request to Add a Network Resource (AddNITSResource)

The AddNITSResource Request Template is used to request the addition of a new resource to be used to serve load under the NITS Application.  This request may be submitted by the Transmission Customer, or any of the current Agents effective at the time of submission.  The information describing the nature of the new network resource is supplied in one or more related Data Templates that are supported for this request.

The AddNITSResource request is used to define a future resource to be forecasted but as yet not declared as a DNR, or establish a named network resource that may then be specified as a Designated Network Resource in a subsequent AddNITSDNR request.  NITS Resources may be defined without being designated so that they may be included in the resource forecast information supplied to the Transmission Provider under the NITS Application.
If submitted with an initial STATUS of PRESUBMITTED or when the request STATUS has been set to DEFICIENT by the Transmission Provider, any information supplied in any of the supported resource Data Templates may be updated using the UpdateNITSRequest Input Template.  New data may be added to the AddNITSResource request by submission of a previously omitted resource Data Template.  If information has already been submitted for a given Data Template, that information may be replaced in its entirety by re-submitting the correct information to replace the current information associated with the AddNITSResource request. 

Once QUEUED for evaluation or set to be reevaluated, the UpdateNITSRequest Input Template is limited to only making appropriate changes to the AddNITSResource request STATUS.  Any changes required to the network resource information must then be made through submission of the ModifyNITSResource Request Template.  

Each resource to be used to serve network load under the Customer’s NITS Application must be assigned a Customer supplied, application unique RESOURCE_NAME to be used to reference that resource in any associated NITSResourceForecast Data Template information, or subsequent AddNITSDNR request.  
Submission of an AddNITSResource request with reference to a RESOURCE_NAME that is currently defined under the NITS Application shall be returned with an error condition indicating that the named resource already exists.  The ModifyNITSResource request shall be used to modify existing named resource forecast information.
All Data Templates included in a given AddNITSResource request must reference the same unique RESOURCE_NAME; OASIS shall return an error on any attempt to submit a new or update an existing  AddNITSResource request where the RESOURCE_NAME is not consistent across all associated Data Templates in the request.

New or revised resource forecast information associated with the named Resource are submitted with the NITSResourceForecast Data Template.  Changes to the NITSResourceForecast may be submitted using separate ModifyNITSResource requests. 
The following Data Templates shall be supported by the AddNITSResource Request Template:

NITSResourceDescription (must be supplied)
NITSResourceForecast

002-6.3.2.11
Request to Modify a Network Resource (ModifyNITSResource)
The ModifyNITSResource Request Template is used to request the modification of the forecasted capacity in association with an existing named network resource under a NITS Application or to revise the effective date/time that the resource shall no longer be associated with the NITS Application.  This request may be submitted by the Transmission Customer, or any of the current Agents effective at the time of the request submission. 

The information supplied in association with the ModifyNITSResource request, if approved and confirmed, shall effectively replace any existing information associated with that named resource under the NITS Application over the period of time specified in the Data Template(s) submitted as part of the ModifyNITSResource request.

New or revised forecast information associated with the named NITS Resource is submitted with the NITSResourceForecast Data Template

Removal of a named resource from consideration under the NITS Application is accomplished by setting the EFFECTIVE_STOP_TIME in the NITSResourceDescription Data Template.   EFFECTIVE_STOP_TIME is the only NITSResourceDescription template Data Element that may be modified via the ModifyNITSResource request, and establishes the point in time after which all information that may have been provided in association with that NITS Resource. i.e., designations and forecasts, shall no longer be considered part of the NITS Application. A NITS Resource may not be removed from the NITS Application if it is currently declared by the Customer as a Designated Network Resource beyond the proposed EFFECTIVE_STOP_TIME of that NITS Resource. 
If submitted with an initial STATUS of PRESUBMITTED or when the request STATUS has been set to DEFICIENT by the Transmission Provider, any information supplied in any of the supported resource Data Templates may be updated using the UpdateNITSRequest Input Template.  New data may be added to the ModifyNITSResource request by submission of a previously omitted resource Data Template.  If information has already been submitted for a given Data Template, that information may be replaced in its entirety by re-submitting the correct information to replace the current information associated with the ModifyNITSResource request. 

All Data Templates included in a given ModifyNITSResource request must reference the same existing unique RESOURCE_NAME; OASIS shall return an error on any attempt to submit a new or updagte an existing ModifyNITSResource request where the RESOURCE_NAME is not consistent across all associated Data Templates in the request, or where that RESOURCE_NAME does not currently exist.

On approval and final confirmation of any modification to the NITS load, the information provided in the ModifyNITSResource request shall replace any existing information previously associated with that Network Resource over the timeframe(s) as specified in the associated Data Template(s) submitted.

The following Data Templates shall be supported by the ModifyNITSResource Request Template:

NITSResourceDescription

NITSResourceForecast

002-6.3.2.12
Request to Add a Designated Network Resource (AddNITSDNR)

The AddNITSDNR Request Template is used to request the addition of a new Designated Network Resource to those network resources committed to serve network load under the NITS Application. This request may be submitted by the Transmission Customer, or any of the current Agents effective at the time of submission.  The information describing the nature of the new DNR is supplied in two or more related Data Templates that are supported for this request.
If the DNR to be added is already a defined named NITS Resource under the NITS Application, only the NITSResourceDesignation and NITSResourceCapacity Data Templates are required to be submitted in the AddNITSDNR request. If the named resource to be designated is not defined under the NITS Application, the resource must be defined and optionally forecasted, if applicable, by submitting the NITSResourceDescription and NITSResourceForecast Data Templates as part of the AddNITSDNR request.
For NITS Resources identified as OFF_SYSTEM, the AuxiliaryTransmission Data Template may be submitted to provide the information required for transmission service arrangements on other Transmission Providers’ systems to be utilized for delivery of energy from the DNR to the POINT_OF_RECEIPT specified for the DNR on the Transmission Provider’s transmission system.  If the new DNR being requested is to be considered as part of a coordinated service request across multiple transmission providers, the required information for each of the other Coordinated Requests in the Coordinated Grooup must be supplied in the AuxiliaryTransmission Data Template.  The DNR request must also be flagged as ‘coordinated’ such that the request will be handled by the Transmission Provider in accordance with Business Practice Standard WEQ-001-xx established for handling such requests.  The OASIS assigned ASSIGNMENT_REF returned in the AddNITSDNR Request Template response must be used as the ASSIGNMENT_REF for identifying the requested DNR as a Coordinated Request in the Coordinated Group information associated with each of the other Coordinated Request comprising the Coordinated Group.

If submitted with an initial STATUS of PRESUBMITTED or when the request STATUS has been set to DEFICIENT by the Transmission Provider, any information supplied in any of the supported resource Data Templates may be updated using the UpdateNITSRequest Input Template.  New data may be added to the AddNITSDNR request by submission of a previously omitted resource Data Template.  If information has already been submitted for a given Data Template, that information may be replaced in its entirety by re-submitting the correct information to replace the current information associated with the AddNITSResource request.  Validation of the AddNITSDNR request information shall occur when the request is ultimately queued or marked for reevaluation.
All Data Templates submitted in association with a given AddNITSDNR request must reference the same Customer assigned RESOURCE_NAME.  If the RESOURCE_NAME is not consistent in all Data Templates an error shall be returned when the AddNITSDNR request is attempted to be queued or set for reevaluation.  
Submission of an AddNITSDNR request that includes the NITSResourceDescription or NITSResourceForecast Data Templates with reference to a RESOURCE_NAME that is currently defined under the NITS Application shall be returned with an error condition indicating that the named resource already exists.  The ModifyNITSResource request must be used to modify that information associated with an existing named NITS Resource.  
The DNR’s capacity to be designated over time must be supplied in one or more data records specified in the NITSResourceCapacity Data Template.  The capacity to be designated must be supplied as a positive valued integer MW quantity or zero (0) along with a corresponding time interval to which the capacity value applies.  NITSResourceCapacity data records must be supplied such that a capacity value (or 0) is specified for each time point spanning the entire EFFECTIVE_START_TIME/EFFECTIVE_STOP_TIME time interval specified for the DNR in the AddNITSDNR request’s NITSResourceDesignation Data Template.  If the NITSResourceDesignation identifies the resource as a GENERATION resource, the identity of a valid generation asset (GEN_NAME) or aggregate generation group (GEN_GROUP) associated with the NITS Application must be supplied in each capacity profile record submitted via the NITSResourceCapacity Data Template.
  
The incremental amount of transmission service to be associated with delivering the DNR to Network Load may be specified by the NITS Customer in the NITSSchedulingRights Data Template.  The Transmission Provider may require that the information in this Data Template must be specified by the Customer.  If not required by the Transmission Provider, the Transmission Provider shall assume that the request to add the DNR is to be made fully available to be scheduled at the DNR’s designated capacity to all Designated Network Loads sharing the same named Point-of-Delivery and Sink.  Any limitations to the Customer’s full deliverability to any specific Point-of-Delivery and Sink, if applicable, must be identified by the Transmission Provider through the NITSSchedulingRights Data Template and the AddNITSDNR request must be set to COUNTEROFFER to notify the Customer of such deliverability limitations and allow for the adjustment of the DNR capacity and incremental scheduling rights to be CONFIRMED.

Once QUEUED for evaluation or set to be reevaluated, the UpdateNITSRequest Input Template is limited to only making appropriate changes to the AddNITSDNR request STATUS or updating the AuxiliaryTransmission  information in accordance with the Business Practice Standards WEQ-001-xx for Coordinated Requests. If the AddNITSDNR request is set to COUNTEROFFER by the Transmission Provider, the NITS Customer may adjust the requested DNR capacity by submitting an UpdateNITSRequest Input Template for the AddNITSDNR request with the revised requested capacity stated in the NITSResourceCapacity Data Template. The Customer may also adjust the final amount of transmission scheduling rights that are to be confirmed in association with the DNR by updating the NITSSchedulingRights. Any other changes required to the DNR, assuming the DNR is ultimately CONFIRMED, must then be made through a subsequent TerminateNITSDNR and/or new AddNITSDNR requests.

The CR_ACCEPTED and CR_COUNTEROFFER status values are supported for coordinated requests, and the negotiation of capacity via updates to the NITSResourceCapacity and NITSSchedulingRights Data Templates using the UpdateNITSRequest Input Template must be supported based on the final disposition of the other requests in the Coordinated Group as specified in the AuxiliaryTransmission  Data Template and Business Practice Standard WEQ-001-xx. 

Once CONFIRMED, the amount of capacity designated over time for the DNR shall be added to the total DNR capacity amount designated for the named Network Resource at the specified Point of Receipt and Source under the NITS Application.  The Transmission Provider shall also incorporate any incremental transmission scheduling rights assigned for delivery of the DNR to the total rights available to schedule that DNR to designated load.

The following Data Templates shall be supported by the AddNITSDNR Request Template:

NITSResourceDescription
NITSResourceForecast

NITSResourceDesignation (must be supplied)

NITSResourceCapacity (
must be supplied)

NITSSchedulingRights

AuxiliaryTransmission

002-6.3.2.13
Request to Terminate a Designated Network Resource (TerminateNITSDNR)

The TerminateNITSDNR Request Template is used to request the temporary or indefinite termination of a Designated Network Resource under the NITS Application. This request may be submitted by the Transmission Customer, or any of the current Agents effective at the time of submission.  The information describing the nature of the termination (temporary vs. indefinite) and the DNR capacity being terminated over time is supplied in the Data Templates that are supported for this request.

All Data Templates submitted in association with a given TerminateNITSDNR request must reference the same Customer assigned RESOURCE_NAME.  If the RESOURCE_NAME is not consistent in all Data Templates an error shall be returned when the TerminateNITSDNR request is attempted to be queued or set for reevaluation.  

Submission of a TerminateNITSDNR request that includes reference to a RESOURCE_NAME that is not currently defined or is not designated under the NITS Application shall be returned with an error condition indicating that the named designated resource does not exist. 

If submitted with an initial STATUS of PRESUBMITTED or when the request STATUS has been set to DEFICIENT by the Transmission Provider, any information supplied in any of the supported Data Templates may be updated using the UpdateNITSRequest Input Template.  New data may be added to the TerminateNITSDNR request by submission of a previously omitted resource Data Template.  If information has already been submitted for a given Data Template, that information may be replaced in its entirety by re-submitting the correct information to replace the current information associated with the TerminateNITSDNR request.  Validation of the TerminateNITSDNR request information shall occur when the request is ultimately queued or marked for reevaluation.

If the TerminateNITSResource request is for the temporary termination of the DNR, the NITS Customer must supply the required attestation that the DNR still qualifies for treatment as a DNR at the end of the time interval the DNR is being terminated.  

The DNR’s capacity to be terminated over time must be supplied in one or more data records specified in the NITSResourceCapacity Data Template.  The capacity to be terminated must be supplied as a negative valued integer MW quantity or zero (0) along with a corresponding time interval to which the capacity value applies.  NITSResourceCapacity data records must be supplied such that a capacity value (or 0) is specified for each time point spanning the entire EFFECTIVE_START_TIME/EFFECTIVE_STOP_TIME time interval specified for the DNR in the TerminateNITSDNR request’s NITSResourceDesignation Data Template.  If the NITSResourceDesignation identifies the resource as a GENERATION resource, the identity of a valid generation asset (GEN_NAME) or aggregate generation group (GEN_GROUP) associated with the NITS Application must be supplied in each capacity profile record submitted via the NITSResourceCapacity Data Template.  

If the TerminateNITSResource request is for indefinite termination of all or a portion of the DNR, the EFFECTIVE_STOP_TIME of the termination request in the NITSResourceDesignation template must be null, and the capacity to be terminated from the DNR must be for an indefinite period of time where STOP_TIME in the NITSResourceCapacity template is also null.

Once CONFIRMED, the amount of capacity terminated over time for the DNR shall be subtracted from the total DNR capacity amount designated for the named Resource at the specified Point of Receipt and Source under the NITS Application.  The Transmission Provider shall also release any associated transmission scheduling rights assigned for delivery of the DNR to designated load that are in excess of that required to schedule any remaining capacity associated with the DNR.
The following Data Templates shall be supported by the TerminateNITSDNR Request Template:

NITSResourceDesignation (must be supplied)
NITSResourceCapacity (must be supplied)
002-6.3.2.14
Request for Service from a Non-Designated Network Resource (AddNITSSecondary)
The AddNITSSecondary Request Template is used to request transmission service from a Non-Designated Network Resource to serve network load under the NITS Application on a Non-Firm/Secondary basis. This request may be submitted by the Transmission Customer, or any of the current Agents effective at the time of submission.  The information describing the nature of the secondary network service being requested is supplied in the related Data Templates that are supported for this request.  Requests for transmission service from a Non-Designated Network Resource may only be submitted in association with a CONFIRMED NITS Application.

If submitted with an initial STATUS of PRESUBMITTED, any information supplied in any of the supported resource Data Templates may be updated using the UpdateNITSRequest Input Template.  New data may be added to the AddNITSSecondary request by submission of a previously omitted resource Data Template.  If information has already been submitted for a given Data Template, that information may be replaced in its entirety by re-submitting the correct information to replace the current information associated with the AddNITSSecondary request.  The STATUS of DEFICIENT will not be used in connection with an AddNITSSecondary request.  Validation of the AddNITSSecondary request information shall occur when the request is ultimately queued.

The secondary network transmission capacity being requested must be supplied in one or more data records specified in the NITSSecondaryCapacity Data Template.  The capacity being requested must be supplied as a positive valued integer MW quantity or zero (0) along with a corresponding time interval to which the capacity value applies.  NITSSecondaryCapacity data records must be supplied such that a capacity value (or 0) is specified for each time point spanning the entire EFFECTIVE_START_TIME/EFFECTIVE_STOP_TIME time interval specified for the secondary service in the AddNITSSecondary request’s NITSSecondaryService Data Template.  The time interval from EFFECTIVE_START_TIME to EFFECTIVE_STOP_TIME shall be used to establish the duration of the secondary network transmission service requested for use in determining confirmation time limits, etc..  

If the secondary network service being requested is to be considered as part of a coordinated group of requests across multiple Transmission Providers, the NITSSecondaryService Data Template must include the designation that this is part of a Coordinated Group prior to being set to QUEUED.  The information identifying each of the other transmission requests and reservations that comprise the Coordinated Group must be supplied using the UpdateNITSRequest Input Template and AuxiliaryTransmission Data Template within the timeline specified in Business Practice Standard WEQ-001-xx to remain a valid coordinated request.

Once QUEUED for evaluation, the UpdateNITSRequest Input Template is limited to only making appropriate changes to the AddNITSSecondary request STATUS or adding/updating information to the AuxiliaryTransmssion Data Template, if applicable.  If the AddNITSSecondary request is set to COUNTEROFFER by the Transmission Provider, the NITS Customer may adjust the requested capacity by submitting an UpdateNITSRequest Input Template for the AddNITSSecondary request with the revised requested capacity stated in the NITSSecondaryCapacity Data Template.  

The CR_ACCEPTED and CR_COUNTEROFFER status values are supported for coordinated requests, and the negotiation of capacity via updates to the NITSSecondaryCapacity Data Template using the UpdateNITSRequest In put Template must be supported based on the final disposition of the other requests in the Coordinated Group as specified in the AuxiliaryTransmission Data Template and Business Practice Standard WEQ-001-xx. 
Once CONFIRMED, the Transmission Customer may schedule deliveries from the Non-Designated Resource using the secondary network transmission service over the term reserved, or until the secondary network service is released via the TerminateNITSSecondary request.  
The following Data Templates shall be supported by the AddNITSSecondary Request Template:

NITSSecondaryService (must be supplied)
NITSSecondaryCapacity (must be supplied)
AuxiliaryTransmission
002-6.3.2.15
Request to Terminate Service from a Non-Designated Network Resource (TerminateNITSSecondary)
The TerminateNITSSecondary Request Template is used to request the termination of secondary network transmission service arranged via the AddNITSSecondary request.  This request may be submitted by the Transmission Customer, or any of the current Agents effective at the time of submission. The information identifying the secondary network transmission service and the capacity to be terminated from that service is supplied in the  Data Templates that are supported for this request.  Requests for termination of secondary network transmission service may only be submitted in association with a CONFIRMED NITS Application.

If submitted with an initial STATUS of PRESUBMITTED, any information supplied in any of the supported resource Data Templates may be updated using the UpdateNITSRequest Input Template.  New data may be added to the TerminateNITSSecondary request by submission of a previously omitted resource Data Template.  If information has already been submitted for a given Data Template, that information may be replaced in its entirety by re-submitting the correct information to replace the current information associated with the TerminateNITSSecondary request.  The STATUS of DEFICIENT will not be used in connection with an TerminateNITSSecondary request.  Validation of the TerminateNITSSecondary request information shall occur when the request is ultimately queued.

The secondary network transmission capacity to be terminated over time must be supplied in one or more data records specified in the NITSSecondaryCapacity Data Template.  The capacity to be terminated must be supplied as a negative valued integer MW quantity or zero (0) along with a corresponding time interval to which the capacity value applies.  NITSSecondaryCapacity data records must be supplied such that a capacity value (or 0) is specified for each time point spanning the entire EFFECTIVE_START_TIME/EFFECTIVE_STOP_TIME time interval specified in the TerminateNITSSecondary request’s NITSSecondaryService Data Template.    

Once CONFIRMED, the amount of capacity terminated for the secondary network transmission service shall be subtracted from the total secondary network transmission capacity amount reserved over the specified Source/POR, Sink/POD and Path.  

The following Data Templates shall be supported by the TerminateNITSSecondary Request Template:

NITSSecondaryService (must be supplied)
NITSSecondaryCapacity (must be supplied)

002-6.3.2.16
Request for Ancillary Service (AddNITSAncillary) 
[Optional]
The AddNITSAncillary Request Template is used to request ancillary services in support of the NITS Application. This request may be submitted by the Transmission Customer, or any of the current Agents effective at the time of submission.  The information describing the nature of the ancillary service being requested is supplied in the related Data Templates that are supported for this request.  Support for and use of the AddNITSAncillary template by the Transmission Provider is optional.
Requests for ancillary services using the AddNITSAncillary Request Template shall be processed on OASIS in exactly the same manner as an ancillary service request submitted or updated using the General OASIS ancrequest and anccust templates as specified in Business Practice Standard WEQ-002-4.  All AddNITSAncillary request submissions using the NewNITSRequest and UpdateNITSRequest Input Templates shall be viewable by all OASIS Users and may be acted upon by the ancillary service provider (SELLER) using the General OASIS ancstatus and ancsell templates.  That is, the AddNITSAncillary and related templates must be functionally equivalent to the General OASIS templates used to arrange ancillary service on OASIS in conjunction with PTP transmission service.

If submitted with an initial STATUS of PRESUBMITTED or DEFICIENT
, any information supplied in any of the supported resource Data Templates may be updated using the UpdateNITSRequest Input Template.  New data may be added to the AddNITSAncillary request by submission of a previously omitted resource Data Template.  If information has already been submitted for a given Data Template, that information may be replaced in its entirety by re-submitting the correct information to replace the current information associated with the AddNITSAncillary request.  Validation of the AddNITSAncillary request information shall occur when the request is ultimately queued.

The capacity and price, if applicable, of the ancillary service being requested may be supplied in one or more data records specified in the NITSAncillaryCapacity Data Template.  If required, the capacity and price being requested must be supplied with capacity specified as a positive valued integer MW quantity or zero (0) along with a corresponding time interval to which the capacity and price value applies.  NITSAncillaryCapacity data records must be supplied such that a capacity value (or 0) is specified for each time point spanning the entire EFFECTIVE_START_TIME/EFFECTIVE_STOP_TIME time interval specified for the term of service in the AddNITSAncillary request’s NITSAncillaryService Data Template.  
Once QUEUED for evaluation, the UpdateNITSRequest Input Template is limited to only making appropriate changes to the AddNITSAncillary request STATUS.  If the AddNITSAncillary request is set to COUNTEROFFER by the ancillary service provider (SELLER), the NITS Customer (CUSTOMER) and ancillary service provider (SELLER) may negotiate the price of service using the status value of COUNTEROFFER and REBID and the alternate updating of BID_PRICE (Customer) and OFFER_PRICE (Seller) as discussed in the applicable Business Practice Standards WEQ-002-4 and WEQ-013. 

The following Data Templates shall be supported by the AddNITSSecondary Request Template:

NITSAncillaryService (must be supplied)
NITSAncillaryCapacity

002-6.3.2.17
Request for Point-to-Point Transmission Service (AddPTPService) 
The AddPTPService Request Template is used to request PTP transmission services as part of a concomitant request to terminate a DNR and acquire additional PTP transmission service. This request may be submitted by the Transmission Customer, or any of the current Agents effective at the time of submission under the applicable NITS application.  The information describing the nature of the PTP service being requested is supplied in the related Data Templates that are supported for this request.  
Requests for PTP transmission services using the AddPTPService Request Template shall be processed on OASIS in exactly the same manner as a transmission service request submitted or updated using the PTP transrequest and transcust templates.  All AddPTPService request submissions using the NewConcomitantRequest and UpdateConcomitantRequest Input Templates shall be viewable by all and may be acted upon by the Transmission Provider (SELLER) using the PTP transstatus and transsell templates.  That is, the AddPTPService and related templates must be functionally equivalent to the OASIS templates used to arrange PTP service on OASIS as specified in Business Practice Standard WEQ-002-4..

If submitted with an initial STATUS of PRESUBMITTED, any information supplied in any of the supported request Data Templates may be updated using the UpdateConcomitantRequest Input Template.  New data may be added to the AddPTPService request by submission of a previously omitted Data Template.  If information has already been submitted for a given Data Template, that information may be replaced in its entirety by re-submitting the correct information to replace the current information associated with the AddPTPService request.  The STATUS of DEFICIENT will not be used in connection with an AddPTPService request. Validation of the AddPTPService request information shall occur when the request is ultimately queued.

The capacity and price of the transmission service being requested must be supplied in one or more data records specified in the PTPCapacity Data Template.  The capacity and price being requested must be supplied with capacity specified as a positive valued integer MW quantity or zero (0) along with a corresponding time interval to which the capacity and price value applies.  PTPCapacity data records must be supplied such that a capacity and price value (or 0) is specified for each time point spanning the entire EFFECTIVE_START_TIME/EFFECTIVE_STOP_TIME time interval specified for the term of service in the AddPTPService request’s PTPService Data Template.  
If the PTP service being requested is to be considered as part of a coordinated group of requests across multiple Transmission Providers, the PTPService Data Template must include the designation that this is part of a Coordinated Group prior to being set to QUEUED.  The information identifying each of the other transmission requests and reservations that comprise the Coordinated Group must be supplied using the UpdateConcomitantRequest Input Template and AuxiliaryTransmission Data Template within the timeline specified in Business Practice Standard WEQ-001-xx to remain a valid coordinated request.

Once QUEUED for evaluation, the UpdateConcomitantRequest Input Template is limited to only making appropriate changes to the AddPTPService request STATUS.  If the AddPTPService request is set to COUNTEROFFER by the Transmission Provider (SELLER), the NITS Customer (CUSTOMER) and may negotiate the capacity and price of service using the status value of COUNTEROFFER and REBID and the alternate updating of CAPACITY_REQUESTED/BID_PRICE (Customer) and CAPACITY_GRANTED/OFFER_PRICE (Seller) as discussed in the applicable Business Practice Standards WEQ-002-4 and WEQ-013. 

The CR_ACCEPTED and CR_COUNTEROFFER status values are supported for coordinated requests, and the negotiation of capacity via updates to the PTPCapacity Data Template using the UpdateConcomitantRequest Input Template must be supported based on the final disposition of the other requests in the Coordinated Group as specified in the AuxiliaryTransmission  Data Template and Business Practice Standard WEQ-001-xx. 

The following Data Templates shall be supported by the AddPTPService Request Template:

PTPService (must be supplied)
PTPCapacity (must be supplied)
002-6.3.3
Data Template Definitions
The OASIS shall support the following Data Templates for the uploading of NITS related request information.  Data Templates must be contained within a defined NITS Request Template as specified in the NITS CSV Format.  The contents of each Data Template is specific for that template and are identified by the Data Template Header Record Data Element Name list that immediately follows the key “DATA=<TemplateName>” header record identifier.

The data values to be associated with each of the named Data Template Data Elements are specified in one or more data records that immediately follow the Data Template Header Record up to the next NITS CSV Format Header Records or the end of the template input data stream.

When supplied within a new request submission, any Data Template that does not include one or more data records will return an error for that submitted request.  When supplied within an update to an existing NITS request, any Data Template that does not include one or more data records will remove/delete all request information associated with that Data Template that may have been supplied in a prior new or update request submission.

002-6.3.3.1
NITS Service Description (NITSServiceDescription)
The NITSServiceDescription Data Template information defines the basic information associated with the term of NITS Service requested under a pending or confirmed NITS Application.  For a pending NITS Application, modifications to the data specified within this Data Template may only be updated while the NITS Application has the STATUS of PRESUBMITTED.  

Any update to the NITSServiceDescription information once it has been queued for evaluation by the Transmission Provider or ultimately granted and confirmed must be submitted as a request to modify the NITS Application via the ModifyNITSService request.  
When submitted in association with a new NITS Application, this template shall convey the initial term of service being requested (NewNITSApplication).  When submitted as a modification to an existing NITS Application, this template shall convey information on the subsequent term of service being requested (ModifyNITSService), where the start time of the new term must be equal to the stop time of the current term of service.

NITSServiceDescription  Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	APPLICATION_NAME
	Optional


	Customer supplied descriptive name or other contract/agreement identifier that the Customer may use to assist management of their NITS Applications.



	START_TIME
	Required
	Required on initial submission or on any request to modify the term of an existing NITS Application.  Defines the start of NITS service being requested, or start of the extension to the current term of service being requested.


	STOP_TIME
	Required
	Required on initial submission or on any request to modify the term of an existing NITS Application.  Defines the stop/end of NITS service being requested.



	SERVICE_DESCRIPTION
	Optional
	Customer provided summary description related to nature of the service being requested for new NITS Application or extension of an existing NITS Application.



	TIME_OF_LAST_UPDATE
	Must be null
	Returned in template response.

	RECORD_STATUS
	Must be null
	Returned in template response.




	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSServiceDescription  Data Element List – Request/Query Response:
	Data Element Name
	Requirement
	Usage

	APPLICATION_NAME
	Required


	Customer supplied descriptive name or other contract/agreement identifier that the Customer may use to assist management of their NITS Applications.



	START_TIME
	Required
	Defines the start of NITS service being requested, or start of the extension to the current term of service being requested.



	STOP_TIME
	Required
	Defines the stop/end of NITS service being requested.



	SERVICE_DESCRIPTION
	Optional
	Customer provided summary description related to nature of the service being requested for new NITS Application or extension of an existing NITS Application.



	TIME_OF_LAST_UPDATE
	Required
	Date/time the information associated with this NITS information was last updated.



	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.2
NITS Customer Information (NITSCustomer)
The NITSCustomer Data Template information defines the basic information associated with the current or prospective new NITS Customer obligated to the terms of NITS requested under a pending or confirmed NITS Application.  For a pending NITS Application, modifications to the data specified within this Data Template may only be updated while the NITS Application has the STATUS of PRESUBMITTED.  

Any update to the NITSCustomer information once it has been queued for evaluation by the Transmission Provider or ultimately granted and confirmed must be submitted as a request to modify the NITS Application via the ModifyNITSCustomer request.  

When submitted in association with a new NITS Application, this template shall identify the NITS Customer to be obligated under the terms of the service being requested.  When submitted as a modification to an existing NITS Application, this template shall convey updated information for the current NITS Customer, or to request a transfer of obligation under the NITS Application to another Eligible NITS Customer.

Every modification to the NITS Customer information or transfer of obligation to a new NITS Customer must specify the effective start date/time of such modification.  The stop (end) date/time of each modification to the NITS Customer shall be open-ended and set by OASIS to an appropriate value to indicate the information supplied is in effect until terminated by another modification to NITS Customer information.
NITSCustomer  Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	CUSTOMER_CODE
	Required

	Registered Entity Code associated with the prospective NITS Customer.


	CUSTOMER_DUNS
	Required
	Registered DUNS associated with the prospective NITS Customer.



	CUSTOMER_NAME
	Required
	Primary contact information for the NITS Customer associated with the NITS Application.



	CUSTOMER_PHONE
	Required
	Primary contact information for the NITS Customer associated with the NITS Application.



	CUSTOMER_FAX
	Required
	Facsimile number associated with the prospective NITS Customer.


	CUSTOMER_EMAIL
	Optional
	Email address associated with the prospective NITS Customer.



	TRANSMISSION_OWNER
	Required
	Identifies (Y/N) if the Transmission Customer owns transmission assets to be considered as part of the Customer’s transmission system with respect to the NITS Application.



	CUSTOMER_STATEMENT


	Required*
	Required if there is any change in CUSTOMER_CODE from the current Customer (i.e., transfer of obligation) associated with the NITS Application.  Must be null in association with any request to simply update Customer contact or status notification information associated with the existing NITS Customer.  Provides a statement that Customer is an Eligible Customer for NITS. 



	ATTESTOR_NAME
	Required*
	Required with CUSTOMER_STATEMENT.  Identifies the name and title of the individual responsible for attesting to the Customer’s eligibility for NITS.



	ATTESTATION_SUBMITTER
	Required*
	Required with CUSTOMER_STATEMENT identifying the name and title of the individual submitting the statement of Customer’s eligibility for NITS.



	STATUS_NOTIFICATION
	Optional
	If specified, identifies the protocol (http vs. email) and required attributes necessary to direct OASIS to deliver dynamic notification on any change in information associated with the Customer’s NITS Application.



	CUSTOMER_COMMENTS
	Optional
	Optional comments provided by the Customer.



	EFFECTIVE_START_TIME
	Required
	Defines the effective date/time that the obligation under the NITS Application is assumed by a new Customer (i.e., transfer), or the effective time of a modification to general customer contact or dynamic notification settings.



	EFFECTIVE_STOP_TIME
	Must be null
	Changes in Customer or Customer information is open ended and remains in effect until the end of the term of the NITS Application or terminated  by supplying a subsequent update to the Customer information.


	TIME_OF_LAST_UPDATE
	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSCustomer  Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	CUSTOMER_CODE
	Required


	Registered Entity Code associated with the prospective NITS Customer.



	CUSTOMER_DUNS
	Required
	Registered DUNS associated with the prospective NITS Customer.



	CUSTOMER_NAME
	Required
	Primary contact information for the NITS Customer associated with the NITS Application.



	CUSTOMER_PHONE
	Required
	Primary contact information for the NITS Customer associated with the NITS Application.



	CUSTOMER_FAX
	Required
	Facsimile number associated with the prospective NITS Customer.


	CUSTOMER_EMAIL
	May be null
	Email address associated with the prospective NITS Customer.



	TRANSMISSION_OWNER
	Required
	Identifies (Y/N) if the Transmission Customer owns transmission assets to be considered as part of the Customer’s transmission system with respect to the NITS Application.



	CUSTOMER_STATEMENT


	May be null
	Required if there is any change in CUSTOMER_CODE from the current Customer (i.e., transfer of obligation) associated with the NITS Application.  Must be null in association with any request to simply update Customer contact or status notification information associated with the existing NITS Customer.  Provides statement that Customer is an Eligible Customer for NITS. 



	ATTESTOR_NAME
	May be null
	Required with CUSTOMER_STATEMENT.  Identifies the name and title of the individual responsible for attesting to the Customer’s eligibility for NITS.



	ATTESTATION_SUBMITTER
	May be null
	Required with CUSTOMER_STATEMENT identifying the name and title of the individual submitting the statement of Customer’s eligibility for NITS.



	STATUS_NOTIFICATION
	May be null
	If specified, identifies the protocol (http vs. email) and required attributes necessary to direct OASIS to deliver dynamic notification on any change in information associated with the Customer’s NITS Application.



	CUSTOMER_COMMENTS
	May be null
	Optional comments provided by the Customer.



	EFFECTIVE_START_TIME
	Required
	Defines the effective date/time that the obligation under the NITS Application is assumed by a new Customer (i.e., transfer), or the effective time of a modification to general customer contact or dynamic notification settings.



	EFFECTIVE_STOP_TIME
	May be null
	Last date/time the associate customer information is deemed effective.  OASIS returns null value for this field for current effective Customer record denoting that the information is in effect until further notice (open-ended).



	TIME_OF_LAST_UPDATE
	Required
	Date/time the information associated with this NITS Customer information was last updated.



	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.3
NITS Agent Information (NITSAgent)
The NITSAgent Data Template information defines the basic information associated with a current or prospective new Agent that may act on behalf of the NITS Customer. For a pending NITS Application, modifications to the data specified within this Data Template may only be updated while the NITS Application has the STATUS of PRESUBMITTED.  

Any update to the NITSAgent information once it has been queued for evaluation by the Transmission Provider or ultimately granted and confirmed must be submitted as a request to modify the NITS Application via the ModifyNITSAgent request.
The effective term of the agency relationship between Customer and Agent may be open ended by specification of a null EFFECTIVE_STOP_TIME.  .  OASIS shall limit any requests submitted by a NITS Agent to be submitted (QUEUED_TIME) no earlier than the EFFECTIVE_START_TIME and no later than the EFFECTIVE_STOP_TIME in effect for that Agent.
NITSAgent  Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	AGENT_CODE
	Required


	Registered Entity Code associated with the prospective NITS Agent.



	AGENT_DUNS
	Required
	Registered DUNS associated with the prospective NITS Agent.



	AGENT_NAME
	Required
	Primary contact information for the NITS Agent.


	AGENT_PHONE
	Required
	Primary contact information for the NITS Agent.


	AGENT_FAX
	Required
	Facsimile number associated with the Designated Agent.


	AGENT_EMAIL
	Optional
	Email address associated with the prospective NITS Agent.



	STATUS_NOTIFICATION
	Optional
	If specified, identifies the protocol (http vs. email) and required attributes necessary to direct OASIS to deliver dynamic notification on any change in information associated with the Customer’s NITS Application.



	AGENT_COMMENTS
	Optional
	Optional comments provided by the Agent related to the nature of their association with the NITS Customer.



	EFFECTIVE_START_TIME
	Required
	Identifies the starting date/time that the agency relationship between Customer and Agent begins, or the date/time that any updates to Agent information becomes effective.



	EFFECTIVE_STOP_TIME
	Optional
	Identifies the date/time that the agency relationship between Customer and Agent ends,  If null, the agency relationship is open ended and remains in effect until the end of the term of the NITS Application or terminated  by supplying a non-null effective stop time.



	TIME_OF_LAST_UPDATE
	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSAgent  Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	AGENT_CODE
	Required


	Registered Entity Code associated with the prospective NITS Agent.



	AGENT_DUNS
	Required
	Registered DUNS associated with the prospective NITS Agent.



	AGENT_NAME
	Required
	Primary contact information for the NITS Agent.



	AGENT_PHONE
	Required
	Primary contact information for the NITS Agent.



	AGENT_FAX
	Required
	Facsimile number associated with the Designated Agent.


	AGENT_EMAIL
	May be null
	Email address associated with the prospective NITS Agent.



	STATUS_NOTIFICATION
	May be null
	If specified, identifies the protocol (http vs. email) and required attributes necessary to direct OASIS to deliver dynamic notification on any change in information associated with the Customer’s NITS Application.



	AGENT_COMMENTS
	May be null
	Optional comments provided by the Agent related to the nature of their association with the NITS Customer.



	EFFECTIVE_START_TIME
	Required
	Identifies the starting date/time that the agency relationship between Customer and Agent begins, or the date/time that any updates to Agent information becomes effective.



	EFFECTIVE_STOP_TIME
	May be null
	Identifies the date/time that the agency relationship between Customer and Agent ends,  If null, the agency relationship is open ended and remains in effect until the end or the term if the NITS Application or terminated  by supplying a non-null effective stop time.



	TIME_OF_LAST_UPDATE
	Required
	Returned in response.

	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.4
NITS Load Description (NITSLoadDescription)
The NITSLoadDescription Data Template identifies the basic information related to a load to be served under a Customer’s NITS Application.  Each load to be served must be uniquely identified by a Customer’s assigned LOAD_NAME and associated attributes. 
Updates to the data specified within this Data Template may only be submitted while the associated AddNITSLoad request has the STATUS of PRESUBMITTED or DEFICIENT. Any update to the NITSLoadDescription information once it has been queued for evaluation by the Transmission Provider or ultimately granted and confirmed must be submitted as a request to modify the NITS Load via the ModifyNITSLoad request.  
As part of the evaluation of the information supplied for the network load, the Transmission Provider may require that the Customer disaggregate the identified load into multiple discreetly named loads due to transmission capability restrictions that may exist in serving the entire load at a single assigned Point-of-Delivery and Sink (if applicable) on the Transmission Provider’s transmission system.  The Transmission Provider may also direct the Customer to update the POD and/or SINK to specific values as required by the Provider to qualify for consideration as a designated load under the NITS Application. 
For INTERRUPTIBLE loads, additional information regarding the nature of the circumstances, frequency, etc., of interruptions of the Network Load may be required as part of the Transmission Provider’s evaluation of the load being designated under the NITS Application.  This information must be supplied by the Network Customer through off-OASIS communications if applicable.    

Once established, any modification to the NITS Load information must specify the effective start date/time of such modification.  The stop (end) date/time of each modification to the NITS Load information may be open-ended and set by OASIS to an appropriate value to indicate the information supplied is in effect until otherwise terminated by another modification to the NITS Load.  If approved, any Load information currently in effect will be terminated at the specified EFFECTIVE_START_TIME of the new modified NITS Load information.

Elimination of the Network Load from the NITS Application is effected by setting the EFFECTIVE_STOP_TIME to that point in time after which all information that may have been provided in association with that NITS Load (i.e., forecasts) shall be considered terminated or no longer considered as part of the NITS Application.  If only a portion of the load is to be eliminated or undesignated, the NITS Customer may submit revised load forecast information.
NITSLoadDescription  Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	LOAD_NAME
	Required


	Unique name to be associated with a Customer’s NITS Load.  Assigned by the Customer via the AddNITSLoad request, and supplied in any subsequent ModifyNITSLoad request to refer to that load.


	LOAD_TYPE

	Required
	Identifies the NITS Load to be served as either FIXED or INTERRUPTIBLE.



	LOAD_AREA


	Required
	Identifies the Balancing Authority Area hosting the NITS Load.  


	LOAD_SUBSTATION


	Optional
	For NITS Load within the Transmission Provider’s host Balancing Authority Area, optionally identifies the primary point of interconnection with the Provider’s transmission system used to serve the majority of the NITS Load by substation name. 


	LOAD_VOLTAGE
	Optional
	For NITS Load within the Transmission Provider’s host Balancing Authority Area, optionally identifies the primary interconnection voltage level with the Provider’s transmission system used to serve the majority of the NITS Load.


	POINT_OF_DELIVERY
	Required
	Identifies the POD on the Transmission Provider’s transmission system that will be used to schedule deliveries to the NITS Load.  The Transmission Provider may require use of a specific POD dependent on the nature of NITS Load. 



	SINK
	Optional
	Optional name of the SINK to be associated with the NITS Load and used to schedule deliveries to the NITS Load.  Transmission Provider may require use of a specific SINK dependent on the nature of NITS Load for loads directly connected to the Provider’s system.  



	LOAD_DESCRIPTION
	Optional
	Optional summary description of the nature of the load to be served under the NITS Application.



	FORECAST_METHOD

	Required
	Identifies the method used to provide load forecast information to the Transmission Provider.  Valid values are ON-OASIS and OFF-OASIS.  When ON-OASIS is selected, the Customer shall use the NITSLoadForecast template to submit the forecast information.


	EFFECTIVE_START_TIME
	Required
	Identifies the earliest starting date/time that this NITS Load may be referenced in forecasted load information or designated as a network load under the NITS Application.



	EFFECTIVE_STOP_TIME
	Optional
	Identifies the date/time that the defined NITS Load will no longer be considered as part of the NITS Application, If null, the Load’s association with the NITS Application is open ended and remains in effect until the end of the term of the NITS Application or until terminated by specifying a non-null value via ModifyNITSLoad request.



	TIME_OF_LAST_UPDATE
	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSLoadDescription  Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	LOAD_NAME
	Required


	Unique name to be associated with a Customer’s NITS Load. 


	LOAD_TYPE


	Required
	Identifies if the NITS Load to be served is FIXED or INTERRUPTIBLE.



	LOAD_AREA


	Required
	Identifies the Balancing Authority Area hosting the NITS Load.



	LOAD_SUBSTATION


	May be null
	For NITS Load within the Transmission Provider’s host Balancing Authority Area, optionally identifies the primary point of interconnection with the Provider’s transmission system used to serve the majority of the NITS Load by substation name. 



	 LOAD_VOLTAGE
	May be null
	For NITS Load within the Transmission Provider’s host Balancing Authority Area, optionally identifies the primary interconnection voltage level with the Provider’s transmission system used to serve the majority of the NITS Load. 



	POINT_OF_DELIVERY
	Required
	Identifies the POD on the Transmission Provider’s transmission system that will be used to schedule deliveries to the NITS Load.  Transmission Provider may require use of a specific POD dependent on the nature of NITS Load.



	SINK
	May be null
	Optional name of the SINK to be associated with the NITS Load and used to schedule deliveries to the NITS Load.  Transmission Provider may require use of a specific SINK dependent on the nature of NITS Load for loads directly connected to the Provider’s system.



	LOAD_DESCRIPTION
	Optional
	Optional summary description of the nature of the load to be served under the NITS Application.



	FORECAST_METHOD
	Required
	Identifies the method used to provide load forecast information to the Transmission Provider.  Valid values are ON-OASIS and OFF-OASIS.  


	EFFECTIVE_START_TIME
	Required
	Identifies the earliest starting date/time that the NITS Load may be referenced in forecasted load information or designated as a network load under the NITS Application.

 

	EFFECTIVE_STOP_TIME
	May be null
	Identifies the date/time that the defined NITS Load will no longer be considered as part of the NITS Application,  If null, the load’s association with the NITS Application is open ended.



	TIME_OF_LAST_UPDATE
	Required
	Returned in response.

	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.






002-6.3.3.5
NITS Load Forecast (NITSLoadForecast) [Optional]

The NITSLoadForecast Data Template provides information on the forecasted load to be considered when evaluating the NITS Application.  The NITS Load being forecasted must be uniquely identified as a named Load under the NITS Application via the NITSLoadDescription Data Template.  The Transmission Provider’s use of this template is optional.  The NITS Customer should indicate their intent to use this template to submit load forecast information by setting the LOAD_METHOD element in the NITSLoadDescription to ON-OASIS. 
Updates to the data specified within this Data Template may only be submitted while the associated AddNITSLoad or ModifyNITSLoad request has the STATUS of PRESUBMITTED or DEFICIENT. 

The NITS Loads forecasted using this Data Template shall be incorporated into the Transmission Provider’s assessment of the on-going ability to provide NITS for the delivery of energy from the Customer’s designated resources to the designated loads under the NITS Application beyond the first year of service.

Submission of multiple data records associated with the NITSLoadForecast Data Template shall be supported to specify the capacity associated with the forecasted load profiled over time.

Once approved and confirmed as part of an AddNITSLoad request, the information supplied in this Data Template shall be added to the designated loads served under the NITS Application.  Once approved and confirmed as part of a ModifyNITSLoad request, the information supplied in this Data Template shall replace any existing information associated with the named network load in its entirety over the timeframe(s) (START_TIME/STOP_TIME) specified.

NITSLoadForecast  Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	LOAD_NAME
	Required


	Unique name associated with a Customer’s NITS Load to be forecasted.  


	SUMMER_FORECAST

	Required*
	Defines the Summer season peak MW capacity of the load forecasted over the specified start/stop interval.

 

	WINTER_FORECAST

	Required*
	Defines the Winter season peak MW capacity of the load forecasted over the specified start/stop interval.

 

	SUMMER_INTERRUPTIBLE
	Optional
	For network loads identified as LOAD_TYPE= INTERRUPTIBLE, the portion of the SUMMER_FORECAST that may be subject to interruption.



	WINTER_INTERRUPTIBLE
	Optional
	For network loads identified as LOAD_TYPE= INTERRUPTIBLE, the portion of the WINTER_FORECAST that may be subject to interruption.



	FORECAST_DESCRIPTION
	Optional
	Optional descriptive comments supplied by the Customer related to the load forecast information supplied.



	START_TIME
	Required
	Defines the starting date/time for the period of time that the load is being forecasted.



	STOP_TIME
	Required
	Defines the ending date/time for the period of time that the load is being forecasted.



	DOCUMENT_NAME
	Required*
	Must be supplied if load forecast information is provided by a separate document rather than within the NITSLoadForecast template elements themselves.  If the forecast information is supplied directly to the Transmission Provider off-OASIS, the DOCUMENT_NAME shall be OFFLINE.



	TIME_OF_LAST_UPDATE
	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSLoadForecast  Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	LOAD_NAME
	Required


	Unique name to associated with a Customer’s NITS Load to be forecasted.  


	SUMMER_FORECAST


	May be null
	Defines the Summer season peak MW capacity of the load forecasted over the specified start/stop interval.

 

	WINTER_FORECAST


	May be null
	Defines the Winter season peak MW capacity of the load forecasted over the specified start/stop interval.

 

	SUMMER_INTERRUPTIBLE
	May be null
	For network loads identified as LOAD_TYPE= INTERRUPTIBLE, the portion of the SUMMER_FORECAST that may be subject to interruption.



	WINTER_INTERRUPTIBLE
	May be null
	For network loads identified as LOAD_TYPE= INTERRUPTIBLE, the portion of the WINTER_FORECAST that may be subject to interruption.



	FORECAST_DESCRIPTION
	May be null
	Optional descriptive comments supplied by the Customer related to the load forecast information supplied.

	START_TIME
	Required
	Defines the starting date/time for the period of time that the load is being forecasted.



	STOP_TIME
	Required
	Defines the ending date/time for the period of time that the load is being forecasted.



	TIME_OF_LAST_UPDATE
	Required
	Time the information in the load forecast was last updated.



	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.6
NITS Generation Description (NITSGenerationDescription)
The NITSGenerationDescription Data Template identifies the basic information related to a generation asset that may then be declared as a network resource and designated to serve load under a Customer’s NITS Application.  Each generation asset must be uniquely identified by a Customer’s assigned GEN_NAME and associated attributes.
A given named generation asset may also be assigned to a single aggregate GEN_GROUP. The GEN_GROUP name assigned by the Customer must be unique from any other GEN_GROUP or GEN_NAME assignments under the NITS Application.  The NITS Customer may establish multiple generation groups, e.g., ‘base load’, ‘AGC’, etc., but a given physical generation asset may be a member of only one named aggregate GEN_GROUP.  Resources that are backed by physical generation, as opposed to power purchase agreements, may be designated and terminated as a network resource (DNR) by reference to either the generation asset GEN_NAME or the aggregate non-asset specific GEN_GROUP as appropriate.
     
Updates to the data specified within this Data Template may only be submitted while the associated AddNITSGeneration request has the STATUS of PRESUBMITTED or DEFICIENT. Any update to the NITSGenerationDescription information once it has been queued for evaluation by the Transmission Provider or ultimately granted and confirmed must be submitted as a request to modify the generation asset via the ModifyNITSGeneration request.  

The EFFECTIVE_START_TIME and EFFECTIVE_STOP_TIME Data Elements reflect the period of time all associated attributes defining the generation asset are to be considered in effect.   EFFECTIVE_STOP_TIME may be null to indicate the NITS Generation information is open-ended and set by OASIS to an appropriate value to indicate the information supplied is in effect until otherwise terminated by another modification to the NITS Generation.  

Modifications to the basic generation attributes such as minimum/maximum operating limits, metered location, etc.,  shall be specified using the ModifyNITSGeneration request with the identification of the time interval over which those new attributes shall be in effect.  Any such modifications shall replace any existing information associated with the generation asset from the specified EFFECTIVE_START_TIME forward.
Elimination of the NITS Generation from the NITS Application is effected by setting the EFFECTIVE_STOP_TIME to that point in time after which all information that may have been provided in association with that NITS Generation. i.e., resource designations and forecasts, shall be considered terminated or no longer considered as part of the NITS Application.


NITSGenerationDescription  Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	GEN_NAME
	Required


	Unique name to be associated with a Customer’s NITS Generation asset.  Assigned by the Customer via the AddNITSGeneration request, and supplied in any subsequent ModifyNITSGeneration request to refer to that asset.


	GEN_GROUP
	Optionat
	Optional unique name to associate the named generation asset to an aggregate group of assets.  



	GEN_AREA
	Required
	Identifies the Balancing Authority Area where the generation asset is electrically located. 


	GEN_LOCATION


	Required
	Identifies the County, Parish or other locally recognized geographic area and State or Province where the generation asset is geographically located


	GEN_OPERATOR
	Required
	Identifies the entity responsible for operation of the generation asset by name or  registered Entity Code 
if available.



	GEN_SHARE
	Required
	Identifies by percentage the Customer’s share if the asset is a jointly owned facility.  Must be 100 for non-jointly owned assets.


	GEN_MAX_CAPACITY


	Required
	Maximum total generating capacity of the asset. 



	GEN_MIN_CAPACITY
	Required
	Minimum operational generation output of the asset.



	GEN_NORMAL_CAPACITY
	Required
	Normal or typical operating output of the generation asset.


	GEN_ELIGIBLE_CAPACITY
	Required
	Maximum generation output that may be considered eligible to be designated by the Customer as a Network Resource under the NITS Application.



	GEN_VAR_LEADING
	Required
	Generation asset’s maximum leading VAR capability.



	GEN_VAR_LAGGING
	Required
	Generation asset’s maximum lagging VAR capability.



	GEN_DESCRIPTION
	May be null
	Optional summary description of the nature of the generation asset being defined under the NITS Application,



	EFFECTIVE_START_TIME
	Required
	Identifies the starting date/time that this NITS Generation and associated attributes are eligible to be used as a Network Resource under the NITS Application.



	EFFECTIVE_STOP_TIME
	Optional
	Identifies the date/time that the defined NITS Generation and associated attributes will no longer be considered as part of the NITS Application, If null, the asset’s association with the NITS Application is open ended and remains in effect until the end of the term of the NITS Application or until terminated by specifying a non-null value via ModifyNITSLoad request.



	TIME_OF_LAST_UPDATE
	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSGenerationDescription  Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	GEN_NAME
	Required


	Unique name associated with a Customer’s NITS Generation asset.


	GEN_GROUP
	May be null
	If defined, associates the named generation asset to an aggregate group of assets.



	GEN_AREA
	Required
	Identifies the Balancing Authority Area where the NITS Generation asset is located. 



	GEN_LOCATION


	Required
	Identifies the County, Parish or other locally recognized geographic area and State or Province where the generation asset is physically sited.



	GEN_OPERATOR
	Required
	Identifies the entity responsible for operation of the generation asset.



	GEN_SHARE
	Required
	Identifies by percentage share if the asset is a jointly owned facility.



	GEN_MAX_CAPACITY


	Required
	Maximum total generating capacity of the asset.  If a jointly owned facility, this represents the maximum share of the capacity of the generation asset.




	GEN_MIN_CAPACITY
	Required
	Minimum operational generation output of the asset.



	GEN_NORMAL_CAPACITY
	Required
	Normal or typical operating output of the generation asset.



	GEN_ELIGIBLE_CAPACITY
	Required
	Maximum generation output that may be considered eligible to be designated as a Network Resource under the NITS Applciation.



	GEN_VAR_LEADING
	Required
	Generation asset’s maximum leading VAR capability.



	GEN_VAR_LAGGING
	Required
	Generation asset’s maximum lagging VAR capability.



	GEN_DESCRIPTION
	May be null
	Optional summary description of the nature of the generation asset being defined under the NITS Application,



	EFFECTIVE_START_TIME
	Required*
	Identifies the starting date/time that this NITS Generation and associated attributes are eligible to be used as a Resource under the NITS Application.



	EFFECTIVE_STOP_TIME
	Optional
	Identifies the date/time that the defined NITS Generation and associated attributes will no longer be considered as part of the NITS Application, If null, the asset’s association with the NITS Application is open ended and remains in effect until the end of the term of the NITS Application or until terminated by specifying a non-null value via ModifyNITSLoad request.



	TIME_OF_LAST_UPDATE
	Required
	Date/time that template information was last updated.

.

	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.7
NITS Generation Dispatch Cost (NITSGenerationDispatch) [Optional]
The NITSGenerationDispatch Data Template provides the Customer with the ability to upload generation dispatch cost information to the Transmission Provider as required for assessing any redispatch options or directives that may be issued to direct the redispatch of generation for reliability purposes.

Dispatch cost information is specified in blocks representing generating output capacity from a starting MW value to the next higher MW level with an associated cost.  Each block submitted within a given effective start/end interval must be contiguous and monotonically increasing in capacity and cost over the operating range of the NITS Generation asset.
 

Updates to the data specified within this Data Template may only be submitted while the associated AddNITSGeneration request has the STATUS of PRESUBMITTED or DEFICIENT. Any information specified in the update request will completely replace any previously specified information.  Any update to the NITSGenerationDispatch information once it has been queued for evaluation by the Transmission Provider or ultimately granted and confirmed must be submitted as a request to modify the NITS Generation via the ModifyNITSGeneration request.  

The EFFECTIVE_START_TIME and EFFECTIVE_STOP_TIME data elements define the period of time over which the specified generation dispatch cost information is in effect.  EFFECTIVE_STOP_TIME may be null to indicate the NITS Generation dispatch information is open-ended and set by OASIS to an appropriate value to indicate the information supplied is in effect until otherwise terminated by another modification to the NITS Generation.  

Once approved and confirmed, modification of the NITS Generation dispatch cost information as specified in this template will completely replace all existing dispatch cost information previously defined over the interval specified by EFFECTIVE_START_TIME/EFFECTIVE_STOP_TIME.

NITSGenerationDIspatch  Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	GEN_NAME
	Required


	Unique name to be associated with a Customer’s NITS Generation asset.  Assigned by the Customer via the AddNITSGeneration request, and supplied in any subsequent ModifyNITSGeneration request to refer to that asset.


	DISPATCH_START
(GEN_DISPATCH_START?)
	Required
	Identifies the starting generating output capacity associated with the dispatch profile and cost information specified. 


	DISPATCH_STOP
	Required
	Identifies the maximum generating output capacity that may be dispatched at the cost specified.



	DISPATCH_COST
	Required
	Identifies the incremental cost of energy in $/MWh to dispatch the generation capacity from DISPATCH_START to DISPATCH_STOP.



	DISPATCH_PRIORITY
	Optional
	Identifies the dispatch priority relative to other NITS Generation assets supporting the NITS Application.  Lower values represent higher priority for dispatch with priority=0 reserved for must-run generation commitments.



	EFFECTIVE_START_TIME
	Required
	Identifies the starting date/time that this NITS Generation dispatch cost information supplied is to be in effect.



	EFFECTIVE_STOP_TIME
	Optional
	Identifies the ending date/time that this NITS Generation dispatch cost information supplied is to be in effect.  If null, the information supplied is open-ended and in effect until terminated\/replaced by a subsequent modification to the Generation dispatch cost information.



	TIME_OF_LAST_UPDATE
	Must be null
	Returned in response.



	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSGenerationDispatch  Data Element List – Request/Query Response: 
	Data Element Name
	Requirement
	Usage

	GEN_NAME
	Required


	Unique name associated with a Customer’s NITS Generation asset.  



	DISPATCH_START
	Required
	Identifies the starting generating output capacity associated with the dispatch profile and cost information specified. 



	DISPATCH_STOP
	Required
	Identifies the maximum generating output capacity that may be dispatched at the cost specified.



	DISPATCH_COST
	Required
	Identifies the incremental cost of energy in $/MWh to dispatch the generation capacity from DISPATCH_START to DISPATCH_STOP.



	DISPATCH_PRIORITY
	May be null
	Identifies the dispatch priority relative to other NITS Generation assets supporting the NITS Application.  Lower values represent higher priority for dispatch with priority=0 reserved for must-run generation commitments.



	EFFECTIVE_START_TIME
	Required
	Identifies the starting date/time that this NITS Generation dispatch cost information supplied is to be in effect.



	EFFECTIVE_STOP_TIME
	May be null
	Identifies the ending date/time that this NITS Generation dispatch cost information supplied is to be in effect.  If null, the information supplied is open-ended and in effect until terminated\/replaced by a subsequent modification to the Generation dispatch cost information.



	TIME_OF_LAST_UPDATE
	Required
	Date/time the template information was last updated.



	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.8
NITS Resource Description (NITSResourceDescription)
The NITSResourceDescription Data Template identifies the basic information related to a network resource that may then be designated to serve load under a Customer’s NITS Application.  Each network resource must be uniquely identified by a Customer’s assigned RESOURCE_NAME and associated attributes. 

Updates to the data specified within this Data Template may only be submitted while the associated AddNITSResource or AddNITSDNR request has the STATUS of PRESUBMITTED or DEFICIENT. Any update to the NITSResourceDescription information once it has been queued for evaluation by the Transmission Provider or ultimately granted and confirmed must be submitted as a request to modify the NITS Resource via the ModifyNITSResource request.  

EFFECTIVE_STOP_TIME is the only template Data Element that may be modified via the ModifyNITSResource request, and establishes the point in time after which all information that may have been provided in association with that NITS Resource. i.e., designations and forecasts, shall be considered terminated or no longer considered as part of the NITS Application.  

Network resources may be defined and associated with a projected forecast of capacity to be used to serve load under the NITS Application without being declared as a Designated Network Resource (DNR).  The designation and termination of a Designated Network Resource is handled independently from the basic definition and forecasting of network resources under the NITS Application.
NITSResourceDescription  Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	RESOURCE_NAME
	Required


	Unique name to be associated with a Customer’s NITS Resource. 


	RESOURCE_CLASS
	Required
	Identifies the nature of the NITS Resource as either ON_SYSTEM or OFF_SYSTEM.



	RESOURCE_TYPE


	Required
	Identifies the nature of the NITS Resource as either GENERATION or CONTRACT (GEN or PPA?).



	RESOURCE_AREA


	Required
	Identifies the Balancing Authority Area hosting the NITS Resource if RESOURCE_TYPE=GENERATION, or the BAA where the NITS Customer assumes responsibility (title) to the energy if RESOURCE_TYPE= EXECUTED_PPA or CONTINGENT_PPA.

.



	
	
	


	RESOURCE_DESCRIPTION
	Optional
	Optional Customer supplied description of the nature of the NITS Resource.



	FORECAST_METHOD

	Required
	Identifies the method used to provide resource forecast (projection) information to the Transmission Provider.  Valid values are ON-OASIS and OFF-OASIS.  When ON-OASIS is selected, the Customer shall use the NITSRsourceForecast template to submit the forecast information.



	EFFECTIVE_START_TIME
	Required
	Identifies the earliest starting date/time that the NITS Resource may be referenced in forecasted load information or designated as a network resource under the NITS Application.



	EFFECTIVE_STOP_TIME
	Optional
	Identifies the date/time that the defined NITS Resource will no longer be considered as part of the NITS Application,  If null, the resource’s association with the NITS Application is open ended.



	TIME_OF_LAST_UPDATE
	Must be null
	Returned in response.



	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSResourceDescription  Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	RESOURCE_NAME
	Required


	Unique name to be associated with a Customer’s NITS Resource. 


	RESOURCE_CLASS
	Required
	Identifies the nature of the NITS Resource as either ON_SYSTEM or OFF_SYSTEM.



	RESOURCE_TYPE


	Required
	Identifies the nature of the NITS Resource as either GENERATION or EXECUTED_PPA or CONTINGENT_PPA.


	RESOURCE_AREA


	Required
	Identifies the Balancing Authority Area hosting the NITS Resource if RESOURCE_TYPE=GENERATION, or the BAA where the NITS Customer assumes responsibility for the energy if RESOURCE_TYPE=EXECUTED_PPA or CONTINGENT_PPA.



	RESOURCE_DESCRIPTION
	May be null
	Optional Customer supplied description of the nature of the NITS Resource.



	FORECAST_METHOD

	Required
	Identifies the method used to provide load forecast information to the Transmission Provider.  Valid values are ON-OASIS and OFF-OASIS. 



	EFFECTIVE_START_TIME
	Required
	Identifies the earliest starting date/time that the NITS Resource may be referenced in forecasted load information or designated as a network load under the NITS Application.



	EFFECTIVE_STOP_TIME
	May be null
	Identifies the date/time that the defined NITS Resource will no longer be considered as part of the NITS Application,  If null, the resource’s association with the NITS Application is open ended.



	TIME_OF_LAST_UPDATE
	Required
	Date/time the template information was last updated.



	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.9
NITS Resource Forecast (NITSResourceForecast) [Optional]
The NITSResourceForecast Data Template provides information on a NITS Resource’s forecasted use to serve load under the NITS Application. The NITS Resource being forecasted must be uniquely identified as a named Resource under the NITS Application via the NITSResourceDescription Data Template.  The Transmission Provider’s use of this template is optional.  The NITS Customer should indicate their intent to use this template to submit load forecast information by setting the FORECAST_METHOD element in the NITSResourceDescription to ON-OASIS. 

Updates to the data specified within this Data Template may only be submitted while the associated AddNITSResource, ModifyNITSResource, or AddNITSDNR request has the STATUS of PRESUBMITTED or DEFICIENT. 

The NITS Resources’ forecasted using this Data Template shall be incorporated into the Transmission Provider’s assessment of the on-going ability to provide NITS for the delivery of energy from the Customer’s designated resources to the designated loads under the NITS Application beyond the first year of service.

Submission of multiple data records associated with the NITSResourceForecast Data Template shall be supported to specify the capacity associated with the forecasted resource use profiled over time.

Once approved and confirmed as part of an AddNITSResource or AddNITSDNR request, the information supplied in this Data Template shall be added to the information associated with the resources designated/forecasted to serve load under the NITS Application.  Once approved and confirmed as part of a ModifyNITSResource request, the information supplied in this Data Template shall replace any existing information associated with the named Network Resource in its entirety over the timeframe(s) specified.

NITSResourceForecast  Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	RESOURCE_NAME
	Required


	Unique name to associated with a Customer’s NITS Resource to be forecasted.  


	SUMMER_FORECAST


	Required*
	Defines the Summer season peak MW capacity of the resource forecasted over the specified start/stop interval.

 

	WINTER_FORECAST


	Required*
	Defines the Winter season peak MW capacity of the resource forecasted over the specified start/stop interval.

 

	 FORECAST_DESCRIPTION


	Optional
	Optional descriptive comments supplied by the Customer related to the forecasted use of the Network Resource.


	START_TIME
	Required
	Defines the starting date/time for the period of time that the resource is being forecasted.



	STOP_TIME
	Required
	Defines the ending date/time for the period of time that the resource is being forecasted.



	TIME_OF_LAST_UPDATE
	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSResourceForecast  Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	RESOURCE_NAME
	Required


	Unique name to associated with a Customer’s NITS Resource forecasted.  


	SUMMER_FORECAST


	May be null
	Defines the Summer season peak MW capacity of the resource forecasted over the specified start/stop interval.

 

	WINTER_FORECAST


	May be null
	Defines the Winter season peak MW capacity of the resource forecasted over the specified start/stop interval.

 

	FORECAST_DESCRIPTION


	May be null
	Optional descriptive comments supplied by the Customer related to the forecasted use of the Network Resource.



	START_TIME
	Required
	Defines the starting date/time for the period of time that the resource is being forecasted.



	STOP_TIME
	Required
	Defines the ending date/time for the period of time that the resource is being forecasted.



	TIME_OF_LAST_UPDATE
	Required
	Time the information in the load forecast was last updated.



	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.10
NITS Designated Resource (NITSResourceDesignation)
The NITSResourceDesignation Data Template identifies the specific information required for a Customer to identify and attest to a named NITS Resource as being qualified for consideration as a designated network resource under the NITS Application via the AddNITSDNR request.  This template also provides the information necessary to terminate on a temporary or indefinite basis a named NITS Resource via the TerminateNITSDNR request.

When used to designate a network resource (AddNITSDNR), the Customer must specify the Point of Receipt and Source that the Transmission Provider will evaluate for the deliverability of the network resource to designated NITS Load on a firm basis. The Transmission Provider may require a change to use a specific POR and/or Source names as part of the evaluations process. The customer must also supply the necessary attestation that the resource being designated meets all the criteria required for treatment as a designated network resource.
If the network resource to be designated is identified as an OFF_SYSTEM resource, the NITS Customer must supply the identification of all transmission arrangements available for use by the Customer for delivery of energy across external Transmission Providers’ systems via the AuxiliaryTransmission Data Template.  The DNR designation may be identified as part of a coordinated group of transmission requests across multiple Transmission Providers’ systems by setting the CG_STATUS data element to PROPOSED.  The external transmission requests that are to be considered as part of the coordinated group of requests must be identified in the AuxiliaryTransmission Data Template as dictated by Business Practice WEQ-001-xx.

When used for the termination of a designated network resource (TerminateNITSDNR) on a temporary basis, this template identifies the resource to be terminated by resource name and the specific Point of Reciept and Source that was previously specified when the resource was designated.  The attestation information supplied is required from the Customer to assert that the resource being temporarily terminated qualifies for continued treatment as a designated resource at the end of the time periods and in the capacity amounts that are being temporarily terminated.  Indefinite termination of the resource does not require this attestation and the capacity over time indefinitely terminated may only be designated as a network resource in the future through submission and approval/confirmation of a new AddNITSDNR request.

Updates to the data specified within this Data Template may only be submitted while the associated AddNITSDNR or TerminateNITSDNR request has the STATUS of PRESUBMITTED or DEFICIENT. An exception to this restriction is allowed for the DESIGNATION of a DNR with the AddNITSDNR request which has been flagged as a Coordinated Request (CG_STATUS=PROPOSED).  The CG_STATUS Data Element may be updated using the UpdateNITSRequest Input Template to attest that the Coordinated Group information has been supplied in the AuxiliaryTransmission template information by setting CG_STATUS to ATTESTED.  All other template data elements should be submitted with null values; any values submitted other than CG_STATUS in these cases will be ignored.
Once designated, any modification to the designated network resource must be submitted via the TerminateNITSDNR request.  Once terminated on either temporary or indefinite basis, the network resource may only be restored as a designated network resource within  the period and capacity of the termination through submission of a new  AddNITSDNR request.

The amount of resource capacity to be designated or terminated must be specified using the NITSResourceCapacity Data Template.  The EFFECTIVE_START_TIME and EFFECTIVE_STOP_TIME specified in the NITSResourceDesignation template must span the full period of time of the designation or termination being requested.  Indefinite terminations must specify a null EFFECTIVE_STOP_TIME indicating that the termination is open-ended for all time.  

NITSResourceDesignation  Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	RESOURCE_NAME
	Required


	Unique name associated with a Customer’s NITS Resource to be designated/terminated. (from NITSResourceDescription). 


	DNR_ACTION
	Required
	Identifies the nature of requested action to take with respect to the NITS Resource to be one of:

DESIGNATION, TEMPORARY_TERMINATION, INDEFINITE_TERMINATION.



	POINT_OF_RECEIPT


	Required
	Identifies the point of receipt on the Transmission Provider’s system for delivering energy from the DNR to NITS Load.



	SOURCE
	Optional
	Identifies the source point name to be used in scheduling deliveries from the DNR.  Transmission Provider may require use of a specific SOURCE in association with the DNR.  



	DNR_ATTESTATION
	Required*
	Required attestation that the resource to be designated qualifies as a DNR, or in the case of TEMPORARY_UNDESIGNATION that the resource continues to qualify as a DNR at the end of the period of temporary termination.  This field must contain the required Transmission Provider’s statement of attestation verbatim.  This field must be null for an INDEFINITE_TERMINATION.


	ATTESTOR_NAME
	Required*
	Required with DNR_ATTESTATION identifying the name and title of the individual responsible for attesting to the Resource’s qualification as a DNR. This field must be null for an INDEFINITE_TERMINATION.


	ATTESTATION_SUBMITTER
	Required*
	Required with DNR_ATTESTATION identifying the name and title of the individual submitting the statement of the Resources qualification as a DNR. This field must be null for an INDEFINITE_TERMINATION.


	POSTING_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  




	SALE_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  



	REQUEST_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  



	DEAL_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  




	CG_STATUS
	Optional
	Optional flag to indicate to the Transmission Provider that a DNR DESIGNATION request is to be considered and evaluated as a coordinated request with other external Transmission Provider requests identified in the AuxiliaryTransmission  Data Template. One of:

PROPOSED

ATTESTED

<null>


 

	
	
	


	EFFECTIVE_START_TIME
	Required
	Identifies the starting date/time that the NITS Resource is either designated or terminated.

 

	EFFECTIVE_STOP_TIME
	Required*
	Identifies the ending date/time of resource’s designation or the time at which the resource is restored following a temporary termination.

This field must be null for an INDEFINITE_TERMINATION.



	CG_DEADLINE
	Must be null
	Returned in response.



	CONCOMITANT_EVAL_FLAG
	Must be null
	Returned in response.

	TIME_OF_LAST_UPDATE
	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSResourceDesignation  Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	RESOURCE_NAME
	Required


	Unique name associated with a Customer’s NITS Resource to be designated/terminated. (from NITSResourceDescription). 


	DNR_ACTION
	Required
	Identifies the nature of requested action to take with respect to the NITS Resource to be one of: 
DESIGNATION, TEMPORARY_TERMINATION, INDEFINITE_TERMINATION.



	POINT_OF_RECEIPT


	Required
	Identifies the point of receipt on the Transmission Provider’s system for delivering energy from the DNR to NITS Load.



	SOURCE
	May be null
	Identifies the source point name to be used in scheduling deliveries from the DNR.  Transmission Provider may require use of a specific SOURCE in association with the DNR.  



	DNR_ATTESTATION
	May be null
	Required attestation that the resource to be designated qualifies as a DNR, or in the case of TEMPORARY_UNDESIGNATION that the resource continues to qualify as a DNR at the end of the period of temporary termination.  This field must contain the required Transmission Provider’s statement of attestation verbatim.  This field must be null for an INDEFINITE_TERMINATION.



	ATTESTOR_NAME
	May be null
	Required with DNR_ATTESTATION identifying the name and title of the individual responsible for attesting to the Resource’s qualification as a DNR. This field must be null for an INDEFINITE_TERMINATION.



	ATTESTATION_SUBMITTER
	May be null
	Required with DNR_ATTESTATION identifying the name and title of the individual submitting the attestation of the Resources qualification as a DNR. This field must be null for an INDEFINITE_TERMINATION.



	POSTING_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  




	SALE_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  



	REQUEST_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  



	DEAL_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  




	CG_STATUS
	May be null
	Optional flag identifying if the DNR DESIGNATION request is to be considered and evaluated as a coordinated request.  One of:

PROPOSED

ATTESTED

<null>

 

	
	
	


	EFFECTIVE_START_TIME
	Required
	Identifies the starting date/time that the NITS Resource is either designated or terminated.



	EFFECTIVE_STOP_TIME
	May be null
	Identifies the ending date/time of resource’s designation or the time at which the resource is restored following a temporary termination.

This field must be null for an INDEFINITE_TERMINATION.



	CG_DEADLINE
	May be null
	Set to non-null value on submission a Coordinated Request CG_STATUS=PROPOSED based on time the request is first set to QUEUED and time limit for NITS Customer supply and attest to contiguity of the Coordinated Group.



	CONCOMITANT_EVAL_FLAG
	Required
	Returned by OASIS as Y/N identifying if the request was submitted for concomitant evaluation by the Transmission Provider using the NewConcomitantRequest template.



	TIME_OF_LAST_UPDATE
	Required
	Date/time the information associated with the template was last updated.



	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.11
NITS Designated Resource Capacity (NITSResourceCapacity)
The NITSResourceCapacity Data Template must be supplied in combination with the NITSResourceDesignation template to specify the amount of capacity over time that is being designated or terminated from the named NITS Resource via the AddNITSDNR or TerminateNITSDNR request.  Profiled capacity amounts over time and across multiple generation assets are specified using multiple Data Records following the NITSResourceCapacity template Header Record and up to the next template Header Record or end of the submitted data.
When included in a request to designate a network resource (AddNITSDNR), the Customer must specify the amount of capacity requested to be designated from the named NITS Resource.  The Capacity must be specified as positive integer MW values or zero (0).  If the Transmission Provider cannot accommodate the resource designation in full, the amount of capacity that may be accommodated will be specified in CAPACITY_GRANTED with the AddNITSDNR status of COUNTEROFFER.  The Customer may accept the CAPACITY_GRANTED or propose a lower amount to be designated using the status of REBID.  CAPACITY_REQUESTED and CAPACITY_GRANTED must be equal to confirm the AddNITSDNR request. 
  Once confirmed the capacity granted to the DNR over time will be added to any capacity previously designated to that named NITS Resource.

When included in the request to terminate a designated network resource (TerminateNITSDNR), the Customer must specify the amount of capacity to be terminated/removed from the named NITS Resource over time. The Capacity must be specified as negative integer MW values or zero (0). Once confirmed, the capacity terminated from the DNR over time will be subtracted from the capacity designated for that named NITS Resource.  If the capacity specified to be terminated is greater than the actual capacity designated for the NITS Resource, the Resource’s designated capacity will be set to 0.

The START_TIME/STOP_TIME intervals specified with this template must be within and span continuously over the EFFECTIVE_START_TIME and EFFECTIVE_END_TIME of the associated network resource designation or termination being requested.  For indefinite termination of a DNR, only one  MW value may be specified representing the MW capacity to be terminated from the designated resource beginning at the specified START_TIME through the entire term of the resource’s designation; STOP_TIME must be specified as a null value.

If the network resource being designated or terminated is declared as a GENERATION (GEN?) backed resource, either the specific NITS generation asset(s), by GEN_NAME, or the associated aggregrate generation group, by GEN_GROUP, must be specified.  Multiple generation assets may be assigned specific capacity amounts to be designated or terminated over time through submission of multiple Data Records in the NITSResourceCapacity template.  However, a given named generation asset (or aggregate group) must not be specified in more than one data record for any given point in time.  An error will be returned if a required generation asset name (or aggregate group) is not supplied, or references an unknown asset, or is associated with more than one capacity value for a given point in time.  There is no restriction that a network resource designated from an aggregate group of generation assets may be terminated as either an aggregate group or on an individual generation asset basis.
Updates to the data specified within this Data Template may only be submitted while the associated AddNITSDNR or TerminateNITSDNR request has the STATUS of PRESUBMITTED or DEFICIENT or COUNTEROFFER. 

NITSResourceCapacity  Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	RESOURCE_NAME
	Required


	Unique name associated with a Customer’s NITS Resource to be designated/terminated. (from NITSResourceDescription). 


	GEN_NAME
	Required*
	Required if the NITS Resource being designated or terminated has been identified with RESOURCE_TYPE=GENERATION.  Identifies the generation asset by either the asset GEN_NAME or an associated aggregate GEN_GROUP that is to be designated or terminated.

 

	CAPACITY_REQUESTED
	Required
	Identifies the amount of capacity to be designated (positive value) or terminated (negative value) from the named NITS Resource.  May be updated by the NITS Customer when the AddNITSDNR request status is set to COUNTEROFFER by the Transmission Provider.  


	
	
	


	
	
	

	START_TIME
	Required
	Identifies the beginning of the time interval for the capacity to be designated or terminated.



	STOP_TIME
	Required*
	Identifies the end of the time interval for the capacity to be designated or terminated. Must be null for an indefinite termination.



	CAPACITY_GRANTED
	Must be null
	Returned in response.



	TIME_OF_LAST_UPDATE
	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSResourceCapacity  Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	RESOURCE_NAME
	Required


	Unique name associated with a Customer’s NITS Resource to be designated/terminated. (from NITSResource). 


	GEN_NAME
	May be null
	Required if the NITS Resource being designated or terminated has been identified with RESOURCE_TYPE=GENERATION.  Identifies the generation asset by either the asset GEN_NAME or an associated aggregate GEN_GROUP that is to be designated or terminated.

 

	CAPACITY_REQUESTED
	Required
	Identifies the amount of capacity to be designated (positive value) or terminated (negative value) from the named NITS Resource.  



	
	
	


	
	
	

	START_TIME
	Required
	Identifies the beginning of the time interval for the capacity to be designated or terminated.



	STOP_TIME
	May be null
	Identifies the end of the time interval for the capacity to be designated or terminated. Must be null for an indefinite termination.



	CAPACITY_GRANTED
	May be null
	Specified by the Transmission Provider after evaluation with capacity amount that may be accommodated.



	TIME_OF_LAST_UPDATE
	Required
	Date/time the information associated with the template was last updated.



	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.12
NITS Designated Resource Scheduling Rights (NITSSchedulingRights)

The NITSSchedulingRights Data Template may be supplied in combination with the NITSResourceDesignation template to specify the amount of incremental transmission service is being requested by the customer to support delivery of the DNR to network load under the NITS Application.  The Transmission Provider may require the NITS Customer to supply the information specified in this template as part of the AddNITSDNR request.  

If not supplied in the AddNITSDNR request, the Transmission Provider shall assume that sufficient transmission service is being requested to support delivery of the full DNR capacity over time to all designated loads at their defined Points of Delivery and Sinks.  

After evaluation by the Transmission Provider, the information specified in this template must be made available for query and possible adjustment by the NITS Customer to confirm the final scheduling rights granted for delivery of the DNR if the full amount of the DNR is limited for delivery to one or more designated network loads.

Updates to the data specified within this Data Template may only be submitted while the associated AddNITSDNR request has the STATUS of PRESUBMITTED or DEFICIENT or COUNTEROFFER. 

Upon final confirmation of the AddNITSDNR request, the amount of capacity specified for CAPACITY_CONFIRMED over time shall be added to any existing scheduling rights available over the same transmission path for the DNR.
NITSSchedulingRights  Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	RESOURCE_NAME
	Required


	Unique name associated with a Customer’s NITS Resource to be designated. (from NITSResourceDescription). 


	PATH_NAME
	Optional
	Identifies the OASIS path to be used for scheduling the DNR if required by the Transmission Provider in addition to POR/POD and Source/Sink.

 

	POINT_OF_RECEIPT
	Required
	Identifies the Point of Receipt on the Transmission Provider’s transmission system that will be scheduled for delivery of the DNR.  Must match the POINT_OF_RECEIPT as specified in the NITSResourceDesignation.


	POINT_OF_DELIVERY
	Required
	Identifies the Point of Delivery on the Transmission Provider’s transmission system that will be scheduled for delivery of the DNR to the designated load(s) under the NITS Application. Must match the POINT_OF_DELIVERY as specified in the NITSLoadDescription.


	SOURCE
	Optional
	Identifies the named Source that has been assigned for use in scheduling the delivery of the DNR. Must match the Source as specified in the NITSResourceDesignation.



	SINK
	Optional
	Identifies the named Sink on the Transmission Provider’s transmission system that will be scheduled for delivery of the DNR to the designated load(s) under the NITS Application. Must match the SINK as specified in the NITSLoadDescription.


	CAPACITY_REQUESTED
	Required
	Identifies the amount of incremental transmission service capacity requested for scheduling delivery of the DNR to designated load(s) under the NITS Application.  If not explicitly specified by the NITS Customer, this value will be the sum of all capacity designated for the resource at each point in time over the term of the DNR.  



	
	
	


	
	
	


	START_TIME
	Required
	Identifies the beginning of the time interval for the corresponding scheduling rights being requested or confirmed to support the DNR. 



	STOP_TIME
	Required
	Identifies the end of the time interval for the corresponding scheduling rights being requested or confirmed to support the DNR. 



	CAPACITY_GRANTED
	Must be null
	Returned in response.



	TIME_OF_LAST_UPDATE
	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSSchedulingRights  Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	RESOURCE_NAME
	Required


	Unique name associated with a Customer’s NITS Resource to be designated. (from NITSResourceDescription). 


	PATH_NAME
	May be null
	Identifies the OASIS path to be used for scheduling the DNR if required by the Transmission Provider in addition to POR/POD and Source/Sink.

 

	POINT_OF_RECEIPT
	Required
	Identifies the Point of Receipt on the Transmission Provider’s transmission system that will be scheduled for delivery of the DNR.  Must match the POINT_OF_RECEIPT as specified in the NITSResourceDesignation.


	POINT_OF_DELIVERY
	Required
	Identifies the Point of Delivery on the Transmission Provider’s transmission system that will be scheduled for delivery of the DNR to the designated load(s) under the NITS Application. Must match the POINT_OF_DELIVERY as specified in the NITSLoadDescription.


	SOURCE
	May be null
	Identifies the named Source that has been assigned for use in scheduling the delivery of the DNR. Must match the Source as specified in the NITSResourceDesignation.



	SINK
	May be null
	Identifies the named Sink on the Transmission Provider’s transmission system that will be scheduled for delivery of the DNR to the designated load(s) under the NITS Application. Must match the SINK as specified in the NITSLoadDescription.


	CAPACITY_REQUESTED
	Required
	Identifies the amount of incremental transmission service capacity requested for scheduling delivery of the DNR to designated load(s) under the NITS Application.  If not explicitly specified by the NITS Customer, this value will be the sum of all capacity designated for the resource at each point in time over the term of the DNR.  



	
	
	


	
	
	


	START_TIME
	Required
	Identifies the beginning of the time interval for the corresponding scheduling rights being requested or confirmed to support the DNR. 



	STOP_TIME
	Required
	Identifies the end of the time interval for the corresponding scheduling rights being requested or confirmed to support the DNR. 



	CAPACITY_GRANTED
	May be null
	Specified by the Transmission Provider after evaluation with capacity amount that may be accommodated.



	TIME_OF_LAST_UPDATE
	Required
	Date/time the information associated with the template was last updated.



	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.13
Auxiliary Transmission Rights (AuxiliaryTransmission)


The AuxiliaryTransmission Data Template may be supplied in combination with the NITSResourceDesignation template to identify the transmission arrangements on other parties’ transmission systems that are required to support the delivery of energy from the DNR to Network Load.  The Transmission Provider may use this information to verify that the NITS Customer has secured the necessary firm transmission rights in support of the DNR.  Multiple Data Records may be submitted in association with this template as needed to document each external Transmission Provider and each external transmission service reservation that may be used in delivering energy from the DNR to Network Load.
This Data Template will also be supplied when a request to designate a Network Resource (AddNITSDNR), arrange secondary network transmission service (AddNITSSecondary), or request additional PTP transmission service as a concomitant request (AddPTPService) are to be considered and evaluated as part of a Coordinated Group of requests across multiple Transmission Providers.  As a Coordinated Request with CG_STATUS set to PROPOSED, the set of requests that comprise the Coordinated Group must be supplied in this template with the information as dictated by Business Practice Standard WEQ-001-xx.  Existing reservations may be included as part of the Coordinated Group to meet the contiguity requirements and are submitted with the CR_DISPOSITION Data Element set to a value of CONFIRMED. 

Updates to the data specified within this Data Template may be submitted at any time while the associated AddNITSDNR, AddNITSSecondary or AddPTPService request STATUS is PRESUBMITTED or DEFICIENT, if applicable.  Updates may also be supplied in association with any Coordinated Request where that request has the CG_STATUS Data Element set to a value of PROPOSED and the update is supplied prior to expiration of the CG_DEADLINE submission time limit. 
The AuxiliaryTransmission template information specified in any update may be supplied in an incremental fashion as follows.  For any data record supplied where the CR_PRIMARY_PROVIDER_CODE and CR_ASSIGNMENT_REF Data Elements do not match with any existing data supplied with the AuxiliaryTransmission  template, the specified data record will be added to the information specified in this Data Template.  If the CR_PRIMARY_PROVIDER_CODE and CR_ASSIGNMENT_REF Data Elements match an existing data record supplied with the AuxiliaryTransmission template and the CR_DISPOSITION data element is set to DELETED, the information for that data record will be removed from the existing information associated with this Data Template.  Finally, If the CR_PRIMARY_PROVIDER_CODE and CR_ASSIGNMENT_REF Data Elements match an existing data record supplied for the AuxiliaryTransmission template and the CR_DISPOSITION data element is not set to DELETED, the information for that data record will be replaced in its entirety with the information supplied in the update request submission.   .
For coordinated requests when the associated CG_STATUS Data Element has been set to ATTESTED, any update that would remove or add any associated Coordinated Requests in the Coordinated Group that have been previously submitted in this template, i.e., attempt to add or delete any data record with CR_DISPOSITION other than CONFIRMED, shall be blocked and return an error.  Once the CG_FLAG has been set to ATTESTED, updates to the existing coordinated requests are limited to modifying the CR_DISPOSITION and CR_DISPOSITION_TIME Data Elements.
In the event that existing confirmed transmission rights on an external Transmission Provider’s system are associated with Network Service, the CR_ASSIGNMENT_REF Data Element shall specify the value for the APPLICATION_REF  associated with the CONFIRMED NITS Application.
AuxiliaryTransmission  Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	CR_PRIMARY_PROVIDER_CODE
	Required


	Identifies, by registered Entity Code, the external Transmission Provider whose transmission system is being used in delivery of the DNR or whose transmission system is part of the Coordinated Group of requests or reservations to be coordinated. 


	CR_ASSIGNMENT_REF
	Required
	OASIS unique identifier assigned to the transmission service reservation held on the external Transmission Provider’s system or that is associated with a reservation or request for service that is part of the Coordinated Group.  If existing NITS service is being used (CR_DISPOSITION=CONFIRMED), specifies the APPLICATION_REF associated with that NITS service.
 

	CR_SERVICE_INCREMENT


	Optional
	Must be provided if the external transmission rights represent a pending request that is to be considered part of a coordinated group of requests.  If the Coordinated Request is for NITS, the service increment shall be set based on the duration of the requested DNR or secondary service.



	CR_TS_CLASS


	Optional
	Must be provided if the external transmission rights represent a pending request that is to be considered part of a coordinated group of requests.



	CR_TS_TYPE
	Required

	Indicates the type of transmission service reserved or requested; one of:

POINT_TO_POINT

NETWORK



	CR_DISPOSITION
	Required
	Indicates that the transmission service represents existing confirmed service (CONFIRMED), or the current disposition of the Coordinated Request for service; one of:

PENDING

FULL

PARTIAL

NONE

WITHDRAWN

CONFIRMED
DELETED



	CR_DISPOSITION_TIME
	Optional
	Represents the time that the final disposition of a Coordinated Request was reached; must be null for all existing confirmed services identified in this template.



	TIME_OF_LAST_UPDATE
	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




AuxiliaryTransmission  Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	CR_PRIMARY_PROVIDER_CODE
	Required


	Identifies by registered Entity Code the external Transmission Provider whose transmission system is being used in delivery of the DNR or whose transmission system is part of the Coordinated Group of requests or reservations to be coordinated. 


	CR_ASSIGNMENT_REF
	Required
	OASIS unique identifier assigned to the transmission service reservation held on the external Transmission Provider’s system or that is associated with a reservation or request for service that is part of the Coordinated Group.  If existing NITS service is being used, specifies the APPLICATION_REF associated with that NITS service.

 

	CR_SERVICE_INCREMENT


	May be null
	Specifies the increment of transmission service requested in the Coordinated Request.  If the Coordinated Request is for NITS, the service increment shall be set based on the duration of the requested DNR or secondary service.



	CR_TS_CLASS


	May be null
	Specifies the class of transmission service associated with a Coordinated Request.



	CR_TS_TYPE
	Required

	Indicates the type of transmission service reserved or requested; one of:

POINT_TO_POINT

NETWORK



	CR_DISPOSITION
	Required
	Indicates that the transmission service represents existing confirmed service (CONFIRMED), or the current disposition of the Coordinated Request for service; one of:

PENDING

FULL

PARTIAL

NONE

WITHDRAWN

CONFIRMED
DELETED



	CR_DISPOSITION_TIME
	May be null
	Represents the time that the final disposition of a Coordinated Request was reached; must be null for all existing confirmed services identified in this template.



	TIME_OF_LAST_UPDATE
	Required
	Date/time the information associated with the template was last updated.



	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.14
NITS Secondary Transmission Service (NITSSecondaryService)
The NITSSecondaryService Data Template may be supplied to specify the nature of requests for network transmission service for non-firm delivery of energy from non-designated resources, i.e., secondary network service.
The nature of the secondary network service requested is specified in a single data record with the NITSSecondaryService template.  The transmission capacity to be supplied over time is conveyed in one or more NITSSecondaryCapacity template data records.  The EFFECTIVE_START_TIME and EFFECTIVE_STOP_TIME specified in the NITSSecondaryService template must span the full period of time of the service being requested.  The effective start/stop times will be used as the basis for determining service duration for calculation of customer confirmation time limits.  
The POINT_OF_DELIVERY and SINK information in this template must match a CONFIRMED designated network load as specified in the NITSLoadDescription template under the NITS Application.
Updates to the data specified within this Data Template may only be submitted while the associated AddNITSSecondary request has the STATUS of PRESUBMITTED. The use of the STATUS of DEFICIENT is not supported for these requests.

NITSSecondaryService Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	PATH_NAME
	Required


	Transmission Provider path for the transmission service to be provided. 



	POINT_OF_RECEIPT
	Required


	Point of receipt on Transmission Provider’s system for the transmission service to be provided.



	POINT_OF_DELIVERY
	Required
	Point of delivery on Transmission Provider’s system for the transmission service to be provided.



	SOURCE
	Optional
	Optionally identifies the location of the generation source.


	SINK
	Optional
	Optionally identifies the location of the ultimate load.



	POSTING_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  




	SALE_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  



	REQUEST_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  



	DEAL_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  




	CG_STATUS
	May be null
	Optional flag identifying if the DNR DESIGNATION request is to be considered and evaluated as a coordinated request.  One of:

PROPOSED

ATTESTED

<null>

 

	EFFECTIVE_START_TIME
	Required
	Identifies the overall beginning of the time interval for the service being requested. 



	EFFFECTIVE_STOP_TIME
	Required
	Identifies the overall end of the time interval for the service being requested. 



	NERC_CURTAILMENT_PRIORITY


	Must be null
	Returned in response.




	OTHER_CURTAILMENT_PRIORITY


	Must be null
	Returned in response.



	CG_DEADLINE
	Must be null
	Returned in response.


	CONCOMITANT_EVAL_FLAG
	Must be null
	Returned in response.


	TIME_OF_LAST_UPDATE


	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSSecondaryService Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	PATH_NAME
	Required


	Registered Entity Code associated with the seller of the ancillary service.


	POINT_OF_RECEIPT
	Required


	Registered DUNS associated with the seller of the ancillary service.


	POINT_OF_DELIVERY
	Required
	Identifies the Balancing Authority Area where the ancillary service is to be delivered/provided. 


	SOURCE
	May be null
	Optionally identifies the location of the generation source.


	SINK
	May be null
	Optionally identifies the location of the ultimate load.



	POSTING_REF
	May be null
	Optional identifier set by the Transmission Customer to track requests.  



	SALE_REF
	May be null
	Optional identifier set by the Transmission Customer to track requests.  



	REQUEST_REF
	May be null
	Optional identifier set by the Transmission Customer to track requests.  



	DEAL_REF
	May be null
	Optional identifier set by the Transmission Customer to track requests.  



	CG_STATUS
	May be null
	Optional identifier set to indicate the transmission request is a coordinated request.



	EFFECTIVE_START_TIME
	Required
	Identifies the overall beginning of the time interval for the service being requested. 



	EFFFECTIVE_STOP_TIME
	Required
	Identifies the overall end of the time interval for the service being requested. 



	NERC_CURTAILMENT_PRIORITY


	May be null
	NERC TLR Curtailment Priority for service requested.



	OTHER_CURTAILMENT_PRIORITY


	May be null
	Alternate curtailment priority specific to Transmission Provider defined procedures.



	
	
	


	
	
	


	
	
	


	

	
	


	
	
	


	
	
	


	
	
	


	
	
	


	
	
	


	
	
	


	
	
	


	
	
	


	
	
	


	

	
	


	CG_DEADLINE
	May be null
	For Coordinated Requests only, deadline for providing all required Coordinated Group information via the AuxilaryTransmission template.


	CONCOMITANT_EVAL_FLAG
	Required
	Returned by OASIS as Y/N identifying if the request was submitted for concomitant evaluation by the Transmission Provider using the NewConcomitantRequest template.



	TIME_OF_LAST_UPDATE


	Must be null
	Returned in response.

	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.15
NITS Secondary Transmission Capacity (NITSSecondaryCapacity)
The NITSSecondaryCapacity Data Template defines the capacity associated with a request for secondary network transmission service under the NITS Application.
The START_TIME/STOP_TIME intervals specified with this template must be within and span continuously over the EFFECTIVE_START_TIME and EFFECTIVE_END_TIME of the associated secondary network transmission service being requested as specified in the NITSSecondaryService Data Template.  Intervals where no capacity is to be supplied must be indicated with a zero value for CAPACITY_REQUESTED.  However, there may be no periods of a leading or trailing 0 MW capacity requested in the profile for secondary network transmission service. Multiple data records may be submitted with this template to represent a profile of capacity for the service being arranged over time. 
When supplied in association with the AddNITSSecondary request, CAPACITY_REQUESTED must be stated as a positive MW integer value or 0 for the service requested. When the add secondary NITS request is confirmed, the additional capacity granted will be available to be scheduled. 

When supplied in association with the TerminateNITSSecondary request, CAPACITY_REQUESTED must be stated as a negative MW integer value or 0. When the terminate secondary NITS request is confirmed, the capacity granted will be removed from the secondary service that may be scheduled on the designated Path/POR/POD.  If the amount to be terminated exceeds the actual secondary NITS reserved, all capacity to deliver the non-designated resource(s) on that Path/POR/POD will be released.

Updates to the data specified within this Data Template may only be submitted while the associated AddNITSSecondary request has the STATUS of PRESUBMITTED or has been acted on by the Transmission Provider to set STATUS to ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or  CR_COUNTEROFFER. The use of the STATUS of DEFICIENT is not supported for these requests.  On update, the full profiled capacity must be restated and will replace the existing profiled capacity in its entirety.

If the AddNITSSecondary request has been set to ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or  CR_COUNTEROFFER, the Transmission Customer may submit an update to the associated CAPACITY_REQUESTED and either REBID the request at a lower capacity, or confirm the requested service in the amount of capacity that may be accommodated by the Transmission Provider.  OASIS will block any attempt to set the AddNITSSecondary request to CONFIRMED if the CAPACITY_REQUESTED and CAPACITY_GRANTED Data Elements are not equal over all points in time.  There is no price information or negotiation of price related to the arrangement of and network transmission service.

NITSSecondaryCapacity Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	CAPACITY_REQUESTED
	Required


	The volume of secondary network transmission service being requested over the start/stop interval.


	
	
	


	START_TIME
	Required
	Identifies the start of the interval of service requested at a given capacity. 



	STOP_TIME
	Required
	Identifies the end of the interval of service requested at a given capacity. 



	CAPACITY_GRANTED
	Must be null 
	Returned in response.



	TIME_OF_LAST_UPDATE


	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSSecondaryCapacity Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	CAPACITY_REQUESTED
	Required


	The volume of secondary network transmission service being requested over the start/stop interval.


	
	
	


	START_TIME
	Required
	Identifies the start of the interval of service requested at a given capacity. 



	STOP_TIME
	Required
	Identifies the end of the interval of service requested at a given capacity. 



	CAPACITY_GRANTED
	May be null
	Information on the amount of capacity that may be accommodated when the secondary network transmission service request is acted on by the Transmission Provider.


	TIME_OF_LAST_UPDATE


	Required
	Date/time the information associated with the template was last updated.



	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.16
NITS Ancillary Service (NITSAncillaryService)
 [Optional]
The NITSAncillaryService Data Template may be supplied to specify the nature of the ancillary service requested under the NITS Application.  The information supplied in this Data Template must simultaneously be made available for query and update using either the NITS Templates defined here or the applicable General OASIS and PTP Templates as specified in Business Practice Standard WEQ-002-4.

The provider of the ancillary service may not necessarily be the Transmission Provider providing NITS, and must be designated in the SELLER_CODE and SELLER_DUNS Data Elements.  Additional Data Elements are included in this template for compatibility with the ancstatus template and are supplied either by the OASIS node software, the Transmission Provider, or the Seller of the ancillary service.  The REASSIGNMENT_* Data Elements are not supported by the NITS Templates.  Any arrangement of ancillary services on a secondary market between Transmission Customers must be conducted using the mechanisms provided for in Business Practice Standard WEQ-002-4.  Third-party Sellers of ancillary services must also use the mechanisms provided for in Business Practice Standard WEQ-002-4 to view and update ancillary service requests submitted to them.

Updates to the data specified within this Data Template may only be submitted while the associated AddNITSAncillary request has the STATUS of PRESUBMITTED. The use of the STATUS of DEFICIENT is not supported for these requests.

The amount of ancillary service capacity being requested over time must be specified using the NITSAncillaryCapacity Data Template.  The EFFECTIVE_START_TIME and EFFECTIVE_STOP_TIME specified in the NITSAncillaryService template must span the full period of time of the service being requested.

NITSAncillaryService Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	SELLER_CODE
	Required


	Registered Entity Code associated with the seller of the ancillary service.


	SELLER_DUNS
	Required


	Registered DUNS associated with the seller of the ancillary service.


	CONTROL_AREA
	Required
	Identifies the Balancing Authority Area where the ancillary service is to be delivered/provided. 


	ANC_SERVICE_POINT
	Optional
	Identifies the a specific service point within the CONTROL_AREA where the ancillary service is to be delivered/provided.


	SERVICE_INCREMENT
	Required
	Identifies the increment of service being requested.


	AS_TYPE
	Required
	Identifies the specific type of ancillary service being requested.


	POSTING_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  



	SALE_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  



	REQUEST_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  



	DEAL_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  



	EFFECTIVE_START_TIME
	Required
	Identifies the overall beginning of the time interval for the service being requested. 



	EFFFECTIVE_STOP_TIME
	Required
	Identifies the overall end of the time interval for the service being requested. 



	CEILING_PRICE
	Must be null
	Returned in response.



	PRICE_UNITS
	Must be null
	Returned in response.



	NEGOTIATED_PRICE_FLAG


	Must be null
	Returned in response.



	SELLER_NAME
	Must be null
	Returned in response.



	SELLER_PHONE
	Must be null
	Returned in response.



	SELLER_FAX
	Must be null
	Returned in response.



	SELLER_EMAIL
	Must be null
	Returned in response.



	TIME_OF_LAST_UPDATE


	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSAncillaryService Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	SELLER_CODE
	Required


	Registered Entity Code associated with the seller of the ancillary service.


	SELLER_DUNS
	Required


	Registered DUNS associated with the seller of the ancillary service.


	CONTROL_AREA
	Required
	Identifies the Balancing Authority Area where the ancillary service is to be delivered/provided. 


	ANC_SERVICE_POINT
	May be null
	Identifies the a specific service point within the CONTROL_AREA where the ancillary service is to be delivered/provided.


	SERVICE_INCREMENT
	Required
	Identifies the increment of service being requested.


	AS_TYPE
	Required
	Identifies the specific type of ancillary service being requested.


	POSTING_REF
	May be null
	Optional identifier set by the Transmission Customer to track requests.  



	SALE_REF
	May be null
	Optional identifier set by the Transmission Customer to track requests.  



	REQUEST_REF
	May be null
	Optional identifier set by the Transmission Customer to track requests.  



	DEAL_REF
	May be null
	Optional identifier set by the Transmission Customer to track requests.  



	EFFECTIVE_START_TIME
	Required
	Identifies the overall beginning of the time interval for the service being requested. 



	EFFFECTIVE_STOP_TIME
	Required
	Identifies the overall end of the time interval for the service being requested. 



	CEILING_PRICE
	Required
	Identifies the Transmission Provider’s tariff price for the service.



	PRICE_UNITS
	Required
	Identifies the units of price for the service.



	NEGOTIATED_PRICE_FLAG


	May be null
	Set to “L” if the Seller accepted Price is lower than the posted offer price. Set to “H” if Seller accepted Price is higher than the posted offer price.  Otherwise set to null.


	SELLER_NAME
	May be null
	Contact name for the Seller.



	SELLER_PHONE
	May be null
	Contact phone number for the Seller.



	SELLER_FAX
	May be null
	Facsimile number for the Seller.



	SELLER_EMAIL
	May be null
	Email address for the Seller.



	TIME_OF_LAST_UPDATE


	Required
	Date/time the information associated with the template was last updated.


	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.17
NITS Ancillary Service Capacity (NITSAncillaryCapacity) [Optional]
The NITSAncillaryCapacity Data Template defines the capacity and price associated with a request to procure an ancillary service under the NITS Application.  The information supplied in this Data Template must simultaneously be made available for query and update using either the NITS Templates defined here or the applicable General OASIS and PTP Templates as specified in Business Practice Standard WEQ-002-4.

The START_TIME/STOP_TIME intervals specified with this template must be within and span continuously over the EFFECTIVE_START_TIME and EFFECTIVE_END_TIME of the associated network resource designation or termination being requested.  Intervals where no capacity is to be supplied must be indicated with a zero value for CAPACITY.  Multiple data records may be submitted with this template to represent a profile of capacity and/or price for the service being arranged.  

Updates to the data specified within this Data Template may only be submitted while the associated AddNITSAncillary request has the STATUS of PRESUBMITTED or COUNTEROFFER. The use of the STATUS of DEFICIENT is not supported for these requests.  On update, the full profiled capacity and price must be restated and will replace the existing profiled capacity in its entirety.
If the AddNITSAncillary request has been set to COUNTEROFFER, the Transmission Customer may submit an update to the associated BID_PRICE and either REBID the request, or confirm the requested service.  OASIS will block any attempt to set the AddNITSAncillary request to CONFIRMED if the BID_PRICE and OFFER_PRICE are not equal over all points in time.  Negotiation of capacity is not supported for ancillary services.
NITSAncillaryCapacity Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	CAPACITY
	Required


	The volume of service being requested over the start/stop interval.


	BID_PRICE
	Required


	The Transmission Customers price bid for purchase of the ancillary service.


	
	
	


	START_TIME
	Required
	Identifies the start of the interval of service requested at a given capacity and price. 



	STOP_TIME
	Required
	Identifies the end of the interval of service requested at a given capacity and price. 



	OFFER_PRICE
	Must be null
	Returned in response. 



	TIME_OF_LAST_UPDATE


	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




NITSAncillaryCapacity Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	CAPACITY
	Required


	The volume of service being requested over the start/stop interval.


	BID_PRICE
	Required


	The Transmission Customers price bid for purchase of the ancillary service.


	OFFER_PRICE
	May be null
	The Seller’s offered price for service. 


	START_TIME
	Required
	Identifies the start of the interval of service requested at a given capacity and price. 



	STOP_TIME
	Required
	Identifies the end of the interval of service requested at a given capacity and price. 



	TIME_OF_LAST_UPDATE


	Required
	Date/time the information associated with the template was last updated.


	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.18
PTP Transmission Service (PTPService)

The PTPService Data Template may be supplied to specify the nature of the PTP transmission service requested for concomitant evaluation under the NITS Application.  The information supplied in this Data Template must simultaneously be made available for query and update using either the NITS Templates defined here or the applicable General OASIS and PTP Templates as specified in Business Practice Standard WEQ-002-4.

Arrangements for PTP service in a concomitant request are limited to services provided directly by the NITS Transmission Provider.  All SELLER_* related data elements shall be derived from basic information registered by the Transmission Provider on their OASIS node.  
The REASSIGNMENT_* Data Elements are not supported by the NITS Templates.  Any arrangement of transmission services on the secondary market between Transmission Customers must be conducted using the mechanisms provided for in Business Practice Standard WEQ-002-4.  The IMPACTED and COMPETING_REQUEST_FLAG Data Elements are only applicable to CONFIRMED reservations and are not supported in the NITS Request templates.
Updates to the data specified within this Data Template may only be submitted while the associated AddPTPService request has the STATUS of PRESUBMITTED.  While the request remains PRESUBMITTED, all Data Elements marked as “Returned in response” will be null with the exception fo TIME_OF_LAST_UPDATE.  The use of the STATUS of DEFICIENT is not supported for the AddPTPService requests.

The amount of transmission capacity and price for service being requested over time must be specified by the Transmission Customer using the PTPCapacity Data Template.  The EFFECTIVE_START_TIME and EFFECTIVE_STOP_TIME specified in this PTPService template must span the full period of time service is being requested.

PTPService Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	PATH_NAME
	Required*

	Transmission Provider path for the transmission service to be provided; if null, POR and POD must be specified.


	POINT_OF_RECEIPT
	Required*

	Point of receipt on Transmission Provider’s system for transmission service to be provided; if null, PATH_NAME must be specified.



	POINT_OF_DELIVERY
	Required*
	Point of delivery on Transmission Provider’s system for transmission service to be provided; if null, PATH_NAME must be specified.



	SOURCE
	Optional
	Optionally identifies the location of the generation source.


	SINK
	Optional
	Optionally identifies the location of the ultimate load.


	SERVICE_INCREMENT
	Required
	Identifies the increment of service being requested as dictated by the Transmission Provider’s service definitions.


	TS_CLASS
	Requried
	Identifies the class of transmission service being requested as dictated by the Transmission Provider’s service definitions.


	TS_TYPE
	Required
	Identifies the type of transmission service being requested as dictated by the Transmission Provider’s service definitions.


	TS_PERIOD
	Required
	Identifies the period of transmission service being requested as dictated by the Transmission Provider’s service definitions.



	TS_WINDOW
	Required
	Identifies the window of transmission service being requested as dictated by the Transmission Provider’s service definitions.



	TS_SUBCLASS
	Optional
	Optional sub-class of service as dictated by the Transmission Provider’s service definitions.



	ANC_SVC_LINK
	Optional
	Identifies any associated ancillary service requests or reservations that should be requested or are supplied in support of the transmission service requested.



	POSTING_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  



	SALE_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  



	REQUEST_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  



	DEAL_REF
	Optional
	Optional identifier set by the Transmission Customer to track requests.  



	CG_STATUS
	Optional
	Optional identifier set to indicate the transmission request is a coordinated request.



	EFFECTIVE_START_TIME
	Required
	Identifies the overall beginning of the time interval for the service being requested. 



	EFFFECTIVE_STOP_TIME
	Required
	Identifies the overall end of the time interval for the service being requested. 



	NERC_CURTAILMENT_PRIORITY


	Must be null
	Returned in response.



	OTHER_CURTAILMENT_PRIORITY


	Must be null
	Returned in response.



	CEILING_PRICE
	Must be null
	Returned in response.



	PRICE_UNITS
	Must be null
	Returned in response.



	ANC_SVC_REQ
	Must be null
	Returned in response.



	NEGOTIATED_PRICE_FLAG


	Must be null
	Returned in response.



	SELLER_REF
	Must be null
	Returned in response.



	SELLER_NAME
	Must be null
	Returned in response.



	SELLER_PHONE
	Must be null
	Returned in response.



	SELLER_FAX
	Must be null
	Returned in response.



	SELLER_EMAIL
	Must be null
	Returned in response.



	CUSTOMER_NAME
	Must be null
	Returned in response.



	CUSTOMER_PHONE
	Must be null
	Returned in response.



	CUSTOMER_FAX
	Must be null
	Returned in response.



	CUSTOMER_EMAIL
	Must be null
	Returned in response.



	PRIMARY_PROVIDER_PROVISIONS


	Must be null
	Returned in response.



	CG_DEADLINE
	Must be null
	Returned in response.



	CONCOMITANT_EVAL_FLAG
	Must be null
	Returned in response.



	TIME_OF_LAST_UPDATE


	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




PTPService Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	PATH_NAME
	Required


	Transmission Provider path for the transmission service to be provided. 



	POINT_OF_RECEIPT
	Required


	Point of receipt on Transmission Provider’s system for the transmission service to be provided.



	POINT_OF_DELIVERY
	Required
	Point of delivery on Transmission Provider’s system for the transmission service to be provided.



	SOURCE
	May be null
	Optionally identifies the location of the generation source.


	SINK
	May be null
	Optionally identifies the location of the ultimate load.



	SERVICE_INCREMENT
	Required
	Identifies the increment of service being requested as dictated by the Transmission Provider’s service definitions.



	TS_CLASS
	Requried
	Identifies the class of transmission service being requested as dictated by the Transmission Provider’s service definitions.



	TS_TYPE
	Required
	Identifies the type of transmission service being requested as dictated by the Transmission Provider’s service definitions.



	TS_PERIOD
	Required
	Identifies the period of transmission service being requested as dictated by the Transmission Provider’s service definitions.



	TS_WINDOW
	Required
	Identifies the window of transmission service being requested as dictated by the Transmission Provider’s service definitions.



	TS_SUBCLASS
	May be null
	Optional sub-class of service as dictated by the Transmission Provider’s service definitions.



	ANC_SVC_LINK
	May be null
	Identifies any associated ancillary service requests or reservations that should be requested or are supplied in support of the transmission service requested.



	POSTING_REF
	May be null
	Optional identifier set by the Transmission Customer to track requests.  



	SALE_REF
	May be null
	Optional identifier set by the Transmission Customer to track requests.  



	REQUEST_REF
	May be null
	Optional identifier set by the Transmission Customer to track requests.  



	DEAL_REF
	May be null
	Optional identifier set by the Transmission Customer to track requests.  



	CG_STATUS
	May be null
	Optional identifier set to indicate the transmission request is a coordinated request.



	EFFECTIVE_START_TIME
	Required
	Identifies the overall beginning of the time interval for the service being requested. 



	EFFFECTIVE_STOP_TIME
	Required
	Identifies the overall end of the time interval for the service being requested. 



	NERC_CURTAILMENT_PRIORITY


	May be null
	NERC TLR Curtailment Priority for service requested.



	OTHER_CURTAILMENT_PRIORITY


	May be null
	Alternate curtailment priority specific to Transmission Provider defined procedures.



	CEILING_PRICE
	May be null
	Maximum tariff rate for service requested.



	PRICE_UNITS
	May be null
	Units for price of service.



	ANC_SVC_REQ
	May be null
	Ancillary service requirements for service requested.



	NEGOTIATED_PRICE_FLAG


	May be null
	Returned in response.



	SELLER_REF
	May be null
	Optional Transmission Provider (Seller) assigned reference identifier.



	SELLER_NAME
	May be null
	Contact name for Transmission Provider (Seller).



	SELLER_PHONE
	May be null
	Contact phone number for Transmission Provider (Seller).



	SELLER_FAX
	May be null
	Contact facsimile number for Transmission Provider (Seller).



	SELLER_EMAIL
	May be null
	Contact email address for Transmission Provider (Seller).



	CUSTOMER_NAME
	May be null
	Contact name for Transmission Customer taken from NITS Application NITSCustomer information.



	CUSTOMER_PHONE
	May be null
	Contact phone number for Transmission Customer taken from NITS Application NITSCustomer information.



	CUSTOMER_FAX
	May be null
	Contact facsimile number for Transmission Customer taken from NITS Application NITSCustomer information.



	CUSTOMER_EMAIL
	May be null
	Contact email address for Transmission Customer taken from NITS Application NITSCustomer information.



	PRIMARY_PROVIDER_PROVISIONS


	May be null
	Set if request has specific additional provisions such as rollover rights.



	CG_DEADLINE
	May be null
	For Coordinated Requests only, deadline for providing all required Coordinated Group information via the AuxilaryTransmission template.


	CONCOMITANT_EVAL_FLAG
	Required
	Returned by OASIS as Y/N identifying if the request was submitted for concomitant evaluation by the Transmission Provider using the NewConcomitantRequest template.



	TIME_OF_LAST_UPDATE


	Must be null
	Returned in response.

	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.3.3.19
PTP Transmission Service Capacity (PTPCapacity)
The PTPCapacity Data Template defines the capacity and price associated with a request to procure additional PTP transmission service as a concomitant request under the NITS Application.  The information supplied in this Data Template must simultaneously be made available for query and update using either the NITS Templates defined here or the applicable General OASIS and PTP Templates as specified in Business Practice Standard WEQ-002-4.

The START_TIME/STOP_TIME intervals specified with this template must be within and span continuously over the EFFECTIVE_START_TIME and EFFECTIVE_END_TIME of the associated network resource designation or termination being requested.  Intervals where no capacity is to be supplied must be indicated with a zero value for CAPACITY.  Multiple data records may be submitted with this template to represent a profile of capacity and/or price for the service being arranged.  

Updates to the data specified within this Data Template may only be submitted while the associated AddPTPService request has the STATUS of PRESUBMITTED, or has been acted on by the Transmission Provider to set STATUS to ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or  CR_COUNTEROFFER. The use of the STATUS of DEFICIENT is not supported for these requests.  On update, the full profiled capacity and price must be restated and will replace the existing profiled capacity in its entirety.

If the AddPTPService request has been set to ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or  CR_COUNTEROFFER, the Transmission Customer may submit an update to the associated CAPACITY_REQUESTED and BID_PRICE and either REBID the request, or confirm the requested service.  OASIS will block any attempt to set the AddPTPService request to CONFIRMED if the BID_PRICE and CAPACITY_REQUESTED are not equal to the OFFER_PRICE and CAPACITY_GRANTED over all points in time.
PTPCapacity Data Element List – Request Upload:

	Data Element Name
	Requirement
	Usage

	CAPACITY_REQUESTED
	Required


	The transmission capacity being requested by the Transmission Customer over the start/stop interval.


	BID_PRICE
	Required


	The Transmission Customer’s price bid for purchase of the transmission service.


	
	
	


	
	
	


	START_TIME
	Required
	Identifies the start of the interval of service requested at a given capacity and price. 



	STOP_TIME
	Required
	Identifies the end of the interval of service requested at a given capacity and price. 



	CAPACITY_GRANTED
	Must be null
	Returned in response.




	OFFER_PRICE
	Must be null
	Returned in response. 


	TIME_OF_LAST_UPDATE


	Must be null
	Returned in response.

	RECORD_STATUS
	Must be null
	Returned in template response.



	ERROR_MESSAGE
	Must be null
	Returned in template response.




PTPCapacity Data Element List – Request/Query Response:

	Data Element Name
	Requirement
	Usage

	CAPACITY_REQUESTED
	Required


	The transmission capacity being requested by the Transmission Customer over the start/stop interval.


	BID_PRICE
	Required


	The Transmission Customer’s price bid for purchase of the transmission service.


	
	
	


	
	
	


	START_TIME
	Required
	Identifies the start of the interval of service requested at a given capacity and price. 



	STOP_TIME
	Required
	Identifies the end of the interval of service requested at a given capacity and price. 



	CAPACITY_GRANTED
	May be null
	The transmission capacity that may be accommodated by the Transmission Provider over the start/stop interval. 



	OFFER_PRICE
	May be null
	The Transmission Provider’s price offered for sale of the transmission service.


	TIME_OF_LAST_UPDATE


	Required
	Returned in response.

	RECORD_STATUS
	Required
	Value indicating success/failure of OASIS to process the submitted request; 200 = Success. Only returned in response to Input template upload; not included in Query response.



	ERROR_MESSAGE
	May be null
	Optional error message text describing error encountered in processing the submitted request.  Only returned in response to Input Template upload; not included in Query response.




002-6.4
QUERY/RESPONSE TEMPLATES
The OASIS shall support the following Query Templates for the downloading of NITS related request information and key information associated with all completed NITS Applications.  The information to be returned in the query response is selected by user specified query variables passed as name/value pairs.  The specific set of query variables that must be supported by each Query Template is indicated below.  The handling of query variables specified in the Query Template invocation is dictated by Business Practice Standards WEQ-002-6.2.6.
Query/Response template information returned using the NITS CSV Format (OUTPUT_FORMAT=DATA) consists of a single QUERY record identifying the query template invoked followed by one or more OBJECT records and optional DATA records as applicable for the query executed.  The following table summarizes the NITS Query/Response templates that must be supported by OASIS.  The OASIS browser-based user interface must provide the same functionality as the QUERY templates specified below.  The nature of the presentation of the results of each query is not specified and may vary between OASIS Nodes, but the basic information returned vai the Query/Response template interface must be clearly accessible and viewed through the browser-based OASIS interface.
<insert template table here as in 6.3>

002-6.4.1
Query Template Definitions
The OASIS shall support the following Query Templates for the downloading/viewing of NITS related information.  Query Template information is conveyed via the first record in a NITS CSV Format response returned by OASIS, the QUERY Header Record.

The name of the Query Template invoked shall be identified and returned in the QUERY= field of the NITS CSV Format Query Header Record, e.g., QUERY=QueryDNRList.  The following Data Elements shall be supported by all defined Query Templates, and included in the QUERY Header Record’s Header Data Element List.

Query Template Data Element List – Reponse:

	Data Element Name
	Requirement
	Usage

	VERSION
	Required
	OASIS S&CP Protocol Version for all Template information returned in the response.

	PRIMARY_PROVIDER_CODE
	Required
	Registered Entity Code of the Transmission Provider generating the Template response.

	PRIMARY_PROVIDER_DUNS
	Required
	Registered Entity DUNS of the Transmission Provider generating the Template response.

	RETURN_TZ
	Required
	Time zone used for return of all date/time related template Data Elements in Template response.

	TIME_STAMP
	Required
	Time stamp associated with the OASIS date/time the Template response was generated.


Example Response:

QUERY=QueryNITSRequest,VERSION,PRIMARY_PROVIDER_CODE,PRIMARY_PROVIDER_DUNS,RETURN_TZ,TIME_STAMP↵
,2.0,ATP,123456789,ED, 20110531085302ED,↵
002-6.4.1.1
Query NITS Request Summary (QueryNITSRequest)
The QueryNITSRequest Query Template is used to query the summary status information related to all NITS Requests submitted  that meet the selection criteria specified via the User supplied Query Variables.  The response to the QueryNITSRequest template will consist of one or more NITS Request Object Templates corresponding to each of the unique NITS REQUEST templates that have been submitted on OASIS.   
There are no DATA Template records returned in response to the QueryNITSRequest template.  The QueryNITSRequest Query Response returns only the current Request Template header information with request STATUS, request reference identifiers, etc., for each NITS Request selected based on the user specified Query Variables.  Since there are no DATA Template records in the response, the Request Header information for all like NITS requests will be returned as multiple Object Header data rows, one for each submitted NITS Request.  That is, if there are twenty three AddNITSDNR requests that meet the Query Variable selection criteria, a single NITS Request Object Template record of type OBJECT=AddNITSDNR followed by the Request Header Data Element name list would be returned in the response with twenty three data records immediately following the Object Template Header containing the values corresponding to those Data Element names for each of those selected AddNITSDNR requests.
Information associated with any NITS Requests that are PRESUBMITTED will only be returned to the user associated with the NITS Customer or any of their valid authorized or prospective Agents identified in those requests.  
Summary request information associated with each of the following supported NITS Request Templates may be returned in the QueryNITSRequest NITS Request Object Template response:
NewNITSApplication 
ModifyNITSService

ModifyNITSCustomer

AddNITSAgent

ModifyNITSAgent

AddNITSLoad

ModifyNITSLoad

AddNITSGeneration

ModifyNITSGeneration

AddNITSResource

ModifyNITSResource

AddNITSDNR

TerminateNITSDNR

AddNITSSecondary

TerminateNITSSecondary

AddNITSAncillary

AddPTPService

The following Query Variables may be specified to select which NITS Requests are returned in the query response.  The REQUEST Query Variable may be used to select only specific types of NITS Requests by above Request Template name, e.g., REQUEST=AddNITSDNR returns summary information for all selected AddNITSDNR requests only.  

QueryNITSRequest Query Variables:

REQUEST*

STATUS*

SELLER_CODE*

SELLER_DUNS*

CUSTOMER_CODE*

CUSTOMER_DUNS*
TRANSACTION_REF

ASSIGNMENT_REF

APPLICATION_REF
SALE_REF

REQUEST_REF

DEAL_REF

AFFILIATE_FLAG

CG_STATUS

CONCOMITANT_EVAL_FLAG
EFFECTIVE_START_TIME

EFFECTIVE_END_TIME
START_TIME_QUEUED

STOP_TIME_QUEUED
TIME_OF_LAST_UPDATE
002-6.4.1.2
Query NITS Request Details (QueryNITSRequestDetails)
The QueryNITSRequestDetails Query Template is used to query the details of each submitted NITS Request Template and all associated Data Template information that meet the selection criteria specified via the User supplied Query Variables.  The response to the QueryNITSRequestDetails  template will consist of one or more NITS Request Object Templates corresponding to each of the unique NITS REQUEST templates that have been submitted on OASIS.  

For each NITS Request selected, OASIS will return a single Object Header record identifying the Request Template information being returned followed by a single data record containing the current values associated with each of the NITS Request Object Header data elements.  The current contents of all Data Templates that have been associated with the NITS Request will then be returned in the same format as identified in Business Practice Standard WEQ-002-6.3.3.
Information associated with each of the following supported NITS Request Templates will be returned in the QueryNITSRequestDetails Object Templates:

NewNITSApplication 
ModifyNITSService

ModifyNITSCustomer

AddNITSAgent

ModifyNITSAgent

AddNITSLoad

ModifyNITSLoad

AddNITSGeneration

ModifyNITSGeneration

AddNITSResource

ModifyNITSResource

AddNITSDNR

TerminateNITSDNR

AddNITSSecondary

TerminateNITSSecondary

AddNITSAncillary

AddPTPService

The following Query Variables may be specified to select which NITS Requests are returned in the query response.  The REQUEST Query Variable may be used to select only specific types of NITS Request Objects by above Request Template name, e.g., REQUEST=AddNITSDNR returns summary information for all selected AddNITSDNR requests.  

QueryNITSRequestDetails Query Variables:

REQUEST*

STATUS*

SELLER_CODE*

SELLER_DUNS*

CUSTOMER_CODE*

CUSTOMER_DUNS*

TRANSACTION_REF

ASSIGNMENT_REF

APPLICATION_REF

SALE_REF

REQUEST_REF

DEAL_REF

AFFILIATE_FLAG

CG_STATUS

CONCOMITANT_EVAL_FLAG

EFFECTIVE_START_TIME

EFFECTIVE_END_TIME

START_TIME_QUEUED

STOP_TIME_QUEUED

TIME_OF_LAST_UPDATE

002-6.4.1.3
Query NITS Application Details (QueryNITSApplication)
The QueryNITSApplication Query Template returns composite information on all of the selected components of a completed (CONFIRMED) NITS Application.  This composite information represents the current data maintained for the NITS Application as a whole for the following NITS component Objects based on the set of all NITS Requests that have been CONFIRMED as part of the Initial Application for NITS and all subsequent Modifications to Service applicable:
NITSService

NITSCustomerAgent
NITSLoad

NITSGeneration

NITSResource

NITSDNR

NITSSecondary

NITSAncillary

The following Query Variables may be specified to select which NITS Applications and associated composite information views are returned in the query response.  The OBJECT Query Variable may be used to select only specific types of NITS composite information to be returned in the response by the above Object Template name, e.g., OBJECT=NITSDNR returns all of the current information associated with each valid NITS DNR based on the set of all AddNITSDNR and TerminateNITSDNR requests that have been approved by the Transmission Provider and confirmed by the Network Customer. 

QueryNITSApplication Query Variables:

OBJECT*

SELLER_CODE*

SELLER_DUNS*

CUSTOMER_CODE*

CUSTOMER_DUNS*

APPLICATION_REF

AFFILIATE_FLAG

EFFECTIVE_START_TIME

EFFECTIVE_END_TIME

START_TIME_QUEUED

STOP_TIME_QUEUED

TIME_OF_LAST_UPDATE

002-6.4.1.4
Query NITS Designated Network Resources (QueryNITSDNR)
The QueryNITSDNR Query Template returns summary information on the current set of Designated Network Resources and their corresponding designated capacity over time.  This information is returned in a single NITSDNRList Object Template.
<to be expanded>
QueryNITSDNR Query Variables:

SELLER_CODE*

SELLER_DUNS*

CUSTOMER_CODE*

CUSTOMER_DUNS*

RESOURCE_NAME*

RESOURCE_TYPE*

RESOURCE_CLASS*
POINT_OF_RECEIPT*

SOURCE*
GEN_NAME*
APPLICATION_REF

AFFILIATE_FLAG

START_TIME

END_TIME

002-6.4.1.5
Query NITS Scheduling Rights (QueryNITSSchedulingRights)
The QueryNITSSchedulingRights Query Template returns summary information on the current set of NITS Scheduling Rights available for use in association with deliveries a both Designated and Non-Desginated Network Resources to Network Loads under a CONFIRMED NITS Application.  This summary information is returned in a single NITSSchedulingRights Object Template.

<to be expanded>

002-6.4.2
Object Template Definitions
The following sections describe the specific Object Templates and Object Header data elements associated with each Object that may be returned in response to the supported Query Templates defined above. 

002-6.4.2.1
NITS Request Object Template 
The NITS Request Object Template returns either summary status information or the full detailed information associated with any of the supported Input/Response Request Templates as specified in WEQ-002-6.3.2.

The QueryNITSRequest and QueryNITSRequestDetails template response will include the NITS Request Object Header record identifying each of the NITS REQUEST template submissions matching the specified Query Variable selection criteria by the corresponding Request Template name in the OBJECT= field e.g., OBJECT=AddNITSDNR returns the information associated with the AddNITSDNR Request Template submission. The following Object Header Data Elements will be returned in both the request summary and request details query response:  
Object Template Data Element List – Query Response:

	Data Element Name
	Requirement
	Usage

	TRANSACTION_REF
	May be null


	Returns unique OASIS assigned transaction reference identifier for concomitant requests only; null returned in all other instances. 


	ASSIGNMENT_REF
	Required
	Returns unique OASIS assigned request reference identifier for each request.



	APPLICATION_REF
	Required
	Returns the unique OASIS assigned application reference identifier required to associate request with given NITS Application.

 

	PRECONFIRMED
	Required
	Returns current value for pre-confirmation status of request.



	STATUS
	Required
	Returns current request STATUS value.



	STATUS_COMMENTS
	May be null
	Optional comments set by NITS Customer or Transmission Provider (Seller) to describe action taken in setting STATUS; if null, current value retained.



	CUSTOMER_COMMENTS
	May be null
	Returns current customer comments associated with request.


	PRIMARY_PROVIDER_COMMENTS
	May be null
	Returns any comments associated with request as set by the Transmission Provider.



	SELLER_COMMENTS
	May be null
	Returns any comments associated with the request as set by the Transmission Provider for all but the AddNITSAncillary request which is set by the ancillary service provider.


	SELLER_CODE
	Required
	Set to PRIMARY_PROVIDER_CODE for all but the AddNITSAncillary request which is set to identify the ancillary service provider.



	SELLER_DUNS
	Required
	Set to PRIMARY_PROVIDER_DUNS for all but the AddNITSAncillary request which is set to identify the ancillary service provider.



	CUSTOMER_CODE
	Required
	Set to the NITS Customer’s registered entity code at time of initial submission.



	CUSTOMER_DUNS
	Required
	Set to the NITS Customer’s registered DUNS at time of initial submission.



	AFFILIATE_FLAG
	May be null
	Identifies if the NITS Customer submitting the request is affiliated with the Transmission Provider (Seller); returns null value while request  is PRESUBMITTED.



	TIME_QUEUED
	May be null
	Date/time that the request was submitted as QUEUED; returns null value while request is PRESUBMITTED.



	RESPONSE_TIME_LIMIT
	May be null
	Once submitted and under evaluation by the Transmission Provider, this field may be set by the Transmission Provider with a deadline for customer action dependent on the nature of the request and applicable Business Practices.



	TIME_OF_LAST_UPDATE
	Required
	Date/time the request was last updated, i.e., time OASIS acted on request submission.




The QueryNITSRequest response shall consist of multiple data records containing the above named Data Elements for each NITS Request of a given named Request Template.  There are no associated Data Templates returned in the query response.  For example, if there are five TerminateNITSDNR requests that meet the selection criteria specified in the User supplied query variables, a single Object Header Record for OB JECT=TerminateNITSDNR will be returned followed by five data records containing the above Data Element values for each of the selected NITS Requests.
The QueryNITSRequestDetails response shall consist of a single NITS Request Object Template header followed by a single data record containing the above named Data Element values corresponding to one specific NITS Request.  The Query Template response will then return all the current Data Template information that has been submitted in association with that given NITS Request.  If multiple NITS Requests of the same name, e.g., AddNITSDNR, are to be returned in the query response, each of those individual NITS Requests and the associated Data Template information will be returned in subsequent NITS Request Object Header records and subordinate Data Template records.  The format for the Data Template response information shall be identical to the Input Request Data Template Input/Query Response information as specified in Business Practice Standard WEQ-002-6.3.3, with the exception that the RECORD_STATUS and ERROR_MESSAGE Data Elements will not be included in the Query Template response.
The list of valid Request Object Template names are listed below with the corresponding Data Templates that may be returned in association with each Request Object Template.  The Header Data Elements returned in association with each Request Object Template in response to the QueryNITSRequest or QueryNITSRequestDetails Query Templates are specified in WEQ-002-6.3.2.  The Data Template Data Elements returned in the response to the QueryNITSRequestDetails Query Template are specified in WEQ-002-6.3.3.
NewNITSApplication

NITSServiceDescription


NITSCustomer


NITSAgent
ModifyNITSService

NITSServiceDescription
ModifyNITSCustomer

NITSCustomer
AddNITSAgent

NITSAgent
ModifyNITSAgent

NITSAgent
AddNITSLoad

NITSLoadDescription


NITSLoadForecast*

ModifyNITSLoad

NITSLoadDescription


NITSLoadForecast*
AddNITSGeneration

NITSGenerationDescription


NITSGenerationDispatch* 
ModifyNITSGeneration

NITSGenerationDescription


NITSGenerationDispatch* 
AddNITSResource

NITSResourceDescription


NITSResourceForecast*

ModifyNITSResource

NITSResourceDescription


NITSResourceForecast*
AddNITSDNR

NITSResourceDescription


NITSResourceForecast


NITSResourceDesgination


NITSResourceCapacity


NITSSchedulingRights


AuxiliaryTransmission
TerminateNITSDNR

NITSResourceDesgination


NITSResourceCapacity
AddNITSSecondary

NITSSecondaryService


NITSSecondaryCapacity


AuxiliaryTransmission
TerminateNITSSecondary

NITSSecondaryService


NITSSecondaryCapacity
AddNITSAncillary

NITSAncillaryService


NITSAncillaryCapacity
AddPTPService


PTPService


PTPCapacity


AuxiliaryTransmission
* Information associated with these Data Templates will only be returned in response to a Query executed by a User associated with the NITS Customer or valid Agents under the NITS Application.
002-6.4.2.2
NITS Service Object Template (NITSService)
The NITS Service Object Template returns the current information associated with the NITS Application with regards to the term of service under the NITS Application.  The query response for the NITS Service Object consists of the single NITSServiceDescription Data Template whose returned Data Elements shall be as specified in WEQ-002-6.3.3.1.

Multiple data records may be returned in association with the NITSServiceDescription Data Template reflecting both the initial term of service granted and any subsequent extensions to the term of the NITS Application granted through one or more ModifyNITSService requests.

If specified by the User via the EFFECTIVE_START_TIME and/or EFFECTIVE_STOP_TIME Query Variables, only those NITSServiceDescription Data Records will be returned that overlap the specified period of time of interest.

002-6.4.2.3
NITS Customer/Agent Object Template (NITSCustomerAgent)

The NITS Customer/Agent Object Template returns the current information associated with the NITS Customer responsible under the NITS Application and all the associated Agents, if applicable, that have been approved to act on the Customer’s behalf.  The query response for the NITS Customer/Agent Object shall consist of a single NITSCustomer Data Template whose returned Data Elements shall be as specified in WEQ-002-6.3.3.2 and a single NITSAgent Data Template whose returned Data Elements shall be as specified in WEQ-002-6.3.3.3.

Multiple data records may be returned in association with the NITSCustomer Data Template reflecting both the initial Customer responsible under the NITS Application as well as any subsequent modifications to that Customer’s contact information or change in Customer responsibility under the NITS Application as granted through one or more ModifyNITSCustomer requests.

Multiple data records may be returned in association with the NITSAgent Data Template reflecting both the initial Agent(s) authorized by the Customer  under the NITS Application as well as any subsequent modifications or additions made to the valid Agents authorized under the NITS Application as granted through one or more ModifyNITSAgent or AddNITSAgent requests.

If specified by the User via the EFFECTIVE_START_TIME and/or EFFECTIVE_STOP_TIME Query Variables, only those NITSCustomer and  NITSAgent Data Records will be returned that overlap the specified period of time of interest.

<Continue the above types of descriptions for each of the following composite ‘objects’ that are maintained in association with the (confirmed) NITS Application.>
NITSLoad

NITSGeneration

NITSResource

NITSDNR

NITSSecondary

NITSAncillary

002-6.4.2.10
List of NITS Designated Network Resources (NITSDNRList)
The NITSDNRList Object Template returns information on all of the current Designated Network Resources and their designated capacity meeting the selection criteria specified  by User supplied Query Variables over the time frame selected, if applicable.  There are no Data Templates defined in association with the NITSDNRList Object Template.

The following Object Header Data Elements will be returned for each DNR meeting the query selection criteria:

Object Template Data Element List – Query Response:

	Data Element Name
	Requirement
	Usage

	APPLICATION_REF
	Required
	Returns the unique OASIS assigned application reference identifier for the NITS Application.

 

	SELLER_CODE
	Required
	Set to PRIMARY_PROVIDER_CODE for all but the AddNITSAncillary request which is set to identify the ancillary service provider.



	SELLER_DUNS
	Required
	Set to PRIMARY_PROVIDER_DUNS for all but the AddNITSAncillary request which is set to identify the ancillary service provider.



	CUSTOMER_CODE
	Required
	Set to the NITS Customer’s registered entity code at time of initial submission.



	CUSTOMER_DUNS
	Required
	Set to the NITS Customer’s registered DUNS at time of initial submission.



	AFFILIATE_FLAG
	Required
	Identifies if the NITS Customer submitting the request is affiliated with the Transmission Provider (Seller).


	RESOURCE_NAME
	Required


	Unique name associated with a Customer’s NITS Resource that has been designated. 


	RESOURCE_CLASS
	Required
	Identifies the nature of the DNR as either ON_SYSTEM or OFF_SYSTEM.



	RESOURCE_TYPE


	Required
	Identifies the nature of the DNR as either GENERATION or EXECUTED_PPA or CONTINGENT_PPA.



	RESOURCE_AREA


	Required
	Identifies the Balancing Authority Area hosting the DNR if RESOURCE_TYPE=GENERATION, i.e., the generator’s electrical location, or the BAA where the NITS Customer assumes responsibility for the energy if RESOURCE_TYPE=EXECUTED_PPA or CONTINGENT_PPA..



	GEN_NAME
	Required*
	Required if the DNR has been identified with RESOURCE_TYPE=GENERATION.  Identifies the generation asset by either the asset GEN_NAME or an associated aggregate GEN_GROUP that has been designated.

 

	GEN_LOCATION
	Required*
	Required if the DNR has been identified with RESOURCE_TYPE=GENERATION.  Identifies the geographic location of the generation asset if the DNR is designated from a specific generation asset, or “AGGREGATE” if the DNR is associated with an aggregate GEN_GROUP.


	GEN_MAX_CAPACITY
	Required
	Maximum total generating capacity of the asset.  If a jointly owned facility, this represents the maximum share of the capacity of the generation asset.  If the DNR is associated with an aggregate GEN_GROUP, this represents the sum of all generation capacity for all generation assets that are in the GEN_GROUP.



	POINT_OF_RECEIPT


	Required
	Identifies the point of receipt on the Transmission Provider’s system for delivering energy from the DNR to NITS Load.



	SOURCE
	May be null
	Identifies the source point name to be used in scheduling deliveries from the DNR.  Transmission Provider may require use of a specific SOURCE in association with the DNR.  



	CAPACITY_DESIGNATED
	Required
	Total MW capacity associated with the DNR that may be used at the POINT_OF_RECEIPT over the START/STOP time interval.



	START_TIME
	Required
	Identifies the beginning of the time interval for the capacity designated.



	STOP_TIME
	May be null
	Identifies the end of the time interval for the capacity to designated.




�Included all suggested changes from SOCO to change usage of HTML to Browser-based (forms).  These changes are listed in track changes but are also formatted in hard redline font/color so the specific changes requested will hopefully not be lost in final form.


�Need to ensure that the definition of Assignment Reference Number can include the “unique identifier” referenced in the WEQ-001-100 standards. We will not create a new series of numbers.


�The following information highlighted in gray will not appear in the final recommendation.  This information is retained to provide guidance to the development of the final standard recommendation to insure areas noted are addressed.


�Process, Process, and SubProcess names should probably not be in template name format.


�We need to modify the WEQ-003 RELATED_REF description


�We need to modify the WEQ-003 RELATED_REF description





11-16-2010 – Need to address how to get a RELATED_REF for the Application when the Application has not yet been submitted and, therefore, does not have an AREF.


�We need to modify the WEQ-003 RELATED_REF description


�We need to modify the WEQ-003 RELATED_REF description


�We need to modify the WEQ-003 RELATED_REF description


�We need to modify the WEQ-003 RELATED_REF description


�We need to modify the WEQ-003 RELATED_REF description


�Need to make sure that this data element definition is broad enough to work for both off-system point to point and off-system network service (including external TP systems that use the NSR and external TP systems that don’t use the NSR).


�Null would be a valid value





Is this technically feasible? If tech team responds this would be difficult or impossible, we will drop this data element.


�Need conceptual discussion with entire subcommittee to determine whether this template is needed, required, etc.


�Does this have to be a separate Data Element, or could the customer attach a document to GEN_ATTRIBUTE?


�Does this have to be a separate Data Element, or could the customer attach a document to GEN_RESTRICTION_ATTRIBUTE?





�Does this have to be a separate Data Element, or could the customer attach a document to GEN_RESTRICTION_ATTRIBUTE?





�The nits load additional information template is designed to provide more information about the loads in the nits load template. This reference number is the ASSIGNMENT_REF of the record in the nits load template.


�The nits load additional information template is designed to provide more information about the loads in the nits load template. This reference number is the ASSIGNMENT_REF of the record in the nits load template.


�As noted in prior discussions, the following is entirely new WEQ-002 standards and will be shown as redline additions in final form.  All changes that were in the April 19 posted version of these standards have been accepted and only new additions and changes discussed during the May 12-13 call and later are shown in track changes.


�Should we consider simplifying the OASIS interface such that methods are limited to using the UI or using the CSV template interface and not allow for the return of an HTML formatted response to a csv upload?  





Most agreed to not bother with the OUTPUT_FORMAT=HTML option of input/response templates.





05/24/2011 – Reviewed and OS agreed.


�For informal comment: should the requirement to explicitly specify the above query variables be soften to allow default values to be assumed when they can be implied by context.  If we do male some of these query variables optional, should a similar relaxation of rules in the PTP template section.


�Do we want to loosen up a bit on the requirement to include





05/24/2011 – OS Agreed.  Add in PROVIDER from URL and RETRUN_TZ from provider defaults.





�Added this because we never specified how to handle such conditions, and this should avoid some frustrations on differing implementations of template interface.





05/24/2011 – OS Agreed.


�Depending on how granular the final DATA template definitions are set, may not need this description.  That is, each and every set of data elements that could be grouped into continuation records may be defined as their own unique template structure without any extraneous data elements.





05/24/2011 – OS Agreed.


�Alternative “Subject” format could take the form of  comma separated name/value pairs: REQUEST=DesignateNITSResource, APPLICATION_REF=718, REQUEST_REF=245, STATUS=ACCEPTED.





Recommending using the name/value representation since it looks less cryptic.





05/24/2011 – OS Agreed.


�05/26/2011 - SELLER_COMMENTS and STATUS_COMMENTS were added into the request header elements, so now all PTP template comments data elements available for NITS.


�Will determine if use of an Aref is required or applicable in handling of DNRs and firm network transmission rights.





05/24/2011 – OS agreed to replace the use of the REQUEST_REF data element and use the ASSIGNMENT_REF element.


�Do we want to continue the FERC stipulation of fixed number and sequence.  If moving to XML, one would simply mark the XML Tag as optional and if no value is to be supplied it is simply not included.  Should we do the same at least for the input portion of the template, i.e., that column data elements not submitted may be left out of the header record? 





5/24/2011 – OS agreed to pull this requirement.





05/25/2011 – Discussed implications of removing the fixed in number and sequence with developers.  There is concern that without the order fixed, performance of parsers implemented for processing templates could be an issue.  Recommendation was to keep the input order the same; also discussed the previous descision on including all template data elements on input as returned in response.  There was no real benefit perceived in doing this and still could ‘re-use’ the response template format for both the response to upload and response to query (which was one reason for trying to get a uniform upload/dopwnload list of elements).  Suggest that OS reconsider and have taken the following actions in this update:  All customer supplied input is listed first followed by all TP or OASIS supplied data elements after.  We can then simply delete all the input data elements that are ‘Returned in response’ if we want to shorten the upload data requirements.


�This table will need to be revised to reflect all templates removed or added as development of this standard progresses.





5/12/11 reviewed template


�05/19/2011 – Changed the name of this template such that it could be used for both the external rights supporting DNR but also coordinate requests that comprise a coordinated group for Secondary and PTP service requests.


�05/19/2011 – Changed the name of this template such that it could be used for both the external rights supporting DNR but also coordinate requests that comprise a coordinated group for Secondary and PTP service requests.





05/24/2011 – OS agreed.


�05/19/2011 – Changed the name of this template such that it could be used for both the external rights supporting DNR but also coordinate requests that comprise a coordinated group for Secondary and PTP service requests.





05/24/2011 – OS agreed.


�05/19/2011 – Changed the name of this template such that it could be used for both the external rights supporting DNR but also coordinate requests that comprise a coordinated group for Secondary and PTP service requests.





05/24/2011 – OS agreed.


�05/19/2011 – Changed the name of this template such that it could be used for both the external rights supporting DNR but also coordinate requests that comprise a coordinated group for Secondary and PTP service requests.





05/24/2011 – OS agreed.


�Business Practices provide for ability to ‘clone’ an existing application into a new workspace.  Questions are how to accomplish this with templates.  Also question if on final submission as queued, is the entire application workspace copied to formal submission, or is the workspace itself transformed into the QUEUED application (thoughts up to now had been the latter).  Advantage of giving out real application refs and request refs is once submitted as queued, they don’t change.  Other option is to give them pre-submittal values which then have to be morphed into the final OASIS submission reference numbers.





To clone a workspace, could consider allowing the user to input an application ref and that on its own is a request to clone the entire existing app information into the workspace.  The problem here is you have to return to user a full set of request references that are re-assigned for the new workspace.  Alternative is that customer must give the request ref values.  Request ref values could be app_ref.request_ref together.





Problem comes if you want to clone a confirmed application.  What is cloned to workspace?  The completed app is a reflection of many requests over time to add/release resource designation, etc.   To decide how to morph that into a request workspace is very difficult.





Maybe better approach is that treat the presubmitted stuff like a tag template.  You can duplicate a template and edit it, but the template is nothing until submitted as a tag.  Then I think you need stuff like NewNITSTemplate for presubmittal stuff and NewNITSApplication/NewNITSRequest to submit the template as queued. Difficult decision.


�Need to include a mechanism to delete a request.  Also need way to allow customer to copy all or portion of existing application and/or requests back into presubmitted state.  This means that APPLICATION_REF and REQUEST_REF are not ‘official’ until QUEUED.





4/8/11 Pete Lee was going to incorporate DELETED STATUS off PRESUBMITTED.


�05/19/2011 – Added this exception so we could handle the coordinated group information similarly to how it is documented for PTP in the SAMTS recommendation.





�Should consider whether some other type of  request structure should be implemented similar to the concept of the NITS Application where confirming the  NITS Application request confirms all the individual requests submitted for concomitant evaluation.  Problem gets more difficult if have to support the possible negotiation of individual pieces within the  group = difficult to keep requests locked together and difficult for the TP’s evaluation.  Should/can group consider that the whole lot goes confirmed or denied with no partial service counteroffer or rebidding supported?





5/17/2011 – Need more description on restrictions here.  The AddNITSDNR request can go deficient and needs mechanisms to update the data templates associated,  The WEQ-107 BPs seem to indicate that concomitant requests can’t also be ‘coordinated requests’.  If that is true, need to revise the template summary table to remove the CoordinatedGroup stuff from AddNITSSecondary and AddPTPService.





05/24/2011 Add more descriptioin; coordinated requests are to be supported.


�05/24/2011 OS Agreed to changing name from REQUEST_REF to ASSIGNMENT_REF.


�05/19/2011 – Realized that REQUEST_REF is already used as a Customer supplied reference number in the PTP and ancillary request templates.  Also have added in requirement that REQUEST_REF as used here had to be unique to all other OASIS assigned ASSIGNMENT_REF values such that it could be used directly in the concomitant PTP and ancillary requests that are submitted under NITS.   So, alternative is to defined yet a another data element name for this usage or just flip all instances of REQUEST_REF in this section to ASSIGNMENT_REF.





05/24/2011 – OS agreed to use of ASSIGNMENT_REF.


�05/20/2011 – Added this just for completeness so we could have all data elements in PTP and AS templates accounted for in NITS templates.





05/24/2011 – OS Agreed to include this data element.





�05/20/2011 – Added the SELLER_COMMENTS and next 4 elements to request header in anticipation that when we write query templates to fetch request status or even request details, have the ID of who the TP and TC are  without having to infer this for TP from the node being queries and for the TC to drill into the NITS Application NITSCustomer template info.  In OASIS UI it would be easy to provide this info, but if just look at  a set of AddNITSDNR requests, would have to look into each application to fish out who the TC is.





We should debate merits of this information being supplied in the request template and whether we really want the comments fields to be up in the request header info (simply from data field length perspective).  Reserve the right to change my mind again after we workout the query template structures.





05/24/2011 - OS okay with working version of this information.





�05/19/2011 – Added this flag to general request header information so a query of requests status info would show you the STATUS and AFFILIATE_FLAG without having to drill into request or customer details.  Alternative would be to place this in only specific requests where it may be deemed really important – AddNITSDNR, AddPTPService, etc.





05/24/2011 OS agreed.


�Data element omitted and required to be able to advise customers of deadlines for actions.  





For SAMTS recommendation, informal comment will be submitted requesting that the added CR_SUBMIT_DEADLINE is not required and one can use the RESPONSE_TIME_LIMIT data element to serve the purpose proposed for this additional data element.





5/17/2011 – May have to add CG_DEADLINE for the 24 hour submission of coordinated group info.  Would be nice if we could agree to place this in the DATA template to avoid adding more to the REQUEST header, or agree that can use RESPONSE_TIME_LIMIT for this deadline.





5/24/2011 - OS agreed


�05/19/2011 – Changed Data Element name since its use corresponds more to whether the request as a whole was successful.  Have not included mechanisms where OASIS would flag specific Data Template record errors; requests are only successful when all supplied data is valid.





5/24/2011 – OS Agree.





�Need to decide on convention for information returned in response to any request.  Current templates were specified to return an echo of the input data with only error information added or in some cases returned ASSIGNMENT_REF.  Two alternatives that may be considered: 1) Return current values of any data elements supplied in the input as opposed to the values of those elements.  2) Return the full set of template information as it current exists just as would be returned for a query of that information.





Advantage of first option was it did not depend on OASIS actually acting on the template submission, only validating and echoing the submitted data.  Advantage of the second option is that user actually has the current set of information associated with a given request.





4/5/11 OASIS Subcommittee – Selected Option 2


�Included this and above three fields in request header to keep the header data values inclusive of the types of information we should consider to include in shortened ‘QueryReqeustStatus’ template that would be short form for polling for information without returning lots of the data associated with the request – that would be fetched using a QueryRequestDetails type template.





Also have a question as to whether we should make the data elements on input and in response identical to ease some formatting concerns.  For example, should it be possible to query a request for all information, edit that response and resubmit as an update?  Can’t do that today with transstatus and transcust for instance. 





4/5/11 OASIS subcommittee – make identical





05/25/2011 – Propose to reconsider this


�05/19/2011 – see above.


�Fix this once template elements finalized.


�Need new status so that the customer has an option other than PRESUBMITTED or QUEUED so that this information is not queued along with the application.





4/8/11 Pete Lee to include DELETED in new state diagrams.


�Is there a WEQ-001 citation that should be added here?  4/5/11 OASIS subcommittee.


�Should this be limited to only the TC or the Agent themselves?





05/24/2011 – OS agreed that active agent should be allowed to do anything.


�Move to WEQ-001.  Barbara will make a recommendation for location & wording.  Also see 6.3.3.4.


�Move to WEQ-001.  Barbara will make a recommendation for location & wording. Also see 6.3.3.4.


�This is important concept.  Rather than allowing for adds and subtracts to existing load designation, this section is requiring the customer to restate the TOTAL load designated at point in time.  This seems reasonable for loads as the amount designated would not seem to be subject to the volatility of resource designations over time.





4/5/11 OASIS subcommittee agrees with the concept.


�Discussions have been extensive on registration/association of generating assets with NITS Applications.  Most generic was that generation was defined outside context of  NITS as something that an owner/operator was responsible for, to current trend that each NITS had to define the generation for that application  - even if its same asset.  Other discussions included an ability to aggregate asset info and various levels depending on how Customer wanted to treat it – units rolled up into plants;plants rolled up into (sub)-fleets; etc.  Other point to discuss is whether any of this information should be disclosed to any party other then the Customer itself and TP – if so should we not go very far in setting templates that may never be used in practice? 





One thing if it is deemed required – if aggregation of assets is a good thing to support, should that aggregation be done in defining the generation, OR, should we require that generation be defined at say lowest level required for operations (unit or maybe plant), and the aggregation is done when defining the ‘resource’?  This dictates if such aggregation is communicated here or in the resource related templates.  Also, to what extent should there be any enforced verification that sum of capacity declared in resources does not exceed capacity of the generation asset?  Or, should just let the attestation requirement put onus of placing this back on customer and TP just collects the info and makes determination if  they have the info required to reliably run system?





4/5/11 OASIS Subcommittee – facilitate the designation of a resource at an system level but also facilitate designation of a resource at the lower level (plant or unit).





4/12/2011 PRS: Started with the simpler approach that a given generation asset can be assigned to one and only one aggregate group.  When a resource is designated or terminated it may specify either the GEN_NAME (asset specific) or aggregate group name.


�Is this an important verification for referential integrity?  Or is it simply sufficient that any resource that refers to generation has that generation’s characteristics established at the time the resource is declared?





4/5/11 OASIS Subcommittee believes that verification is appropriate and the TP may deny a request if it fails validation.


�In discussion with OS, may need to have the ability to refer to multiple generation assets to define the resource – for slice of system or fleet resources for native load.  If you are declaring the resource do you also have to declare the max capacity of each gen asset that can contribute to the resource?





4/10/2011 PRS: Added the NITSGenerationAggregate template to allow declaration of a GEN_NAME that is comprised of other generation assets.


4/5/11 OASIS Subcommittee - �Key concept has to be supported that would allow a resource to be designated as a ‘system’ or ‘fleet’ resource, but undesignated on a gen unit or plant basis.   When designate at system level of n MWs and then undesignated that resource on plant/unit basis, want the total system designation to drop in amount undesignated (terminated).





05/12/11 reviewed section


�05/12/11 reviewed paragraph.





05/18/2011 Additional clarification added here and in request template header elements that REQUEST_REF must be unique with Arefs.  May need changes to CG* templates for SAMTS to properly convey NITS requests from ‘reservations’ (rights).





05/19/2011 Realized we have a conflict in use of REQUEST_REF data element.  Need either a new name or simply use ASSIGNMENT_REF in place of REQUEST_REF.





05/24/2011 – OS agreed to change REQEUST_REF to ASSIGNMENT_REF so do not need this statement.


�05/12/11 reviewed paragraph


�4/13/2011 PRS: Including option for customer to request transmission in amount needed to deliver to load.  Think in most cases though all information necessary has already been supplied – resource has POR/SOURCE, load has POD/SINK and DNR capacity stated, so have all data needed to make the assessment of deliverability except in cases that have different defined paths for same POR/POD pair.  How prevalent is this case?  Point being that seems most likely the scheduling rights for NITS are outcome of evaluation and are asked for implicitly by the act of designating the resource.





NOTE that none of this information is speaking to how one assesses or impacts ATC/AFC for the NITS Application and the final mix of DNRs and DNLs.  Or how one would provide information on those impacts if required.





05/12/11 reviewed paragraph


�General question for group is whether there really is any legitimate reason that a DNR would be counteroffered and not taken at requested capacity?   This may be stepping into the role of the NSR concept where the transmission service for delivery of the DNR is limited but the designation is still accepted at its attested to capacity.





05/12/11 reviewed paragraph


�05/24/2011 – OS agreed.


�05/24/2011 – OS Agreed.


� 4/5/11 OASIS Subcommittee -- Is this adequate information to delete NSR template?





4/11/2011 PRS: Modified Data Template names so the same template could be used in the NITS Secondary requests.


�05/19/2011 – Changed name of this data template such that it could be used for both general reporting of existing reservations used in support of NITS, but also used for supplying requests and reservations that represent a coordinated group.





05/24/2011 – OS agreed.


�05/12/11 reviewed section


�Should we make this limitation?  Initial NITS Application lines up all firm services.  Once confirmed, Customer is free to line up non-firm services.





05/24/2011 – OS agreed.


�05/24/2011 – Added statement.





�05/12/11 reviewed paragraph.





05/18/2011 Additional clarification added here and in request template header elements that REQUEST_REF must be unique with Arefs.  May need changes to CG* templates for SAMTS to properly convey NITS requests from ‘reservations’ (rights).


�05/19/2011 – Per restriction set forth in AddNITSSecondary.


�05/19/2011 – This paragraph assumes that we will maintained a summed total of available secondary service over given Source/POR, Sink/POD and Path.  Alternative is to force the termination of secondary by Aref, where Aref points to a confirmed AddNITSSecondary request.  In some respects this is easier and makes secondary service more akin to PTP service.  My preference is to not make customer track all the pieces parts of the secondary requests and schedule against an aggregate type of capacity like we are (or at least I am) proposing for DNRs.  Thoughts from OS?





05/24/2011 – Need more time to think on this one.  Duke preferred tracking by aref, BPA wanted time to think.


�05/20/2011 – Should we drop the “NITS” from the template name, i.e., call it AddAncillaryService, as is proposed for the AddPTPService?  We would have the following:


AddAncillaryService with the Dat Templates AncillaryService and AncillaryCapacity.


�05/24/2011 – Should we block use of DEFICIENT.


�05/12/11 reviewed paragraph.





05/18/2011 Additional clarification added here and in request template header elements that REQUEST_REF must be unique with Arefs.  May need changes to CG* templates for SAMTS to properly convey NITS requests from ‘reservations’ (rights).





05/24/2011 – OS addressed this with decision to use Aref instead of REQUEST_REF.


�05/25/2011 – In general overview of CSV format, stated that every record uploaded would have an indication of success/error in addition to the request template success/error indicator.  So, adding these two elements to end of all Upload template responses.  Note also question posed that we might want to reconsider and only include in input uploads those elements that customer is allowed to submit/update, and include all other elements in the response.  The response data element list can be same for response to upload or response to query


�We should determine a convention for date/time that is open-ended.  Could be a null value or could be an agreed upon date/time far into future.  Would not like to have it at whim of OASIS implementation if we can agree to representation.





4/6/11 OASIS Subcommittee – null value should indicate evergreen.


�This reflects general opinion in OASIS Subcommittee to not require or provide template facility to upload documents on OASIS.


�Might consider including a LOAD_CLASS for on/off system and a LOAD_TYPE for FIXED/INTERRUPTIBLE to be in line with the Resource attributes.   LOAD_AREA along with context of the Provider actually provides information to infer on/off system, but might be worth being explicit in some regard…note that do need area specified in addition to ‘on system’ for TPs operating in multiple BAs.





05/24/2011 – OS agrees to not add such a data element.


�Changed the data element name to be generic so it could be used for communicating how resource forecast data is supplied if the OS deems it an important attribute to add to the NITSResourceDescription template.





05/24/2001 – OS Agreed to keepo this element.


�4/6/11 OASIS  Subcommittee did not see any need for separate use of designation for load to track capacity outside of the load forecast information.


�4/6/11 OASIS Subcommittee --: this is an option al template.


�Need to discuss the ability to support submission of load forecast data via an attached document.  Need further discussion if TP can accept such forecast information off-OASIS and if the TP has any obligation to disclose any of this information to parties other than the Customer via OASIS.





4/6/11 OASIS Subcommittee did not want to include file submission/upload as part of OASIS templates for NITS.  Any information that would lend itself to submission as a file (forecasts, operating guide, transmission maps, etc.) are all handled OFF-OASIS between Customer and Provider.


�Note that the comments supplied here would be carried with the actual load designation in the NITS App.  The CUSTOMER_COMMENTS supplied at the level of the Request apply on ly to the request and how its handled and are not incorporated into the NITS App,  Do people think comments/descriptions are required at this level?


�4/6/11 PRS: My notes on this was that no information was required as a flag that the document was or wasn’t submitted.  I believe in course of the lengthy discussions on this and generation operating restrictions, the Provider indicates that they have all required information for the load, gen, resource, etc., by using the DEFICIENT and COMPLETED states.  If Load request is marked as COMPLETED by TP one can assume that the TP has all required documentation of that load in hand.


�4/13/2011 PRS: Question was posed to email exploder on this concept and limitation that gen asset can only be in one aggregate.  





One option that does seem workable is to also allow for a GEN_PLANT assigned name as long as additional restrictions put in play:





GEN_PLANT must be unique from all GEN_NAME assignments.  If a generation asset (GEN_NAME) is assigned to both a plant aggregate (GEN_PLANT) and generic generation group aggregate (GEN_GROUP), all generation assets assigned to that GEN_PLANT must also be assigned to the same GEN_GROUP.  It’s the only way I can see being able to perform some level of reasonability checking that MWs being designated as backed by generation are not in excess of what is really available generation. 





05/18/2011 Problems





5/24/11 subcommittee reviewed and Paul is still looking at on how to do


�Should there be a requirement that there be no currently active Resources referencing the generation asset being terminated? 


�4/13/2011  PRS: Per above, we could include another aggregate for GEN_PLANT if there is a need for such flexibility.  There is no restriction that GEN_NAME cannot represent the entire Plant or any group of units at a given facility.


�JT Wood will check to see if this is a defined term. 4/7/2011


�Would appreciate feedback from RTO market operators as to what information is currently supplied re: redispatch costs and if the proposed information is reasonable requirement to communicate the information needed to make redispatch directives under a NITS NOA.





05/24/2011 – OS solicits comments from anyone on form of this data.


�Note that this data element has been moved to the NITSResourceDesignation template to allow for designations at group aggregate (fleet) level and terminations at either aggregate or unit basis.





05/24/2011 – OS agreed.


�Added this to be  in line with the load forecast handing.  Need OS to discuss and decide if 1) resource forecast via template is optional (assume yes), and 2) if this adds any value to either the load or resource data attributes.





05/24/2011 – OS agreed.


�Changed the data element name to be generic so it could be used for communicating how resource forecast data is supplied if the OS deems it an important attribute to add to the NITSResourceDescription template.


�Should we model this exactly like the load forecast information?  This is an optional template and Customer has to indicate their intent to use it for forcast data?  If so, we need to add data element to NITSResourceDescription.





Added this in assuming alignment of  load and resource information.  It may be removed if not deemed of value.





05/24/2011 – OS agreed.


� As noted under Load Forecasts, need to discuss the ability to support submission of forecast data via an attached document.  Need further discussion if TP can accept such forecast information off-OASIS and if the TP has any obligation to disclose any of this information to parties other than the Customer via OASIS.





05/24/2011 – OS agreed.


�This template can serve for both the designate and terminate functions with the addition of a ‘type’ element specifying if this is a designation or termination.  Or, we can split the template into two, one specifically for designations and a similar template for terminations.





Need to factor in the flexibility that is proposed for a given off-system resource to be able to be designated as being delivered to load at different designated PORs on NITS TP system.  This means that a designation is unique based on combo of resource name and POR/Source.  The resource is defined as a whole and may be designated in parts on different PORs. If this flexibility is not required we can re-work the templates such that the POR/Source information is carried in the Resource definition which actually would seem to make the forecast data of more use to the TP since it now indicates both the amount of import to expect but also which POR it will be imported on.   Do TPs really envision that it is electrically reasonable for customer to bring same remote resource into TPs system on different specified PORs?





05/12/11 revewed paragraph


�See discussion of data elements for informal comments that will be submitted to the SAMTS Recommendation as well.





05/24/2011 – OS agreed.


�05/23/2011 – Not sure if we would want to include any of these data elements from the PTP templates.





05/24/2011 – OS agreed to remove things unrelated to NITS; these tracking ref numbers may be added back into some or all of the requests – specifically DNRs.





05/25/2011 – Added these so now on the PTP, NITS Secondary, and NITS DNR info.  Any others?





�Add in the CG* elements


�In the SAMTS recommendation, there are two flags used: CG_FLAG to indicate intent for corrdinated request and the CG_CONTIGUITY flag indicating all requests have been submitted.  Since this requires modification of existing PTP template, suggest that only a single data element be added that will indicate, 1) initial intent to submit a coordinated request (PENDING), and 2) indication that all submission have been made and identified in each request in the group (SUBMITTED).  Value names to be used may be changed, but intent remains the same without need for two distinct data elements.





05/24/2011 OS agreed.


�05/25/2011 – As noted in comments about template data element format, all elements that may be uploaded will occur first.  Any elements for data provided by TP or OASIS follow and may be removed from the input template, but included in response template.





�05/23/2011 – Not sure if we would want to include any of these data elements from the PTP templates.





05/24/2011 – OS agreed to remove things unrelated to NITS; these tracking ref numbers may be added back into some or all of the requests – specifically DNRs.





05/25/2011 – Added these so now on the PTP, NITS Secondary, and NITS DNR info.  Any others?





�Add in the CG* elements


�Note that this is identical to the process used for PTP.  Do we want to keep that process the same?  One alternative is to have customer supply a capacity requested, the TP to provide the capacity granted, and the TC (or OASIS if preconfirmed) sets a ‘capacity confirmed’ for the final MW to be designated and available to schedule.  Some testing the new rebid capacity requirement in PTP have not liked that the very original requested MW value is lost (except for audit view) when get into partial service





05/12/11 reviewed paragraph





05/24/2011 OS agrees to keep the  negotiation process the same for NITS.


�Another topic for discussion.  As proposed the DNR designation is additive to whatever is already designated.  An alternative as specified for LOAD designation is that the Customer restate the total MW of the DNR.  Any preferences in one approach or the other?





05/12/11 reviewed paragraph


�Any support for adding an explicit way to basically terminate the remaining capacity on DNR?  Any reason to throw an error if they attempt to terminate more than is designated?  As proposed its basically supported to terminate all designated capacity be specifying a very large negative value (-999999).





05/24/2011 – OS agreed it was okay as written.


�Could this be  morphed into the input for NITSSchedulingRights?  Should they be able to link a DNR into an existing NSR?  Think this would be a way to request incremental capacity on interface from Source/POR to POD/Sink





05/24/2011 – Keep this separated for time being.


�04/13/2011 PRS: The CAPACITY_AVAILABLE and CAPACITY_CONFIRMED are only applicable to the extent that the OS agrees a TP could limit the amount of a DNR to something less than the value requested.   If this is the case, suggesting the three data elements listed to track what was originally asked for, max MWs the TP could approve, and the customer’s final decision about amount to designate.  This is different from PTP, but may be preferable as 1) don’t see this being any kind of iterative process, 2) can’t see any reason the TP would deny the DNR at a value lower than they could support, and 3) there have been some issues expressed with the PTP rebid of capacity where forcing agreement between customer and TP with only requested and granted MWs one loses visibility of what was originally requested except through the audit templates.





05/13/11 reviewed paragraph Paul made notes and will make changes


�05/13/11 reviewed section


�Should we force this usage to be GCA or registered source name within that GCA?





05/24/2011 - 


�Should we force this usage to be GCA or registered source name within that GCA?


�05/13/11 reviewed section





05/24/2011 – OS reviewed updates to this section.


�05/19/2011 – Changed template name so it could be reused in NITS and concomitant PTP  requests.


�Update for SAMTS.


�05/19/2011 – Made this into required element since the interpretation of CR_ASSIGNMENT_REF is different if the ‘reservation’ being used represents NETWORK service.  A similar change would be required for the PTP cgupdate template, if agreed.


�05/19/2011 – Made this into required element since the interpretation of CR_ASSIGNMENT_REF is different if the ‘reservation’ being used represents NETWORK service.  A similar change would be required for the PTP cgupdate template, if agreed.


�05/23/2011 – Not sure if we would want to include any of these data elements from the PTP templates.





05/24/2011 – OS agreed to remove things unrelated to NITS; these tracking ref numbers may be added back into some or all of the requests – specifically DNRs.


�Add in the CG* elements


�05/23/2011 – Any preference to include these elements to show priority?  Any other PTP template data elements that should be considered to be included here?  For example, should we have customer supply or provider return the TS_CLASS, etc., type attributes for the secondary NITS service?  Should we add those into the NITS Scheduling Rights templates?





�Pull all these extraneous data elements.


�Need to add in the paragraph on SAMTS status.


�05/20/2011 – I retained the requested/granted data elements for capacity in this template for alignment with the actions taken on PTP TSRs.  Many have expressed that secondary service may be very similar if not identical in handling as PTP service.  We can go either way with respect to data elements for negotiating capacity here (see NITSResourceCapacity).





05/24/2011 OS agreed.


�05/25/2011 – Moved per general change to all templates with all uploaded elements first.


�05/24/2011 – OS reviewed





�05/25/2011 – Moved per general change to all temrplates to put uploaded elements first.


�05/13/11 reviewed section


�05/25/2011 – Moved per general change to put all uploaded elements first.


�06/06/2011 – Do people agree with limiting view of Load Forecast data to only the Customer that submitted the information?  This is an optional template.


�06/06/2011 – Do people agree with limiting view of Resource Forecast data to only the Customer that submitted the information?  This is an optional template.


�06/06/2011 - To avoid confusion with the Data Templates already defined for NITSCustomer and NITSAgent, these templates were combined into a single ‘object for query.  Alternative would be to have NITSCustomer and NITSAgent as the objects, and rename the associated Data Templates to NITSCustomerDescription and NITSAgentDescription per naming convention used in other templates.






- 172 -
Revised: 05/23/2011


[image: image4.png]INPUT/RESPONSE
TEMPLATE

INPUT HEADER

REQUEST HEADER
DATA HEADER
DATA TEMPLATE
DATA
REQUEST TEMPLATE :
:
DATA HEADER
DATA TEMPLATE
DATA
H
REQUEST HEADER
DATA HEADER
DATA TEMPLATE
DATA
REQUEST TEMPLATE :
:
DATA HEADER
DATA TEMPLATE
DATA



