INDEX OF NITS REQUIREMENTS

001-101
NETWORK INTEGRATION TRANSMISSION SERVICE – GENERAL REQUIREMENTS

001-101.12
Designation and Re-designation of Network Resource Information Requirements:
001-101.14
Designation Of Network Load Information Requirements
001-101.15
Network Transmission Commitment Information Requirements

001-101.16
Generation Information Requirements

001-101.17
Transmission Customers’ System Information Requirements

001-101.18
Transmission Customer Description Information Requirements

001-101.19
Agent Information Requirements

001-102
NETWORK INTEGRATION TRANSMISSION SERVICE – APPLICATION

001-102.1 
Submission of NITS Application 

001-102.2
Initial Review of NITS Application

001-102.3
Invalid NITS Application

001-102.4
Deficient NITS Application

001-102.5
Completed NITS Application

001-103
NETWORK INTEGRATION TRANSMISSION SERVICE – EVALUATION OF NITS APPLICATION

001-103.1
Review of  Completed NITS Application

001-103.2
Study of NITS Application

001-103.3
Declining a NITS Application

001-103.4
Refusal of Completed NITS Application

001-103.5
Counteroffer to NITS Application

001-103.6
Acceptance of NITS Application

001-103.7
Changes to NITS Application

001-103.8
Customer Actions

001-103.9
Final Disposition of NITS Application

001-104
NETWORK INTEGRATION TRANSMISSION SERVICE – ADMINISTRATIVE CHANGES

001-105
NETWORK INTEGRATION TRANSMISSION SERVICE – MODIFICATION TO SERVICE

001-105.1
General Requirements 
001-105.2
Designation of New Network Resource 
001-105.2.1
Submission of Request for Designation of New Network Resource

001-105.2.2
Initial Review of Request for Designation of New Network Resource

001-105.2.3
Invalid Request for Designation of New Network Resource

001-105.2.4
Deficient Request for Designation of New Network Resource
001-105.2.5
Completed Request for Designation of New Network Resource

001-105.2.6
Review of Completed Request for Designation of New Network Resource

001-105.2.7
Study of Request for Designation of New Network Resource

001-105.2.8
Decline of Request for Designation of New Network Resource

001-105.2.9
Refusal of Request for Designation of New Network Resource

001-105.2.10
Counteroffer to Request for Designation of New Network Resource

001-105.2.11
Acceptance of Request for Designation of New Network Resource

001-105.2.12
Customer Actions

001-105.2.13
Final Disposition of Request for Designation of New Network Resource

001-105.3     Temporary Termination of Network Resource

001-105.3.1
Request for Temporary Termination of Network Resource
001-105.3.2
Submission of Request for Temporary Termination of Network Resource 

001-105.3.3
Initial Review of Request for Temporary Termination of Network Resource 

001-105.3.4
Invalid Request for Temporary Termination of Network Resource 

001-105.3.5
Deficient Request for Temporary Termination of Network Resource 

001-105.3.6
Completed Request for Temporary Termination of Network Resource 

001-105.3.7
Acceptance of Request for Temporary Termination of Network Resource 

001-105.3.8
Customer Actions

001-105.3.9
Final Disposition of Request for Temporary Termination of Network Resource 

001-105.4
Indefinite Termination of Network Resource

001-105.4.1
Request for Indefinite Termination of Network Resource

001-105.4.2
Submission of Request for Indefinite Termination of Network Resource

001-105.4.3
Initial Review of Request for Indefinite Termination of Network Resource

001-105.4.4
Invalid Request for Indefinite Termination of Network Resource

001-105.4.5
Completed Request for Indefinite Termiantion Of Network Resource

001-105.4.6
Acceptance of Request for Indefinite Termination of Network Resource

001-105.4.7
Customer Actions

001-105.4.8
Final Disposition of Request for Indefinite Termination of Network Resource

001-105.5
Designation of New Network Load
001-105.5.1
Request for Designation of New Network Load 

001-105.5.2
Submission of Request for Designation of New Network Load

001-105.5.3
Initial Review of Request for Designation of New Network Load

001-105.5.4
Invalid Request for Designation of New Network Load

001-105.5.5
Deficient Request for Designation of New Network Load
001-105.5.6
Completed Request for Designation of New Network Load

001-105.5.7
Review of Completed Request for Designation of New Network Load

001-105.5.8
Study of Request for Designation of New Network Load

001-105.5.9
Declining Request for Designation of New Network Load

001-105.5.10
Refusal of Request for Designation of New Network Load

001-105.5.11
Counteroffer to Request for Designation of New Network Load

001-105.5.12
Acceptance of Request for Designation of New Network Load

001-105.5.13
Customer Actions

001-105.5.14
Final Disposition of Request for Designation of New Network Load


001-105.6         Indefinite Termination of Network Load

001-105.6.1
Submission of Request for Indefinite Termination of Network Load

001-105.6.2
Initial Review of Request for Indefinite Termination of Network Load

001-105.6.3
Invalid Request for Indefinite Termination of Network Load

001-105.6.4
Completed Request for Indefinite Termination  of Network Load

001-105.6.5
Review of Request for Indefinite Termination  of Network Load

001-105.6.6
Declining Request for Indefinite Termination  of Network Load

001-105.6.7
Acceptance of Request for Indefinite Termination  of Network Load

001-105.6.8
Customer Actions

001-105.6.9
Final Disposition of Request for Indefinite Termination of Network Load

001-105.7
Network Scheduling Rights (NSR)

001-105.7.4
Submission of Request for New Network Scheduling Right

001-105.7.5
Initial Review of Request for New Network Scheduling Right

001-105.7.6
Invalid Request for New Network Scheduling Right

001-105.7.7
Completed Request for New Network Scheduling Right

001-105.7.8
Review of Completed Request for New Network Scheduling Right

001-105.7.9
Study of Completed Request for New Network Scheduling Right
001-105.7.10
Decline of Request for New Network Scheduling Right 

001-105.7.11
Refusal of Request for New Network Scheduling Right

001-105.7.12
Counteroffer to Request for New Network Scheduling Request

001-105.7.13
Acceptance of Request for New Network Scheduling Right 
001-105.7.14
Customer Actions

001-105.7.15
Final Disposition of Request for New Network Scheduling Right

001-105.8     Temporary Termination of Network Scheduling RIght

001-105.8.4
Submission of Request for Temporary Termination of Network Scheduling Right 

001-105.8.5
Initial Review of Request for Temporary Termination of Network Scheduling Right
001-105.8.6
Invalid Request for Temporary Termination of Network Scheduling Right 

001-105.8.7

Completed Request for Temporary Termination of Network


Scheduling Right  

001-105.8.8
Acceptance of Request for Temporary Termination of Network Scheduling Right 

001-105.8.9
Customer Actions

001-105.8.10
Final Disposition of Request for Temporary Termination of Network Scheduling Right  

001-105.9
Indefinite Termination of Network Scheduling Right

001-105.9.4
Submission of Request for Indefinite Termination of Network Scheduling Right 

001-105.9.5
Initial Review of Request for Indefinite Termination of Network Scheduling Right

001-105.9.6
Invalid Request for Indefinite Termination of Network Scheduling Right

001-105.9.7
Completed Request for Indefinite Termiantion Of Network Scheduling Right

001-105.9.8
Acceptance of Request for Indefinite Termination of Network Scheduling Right

001-105.9.9
Customer Actions

001-105.9.10
Final Disposition of Request for Indefinite Termination of Network Scheduling Right

001-105.10
Secondary Network Transmission Service 
001-105.10.1
Submission of Request for Secondary Network Transmission Service

001-105.10.2
Initial Review of Request for Secondary Network Transmission Service
001-105.10.3
Invalid Request for Secondary Network Transmission Service

001-105.10.4

Completed Request for Secondary Network Transmission Service

001-105.10.5
Review of Completed Request for Secondary Network Transmission Service

001-105.10.6

Decline of Request for Secondary Network Transmission Service

001-105.10.7
Refusal of Request for Secondary Network Transmission Service 

001-105.10. 8
Counteroffer to Request for Secondary Network Transmission Service

001-105.10.9
Acceptance of Request for Secondary Network Transmission Service

001-105.10.10
Customer Actions

001-105.10.11
Final Disposition of Request for Secondary Network Transmission Service


001-105.11         Termination of Secondary Network Transmission Service

001-105.11.3
Request for Termination of Secondary Network Transmission Service

001-105.11.4
Submission of Request for Termination of Secondary Network Transmission Service

001-105.11.5
Initial Review of Request for Termination of Secondary Network Transmission Service

001-105.11.6
Invalid Request for Termination of Secondary Network Transmission Service

001-105.11.7
Completed Request for Termination  of Secondary Network Transmission Service

001-105.11.8
Acceptance of Request for Termination  of Secondary Network Transmission Service

001-105.11.9
Customer Actions

001-105.11.10
Final Disposition of Request for Termination of Secondary Network Scheduling Right 
001-106
NETWORK INTEGRATION TRANSMISSION SERVICE – REQUEST FOR 


CONCOMITANT REQUESTS 
001-106.6
Customer Actions

001-107
NETWORK INTEGRATION TRANSMISSION SERVICE – ANNUAL UPDATES

001-108
NETWORK INTEGRATION TRANSMISSION SERVICE – RENEWAL OF SERVICE (or ROLLOVER RIGHTS) 

NYISO, et al comment:  On the cover/first page of this recommendation, there are references to three Request Numbers.  Each of them are specific items in the 2009 Annual Plan.   Specific to the reference, 2009 Annual Plan item 3(b)(i)(1), is this item correctly included in this Recommendation as it is specific to PKI certification which this draft does not address? 

Southern Comment:  Regarding Section 3 of the Recommendation (RECOMMENDATION, RECOMMENDED STANDARDS): Verify that 890-C included findings on this issue.  If so, add to Support Documentation and Summary.  If not, then remove.

NOTE: Combined comments related to definitions have not been included in this document.
001-101
NETWORK INTEGRATION TRANSMISSION SERVICE – GENERAL REQUIREMENTS

The following practices are defined in order to enhance consistency of the application process 
across OASIS nodes.

001-101.1
Arrangement of NITS, both the NITS Application and any subsequent modifications of service, shall be supported on OASIS as specified in the technical requirements of WEQ Standards WEQ-002, WEQ-003 and WEQ-013. 
001-101.2
OASIS shall support the capability for the Eligible Transmission Customer to submit the information required for the arrangement of NITS through multiple requests that together represent the service being requested.  This shall include multiple requests submitted as part of a NITS Application, as well as multiple requests submitted as a modification of service (including concomitant evaluations).

001-101.3
All requests for NITS and the current status of those requests shall be posted on OASIS using the defined values for STATUS as set forth in the WEQ-013 Business Practice Requirements for NITS.  

001-101.4
The Transmission Provider may opt to input information into OASIS on behalf of a Network Customer at the request of the Network Customer.  In such instances, the Transmission Provider must have a posted business practice that addresses the circumstances under which the Transmission Provider will input such information. 
001- 101.5
The Transmission Provider shall provide the capability on OASIS for the Eligible Transmission Customer to enter, save, and revise information prior to the submittal of the NITS Application or modifications of service to the Transmission Provider (i.e., a pre-submittal workspace shall be available for the Eligible Transmission Customer to develop an Application over time). 
001-101.5.1
OASIS shall restrict access to and viewing of all information associated with this pre-submittal workspace to only the Eligible Transmission Customer and the Transmission Provider.  

001-101.5.2
OASIS shall have the functionality such that an Eligible Transmission Customer may replicate all or a portion of an existing Application into a pre-submittal workspace for use in a subsequent NITS Application or modifications of service.

001-101.5.3
Audit and data retention requirements set forth in 18 CFR 37.6 and 37.7 are not applicable to the information in this pre-submittal workspace. 

001-101.5.3.1
The Transmission Provider may remove information in the pre-submittal workspace once the NITS Application has been submitted. 

001-101.5.3.2
If submission of the NITS Application has not occurred within 6 months of the time of the last update, the Transmission Provider may remove the NITS Application and all associated information from the pre-submittal workspace, unless the Eligible Transmission Customer has requested a longer retention period.

001-101.5.3.3
The Eligible Transmission Customer may remove the information contained in the pre-submittal workspace at any time prior to submission.

001- 101.6
OASIS shall have upload functionality such that an Eligible Transmission Customer may, as an alternative to entering the information directly on OASIS, complete the Application off OASIS and upload the NITS Application to OASIS for additional modifications in the pre-submittal workspace or for submittal of the request(s) to the Transmission Provider. 
001-101.7
The Eligible Transmission Customer may set the status of NITS-related request(s) (whether uploaded or entered directly into OASIS) to PENDING to indicate that the Eligible Transmission Customer desires to save the information entered and continue working on the request(s) in the pre-submittal workspace.  Alternatively, the Eligible Transmission Customer may submit its NITS-related request(s) (whether uploaded or entered directly into OASIS) to indicate the Eligible Transmission Customer’s desire to formally submit the request(s).

001- 101.8
Any required information, including deposits, which is not supplied electronically through OASIS shall be provided to the Transmission Provider by some other method, as specified in the Transmission Provider’s posted business practice. 

001-101.9
The Transmission Provider will evaluate all NITS related requests consistent with the Transmission Provider’s posted business practice(s) and tariff. 

001-101.10
Consistent with the requirements in Standard WEQ-013-x, Transmission 
Providers are required to post a reason for certain STATUS changes.

001-101.11
The Eligible Transmission Customer shall have the ability to remove any NITS Application or request for modification of service from further consideration by setting that request’s status to WITHDRAWN at any time prior to confirmation.

001-101.12
Designation and Re-designation of Network Resource Information Requirements:
001-101.12.1
For off-system Network Customer-owned generation, the Network Customer should use the TSIN-registered source name if available. If not available, the Network Customer should use a Transmission Provider-approved (the Transmission Provider providing this network service) name which could later be modified to reflect the TSIN-registered name (after the initial submission, but prior to confirmation of the DNR). 

001-101.12.2
For off-system Network Customer-owned generation, the electrical location will be identified by the BAA where the generation is electrically located and the geographical location will be identified by the county and state. 

001-101.12.3
For on-system Network Customer-owned generation, the Network Customer should use the TSIN-registered source name if available. If not available, the Network Customer should use a Transmission Provider-approved (the Transmission Provider providing this network service) name which could later be modified to reflect the TSIN-registered name (after the initial submission, but prior to confirmation of the DNR). 
001-101.12.4
For on-system Network Customer-owned generation, the electrical location will be identified by the BAA where the generation is electrically located and the geographical location will be identified by the county and state. 
001-101.12.5
For off-system purchased power, the electrical location is the point of receipt (on the Transmission Provider’s system referenced in the Customer’s Application or request for modification of NITS) and the geographical location is “not applicable”. 

001-101.12.6
For on-system purchased power, the electrical location is the point of receipt (on the Transmission Provider’s system referenced in the Customer’s Application or request for modification of service) and the geographical location is “not applicable”. 

001-101.13
Pre-confirmation has no effect on the priority of a NITS Application or modification of network service.
001-101.14
Designation Of Network Load Information Requirements
001-101.15
Network Transmission Commitment Information Requirements

001-101.16
Generation Information Requirements

001-101.17
Transmission Customers’ System Information Requirements

001-101.18
Transmission Customer Description Information Requirements

001-101.19
Agent Information Requirements

The NAESB OASIS Implementation Guide (Standard WEQ-013) provides a process state diagram to define the Eligible Transmission Customer and Transmission Provider interactions for negotiating transmission service.  This diagram defines allowable steps in the reservation request, negotiation, approval confirmation and post-confirmation processes.

PRS Comment: Add additional stuff here that applies to things as a whole or just concepts in general related to NITS.

MO Comment: I have not attempted to rework the following 001-102 standards to be consistent with the agreed-to state table. I think that changes will be needed.

001-102
NETWORK INTEGRATION TRANSMISSION SERVICE – APPLICATION

001- 102.1 
Submission of NITS Application 

001- 102.1.1 
An Eligible Transmission Customer shall submit, or arrange for the submittal of, the NITS Application on the Transmission Provider’s OASIS in accordance with the technical requirements of WEQ Standards WEQ-002, WEQ-003 and WEQ-013. 

001-102.1.1.1
OASIS shall assign a unique identifier in association with each NITS Application.  

001-102.1.1.2
An Eligible Transmission Customer may enter and update information on OASIS in association with a NITS Application prior to submission to the Transmission Provider by setting the status of the NITS Application to PENDING. 

001-102.1.1.2.1
All related information (e.g., load forecasts, resource designations, etc.) associated with such a PENDING NITS Application (whether such information is submitted electronically or by other means) shall not be considered submitted until the NITS Application is submitted in its entirety.  

001- 102.1.2
The Transmission Provider shall specify, through the posting of a business practice, the minimum information required for a NITS Application. 

001- 102.1.3
The Eligible Transmission Customer shall indicate to the Transmission Provider that the NITS Application is ready for Transmission Provider review by submitting the the NITS Application on OASIS.  

001-102.1.3.1
OASIS shall set the queue time for the NITS Application to the time that the Eligible Transmission Customer submits the NITS Application, which shall set the status of the NITS Application to QUEUED.

001-102.1.3.2
The Transmission Provider shall acknowledge the queued NITS Application  by setting the status of the NITS Application to RECEIVED.

001-102.2
Initial Review of NITS Application

001- 102.2.1
The Transmission Provider shall review the received NITS Application to determine if the NITS Application: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; or (2) is complete consistent with the Transmission Provider’s tariff requirements.

001- 102.2.2
The Transmission Provider shall respond to a NITS Application by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 

III.
COMPLETED 

001-102.3
Invalid NITS Application

001-102.3.1
If the required information, as specified WEQ-001-102.2.1, is not provided, the Transmission Provider shall set the status of the NITS Application to INVALID and the NITS Application shall be deemed withdrawn.

001-102.3.2
In response to a state of INVALID, the Eligible Transmission Customer may submit a new or revised NITS Application, which will be assigned a new unique identifier and a new queue time.   

001-102.4
Deficient NITS Application

001-102.4.1
For each portion of information required in a NITS Application that has not been deemed INVALID, the Transmission Provider shall determine if such portion can be deemed sufficient.

001-102.4.1.1
If deemed sufficient, the Transmission Provider shall set the status of such portion to COMPLETED.  

001-102.4.1.2
If not deemed sufficient, the Transmission Provider shall set the status of such portion to DEFICIENT
001-102.4.2
If the Transmission Provider determines that any portion of the NITS Application is DEFICIENT, the Transmission Provider shall set the overall status of the NITS Application to DEFICIENT and begin informal communications with the Eligible Transmission Customer to resolve those deficiencies. 

001-102.4.3
The Eligible Transmission Customer shall remedy the deficiency and shall set that portion’s status to REEVALUATE. Once all deficiencies have been remedied, the Eligible Transmission Customer shall set the status of the overall NITS Application to REEVALUATE.

001-102.4.4
Upon notification that the Eligible Transmission Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:

001-102.4.4.1
If the information provided for any portion identified as deficient fails to remedy that deficiency, the Transmission Provider shall set the status for that portion of the NITS Application to DEFICIENT.

001-102.4.4.2
If the information provided for any portion identified as deficient remedies that deficiency, the Transmission Provider shall set the status for that portion of the NITS Application to COMPLETED.

001-102.4.4.3
If the information provided for any portion of the NITS Application is deemed by the Transmission Provider to be a significant change to the overall NITS Application, the Transmission Provider shall set the status of the overall NITS Application to DECLINED.

001-102.4.5
If the Eligible Transmission Customer fails to respond to the Transmission Provider’s notice of a DEFICIENT NITS Application, or fails to remedy the deficiency to the Transmission Provider’s satisfaction in a timely manner, the Transmission Provider shall set the status of the overall NITS Application to DECLINED.

001-102.4.6
If the Eligible Transmission Customer fails to provide the necessary credit or deposit information in a timely manner, the Transmission Provider may respond by setting the status of the overall NITS Application to DECLINED.

001-102.4.7
In response to a state of DECLINED, the Eligible Transmission Customer may submit a new or revised NITS Application, which will be assigned a new unique identifier and a new queue time. 

001-102.4.8
When the Transmission Provider determines that all deficiencies have been remedied and all portions of the NITS Application have been identified as COMPLETED, the Transmission Provider shall continuing processing the NITS Application in accordance with the Business Practice Standards for a Completed NITS Application.

001-102.5
Completed NITS Application

001-102.5.1
When the Transmission Provider has reviewed the entire NITS Application for completeness and all portions associated with the NITS Application have been designated as COMPLETED, the Transmission Provider shall indicate that the NITS Application is deemed complete by setting the status of the overall NITS Application to COMPLETED.

001-102.5.2
OASIS shall set the queue time of all COMPLETED portions associated with the COMPLETED NITS Application to be equal to the queue time established on the initial submission of the NITS Application.

001-102.5.3
The COMPLETED NITS Application and set of associated COMPLETED portions shall constitute the entire initial NITS Application to be considered and evaluated further for granting of service by the Transmission Provider.

NOTE:  Include Ancillary Service requests

Note:  In giving the “reason for denial” there is a need to be sensitive to the insufficient credit or deposit denial information posted publicly on OASIS

Note: These state changes require dynamic notification to the Network Customer if the Network Customer has requested dynamic notification on OASIS. Include a section in NITS 001 consistent with current language in 001-4.18 and ensure 002-4.2.10.3 is either duplicated or referenced as applicable.
Note:  In WEQ-002 allow for customer to electronically link certain Application information through OASIS.

Need to address in various sections of the standards:  OATi informal comment:  This set of standards are titled to apply to NTCs, DNRs, and DNLs.  The OS has no doubt discussed these concepts at length, but there really appears to be some concepts that may not apply to each of these requests.  For instance, in a NITS Application, can the TP exclude portions of load (partial DNL)?  Does a TC really apply for a NTC?  It would seem much more likely that a customer requests the Designation of a Network Resource (DNR) and the NTC needed to support delivery of that DNR to load is an outcome of the assessment/study of the DNR.  If the TP can’t grant a NTC is there, or can there really be, a DNR anymore?? I would also doubt the TC can control the flow of electrons such that for a given resource and load they can use one path versus another in most circumstances; maybe an east vs. west variant.  At best, information related to a NTC in support of a DNR would be dependent on and subordinate to the DNR itself.  This relationship is not clear as written.

001-103
NETWORK INTEGRATION TRANSMISSION SERVICE – EVALUATION OF NITS APPLICATION

001-103.1
Review of  Completed NITS Application

001- 103.1.1
Once the Transmission Provider has set the status of the NITS Application to COMPLETED, the Transmission Provider shall change the status of the overall NITS Application to one of the following to indicate its evaluation of the NITS Application:

I.
STUDY

II.
DECLINED

III.
REFUSED 

IV.
COUNTEROFFER

V.
ACCEPTED 

001-103.2
Study of NITS Application

001-103.2.1 
If the Transmission Provider determines that some level of study is required or is being performed, the Transmission Provider shall set the status of the overall NITS Application to STUDY.

001-103.2.2
The Transmission Provider may update the status of any portion of the NITS Application, as appropriate.

001-103.2.3
From the status of STUDY, the Transmission Provider shall set the status of the overall NITS Application to DECLINED, REFUSED, COUNTEROFFER, or ACCEPTED.

001-103.3
Declining a NITS Application

001-103.3.1
If at any time in the evaluation of the NITS Application or conduct of any associated study(ies) the Transmission Provider determines that the Eligible Transmission Customer has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.), the Transmission Provider shall set the status of the overall NITS Application to DECLINED.

001-103.3.2
In response to a state of DECLINED, the Eligible Transmission Customer may submit a new or revised NITS Application, which will be assigned a new unique identifier and a new queue time. 

001-103.4
Refusal of Completed NITS Application

001-103.4.1
If at any time in the evaluation of the NITS Application or conduct of any associated study(ies) the Transmission Provider determines that the requested service cannot be provided due to insufficient transfer capability consistent with the Transmission Provider’s OATT requirements, the Transmission Provider may set the status of the overall NITS Application to REFUSED.

001-103.4.2
In response to a state of REFUSED, the Eligible Transmission Customer may submit a new or revised NITS Application, which will be assigned a new unique identifier and a new queue time.

001-103.5
Counteroffer to NITS Application

001-103.5.1
When, in the evaluation of the NITS Application or on completion of any applicable study(ies), and, where appropriate, through informal communication with the Eligible Transmission Customer, the Transmission Provider determines that the requested transmission service may only be granted in part or subject to modification to the NITS Application, the Transmission Provider shall set the status of the overall NITS Application to COUNTEROFFER.

001-103.5.2
Prior to setting the status of the overall NITS Application to COUNTEROFFER, the Transmission Provider shall update the status associated with each portion of the Completed Application as follows:

001-103.5.2.1
The status of any portion of the NITS Application that will not be granted shall be set to the appropriate final state.

001-103.5.2.2
The status of any portion of the NITS Application that is to be granted as specified in the NITS Application shall be set to ACCEPTED.

001-103.5.2.3
The status of any portion of the NITS Application that is to be granted but at a reduced capacity or subject to other modification from that specified in the NITS Application shall be set to COUNTEROFFER.

001-103.6
Acceptance of NITS Application

001-103.6.1
When, in the evaluation of the NITS Application or on completion of any applicable study(ies), and, where appropriate, through informal communication with the Eligible Transmission Customer, the Transmission Provider determines that the requested transmission service may be granted, the Transmission Provider shall set the status of the overall NITS Application to ACCEPTED.

001-103.6.2
Prior to setting the status of the overall NITS Application to ACCEPTED, the Transmission Provider shall update the status associated with each portion of the NITS Application to ACCEPTED.

001-103.7
Changes to NITS Application

001-103.7.1
Based on the evaluation results and informal communications between the Transmission Provider and the Eligible Transmission Customer, the Eligible Transmission Customer may submit a request to change the completed NITS Application while the overall NITS Application is under evaluation with a status of either COMPLETED or STUDY. These changes may include updates to existing portions, withdrawal of certain portions and/or submission of additional portions of information to be incorporated into the NITS Application.

001-103.7.1.1
Any request submitted by the Eligible Transmission Customer associated with a NITS Application where the overall NITS Application status is ACCEPTED or COUNTEROFFER shall be deemed a request for modifications to service and held for later evaluation until the overall NITS Application is set to a final state.

001-103.7.1.2
Any request submitted by the Eligible Transmission Customer associated with a NITS Application where the overall NITS Application status is CONFIRMED shall be treated as a request for modifications to service and processed in accordance with the applicable Business Practice Standards.

001-103.7.1.3
Any request submitted by the Eligible Transmission Customer associated with a NITS Application where the overall NITS Application status is in any final state shall be deemed INVALID.

001-103.7.2
The Transmission Provider shall evaluate all Eligible Transmission Customer requests to change the NITS Application and may take one of the following actions:

001-103.7.2.1
The Transmission Provider may deny the change in the service being requested when the change is outside the scope of the informal communications and mutual agreement between the Transmission Provider and Eligible Transmission Customer. The Transmission Provider will update the status associated with the requested change to an appropriate final state.

001-103.7.2.2
The Transmission Provider may hold the change until the status of the overall NITS Application is set to an appropriate final state and treat the request as a request for modifications to service.

001-103.7.2.3
The Transmission Provider may approve the change and incorporate the change into the NITS Application by setting its status to COMPLETED.  The final status of the change will be reflected when the Transmission Provider sets the overall NITS Application to an appropriate final state.

001-103.8
Customer Actions

001-103.8.1
After the status of the overall NITS Application has been set to ACCEPTED or COUNTEROFFER by the Transmission Provider, the Eligible Transmission Customer may confirm or withdraw the overall NITS Application by setting the status to CONFIRMED or WITHDRAWN. 

001-103.8.1.1
Confirming the overall NITS Application shall constitute the Network Customer’s agreement to receive service as specified in all portions of the NITS Application which are not already in a final state. Confirming the overall NITS Application shall set the status of all portions of the NITS Application not already in a final state to CONFIRMED.

001-103.8.1.1.1
If the Eligible Transmission Customer requests the Transmission Provider to file an unexecuted service agreement at FERC, the Eligible Transmission Customer, at the time of setting the status of the overall NITS Application to CONFIRMED, shall also set the indicator to “Unexecuted” (language in blue to be determined).

001-103.8.1.2
Withdrawal of the overall NITS Application shall constitute the Eligible Transmission Customer’s withdrawal of all portions of the NITS Application which are not already in a final state.  Withdrawal of the overall NITS Application shall set the status of the portions not already in a final state to WITHDRAWN.

001-103.8.1.3
The Eligible Transmission Customer may not act on the individual portions of the NITS Application.  Once the overall NITS Application is in a final state of CONFIRMED, any subsequent changes must be made through a request for modifications to service as provided for in the Business Practice Standards.  

001-103.9
Final Disposition of NITS Application

001-103.9.1
Once CONFIRMED the overall NITS Application shall remain CONFIRMED throughout its term of service regardless of subsequent modifications unless otherwise mutually agreed; in which case the Transmission Provider shall set the status of the overall NITS Application to ANNULLED.

001-103.9.1.1
If the Transmission Provider filed an unexecuted service agreement, upon receiving a Commission order, the Eligible Transmission Customer shall use the modifications to service as provided for in the Business Practice Standards to modify the overall NITS Application to reflect the Commission order.

001-103.9.1.1.2
If the Eligible Transmission Customer determines not to accept the terms and conditions order by the Commission, the Eligible Transmission Customer may direct the Transmission Provider to set the status of the overall NITS Application to ANNULLED.

001-103.9.2
If, within the time limits specified in the Transmission Provider’s OATT for execution of a service agreement or for requesting filing of an unexecuted service agreement, the Eligible Transmission Customer fails to set the status to CONFIRMED or WITHDRAWN or does not request the Transmission Provider to file at FERC an unexecuted service agreement, the Transmission Provider may set the status of the overall NITS Application to RETRACTED. Retraction of the overall NITS Application shall set the status of the portions not already in a final state to RETRACTED.

001-103.9.2.1
In response to a state of RETRACTED, the Eligible Transmission Customer may submit a new or revised NITS Application, which will be assigned a new unique identifier and a new queue time. 

001-104 
NETWORK INTEGRATION TRANSMISSION SERVICE – ADMINISTRATIVE CHANGES

001-104.1
The Network Customer shall have the right to request administrative changes pursuant to the NITS Application. 
001-104.2
A request for administrative changes shall be submitted to the Transmission Provider on OASIS with explicit reference to the associated NITS Application.
001-104.3
A request for administrative changes shall be submitted as pre-confirmed. 

001-104.4
The Transmission Provider will accept or deny the request within 7 days of receipt of the request. The Transmission Provider will provide a reason for denial of a request for administrative change.

001-104.5
The following types of requests will be considered administrative changes:

· Requests to change customer description information

· Requests to change agent information

· Generation Information
· Transmission Customer System Information
001-105
NETWORK INTEGRATION TRANSMISSION SERVICE – MODIFICATION TO SERVICE

001-105.1
General Requirements 
001-105.1.1
The Network Customer shall have the right to request modification to service pursuant to the NITS Application. 
001-105.1.2
A request for modification to service shall be submitted to the Transmission Provider on OASIS with explicit reference to the associated NITS Application.
001-105.1.3
A request for modification to service shall be queued and evaluated in the same manner as any other request, subject to the other requirements of the Business Practice Standards. 
001-105.1.4
The following timing requirements shall apply to all requests for secondary network service and modifications to service requests, including NSR, DNR, and DNL requests:

Table 105-a

NITS Reqest Timing Requirements8
	Class 
	Service Increment 
	Time Queued Prior to Start


	Provider Evaluation Time Limit1
	Customer Confirmation Time Limit2 After ACCEPTED 

or COUNTEROFFER3
	Provider Counter Time Limit after REBID4

	Secondary Network (Non-firm)
	Hourly

Hourly

Hourly

Daily

Weekly

Monthly
	< 1 hour

> 1 hour

Day ahead

N/A

N/A

N/A
	Best effort

30 minutes

30 minutes

30 minutes

4 hours

2 days5
	5 minutes

5 minutes

30 minutes

2 hours

24 hours

24 hours
	5 minutes

5 minutes

10 minutes

10 minutes

4 hours

4 hours

	DNR/DNL/NSR (firm)
	Daily

Daily

Weekly

Monthly

Yearly
	<24 hours

N/A

N/A

N/A

60 days7

	Best effort

30 days6
30 days6
30 days6
30 days6
	2 hours

24 hours

48 hours

4 days

15 days
	30 minutes

4 hours

4 hours

4 hours

4 hours

	Temporary Termination of Network Resource or Network Load
	Hourly

Hourly

Hourly

Daily

Daily

Weekly

Monthly

Yearly
	< 1 hour

> 1hour

Day ahead

<24 hours

N/A

N/A

N/A

60 days7
	Best effort

30 min

30 min

Best effort

30 days6
30 days6
30 days6
30 days6
	5 minutes

5 minutes

30 minutes

2 hours

24 hours

48 hours

4 days

15 days
	5 minutes

5 minutes

10 min

30 min

4 hours

4 hours

4 hours

4 hours

	Indefinite Termination of Network Resource or Network Load
	NA
	
	
	
	


	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


Notes for Table 105-A:
1
Consistent with regulations and filed tariffs, measurement starts at the time the request is QUEUED.

2
Confirmation time limits are not to be interpreted to extend scheduling deadlines or to override pre-emption deadlines.

3
Measurement starts at the time the request is first moved to either ACCEPTED or COUNTEROFFER.  The time limit does not reset on subsequent changes of state.

4
Measurement starts at the time the Network Customer changes the state to REBID.  The measurement resets each time the request is changed to REBID.

5
Days are defined as calendar days.

6

Transmission Providers shall make best efforts to respond within 72 hours or prior to the scheduling deadline, whichever is earlier.

7
Whenever feasible and on a nondiscriminatory basis, Transmission Providers should accommodate requests made with less than 60 days notice.

8 
Timing requirements for concomitant evaluations are as specified in WEQ-001-106.

001-105.1.5
The following requests are considered modifications of service:

· Request for designation of a new Network Resource

· Request for temporary termination of Network Resource with redesignation of same Network Resource
· Request for indefinite termination of Network Resource

· Request for designation of new Network Load

· Request for indefinite termination of Network Load

· Request for Network Scheduling Rights (????)

· Request for secondary Network Service (?????). 

001-105.2
Designation of New Network Resource 
001-105.2.1
Submission of Request for Designation of New Network Resource

001-105.2.1.1
The Network Customer may enter and update information on OASIS in association with a request for designation of new Network Resource prior to submission to the Transmission Provider by setting the status of the request to PENDING.

001- 105.2.1.2
The Transmission Provider may specify, in its posted business practice, the minimum information required to designate a new Network Resource.  

001- 105.2.1.3
The Network Customer shall indicate to the Transmission Provider that the request for designation of new Network Resource is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.2.1.3.1
OASIS shall set the queue time for the request for designation of new Network Resource to the time that the Network Customer submits the request, which shall set the status of the request to QUEUED.

001-105.2.1.3.2
The Transmission Provider shall acknowledge the queued request for designation of new Network Resource by setting the status of the request to RECEIVED.

001-105.2.2
Initial Review of Request for Designation of New Network Resource

001- 105.2.2.1
The Transmission Provider shall review the request for designation of New Network Resource to determine if the request: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; or (2) is complete consistent with the Transmission Provider’s tariff requirements.

001- 105.2.2.2
The Transmission Provider shall respond to a request by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 

III.
COMPLETED 

001-105.2.3
Invalid Request for Designation of New Network Resource

001-105.2.3.1
If the required information, as specified in WEQ-001-105.2.2.1, is not provided, the Transmission Provider shall set the status of the request for designation of new Network Resource to INVALID and the request shall be deemed withdrawn.

001-105.2.3.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for designation of new Network Resource, which will be assigned a new unique identifier 
and a new queue time.   

001-105.2.4
Deficient Request for Designation of New Network Resource
001-105.2.4.1
For each request for designation of new Network Resource which is not INVALID, the Transmission Provider shall determine if the request can be deemed sufficient.  

001-105.2.4.1.1
If deemed sufficient, the Transmission Provider shall set the status of such request to COMPLETED.  

001-105.2.4.1.2
If not deemed sufficient, the Transmission Provider shall set the status of such request to DEFICIENT. 

001-105.2.4.2
A request for designation of a new Network Resource shall be accompanied by an attestation in accordance with the Transmission Provider’s tariff. 
001-105.2.4.3
If the Transmission Provider determines that the request for designation of new Network Resource is DEFICIENT, the Transmission Provider shall set the request to DEFICIENT and begin informal communications with the Network Customer to resolve the deficiencies. 

001-105.2.4.4
The Network Customer shall remedy the deficiency and shall set the status of the request for designation of new Network Resource to REEVALUATE.

001-105.2.4.5
Upon notification that the Network Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:

001-105.2.4.5.1
If the information provided fails to remedy the deficiency, the Transmission Provider shall set the status of the request for designation of new Network Resource to DEFICIENT.

001-105.2.4.5.2
If the information provided remedies the deficiency, the Transmission Provider shall set the status of the request for designation of new Network Resource to COMPLETED.

001-105.2.4.5.3
If the information provided is deemed by the Transmission Provider to be a significant change to the request for designation of new Network Resource, the Transmission Provider shall set the status of the request to DECLINED.

001-105.2.4.6
If the Network Customer fails to respond to the Transmission Provider’s notice of a DEFICIENT request for designation of new Network Resource, or fails to remedy the deficiency to the Transmission Provider’s satisfaction in a timely manner, the Transmission Provider shall set the status of the request to DECLINED.

001-105.2.4.7
In response to a state of DECLINED, the Network Customer may submit a new or revised request for designation of new Network Resource, which will be assigned a new unique identifier and a new queue time.  

001-105.2.5
Completed Request for Designation of New Network Resource

001-105.2.5.1
Once the Transmission Provider has set the status of the request for designation of new Network Resource to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.2.6
Review of Completed Request for Designation of New Network Resource

001- 105.2.6.1
Once the Transmission Provider has set the status of the request for designation of new Network Resource to COMPLETED, the Transmission Provider shall respond to the request, consistent with filed tariffs, within the Provider Response Time Limit defined in Table 105-A Network Timing Requirements. The time limit is measured from the time the request is QUEUED.  To indicate its evaluation of the request, a Transmission Provider may respond by setting the state of the request to one of the following:
I.
STUDY

II.
DECLINED

III.
REFUSED 

IV.
COUNTEROFFER

V.
ACCEPTED 

001-105.2.7
Study of Request for Designation of New Network Resource

001-105.2.7.1 
If the Transmission Provider determines that some level of study is required or is being performed, the Transmission Provider shall set the status of the request for designation of new Network Resource to STUDY.

001-105.2.7.2
From the status of STUDY, the Transmission Provider shall set the status of the request for designation of new Network Resource to DECLINED, REFUSED, COUNTEROFFER, or ACCEPTED.

001-105.2.8
Decline of Request for Designation of New Network Resource

001-105.2.8.1
If, at any time in the evaluation of the request for designation of new Network Resource or conduct of any associated study(ies), the Transmission Provider determines that the Network Customer has failed to meet any of the terms and conditions for the designation of a new Network Resource (e.g., failure to execute a study agreement, etc.), the Transmission Provider shall set the status of the request to DECLINED.

001-105.2.8.2
In response to a state of DECLINED, the Eligible Transmission Customer may submit a new or revised request for designation of new Network Resource, which will be assigned a new unique identifier and a new queue time.   

001-105.2.9
Refusal of Request for Designation of New Network Resource

001-105.2.9.1
If, at any time in the evaluation of the request for designation of new Network Resource or conduct of any associated study(ies), the Transmission Provider determines that the requested service cannot be provided due to lack of availability of transfer capability consistent with the Transmission Provider’s OATT requirements, the Transmission Provider may set the status of the request to REFUSED.

001-105.2.9.2
In response to a state of REFUSED, the Network Customer may submit a new or revised request for designation of new Network Resource, which will be assigned a new unique identifier and a new queue time.  

001-105.2.10
Counteroffer to Request for Designation of New Network Resource

001-105.2.10.1
When, in the evaluation of a request for designation of new Network Resource or on completion of any applicable study(ies), the Transmission Provider determines that the request may be granted in part, the Transmission Provider may make a partial offer.  

001-105.2.10.1.1
If the Transmission Provider makes a partial offer, the Transmission Provider shall notify the Network Customer on OASIS by setting the amount of Network Resource capacity granted over time in the response to the request for designation of new Network Resource and setting the status of such request to COUNTEROFFER.

001-105.2.11
Acceptance of Request for Designation of New Network Resource

001-105.2.11.1
When, in the evaluation of the request for designation of new Network Resource or on completion of any applicable study(ies), the Transmission Provider determines that the request can be approved, the Transmission Provider shall set the status of the request to ACCEPTED.

001-105.2.12
Customer Actions

001-105.2.12.1
From ACCEPTED or COUNTEROFFER, the Network Customer may change the status of the request for designation of new Network Resource to CONFIRMED, REBID or WITHDRAWN. The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 105-A Network Timing Requirements to change the state of the request. The Customer Confirmation Time Limit is measured from the first time the request is moved to ACCEPTED or COUNTEROFFER, and is not reset with subsequent iterations of negotiation. 

001-105.2.12.1.1
The Network Customer shall use the request status of REBID to initiate or continue the negotiation of designated Network Resource capacity.

01-105.2.12.1.2
Should the Network Customer elect to initiate or continue the negotiation of designated Network Resource capacity by moving the request to REBID, the Transmission Provider shall respond by taking the request to a DECLINED, SUPERSEDED, ACCEPTED, or COUNTEROFFER state within the Provider Counter Time Limit, specified in Table 105-A Network Timing Requirements. The Transmission Provider response time is measured from the most recent REBID time.

001-105.2.12.1.3
The Network Customer may negotiate for a lower amount of designated Network Resource capacity by updating the capacity requested over time and changing the request status from ACCEPTED or COUNTEROFFER to REBID. For example, the Network Customer may choose to coordinate the level of transmission service purchased across multiple Transmission Providers. Negotiation for a higher amount of designated Network Resource capacity shall not be allowed. A Network Customer seeking additional designated Network Resource capacity must submit a new request, which will be assigned a new unique identifier and a new queue time.

001-105.2.12.1.4
Once the status of the request for designation of a new Network Resource has been set to ACCEPTED or COUNTEROFFER, the Network Customer may change the status to CONFIRMED after positively acknowledging agreement by setting the requested designated Network Resource capacity equal to the Transmission Provider’s granted designated Network Resource capacity.  Alternatively, the Network Customer may withdraw the request or the Network Customer may continue negotiations consistent with WEQ-001-105-.2.12.1.2.
001-105.2.13
Final Disposition of Request for Designation of New Network Resource

001-105.2.13.1
Once CONFIRMED, the request for designation of new Network Resource will be incorporated into the associated CONFIRMED NITS Application.

001-105.2.13.2
If, within the time limits specified in Table 105-A Network Timing Requirements, the Network Customer fails to set the status of the ACCEPTED request for designation of new Network Resource to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request to RETRACTED. 

001-105.2.13.2.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for designation of new Network Resource, which will be assigned a new unique identifier and a new queue time.

001-105.2.13.3
Should the Network Customer elect to initiate or continue the negotiation of Network Resource capacity by changing the status of the request for designation of new Network Resource to REBID, the Transmission Provider shall respond by changing the status of the request to DECLINED, ACCEPTED, or COUNTEROFFER within the Provider Counter Time Limit, specified in Table 105-A Network Timing Requirements. The Transmission Provider response time is measured from the most recent REBID time.

001-105.2.13.3.1
The Transmission Provider shall positively acknowledge agreement to the designation of new Network Resource capacity over time by setting the granted Network Resource capacity equal to the Network Customer’s requested Network Resource capacity prior to acceptance of the request.   
001-105.3
Temporary Termination
 of Network Resource

001-105.3.1
Request for Temporary Termination of Network Resource
001-105.3.1.1
The Transmission Provider shall not refuse a valid and complete request for temporary termination of Network Resource.

001-105.3.1.2
A request for temporary termination of Network Resource must include a redesignation of the same resource.
001-105.3.2
Submission of Request for Temporary Termination of Network Resource 

001-105.3.2.1
The Network Customer may enter and update information on OASIS in association with a request for temporary termination of Network Resource prior to submission to the Transmission Provider by setting the status of the request to PENDING.

001- 105.3.2.2
The Network Customer shall indicate to the Transmission Provider that the request for temporary termination of Network Resource is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.3.2.3
OASIS shall set the queue time for the request for temporary termination of Network Resource to the time that the Network Customer submits the request, which shall set the request to QUEUED.

001-105.3.2.4
The Transmission Provider shall acknowledge the queued request for temporary termination of a Network Resource by setting the status of the request to RECEIVED.

001-105.3.3
Initial Review of Request for Temporary Termination of Network Resource 

001- 105.3.3.1
The Transmission Provider shall review the request for temporary termination of Network Resource to determine if the request: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; and (2) is complete consistent with the Transmission Provider’s tariff requirements.

001- 105.3.3.2
The Transmission Provider shall respond to a request by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 

III.
COMPLETED 

001-105.3.4
Invalid Request for Temporary Termination of Network Resource 

001-105.3.4.1
If the information necessary to process the request for temporary termination of a Network Resource is not provided, the Transmission Provider shall set the state of the request for temporary termination of Network Resource to INVALID and the request shall be deemed withdrawn.

001-105.3.4.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for temporary termination of Network Resource, which will be assigned a new unique identifier and a new queue time. 

001-105.3.5
Deficient Request for Temporary Termination of Network Resource 

001-105.3.5.1
For each request for temporary termination of Network Resource which is not INVALID, the Transmission Provider shall determine if the request can be deemed sufficient.  

001-105.3.5.1.1
If deemed sufficient, the Transmission Provider shall set the status of such request to COMPLETED.  

001-105.3.5.1.2
If not deemed sufficient, the Transmission Provider shall set the status of such request to DEFICIENT
001-105.3.5.2
A request for redesignation of a Network Resource shall meet the following requirements:

001-105.3.5.2.1
The request shall be accompanied by an attestation in accordance with the Transmission Provider’s tariff. 

001-105.3.5.2.2
The STOP_TIME for the temporary termination of Network Resource is the effective date and time that the same Network Resource is redesignated.

001-105.3.5.2.3
The request shall include all data necessary consistent with the requirements for designation of a new Network Resource.  Previously submitted data may be incorporated by reference with the exception of the attestation required in WEQ 001-105.3.5.2.

001-105.3.5.3
If the Transmission Provider determines that the request for temporary termination of Network Resource is DEFICIENT, the Transmission Provider shall set the request to DEFICIENT and begin informal communications with the Eligible Transmission Customer to resolve the deficiencies. 

001-105.3.5.4
The Network Customer shall remedy the deficiency and shall set the status of the request for temporary termination of Network Resource to REEVALUATE.

001-105.3.5.5
Upon notification that the Network Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:

001-105.3.5.5.1
If the information provided fails to remedy the deficiency, the Transmission Provider shall set the status of the request for temporary termination of Network Resource to DEFICIENT.

001-105.3.5.5.2
If the information provided remedies the deficiency, the Transmission Provider shall set the status of the request for temporary termination of Network Resource to COMPLETED.

001-105.3.5.5.3
If the information provided is deemed by the Transmission Provider to be a significant change to the request for temporary termination of Network Resource, the Transmission Provider shall set the status of the request to DECLINED.

001-105.3.5.6
If the Network Customer fails to respond to the Transmission Provider’s notice of a DEFICIENT request for temporary termination of Network Resource, or fails to remedy the deficiency to the Transmission Provider’s satisfaction in a timely manner, the Transmission Provider shall set the status of the request to DECLINED.

001-105.3.5.7
In response to a state of DECLINED, the Network Customer may submit a new or revised request for temporary termination of Network Resource, which will be assigned a new unique identifier and a new queue time.  

001-105.3.6
Completed Request for Temporary Termination of Network Resource 

001-105.3.6.1
Once the Transmission Provider has set the status of the request for temporary termination of Network Resource to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.3.7
Acceptance of Request for Temporary Termination of Network Resource 

001-105.3.7.1
Once the status of the request for temporary termination of Network Resource is set to COMPLETED, the status of the request shall then be changed to ACCEPTED.

001-105.3.8
Customer Actions

001-105. 3.8.1
After the status of the request for temporary termination of Network Resource has been set to ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request by setting the status to CONFIRMED or WITHDRAWN. 

001-105.3.9
Final Disposition of Request for Temporary Termination of Network Resource 

001-105.3.9.1
Once CONFIRMED, the request for temporary termination of Network Resource will be incorporated into the associated CONFIRMED NITS Application.

001-105.3.9.2
If, within the time limits specified in Table 4-A, the Network Customer fails to set the status of the ACCEPTED request for temporary termination of Network Resource to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request to RETRACTED. 

001-105.3.9.2.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for temporary termination of Network Resource, which will be assigned a new unique identifier and a new queue time.   

001-105.4
Indefinite Termination of Network Resource

001-105.4.1
Request for Indefinite Termination of Network Resource
001-105.4.1.1
The Transmission Provider shall not refuse a valid and complete request for indefinite termination of Network Resource.
001-105.4.2
Submission of Request for Indefinite Termination of Network Resource

001-105.4.2.1
The Network Customer may enter and update information on OASIS in association with a request for indefinite termination of Network Resource prior to submission to the Transmission Provider by setting the status of the request to PENDING. 

001- 105.4.2.2
The Network Customer shall indicate to the Transmission Provider that the request for indefinite termination of Network Resource is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.4.2.2.1
OASIS shall set the queue time for the request for indefinite termination of Network Resource to the time that the Network Customer submits the request, which shall set the request to QUEUED.

001-105.4.2.2.2
The Transmission Provider shall acknowledge the queued request for indefinite termination of Network Resource by setting the status of the request to RECEIVED.

001-105.4.3
Initial Review of Request for Indefinite Termination of Network Resource

001- 105.4.3.1
The Transmission Provider shall review the request for indefinite termination of Network Resource to determine if the request is consistent with the Transmission Provider’s tariff requirements.

001- 105.4.3.2
The Transmission Provider shall respond to a request for indefinite termination of Network Resource by setting the status to one of the following:

I.
INVALID 

II.
COMPLETED

001-105.4.4
Invalid Request for Indefinite Termination of Network Resource

001-105.4.4.1
If the information necessary to process the request for indefinite termination of Network Resource is not provided, the Transmission Provider shall set the state of the request to INVALID and the request shall be deemed withdrawn.

001-105.4.4.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for indefinite termination of Network Resource, which will be assigned a new unique identifier and a new queue time.   

001-105.4.5
Completed Request for Temporary Termination of Network Resource 

001-105.4.5.1
Once the Transmission Provider has set the status of the request for temporary termination of Network Resource to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.4.6
Acceptance of Request for Indefinite Termination of Network Resource

001-105.4.6.1
Once the request for indefinite termination of Network Resource is deemed to be valid, the Transmission Provider shall set the status of the request to ACCEPTED.

1-105.4.7
Customer Actions

001-105.4.7.1
After the status of the request for indefinite termination of Network Resource has been set to ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request by setting the status to CONFIRMED or WITHDRAWN. 

001-105.4.8
Final Disposition of Request for Indefinite Termination of Network Resource

001-105.4.8.1
Once CONFIRMED, the request for indefinite termination of Network Resource will be incorporated into the associated CONFIRMED NITS Application.

001-105.4.8.2
If, within the time limits specified in Table 105-A Network Timing Requirements the Network Customer fails to set the status of the ACCEPTED request for indefinite termination of Network Resource to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request to RETRACTED. 

001-105.4.8.2.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for indefinite termination of Network Resource, which will be assigned a new unique identifier and a new queue time.   

001-105.5
Designation of New Network Load
001-105.5.1
Request for Designation of New Network Load
001-105.5.1.1
A request for designation of new Network Load may be a request for either (1) a load addition to a Network Customer’s existing Network Load(s) exclusive of projected load growth or (2) a load addition that is separate from a Network Customer’s existing Network Load(s).

001-105.5.1.1.1
If the Network Customer’s preference is for a load addition to the Network Customer’s existing Network Load(s) exclusive of projected load growth, then the Network Customer shall set the “Addition to Existing Load” flag to “Y” and reference the unique identifier assigned to the existing designated Network Load. (Technical team to determine whether to use a flag or a data element such as “type of load addition”. The set flag language might belong in WEQ-002 and/or WEQ-013)
001-105.5.1..12
If the Network Customer’s preference is for a load addition that is separate from a Network Customer’s existing Network Load(s), then the Network Customer shall set the “Addition to Existing Load” flag to “N”.

001-105.5.1.1.3
If the Network Customer has no preference, then the Network Customer shall set the “Addition to Existing Load” flag to null.

001-105.5.1.1.4
The Transmission Provider shall accommodate the Network Customer’s preference if the ability to do so is indicated by the results of the evaluation of the request.

001-105.5.2
Submission of Request for Designation of New Network Load

001-105.5.2.1
The Network Customer may enter and update information on OASIS in association with a request for designation of new Network Load prior to submission to the Transmission Provider by setting the status of the request to PENDING.

001- 105.5.2.2
The Transmission Provider may specify, in its posted business practice, the minimum information required to designate a new Network Load. 

001- 105.5.2.3
The Network Customer shall indicate to the Transmission Provider that the request for designation of new Network Load is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.5.2.3.1
OASIS shall set the queue time for the request for designation of new Network Load to the time that the Network Customer submits the request, which shall set the request to QUEUED.

001-105.5.2.3.2
The Transmission Provider shall acknowledge the queued request for designation of new Network Load by setting the status of the request to RECEIVED.

001-105.5.3
Initial Review of Request for Designation of New Network Load

001-105.5.3.1
The Transmission Provider shall review the request for designation of new Network Load to determine if the request: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; and (2) is complete consistent with the Transmission Provider’s tariff requirements.

001-105.5.3.2
The Transmission Provider shall respond to a request for designation of new Network Load by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 

III.
COMPLETED 

001-105.5.4
Invalid Request for Designation of New Network Load

001-105.5.4.1
If the required information, as specified in WEQ-001-105.5.2.1, is not provided, the Transmission Provider shall set the state of the request for designation of new Network Load to INVALID and the request shall be deemed withdrawn.

001-105.5.4.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for designation of new Network Load, which will be assigned a new unique identifier and a new queue time.   

001-105.5.5
Deficient Request for Designation of New Network Load
001-105.5.5.1
For each request for designation of new Network Load which is not INVALID, the Transmission Provider shall determine if the request can be deemed sufficient. 
001-105.5.5.1.1
If deemed sufficient, the Transmission Provider shall set the status of such request to COMPLETED.  
001-105.5.5.1.2
If not deemed sufficient, the Transmission Provider shall set the status of such request to DEFICIENT. 

001-105.5.5.2
If the Transmission Provider determines that the request for designation of new Network Load is DEFICIENT, the Transmission Provider shall set the request to DEFICIENT and begin informal communications with the Network Customer to resolve the deficiencies. 

001-105.5.5.3
The Network Customer shall remedy the deficiency and shall set the status of the request for designation of new Network Load to REEVALUATE.

001-105.5.5.4
Upon notification that the Network Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:

001-105.5.5.4.1
If the information provided fails to remedy the deficiency, the Transmission Provider shall set the status of the request for designation of new Network Load to DEFICIENT.

001-105.5.5.4.2
If the information provided remedies the deficiency, the Transmission Provider shall set the status of the request for designation of new Network Load to COMPLETED.

001-105.5.5.4.3
If the information provided is deemed by the Transmission Provider to be a significant change to the request for designation of new Network Load, the Transmission Provider shall set the status of the request to DECLINED.

001-105.5.5.5
If the Network Customer fails to respond to the Transmission Provider’s notice of a DEFICIENT request for designation of new Network Load, or fails to remedy the deficiency to the Transmission Provider’s satisfaction in a timely manner, the Transmission Provider shall set the status of the request to DECLINED.

001-105.5.5.6
In response to a state of DECLINED, the Network Customer may submit a new or revised request for designation of new Network Load, which will be assigned a new unique identifier and a new queue time.  

001-105.5.6
Completed Request for Designation of New Network Load

001-105.5.6.1
Once the Transmission Provider has set the status of the request for designation of new Network Load to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.5.7
Review of Completed Request for Designation of New Network Load

001- 105.5.7.1
Once the Transmission Provider has set the status of the request for designation of new Network Load to COMPLETED, the Transmission Provider shall respond to the request, consistent with filed tariffs, within the Provider Response Time Limit defined in Table 105-A Network Timing Requirements. The time limit is measured from the time the request is QUEUED.  To indicate its evaluation of the request, a Transmission Provider may respond by setting the state of the request to one of the following:
I.    STUDY

II.   DECLINED

III.  REFUSED 

IV.  COUNTEROFFER

V.  ACCEPTED 

001-105.5.8
Study of Request for Designation of New Network Load

001-105.5.8.1 
If the Transmission Provider determines that some level of study is required or is being performed, the Transmission Provider shall set the status of the request for designation of new Network Load to STUDY.

001-105.5.8.2
The Transmission Provider shall, through its evaluation, determine whether the request for designation of new Network Load is either (1) a load addition to a Network Customer’s existing Network Load(s) exclusive of projected load growth or (2) a load addition that is separate from a Network Customer’s existing Network Load(s) and shall set the “Addition to Existing Load” flag to either “Y” or “N”, as appropriate.

001-105.5.8.2.1
If the Transmission Provider sets the “Addition to Existing Load” flag to “Y”, then the Transmission Provider shall ensure that the unique identifier assigned to the existing designated Network Load is referenced in the request (this may be “response to request” – technical team to determine and may also look at using counteroffer-type functionality).
001-105.5.8.3
From the status of STUDY, the Transmission Provider shall set the status of the request for designation of new Network Load to DECLINED, REFUSED, COUNTEROFFER or ACCEPTED.

001-105.5.9
Declining Request for Designation of New Network Load

001-105.5.9.1
If, at any time in the evaluation of the request for designation of new Network Load or conduct of any associated study(ies), the Transmission Provider determines that the Network Customer has failed to meet any of the terms and conditions for the designation of a new Network Load (e.g., failure to execute a study agreement, etc.), the Transmission Provider shall set the status of the request to DECLINED.

001-105.5.9.2
In response to a state of DECLINED, the Network Customer may submit a new or revised request for designation of new Network Load, which will be assigned a new unique identifier and a new queue time.   

001-105.5.10
Refusal of Request for Designation of New Network Load

001-105.5.10.1
If, at any time in the evaluation of the request for designation of new Network Load or conduct of any associated study(ies), the Transmission Provider determines that the requested service cannot be provided due to lack of availability of transfer capability consistent with the Transmission Provider’s OATT requirements, the Transmission Provider may set the status of the request to REFUSED.

001-105.5.10.2
In response to a state of REFUSED, the Network Customer may submit a new or revised request for designation of new Network Load, which will be assigned a new unique identifier and a new queue time.  

001-105.5.11
Counteroffer to Request for Designation of New Network Load

001-105.5.11.1
When, in the evaluation of a request for designation of new Network Load or on completion of any applicable study(ies), the Transmission Provider determines that the request may be granted in part, the Transmission Provider may make a partial offer.  

001-105.5.11.1.1
If the Transmission Provider makes a partial offer, the Transmission Provider shall notify the Network Customer on OASIS by setting the amount of Network Load capacity granted over time in the response to the request for designation of new Network Load and setting the status of such request to COUNTEROFFER.

001-105.5.12
Acceptance of Request for Designation of New Network Load

001-105.5.12.1
When, in the evaluation of the request for designation of new Network Load or on completion of any applicable study(ies), the Transmission Provider determines that the request can be approved, the Transmission Provider shall set the status of the request to ACCEPTED.

001-105.5.13
Customer Actions

001-105.5.13.1
From ACCEPTED or COUNTEROFFER, the Network Customer may change the status of the request for designation for new Network Load to CONFIRMED, REBID or WITHDRAWN. The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 105-A Network Timing Requirements to change the state of the request. The Customer Confirmation Time Limit is measured from the first time the request is moved to ACCEPTED or COUNTEROFFER, and is not reset with subsequent iterations of negotiation. 

001-105.5.13.1.1
The Network Customer shall use the request status of REBID to initiate or continue the negotiation of designated Network Load capacity.

001-105.5.13.1.2
Should the Network Customer elect to initiate or continue the negotiation of designated Network Load capacity by moving the request to REBID, the Transmission Provider shall respond by taking the request to a DECLINED, SUPERSEDED, ACCEPTED, or COUNTEROFFER state within the Provider Counter Time Limit, specified in Table 105-A Network Timing Requirements. The Transmission Provider response time is measured from the most recent REBID time.

001-105.5.14
Final Disposition of Request for Designation of New Network Load

001-105.5.14.1
Once CONFIRMED, the request for designation of new Network Load will be incorporated into the associated CONFIRMED NITS Application.

001-105.5.14.2
If, within the time limits specified in Table 105-A Network Timing Requirements, the Network Customer fails to set the status of the ACCEPTED request for designation of new Network Load to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request to RETRACTED. 

001-105.5.14.2.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for designation of new Network Load, which will be assigned a new unique identifier and a new queue time.   

001-105.5.14.3
Should the Network Customer elect to initiate or continue the negotiation of Network Load capacity by changing the status of the request for designation of new Network Load to REBID, the Transmission Provider shall respond by changing the status of the request to DECLINED, ACCEPTED, or COUNTEROFFER within the Provider Counter Time Limit, specified in Table 105-A Network Timing Requirements. The Transmission Provider response time is measured from the most recent REBID time.

001-105.5.14.3.1
The Transmission Provider shall positively acknowledge agreement to the designation of new Network Load capacity over time by setting the granted Network Load capacity equal to the Network Customer’s requested Network Load capacity prior to acceptance of the request.   
001-105.6
Indefinite Termination of Network Load

001-105.6.1
Submission of Request for Indefinite Termination of Network Load

001-105.6.1.1
The Network Customer may enter and update information on OASIS in association with a request for indefinite termination of Network Load prior to submission to the Transmission Provider by setting the status of the request to PENDING. 

001- 105.6.1.2
The Network Customer shall indicate to the Transmission Provider that the request for indefinite termination of Network Load is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.6.1.2.1
OASIS shall set the queue time for the request for indefinite termination of Network Load to the time that the Network Customer submits the request, which shall set the request to QUEUED.

001-105.6.1.2.2
The Transmission Provider shall acknowledge the queued request for indefinite termination of Network Load by setting the status of the request to RECEIVED.

001-105.6.2
Initial Review of Request for Indefinite Termination of Network Load

001- 105.6.2.1
The Transmission Provider shall review the request for indefinite termination of Network Load to determine if the request is consistent with the Transmission Provider’s tariff requirements.

001- 105.6.2.2
The Transmission Provider shall respond to a request for indefinite termination of Network Load by setting the status to one of the following:

I.
INVALID 

II.
COMPLETED

001-105.6.3
Invalid Request for Indefinite Termination of Network Load

001-105.6.3.1
If the information necessary to process the request for indefinite termination of Network Load is not provided, the Transmission Provider shall set the state of the request to INVALID and the request shall be deemed withdrawn.

001-105.6.3.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for indefinite termination of Network Load, which will be assigned a new unique identifier and a new queue time.  

001-105.6.4
Completed Request for Indefinite Termination of Network Load 

001-105.6.4.1
Once the Transmission Provider has set the status of the request for indefinite termination of Network Load to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.6.5
Review of Completed Request for Indefinite Termination of Network Load

001- 105.6.5.1
Once the Transmission Provider has set the status of the request for indefinite termination of Network Load to COMPLETED, the Transmission Provider shall respond to the request, consistent with filed tariffs, within the Provider Response Time Limit defined in Table 105-A Network Timing Requirements. The time limit is measured from the time the request is QUEUED.  To indicate its evaluation of the request, a Transmission Provider may respond by setting the state of the request to one of the following:
I.   DECLINED

II.  ACCEPTED 

001-105.6.6
Declining Request for Indefinite Termination of Network Load

001-105.6.6.1
If, at any time in the evaluation of the request for indefinite termination of Network Load, the Transmission Provider determines that the Network Customer has failed to meet any of the terms and conditions for the indefinite termination of Network Load, the Transmission Provider shall set the status of the request to DECLINED.

001-105.6.6.2
In response to a state of DECLINED, the Network Customer may submit a new or revised request for indefinite termination of Network Load, which will be assigned a new unique identifier and a new queue time.   

001-105.6.7
Acceptance of Request for Indefinite Termination of Network Load

001-105.6.7.1
When, in the evaluation of the request for indefinite termination of Network Load, the Transmission Provider determines that the request can be approved, the Transmission Provider shall set the status of the request to ACCEPTED.

001-105.6.8
Customer Actions

001-105.6.8.1
After the status of the request for indefinite termination of Network Load has been set to ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request by setting the status to CONFIRMED or WITHDRAWN.

001-105.6.9
Final Disposition of Request for Indefinite Termination of Network Load

001-105.6.9.1
Once CONFIRMED, the request for indefinite termination of Network Load will be incorporated into the associated CONFIRMED NITS Application.

001-105.6.9.2
If, within the time limits specified in Table 105-A Network Timing Requirements, the Network Customer fails to set the status of the ACCEPTED request for indefinite termination of Network Resource to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request to RETRACTED.

001-105.6.9.2.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request indefinite termination of Network Load, which will be assigned a new unique identifier and a new queue time.   

001-105.7
Network Scheduling Rights
001-105.7.1
Use of a request for new Network Scheduling Right is optional at the discretion of the Transmission Provider. Such request will be processed in accordance with the following:

000-105.7.1.1
The Transmission Provider may complete a request for new Network Scheduling Right and may set the status of the request to ACCEPTED. 

001-105.7.1.2
Alternatively, the Network Customer may submit a request for new Network Scheduling Right.

001-105.7.2
The Transmission Provider may specify, in its posted business practice, if the request for new Network Scheduling Right shall be used and the process the Transmission Provider requires based on the Business Practice Standard WEQ-001-105.7.1 for completion of a request for temporary termination of Network Scheduling Right.

001-105.7.3
A request for new Network Scheduling Right shall only be granted when associated with a Designated Network Resource(s). The capacity granted for request for new Network Scheduling Right may be different from the capacity granted for Designated Network Resource(s).

001-105.7.4
Submission of Request for New Network Scheduling Right

001-105.7.4.1
The Network Customer may enter and update information on OASIS in association with a request for new Network Scheduling Right prior to submission to the Transmission Provider by setting the status of the request to PENDING.

001- 105.7.4.2
The Transmission Provider may specify, in its posted business practice, the minimum information required for new Network Scheduling Right.  

001- 105.7.4.3
The Network Customer shall indicate to the Transmission Provider that the request for new Network Scheduling Right is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.7.4.3.1
OASIS shall set the queue time for the request for new Network Scheduling Right to the time that the Network Customer submits the request, which shall set the status of the request to QUEUED.

001-105.7.4.3.2
The Transmission Provider shall acknowledge the queued request for new Network Scheduling Right by setting the status of the request to RECEIVED.

001-105.7.5
Initial Review of Request for New Network Scheduling Right

001- 105.7.5.1
The Transmission Provider shall review the request for New Network Scheduling Right to determine if the request: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; or (2) is consistent with the Transmission Provider’s tariff requirements.

001- 105.7.5.2
The Transmission Provider shall respond to a request by setting the status to one of the following:

I.
INVALID 

II.
COMPLETED

001-105.7.6
Invalid Request for New Network Scheduling Right

001-105.7.6.1
If the required information, as specified in WEQ-001-105.7.4.1, is not provided, the Transmission Provider shall set the state of the request for new Network Scheduling Right to INVALID and the request shall be deemed withdrawn.

001-105.7.6.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for new Network Scheduling Right, which will be assigned a new unique identifier and a new queue time.   

001-105.7.7
Completed Request for New Network Scheduling Right

001-105.7.7.1
Once the Transmission Provider has set the status of the request for a new Network Scheduling Right to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.7.8
Review of Completed Request for New Network Scheduling Right

001- 105.7.8.1
Once the Transmission Provider has set the status of the request for new Network Scheduling Right to COMPLETED, the Transmission Provider shall respond to the request, consistent with filed tariffs, within the Provider Response Time Limit defined in Table 105-A Network Timing Requirements. The time limit is measured from the time the request is QUEUED.  To indicate its evaluation of the request, a Transmission Provider may respond by setting the state of the request to one of the following:
I.
STUDY

II.
DECLINED

III.
REFUSED 

IV.
COUNTEROFFER

V.
ACCEPTED 

001-105.7.9
Study of Request for New Network Scheduling Right

001-105.7.9.1 
If the Transmission Provider determines that some level of study is required or is being performed, the Transmission Provider shall set the status of the request for new Network Scheduling Right to STUDY.

001-105.7.9.2
From the status of STUDY, the Transmission Provider shall set the status of the request for new Network Scheduling Right to DECLINED, REFUSED, COUNTEROFFER, or ACCEPTED.

001-105.7.10
Decline of Request for New Network Scheduling Right

001-105.7.10.1
If, at any time in the evaluation of the request for a new Network Scheduling Right or conduct of any associated study(ies), the Transmission Provider determines that the Network Customer has failed to meet any of the terms and conditions for new Network Scheduling Right (e.g., failure to execute a study agreement, etc.), the Transmission Provider shall set the status of the request to DECLINED.

001-105.7.10.2
In response to a state of DECLINED, the Network Customer may submit a new or revised request for new Network Scheduling Right, which will be assigned a new unique identifier and a new queue time.

001-105.7.11
Refusal of Request for New Network Scheduling Right

001-105.7.11.1
If, at any time in the evaluation of the request for new Network Scheduling Right or conduct of any associated study(ies), the Transmission Provider determines that the requested service cannot be provided due to lack of availability of transfer capability consistent with the Transmission Provider’s OATT
 requirements, the Transmission Provider may set the status of the request to REFUSED.

001-105.7.11.2
In response to a state of REFUSED, the Network Customer may submit a new or revised request for new Network Scheduling Right, which will be assigned a new unique identifier and a new queue time.

001-105.7.12
Counteroffer to Request for New Network Scheduling Right

001-105.7.12.1
When, in the evaluation of a request for new Network Scheduling Right or on completion of any applicable study(ies), the Transmission Provider determines that the request may be granted in part, the Transmission Provider may make a partial offer.  

001-105.7.12.1.1
If the Transmission Provider makes a partial offer, the Transmission Provider shall notify the Network Customer on OASIS by setting the amount of Network Scheduling Right capacity granted over time in the response to the request for new Network Scheduling Right and setting the status of such request to COUNTEROFFER.

001-105.7.13
Acceptance of Request for New Network Scheduling Right

001-105.7.13.1
When, in the evaluation of the request for new Network Scheduling Right or on completion of any applicable study(ies), the Transmission Provider determines that the request can be approved, the Transmission Provider shall set the status of the request to ACCEPTED.

001-105.7.14
Customer Actions

001-105.7.14.1
From ACCEPTED or COUNTEROFFER, the Network Customer may change the status of the request for new Network scheduling Right to CONFIRMED, REBID or WITHDRAWN. The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 105-A Network Timing Requirements to change the state of the request. The Customer Confirmation Time Limit is measured from the first time the request is moved to ACCEPTED or COUNTEROFFER, and is not reset with subsequent iterations of negotiation. 

001-105.7.14.1.1
The Network Customer shall use the request status of REBID to initiate or continue the negotiation of Network Scheduling Right capacity.

001-105.7.14.1.2
Should the Network Customer elect to initiate or continue the negotiation of Network Scheduling Right capacity by moving the request to REBID, the Transmission Provider shall respond by taking the request to a DECLINED, SUPERSEDED, ACCEPTED, or COUNTEROFFER state within the Provider Counter Time Limit, specified in Table 105-A Network Timing Requirements. The Transmission Provider response time is measured from the most recent REBID time.

001-105.7.14.1.3
The Network Customer may negotiate for a lower amount of Network Scheduling Right capacity by updating the capacity requested over time and changing the request status from ACCEPTED or COUNTEROFFER to REBID. For example, the Network Customer may choose to coordinate the level of transmission service purchased across multiple Transmission Providers. Negotiation for a higher amount of Network Scheduling Right capacity shall not be allowed. A Network Customer seeking additional Network Scheduling Right capacity must submit a new request, which will be assigned a new unique identifier and a new queue time.

001-105.7.14.1.4
Once the status of the request for new Network Scheduling Right has been set to ACCEPTED or COUNTEROFFER, the Network Customer may change the status to CONFIRMED after positively acknowledging agreement by setting the requested Network Scheduling Right capacity equal to the Transmission Provider’s granted Network Scheduling Right capacity.  Alternatively, the Network Customer may withdraw the request or the Network Customer may continue negotiations consistent with WEQ-001-105-.7.14.1.2.

001-105.7.15
Final Disposition of Request for New Network Scheduling Right

001-105.7.15.1
Once CONFIRMED, the request for new Network Scheduling Right will be incorporated into the associated CONFIRMED NITS Application.

001-105.7.15.2
If, within the time limits specified in Table 105-A Network Timing Requirements, the Network Customer fails to set the status of the ACCEPTED request for new Network Scheduling Right to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request to RETRACTED. 

001-105.7.15.2.1
In response to a state of RETRACTED, the Network Customer may submit new or revised request for a new Network Scheduling Right, which will be assigned a new unique identifier and a new queue time.

001-105.7.15.3
Should the Network Customer elect to initiate or continue the negotiation of Network Scheduling Right capacity by changing the status of the request for new Network Scheduling Right to REBID, the Transmission Provider shall respond by changing the status of the request to DECLINED, ACCEPTED, or COUNTEROFFER within the Provider Counter Time Limit, specified in Table 105-A Network Timing Requirements. The Transmission Provider response time is measured from the most recent REBID time.

001-105.7.15.3.1
The Transmission Provider shall positively acknowledge agreement to new Network Scheduling Right capacity over time by setting the granted Network Scheduling Right capacity equal to the Network Customer’s requested Network Scheduling Right capacity prior to acceptance of the request.

001-105.8
Temporary Termination of Network Scheduling Right

001-105.8.1
Use of a request for temporary termination of Network Scheduling Right is optional at the discretion of the Transmission Provider. Such request will be processed in accordance with the following:

001-105.8.1.1
The Transmission Provider may complete a request for temporary termination of Network Scheduling Right and may set the status of the request to ACCEPTED. 

001-105.8.1.2
Alternatively, the Network Customer may submit a request for temporary termination of Network Scheduling Right.

001-105.8.2
The Transmission Provider may specify, in its posted business practice, if the request for temporary termination of Network Scheduling Right shall be used and the process the Transmission Provider requires based on the Business Practice Standard WEQ-001-105.8.1 for completion of a request for temporary termination of Network Scheduling Right.

001-105.8.3
A request for temporary termination of Network Scheduling Right shall only be granted when associated with a request for temporary termination of Designated Network Resource. The capacity granted for request for temporary termination of Network Scheduling Right may be different from the capacity granted for a request for temporary termination of a Designated Network Resource(s).

001-105.8.4
Submission of Request for Temporary Termination of Network Scheduling Right 

001-105.8.4.1
The Network Customer may enter and update information on OASIS in association with a request for temporary termination of Network Scheduling Right prior to submission to the Transmission Provider by setting the status of the request to PENDING.

001-105.8.4.2
The Network Customer shall indicate to the Transmission Provider that the request for temporary termination of Network Scheduling Right is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.8.4.3
OASIS shall set the queue time for the request for temporary termination of Network Scheduling Right to the time that the Network Customer submits the request, which shall set the request to QUEUED.

001-105.8.4.4
The Transmission Provider shall acknowledge the queued request for temporary termination of Network Scheduling Right by setting the status of the request to RECEIVED.

001-105.8.5
Initial Review of Request for Temporary Termination of Network Scheduling Right 

001- 105.8.5.1
The Transmission Provider shall review the request for temporary termination of Network Scheduling Right to determine if the request: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; and (2) is consistent with the Transmission Provider’s tariff requirements.

001- 105.8.5.2
The Transmission Provider shall respond to a request by setting the status to one of the following:

I.
INVALID 

II.
COMPLETED

001-105.8.6
Invalid Request for Temporary Termination of Network Scheduling Right 

001-105.8.6.1
If the information necessary to process the request for temporary termination of Network Scheduling Right is not provided, the Transmission Provider shall set the state of the request for temporary termination of a Network Scheduling Right to INVALID and the request shall be deemed withdrawn.

001-105.8.6.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for temporary termination of Network Scheduling Right, which will be assigned a new unique identifier and a new queue time.

001-105.8.7
Completed Request for Temporary Termination of Network Scheduling Right 

001-105.8.7.1
Once the Transmission Provider has set the status of the request for temporary termination of Network Scheduling Right to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.8.8
Acceptance of Request for Temporary Termination of Network Scheduling Right 

001-105.8.7.1
Once the status of the request for temporary termination of Network Scheduling Right is set to COMPLETED, the status of the request shall then be changed to ACCEPTED.

001-105.8.9
Customer Actions

001-105.8.8.1
After the status of the request for temporary termination of Network Scheduling Right has been set to ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request by setting the status to CONFIRMED or WITHDRAWN. 

001-105.8.10
Final Disposition of Request for Temporary Termination of Network Scheduling Right 

001-105.8.9.1
Once CONFIRMED, the request for temporary termination of Network Scheduling Right will be incorporated into the associated CONFIRMED NITS Application.

001-105.8.9.2
A CONFIRMED request for temporary termination of Network Scheduling Right shall only be effective for the duration of the granted request.  

001-105.8.9.3
If, within the time limits specified in Table 105-A Network Timing Requirements, the Network Customer fails to set the status of the ACCEPTED request for temporary termination of Network Scheduling Right to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request to RETRACTED. 

001-105.8.9.4.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for temporary termination of Network Scheduling Right, which will be assigned a new unique identifier and a new queue time.

001-105.9
Indefinite Termination of Network Scheduling Right

001-105.9.1
Use of a request for indefinite termination of Network Scheduling Right is optional at the discretion of the Transmission Provider. Such request will be processed in accordance with the following:

001-105.9.1.1
The Transmission Provider may complete a request for indefinite termination of Network Scheduling Right and may set the status of the request to ACCEPTED. 

001-105.9.1.2
Alternatively, the Network Customer may submit a request for indefinite termination of Network Scheduling Right.

001-105.9.2
The Transmission Provider may specify, in its posted business practice, if the request for indefinite termination of Network Scheduling Right shall be used and the process the Transmission Provider requires based on the Business Practice Standard WEQ-001-105.9.1 for completion of a request for temporary termination of Network Scheduling Right.

001-105.9.3
A request for indefinite termination of Network Scheduling Right shall only be granted when associated with a request for indefinite termination of Designated Network Resource. The capacity granted for request for indefinite termination of Network Scheduling Right may be different from the capacity granted for a request for indefinite termination of a Designated Network Resource(s).

001-105.9.4
Submission of Request for Indefinite Termination of Network Scheduling Right

001-105.9.4.1
The Network Customer may enter and update information on OASIS in association with a request for indefinite termination of Network Scheduling Right prior to submission to the Transmission Provider by setting the status of the request to PENDING. 

001-105.9.4.2
The Network Customer shall indicate to the Transmission Provider that the request for indefinite termination of Network Scheduling Right is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.9.4.2.1
OASIS shall set the queue time for the request for indefinite termination of Network Scheduling Right to the time that the Network Customer submits the request, which shall set the request to QUEUED.

001-105.9.4.2.2
The Transmission Provider shall acknowledge the queued request for indefinite termination of Network Scheduling Right by setting the status of the request to RECEIVED.

001-105.9.5
Initial Review of Request for Indefinite Termination of a Network Scheduling Right

001-105.9.5.1
The Transmission Provider shall review the request for indefinite termination of Network Scheduling Right to determine if the request is consistent with the Transmission Provider’s tariff requirements.

001-105.9.5.2
The Transmission Provider shall respond to a request for indefinite termination of Network Scheduling Right by setting the status to one of the following:

I.
INVALID 

II.
COMPLETED

001-105.9.6
Invalid Request for Indefinite Termination of Network Scheduling Right

001-105.9.6.1
If the information necessary to process the request for indefinite termination of a Network Scheduling Right is not provided, the Transmission Provider shall set the state of the request to INVALID and the request shall be deemed withdrawn.

001-105.9.6.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for indefinite termination of a Network Scheduling Right, which will be assigned a new unique identifier and a new queue time.   

001-105.9.7
Completed Request for Indefinite Termination of Network Resource 

001-105.9.7.1
Once the Transmission Provider has set the status of the request for indefinite termination of Network Resource to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.9.8
Acceptance of Request for Indefinite Termination of Network Scheduling Right

001-105.9.8.1
Once the request for indefinite termination of Network Scheduling Right is deemed to be valid, the Transmission Provider shall set the status of the request to ACCEPTED.

001-105.9.9
Customer Actions

001-105.9.9.1
After the status of the request for indefinite termination of Network Scheduling Right has been set to ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request by setting the status to CONFIRMED or WITHDRAWN. 

001-105.9.10
Final Disposition of Request for Indefinite Termination of Network Scheduling Right

001-105.9.10.1
Once CONFIRMED, the request for indefinite termination of Network Scheduling Right will be incorporated into the associated CONFIRMED NITS Application.

001-105.9.10.2
If, within the time limits specified in Table 105-A Network Timing Requirements the Network Customer fails to set the status of the ACCEPTED request for indefinite termination of Network Scheduling Right to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request to RETRACTED. 

001-105.9.10.2.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for indefinite termination of Network Scheduling Right, which will be assigned a new unique identifier and a new queue time.

001-105.10
Secondary Network Transmission Service
 
001-105.10.1
Submission of Request for Secondary Network Transmission Service 

001-105.10.1.1
The Network Customer may enter and update information on OASIS in association with a request for Secondary Network Transmission Serviceprior to submission to the Transmission Provider by setting the status of the request to PENDING.

001- 105.10.1.2
The Transmission Provider may specify, in its posted business practice, the minimum information required for Secondary Network Transmission Service.  

001- 105.10.1.3
The Network Customer shall indicate to the Transmission Provider that the request for Secondary Network Transmission Service is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.10.1.3.1
OASIS shall set the queue time for the request for Secondary Network Transmission Service to the time that the Network Customer submits the request, which shall set the status of the request to QUEUED.

001-105.10.1.3.2
The Transmission Provider shall acknowledge the queued request for Secondary Network Transmission Service by setting the status of the request to RECEIVED.

001-105.10.2
Initial Review of Request for Secondary Network Transmission Service
001- 105.10.2.1
The Transmission Provider shall review the request for Secondary Network Transmission Service to determine if the request: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; or (2) is consistent with the Transmission Provider’s tariff requirements.

001- 105.10.2.2
The Transmission Provider shall respond to a request by setting the status to one of the following:

I.
INVALID 

II.
COMPLETED

001-105.10.3
Invalid Request for Secondary Network Transmission Service
001-105.10.3.1
If the required information, as specified in WEQ-001-105.10.2.1, is not provided, the Transmission Provider shall set the state of the request for Secondary Network Transmission Service to INVALID and the request shall be deemed withdrawn.

001-105.10.3.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for Secondary Network Transmission Service, which will be assigned a new unique identifier and a new queue time.   

001-105.10.4
Completed Request for Secondary Network Transmission Service
001-105.10.4.1
Once the Transmission Provider has set the status of the request for Secondary Network Transmission Service to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.10.5
Review of Completed Request for Secondary Network Transmission Service 

001- 105.10.5.1
Once the Transmission Provider has set the status of the request for Secondary Network Transmission Service to COMPLETED, the Transmission Provider shall respond to the request, consistent with filed tariffs, within the Provider Response Time Limit defined in Table 105-A Network Timing Requirements. The time limit is measured from the time the request is QUEUED.  To indicate its evaluation of the request, a Transmission Provider may respond by setting the state of the request to one of the following:
I.
DECLINED

II.
REFUSED 

III.
COUNTEROFFER

IV.
ACCEPTED 

001-105.10.6
Decline of Request for Secondary Network Transmission Service
001-105.10.6.1
If, at any time in the evaluation of the request for Secondary Network Transmission Service, the Transmission Provider determines that the Network Customer has failed to meet any of the terms and conditions for Secondary Network Transmission Service, the Transmission Provider shall set the status of the request to DECLINED.

001-105.10.6.2
In response to a state of DECLINED, the Network Customer may submit a new or revised request for Secondary Network Transmission Service, which will be assigned a new unique identifier and a new queue time.

001-105.10.7
Refusal of Request for Secondary Network Transmission Service
001-105.10.7.1
If, at any time in the evaluation of the request for Secondary Network Transmission Service, the Transmission Provider determines that the requested service cannot be provided due to lack of availability of transfer capability consistent with the Transmission Provider’s OATT requirements, the Transmission Provider may set the status of the request to REFUSED.

001-105.10.7.2
In response to a state of REFUSED, the Network Customer may submit a new or revised request for Secondary Network Transmission Service, which will be assigned a new unique identifier and a new queue time.

001-105.10.8
Counteroffer to Request for Secondary Network Transmission Service
001-105.10.8.1
When, in the evaluation of a request for Secondary Network Transmission Service, the Transmission Provider determines that the request may be granted in part, the Transmission Provider may make a partial offer.  

001-105.10.8.1.1
If the Transmission Provider makes a partial offer, the Transmission Provider shall notify the Network Customer on OASIS by setting the amount of Secondary Network Transmission Service capacity granted over time in the response to the request for Secondary Network Transmission Service and setting the status of such request to COUNTEROFFER.

001-105.10.9
Acceptance of Request for Secondary Network Transmission Service
001-105.10.9.1
When, in the evaluation of the request for Secondary Network Transmission Service, the Transmission Provider determines that the request can be approved, the Transmission Provider shall set the status of the request to ACCEPTED.

001-105.10.10
Customer Actions

001-105.10.10.1
From ACCEPTED or COUNTEROFFER, the Network Customer may change the status of the request for Secondary Network Transmission Service to CONFIRMED, REBID or WITHDRAWN. The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 105-A Network Timing Requirements to change the state of the request. The Customer Confirmation Time Limit is measured from the first time the request is moved to ACCEPTED or COUNTEROFFER, and is not reset with subsequent iterations of negotiation. 

001-105.10.10.1.1
The Network Customer shall use the request status of REBID to initiate or continue the negotiation of Secondary Network Transmission Service capacity.

001-105.10.10.1.2
Should the Network Customer elect to initiate or continue the negotiation of Secondary Network Transmission Service capacity by moving the request to REBID, the Transmission Provider shall respond by taking the request to a DECLINED, SUPERSEDED, ACCEPTED, or COUNTEROFFER state within the Provider Counter Time Limit, specified in Table 105-A Network Timing Requirements. The Transmission Provider response time is measured from the most recent REBID time.

001-105.10.10.1.3
The Network Customer may negotiate for a lower amount of Secondary Network Transmission Service capacity by updating the capacity requested over time and changing the request status from ACCEPTED or COUNTEROFFER to REBID. Negotiation for a higher amount of Secondary Network Transmission Service capacity shall not be allowed. A Network Customer seeking additional Secondary Network Transmission Service capacity must submit a new request, which will be assigned a new unique identifier and a new queue time.

001-105.10.10.1.4
Once the status of the request for Secondary Network Transmission Service has been set to ACCEPTED or COUNTEROFFER, the Network Customer may change the status to CONFIRMED after positively acknowledging agreement by setting the requested Secondary Network Transmission Service capacity equal to the Transmission Provider’s granted Secondary Network Transmission Service capacity.  Alternatively, the Network Customer may withdraw the request or the Network Customer may continue negotiations consistent with WEQ-001-105-.10.10.1.2.

001-105.10.11
Final Disposition of Request for Secondary Network Transmission Service
001-105.10.11.1
Once CONFIRMED, the request for Secondary Network Transmission Service will be incorporated into the associated CONFIRMED NITS Application.

001-105.10.11.2
If, within the time limits specified in Table 105-A Network Timing Requirements, the Network Customer fails to set the status of the ACCEPTED request for Secondary Network Transmission Service to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request to RETRACTED. 

001-105.10.11.2.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for Secondary Network Transmission Service, which will be assigned a new unique identifier and a new queue time.

001-105.10.11.3
Should the Network Customer elect to initiate or continue the negotiation of Secondary Network Transmission Service capacity by changing the status of the request for Secondary Network Transmission Service to REBID, the Transmission Provider shall respond by changing the status of the request to DECLINED, ACCEPTED, or COUNTEROFFER within the Provider Counter Time Limit, specified in Table 105-A Network Timing Requirements. The Transmission Provider response time is measured from the most recent REBID time.

001-105.10.11.3.1
The Transmission Provider shall positively acknowledge agreement to Secondary Network Transmission Service capacity over time by setting the granted Secondary Network Transmission Service capacity equal to the Network Customer’s requested Secondary Network Transmission Service capacity prior to acceptance of the request.

001-105.11
Termination of Secondary Network Transmission Service
001-105.11.1
Use of a request for termination of Secondary Network Transmission Service, either for temporary termination or indefinite termination, is optional at the discretion of the Transmission Provider.

001-105.11.2
If a request for termination of Secondary Network Transmission Service is used, the Transmission Provider shall specify such use in its posted business practice.
001-105.11.3
Request for Termination of Secondary Network Transmission Service
001-105.11.3.1
The Transmission Provider shall not refuse a valid and complete request for termination of Secondary Network Transmission Service.

001-105.11.4
Submission of Request for Termination of Secondary Network Transmission Service 

001-105.11.4.1
The Network Customer may enter and update information on OASIS in association with a request for termination of Secondary Network Transmission Service prior to submission to the Transmission Provider by setting the status of the request to PENDING.

001-105.11.4.2
The Network Customer shall indicate to the Transmission Provider that the request for termination of Secondary Network Transmission Service is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.11.4.3
OASIS shall set the queue time for the request for termination of Secondary Network Transmission Service to the time that the Network Customer submits the request, which shall set the request to QUEUED.

001-105.11.4.4
The Transmission Provider shall acknowledge the queued request for termination of Secondary Network Transmission Serviceby setting the status of the request to RECEIVED.

001-105.11.5
Initial Review of Request for Termination of Secondary Network Transmission Service 

001- 105.11.5.1
The Transmission Provider shall review the request for termination of Secondary Network Transmission Service to determine if the request: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; and (2) is consistent with the Transmission Provider’s tariff requirements.

001- 105.11.5.2
The Transmission Provider shall respond to a request by setting the status to one of the following:

I.
INVALID 

II.
COMPLETED

001-105.11.6
Invalid Request for Termination of Secondary Network Transmission Service 

001-105.11.6.1
If the information necessary to process the request for termination of Secondary Network Transmission Service is not provided, the Transmission Provider shall set the state of the request for termination of Secondary Network Transmission Service to INVALID and the request shall be deemed withdrawn.

001-105.11.6.2
In response to a state of INVALID, the Network Customer may submit a new or revised request for termination of Secondary Network Transmission Service, which will be assigned a new unique identifier and a new queue time.

001-105.11.7
Completed Request for Termination of Secondary Network Transmission Service 

001-105.11.7.1
Once the Transmission Provider has set the status of the request for termination of Secondary Network Transmission Service to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.11.8
Acceptance of Request for Termination of Secondary Network Transmission Service
001-105.11.8.1
Once the status of the request for termination of Secondary Network Transmission Service is set to COMPLETED, the status of the request shall then be changed to ACCEPTED.

001-105.11.9
Customer Actions

001-105.11.9.1
After the status of the request for termination of Secondary Network Transmission Service has been set to ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request by setting the status to CONFIRMED or WITHDRAWN. 

001-105.11.10
Final Disposition of Request for Termination of Secondary Network Transmission Service 

001-105.11.10.1
Once CONFIRMED, the request for termination of Secondary Network Transmission Service will be incorporated into the associated CONFIRMED NITS Application.

001-105.11.10.2
If, within the time limits specified in Table 105-A Network Timing Requirements, the Network Customer fails to set the status of the ACCEPTED request for termination of Secondary Network Transmission Service to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request to RETRACTED. 

001-105.11.10.2.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for termination of Secondary Network Transmission Service, which will be assigned a new unique identifier and a new queue time.

Note:  The Transmission Provider will be responsible for posting sufficient data to document ATC/ETC calculations.  This may include specific ETC set asides for load growth which are not captured in specific DNRs, but are reflected in load forecasts.  This section may belong in standard WEQ-001-19, 20 – Version 002 in that area addressing the ATC calculation methodology.

Note:  Can/should the customer have the ability to include ancillary service request(s)?

Note:  Need transition – TP needs to create the TSNs for existing NITS agreements and maybe own load.

001-105.xxx
The following timing requirements shall apply to all requests for secondary network service and modifications to service requests, including NSR, DNR, and DNL requests:

Table 105-A

nits REQUEST Timing Requirements
8 

	Class 
	Service 

Increment 


	Time Queued Prior to Start


	Provider Evaluation Time Limit1
	Customer Confirmation Time Limit2 after ACCEPTED or COUNTEROFFER3
	Provider Counter Time Limit after REBID4

	Secondary Network (Non-firm) 
	Hourly

Hourly

Hourly

Daily

Weekly

Monthly
	< 1 hour

> 1hour

Day ahead

N/A

N/A

N/A
	Best effort

30 min

30 min

30 min

4 hours

2 days5
	5 minutes

5 minutes

30 minutes

2 hours

24 hours

24 hours
	5 minutes

5 minutes

10 min

10 min

4 hours

4 hours

	DNR/DNL/NSR (firm)
	Daily

Daily

Weekly

Monthly

Yearly
	<24 hours

N/A

N/A

N/A

60 days7

	Best effort

30 days6
30 days6
30 days6
30 days
	2 hours

24 hours

48 hours

4 days

15 days
	30 min

4 hours

4 hours

4 hours

4 hours

	Temporary Termination of Network Resource or Network Load 
	Hourly

Hourly

Hourly

Daily

Daily

Weekly

Monthly

Yearly
	< 1 hour

> 1hour

Day ahead

<24 hours

N/A

N/A

N/A

60 days7
	Best effort

30 min

30 min

Best effort

30 days6
30 days6
30 days6
30 days
	5 minutes

5 minutes

30 minutes

2 hours

24 hours

48 hours

4 days

15 days
	5 minutes

5 minutes

10 min

30 min

4 hours

4 hours

4 hours

4 hours

	
	
	
	
	
	


Notes for Table 105-A:
1
Consistent with regulations and filed tariffs, measurement starts at the time the request is QUEUED.

2
Confirmation time limits are not to be interpreted to extend scheduling deadlines or to override pre-emption deadlines.

3
Measurement starts at the time the request is first moved to either ACCEPTED or COUNTEROFFER.  The time limit does not reset on subsequent changes of state.

4
Measurement starts at the time the Network Customer changes the state to REBID.  The measurement resets each time the request is changed to REBID.

5
Days are defined as calendar days.

6

Transmission Providers shall make best efforts to respond within 72 hours or prior to the scheduling deadline, whichever is earlier.

7
Whenever feasible and on a nondiscriminatory basis, Transmission Providers should accommodate requests made with less than 60 days notice.

8
Timing requirements for concomitant evaluations are as specified in WEQ-001-106.

001-106
NETWORK INTEGRATION TRANSMISSION SERVICE – CONCOMITANT REQUESTS 

001-106
NETWORK INTEGRATION TRANSMISSION SERVICE – REQUEST FOR CONCOMITANTEVALUATION

001-106.1
The Network Customer shall only be allowed to request a concomitant evaluation of a request for temporary or indefinite termination of a single Network Resource and a single request for NITS or PTP transmission service on a single transmission provider system.

001-106.1.1
To be eligible for concomitant evaluation, each of the two single requests must be submitted together with the concomitant evaluation flag set. 

001-106.1.2
Transmission Provider shall evaluate the two single requests concomitantly.
001-106.1.3
The Transmission Provider shall assign the same queue time to each of the two single requests.

001-106.2
A single request that does not have the concomitant evaluation flag set will be considered a separate request and will be processed according to the appropriate Business Practice Standards for such request.

001-106.3
Denial of one of the single requests shall result in denial of both single requests. 

001- 106.4
The Transmission Provider shall respond to a request for concomitant evaluations by setting the appropriate status according to the Business Practice Standards for each of the single requests.

001-106.5
If the Transmission Provider counteroffers the single request paired with the request for temporary or indefinite termination of Network Resource, the status of both requests shall be set to COUNTEROFFER.

001-106.5.1
Should the Network Customer elect to initiate or continue the negotiation of the two single requests by changing the status of the two requests to REBID, the Transmission Provider shall respond by changing the status of the request to DECLINED, ACCEPTED, or COUNTEROFFER within the Provider Counter Time Limit, specified in Table 105-A Network Timing Requirements. The Transmission Provider response time is measured from the most recent REBID time.

001-106.6
Customer Actions

001-106.6.1
After the status of the two single requests has been set to ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the requests by setting the status of each single request to CONFIRMED or WITHDRAWN. 

001-106.6.2
Final Disposition of the Request For Concomitant Evaluation

001-106.6.2.1
Once CONFIRMED, the two single requests will be incorporated into the associated CONFIRMED NITS Application.

001-106.6.3
If, within the time limits specified in Table 105-A Network Timing Requirements the Network Customer fails to set the status of the two single ACCEPTED requests to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the two single requests to RETRACTED. 

001-106.6.3.1
In response to a state of RETRACTED, the Network Customer may submit a new or revised request for concomitant evaluation consisting of two single requests, which will both be assigned a new unique identifier and a new queue time.   

001-106.7
If one of the single requests is DISPLACED, the treatment of the other single request shall be as specified in the Transmission Provider’s posted business practice.
001-107
NETWORK INTEGRATION TRANSMISSION SERVICE – ANNUAL UPDATES

001-107.1
Consistent with the Transmission Provider’s tariff requirements and, if applicable, the network operating agreement or Transmission Provider’s posted business practice, the Transmission Customer shall provide annual updates of Network Load and Network Resource forecasts, as specified in WEQ-002..

001-108
NETWORK INTEGRATION TRANSMISSION SERVICE – RENEWAL OF SERVICE (or ROLLOVER RIGHTS) 

001-108.1
Consistent with the Transmission Provider’s tariff requirements and, if applicable, the Transmission Provider’s posted business practice, renewal of service ( rollover rights) may be provided, as specified in WEQ-002.
State Table for Network Service Application

(* indicates final state)

	State
	TP Response Options
	TC Response Options

	PENDING

	
	

	QUEUED
	RECEIVED
	WITHDRAWN*

	RECEIVED
	INVALID*

DEFICIENT
COMPLETED
STUDY

COUNTEROFFER

ACCEPTED

DECLINED
	WITHDRAWN*

	DEFICIENT
	INVALID*

DECLINED*

COMPLETED
	REEVALUATE
WITHDRAWN*

	REEVALUATE
	INVALID*

DEFICIENT
COMPLETED
STUDY

COUNTEROFFER

ACCEPTED

DECLINED*
	WITHDRAWN*

REEVALUATE

	COMPLETED
	REFUSED

DECLINED

STUDY

COUNTEROFFER

ACCEPTED
	WITHDRAWN*

	STUDY
	COUNTEROFFER

ACCEPTED

REFUSED

DECLINED*
	WITHDRAWN*

	COUNTEROFFER
	RETRACTED*
	WITHDRAWN*

CONFIRMED*

REBID

	REBID
	COUNTEROFFER

SUPERSEDED
ACCEPTED

DECLINED
	

	ACCEPTED
	RETRACTED*
	WITHDRAWN*

CONFIRMED*

REBID

	CONFIRMED*
	ANNULLED*

(may be used if customer fails to complete the Application process such as failing to participate in the service agreement phase of the Application process)
	


QUEUED – initial status assigned by TSIP on receipt of "customer services purchase request".

INVALID – assigned by TSIP or Primary Provider indicating an invalid field in the request, such as improper POR, POD, source, sink, etc. (Final state). ****06092010 – Review this definition on 06102010

RECEIVED – assigned by Primary Provider or Seller to acknowledge QUEUED requests and indicate the service request is being evaluated, including for completing the required ancillary services.

STUDY – assigned by Primary Provider or Seller to indicate some level of study is required or being performed to evaluate service request.

REFUSED – assigned by Primary Provider or Seller to indicate service request has been denied due to lack of availability of transfer capability. (Final state).

COUNTEROFFER – assigned by Primary Provider or Seller to indicate that a new OFFER_PRICE and/or CAPACITY_GRANTED over time is being proposed in the negotiation of requested service (i.e., offering of partial service or negotiation of price).

REBID – assigned by Customer to indicate that a new BID_PRICE and/or CAPACITY_REQUESTED over time is being proposed. Used only for Point-To-Point.

SUPERSEDED – assigned by Primary Provider or Seller when a request which has not yet been confirmed is preempted by another reservation request. (Final state).

ACCEPTED – assigned by Primary Provider or Seller to indicate the service request at the designated BID_PRICE and CAPACITY_REQUESTED has been approved/accepted. Depending upon the type of ancillary services required, the Seller may or may not require all ancillary service reservations to be completed before accepting a request.

DECLINED – assigned by the Primary Provider or Seller to indicate that the terms and conditions, such as the BID_PRICE, are unacceptable and that negotiations are terminated or that contractual terms have not been met or the Transmission Customer (need to make sure definition of TC includes Network Customer) has failed to respond to a deficiency within an established timeframe.  (Final state).

RETRACTED - assigned by Primary Provider or Seller when the Customer fails to confirm or withdraw the request within the required time period. (Final state).

WITHDRAWN – assigned by the Customer during request evaluation to withdraw the request from any further action. (Final state).

CONFIRMED – assigned by the Customer in response to the Primary Provider or Seller posting "ACCEPTED" status, to confirm service. Once a request has been "CONFIRMED", a transmission service reservation exits. (Final state, unless overridden by DISPLACED or ANNULLED state).

DISPLACED – assigned by Primary Provider or Seller when a "CONFIRMED" reservation from a Customer is displaced by a higher priority reservation, and the Customer is not offered or has not exercised right of first refusal (i.e. refused to match terms of new request). (Final state).

ANNULLED – assigned by the Seller when, by mutual agreement with the Customer, a confirmed reservation is to be voided or assigned unilaterally by the Primary Provider when a confirmed reservation is to be voided. (Final state).

DEFICIENT – assigned by Primary Provider indicating a correctable deficiency in the Network Service Application, such as missing, incomplete, or inconsistent information 

REEVALUATE – assigned by the Customer during the Network Service Application process indicating that deficiencies have been corrected and submitting the revised Application to the Primary Provider for review

COMPLETED – assigned by Primary Provider to acknowledge receipt of a completed Network Service Application and to indicate the service request is being evaluated, including for completing the required ancillary services.
PENDING – assigned by OASIS prior to submission by the Network Customer, to be used while the Network Customer is developing the Application.

APPENDIX XXX

	  STATE
	PENDING
	QUEUED
	RECEIVED
	DEFICIENT
	REEVALUATE
	COMPLETED
	STUDY
	COUNTER

-OFFER
	REBID
	ACCEPTED
	CONFIRMED

	Initial Application
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	N
	Y
	Y

	Designate Network Resource
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	Y

	Temporary Termination  of Network Resource (with redesignation of the same Network Resource)
	Y
	Y
	Y
	Y
	Y
	Y
	N
	N
	N
	Y
	Y

	Designate Network Load
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	N
	Y
	Y

	Indefinite Termination of Network Resource
	Y
	Y
	Y
	N
	N
	Y
	N
	N
	N
	Y
	Y

	Indefinite Termination Of Network Load
	Y
	Y
	Y
	N
	N


	Y
	N
	N
	N
	Y
	Y

	Request Network Scheduling Rights
	Y
	Y
	Y
	N
	N
	Y
	Y
	Y
	Y
	Y
	Y

	Temporary Termination Network Scheduling Rights
	Y
	Y
	Y
	N
	N
	Y
	N
	N
	N
	Y
	Y

	Indefinite Termination Network  Scheduling Rights
	Y
	Y
	Y
	N
	N
	Y
	N
	N
	N
	Y
	Y

	Request Secondary Network Resource
	Y
	Y
	Y
	N
	N
	Y
	N
	Y
	Y
	Y
	Y

	Terminate Secondary Network Resource
	Y
	Y
	Y
	N
	N
	Y
	N
	N
	N
	Y
	Y


This Table Does Not Apply To Concomitant Requests As Of 03/23/2010.

� Termination of a Network Resource is also known as “Undesignation” of a Network Resource.


� From the PENDING state, the customer may either submit the Application or request or remove the information from the pre-submittal workspace.





�(1) Use of Requests(s) v. Application needs to be consistent throughout this section.  





(2) Use of Eligible customers v. network customers v. customer needs to be “cleaned up” and consistent.


�Ensure common language regarding the “pre-submittal work space” 


�Consensus not yet reached – may not want durational differences


�The deifnition of the INVALID status needs to be modified to reflect the “does not meet minimum requirements” verbiage here.


�Ensure consistency throughtout document.


�Where there is “request for modification to service” in the specific request type sections – that phrase should be converted the specific request type.


�Marie will make prior language consistent.


�Need to review glossary to see if “OATT” covers “approved tariff”


�Include a definition “Scondary Network Service - Non-firm NITS from non-designated resources.”


�Need to insert references to this table in previous sections.


�May need to delete INVALID.






Page 18 of 57
6-17-2010


