General Statements

NYISO

General word smithing none
Standard word smithing none
MISO et al
General word smithing
1. In WEQ-001 it discusses the NITS application being completed and portions of the NITS application being completed.  It may be obvious to the subcommittee that there is an overall NITS Application, a NITS Application portion of the overall application and then other portions that are included.  The subcommittee may want to think about how this is presented in the standards NITS Application, NITS Header, other components or if this level of detail is needed in WEQ-001 at all.  This may be a technical implementation issue better addressed in WEQ-002 and WEQ-013.
8/17/11 discuss as we are going through word smithing to make clearer 
2. In reviewing what is currently in WEQ-001, it is generally written from an entity perspective rather than a system perspective.  How the OASIS application works should be in WEQ-002, 003, and 013.  In the Version 2.1 Business Practice Standards, the only references in WEQ-001 to “OASIS shall” are “All entities or persons using OASIS shall” and the “TP’s OASIS shall.”  The subcommittee should consider rewording those sections that state what OASIS shall do to reflect those are obligations of the Transmission Provider or must be performed by the Transmission Provider’s OASIS.
8/17/11 will look at rewording “OASIS shall” to something that reflects what is refered to.
49. In WEQ-001 the concept of portions is confusing.  It seems that a NITS application has portions which can include the Application and Designation for Network Service the document.  In going through the sections under WEQ-001-105 Designation of New Network Services it appears that it can have portions.  Does this indicate that within the NITS Application there are portions and then the portions have portions?  WEQ-001 seems as if it was written from an object oriented requirements specification rather than from an individual/entity business practices standards. The subcommittee may want to consider including what is meant by “portions” in each of the sections it references setting statuses on portions
8/17/11 will modify as the subcommittee hits portions.

Standard word smithing included in the standard
PGN

General word smithing none
Standard word smithing none
TVA
General word smithing none
Standard word smithing none
DUKE

General word smithing
1. The business practices surrounding Network Scheduling Rights are vague and confusing.  The subcommittee should make it clear through the business practices how scheduling rights are treated. The subcommittee should also provide examples for treatment of NSRs.
b. WEQ-001 treats Network Scheduling Rights (NSR) a request type.  Use of this request type is at the Transmission Provider’s discretion.
2. It is not clear whether any changes are anticipated to the e-tag specifications.  If e-tag specifications are needed, they should be submitted for EC approval in conjunction with the practices for WEQ-001, 002, 003, and 013.

3. When additional transmission capability comes available, what is the mechanism for asking/assigning for additional scheduling capacity without requesting/assigning additional DNR capacity?
8/3/11 Keep the NSR as optional. Need to address the optionality in weq-002. Need to address weq-001 as a request type do we need to keep this or new concept (such as dnr, dnl). Need address e-tag specifications to be worked along with nits. Need to put in examples for nsr concept. Need to manage nits scheduling rights from dnr to dnr.
8/17/11 will handle as the subcommittee is word smithing 
Standard word smithing none
SOCO

General word smithing none
Standard word smithing included in the standard
BPA

General word smithing none

Standard word smithing included in the standard
PPL

General word smithing none

Standard word smithing none
Entergy
General word smithing
Many sections have duplicate generic titles; specificity relative to each section would be helpful – e.g.  a “General Requirements” section is in 001-101 and 001-105.1, etc, and Customer Actions” is in 001-103.8, 105.2.1, 105.3.9, and 105.3.17
8/17/11 will handle as the subcommittee is word smithing.
Standard word smithing included in the standard
Revisions to Existing Business Practice Standard WEQ-001

(OASIS)
001-4.9
The Eligible Transmission Customer, Transmission Customer, or Network Customer may change a request from QUEUED, RECEIVED, STUDY, COUNTEROFFER, CR_COUNTEROFFER, REBID, ACCEPTED, or CR_ACCEPTED to WITHDRAWN at any time prior to CONFIRMED except as follows: 

001-4.9.4.
For Coordinated Requests the following requirements take precedence over other requirements for withdrawing pre-confirmed requests.
001-4.9.4.1
The Eligible Transmission Customer, Transmission Customer, or Network Customer shall be permitted, but is not required, to withdraw any pre-confirmed Coordinated Request in the Coordinated Group when the Transmission Customer has notified the Transmission Provider that one or more of the other Coordinated Requests in the Coordinated Group was denied or granted at a lower capacity than requested.

001-4.9..4.2
The Eligible Transmission Customer, Transmission Customer, or Network Customer shall not change the status of any pre-confirmed Coordinated Request from CR_ACCEPTED to WITHDRAWN unless one or more of the other Coordinated Requests in the Coordinated Group was denied or granted at a lower capacity than requested.
001-4.9.4.3
The Eligible Transmission Customer, Transmission Customer, or Network Customer shall be permitted, but is not required, to withdraw any Coordinated Request in the Coordinated Group when the Eligible Transmission Customer, Transmission Customer, or Network Customer has notified the Transmission Provider that one or more of the other Coordinated Requests in the Coordinated Group is part of a NITS Application that has been withdrawn or denied.
MISO et al
4. In 001-4.9.5.1, we recommend checking the numbering since the current standards, including what is being ratified, do not have a 001-4.9.5.
8/17/11 accepted with numbering 4.9.4.3
Southern
8/17/11 accepted
001-4.9.5.1
The Eligible Transmission Customer, Transmission Customer or Network Customer shall be permitted, but is not required, to withdraw any Coordinated Request in the Coordinated Group when the Eligible Transmission Customer, Transmission Customer or Network Customer has notified the Transmission Provider that one or more of the other Coordinated Requests in the Coordinated Group is part of a NITS Application that has been withdrawn or denied.
001-4.10
From ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER, a Eligible Transmission Customer, Transmission Customer, or Network Customer may change the status to CONFIRMED, REBID or WITHDRAWN.  The Eligible Transmission Customer, Transmission Customer, or Network Customer has the amount of time designated as Eligible Transmission Customer, Transmission Customer, or Network Customer confirmation time limit in Business Practice Standard WEQ-001 Table 4-2 PTP Request Timing Requirements and Table 105-A NITS Request Timing Requirements, to change the state of the request to CONFIRMED.  For Coordinated Requests, the Eligible Transmission Customer, Transmission Customer, or Network Customer confirmation time limit is measured from the time the last of all Coordinated Requests in the Coordinated Group has been set to either CR_ACCEPTED, or CR_COUNTEROFFER or some final state, and is not reset with subsequent iterations of negotiation. For all other requests, the Eligible Transmission Customer, Transmission Customer, or Network Customer confirmation time limit is measured from the first time the request is moved to ACCEPTED or COUNTEROFFER, and is not reset with subsequent iterations of negotiation.

001-4.10.5
For a Coordinated Request where the CAPACITY_GRANTED is less than the original CAPACITY_REQUESTED, a Eligible Transmission Customer, Transmission Customer, or Network Customer may reduce the amount of CAPACITY_REQUESTED on any other Coordinated Request in the same Coordinated Group.

001-4.10.6
The Eligible Transmission Customer, Transmission Customer, or Network Customer shall not change the status of a Coordinated Request from CR_ACCEPTED to REBID unless one or more of the other Coordinated Requests in the Coordinated Group was denied or granted at a lower capacity than requested. 

001-4.10.6.1
When there is a rebid on capacity for a Coordinated Request, the Transmission Provider shall accept the rebid on capacity.
001-4.10.6.2
When there is a rebid on capacity and price for the same Coordinated Request, the Transmission Provider shall accept the rebid on capacity but is not required to accept the rebid on price.

001-4.10.6.3
The Eligible Transmission Customer, Transmission Customer, or Network Customer shall be permitted, but is not required, to rebid any Coordinated Request in the Coordinated Group when the Eligible Transmission Customer, Transmission Customer, or Network Customer has notified the Transmission Provider that one or more of the other Coordinated Requests in the Coordinated Group is part of a NITS Application that has been withdrawn or denied.
MISO et al
5. In 001-4.10.6.1, this looks like a new section but what is being ratified uses this same section number.  Is this supposed to be a new section if so where does it belong?  If it is replacing the existing section it should show redlines.
8/17/11 accepted with numbering 4.10.6.3
Southern
001-4.10.6.1
The Eligible Transmission Customer, Transmission Customer or Network Customer shall be permitted, but is not required, to rebid any Coordinated Request in the Coordinated Group when the Eligible Tranmission Customer, Transmission Customer or Network Customer has notified the Transmission Provider that one or more of the other Coordinated Requests in the Coordinated Group is part of a NITS Application that has been withdrawn or denied.
8/17/11 accepted
001-4.11.1
For a Coordinated Request, after expiration of the Eligible Transmission Customer, Transmission Customer, or Network Customer confirmation time limit, as specified in Business Practice Standard WEQ-001 Table 4-2 PTP Request Timing Requirements and Table 105-A NITS Request Timing Requirements, the Transmission Provider has a right to move a request with the status of CR_ACCEPTED to the CONFIRMED state and to move a request with the status of CR_COUNTEROFFERED to the RETRACTED state.
MISO et al
6. In 001-4.11.1, we recommend changing “Table 4-2 Request Timing Requirements” to “Table 4-2 PTP Request Timing Requirements.”  If the subcommittee chooses to do this it should be applied throughout the standards where this table is referenced.
8/17/11 accepted will need to make changes throughout the 001 booklet to accommodate. 
001-4.11.1
For a Coordinated Request, after expiration of the Transmission Customer confirmation time limit, specified in Business Practice Standard WEQ-001 Table 4-2 PTP Request Timing Requirements and Table 105-A NITS Request Timing Requirements, the Transmission Provider has a right to move a request with the status of CR_ACCEPTED to the CONFIRMED state and to move a request with the status of CR_COUNTEROFFERED to the RETRACTED state.
Southern
001-4.11.1
For a Coordinated Request, after expiration of the Eligible Transmission Customer, Transmission Customer or Network Customer confirmation time limit, specified in Business Practice Standard WEQ-001 Table 4-2 Request Timing Requirements and Table 105-A NITS Request Timing Requirements, the Transmission Provider has a right to move a request with the status of CR_ACCEPTED to the CONFIRMED state and to move a request with the status of CR_COUNTEROFFERED to the RETRACTED state.
8/17/11 accepted
Entergy
001-4.11.1
For a Coordinated Request, after expiration of the Transmission Customer confirmation time limit, as specified in Business Practice Standard WEQ-001 Table 4-2 Request Timing Requirements and Table 105-A NITS Request Timing Requirements, the Transmission Provider has a right to move a request with the status of CR_ACCEPTED to the CONFIRMED state and to move a request with the status of CR_COUNTEROFFERED to the RETRACTED state.
8/17/11 accepted
NOTE: This SAMTS recommendation (001.xx) is the final version. 
001- xx
COORDINATION OF REQUESTS FOR SERVICE ACROSS MULTIPLE TRANSMISSION SYSTEMS

The following requirements provide consistency in processing service across multiple transmission systems.

001- xx.1
General Requirements

001- xx.1.1
OASIS shall support the queuing and processing of all Coordinated Requests, as specified in the technical requirements of Business Practice Standards WEQ-002, WEQ-003, and WEQ-013.  Coordinated Requests are only applicable for service requested directly from the Transmission Provider as the Seller of the service, i.e. not applicable to resales. 

001- xx.1.2
If the Transmission Provider determines that only a portion of the requested capacity can be accommodated on a Coordinated Request, a Eligible Transmission Customer, Transmission Customer, or Network Customer will not be required to reserve the full requested capacity on the remaining Coordinated Request(s) in a Coordinated Group.
Southern
001- xx.1.2
If the Transmission Provider determines that only a request of the requested capacity can be accommodated on a Coordinated Request, a Eligible Transmission Customer, Transmission Customer or Network Customer will not be required to reserve the full requested capacity on the remaining Coordinated Request(s) in a Coordinated Group.
8/17/11 “request” not accepted, “ETC” accepted
001- xx.1.3
A Coordinated Request shall be queued and evaluated in the same manner (i.e., same service priority) as any other PTP or NITS request, subject to the other requirements of Business Practice Standard WEQ-001 as if the Coordinated Request were not part of a Coordinated Group.

001- xx.1.4
The Transmission Provider shall not be required to verify the submission or monitor the status of Coordinated Requests submitted on another Transmission Provider’s OASIS.  

001- xx.1.5
Once all Coordinated Requests in a Coordinated Group are in a final state, the service across multiple transmission systems coordination process is complete and no further coordination shall be administered on the requests within the Coordinated Group. 
001- xx.1.6
Regional alliances of Transmission Providers, e.g., wesTTrans, shall be permitted to establish a mechanism wherein a single request is processed for PTP or NITS on multiple Transmission Providers’ systems.  Such a mechanism shall allow Coordinated Requests that extend beyond the boundaries of the alliance.

001- xx.1.7
The Transmission Provider shall not be required to offer a new service in order to establish any contiguous hour-by-hour match of reservations across transmission systems, such as service across different time zones.
001- xx.1.8
The Eligible Transmission Customer, Transmission Customer, or Network Customer is not required to procure additional service in order to establish any contiguous hour-by-hour match of reservations across transmission systems, such as service across different time zones.
Southern
001- xx.1.8
The Eligible Transmission Customer, Transmission Customer or Network Customer is not required to procure additional service in order to establish any contiguous hour-by-hour match of reservations across transmission systems, such as service across different time zones.
8/17/11 accepted
001- xx.2
Eligibility

001- xx.2.1
The Coordinated Group shall be contiguous over time and path. Contiguity of a Coordinated Group shall encompass all Coordinated Requests, and may include existing reservations, such that there shall be no gaps in service over a commercially reservable path across all the Transmission Providers’ systems in the Coordinated Group from the earliest START_TIME of any Coordinated Request in the Coordinated Group and the latest STOP_TIME of any Coordinated Request in the Coordinated Group.  See Business Practice Standard WEQ-001-xx Appendix xx. Examples. Reservations used in establishing the contiguity requirements may start prior to the earliest START_TIME of all Coordinated Requests or extend beyond the latest STOP_TIME of all Coordinated Requests in the Coordinated Group.

001- xx.2.1.1
A Coordinated Group shall permit time zone differences to exist between Coordinated Requests within the Coordinated Group. (e.g., a request with a start time of midnight EST shall be deemed by the Eligible Transmission Customer, Transmission Customer, or Network Customer and Transmission Provider to be contiguous with another request with a start time of midnight CST.)
Southern
001- xx.2.1.1
A Coordinated Group shall permit time zone differences to exist between Coordinated Requests within the Coordinated Group. (e.g., a request with a start time of midnight EST shall be deemed by the Eligible Transmission Customer, Transmission Customer or Network Customer and Transmission Provider to be contiguous with another request with a start time of midnight CST.)
8/17/11 accepted
001- xx.2.1.2
The Eligible Transmission Customer, Transmission Customer, or Network Customer shall be required to  attest that the contiguity requirements in Business Practice Standards WEQ-001- xx.2.1 have been met by the Coordinated Requests identified within the Coordinated Group.
Southern
001- xx.2.1.2
The Eligible Transmission Customer, Transmission Customer or Network Customer shall be required to  attest that the contiguity requirements in Business Practice Standards WEQ-001- xx.2.1 have been met by the Coordinated Requests identified within the Coordinated Group.
8/17/11 accepted
001- xx.2.1.3
Coordinated Requests within a Coordinated Group may have different durations (start/stop times).

001- xx.2.2
The Eligible Transmission Customer, Transmission Customer, or Network Customer may submit any combination and any number of Coordinated Requests from the following PTP or NITS services in a Coordinated Group:

· Yearly firm PTP

· Monthly firm PTP

· Monthly non-firm PTP

· Firm network service with a minimum duration of one month

· Secondary Network Transmission Service with a minimum duration of one month
Southern
001- xx.2.2
The Eligible Transmission Customer, Transmission Customer or Network Customer may submit any combination and any number of Coordinated Requests from the following PTP or NITS services in a Coordinated Group:

· Yearly firm PTP

· Monthly firm PTP

· Monthly non-firm PTP

· Firm network service with a minimum duration of one month

· Secondary Network Transmission Service with a minimum duration of one month
8/17/11 accepted
001- xx.2.3
Any Coordinated Request within a Coordinated Group may have a requested capacity valued different from any other Coordinated Request in the Coordinated Group. Any Coordinated Request within a Coordinated Group may have a requested capacity value different from any reservation capacity in the Coordinated Group. 

001-xx.2.4
All Coordinated Requests within the Coordinated Group shall be submitted as pre-confirmed.
001-xx.2.5
Requests for Concomitant Evaluation, as specified in Business Practice Standard WEQ-001-107 associated with a modification of service under a NITS Application, may be included in a Coordinated Group.
MISO et al

7. What is intended by 001-xx-2.5? How will it work?  Will both the requests in the concomitant evaluation be included?
8/17/11 accepted per word smithing change above.
001- xx.3
Processing of Coordinated Requests

001- xx.3.1
The Eligible Transmission Customer, Transmission Customer, or Network Customer shall be required to identify the request as a Coordinated Request when initially submitting the request as required in Business Practice Standards WEQ-002 and WEQ-013. 
Southern

001- xx.3.1
The Eligible Transmission Customer, Transmission Customer or Network Customer shall be required to identify the request as a Coordinated Request when initially submitting the request as required in Business Practice Standards WEQ-002 and WEQ-013.
8/17/11 accepted 

001- xx.3.2
The Eligible Transmission Customer, Transmission Customer, or Network Customer shall have 24 hours from the time the Coordinated Request is queued to provide the required information for each Coordinated Request and any reservation in the Coordinated Group and to attest that the Coordinated Group meets the contiguity requirements.
Southern

001- xx.3.2
The Eligible Transmission Customer, Transmission Customer or Network Customer shall have 24 hours from the time the Coordinated Request is queued to provide the required information for each Coordinated Request and any reservation in the Coordinated Group and to attest that the Coordinated Group meets the contiguity requirements.
8/17/11 accepted
001-xx.3.2.1
The Transmission Provider shall not accept or counteroffer a Coordinated Request until the Eligible Transmission Customer, Transmission Customer, or Network Customer has attested that the Coordinated Group meets the contiguity requirements. 
Southern

001-xx.3.2.1
The Transmission Provider shall not accept or counteroffer a Coordinated Request until the Eligible Transmission Customer, Transmission Customer or Network Customer has attested that the Coordinated Group meets the contiguity requirements.
8/17/11 accepted 

001- xx.3.3
The Eligible Transmission Customer, Transmission Customer, or Network Customer submitting a Coordinated Request shall enter the following required information for each of the reservations in the Coordinated Group on OASIS: 

· The responsible Transmission Provider

· The OASIS assigned unique identifier (When a reservation represents an off-OASIS NITS reservation, the OASIS assigned unique identifier for the reservation shall be submitted as 0.)

· The disposition of the reservation; set to “CONFIRMED”

Southern

001- xx.3.3
The Eligible Transmission Customer, Transmission Customer or Network Customer submitting a Coordinated Request shall enter the following required information for each of the reservations in the Coordinated Group on OASIS: 

· The responsible Transmission Provider

· The OASIS assigned unique identifier (When a reservation represents an off-OASIS NITS reservation, the OASIS assigned unique identifier for the reservation shall be submitted as 0.)
· The disposition of the reservation; set to “CONFIRMED”
8/17/11 accepted
001- xx.3.4
The Eligible Transmission Customer, Transmission Customer, or Network Customer submitting a Coordinated Request shall provide the following required information for each of the other Coordinated Requests in the Coordinated Group: 

· The responsible Transmission Provider

· The OASIS assigned unique identifier (When a Coordinated Request represents an off-OASIS NITS request, the OASIS assigned unique identifier for the Coordinated Request shall be submitted as 0.)

· The attributes of the transmission service requested

· The disposition of the Coordinated Request; initially set to “PENDING”

· The date and time when the Coordinated Request is moved to CR_ACCEPTED, CR_COUNTEROFFER or some final state; initially set to null

Southern

001- xx.3.4
The Eligible Transmission Customer, Transmission Customer or Network Customer submitting a Coordinated Request shall provide the following required information for each of the other Coordinated Requests in the Coordinated Group: 

· The responsible Transmission Provider

· The OASIS assigned unique identifier (When a Coordinated Request represents an off-OASIS NITS request, the OASIS assigned unique identifier for the Coordinated Request shall be submitted as 0.)

· The attributes of the transmission service requested

· The disposition of the Coordinated Request; initially set to “PENDING”

· The date and time when the Coordinated Request is moved to CR_ACCEPTED, CR_COUNTEROFFER or some final state; initially set to null
8/17/11 accepted
001- xx.3.4.1
The Eligible Transmission Customer, Transmission Customer, or Network Customer shall provide or modify the information required in Business Practice Standard WEQ-001-xx.3.3 and Business Practice Standard WEQ-001- xx.3.4 prior to the deadline established in WEQ-001-xx.3.2 and the Eligible Transmission Customer’s, Transmission Customer’s, or Network Customer’s notification to the Transmission Provider that the identification of the Coordinated Group is complete and meets the contiguity requirements of WEQ-001-xx.2.1.  Once the Eligible Transmission Customer, Transmission Customer, or Network Customer  has notified the Transmission Provider that the Coordinated Group has been submitted and is complete, the Eligible Transmission Customer, Transmission Customer, or Network Customer shall only be allowed to modify the disposition of each Coordinated Request in the Coordinated Group as described in Business Practice Standard WEQ-001-xx.3.5. 
Southern

001- xx.3.4.1
The Eligible Transmission Customer, Transmission Customer or Network Customer shall provide or modify the information required in Business Practice Standard WEQ-001-xx.3.3 and Business Practice Standard WEQ-001- xx.3.4 prior to the deadline established in WEQ-001-xx.3.2 and the Eligible Transmission Customer, Transmission Customer’s or Network Customer’s notification to the Transmission Provider that the identification of the Coordinated Group is complete and meets the contiguity requirements of WEQ-001-xx.2.1.  Once the Eligible Transmission Customer, Transmission Customer or Network Customer  has notified the Transmission Provider that the Coordinated Group has been submitted and is complete, the Eligible Transmission Customer, Transmission Customer or Network Customer shall only be allowed to modify the disposition of each Coordinated Request in the Coordinated Group as described in Business Practice Standard WEQ-001-xx.3.5. 
8/17/11 accepted
001- xx.3.4.2
The Eligible Transmission Customer, Transmission Customer, or Network Customer shall be permitted to remove the Coordinated Request from further consideration as a Coordinated Request prior to the deadline established in WEQ-001-xx.3.2 .
Southern

001- xx.3.4.2
The Eligible Transmission Customer, Transmission Customer or Network Customer shall be permitted to remove the Coordinated Request from further consideration as a Coordinated Request prior to the deadline established in WEQ-001-xx.3.2 .
8/17/11 accepted
001- xx.3.4.2.1
To remove any Coordinated Request from further consideration as a Coordinated Request, the Eligible Transmission Customer, Transmission Customer, or Network Customer shall withdraw that Coordinated Request.
Southern

001- xx.3.4.2.1
To remove any Coordinated Request from further consideration as a Coordinated Request, the Eligible Transmission Customer, Transmission Customer or Network Customer shall withdraw that Coordinated Request.
8/17/11 accepted
001- xx.3.4.2.2
Once removed from consideration as a Coordinated Request, the Eligible Transmission Customer, Transmission Customer, or Network Customer shall update other Coordinated Requests identified as part of the Coordinated Group to identify  the affected request has been withdrawn, as applicable. 
Southern

001- xx.3.4.2.2
Once removed from consideration as a Coordinated Request, the Eligible Transmission Customer, Transmission Customer or Network Customer shall update other Coordinated Requests identified as part of the Coordinated Group to identify  the affected request has been withdrawn, as applicable. 
8/17/11 accepted
001- xx.3.4.3
Prior to the deadline established in WEQ-001-xx.3.2 for finalizing the data required in Business Practice Standard WEQ-001-xx.3.3 and Business Practice Standard WEQ-001-xx.3.4 the Eligible Transmission Customer, Transmission Customer, or Network Customer shall attest that the Coordinated Group meets the contiguity requirements established in Business Practice Standard WEQ-001-xx.2.1. 
Southern

001- xx.3.4.3
Prior to the deadline established in WEQ-001-xx.3.2 for finalizing the data required in Business Practice Standard WEQ-001-xx.3.3 and Business Practice Standard WEQ-001-xx.3.4 the Eligible Transmission Customer, Transmission Customer or Network Customer shall attest that the Coordinated Group meets the contiguity requirements established in Business Practice Standard WEQ-001-xx.2.1.
8/17/11 accepted
001- xx.3.4.3.1
If the Eligible Transmission Customer, Transmission Customer, or Network Customer fails to provide the necessary information identifying the Coordinated Requests in the Coordinated Group and attesting to the Coordinated Group’s contiguity prior to the deadline established in WEQ-001-xx.3.2, the Transmission Provider  shall set the Coordinated Request status to INVALID.
Southern

001- xx.3.4.3.1
If the Eligible Transmission Customer, Transmission Customer or Network Customer fails to provide the necessary information identifying the Coordinated Requests in the Coordinated Group and attesting to the Coordinated Group’s contiguity prior to the deadline established in WEQ-001-xx.3.2, the Transmission Provider  shall set the Coordinated Request status to INVALID.
8/17/11 accepted
001- xx.3.5
The Eligible Transmission Customer, Transmission Customer, or Network Customer shall review each of the Coordinated Requests for action by the respective Transmission Providers, and update the disposition of the Coordinated Request as reflected in each of the other Coordinated Requests in the Coordinated Group upon a change in status of any of the Coordinated Requests to CR_ACCEPTED, CR_COUNTEROFFER, or some final state and the date and time this disposition was affected.
Southern

001- xx.3.5
The Eligible Transmission Customer, Transmission Customer or Network Customer shall review each of the Coordinated Requests for action by the respective Transmission Providers, and update the disposition of the Coordinated Request as reflected in each of the other Coordinated Requests in the Coordinated Group upon a change in status of any of the Coordinated Requests to CR_ACCEPTED, CR_COUNTEROFFER, or some final state and the date and time this disposition was affected.
8/17/11 accepted
001- xx.3.5.1
Withdrawal of a Coordinated Request prior to the Transmission Provider setting the status to CR_ACCEPTED or CR_COUNTEROFFER shall not justify the withdrawal or reduction in capacity of any other Coordinated Request in the same Coordinated Group.  The Eligible Transmission Customer, Transmission Customer, or Network Customer shall reflect in each of the other Coordinated Requests in the Coordinated Group, the fact that the Coordinated Request was voluntarily withdrawn. 
MISO et al

8.  How will 001-xx-3.5.1 work with the new sections on withdrawal?
8/17/11 comment deleted per MISO
Southern

001- xx.3.5.1
Withdrawal of a Coordinated Request prior to the Transmission Provider setting the status to CR_ACCEPTED or CR_COUNTEROFFER shall not justify the withdrawal or reduction in capacity of any other Coordinated Request in the same Coordinated Group.  The Eligible Transmission Customer, Transmission Customer or Network Customer shall reflect in each of the other Coordinated Requests in the Coordinated Group, the fact that the Coordinated Request was voluntarily withdrawn.
8/17/11 accepted 
001- xx.3.5.2
When the status of a Coordinated Request is set to REFUSED, INVALID or SUPERCEDED, the Eligible Transmission Customer, Transmission Customer, or Network Customer shall reflect in each of the other Coordinated Requests in the Coordinated Group, that no service was granted.
Southern

001- xx.3.5.2
When the status of a Coordinated Request is set to REFUSED, INVALID or SUPERCEDED, the Eligible Transmission Customer, Transmission Customer or Network Customer shall reflect in each of the other Coordinated Requests in the Coordinated Group, that no service was granted.
8/17/11 accepted
Entergy

 001- xx.3.5.2
When the status of a Coordinated Request is set to REFUSED, INVALID or SUPERCEDED, the Transmission Customer or Network Customer shall reflect in each of the other Coordinated Requests in the Coordinated Group, that no service was granted.
8/17/11 accepted
001- xx.3.5.3
When the status of a Coordinated Request is set to CR_COUNTEROFFER and CAPACITY_GRANTED is less than the value of CAPACITY_REQUESTED, the Eligible Transmission Customer, Transmission Customer, or Network Customer shall reflect in each of the other Coordinated Requests in the Coordinated Group, that only partial service was granted to the request. 
Southern

001- xx.3.5.3
When the status of a Coordinated Request is set to CR_COUNTEROFFER and CAPACITY_GRANTED is less than the value of CAPACITY_REQUESTED, the Eligible Transmission Customer, Transmission Customer or Network Customer shall reflect in each of the other Coordinated Requests in the Coordinated Group, that only partial service was granted to the request.
8/17/11 accepted
001- xx.3.5.4
When the status of a Coordinated Request is set to CR_ACCEPTED or CR_COUNTEROFFER and CAPACITY_GRANTED is equal to the value of CAPACITY_REQUESTED, the Eligible Transmission Customer, Transmission Customer, or Network Customer shall reflect that full service was granted to the request in each of the other Coordinated Requests in the Coordinated Group. 
Southern

001- xx.3.5.4
When the status of a Coordinated Request is set to CR_ACCEPTED or CR_COUNTEROFFER and CAPACITY_GRANTED is equal to the value of CAPACITY_REQUESTED, the Eligible Transmission Customer, Transmission Customer or Network Customer shall reflect that full service was granted to the request in each of the other Coordinated Requests in the Coordinated Group.
8/17/11 accepted
001-xx.3.5.5
In the case where the Coordinated Request is for the designation of a network resource, the Transmission Customer or Network Customer shall indicate that no service was granted in the event the designation of the resource was accepted, but the NITS Application as a whole was withdrawn or denied for other reasons.
Entergy
001-xx.3.5.5
In the case where the Coordinated Request is for the designation of a network resource, the Transmission Customer or Network Customer shall indicate that no service was granted in the event the designation of the resource was accepted, but the NITS Application as a whole was withdrawn or denied for other reasons.
8/17/11 accepted
001- xx.3.6
Upon notification that all Coordinated Requests in the Coordinated Group have been acted on by each of the respective Transmission Providers and are no longer “PENDING”, the Transmission Provider shall establish the customer confirmation time limit in accordance with Business Practice Standard WEQ-001-.4.13  
001- xx.3.7
The Eligible Transmission Customer, Transmission Customer, or Network Customer may change the status from CR_ACCEPTED or CR_COUNTEROFFER to CONFIRMED prior to knowing the final outcome of all Coordinated Requests in a Coordinated Group.  Once a Coordinated Request is set to CONFIRMED, no subsequent adjustment in capacity shall be permitted.
Southern

001- xx.3.7
The Eligible Transmission Customer, Transmission Customer or Network Customer may change the status from CR_ACCEPTED or CR_COUNTEROFFER to CONFIRMED prior to knowing the final outcome of all Coordinated Requests in a Coordinated Group.  Once a Coordinated Request is set to CONFIRMED, no subsequent adjustment in capacity shall be permitted.
8/17/11 accepted
001- xx.3.8
The Eligible Transmission Customer, Transmission Customer, or Network Customer shall confirm the Coordinated Request at the requested capacity if all Coordinated Requests in the Coordinated Group have been granted in full, or otherwise voluntarily withdrawn from consideration as a Coordinated Request.
Southern

001- xx.3.8
The Eligible Transmission Customer, Transmission Customer or Network Customer shall confirm the Coordinated Request at the requested capacity if all Coordinated Requests in the Coordinated Group have been granted in full, or otherwise voluntarily withdrawn from consideration as a Coordinated Request.
8/17/11 accepted
001- xx.3.9
The Eligible Transmission Customer, Transmission Customer, or Network Customer may rebid a lower capacity than granted or withdraw the Coordinated Request if any Coordinated Request in the Coordinated Group has not been granted the requested capacity in full. 
Southern

001- xx.3.9
The Eligible Transmission Customer, Transmission Customer or Network Customer may rebid a lower capacity than granted or withdraw the Coordinated Request if any Coordinated Request in the Coordinated Group has not been granted the requested capacity in full. 
8/17/11 accepted
Additions to Existing Business Practice Standard WEQ-001

(OASIS Appendix)

(Additions to be inserted into WEQ-001 in alphabetic order assigned by NAESB)

001-xx
Appendix xx – Contiguity Examples for Coordinated Groups

Notes for Examples:  These examples, using combinations of Coordinated Requests and reservations, relate specifically to contiguity requirements established in Business Practice Standard WEQ-001-xx.2.1. 
The following information is intended to aid in understanding the examples:

1. A month starts in the time zone indicated at 00:00 on the first day of the month and ends at midnight on the last day of the month.

2. The Timeframe for Coordinated Group starts at the earliest start time of any Coordinated Request in the Coordinated Group and ends at the latest stop time of any Coordinated Request in the Coordinated Group.

3. Reservations are shown in the tables as Res x-y, where x represents the Transmission Provider and y represents an assignment ref number.  (e.g., Res 2-1 represents a reservation on TP2 with an assignment ref value of “1”.)

4. Coordinated Requests are shown in the tables as CR x-y, where x represents the Transmission Provider and y represents an assignment ref number.  Coordinated Requests are also shown with a diagonal stripe background pattern. (e.g., CR 2-2 represents a Coordinated Request on TP2 with an assignment ref value of “2”.) 

5. Months without reservations or Coordinated Requests are shown without any designation.  (e.g., in Example 2 there are no reservations or Coordinated Requests on TP2 for November and December.)

Notes for Examples 1 and 2:  Examples 1 and 2 demonstrate how combinations of Coordinated Requests and reservations meet the contiguity requirements and justify the customer’s appropriate setting of CG_STATUS to “ATTESTED” for each Coordinated Request in the Coordinated Group.. 

Example 1: This example shows contiguity over time and path where all months between Jan and Sept have either a reservation or a Coordinated Request,

	
	
	Timeframe for Coordinated Group

	Transmission Provider
	Time Zone
	Jan
	Feb
	Mar
	Apr
	May
	Jun
	Jul
	Aug
	Sep

	TP1
	EST
	Res 1-1
	CR 1-2
	Res 1-3
	CR 1-4

	TP2
	EDT
	Res 2-1
	CR 2-2
	Res 2-3

	TP3
	CST
	CR 3-1
	Res 3-2

	TP4
	CDT
	Res 4-1
	CR 4-2


Example 2:  This example shows contiguity over time and path where all months between Jan and Sept have either a reservation or a Coordinated Request but some reservations extend beyond the timeframe for the Coordinated Group.

	
	
	Timeframe for Coordinated Group
	
	
	

	Transmission Provider
	Time Zone
	Jan
	Feb
	Mar
	Apr
	May
	Jun
	Jul
	Aug
	Sep
	Oct
	Nov
	Dec

	TP1
	EST
	Res 1-1
	CR 1-2
	Res 1-3
	CR 1-4
	
	
	
	

	TP2
	EDT
	Res 2-1
	CR 2-2
	Res 2-3
	
	

	TP3
	CST
	CR 3-1
	Res 3-2

	TP4
	CDT
	Res 4-1
	CR 4-2
	
	
	


Notes for Examples 3 and 4:  Examples 3 and 4 demonstrate how combinations of Coordinated Requests and reservations do not meet the contiguity requirements.

Example 3: This example shows lack of contiguity over time and path where not all months between Jan and Sept have either a reservation or a Coordinated Request (The requirement is not met foron TP1 for Apr through Jun).

	
	
	Timeframe for Coordinated Group

	Transmission Provider
	Time Zone
	Jan
	Feb
	Mar
	Apr
	May
	Jun
	Jul
	Aug
	Sep

	TP1
	EST
	Res 1-1
	CR 1-2
	
	CR 1-4

	TP2
	EDT
	Res 2-1
	CR 2-2
	Res 2-3

	TP3
	CST
	CR 3-1
	Res 3-2

	TP4
	CDT
	Res 4-1
	CR 4-2


Example 4:  This example shows lack of contiguity over time and path where not all months between Jan and Dec have either a reservation or a Coordinated Request. (There are no reservations or requests for TP1 and TP2 that extend to latest stop date for Res 2-3, so the contiguity requirement is not met)

	
	
	Timeframe for Coordinated Group

	Transmission Provider
	Time Zone
	Jan
	Feb
	Mar
	Apr
	May
	Jun
	Jul
	Aug
	Sep
	Oct
	Nov
	Dec

	TP1
	EST
	Res 1-1
	CR 1-2
	Res 1-3
	CR 1-4
	
	
	
	

	TP2
	EDT
	Res 2-1
	CR 2-2
	Res 2-3
	
	

	TP3
	CST
	CR 3-1
	CR 3-2

	TP4
	CDT
	Res 4-1
	CR 4-2
	
	
	


New Additions to Existing Business Practice Standard WEQ-001

(OASIS)
001-100
INDEX OF NITS REQUIREMENTS
MISO et al

9. WEQ-001-100 – It is not appropriate to put an index in the middle of a Business Practice Standard.  The index should be for the entire standard.  Recommend creating a complete index for WEQ-001 and delete WEQ-001-100 or just deleting WEQ-001-100.  Also this index gives a false sense that all NITS requirements are contained in this section of WEQ-001.  With Coordinated Requests there are other requirements associated with NITS in earlier sections of WEQ-001.
8/17/11 accepted will move to the front of the entire book
001-101
NITS – GENERAL REQUIREMENTS

001-101.12
Designated Network Resource Information Requirements
SOCO

001-101.12
Designated Network Resource Information Requirements
8/17/11 accepted
Entergy

001-101.12
Designated Network Resource Information Requirements
8/17/11 accepted
001-101.13
Designated Network Load Information Requirements
001-102
NITS – APPLICATION

001-102.1 
Submission of NITS Application 

001-102.2
Initial Review of NITS Application

001-102.3
Invalid NITS Application

001-102.4
Deficient NITS Application

001-102.5
Completed NITS Application

001-103
NITS – EVALUATION OF NITS APPLICATION

001-103.1
Review of Completed NITS Application
SOCO

001-103.1
Review of Completed NITS Application
8/17/11 accepted
Entergy

001-103.1
Review of Completed NITS Application
8/17/11 accepted
001-103.2
Study of NITS Application

001-103.3
Declining a NITS Application

001-103.4
Refusal of Completed NITS Application

001-103.5
Counteroffer to NITS Application

001-103.6
Acceptance of NITS Application

001-103.7
Changes to NITS Application Prior To Confirmation
Entergy

001-103.7
Changes to NITS Application Prior To Confirmation
8/17/11 accepted also changed standard to match
001-103.8
Confirmation or Withdrawal of a Completed NITS Application
Entergy

001-103.8
Customer Actions for ???
8/17/11 accepted with wording above
001-103.9
Final Disposition of NITS Application

001-103.10
Changes to a CONFIRMED NITS Application
MISO et al
3. In the “New Additions to Existing Business Practice Standard WEQ-001” section: in the outline “001-103-10” should read “001-103.10”.
8/17/11 accepted
001-103.10
Changes to a CONFIRMED NITS Application

001-104
NITS – ADMINISTRATIVE CHANGES to the NITS Application
Entergy

001-104
NITS – ADMINISTRATIVE CHANGES

8/17/11 accepted per wording above
001-105
NITS – MODIFICATION OF SERVICE

001-105.1
General Requirements of Modification of Service
Entergy

001-105.1
General Requirements of Modification of Service
8/17/11 accepted 
001-105.2
Designation of New Network Resource 

001-105.2.1
Submission of Request for Designation of New Network Resource

001-105.2.2
Initial Review of Request for Designation of New Network Resource

001-105.2.3
Invalid Request for Designation of New Network Resource

001-105.2.4
Deficient Request for Designation of New Network Resource
001-105.2.5
Completed Request for Designation of New Network Resource

001-105.2.6
Review of Completed Request for Designation of New Network Resource

001-105.2.7
Study of Request for Designation of New Network Resource

001-105.2.8
Decline of Request for Designation of New Network Resource

001-105.2.9
Refusal of Request for Designation of New Network Resource

001-105.2.10
Counteroffer to Request for Designation of New Network Resource

001-105.2.11
Acceptance of Request for Designation of New Network Resource
001-105.2.12
Confirmation, Rebid, or Withdrawal of a Request for Designation of New Network Resource
Entergy

001-105.2.12
Customer Actions for ???
8/17/11 accepted per wording above
001-105.2.13
Final Disposition of Request for Designation of New Network Resource

001-105.3     Termination of Network Resource
SOCO

Renumber temporary and indefinite to split out from 001-105.3 to 001-105.4
001-105.3.2
Temporary Termination of Network Resource
001-105.3.2.1
Submission of Request for Temporary Termination of Network Resource
SOCO

001-105.3.2.1
Submission of Request for Temporary Termination of Network Resource 
8/17/11 accepted 

001-105.3.2.2
Initial Review of Request for Temporary Termination of Network Resource
SOCO

001-105.3.2.2
Initial Review of Request for Temporary Termination of Network Resource 
8/17/11 accepted
001-105.3.2.3
Invalid Request for Temporary Termination of Network Resource
SOCO

001-105.3.2.3
Invalid Request for Temporary Termination of Network Resource  
8/17/11 accepted
001-105.3.2.4
Deficient Request for Temporary Termination of Network Resource
SOCO

001-105.3.2.4
Deficient Request for Temporary Termination of Network Resource  
8/17/11 accepted
001-105.3.2.5
Completed Request for Temporary Termination of Network Resource 
SOCO

001-105.3.2.5
Completed Request for Temporary Termination of Network Resource 
8/17/11 accepted
001-105.3.2.6
Acceptance of Request for Temporary Termination of Network Resource
SOCO

001-105.3.2.6
Acceptance of Request for Temporary Termination of Network Resource
8/17/11 accepted 

001-105.3.2.7
Confirmation or Withdrawal of a Request for Temporary Termination of Network Resource 
SOCO

001-105.3.2.7
Customer Actions
8/17/11 accepted
Entergy

001-105.3.9
Customer Actions for ???
8/17/11 accepted per wording above
001-105.3.2.8
Final Disposition of Request for Temporary Termination of Network Resource
SOCO

001-105.3.2.8
Final Disposition of Request for Temporary Termination of Network Resource 
8/17/11 accepted
001-105.3.3
Indefinite Termination of Network Resource
SOCO

001-105.3.3
Indefinite Termination of Network Resource
8/17/11 accepted
001-105.3.3.1
Submission of Request for Indefinite Termination of Network Resource
SOCO

001-105.3.3.1
Submission of Request for Indefinite Termination of Network Resource
8/17/11 accepted
001-105.3.3.2
Initial Review of Request for Indefinite Termination of Network Resource
SOCO

001-105.3.3.2
Initial Review of Request for Indefinite Termination of Network Resource
8/17/11 accepted
001-105.3.3.3
Invalid Request for Indefinite Termination of Network Resource
SOCO

001-105.3.3.3
Invalid Request for Indefinite Termination of Network Resource
8/17/11 accepted
001-105.3.3.4
Completed Request for Indefinite Termination of Network Resource
SOCO

001-105.3.3.4
Completed Request for Indefinite Termination of Network Resource
8/17/11 accepted
001-105.3.3.5
Acceptance of Request for Indefinite Termination of Network Resource
SOCO

001-105.3.3.5
Acceptance of Request for Indefinite Termination of Network Resource
8/17/11 accepted
001-105.3.3.6
Confirmation or Withdrawal of a Request for Indefinite Termination of Network Resource
SOCO

001-105.3.3.6
Customer Actions
8/17/11 accepted
Entergy

001-105.3.17
Customer Actions for ???
8/17/11 accepted per wording above
001-105.3.3.7
Final Disposition of Request for Indefinite Termination of Network Resource
SOCO

001-105.3.3.7
Final Disposition of Request for Indefinite Termination of Network Resource
8/17/11 accepted
001-105.4
Modification of Network Load
SOCO

001-105.4
ReDesignation of New Network Load or Undesignation of Network Load
8/17/11 not accepted
001-105.4.2
Submission of Request for Modification of Network Load
SOCO

001-105.4.2
Submission of Request for ReDesignation of New Network Load or Undesignation of Network Load
8/17/11 not accepted
001-105.5
Network Scheduling Right
SOCO

001-105.5
Network Scheduling Right
8/17/11 accepted
Entergy

001-105.5
Network Scheduling Right
8/17/11 accepted

001-105.5.2
Submission of Request for New Network Scheduling Right
SOCO

001-105.5.2
Submission of Request for New Network Scheduling Right
8/17/11 accepted

001-106
SECONDARY NETWORK TRANSMISSION SERVICE 

001-106.1
Request for Secondary Network Transmission Service
001-106.2
Releasing Secondary Network Transmission Service Capacity

001-107
NITS – CONCOMITANT EVALUATION 

001-107.8
Concomitant Evaluation Final Disposition
Entergy

Is 8 the right number?
8/17/11 this is correct numbering 
001-108
NITS – CHANGE TO NITS APPLICATION STOP_TIME
Entergy

Why isn’t this under modification of service  
8/17/11 deleted by Entergy
001-101
NITS – GENERAL REQUIREMENTS

The following Business Practice Standards are defined to enhance consistency of processing NITS requests on OASIS.
SOCO
001-101
NITS – GENERAL REQUIREMENTS

The following Business Practice Standards are defined to enhance consistency of processing NITS requests.
8/17/11 accepted
Entergy

001-101
NITS – GENERAL REQUIREMENTS

The following practices are defined to enhance consistency of processing NITS requests on OASIS.
8/17/11 accepted
001-101.1
OASIS shall support the queuing and processing of all requests for NITS, including the NITS Application and any subsequent modifications of service, as specified in the technical requirements of Business Practice Standards WEQ-002, WEQ-003 and WEQ-013. 

001-101.2
OASIS shall support capability that allows the Eligible Transmission Customer or Network Customer to submit information required for the arrangement of NITS through multiple requests that together represent the service being requested.  This shall include multiple requests submitted as part of a single NITS Application, as well as multiple requests submitted as modifications of service (including Concomitant Evaluations and Coordinated Requests).
MISO et al

10. In 001-101.2, a better understanding is needed of the Application process. Is there one application per customer that would include all loads? If so how would the end dates of the different loads work? Per 001-108.2.1 it looks like the stop time equals the stop time of the application. This would cause issues for MISO. Each load can have a different end time.
8/17/11 accept per wording 101.2.3 and 101.2.4
SOCO

001-101.2
OASIS shall support capability that allows the Eligible Transmission Customer or Network Customer to submit information required for the arrangement of NITS through multiple requests that together represent the service being requested.  This shall include multiple requests submitted as part of a single NITS Application, as well as multiple requests submitted as modifications of service (including Concomitant Evaluations and Coordinated Requests).
8/17/11 accept
BPA
001-101.2
OASIS shall support capability that allows the Eligible Transmission Customer to submit information required for the arrangement of NITS through multiple requests that together represent the service being requested.  This shall include multiple requests submitted as part of a single NITS Application
, as well as multiple requests submitted as modifications of service (including Concomitant Evaluations and Coordinated Requests).
8/17/11 no changes made
001-101.2.1
A Designated Agent may be authorized by an Eligible Transmission Customer or a Network Customer in the initial NITS Application or through an administrative change.   
001-101.2.2
When authorized, a Designated Agent may act on behalf of an Eligible Transmission Customer or a Network Customer.  Any action undertaken by a Designated Agent must occur during the effective term of the agency relationship.
MISO et al

13. 001-101.2.1 and 001.101.2.2 – It is confusing as to who can update what.  Since a Designated Agent can be for a “Transmission Provider, an Eligible Customer, or the Transmission Customer required under the Tariff”, it appears that any entity can update information submitted by another entity.
8/17/11 subcommittee reword 101.2.3 and added 101.2.1 to accommodate 
001-101.2.3
Any request may be acted on by the Eligible Transmission Customer, Network Customer, or Designated Agent authorized in the NITS Application.
MISO et al

13. 001-101.2.1 and 001.101.2.2 – It is confusing as to who can update what.  Since a Designated Agent can be for a “Transmission Provider, an Eligible Customer, or the Transmission Customer required under the Tariff”, it appears that any entity can update information submitted by another entity.
8/17/11 subcommittee reword 101.2.3 and added 101.2.1 to accommodate
001-101.2.4
Each request which is part of the NITS Application may have a start time that is different than the start time of the NITS Application.
001-101.2.5
Each request which is part of the NITS Application may have a stop time that is different than the stop time of the NITS Application.
8/17/11 101.2.4 and 101.2.5 added per MISO request for 101.2
001-101.3
All requests for NITS, and the current status of those requests, shall be posted on OASIS using the defined values for STATUS as set forth in Business Practice Standards WEQ-013.
Entergy

  001-101.3
All requests for NITS, and the current status of those requests, shall be posted on OASIS using the defined values for STATUS as set forth in Business Practice Standards WEQ-013.
08/17/11 accepted
001-101.4
The Transmission Provider may opt to input information into OASIS on behalf of a Network Customer, if requested by the Network Customer, and shall specify the circumstances as required in Business Practice Standards WEQ-001-13.1.4.
MISO et al

 14. In 001-101.4, should the reference included in this requirement be WEQ-001-13.1.4.
001-101.4
The Transmission Provider may opt to input information into OASIS on behalf of a Network Customer, if requested by the Network Customer, and shall specify the circumstances as required in Business Practice Standards WEQ-001-13.1.4.
08/17/11 accepted
001- 101.5
The Transmission Provider shall provide a Pre-submittal Workspace on OASIS.
MISO et al
19. After reading WEQ-001-101.5 through WEQ-001-101.7 it is unclear as to whether the Pre-submittal Workspace needs to be available on OASIS.  WEQ-001-101.5 only states that the Transmission Provider needs to provide this workspace.
08/17/11 accepted per wording above which covers 101.7.
Entergy

 001- 101.5
The Transmission Provider shall provide a Pre-submittal Workspace on OASIS for entering information.
08/17/11 accepted per wording above
001-101.5.1
OASIS shall restrict access to and viewing of all information associated with the Pre-submittal Workspace to only the Transmission Provider, the Eligible Transmission Customer, Network Customer and its Designated Agent who has entered information.
SOCO

001-101.5.1
OASIS shall restrict access to and viewing of all information associated with the Pre-submittal Workspace to only the Transmission Provider, the Eligible Transmission Customer, Network Customer and its Designated Agent.
08/17/11 accepted
Entergy
Do we have to include Designated Agent along with Eligible Customer throughout the Standard, or  we should just remove it from here. Entergy suggest removing it as Designated Agent has all rights and privileges as the Eligible Customer.  Can any designated agent access/view the workspace or only an agent who has entered information.
 001-101.5.1
OASIS shall restrict access and viewing of all information associated with the Pre-submittal Workspace to only the Transmission Provider, the Eligible Transmission Customer, and its Designated Agent who has entered information. 
08/17/11 accepted
001-101.5.2
OASIS shall have the ability to allow an Eligible Transmission Customer or Network Customer to replicate all or some of an existing NITS Application into a Pre-submittal Workspace for use in a subsequent NITS Application or NITS modification of service.
MISO et al

15. In 001-101.5.2, was it intentional that an Eligible Transmission Customer’s Designated Agent was excluded from replicating an existing NITS Application?
001-101.5.2
OASIS shall have the ability to allow an Eligible Transmission Customer or Designated Agent to replicate all or some of an existing NITS Application into a Pre-submittal Workspace for use in a subsequent NITS Application or NITS modification of service.
08/17/11 not accepted
SOCO

001-101.5.2
OASIS shall have the ability to allow an Eligible Transmission Customer or Network Customer to replicate all or some of an existing NITS Application into a Pre-submittal Workspace for use in a subsequent NITS Application or NITS modification of service.
08/17/11 accepted
Entergy

001-101.5.2
OASIS shall have the ability to allow an Eligible Transmission Customer to replicate all or some of an existing NITS Application into a Pre-submittal Workspace for use in a subsequent NITS Application or NITS modification of service.
08/17/11 just to emphasize 5.1
001-101.5.3
Audit and data retention requirements set forth in Title 18 CFR 37.6 and 37.7 are not applicable to the information in the Pre-submittal Workspace.
001-101.5.3.1
OASIS shall have the ability to allow the submission of information in the Pre-submittal Workspace as the NITS Application or NITS modification of service.
MISO et al

16. In 001-101.5.3.1, should the reference of “OASIS” be changed to the Eligible Transmission or Designated Agent shall have the ability to submit?  Alternatively, the requirement could be reworded to indicate the OASIS application shall be able to accept and process.
001-101.5.3.1
Eligible Transmission Customer or Designated Agent shall have the ability to submit all information in the Pre-submittal Workspace as the NITS Application.
08/17/11 not accepted
SOCO

001-101.5.3.1
OASIS shall have the ability to submit all information in the Pre-submittal Workspace as the NITS Application or NITS modification of service.
08/17/11 accepted
001-101.5.3.1.1
The Transmission Provider may remove information from the Pre-Submittal Workspace once the NITS Application has been submitted. 

001-101.5.3.2
If information is entered into the Pre-submittal Workspace on OASIS by an Eligible Transmission Customer or Network Customer and a NITS Application or NITS modification of service is not submitted within 6 months of the time of the last update to the Pre-submittal Workspace, then the Transmission Provider may remove all information from the Pre-submittal Workspace.  The Transmission Provider shall honor a request by an Eligible Transmission Customer or Network Customer for a later removal date..
SOCO

001-101.5.3.2
If information is entered into the Pre-submittal Workspace on OASIS by the Eligible Transmission Customer or Network Customer and a NITS Application or NITS modification of service is not submitted within 6 months of the time of the last update to the Pre-submittal Workspace, then the Transmission Provider may remove all information from the Pre-submittal Workspace.  The Eligible Transmission Customer or Network Customer may request and the Transmission Provider may agree to a later removal date.
08/17/11 accepted
Entergy
This language highlighted does not add any value if TP is not required to accept the request.
08/17/11 accepted revised text above
001-101.5.3.2
If information is entered into the Pre-submittal Workspace on OASIS by an Eligible Transmission Customer within 6 months of the time of the last update to the Pre-submittal Workspace, then the Transmission Provider may clear the Pre-submittal Workspace.  The Eligible Transmission Customer may request and the Transmission Provider may agree to a later removal date.
08/17/11 accepted an to the chg, not clear not removal of language 
001-101.5.3.3
The Eligible Transmission Customer or Network Customer may remove information at any time by setting the STATUS of any request in the Pre-submittal Workspace to DELETED.
001-101.5.3.4
The Eligible Transmission Customer or Network Customer may remove the new NITS Application and all associated information from the Pre-submittal Workspace at any time by setting the status of the request for a new NITS Application to DELETED.
MISO et al

17. In 001-101.5.3.3m, if the status is set to DELETED does this remove selected information or all information within the Pre-submittal Workspace?
08/18/11 accepted per wording in 5.3.4
SOCO

001-101.5.3.3
The Eligible Transmission Customer or Network Customer may remove information at any time by setting the STATUS of any request in the Pre-submittal Workspace to DELETED.
08/18/11 accepted
Entergy

001-101.5.3.3
The Eligible Transmission Customer may remove all of information entered at any time, by setting the STATUS of any request in the Pre-submittal Workspace to DELETED.
08/18/11 not accepted
001- 101.6
As an alternative to entering the information directly on OASIS, the Transmission Provider shall provide the ability for an Eligible Transmission Customer or Network Customer to complete the Application off OASIS and upload the NITS Application to OASIS for additional modifications in the Pre-submittal Workspace or for submittal of the request(s) to the Transmission Provider’s OASIS.
MISO et al

18. In 001-101.6, this appears to state that an Eligible Transmission Customer can work offline and upload the request to the Pre-submittal Workspace or the OASIS application.  Is that the intent of this requirement?   If not some additional clarification is needed in this section. 
08/17/11 this was the intent.
SOCO

001- 101.6
As an alternative to entering the information directly on OASIS, the Transmission Provider shall provide the ability for an Eligible Transmission Customer or Network Customer to complete the Application off OASIS and upload the NITS Application to OASIS for additional modifications in the Pre-submittal Workspace or for submittal of the request(s) to the Transmission Provider.
08/17/11 accepted
Entergy

001- 101.6
As an alternative to entering the information directly on OASIS, the Transmission Provider shall provide the ability for an Eligible Transmission Customer to complete the Application off OASIS and upload the NITS Application to OASIS for additional modifications in the Pre-submittal Workspace or for submittal of the request(s) to the Transmission Provider’s OASIS.
08/17/11 accepted
001-101.7
The Eligible Transmission Customer or Network Customer may set the status of NITS-related request(s) (whether uploaded to or entered directly on OASIS) to PRESUBMITTED to indicate that the Eligible Transmission Customer or Network Customer desires to save the information entered and continue working on the request(s) in the Pre-submittal Workspace.  Alternatively, the Eligible Transmission Customer or Network Customer may submit its NITS-related request(s) (whether uploaded to or entered directly on OASIS) to indicate the Eligible Transmission Customer’s or Network Customer’s desire to submit the request(s).
SOCO

001-101.7
The Eligible Transmission Customer or Network Customer may set the status of NITS-related request(s) (whether uploaded to or entered directly on OASIS) to PRESUBMITTED to indicate that the Eligible Transmission Customer or Network Customer desires to save the information entered and continue working on the request(s) in the Pre-submittal Workspace.  Alternatively, the Eligible Transmission Customer or Network Customer may submit its NITS-related request(s) (whether uploaded to or entered directly on OASIS) to indicate the Eligible Transmission Customer’s or Network Customer’s desire to formally submit the request(s).
08/17/11 accepted
Entergy

How is request submitted, is it done by just changing the status from PRESUBMITTED to some other state?
001-101.7
The Eligible Transmission Customer may set the status of NITS-related request(s) (whether uploaded to or entered directly on OASIS) to PRESUBMITTED to indicate that the Eligible Transmission Customer desires to save the information entered and continue working on the request(s) in the Pre-submittal Workspace.  Alternatively, the Eligible Transmission Customer may submit its NITS-related request(s) (whether uploaded to or entered directly on OASIS) to indicate the Eligible Transmission Customer’s desire to  submit the request(s).
08/17/11 not accepted changes to “submit” accept deletion of “formally”
001- 101.8
Any required information (e.g. deposits), which is not submitted electronically through OASIS shall be provided to the Transmission Provider by a method specified in the Transmission Provider Business Practice posted in accordance with Business Practice Standards WEQ-001-13.1.4.
Entergy

 001- 101.8
Any pre-requisites for the application or the service, including deposits, which is not submitted electronically through OASIS shall be provided to the Transmission Provider by a method as specified in Business Practice Standards WEQ-001-13.
08/18/11 accepted as worded above with the expectations that there will be further wording through task force
001-101.9
Consistent with the requirements in Business Practice Standards WEQ-013-102.3, 
Transmission Providers are required to post a reason for certain STATUS changes.
MISO et al

11. In 001-101.9, is the standard number not available still? It reads “WEQ-013-x”.
20. In 001-101.9, should the reference included in this requirement be WEQ-001-13.1.4.
001-101.9
Consistent with the requirements in Business Practice Standards WEQ-001-013 or WEQ-001-013.1.4
, Transmission Providers are required to post a reason for certain STATUS changes.
08/18/11 this will reference the NITS STATUS changes in the 013 100 series  
Entergy

001-101.9
Consistent with the requirements in Business Practice Standards WEQ-013-2.3, for specified STATUS changes,Transmission Providers are required to post a reason.
08/18/11 this will reference the NITS STATUS changes in the 013 100 series  
001-101.10
The Eligible Transmission Customer or Network Customer shall have the ability to remove a NITS Application or request for modification of service from further consideration by setting the status to WITHDRAWN any time prior to confirmation.
SOCO

001-101.10
The Eligible Transmission Customer or Network Customer shall have the ability to remove a NITS Application or request for modification of service from further consideration by setting the status of the request to WITHDRAWN at any time prior to confirmation.
08/18/11 accepted
Entergy

001-101.10
The Eligible Transmission Customer shall have the ability to remove a NITS Application or request for modification of service from further consideration by setting the status to WITHDRAWN any time prior to confirmation.
08/18/11 accepted
001-101.11

Consistent with the requirements in Business Practice Standards WEQ-001-13, the Transmission Provider shall specify in their posted Business Practice the method the Eligible Transmission Customer shall use to identify the provision of ancillary services associated with the NITS Application.
Entergy
WEQ-001-13 is the posting mechanism and not what information needs to be included.  Therefore, Entergy suggests to modify the language as: The Transmission Provider shall spedify in their Business Practice, that are posted in accordance with WEQ-001-13, the method the eligible Transmission Customer shall use to identify the provision of ancillary services associated with the NITS Application.
 001-101.11
The Transmission Provider shall specify in their Business Practice, that are posted in accordance with WEQ-001-13, the method for the Eligible Transmission Customer to identify ancillary services arrangements associated with the NITS Application.
08/18/11 task force will be supplying wording for 001-13 BP
001-101.12
Designated Network Resource Information Requirements:
001-101.12.1
For customer-owned or -leased generation, the Eligible Network Customer or Network Customer shall use the TSIN-registered Source name. 
SOCO

001-101.12.1
For Eligible Network Customer or Network Customer-owned or -leased generation, the Eligible Network Customer or Network Customer shall use the TSIN-registered Source name if available. 
08/18/11 accepted per wording above
001-101.12.2
For customer-owned or –leased generation, the electrical location will be identified as the BAA where the generation is electrically located and the geographical location will be identified as the county or parish, and the state.
MISO et al

21. In 001-101.12.2, should the reference to the BAA be changed to BA?
001-101.12.2
For Network Customer-owned or –leased generation, the electrical location will be identified by the BA where the generation is electrically located and the geographical location will be identified by the county or parish and state.
08/18/11 not accepted
SOCO

001-101.12.2
For Eligible Network Customer or Network Customer-owned or –leased generation, the electrical location will be identified by the BAA where the generation is electrically located and the geographical location will be identified by the county or parish and state.
08/18/11 accepted  as per the wording above
Entergy

 001-101.12.2
For Network Customer-owned or –leased generation, the electrical location will be identified as the BAA where the generation is electrically located and the geographical location will be by the county or parish and the state.
08/18/11 accepted  as per the wording above
001-101.12.3
For purchased power, the electrical location is the BAA from which the power will originate and the geographical location is “not applicable.”
MISO et al

22. In 001-101.12.3, what is the point of this requirement?
08/18/11 point is to have consistency for electrical and geographical location for the DNR report
SOCO

001-101.12.3
For purchased power, the electrical location is the POR (on the Transmission Provider’s system referenced in the eligible Network Customer’s or Network Customer’s DNR Application or request for modification of service) and the geographical location is “not applicable”.
8/18/11 per wording above
Entergy

 001-101.12.3
For purchased power, the electrical location is the point of receipt (on the Transmission Provider’s system referenced in the Customer’s Application or request for modification of service) and the geographical location is “not applicable.”
8/18/11 per wording above

001-101.13
Designated Network Load Information Requirements:

001-101.13.1
For all requests for designation of Network Load, the Eligible Network Customer or Network Customer shall use the TSIN-registered Sink name.
SOCO

001-101.13.1
For all requests for designation of Network Load, the Eligible Network Customer or Network Customer shall use the TSIN-registered Sink name if available.
08/18/11 accepted
Entergy

Entergy recommends that Electrical and/or Geographical location of the Network Load/delivery points should also  be included similar to DNR above.

 001-101.13.1
For all requests for designation of Network Load, the Network Customer shall use the TSIN-registered Sink name if available.
08/18/11 not accepted
001-102
NITS – APPLICATION
MISO et al

12. In 001-102, concerning the NITS Application, is it one application and then the customer is done? Once an application for one customer is received, will MISO need to look at it again?  What are the timing guidelines? Same as Attachment J? Current MISO process has two different time lines depending on the Network Transmission.
08/18/11 discussed and only one application per customer. Discussed timing requirements for the portions can be different from the NITS Application itself.
001- 102.1 
Submission of NITS Application 
001- 102.1.1 
The NITS Application shall be submitted on the Transmission Provider’s OASIS in accordance with the technical requirements of Business Practice Standards WEQ-002, WEQ-003, and WEQ-013. 
MISO et al

23. In 001-102.1.1 add a comma after WEQ-003.
001- 102.1.1 
An Eligible Transmission Customer shall submit, or arrange for the submittal of, the NITS Application on the Transmission Provider’s OASIS in accordance with the technical requirements of Business Practice Standards WEQ-002, WEQ-003, and WEQ-013.
08/18/11 accepted
Entergy
Designated Agent can do all what Eligible Customer can do, there is no need to recognize this fact here.  Otherewise, for consistency, we should include at all places.  
001- 102.1.1 
An Eligible Transmission Customer shall submit, the NITS Application on the Transmission Provider’s OASIS in accordance with the technical requirements of Business Practice Standards WEQ-002, WEQ-003 and WEQ-013. 
08/18/11 accepted per wording above
001-102.1.1.1
OASIS shall assign a unique identifier to each NITS Application.
Entergy

Entergy suggests using AREF or ASSIGNMENT_REF as used for PTP.
001-102.1.1.1
OASIS shall assign a AREF or ASSIGNMENT_REF to each NITS Application.  
08/18/11 not accepted
001-102.1.1.2
An Eligible Transmission Customer may enter and update information on OASIS for a NITS Application prior to submission by setting the status of the NITS Application to PRESUBMITTED, which indicates the information is being retained in the Pre-submittal Workspace. 

001-102.1.1.2.1
Information (e.g., load forecasts, resource designations, etc.) associated with such a PRESUBMITTED NITS Application (whether provided electronically or by other means) shall not be considered by the Transmission Provider until the NITS Application is submitted.  

001- 102.1.2
The Eligible Transmission Customer shall indicate to the Transmission Provider that the NITS Application is ready for Transmission Provider review for consistency with the Transmission Provider’s minimum information requirements which are posted as specified in Business Practice Standards WEQ-001-13, by submitting the NITS Application on OASIS.

001-102.1.2.1
OASIS shall set the queue time for the NITS Application to the time that the Eligible Transmission Customer submits the NITS Application and shall set the status of the NITS Application to QUEUED.
MISO et al

25. In 001-102.1.2.1 and WEQ-001.102.1.2.1.1, these sections seem to belong in the implementation guide rather than WEQ-001.
08/18/11 accepted will stay here but will also need to find a home in WEQ-013
BPA

001-102.1.2.1
OASIS shall set the queue time of all associated portions submitted as part of a NITS Application, which require a queue time (e.g., DNRs, DNLs, NSRs, etc.), to the queue time of the NITS Application and shall set the status of such portions to QUEUED.
08/18/11 deleted per BPA

001-102.1.2.1.1
OASIS shall set the queue time of all requests submitted as part of a NITS Application, which require a queue time (e.g., DNR), to the queue time of the NITS Application and shall set the status of such requests to QUEUED.
MISO et al

24. In 001-102.1.2.1.1, the acronym DNL is used but it is not defined.
08/18/11 DNL has been added to the list of acronyms but Designated Network Load will not be defined
25. In 001-102.1.2.1 and WEQ-001.102.1.2.1.1, these sections seem to belong in the implementation guide rather than WEQ-001.
08/18/11 accepted will stay here but will also need to find a home in WEQ-013
Duke

WEQ-001 refers to NSR as a “portion” of an application which is on par with designation of network resources and designation of network loads (001-102.1.2.1.1).  This suggests that requests are made for network scheduling rights.
08/18/11 accepted per wording above
SOCO

001-102.1.2.1.1
OASIS shall set the queue time of all associated requests submitted as part of a NITS Application, which requires a queue time (e.g., DNRs, DNLs, NSRs, etc.), to the queue time of the NITS Application and shall set the status of such requests to QUEUED.
08/18/11 accepted per wording above
Entergy

Entergy suggests that the queue of the NITS aqplication should be the latest (Last queued) queue time of all the associated portions of the NITS Application.
08/18/11 not accepted
001-102.1.2.2
The Transmission Provider shall acknowledge the queued NITS Application by setting the status of the NITS Application to RECEIVED.
SOCO

001-102.1.2.2
The Transmission Provider shall acknowledge the queued NITS Application by setting the status of the NITS Application to RECEIVED.
08/18/11 accepted
Entergy

001-102.1.2.2
The Transmission Provider shall acknowledge the queued NITS Application by setting the status of the NITS Application to RECEIVED.
08/18/11 accepted
001-102.1.2.2.1
The Transmission Provider shall acknowledge the queued requests of the NITS Application by setting the status of such requests to RECEIVED.
MISO et al

26. In 001-102.1.2.2.1, is it necessary to reference 001-102.1.2.1.1? It seems unnecessary and redundant since it is just two lines above. We recommend deleting “as specified in Business Practice Standard WEQ- 001-102.1.2.1.1”.
001-102.1.2.2.1
The Transmission Provider shall acknowledge the queued associated portions of the NITS Application by setting the status of such portions to RECEIVED.
08/18/11 accepted
SOCO

001-102.1.2.2.1
The Transmission Provider shall acknowledge the queued requests of the NITS Application as specified in Business Practice Standard WEQ-001-102.1.2.1.1 by setting the status of such requests to RECEIVED.
08/18/11 accepted
Entergy

001-102.1.2.2.1
The Transmission Provider shall acknowledge the queued associated portions of the NITS Application as specified in Business Practice Standard WEQ-001-102.1.2.1.1, by setting the status of such portions to RECEIVED.
08/18/11 not accepted
001-102.2
Initial Review of NITS Application

001- 102.2.1
The Transmission Provider shall respond to a received NITS Application by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 

III.
COMPLETED 

SOCO

001- 102.2.1
The Transmission Provider shall respond to a submitted NITS Application by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 

III.
COMPLETED 
08/18/11 not accepted
Entergy

001- 102.2.1
The Transmission Provider shall respond to a received NITS Application by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 

III.
COMPLETED 
08/18/11 accepted
001-102.3
Invalid NITS Application
MISO et al

27. In 001-102.3, are there requirements documented in the standards as to what determines if a NITS Application or portions of a NITS Application are invalid?
08/18/11 these are not included in these business practices but will be included in the TP business practices as defined in 001-13.1.4
001-102.3.1
If the required information, as specified in the Transmission Provider’s minimum information requirements that are posted  in accordance with Business Practice Standards WEQ-001-13, has not been provided in the NITS Application, the Transmission Provider shall set the status of the NITS Application to INVALID. When the status is set to INVALID the NITS Application shall be deemed withdrawn and will receive no further consideration.
Entergy

TP should have the flesibility to get any minor errors corrected by the Eligible Customer before setting the status to INVALID or DEFICIENT.
001-102.3.1
If the information specified in the Transmission Provider’s minimum information requirements posted in accordance with Business Practice Standards WEQ-001-13, has not been provided in the NITS Application, the Transmission Provider may set the status of the NITS Application to INVALID. In case the status is set to INVALID the NITS Application shall be deemed withdrawn and will receive no further consideration.
08/18/11 not accepted the may change all other wording accepted per wording above
001-102.3.1.1
If any request included in a new NITS Application is set to a status of INVALID, the entire application, and each associated request, will be set to a status of INVALID.
SOCO

001-102.3.1.1
If any request of a NITS Application is set to a status of INVALID, the entire NITS Application will be set to a status of INVALID. The NITS Application shall be deemed withdrawn and will receive no further consideration.
08/18/11 accepted per wording above
Entergy

001-102.3.1.1
If any portion of a NITS Application is set to a status of INVALID, the entire NITS Application and each portion of it, will be set to a status of INVALID.
08/18/11 accepted per wording above
001-102.4
Deficient NITS Application

001-102.4.1
The Transmission Provider shall evaluate each request submitted within a NITS Application to determine if it is sufficient (i.e. consistent with the Transmission Provider’s OATT requirements for a Completed Application).
SOCO

001-102.4.1
The Transmission Provider shall determine if each request of information required in a NITS Application can be deemed sufficient (i.e. consistent with the Transmission Provider’s OATT requirements for a Completed Application).
08/18/11 accepted per wording above
Entergy

001-102.4.1
The Transmission Provider shall evaluate each portion of information required in a NITS Application to determine it it is sufficient (i.e. consistent with the Transmission Provider’s OATT requirements for a Completed Application).
08/18/11 accepted per wording above
001-102.4.1.1
If deemed sufficient, the Transmission Provider shall set the status of such request to COMPLETED.
SOCO

 001-102.4.1.1
If deemed sufficient, the Transmission Provider shall set the status of such request to COMPLETED. 
08/18/11 accepted
001-102.4.1.2
If not deemed sufficient, the Transmission Provider shall set the status of such request to DEFICIENT.
SOCO

001-102.4.1.2
If not deemed sufficient, the Transmission Provider shall set the status of such request to DEFICIENT
08/18/11 accepted
BPA

001-102.4.1.2
If not deemed sufficient, the Transmission Provider shall set the status of such portion to DEFICIENT.
08/18/11 accepted
001-102.4.2
If the Transmission Provider determines that any request of the NITS Application is deficient, the Transmission Provider shall set the status of the overall NITS Application to DEFICIENT, and may begin informal communications with the Eligible Transmission Customer to resolve those deficiencies. 
SOCO

001-102.4.2
If the Transmission Provider determines that any request of the NITS Application is deficient, the Transmission Provider shall set the status of the overall NITS Application to DEFICIENT and may begin informal communications with the Eligible Transmission Customer to resolve those deficiencies. 
08/18/11 accepted
001-102.4.3
The Eligible Transmission Customer shall remedy the deficiency and shall set the status of the request to REEVALUATE. Once all deficiencies have been remedied, the Eligible Transmission Customer shall set the status of the overall NITS Application to REEVALUATE.
SOCO

001-102.4.3
The Eligible Transmission Customer shall remedy the deficiency and shall set that request’s status to REEVALUATE. Once all deficiencies have been remedied, the Eligible Transmission Customer shall set the status of the overall NITS Application to REEVALUATE.
08/18/11 accepted per wording above
001-102.4.4
Upon notification that the Eligible Transmission Customer has provided the necessary information to remedy an identified deficiency, the Transmission Provider shall review information provided and take one of the following actions:
MISO et al

28. In 001-102.4.4, can the notification be verbal or some other notification that triggers the Transmission Provider to review the information provided or does it have to be triggered by the Eligible Transmission Customer setting the Application or portion of the Application to REEVALUATE?
08/18/11 we have not precluded the review off oasis but the status needs to be changed on oasis from deficient to reevaluate so that the TP can review and change the status of the request.
Entergy

001-102.4.4
Upon notification that the Eligible Transmission Customer has provided the necessary information to remedy an identified deficiency, the Transmission Provider shall review the information provided and take one of the following actions:
08/18/11 accepted
001-102.4.4.1
If the information provided for any request identified as deficient fails to remedy that deficiency, the Transmission Provider shall set the status of that request of the NITS Application to DEFICIENT.
SOCO

001-102.4.4.1
If the information provided for any request identified as deficient fails to remedy that deficiency, the Transmission Provider shall set the status for that request of the NITS Application to DEFICIENT.
08/18/11 accepted
Entergy

001-102.4.4.1
If the information provided for any portion identified as deficient fails to remedy that deficiency, the Transmission Provider shall set the status of that portion of the NITS Application to DEFICIENT.
08/18/11 accepted
001-102.4.4.2
If the information provided for any request identified as deficient remedies that deficiency, the Transmission Provider shall set the status for that request of the NITS Application to COMPLETED.
SOCO

001-102.4.4.2
If the information provided for any request identified as deficient remedies that deficiency, the Transmission Provider shall set the status of that request of the NITS Application to COMPLETED.
08/18/11 accepted
001-102.4.4.3
If the information provided for any request of the NITS Application is deemed by the Transmission Provider to be a change to the terms of the overall NITS Application, the Transmission Provider shall set the status of the overall NITS Application to DECLINED. The NITS Application shall be deemed withdrawn and will receive no further consideration.
MISO et al

29. 001-102.4.4.3 seems to set the stage for complaints if it is invoked.  The requirement allows a Transmission Provider to “DECLINE” a NITS APPLICATION if they see significant changes from an application that they previously marked as deficient and the Eligible Transmission Customer Provided additional detail.  However, there are no parameters identified as to what constitutes “significant changes.”
08/18/11 accepted per wording above.
SOCO

001-102.4.4.3
If the information provided for any request of the NITS Application is deemed by the Transmission Provider to be a significant change to the overall NITS Application, the Transmission Provider shall set the status of the overall NITS Application to DECLINED. The NITS Application shall be deemed withdrawn and will receive no further consideration.
Entergy
This seems too vague
08/18/11 accepted per wording above.

Start here
001-102.4.5
If the Eligible Transmission Customer fails to respond to the Transmission Provider’s notice of a deficient NITS Application, or fails to remedy the deficiency to the Transmission Provider’s satisfaction in a timely manner, the Transmission Provider shall set the status of the overall NITS Application to DECLINED.
MISO et al

30. In 001-102.4.5, this requirement states that the Transmission Provider has the option to DECLINE a NITS Application if the Eligible Transmission Customer fails to resolve the deficiency “in a timely”.  This seems that there may discretion for the Transmission Provider to set the status to DECLINE on a case by case basis with no explanation as to why one Application remained in queue with deficiencies and another was DECLINED.
SOCO

001-102.4.5
If the Eligible Transmission Customer fails to respond to the Transmission Provider’s notice of a deficient NITS Application, or fails to remedy the deficiency to the Transmission Provider’s satisfaction in a timely manner, the Transmission Provider shall set the status of the overall NITS Application to DECLINED. The NITS Application shall be deemed withdrawn and will receive no further consideration.
Entergy

Transmission Provider’s satisfaction in a timely manner is too vague.  Entergy suggests that preferably the criteria for TP Satisfaction and timely manner should be defined.  In case OS does not want to define this criteria, BP standards should require TP to include this in their Business Practices posted on OASIS so that they can use uniform criteria.

8/3/11 this was FERC wording and subcommittee agreed to keep vague to accommodate getting the data into the application.

8/4/11 subcommittee decided to leave the wording as is in 4.5 and 4.6
001-102.4.6
If the Eligible Transmission Customer fails to provide the necessary credit or deposit information in a timely manner, the Transmission Provider may respond by setting the status of the overall NITS Application to DECLINED.
MISO et al

31. In 001-102.4.6, the same issue with “in a timely manner” described in the WEQ-001-102.4.5 applies here as well.
SOCO

001-102.4.6
If the Eligible Transmission Customer fails to provide the necessary credit or deposit information in a timely manner, the Transmission Provider may respond by setting the status of the overall NITS Application to DECLINED. The NITS Application shall be deemed withdrawn and will receive no further consideration.
Entergy

001-102.4.6
If the Eligible Transmission Customer fails to provide the necessary credit or deposit information in a timely manner, as specified by the Transmission Provider on its OASIS, the Transmission Provider may respond by setting the status of the overall NITS Application to DECLINED.

001-102.4.7
Once the status of the overall NITS Application has been set to DECLINED, the Transmission Provider shall set the status of all portions of the NITS Application to DECLINED.
SOCO

001-102.4.7
Once the status of the overall NITS Application has been set to DECLINED, the Transmission Provider shall set the status of all requests of the NITS Application to DECLINED. The NITS Application shall be deemed withdrawn and will receive no further consideration.
001-102.4.8
When the Transmission Provider determines that all deficiencies have been remedied and all portions of the NITS Application have been identified as COMPLETED, the Transmission Provider shall continue processing the NITS Application in accordance with the Business Practice Standards for a Completed NITS Application.
SOCO

001-102.4.8
When the Transmission Provider determines that all deficiencies have been remedied and all requests of the NITS Application have been identified as COMPLETED, the Transmission Provider shall continue processing the NITS Application in accordance with the Business Practice Standards WEQ-001-102.5.
Entergy

001-102.4.8
When the Transmission Provider determines that all deficiencies have been remedied and all portions of the NITS Application have been identified as COMPLETED. The Transmission Provider shall continue processing the NITS Application in accordance with the Business Practice Standards for a Completed NITS Application.

001-102.5
Completed NITS Application

001-102.5.1
When the Transmission Provider has reviewed the entire NITS Application for completeness and all portions associated with the NITS Application have been deemed COMPLETED, the Transmission Provider shall indicate that the NITS Application is deemed complete by setting the status of the overall NITS Application to COMPLETED.
SOCO

001-102.5.1
When the Transmission Provider has reviewed the entire NITS Application for completeness and all requests associated with the NITS Application have been set to the STATUS of COMPLETED, the Transmission Provider shall indicate that the NITS Application is deemed complete by setting the status of the overall NITS Application to COMPLETED.

001-102.5.2
Consistent with the requirements of Business Practice Standard WEQ-001-102.1.2.1.1, the Transmission Provider shall ensure that the queue times of all COMPLETED portions associated with the COMPLETED NITS Application are set to the same queue time established on the initial submission of the NITS Application.
MISO et al

32. In 001-102.5.2, this requirement appears confusing based on WEQ-001-102.1.2.1.1.  In that requirement the queue time is being set to the queue time when the Application is submitted for all the portions of the application.  This requirement seems to be setting the queue time to the same value it was set in WEQ-001-102.1.2.1.1 for all portions of the Application.
SOCO

001-102.5.2
Consistent with the requirements of Business Practice Standard WEQ-001-102.1.2.1.1, the Transmission Provider shall ensure that the queue times of all COMPLETED requests associated with the COMPLETED NITS Application are set to the same queue time established on the initial submission of the NITS Application.
Entergy
Entergy propossetting of queue time of NITS application be the latest (last queued) time of associated portions of the NITS application.

8/4/11 add language to include “as established in Business Practice Standard WEQ-001-102.1.2.1”
001-102.5.2
Consistent with the requirements of Business Practice Standard WEQ-001-102.1.2.1.1, the Transmission Provider shall ensure that the queue times of all COMPLETED portions associated with the COMPLETED NITS Application are set to the queue time established on the initial submission of the NITS Application.

001-102.5.3
The COMPLETED NITS Application and set of associated COMPLETED portions shall constitute the entire initial NITS Application to be considered and evaluated further for granting of service by the Transmission Provider.
MISO et al

33. In 001-102.5.3 it states that the NITS Application and set of associated COMPLETED portions shall constitute the entire initial Application.  However, WEQ-001-101.8 allows for information to be submitted outside of the electronic portions which would indicate there may be portions of the application that are part of the initial application which should be considered as part of the entire initial Application.
SOCO

001-102.5.3
The COMPLETED NITS Application and the set of associated COMPLETED requests shall constitute the entire initial NITS Application to be considered and evaluated further for granting of service by the Transmission Provider.
Entergy

001-102.5.3
The COMPLETED NITS Application and all associated COMPLETED portions shall constitute the entire initial NITS Application to be considered and evaluated by the Transmission Provider for Network Service.
001-103
NITS – EVALUATION OF NITS APPLICATION
MISO et al

34. In 001-103, it appears that a NITS Application can be a Coordinated Request since WEQ-001-103.1.1 allows for the entire application to be CR_COUNTEROFFERED or CR_ACCEPTED.  The Timing table in TABLE 105-A states it is specific to NITS modifications of service requests what are the timing requirements for an Eligible Transmission Customer to CONFIRM a CR_COUNTEROFFERED or CR_ACCEPTED initial NITS Application.
001-103.1
Review of Completed NITS Application

001- 103.1.1
Once the Transmission Provider has set the status of the NITS Application to COMPLETED, the Transmission Provider shall change the status of the overall NITS Application to one of the following to indicate its evaluation of the NITS Application:

I.
STUDY

II.
DECLINED

III.
REFUSED 

IV.
COUNTEROFFER/CR_COUNTEROFFER

V.
ACCEPTED/CR_ACCEPTED 

BPA

001- 103.1.1
Once the Transmission Provider has set the status of the NITS Application to COMPLETED, the Transmission Provider shall change the status of the overall NITS Application to one of the following to indicate its evaluation of the NITS Application:

I.
STUDY

II.
DECLINED

III.
REFUSED 

IV.
COUNTEROFFER/CR_COUNTEROFFER

V.
ACCEPTED/CR_ACCEPTED

001-103.1.2
Additionally, for a Coordinated Request the Transmission Provider may respond by setting the status to CR ACCEPTED or CR_COUNTEROFFER.
Entergy
CR Counteroffer and CR Accepted are listed above; why are they called out/repeated here?
001-103.1.2
For a Coordinated Request, the Transmission Provider shall respond by setting the status to CR ACCEPTED or CR_COUNTEROFFER.
001-103.2
Study of NITS Application
Entergy

001-103.2
Evaluation of NITS Application

001-103.2.1 
If the Transmission Provider determines that some level of study is required or is being performed, the Transmission Provider shall set the status of the overall NITS Application to STUDY.

001-103.2.2
From the status of STUDY, the Transmission Provider shall set the status of the overall NITS Application to DECLINED, REFUSED, COUNTEROFFER or, ACCEPTED.
SOCO

001-103.2.2
From the status of STUDY, the Transmission Provider shall set the status of the overall NITS Application to DECLINED, REFUSED, COUNTEROFFER, CR_COUNTEROFFER, ACCEPTED, or CR_ACCEPTED.
Entergy

001-103.2.2
From the status of STUDY, the Transmission Provider shall set the status of the overall NITS Application to DECLINED, REFUSED, COUNTEROFFER, or ACCEPTED.

001-103.3
Declining a NITS Application

001-103.3.1
If at any time in the evaluation of the NITS Application or conduct of any associated study(ies) the Transmission Provider determines that the Eligible Transmission Customer has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.), the Transmission Provider shall set the status of the overall NITS Application to DECLINED.
MISO et al

35. 001-103.3.1 indicates that a COMPLETED NITS application could be DECLINED for failure to meet the deposit requirements.  WEQ-001-102.4.6 indicates that the NITS Application may DECLINE the Application prior to it going to COMPLETE for failing to provide the deposit information.  Does this imply the Transmission Provider can have arbitrarily determined the timing for when deposits are required?
Entergy

001-103.3.1
If at any time in the evaluation of the NITS Application or any associated study(ies), and where appropriate, through informal communication with the Eligible Transmission Customer, the Transmission Provider determines that the Eligible Transmission Customer has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.), the Transmission Provider shall set the status of the overall NITS Application to DECLINED.

001-103.3.1.1
Once the status of the overall NITS Application has been set to DECLINED, the Transmission Provider shall set the status of all portions of the NITS Application to DECLINED.
MISO et al

36. There are duplicate standards in the document such as WEQ-001-102.4.7 and WEQ-001-103.3.1.1 which both state “Once the status of the overall NITS Application has been set to DECLINED, the Transmission Provider shall set the status of all portions of the NITS Application to DECLINED.”  This can be problematic for Transmission Providers.  If they fail to set the status for all portions of the NITS application they have violated multiple NAESB Standards and subject to multiple penalties for the same exact violation.
SOCO

001-103.3.1.1
Once the status of the overall NITS Application has been set to DECLINED, the Transmission Provider shall set the status of all requests associated with the NITS Application to DECLINED. The NITS Application shall be deemed withdrawn and will receive no further consideration.
001-103.4
Refusal of Completed NITS Application

001-103.4.1
If at any time in the evaluation of the NITS Application or conduct of any associated study(ies), and where appropriate, informal communications with the Eligible Transmission Customer, the Transmission Provider determines that due to insufficient transfer capability, consistent with the Transmission Provider’s tariff requirements, the requestd service cannot be provided, the Transmission Provider may set the status of the overall NITS Application to REFUSED.
Entergy
Shall?
001-103.4.1
If at any time in the evaluation of the NITS Application or any associated study(ies) the Transmission Provider determines that the requested service cannot be provided due to insufficient transfer capability consistent with the Transmission Provider’s tariff requirements, the Transmission Provider may set the status of the overall NITS Application to REFUSED.
SOCO

001-103.4.1.1
Once the status of the overall NITS Application has been set to REFUSED, the Transmission Provider shall set the status of all requests associated with the NITS Application to REFUSED. The NITS Application shall be deemed withdrawn and will receive no further consideration.
001-103.5
Counteroffer to NITS Application
MISO et al

38. In 001-103.5 through 001-103.6, are there portions of a NITS application that cannot be set to CR_ACCEPTED or CR_COUNTEROFFERED?  If so what are those portions?  In reading the requirements it appears that all the portions of a NITS Application could be set to CR_ACCEPTED but then the entire NITS application has to be set to ACCEPTED.  The same seems to be true for CR_COUNTEROFFER and COUNTEROFFER.
001-103.5.1
When, in the evaluation of the NITS Application or on completion of any applicable study(ies), and, where appropriate, through informal communication with the Eligible Transmission Customer, the Transmission Provider determines that the requested transmission service may only be granted in part, the Transmission Provider shall set the status of the overall NITS Application to COUNTEROFFER.
MISO et al

37. 001-103.5.1 includes the language “and, where appropriate, through informal communication with the Eligible Transmission Customer,” promotes an opaque rather than transparent process.
SOCO

001-103.5.1
When, in the evaluation of the NITS Application or on completion of any applicable study(ies), and, where appropriate, through informal communication with the Eligible Transmission Customer, the Transmission Provider determines that the requested DNR, DNL, or NSR may only be granted in part, the Transmission Provider shall set the status of the overall NITS Application to COUNTEROFFER or CR_COUNTEROFFER.
BPA
Section 001-103-5.1: Recommend that “shall” be replaced with “may”
001-103.5.1
When, in the evaluation of the NITS Application or on completion of any applicable study(ies), and, where appropriate, through informal communication with the Eligible Transmission Customer, the Transmission Provider determines that the requested transmission service may only be granted in part, the Transmission Provider may set the status of the overall NITS Application to COUNTEROFFER.
Entergy
What about the Coordinated Request?  Entergy suggests that the status should be set to CR_COUNTEROFFER to be consistent..
001-103.5.1
When, in the evaluation of the NITS Application or on completion of any applicable study(ies), and where appropriate, through informal communication with the Eligible Transmission Customer, the Transmission Provider determines that the requested transmission service may only be granted in part, the Transmission Provider shall set the status of the overall NITS Application to COUNTEROFFER or CR_COUNTEROFFER.

001-103.5.2
Prior to setting the status of the overall NITS Application to COUNTEROFFER, the Transmission Provider shall update the status associated with each portion of the Completed Application as follows:
SOCO

001-103.5.2
Prior to setting the status of the overall NITS Application to COUNTEROFFER or CR_COUNTEROFFER, the Transmission Provider shall update the status associated with each request of the completed Application as follows:
Entergy

001-103.5.2
Prior to setting the status of the overall NITS Application to COUNTEROFFER or CR_COUNTEROFFER, the Transmission Provider shall update the status of each associated portion of the Completed Application as follows:

001-103.5.2.1
The status of any portion of the NITS Application that will not be granted shall be set to the appropriate final state.
SOCO

001-103.5.2.1
The status of any request of the NITS Application that will not be granted shall be set to the appropriate final state.

001-103.5.2.2
The status of any portion of the NITS Application that is to be granted as specified in the NITS Application shall be set to ACCEPTED or CR_ACCEPTED.
SOCO
This requirement is not appropriate here in counteroffer. This section deals with partials. Is included in section 001-103.6.
001-103.5.2.2
The status of any request of the NITS Application that is to be granted as specified in the NITS Application shall be set to ACCEPTED or CR_ACCEPTED.

001-103.5.2.3
The status of any portion of the NITS Application that is to be granted at a reduced capacity shall be set to COUNTEROFFER or CR_COUNTEROFFER.
SOCO

001-103.5.2.3
The status of any request of the NITS Application that is to be granted at a reduced capacity shall be set to COUNTEROFFER or CR_COUNTEROFFER.

001-103.6
Acceptance of NITS Application

001-103.6.1
When, in the evaluation of the NITS Application or on completion of any applicable study(ies), and, where appropriate, through informal communication with the Eligible Transmission Customer, the Transmission Provider determines that the requested transmission service may be granted, the Transmission Provider shall set the status of the overall NITS Application to ACCEPTED.
SOCO

001-103.6.1
When, in the evaluation of the NITS Application or on completion of any applicable study(ies), and, where appropriate, through informal communication with the Eligible Transmission Customer, the Transmission Provider determines that the requested transmission service may be granted, the Transmission Provider shall set the status of the overall NITS Application to ACCEPTED or CR_ACCEPTED.
Entergy

001-103.6.1
When, in the evaluation of the NITS Application or on completion of any applicable study(ies), and where appropriate, through informal communication with the Eligible Transmission Customer, the Transmission Provider determines that the requested transmission service may be granted, the Transmission Provider shall set the status of the overall NITS Application to ACCEPTED or CR_ACCEPTED.

001-103.6.2
Prior to setting the status of the overall NITS Application to ACCEPTED, the Transmission Provider shall update the status associated with each portion of the NITS Application to ACCEPTED or CR_ACCEPTED.
SOCO

001-103.6.2
Prior to setting the status of the overall NITS Application to ACCEPTED or CR_ACCEPTED, the Transmission Provider shall update the status associated with each request of the NITS Application to ACCEPTED or CR_ACCEPTED.
Entergy

001-103.6.2
Prior to setting the status of the overall NITS Application to ACCEPTED or CR_ACCEPTED, the Transmission Provider shall update the status associated with each portion of the NITS Application to ACCEPTED or CR_ACCEPTED.

001-103.7
Changes to NITS Application Prior To Confirmation
001-103.7.1
A request for a change to a NITS Application which is an administrative change may be made at any time, in accordance with Business Practice Standards WEQ 001-104.
Entergy

001-103.7.1
A request for an administrative change to a NITS Application may be made at any time, in accordance with Business Practice Standards WEQ 001-104.

001-103.7.1.1
A request for a change to a NITS Application, which is not administrative change, shall not be allowed if the NITS Application is in any final state other than CONFIRMED.
Entergy

001-103.7.1.1
A request for a change to a NITS Application which is not administrative, shall not be allowed if the NITS Application is in any final state other than CONFIRMED.

001-103.7.2
If, during informal communications, it is determined that a change to the NITS Application is necessary, the Eligible Transmission Customer shall use the process for modification of service in accordance with Business Practice Standards WEQ 001-105 to submit a request for such change.  Such a request for change will be deemed by the Transmission Provider to be part of the NITS Application as initially submitted.
Entergy

001-103.7.2
If during informal communications, it is determined that a change to the NITS Application is necessary, the Eligible Transmission Customer shall use the process for modification of service described in Business Practice Standards WEQ 001-105 to submit a request for such change.  Such a request for change will be deemed by the Transmission Provider to be part of the NITS Application initially submitted.

001-103.7.2.1
If the request is outside the scope of informal communications, the Transmission Provider may deny the request by setting the status of the request to INVALID.
SOCO

001-103.7.2.1
If the request is outside the scope of informal communications, the Transmission Provider may deny the request by setting the status of the request to DECLINED.
Entergy

001-103.7.2.1
If the request is outside of the scope of informal communications, the Transmission Provider may deny the request for modification of service by setting the status of the request for modification of service to INVALID.

001-103.8
Confirmation or Withdrawal of a Completed NITS Application
001-103.8.1
After the status of the overall NITS Application has been set to ACCEPTED or, COUNTEROFFER by the Transmission Provider, the Eligible Transmission Customer may confirm or withdraw the overall NITS Application by setting the status to CONFIRMED or WITHDRAWN.
SOCO

001-103.8.1
After the status of the overall NITS Application has been set to ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER by the Transmission Provider, the Eligible Transmission Customer may confirm or withdraw the overall NITS Application by setting the status to CONFIRMED or WITHDRAWN.
Entergy

 001-103.8.1
After the status of the overall NITS Application has been set to ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER by the Transmission Provider, the Eligible Transmission Customer may confirm or withdraw the overall NITS Application by setting the status to CONFIRMED or WITHDRAWN.
001-103.8.1.1
Confirming the overall NITS Application shall constitute the Network Customer’s agreement to receive service as specified in all portions of the NITS Application that are not already in a final state. Confirming the overall NITS Application shall set the status of all portions of the NITS Application not already in a final state to CONFIRMED. The Network Customer is not permitted to CONFIRM only a portion of the NITS Application.
SOCO

001-103.8.1.1
Confirming the overall NITS Application shall constitute the Eligible Transmission Customer’s agreement to receive service as specified in all requests of the NITS Application that are not already in a final state. Confirming the overall NITS Application shall set the status of all requests of the NITS Application not already in a final state to CONFIRMED. The Eligible Transmission Customer is not permitted to CONFIRM only a request of the NITS Application.
Entergy

001-103.8.1.1
Confirming the overall NITS Application shall constitute the Network Customer’s agreement to receive service as specified in all portions of the NITS Application that may not already be in final state. Confirming the overall NITS Application shall set the status of all portions of the NITS Application not already in final state to CONFIRMED. The Network Customer is not permitted to CONFIRM only a portion of the NITS Application.

001-103.8.1.1.1
If the Eligible Transmission Customer requests the Transmission Provider to file an executed service agreement at FERC, the Eligible Transmission Customer at the time of setting the status of the overall NITS Application to CONFIRMED, shall also set the indicator to “Executed”
MISO et al

39. In 001-103.8.1.1.1, we suggest changing “indicator” to the “FERC filing indicator” and capitalize EXECUTED since it is a valid value in the data dictionary.
001-103.8.1.1.1
If the Eligible Transmission Customer requests the Transmission Provider to file an executed service agreement at FERC, the Eligible Transmission Customer at the time of setting the status of the overall NITS Application to CONFIRMED, shall also set the FERC filing indicator to “EXECUTED”
BPA

001-103.8.1.1.1
If the Eligible Transmission Customer requests the Transmission Provider to file an executed service agreement at FERC, the Eligible Transmission Customer at the time of setting the status of the overall NITS Application to CONFIRMED, shall also set the indicator to “Executed”.
Entergy

What is indicator? Is this same as status or a flag?  Where this flag/status is used?
001-103.8.1.1.2 
If the Eligible Transmission Customer requests the Transmission Provider to file an unexecuted service agreement at FERC, the Eligible Transmission Customer at the time of setting the status of the overall NITS Application to CONFIRMED, shall also set the indicator to “Unexecuted”.
Entergy

What is indicator? Is this same as status or a flag?  Where this flag/status is used?
001-103.8.1.2
Withdrawal of the overall NITS Application shall constitute the Eligible Transmission Customer’s withdrawal of all portions of the NITS Application including those portions already in a final state.  Withdrawal of the overall NITS Application shall set the status of all portions of the NITS Application to WITHDRAWN.
SOCO

001-103.8.1.2
Withdrawal of the overall NITS Application shall constitute the Eligible Transmission Customer’s withdrawal of all requests of the NITS Application including those requests already in a final state.  Withdrawal of the overall NITS Application shall set the status of all requests of the NITS Application to WITHDRAWN. The NITS Application shall be deemed withdrawn and will receive no further consideration.
Entergy

001-103.8.1.2
Withdrawal of the overall NITS Application shall constitute the Eligible Transmission Customer’s withdrawal of all portions of the NITS Application, including those portions already in a final state.  Withdrawal of the overall NITS Application shall set the status of all portions of the NITS Application to WITHDRAWN.

001-103.8.1.3
The Eligible Transmission Customer may not act on the individual portions of the NITS Application.  Once the overall NITS Application is in a final state of CONFIRMED, any subsequent changes must be made through a request for modification of service as provided for in the Business Practice Standards WEQ 001-105.
MISO et al

40. Can only a portion of a NITS Application be associated to a Coordinated Request? If so how does that work if the portion is pre-confirmed, CR_ACCEPTED and other portions are DECLINED or CR_COUNTEROFFER.  Does this require the Network Customer to CONFIRM the entire NITS Application since they cannot act on individual portions of the NITS application (see WEQ-001-103.8.1.3?
SOCO

001-103.8.1.3
The Eligible Transmission Customer may not act on the individual requests of the NITS Application.  Once the overall NITS Application is in a final state of CONFIRMED, any subsequent changes must be made through a request for modification of service as provided for in the Business Practice Standards WEQ 001-105.
Entergy

  001-103.8.1.3
Once the overall NITS Application is in a final state of CONFIRMED, the Eligible Transmission Customer may not act on any individual portion of the NITS Application. Any subsequent changes must be in accordance with as provided for in the Business Practice Standards WEQ 001-105, NITS Modification of Service.
001-103.9
Final Disposition of NITS Application

001-103.9.1
Once CONFIRMED the overall NITS Application shall remain CONFIRMED throughout its term of service regardless of subsequent modification of service unless otherwise mutually agreed; in which case the Transmission Provider shall set the status of the overall NITS Application and all portions of the NITS Application that are not already in a final state to ANNULLED.
SOCO

001-103.9.1
Once CONFIRMED the overall NITS Application shall remain CONFIRMED throughout its term of service regardless of subsequent modification of service unless otherwise mutually agreed; in which case the Transmission Provider shall set the status of the overall NITS Application and all requests of the NITS Application that are not already in a final state to ANNULLED. The NITS Application shall be deemed withdrawn and will receive no further consideration.
Entergy

001-103.9.1
Once CONFIRMED the overall NITS Application shall remain CONFIRMED throughout its term of service regardless of subsequent modification of service unless otherwise mutually agreed in which case the Transmission Provider shall set the status of the overall NITS Application and all portions of the NITS Application that are not already in a final state to ANNULLED.

001-103.9.1.1
If a Commission order related to a NITS Application is issued, the Eligible Transmission Customer shall use the modifications of service process as provided for in the Business Practice Standards WEQ-001-105 to modify the overall NITS Application to reflect the Commission order.
Entergy
What is the significance of this qualifier?  Entergy suggest deleting this phrase.
001-103.9.1.1
The Eligible Transmission Customer shall use the modifications of service process provided in the Business Practice Standards WEQ-001-105 to modify the overall NITS Application in accordance with any newly issued Commission order.

001-103.9.1.1.2
If the Eligible Transmission Customer determines not to accept the terms and conditions ordered by the Commission, the Eligible Transmission Customer may request that the Transmission Provider set the status of the overall NITS Application and all portions of the NITS Application that are not already in a final state to ANNULLED.
SOCO

001-103.9.1.1.2
If the Eligible Transmission Customer determines not to accept the terms and conditions ordered by the Commission, the Eligible Transmission Customer may request that the Transmission Provider set the status of the overall NITS Application and all requests of the NITS Application that are not already in a final state to ANNULLED. The NITS Application shall be deemed withdrawn and will receive no further consideration.
Entergy

Entergy does not agree with including in the standard that Transmission Customer can get out of the contractual agreement, if they do not agree with FERC order as there is no such provision for TP.  TP and TC can mutually agree to do it but not TC unilaterally.

001-103.9.1.1.2
If the Eligible Transmission Customer does not accept the terms and conditions ordered by the Commission, the Eligible Transmission Customer may request that the Transmission Provider set the status of the overall NITS Application and all portions of the NITS Application that are not already in a final state to ANNULLED.

001-103.9.2
If, within the time limits specified in the Transmission Provider’s tariff for execution of a service agreement or for requesting filing of an unexecuted service agreement, the Eligible Transmission Customer fails to set the status to CONFIRMED or WITHDRAWN or does not request the Transmission Provider to file at FERC an unexecuted service agreement, the Transmission Provider may set the status of the overall NITS Application to RETRACTED. Retraction of the overall NITS Application shall set the status of the portions not already in a final state to RETRACTED.
MISO et al

41. 001-103.9.2 indicates that for a CONFIRMED NITS Application the filing status must be set to “UNEXECUTED” or the Transmission Provider set the status to “RETRACTED”.  Is this intended to allow the Transmission Provider to retract the agreement if the filing status is set to “EXECUTED.”  As the requirement reads, the Transmission Provider would have this flexibility.
SOCO

001-103.9.2
If, within the time limits specified in the Transmission Provider’s tariff for execution of a service agreement or for requesting filing of an unexecuted service agreement, the Eligible Transmission Customer fails to set the status to CONFIRMED or WITHDRAWN or does not request the Transmission Provider to file at FERC an unexecuted service agreement, the Transmission Provider may set the status of the overall NITS Application to RETRACTED. Retraction of the overall NITS Application shall set the status of the requests not already in a final state to RETRACTED. The NITS Application shall be deemed withdrawn and will receive no further consideration.
Entergy

001-103.9.2
If, within the time limits specified in the Transmission Provider’s tariff for execution of a service agreement or for requesting filing of an unexecuted service agreement, the Eligible Transmission Customer fails to set the status to CONFIRMED or WITHDRAWN, or does not request the Transmission Provider to file at FERC an unexecuted service agreement, the Transmission Provider may set the status of the overall NITS Application to RETRACTED. Retraction of the overall NITS Application shall set the status of the portions not already in a final state to RETRACTED.

001-103.10            Changes to a CONFIRMED NITS Application 
MISO et al

42. In 001-103.10 and 001-103.10.1, it is unclear why these sections are need.  It would seem appropriate to have the text from WEQ-001-103.10.1 moved to WEQ-101-105.  If the decision is to keep this section, then it should include other changes that can occur to a confirmed NITS application such as changing the STOP_TIME. (ES)
001-103.10.1
Any request submitted by the Eligible Transmission Customer associated with a NITS Application that is deemed by the Transmission Provider to be a request for modification of service shall be processed in accordance with the applicable Business Practice Standards WEQ 001-105 when the overall NITS Application status is CONFIRMED.

001-104 
NITS – ADMINISTRATIVE CHANGES to the NITS Application
MISO et al

43. In 001-104 NITS Administrative Changes, can Administrative Changes be submitted after the initial Application has be submitted but prior to the NITS Application being CONFIRMED, for example while it is in a deficient state or COUNTEROFFERED.
001-104.1
The Network Customer shall have the right to request administrative changes pursuant to the NITS Application. 
SOCO

001-104.1
The Eligible Transmission Customer or Network Customer shall have the right to request administrative changes pursuant to the NITS Application. 

001-104.2
A request for administrative changes shall be submitted to the Transmission Provider on OASIS, and assigned a unique identifier by OASIS, in accordance with the Business Practice Standards WEQ-002 and WEQ-013 and with explicit reference to the associated NITS Application.
Entergy

How an administrative change be distinguished from other change?  Will this be identified in remarks, or there will be a request type?

8/3/11 make an ie beside administrative change to indicate that this type of change does not impact any element of the service requested.

001-104.2
A request for administrative changes shall be submitted to the Transmission Provider on OASIS, and assigned a unique identifier by OASIS, in accordance with Business Practice Standards WEQ-002 and WEQ-013 and with explicit reference to the associated NITS Application.

001-104.3
A request for administrative changes shall be submitted as pre-confirmed. 

001-104.4
The Transmission Provider will accept or deny the request within 7 calendar days of receipt of the request. The Transmission Provider will provide a reason for denial of a request for administrative change.
MISO et al

44. In 001-104.4, what happens if the Transmission Provider does not act on the administrative change in 7 days? 001-104.3 says the request shall be submitted pre-confirmed. Shouldn’t there be more language to address the Transmission Provider’s possible lack of action?
001-104.5
The types of requests considered administrative changes will be in accordance with Business Practice Standards WEQ-002 and WEQ-013.
001-105
NITS – MODIFICATION OF SERVICE
MISO et al

51. In the major sections within WEQ-001-105 (Modification of Service) it is unclear why some major sections go through the details of how processing  occurs such as Designation of New Network Resource while other such as NSR have language that indicates processing will be done in accordance with Business Practice Standards WEQ-002, WEQ-003, and WEQ-013.  From a consistency perspective the subcommittee should settle on a single approach in documenting the standards.
001-105.1
General Requirements
Entergy

 001-105.1
General Requirements for Modification of NITS
8/17/11 accepted
001-105.1.1
The Network Customer shall have the right to request modification of service pursuant to the NITS Application. 
SOCO

001-105.1.1
The Eligible Transmission Customer or Network Customer shall have the right to request modification of service pursuant to the NITS Application. 

001-105.1.2
Any CONFIRMED request for modification of service shall be incorporated into the associated NITS Application.

001-105.1.3
A request for modification of service shall be submitted to the Transmission Provider on OASIS in accordance with the Business Practice Standards WEQ-002 and WEQ-013 and with explicit reference to the associated NITS Application.
Entergy

001-105.1.3
A request for modification of service shall be submitted to the Transmission Provider on OASIS in accordance with Business Practice Standards WEQ-002 and WEQ-013 and with explicit reference to the associated NITS Application.

001-105.1.4
A request for modification of service shall be queued, assigned a unique identifier by OASIS, and evaluated in the same manner as any other request. 

001-105.1.5
The following timing requirements shall apply to all requests for modifications of service requests, including DNR, DNL, and NSR requests, as well as all requests for Secondary Network Transmission Service:

Table 105-a

NITS ReqUest Timing Requirements

Information in this table is used solely for determining timing requirements associated with evaluation of NITS modification of service requests.
SOCO

Information in this table is used solely for determining timing requirements associated with evaluation of NITS modification of service requests after the initial NITS Application has been set to CONFIRMED.
Entergy

Information in this table is used solely for determining timing requirements associated with Transmission Provider evaluation of NITS modification of service requests.

	Request
	Request Interval1

	Time Queued Prior to Start


	Transmission Provider Evaluation Time Limit2
	Network Customer Confirmation Time Limit3 After ACCEPTED or COUNTEROFFER4
	Network Customer Confirmation Time Limit3 After CR_ACCEPTED or CR_COUNTEROFFER10,11
	Transmission Provider Counter Time Limit after REBID5

	Secondary Network Transmission Service/ Release of Secondary Network Transmission Service 
	Hour

Hour

Hour

Hour

Day

Week

Month
	< 1 hour

 1 to 24 hours

> 24 to 72 hours

> 3 days

N/A

N/A

N/A
	Best effort

30 minutes

60 minutes

2 days (add footnote similar to footnote 7)

30 minutes

4 hours

2 days6
	5 minutes

5 minutes

30 minutes

60 minutes

2 hours

24 hours

24 hours
	N/A

N/A

N/A

N/A

N/A

N/A

24 hours
	5 minutes

5 minutes

10 minutes

10 minutes

10 minutes

4 hours

4 hours

	DNR/

DNL
	Day

Day

Week

Month

Year
	<24 hours

> 1 day

N/A

N/A

60 days8
	Best effort

30 days7
30 days7
30 days7
30 days7
	2 hours

24 hours

48 hours

4 days

15 days
	N/A

N/A

N/A

4 days

15 days
	30 minutes

4 hours

4 hours

4 hours

4 hours

	Termination of DNR9 
	N/A
	< 1 hour

1 to 24 hours

> 24 hours
	Best effort7
30 minutes  

2 hours
	5 minutes

30 minutes

24 hours
	N/A

N/A

N/A
	N/A


Notes for Table 105-A:

1
Request Interval is used to for purposes of documenting response times.  Request Interval does not define or modify the product being requested.  The following Request Intervals shall be associated with this table:

a. Hour: Request Interval of less than one day

b. Day: Request Interval comprising at least one day but less than one week 

c. Week: Request Interval comprising at least one week but less than one month 

d. Month: Request Interval comprising at least one month but less than one year 

e. Year: Request Interval comprising at least one year

2
For DNR and DNL, measurement starts at the time the request is COMPLETED.  For all other requests, measurement starts at the time the request is QUEUED.

3
Confirmation time limits are not to be interpreted to extend scheduling deadlines.

4
Measurement starts at the time the request is first moved to either ACCEPTED or COUNTEROFFER.  The time limit does not reset on subsequent changes of state.

5
Measurement starts at the time the Network Customer changes the state to REBID.  The measurement resets each time the request is changed to REBID.

6
Days are defined as calendar days.

7

Transmission Providers shall make best efforts to respond within 72 hours or prior to the scheduling deadline, whichever is earlier.

SOCO

7
Transmission Providers shall make best efforts to respond within 72 hours or prior to the scheduling deadline, whichever is earlier.
Entergy

7
Transmission Providers shall make best efforts to respond within 72 hours or prior to the scheduling deadline, whichever is earlier.
8
Whenever feasible and on a nondiscriminatory basis, Transmission Providers should accommodate requests made with less than 60 days notice.
Entergy

8
Whenever feasible, and on a nondiscriminatory basis, Transmission Providers should accommodate requests made with less than 60 days notice.

9 
When the Concomitant Evaluation flag has been set, the timing requirements of the associated request for PTP transmission service, designation of Network Resource or Secondary Network Transmission shall apply.
Entergy

9 
When the Concomitant Evaluation flag has been set, the timing requirements of the associated request for PTP transmission service, designation of Network Resource or Secondary Network Transmission shall apply.

10
Confirmation time limit for all Coordinated Requests in a Coordinated Group is established by selecting the longest confirmation time limit of any Coordinated Request in that Coordinated Group.

11
Measurement starts based on the time the last of all Coordinated Requests in the Coordinated Group has been moved to either CR_ACCEPTED, CR_COUNTEROFFER or some final state. The Network Customer confirmation time limit does not reset on subsequent changes of state.
Entergy

11
Measurement starts based on the time the last of all Coordinated Requests in the Coordinated Group has been moved to either CR_ACCEPTED, CR_COUNTEROFFER or some final state. The Network Customer confirmation time limit does not reset on subsequent state changes.
MISO et al

45. Table 105-A indicates that is used for “solely for determining timing requirements associated with evaluation of NITS modification of service requests.”  There are no timing requirements for the NITS Application.  Is this to imply the Network Customer has no time limits for confirming an ACCEPTED NITS Application?  Also recommend that the table be reformatted so that all columns can be read and there should be row designations between all time intervals similar to Table 4-2 in WEQ-001.  In some places the footnotes do not appear to be applicable.  For example Footnote 7 Transmission Providers shall make best efforts to respond within 72 hours or prior to the scheduling deadline” is associated with the Termination of DNR with less than 1 hour prior to the Queued Start Time.
MISO et al

50. In 001-105.1.5, it would be helpful if the classifications of what constitutes a modification of service were consistent with the headers found in later sections if those are the only items that constitute modification of service (designation of new network resource, termination of a network resource, redesignation of network load, NSR, secondary network transmission service, concomitant evaluation, and change to NITS Application STOP_TIME) rather than what is currently documented.
Duke

This concept is also continued in the introduction to the Network Scheduling Timing Table but for an unexplained reason, NSR requests are not listed in Table 105-A. (from 001-102.1.2.1.1)
001-105.1.6
The following requests are considered modification of service:
· Request for designation of a new Network Resource

· Request for temporary termination of Network Resource

· Request for indefinite termination of Network Resource

· Request for designation of new Network Load

· Request for undesignation of Network Load

· Request for new NSR

· Request for Concomitant Evaluation


Duke

001-105.1.6 refers to a “request for new NSR”.

SOCO

001-105.1.6
The following requests are considered modification of service:
· Request for designation of a new Network Resource

· Request for temporary termination of DNR
· Request for indefinite termination of DNR
· Request for redesignation of new DNL
· 
· Request for new NSR
· Request for Secondary Network Transmission Service
· Request for Concomitant Evaluation

· Request to change to NITS Application STOP_TIME
001-105.2
Designation of New Network Resource 

001-105.2.1
Submission of Request for Designation of New Network Resource

001-105.2.1.1
The Network Customer may enter and update information on OASIS to support a request for designation of new Network Resource prior to submission to the Transmission Provider by setting the status of the request to PRESUBMITTED.
SOCO

001-105.2.1.1
The Eligible Transmission Customer or Network Customer may enter and update information on OASIS to support a request for designation of new Network Resource prior to submission to the Transmission Provider by setting the status of the request to PRESUBMITTED, which indicates the information is being retained in the Pre-submittal Workspace.

001- 105.2.1.2
The Eligible Transmission Customer shall indicate to the Transmission Provider that a request for designation of new Network Resource is ready for Transmission Provider review for consistency with the Transmission Provider’s minimum information requirements which are posted as specified in Business Practice Standards WEQ-001-13, by submitting the request for designation of new Network Resource on OASIS..
MISO et al

46. In 001-105.2.1.2, should the reference be WEQ-001-13-1.4 rather than the higher section WEQ-001-13. 
001- 105.2.1.2
The Eligible Transmission Customer shall indicate to the Transmission Provider that a request for designation of new Network Resource is ready for Transmission Provider review for consistency with the Transmission Provider’s minimum information requirements which are posted as specified in Business Practice Standards WEQ-001-13-1.4, by submitting the request for designation of new Network Resource on OASIS..
SOCO

001- 105.2.1.2
The Eligible Transmission Customer or Network Customer shall indicate to the Transmission Provider that a request for designation of new Network Resource is ready for Transmission Provider review for consistency with the Transmission Provider’s minimum information requirements which are posted as specified in Business Practice Standards WEQ-001-13, by submitting the request for designation of new Network Resource on OASIS..
Entergy

 001- 105.2.1.2
The Network Customer shall indicate to the Transmission Provider that a request for designation of new Network Resource is ready for Transmission Provider review for consistency with the Transmission Provider’s minimum information requirements posted as specified in Business Practice Standards WEQ-001-13-1.4, by submitting the request for designation of new Network Resource on OASIS.
001- 105.2.1.3
The Network Customer shall indicate to the Transmission Provider that the request for designation of new Network Resource is ready for Transmission Provider review by submitting the request on OASIS.
SOCO

2.1.3 same as 2.1.2 take out and renumber next three under 2.1.2 

001-105.2.1.3.1
OASIS shall set the queue time for the request for designation of new Network Resource to the time that the Network Customer submits the request, and shall set the status of the request to QUEUED.
Entergy

001-105.2.1.3.1
OASIS shall set the queue time for a request for designation of new Network Resource to the time that the Network Customer submits the request, and shall set the status of the request to QUEUED.
SOCO

add

001-105.2.1.2.2
OASIS shall set the queue time for the request for designation of new Network Resource to the time that the Eligible Transmission Customer submitted the NITS Application, and shall set the status of the request to QUEUED.
001-105.2.1.3.2
The Transmission Provider shall acknowledge the queued request for designation of new Network Resource by setting the status of the request to RECEIVED.
SOCO

add

001-105.2.1.4
If the Eligible Transmission Customer submitted the request for designation of new Network Resource the request will be evaluated in accordance with Business Practice Standards WEQ-001-102.2. 
001-105.2.2
Initial Review of Request for Designation of New Network Resource

001- 105.2.2.1
The Transmission Provider shall respond to the request by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 

III.
COMPLETED 

001-105.2.3
Invalid Request for Designation of New Network Resource

001-105.2.3.1
If the required information, as specified in the Transmission Provider’s minimum information requirements that are posted in accordance with Business Practice Standards WEQ-001-13, has not been provided in the request for designation of new Network Resource, the Transmission Provider shall set the status of the request for designation of new Network Resource to INVALID. The request for designation of new Network Resource shall be deemed withdrawn and will receive no further consideration.
Entergy

001-105.2.3.1
If the required information, as specified in the Transmission Provider’s minimum information requirements posted in accordance with Business Practice Standards WEQ-001-13, has not been provided in the request for designation of new Network Resource, the Transmission Provider shall set the status of the request for designation of new Network Resource to INVALID. The request for designation of new Network Resource shall be deemed withdrawn and will receive no further consideration.
SOCO

add

001/105.2.3.1.1
If any request for designation of new Network Resource is set to a status of INVALID, all associated requests for designation of new Network Resource will be set to a status of INVALID.
001-105.2.4
Deficient Request for Designation of New Network Resource
001-105.2.4.1
For each valid request for designation of new Network Resource, the Transmission Provider shall determine if the request can be deemed sufficient (i.e. consistent with the Transmission Provider’s OATT requirements for the request for designation of new Network Resource).
Entergy

  001-105.2.4.1
For each valid request for designation of new Network Resource, the Transmission Provider shall determine if the information provided is sufficient (i.e. consistent with the Transmission Provider’s OATT requirements for the request for designation of new Network Resource).
001-105.2.4.1.1
If deemed sufficient, the Transmission Provider shall set the status of such request to COMPLETED.
Entergy

  001-105.2.4.1.1
If the information provided for a request is sufficient, the Transmission Provider shall set the status of such request to COMPLETED.
001-105.2.4.1.2
If deemed insufficient, the Transmission Provider shall set the status of such request to DEFICIENT.
SOCO

001-105.2.4.1.2
If not deemed sufficient, the Transmission Provider shall set the status of such request to DEFICIENT.
Entergy

 001-105.2.4.1.2
If the information provided for a request is insufficient, the Transmission Provider shall set the status of such request to DEFICIENT.
001-105.2.4.2
A request for designation of a new Network Resource shall be accompanied by an attestation.
Entergy

Of what? (attestation) 
001-105.2.4.3
If the Transmission Provider determines that the request for designation of new Network Resource is deficient, the Transmission Provider shall set the request to DEFICIENT and begin informal communications with the Network Customer to resolve the deficiencies.
Entergy

 001-105.2.4.3
If the Transmission Provider determines that the request for designation of new Network Resource is deficient, the Transmission Provider shall set the request to DEFICIENT, and begin informal communications with the Network Customer to resolve the deficiencies.
001-105.2.4.4
The Network Customer shall remedy the deficiency and shall set the status of the request for designation of new Network Resource to REEVALUATE.
Entergy

001-105.2.4.4
The Network Customer shall remedy the deficiencies indicated by the Transmission Provider and set the status of the request for designation of new Network Resource to REEVALUATE.

001-105.2.4.5
Upon notification that the Network Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:
MISO et al

47. 001-105.2.4.5 states “Upon notification that the Network Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency.”   This statement would indicate that the customer has provided the information which will remedy the deficiency.  Subsections 1 and 3 indicate that it does not remedy the deficiency.  This seems inconsistent.  Also a literal interpretation of this requirement allows a Customer to remedy the deficiency off OASIS with providing the necessary information off OASIS, which implies some customers may be required to pass certain OASIS validations while others would not.
Entergy
What kind of notification?  OASIS status?  Communication from the TC?
001-105.2.4.5
Upon notification that the Network Customer has provided the information specified by the Transmission Provider to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:

001-105.2.4.5.1
If the information provided fails to remedy the deficiency, the Transmission Provider shall set the status of the request for designation of new Network Resource to DEFICIENT.

001-105.2.4.5.2
If the information provided remedies the deficiency, the Transmission Provider shall set the status of the request for designation of new Network Resource to COMPLETED.
BPA

001-105.2.4.5.2
If the information provided remedies the deficiency, the Transmission Provider shall set the status of the request for designation of a new Network Resource to COMPLETED.

001-105.2.4.5.3
If the information provided is deemed by the Transmission Provider to be a significant change to the request for designation of new Network Resource, the Transmission Provider shall set the status of the request to DECLINED.
MISO et al

48. 001-105.2.4.5.3 and 001-2.4.6 seems to allow for undocumented discretion by the Transmission Provider in declining a Request for Designation of a New Network Resource.
Entergy

Vague – define or example would be helpful.

8/4/11 might consider wording change to “material modification”.

8/4/11 make an ie beside significant change to indicate that this type of change does impact any element of the service requested.
001-105.2.4.5.3.1
Once the status of the request for designation of new Network Resource has been set to DECLINED, the Transmission Provider shall set the status of all portions of the request for designation of new Network Resource to DECLINED.
SOCO

001-105.2.4.5.3.1
Once the status of the request for designation of new Network Resource has been set to DECLINED, the Transmission Provider shall set the status of all associated requests of the request for designation of new Network Resource to DECLINED. The request shall be deemed withdrawn and will receive no further consideration.
001-105.2.4.6
If the Network Customer fails to respond to the Transmission Provider’s notice of a deficient request for designation of new Network Resource, or fails to remedy the deficiency to the Transmission Provider’s satisfaction, the Transmission Provider shall set the status of the request to DECLINED.
Entergy
Entergy suggest to define criteria for satisfaction and include time requirement for remedy the deficiency.
001-105.2.4.6.1
Once the status of the request for designation of new Network Resource has been set to DECLINED, the Transmission Provider shall set the status of all portions of the request for designation of new Network Resource to DECLINED.
SOCO

001-105.2.4.6.1
Once the status of the request for designation of new Network Resource has been set to DECLINED, the Transmission Provider shall set the status of all associated requests of the request for designation of new Network Resource to DECLINED. The request shall be deemed withdrawn and will receive no further consideration.
SOCO

add

001-105.2.4.7
When the Transmission Provider determines that all deficiencies have been remedied for designation of new Network Resource have been identified as COMPLETED, the Transmission Provider shall continue processing the designation of new Network Resource in accordance with the Business Practice Standards WEQ-001-105.2.5.

001-105.2.5
Completed Request for Designation of New Network Resource

001-105.2.5.1
Once the Transmission Provider has set the status of the request for designation of new Network Resource to COMPLETED, the Transmission Provider shall continue processing the request in accordance with Business Practice Standard WEQ-001-105.2.6.
SOCO

001-105.2.5.1
Once the Transmission Provider has set the status of the request for designation of new Network Resource to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.2.6
Review of Completed Request for Designation of New Network Resource

001- 105.2.6.1
Once the Transmission Provider has set the status of the request for designation of new Network Resource to COMPLETED, the Transmission Provider shall respond to the request, consistent with filed tariffs, within the Provider Response Time Limit defined in Table 105-A, NITS Request Timing Requirements. To indicate its evaluation of the request, a Transmission Provider may respond by setting the state of the request to one of the following:

I.
STUDY

II.
DECLINED

III.
REFUSED 

IV.
COUNTEROFFER/CR_COUNTEROFFER

VI.
ACCEPTED/CR_ACCEPTED

BPA

001- 105.2.6.1
Once the Transmission Provider has set the status of the request for designation of a new Network Resource to COMPLETED, the Transmission Provider shall respond to the request, consistent with filed tariffs, within the Provider Response Time Limit defined in Table 105-A, NITS Request Timing Requirements. To indicate its evaluation of the request, a Transmission Provider may respond by setting the state of the request to one of the following:

I.
STUDY

II.
DECLINED

III.
REFUSED 

IV.
COUNTEROFFER/CR_COUNTEROFFER

VI.
ACCEPTED/CR_ACCEPTED
Entergy

001- 105.2.6.1
Once the Transmission Provider has set the status of the request for designation of new Network Resource to COMPLETED, the Transmission Provider shall respond to the request, consistent with its filed tariffs, within the Provider Response Time Limit defined in Table 105-A, NITS Request Timing Requirements. To indicate its evaluation of the request, a Transmission Provider may respond by setting the state of the request to one of the following:

I.
STUDY

II.
DECLINED

III.
REFUSED 

IV.
COUNTEROFFER/CR_COUNTEROFFER

VI.
ACCEPTED/CR_ACCEPTED
SOCO

add

001-105.2.6.2
Additionally, for a Coordinated Request the Transmission Provider may respond by setting the status to CR ACCEPTED or CR_COUNTEROFFER.
001-105.2.7
Study of Request for Designation of New Network Resource

001-105.2.7.1 
If the Transmission Provider determines that some level of study is required or is being performed, the Transmission Provider shall set the status of the request for designation of new Network Resource to STUDY.
Entergy

001-105.2.7.1 
If the Transmission Provider determines that a study is required or is being performed, the Transmission Provider shall set the status of the request for designation of new Network Resource to STUDY.

001-105.2.7.2
From the status of STUDY, the Transmission Provider shall set the status of the request for designation of new Network Resource to DECLINED, REFUSED, COUNTEROFFER, CR_COUNTEROFFER, ACCEPTED or CR_ACCEPTED.

001-105.2.8
Decline of Request for Designation of New Network Resource
SOCO

001-105.2.8
Decline a Request for Designation of New Network Resource

001-105.2.8.1
If, at any time in the evaluation of the request for designation of new Network Resource or conduct of any associated study(ies), the Transmission Provider determines that the Network Customer has failed to meet any of the terms and conditions for the designation of a new Network Resource (e.g., failure to execute a study agreement, etc.), the Transmission Provider shall set the status of the request to DECLINED.
Entergy

 001-105.2.8.1
If, at any time during the evaluation of the request for designation of new Network Resource or any associated study(ies), the Transmission Provider determines that the Network Customer has failed to meet any of the terms and conditions for the designation of a new Network Resource (e.g., failure to execute a study agreement, etc.), the Transmission Provider shall set the status of the request to DECLINED.
001-105.2.8.1.1
Once the status of the request for designation of a new Network Resource has been set to DECLINED, the Transmission Provider shall set the status of all portions of the request for designation of a new Network Resource to DECLINED.
SOCO

001-105.2.8.1.1
Once the status of the request for designation of a new Network Resource has been set to DECLINED, the Transmission Provider shall set the status of all associated requests of the request for designation of a new Network Resource to DECLINED. The request for designation of new Network resource shall be deemed withdrawn and will receive no further consideration.
Entergy

001-105.2.8.1.1
Once the status of a request to designate a new Network Resource has been set to DECLINED, the Transmission Provider shall set the status of all portions of the request for designation of a new Network Resource to DECLINED.

001-105.2.9
Refusal of Request for Designation of New Network Resource

001-105.2.9.1
If, at any time in the evaluation of the request for designation of new Network Resource or conduct of any associated study(ies), the Transmission Provider determines that the requested service cannot be provided due to lack of availability of transfer capability consistent with the Transmission Provider’s tariff requirements, the Transmission Provider may set the status of the request to REFUSED.
Entergy

001-105.2.9.1
If, at any time during the evaluation of the request for designation of new Network Resource or any associated study(ies), the Transmission Provider determines that the requested service cannot be provided due to lack of availability of transfer capability, consistent with the Transmission Provider’s tariff requirements, the Transmission Provider may set the status of the request to REFUSED.
SOCO

add

001-105.2.9.1.1
Once the status of the request for designation of new Network Resource has been set to REFUSED, the Transmission Provider shall set the status of all associated requests of the request for designation of new Network Resource to REFUSED. The NITS Application shall be deemed withdrawn and will receive no further consideration.
001-105.2.10
Counteroffer to Request for Designation of New Network Resource

001-105.2.10.1
When, in the evaluation of a request for designation of new Network Resource or on completion of any applicable study(ies), the Transmission Provider determines that the request may be granted in part, the Transmission Provider may make a partial offer.
Entergy

  001-105.2.10.1
When, upon evaluation of a request for designation of new Network Resource or on completion of any applicable study(ies), the Transmission Provider determines that the request may be granted in part, the Transmission Provider may make a partial offer.
001-105.2.10.1.1
If the Transmission Provider makes a partial offer, the Transmission Provider shall notify the Network Customer on OASIS by setting the amount of Network Resource capacity granted over time in the response to the request for designation of new Network Resource and setting the status of such request to COUNTEROFFER, or CR_COUNTEROFFER.
Entergy

001-105.2.10.1.1
If the Transmission Provider makes a partial offer, the Transmission Provider shall notify the Network Customer on OASIS by setting the amount of Network Resource capacity granted over time in the response to the request for designation of new Network Resource, and setting the status of such request to COUNTEROFFER, or CR_COUNTEROFFER.
SOCO

add

001-105.2.10.2
Prior to setting the status of the request for designation of new Network Resource to COUNTEROFFER or CR_COUNTEROFFER, the Transmission Provider shall update the status associated with each request of the request for designation of new Network Resource as follows:
001-105.2.10.2.1
The status of any request for designation of new Network Resource that will not be granted shall be set to the appropriate final state.
001-105.2.10.2.2
The status of any request of the designation of new Network Resource that is to be granted at a reduced capacity shall be set to COUNTEROFFER or CR_COUNTEROFFER.
001-105.2.11
Acceptance of Request for Designation of New Network Resource

001-105.2.11.1
When, in the evaluation of the request for designation of new Network Resource or on completion of any applicable study(ies), the Transmission Provider determines that the request can be approved, the Transmission Provider shall set the status of the request to ACCEPTED or CR_ACCEPTED.
Entergy

001-105.2.11.1
When, upon evaluation of the request for designation of new Network Resource or on completion of any applicable study(ies), the Transmission Provider determines that the request can be approved, the Transmission Provider shall set the status of the request to ACCEPTED or CR_ACCEPTED.
SOCO

add

001-105.2.11.2
Prior to setting the status of the request for designation of new Network Resource to ACCEPTED or CR_ACCEPTED, the Transmission Provider shall update the status associated with each request of the request for designation of new Network Resource to ACCEPTED or CR_ACCEPTED.
001-105.2.12
Confirmation, Rebid, or Withdrawal of a Request for Designation of New Network Resource
001-105.2.12.1
From ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER, the Network Customer may change the status of the request for designation of new Network Resource to CONFIRMED, REBID or WITHDRAWN.  The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 105-A NITS Request Timing Requirements to change the state of the request.  The Customer Confirmation Time Limit is measured from the first time the request is moved to ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER, and is not reset with subsequent iterations of negotiation.
Entergy

 001-105.2.12.1
From ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER, a Network Customer may change the status of the request for designation of new Network Resource to CONFIRMED, REBID or WITHDRAWN.  The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 105-A NITS Request Timing Requirements to change the state of the request.  The Customer Confirmation Time Limit is measured from the first time the request is moved to ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER, and is not reset with subsequent iterations of negotiation.
001-105.2.12.1.1
The Network Customer shall use the request status of REBID to initiate negotiation of designated Network Resource capacity or engage in continued negotiation of the designated Network Resource capacity with the Transmission Provider.
Entergy

001-105.2.12.1.1
Network Customers shall use the request status of REBID to initiate negotiation of designated Network Resource capacity or engage in continued negotiation of the designated Network Resource capacity with the Transmission Provider.

001-105.2.12.1.2
The Network Customer may negotiate for a lower amount of designated Network Resource capacity by updating the capacity requested over time and changing the request status from ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER to REBID.  For example, the Network Customer may choose to coordinate the level of transmission service purchased across multiple Transmission Providers.  Negotiation for a higher amount of designated Network Resource capacity shall not be allowed.  A Network Customer seeking additional designated Network Resource capacity must submit a new request, which will be assigned a new queue time.
SOCO

001-105.2.12.1.2
The Network Customer may negotiate for a lower amount of designated Network Resource capacity by updating the capacity requested over time and changing the request status from ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER to REBID.  For example, the Network Customer may choose to coordinate the level of transmission service purchased across multiple Transmission Providers.  Negotiation for a higher amount of designated Network Resource capacity shall not be allowed.  The Network Customer seeking additional designated Network Resource capacity must submit a new request, which will be assigned a new queue time.
Entergy
For example is not a typical standard language
001-105.2.12.1.2
Network Customers may negotiate for a lower amount of designated Network Resource capacity by updating the capacity requested over time and changing the request status from ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER to REBID.  A Network Customer may choose to coordinate the level of transmission service purchased across multiple Transmission Providers.  Negotiation for a higher amount of designated Network Resource capacity shall not be allowed.  A Network Customer seeking additional designated Network Resource capacity must submit a new request, which will be assigned a new queue time.

001-105.2.12.1.3
Once the status of the request for designation of a new Network Resource has been set to ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER, the Network Customer may change the status to CONFIRMED after positively acknowledging agreement by setting the requested designated Network Resource capacity equal to the Transmission Provider’s granted designated Network Resource capacity.  Alternatively, the Network Customer may withdraw the request or the Network Customer may continue negotiations consistent with Business Practice Standard WEQ-001-105.2.12.1.2.

001-105.2.13
Final Disposition of Request for Designation of New Network Resource

001-105.2.13.1
Should the Network Customer elect to initiate or continue the negotiation of designation of new Network Resource capacity by moving the request to REBID, the Transmission Provider shall respond by setting the status of the request to DECLINED, ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER within the Provider Counter Time Limit as specified in Business Practice Standard WEQ-001-105.1.5 Table 105-A NITS Request Timing Requirements.
Entergy

  001-105.2.13.1
If the Network Customer elects to initiate or continue the negotiation of designation of new Network Resource capacity by moving the request to REBID, the Transmission Provider shall respond by setting the status of the request to DECLINED, ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER within the Provider Counter Time Limit as specified in Business Practice Standard WEQ-001-105.1.5 Table 105-A NITS Request Timing Requirements.
001-105.2.13.1.1
The Transmission Provider shall positively acknowledge agreement to the designation of new Network Resource capacity over time by setting the granted new Network Resource capacity equal to the Network Customer’s requested new Network Resource capacity prior to acceptance of the request.
Entergy

   001-105.2.13.1.1
The Transmission Provider shall positively acknowledge agreement to the designation of new Network Resource capacity over time by setting the capacity of the new Network Resource equal to the Network Customer’s requested new Network Resource capacity prior to acceptance of the request.
001-105.2.13.2
If the Network Customer fails to set the status of the ACCEPTED or CR_ACCEPTED request for designation of new Network Resource to CONFIRMED or WITHDRAWN within the time limits specified in Table 105-A NITS Request Timing Requirements, the Transmission Provider may set the status of the request to RETRACTED. 
SOCO

001-105.2.13.2
If the Network Customer fails to set the status of the ACCEPTED or CR_ACCEPTED request for designation of new Network Resource to CONFIRMED or WITHDRAWN within the time limits specified in Table 105-A NITS Request Timing Requirements, the Transmission Provider may set the status of the request to RETRACTED. The NITS Application shall be deemed withdrawn and will receive no further consideration. 

001-105.3
Termination
 of Network Resource
SOCO

001-105.3
Termination
 of Designated Network Resource

001-105.3.1
A Network Customer may terminate the designation of a Network Resource on a temporary or indefinite basis for all or a portion of the unscheduled capacity of the Network Resource.
SOCO

001-105.3.1
A Network Customer may terminate the DNR on a temporary or indefinite basis for all or a portion of the unscheduled capacity of the DNR.

001-105.3.1.1
If a Network Customer submits a request for termination of Network Resource with a term that does not extend to the end of the term of the designated Network Resource, such request shall be a request for temporary termination of Network Resource.
SOCO

001-105.3.1.1
If a Network Customer submits a request for termination of DNR with a term that does not extend to the end of the term of the DNR, such request shall be a request for temporary termination of DNR.
Entergy

  001-105.3.1.1
If a Network Customer submits a request for termination of a Network Resource with a term that does not extend to the end of the term of the designated Network Resource, such request shall be a request for temporary termination of Network Resource.
001-105.3.1.2
If a Network Customer submits a request for termination of Network Resource with term that extends to the end of the term of the designated Network Resource, such request shall be a request for indefinite termination of Network Resource. 
SOCO

001-105.3.1.2
If a Network Customer submits a request for termination of DNR with term that extends to the end of the term of the DNR, such request shall be a request for indefinite termination of DNR. 

001-105.3.1.3
The Network Customer shall ensure any necessary adjustments of the schedule/e-Tag prior to submitting the request for termination of Network Resource.
SOCO

001-105.3.1.3
The Network Customer shall ensure any necessary adjustments of the schedule/e-Tag prior to submitting the request for termination of DNR.

001-105.3.1.3
The Transmission Provider shall not deny a valid and complete request for termination of Network Resource.
SOCO

001-105.3.1.3
The Transmission Provider shall not deny a valid and complete request for termination of DNR.

001-105.3.2
Temporary Termination of Network Resource
SOCO

001-105.3.2
Temporary Termination of Designated Network Resource

001-105.3.3
Submission of Request for Temporary Termination of Network Resource 
SOCO

001-105.3.2.1
Submission of Request for Temporary Termination of Network Resource 

001-105.3.3.1
A request for temporary termination of Network Resource must include redesignation of the same resource in accordance with Business Practice Standards WEQ 001-105-xxx.
SOCO

001-105.3.2.1.1
A request for temporary termination of DNR must include redesignation of the same Network Resource in accordance with Business Practice Standards WEQ 001-105-xxx.
001-105.3.3.2
Prior to submission to the Transmission Provider, the Network Customer may enter and update information on OASIS to request temporary termination of Network Resource by setting the status of the request to PRESUBMITTED.
SOCO

001-105.3.2.1.2
Prior to submission to the Transmission Provider, the Network Customer may enter and update information on OASIS to request temporary termination of DNR by setting the status of the request to PRESUBMITTED, which indicates the information is being retained in the Pre-submittal Workspace.
Entergy

  001-105.3.3.2
Prior to submission to the Transmission Provider, a Network Customer may enter and update information on OASIS to request temporary termination of Network Resource by setting the status of the request to PRESUBMITTED.
001- 105.3.3.3
The Network Customer shall indicate to the Transmission Provider that the request for temporary termination of Network Resource is ready for Transmission Provider review by submitting the request on OASIS.
SOCO

001- 105.3.2.1.3
The Network Customer shall indicate to the Transmission Provider that the request for temporary termination of DNR is ready for Transmission Provider review for consistency with the Transmission Provider’s minimum information requirements which are posted as specified in Business Practice Standards WEQ-001-13, by submitting the request on OASIS.
Entergy

001- 105.3.3.3
A Network Customer shall indicate to the Transmission Provider that the request for temporary termination of Network Resource is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.3.3.4
OASIS shall set the queue time for the request for temporary termination of Network Resource to the time that the Network Customer submits the request and shall set the request to QUEUED.
SOCO

001-105.3.2.1.4
OASIS shall set the queue time for the request for temporary termination of DNR to the time that the Network Customer submits the request and shall set the request to QUEUED.

001-105.3.3.5
The Transmission Provider shall acknowledge the queued request for temporary termination of a Network Resource by setting the status of the request to RECEIVED.
SOCO

001-105.3.2.1.5
The Transmission Provider shall acknowledge the queued request for temporary termination of a DNR by setting the status of the request to RECEIVED.

001-105.3.4
Initial Review of Request for Temporary Termination of Network Resource 
SOCO

001-105.3.2.2
Initial Review of Request for Temporary Termination of Designated Network Resource 

001- 105.3.4.1
The Transmission Provider shall respond to a request by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 

III.
COMPLETED 

SOCO

001- 105.3.2.2.1
The Transmission Provider shall respond to a request by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 

III.
COMPLETED 
001-105.3..5
Invalid Request for Temporary Termination of Network Resource 
SOCO

001-105.3.2.3
Invalid Request for Temporary Termination of Designated Network Resource 

001-105.3.5.1
If the required information, as specified in the Transmission Provider’s minimum information requirements that are posted  in accordance with Business Practice Standards WEQ-001-13, has not been provided in the request for temporary termination of Network Resource, the Transmission Provider shall set the status of the request for temporary termination of Network Resource to INVALID. The request for temporary termination of Network Resource shall be deemed withdrawn and will receive no further consideration.
SOCO

001-105.3.2.3.1
If the required information, as specified in the Transmission Provider’s minimum information requirements that are posted  in accordance with Business Practice Standards WEQ-001-13, has not been provided in the request for temporary termination of DNR, the Transmission Provider shall set the status of the request for temporary termination of DNR to INVALID. The request for temporary termination of DNR shall be deemed withdrawn and will receive no further consideration.
Entergy
Is it deemed withdrawn or set to withdrawn by the TP?
001-105.3.5.1
If the information specified in the Transmission Provider’s minimum information requirements, as posted in accordance with Business Practice Standards WEQ-001-13, has not been provided in the request for temporary termination of Network Resource, the Transmission Provider shall set the status of the request for temporary termination of Network Resource to INVALID. The request for temporary termination of Network Resource shall be deemed withdrawn and will receive no further consideration.
SOCO

Add

001-105.3.2.3.1.1
If any request for temporary termination of DNR is set to a status of INVALID, all associated requests for temporary termination of DNR will be set to a status of INVALID.
001-105.3.6
Deficient Request for Temporary Termination of Network Resource 
SOCO

001-105.3.2.4
Deficient Request for Temporary Termination of Designated Network Resource 

001-105.3.6.1
For each valid request for temporary termination of Network Resource, the Transmission Provider shall determine if the request can be deemed sufficient (i.e. consistent with the Transmission Provider’s OATT requirements for the request for temporary termination of Network Resource).  
SOCO

001-105.3.2.4.1
For each valid request for temporary termination of DNR, the Transmission Provider shall determine if the request can be deemed sufficient (i.e. consistent with the Transmission Provider’s OATT requirements for the request for temporary termination of DNR).  

001-105.3.6.1.1
If deemed sufficient, the Transmission Provider shall set the status of such request to COMPLETED.
SOCO

001-105.3.2.4.1.1
If deemed sufficient, the Transmission Provider shall set the status of such request to COMPLETED.
Entergy

  001-105.3.6.1.1
If the request is sufficient, the Transmission Provider shall set the status of such request to COMPLETED.
001-105.3.6.1.2
If deemed insufficient, the Transmission Provider shall set the status of such request to DEFICIENT
SOCO

001-105.3.2.4.1.2
If not deemed sufficient, the Transmission Provider shall set the status of such request to DEFICIENT
BPA

001-105.3.6.1.2
If deemed insufficient, the Transmission Provider shall set the status of such request to DEFICIENT.
Entergy

001-105.3.6.1.2
If the request is insufficient, the Transmission Provider shall set the status of such request to DEFICIENT
001-105.3.6.2
Redesignation of the Network Resource shall meet the following requirements:
SOCO

001-105.3.2.4.2
Redesignation of the Network Resource shall meet the following requirements:

001-105.3.6.2.1
Any redesignation shall be accompanied by an attestation.
SOCO

001-105.3.2.4.2.1
Any redesignation shall be accompanied by an attestation.
Entergy

Of what? (attestation) 

001-105.3.6.2.2
The STOP_TIME for the temporary termination of Network Resource shall also be the effective date and time that the same Network Resource is redesignated.
SOCO

001-105.3.2.4.2.2
The STOP_TIME for the temporary termination of DNR shall also be the effective date and time that the same Network Resource is redesignated.
Entergy

001-105.3.6.2.2
The STOP_TIME for the temporary termination of Network Resource shall also be the effective date and time of the redisignation of that Network Resource.

001-105.3.6.2.3
The request shall include all data necessary consistent with the requirements for designation of a new Network Resource.  Previously submitted data may be incorporated by reference with the exception of the attestation required in Business Practice Standard WEQ 001-105.3.5.2.
SOCO

001-105.3.2.4.2.3
The request shall include all data necessary consistent with the requirements for designation of a new DNR.  Previously submitted data may be incorporated by reference with the exception of the attestation required in Business Practice Standard WEQ 001-105.3.5.2.
Entergy

001-105.3.6.2.3
The request shall include all data necessary, consistent with the requirements for designation of a new Network Resource.  Previously submitted data may be incorporated by reference, with the exception of the attestation required in Business Practice Standard WEQ 001-105.3.5.2.

001-105.3.6.3
If the Transmission Provider determines that the request for temporary termination of Network Resource is deficient, the Transmission Provider shall set the request to DEFICIENT and begin informal communications with the Eligible Transmission Customer to resolve the deficiencies.
SOCO

001-105.3.2.4.3
If the Transmission Provider determines that the request for temporary termination of DNR is deficient, the Transmission Provider shall set the request to DEFICIENT and begin informal communications with the Network Customer to resolve the deficiencies.
Entergy

 001-105.3.6.3
If the Transmission Provider determines that the request for temporary termination of Network Resource is deficient, the Transmission Provider shall set the request to DEFICIENT, and begin informal communications with the Eligible Transmission Customer to resolve the deficiencies.
001-105.3.6.4
The Network Customer shall remedy the deficiency and shall set the status of the request for temporary termination of Network Resource to REEVALUATE.
SOCO

001-105.3.2.4.4
The Network Customer shall remedy the deficiency and shall set the status of the request for temporary termination of DNR to REEVALUATE.
Entergy

001-105.3.6.4
The Network Customer shall remedy the deficiency identified by the Transmission Provider, and shall set the status of the request for temporary termination of Network Resource to REEVALUATE.

001-105.3.6.5
Upon notification that the Network Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:
SOCO

001-105.3.2.4.5
Upon notification that the Network Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:
Entergy

001-105.3.6.5
Upon notification that the Network Customer has provided the information requested by the Transmission Provider to remedy an identified deficiency, the Transmission Provider shall review the information provided and take one of the following actions:

001-105.3.6.5.1
If the information provided fails to remedy the deficiency, the Transmission Provider shall set the status of the request for temporary termination of Network Resource to DEFICIENT.
SOCO

001-105.3.2.4.5.1
If the information provided fails to remedy the deficiency, the Transmission Provider shall set the status of the request for temporary termination of DNR to DEFICIENT.

001-105.3.6.5.2
If the information provided remedies the deficiency, the Transmission Provider shall set the status of the request for temporary termination of Network Resource to COMPLETED.
SOCO

001-105.3.2.4.5.2
If the information provided remedies the deficiency, the Transmission Provider shall set the status of the request for temporary termination of DNR to COMPLETED.

001-105.3.6.5.3
If the information provided is deemed by the Transmission Provider to be a significant change to the request for temporary termination of Network Resource, the Transmission Provider shall set the status of the request to DECLINED.
SOCO

001-105.3.2.4.5.3
If the information provided is deemed by the Transmission Provider to be a significant change to the request for temporary termination of DNR, the Transmission Provider shall set the status of the request to DECLINED.

001-105.3.6.5.3.1
Once the status of the request for temporary termination of Network Resource has been set to DECLINED, the Transmission Provider shall set the status of all portions of the request for temporary termination of Network Resource to DECLINED.
SOCO

001-105.3.2.4.5.3.1
Once the status of the request for temporary termination of DNR has been set to DECLINED, the Transmission Provider shall set the status of all associated requests of the request for temporary termination of DNR to DECLINED. The request for temporary termination of DNR shall be deemed withdrawn and will receive no further consideration.
001-105.3.6.6
If the Network Customer fails to respond to the Transmission Provider’s notice of a deficient request for temporary termination of Network Resource, or fails to remedy the deficiency to the Transmission Provider’s satisfaction in a timely manner, the Transmission Provider shall set the status of the request to DECLINED.
SOCO

001-105.3.2.4.6
If the Network Customer fails to respond to the Transmission Provider’s notice of a deficient request for temporary termination of DNR, or fails to remedy the deficiency to the Transmission Provider’s satisfaction in a timely manner, the Transmission Provider shall set the status of the request to DECLINED.

001-105.3.6.6.1
Once the status of the request for temporary termination of Network Resource has been set to DECLINED, the Transmission Provider shall set the status of all portions of the request for temporary termination of Network Resource to DECLINED.
SOCO

001-105.3.2.4.6.1
Once the status of the request for temporary termination of DNR has been set to DECLINED, the Transmission Provider shall set the status of all associated requests of the request for temporary termination of DNR to DECLINED. The request for temporary termination of DNR shall be deemed withdrawn and will receive no further consideration.
Entergy

001-105.3.6.6.1
Once the status of a request for temporary termination of Network Resource has been set to DECLINED, the Transmission Provider shall set the status of all portions of that request for temporary termination of Network Resource to DECLINED.

001-105.3.6.7
In response to a state of DECLINED, the Network Customer may submit a new request for temporary termination of Network Resource, which will be assigned a new queue time.  
SOCO

  

SOCO

Add

001-105.3.2.4.7
When the Transmission Provider determines that all deficiencies have been remedied for temporary termination of DNR have been identified as COMPLETED, the Transmission Provider shall continue processing the temporary termination of DNR in accordance with the Business Practice Standards WEQ-001-105.3.2.5(3.7).
001-105.3.7
Completed Request for Temporary Termination of Network Resource 
SOCO

001-105.3.2.5
Completed Request for Temporary Termination of Designated Network Resource 

001-105.3.7.1
Once the Transmission Provider has set the status of the request for temporary termination of Network Resource to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.
SOCO

001-105.3.2.5.1
Once the Transmission Provider has set the status of the request for temporary termination of DNR to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.3.8
Acceptance of Request for Temporary Termination of Network Resource 
SOCO

001-105.3.2.6
Acceptance of Request for Temporary Termination of Designated Network Resource 

001-105.3.8.1
Once the status of the request for temporary termination of Network Resource is set to COMPLETED, OASIS shall set the status of the request to ACCEPTED.
SOCO

001-105.3.2.6.1
Once the status of the request for temporary termination of DNR is set to COMPLETED, OASIS shall set the status of the request to ACCEPTED or CR_ACCEPTED.
SOCO

Add

001-105.3.2.6.2
Prior to setting the status of the request for temporary termination of DNR to ACCEPTED or CR_ACCEPTED, the Transmission Provider shall update the status associated with each request of the request for temporary termination of DNR to ACCEPTED or CR_ACCEPTED.
001-105.3.9
Confirmation or Withdrawal of a Request for Temporary Termination of Network Resource
SOCO

001-105.3.2.7
Customer Actions
Entergy

001-105.3.9
Customer Actions relative to temporary termination of a Network Resource
001-105.3.9.1
After the status of the request for temporary termination of Network Resource has been set to ACCEPTED or CR_ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request by setting the status to CONFIRMED or WITHDRAWN.
SOCO

001-105.3.2.7.1
After the status of the request for temporary termination of DNR has been set to ACCEPTED or CR_ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request by setting the status to CONFIRMED or WITHDRAWN.
Entergy

 001-105.3.9.1
After the status of a request for temporary termination of Network Resource has been set to ACCEPTED or CR_ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request by setting the status to CONFIRMED or WITHDRAWN.
001-105.3.9.2
The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 105-A NITS Request Timing Requirements to change the state of the request.
SOCO

  001-105.3.2.7.2
The Network Customer has the amount of time designated as Network Customer Confirmation Time Limit in Table 105-A NITS Request Timing Requirements to change the state of the request. The Network Customer Confirmation Time Limit is measured from the first time the request is moved to ACCEPTED or CR_ACCEPTED.
001-105.3.10
Final Disposition of Request for Temporary Termination of Network Resource 
SOCO

001-105.3.2.8
Final Disposition of Request for Temporary Termination of Designated Network Resource 

001-105.3.10.1
If the Network Customer fails to set the status of the ACCEPTED or CR_ACCEPTED request for temporary termination of Network Resource to CONFIRMED or WITHDRAWN within the time limits specified in Table 105-A NITS Request Timing Requirements, the Transmission Provider may set the status of the request to RETRACTED. 
SOCO

001-105.3.2.8.1
If the Network Customer fails to set the status of the ACCEPTED or CR_ACCEPTED request for temporary termination of DNR to CONFIRMED or WITHDRAWN within the time limits specified in Table 105-A NITS Request Timing Requirements, the Transmission Provider may set the status of the request to RETRACTED. The request for temporary termination of DNR shall be deemed withdrawn and will receive no further consideration.
001-105.3.11
Indefinite Termination of Network Resource
SOCO

001-105.3.3
Indefinite Termination of Designated Network Resource

001-105.3.12
Submission of Request for Indefinite Termination of Network Resource
SOCO

001-105.3.3.1
Submission of Request for Indefinite Termination of Designated Network Resource

001-105.3.12.1
Prior to submission to the Transmission Provider, the Network Customer may enter and update information on OASIS to request indefinite termination of Network Resource by setting the status of the request to PRESUBMITTED. 
SOCO

001-105.3.3.1.1
Prior to submission to the Transmission Provider, the Network Customer may enter and update information on OASIS to request indefinite termination of DNR by setting the status of the request to PRESUBMITTED, which indicates the information is being retained in the Pre-submittal Workspace. 

001- 105.3.12.2
The Network Customer shall indicate to the Transmission Provider that the request for indefinite termination of Network Resource is ready for Transmission Provider review by submitting the request on OASIS.
SOCO

 001- 105.3.3.1.2
The Network Customer shall indicate to the Transmission Provider that the request for indefinite termination of DNR is ready for Transmission Provider review for consistency with the Transmission Provider’s minimum information requirements which are posted as specified in Business Practice Standards WEQ-001-13, by submitting the request on OASIS. 

001-105.3.12.2.1
OASIS shall set the queue time for the request for indefinite termination of Network Resource to the time that the Network Customer submits the request and shall set the request to QUEUED.
SOCO

001-105.3.3.1.2.1
OASIS shall set the queue time for the request for indefinite termination of DNR to the time that the Network Customer submits the request and shall set the request to QUEUED.
Entergy

001-105.3.12.2.1
OASIS shall set the queue time for the request for indefinite termination of Network Resource to the time that the Network Customer submits the request, and shall set the status of the request to QUEUED.

001-105.3.12.2.2
The Transmission Provider shall acknowledge the queued request for indefinite termination of Network Resource by setting the status of the request to RECEIVED.
SOCO

001-105.3.3.1.2.2
The Transmission Provider shall acknowledge the queued request for indefinite termination of DNR by setting the status of the request to RECEIVED.

001-105.3.13
Initial Review of Request for Indefinite Termination of Network Resource
SOCO

001-105.3.3.2
Initial Review of Request for Indefinite Termination of Designated Network Resource

001-105.3.13.1
The Transmission Provider shall respond to a request for indefinite termination of Network Resource by setting the status to one of the following:

I.
INVALID 

II.
COMPLETED

SOCO

001-105.3.3.2.1
The Transmission Provider shall respond to a request for indefinite termination of DNR by setting the status to one of the following:

I.
INVALID 

II.
COMPLETED
001-105.3.14
Invalid Request for Indefinite Termination of Network Resource
SOCO

001-105.3.3.3
Invalid Request for Indefinite Termination of Designated Network Resource

001-105.3.14.1
If the required information, as specified in the Transmission Provider’s minimum information requirements that are posted  in accordance with Business Practice Standards WEQ-001-13, has not been provided in the request for indefinite termination of Network Resource, the Transmission Provider shall set the status of the request for indefinite termination of Network Resource to INVALID. The request for indefinite termination of Network Resource shall be deemed withdrawn and will receive no further consideration.
SOCO

001-105.3.3.3.1
If the required information, as specified in the Transmission Provider’s minimum information requirements that are posted  in accordance with Business Practice Standards WEQ-001-13, has not been provided in the request for indefinite termination of DNR, the Transmission Provider shall set the status of the request for indefinite termination of DNR to INVALID. The request for indefinite termination of DNR shall be deemed withdrawn and will receive no further consideration.
Entergy
Is it set to Withdrawn by the TP?
001-105.3.14.1
If the required information, as specified in the Transmission Provider’s minimum information requirements posted in accordance with Business Practice Standards WEQ-001-13, has not been provided in the request for indefinite termination of Network Resource, the Transmission Provider shall set the status of the request for indefinite termination of Network Resource to INVALID. The request for indefinite termination of Network Resource shall be deemed withdrawn and will receive no further consideration.
SOCO

Add

001-105.3.3.3.1.1
If any request for indefinite termination of DNR is set to a status of INVALID, all associated requests for indefinite termination of DNR will be set to a status of INVALID.
001-105.3.15
Completed Request for Indefinite Termination of Network Resource 
SOCO

001-105.3.3.4
Completed Request for Indefinite Termination of Designated Network Resource 

001-105.3.15.1
Once the Transmission Provider has set the status of the request for indefinite termination of Network Resource to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.
SOCO

001-105.3.3.4.1
Once the Transmission Provider has set the status of the request for indefinite termination of DNR to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.3.16
Acceptance of Request for Indefinite Termination of Network Resource
SOCO

001-105.3.3.5
Acceptance of Request for Indefinite Termination of Designated Network Resource

001-105.3.16.1
Once the request for indefinite termination of Network Resource is deemed to be valid, OASIS shall set the status of the request to ACCEPTED or CR_ACCEPTED.
SOCO

001-105.3.3.5.1
Once the request for indefinite termination of DNR is deemed to be valid, OASIS shall set the status of the request to ACCEPTED or CR_ACCEPTED.
SOCO

Add

001-105.3.3.5.2
Prior to setting the status of the request for indefinite termination of DNR to ACCEPTED or CR_ACCEPTED, the Transmission Provider shall update the status associated with each request of the request for indefinite termination of DNR to ACCEPTED or CR_ACCEPTED.
001-105.3.17
Confirmation or Withdrawal of a Request for Indefinite Termination of Network Resource
SOCO

001-105.3.3.6
Customer Actions
Entergy

001-105.3.17
Customer Actions for a Request for Indefinite Termination of Network Resource
001-105.3.17.1
After the status of the request for indefinite termination of Network Resource has been set to ACCEPTED or CR_ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request by setting the status to CONFIRMED or WITHDRAWN. 
SOCO

001-105.3.3.6.1
After the status of the request for indefinite termination of DNR has been set to ACCEPTED or CR_ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request by setting the status to CONFIRMED or WITHDRAWN. 

001-105.3.17.2
The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 105-A NITS Request Timing Requirements to change the state of the request. 
SOCO

 001-105.3.3.6.2
The Network Customer has the amount of time designated as Network Customer Confirmation Time Limit in Table 105-A NITS Request Timing Requirements to change the state of the request. The Network Customer Confirmation Time Limit is measured from the first time the request is moved to ACCEPTED or CR_ACCEPTED.
001-105.3.18
Final Disposition of Request for Indefinite Termination of Network Resource
SOCO

001-105.3.3.7
Final Disposition of Request for Indefinite Termination of Designated Network Resource

001-105.3.18.1
If the Network Customer fails to set the status of the ACCEPTED or CR_ACCEPTED request for indefinite termination of Network Resource to CONFIRMED or WITHDRAWN within the time limits specified in Table 105-A NITS Request Timing Requirements, the Transmission Provider may set the status of the request to RETRACTED.
SOCO

001-105.3.3.7.1
If the Network Customer fails to set the status of the ACCEPTED or CR_ACCEPTED request for indefinite termination of DNR to CONFIRMED or WITHDRAWN within the time limits specified in Table 105-A NITS Request Timing Requirements, the Transmission Provider may set the status of the request to RETRACTED. The request for indefinite termination of DNR shall be deemed withdrawn and will receive no further consideration.
001-105.4
Modification of Network Load
SOCO

001-105.4
Redesignation of Designated Network Load
BPA

 001-105.4
Designation
 of Network Load
001-105.4.1
The Network Customer shall submit a request for designation of Network Load on OASIS, including the information specified in Business Practice Standard WEQ-001-101.13. 
SOCO

001-105.4.1
The Eligible Transmission Customer or Network Customer shall submit a request for redesignation of DNL on OASIS, including the information specified in Business Practice Standard WEQ-001-101.13. 
001-105.4.1.1
A request for redesignation of Network Load may be a request to modify due to either (1) a load addition to a Network Customer’s existing Network Load(s) exclusive of projected load growth, (2) a load addition that is separate from a Network Customer’s existing Network Load(s) or (3) forecast changes.
SOCO

001-105.4.1.1
A request for redesignation of DNL may be a request to modify due to either (1) a load addition to a Eligible Transmission Customer or Network Customer’s existing Network Load(s) exclusive of projected load growth, (2) a load addition that is separate from a Eligible Transmission Customer or Network Customer’s existing Network Load(s) or (3) forecast changes.
Entergy

001-105.4.1.1
A request for redesignation of Network Load may be a request to modify due to either (1) add load in addition to a Network Customer’s existing Network Load(s), exclusive of projected load growth, (2) a load addition that is separate from a Network Customer’s existing Network Load(s) or (3) forecast changes.

001-105.4.1.2
A request for redesignation of Network Load shall be submitted and processed in accordance with Business Practice Standards WEQ-002, WEQ-003, and WEQ-013.
SOCO

001-105.4.1.2
A request for redesignation of DNL shall be submitted and processed in accordance with Business Practice Standards WEQ-002, WEQ-003, and WEQ-013.

001-105.4.2
Submission of Request for Modification of Network Load
SOCO

001-105.4.2
Submission of Request for Redesignation of Designated Network Load
Entergy

001-105.4.2
Submission of Request for Redesignation of Network Load

001-105.4.2.1
The Network Customer may enter and update information on OASIS in association with a request for redesignation of Network Load prior to submission to the Transmission Provider by setting the status of the request to PRESUBMITTED.
SOCO

001-105.4.2.1
The Eligible Transmission Customer or Network Customer may enter and update information on OASIS in association with a request for redesignation of DNL prior to submission to the Transmission Provider by setting the status of the request to PRESUBMITTED.

001- 105.4.2.2
The Network Customer shall indicate to the Transmission Provider that the request for redesignation of Network Load is ready for Transmission Provider review by submitting the request on OASIS. 
SOCO

 001- 105.4.2.2
The Eligible Transmission Customer or Network Customer shall indicate to the Transmission Provider that the request for redesignation of DNL is ready for Transmission Provider review by submitting the request on OASIS. 
SOCO

Add

001-105.4.2.2.1
OASIS shall set the queue time for the request for redesignation of new Network Load to the time that the Network Customer submits the request, and shall set the status of the request to QUEUED.
001-105.4.2.2.2
OASIS shall set the queue time for the request for redesignation of new Network Load to the time that the Eligible Transmission Customer submitted the NITS Application, and shall set the status of the request to QUEUED.
001-105.2.1.3
The Transmission Provider shall acknowledge the queued request for redesignation of new Network Load by setting the status of the request to RECEIVED.
001-105.2.1.4
If the Eligible Transmission Customer submitted the request for redesignation of new Network Load the request will be evaluated in accordance with Business Practice Standards WEQ-001-102.2.  
001-105.5
NSR
Duke

001-105.5 tells how to use NSRs.

Used “at the Transmission Provider’s discretion”

SOCO

001-105.5
Network Scheduling Right
001-105.5.1
Enabling the NSR is at the Transmission Provider’s discretion.  If enabled, the request for new NSR shall, at the Transmission Provider’s discretion, allow either:


(i) the Network Customer to request network transmission capacity, by submitting a request for new NSR on OASIS, or 


(ii) the Transmission Provider to post on OASIS the scheduling rights associated with NITS by completing a request for new NSR and setting the status of the request to ACCEPTED or CR_ACCEPTED. 
SOCO

001-105.5.1
Enabling the NSR is at the Transmission Provider’s discretion.  If enabled, the request for new NSR shall, at the Transmission Provider’s discretion, allow either:


(i) the Eligible Transmission Customer or Network Customer to request network transmission capacity, by submitting a request for new NSR on OASIS, or 


(ii) the Transmission Provider to post on OASIS the scheduling rights associated with NITS by completing a request for new NSR and setting the status of the request to ACCEPTED or CR_ACCEPTED.   

001-105.5.1.1
If the request for new NSR is used, the Transmission Provider shall specify, in accordance with Business Practice Standards WEQ-001-13, the minimum information required.

001-105.5.1.2
If the request for termination of NSR is used, the Transmission Provider shall specify, in accordance with Business Practice Standards WEQ-001-13, the minimum information required. 
Duke

001-105.5.1.2 refers to a request for termination of an NSR but there doesn’t seem to be any reference to termination of scheduling rights in WEQ 002, 003, or 013
001-105.5.1.3
A request for new NSR or termination of NSR shall be submitted and processed in accordance with Business Practice Standards WEQ-002, WEQ-003, and WEQ-013

001-105.5.2
Submission of Request for New NSR

001-105.5.2.1
The Network Customer may enter and update information on OASIS to support a request for new NSR prior to submission to the Transmission Provider by setting the status of the request to PRESUBMITTED.
SOCO

001-105.5.2.1
The Eligible Transmission Customer or Network Customer may enter and update information on OASIS to support a request for new NSR prior to submission to the Transmission Provider by setting the status of the request to PRESUBMITTED.

001- 105.5.2.2
The Network Customer shall indicate to the Transmission Provider that the request for new NSR is ready for Transmission Provider review by submitting the request on OASIS.  
SOCO

001- 105.5.2.2
The Eligible Transmission Customer or Network Customer shall indicate to the Transmission Provider that the request for new NSR is ready for Transmission Provider review by submitting the request on OASIS.
SOCO

Add

001-105.5.2.2.1
OASIS shall set the queue time for the request for new NSR to the time that the Network Customer submits the request, and shall set the status of the request to QUEUED.
001-105.5.2.2.2
OASIS shall set the queue time for the request for new NSR to the time that the Eligible Transmission Customer submitted the NITS Application, and shall set the status of the request to QUEUED.
001-105.5.1.3
The Transmission Provider shall acknowledge the queued request for new NSR by setting the status of the request to RECEIVED.
001-105.5.1.4
If the Eligible Transmission Customer submitted the request for new NSR the request will be evaluated in accordance with Business Practice Standards WEQ-001-102.2.    

001-106
SECONDARY NETWORK TRANSMISSION SERVICE
SOCO

What when where for Eligible Transmission Customer 

8/3/11 will leave as is ETC cannot request secondary during application.
001-106.1
Request for Secondary Network Transmission Service 

001-106.1.1
The Network Customer shall indicate to the Transmission Provider that the request for Secondary Network Transmission Service is ready for Transmission Provider review by submitting the request on OASIS
BPA

001-106.1.1
The Network Customer shall indicate to the Transmission Provider that the request for Secondary Network Transmission Service is ready for Transmission Provider review by submitting the request on OASIS.
Entergy

001-106.1.1
The Network Customer shall indicate to the Transmission Provider that the request for Secondary Network Transmission Service is ready for Transmission Provider review by submitting the request on OASIS.
001-106.1.2
OASIS shall set the queue time for the request for Secondary Network Transmission Service to the time that the Network Customer submits the request and shall set the status of the request to QUEUED.
Entergy

  001-106.1.2
OASIS shall set the queue time for the request for Secondary Network Transmission Service to the time that the Network Customer submits the request, and shall set the status of the request to QUEUED.
001-106.1.3
The Transmission Provider shall acknowledge the queued request for Secondary Network Transmission Service by setting the status of the request to RECEIVED.

001- 106.1.4
The Transmission Provider shall respond to the request, consistent with filed tariffs, within the Provider Response Time Limit defined in Table 105-A NITS Request Timing Requirements. The time limit is measured from the time the request is QUEUED.  To indicate its evaluation of the request, a Transmission Provider may respond by setting the state of the request to one of the following:

I.       INVALID

II.
DECLINED

III.
REFUSED 

IV.
SUPERSEDED 

V.
COUNTEROFFER/CR_COUNTEROFFER

VI.
ACCEPTED/CR_ACCEPTED

SOCO

Add

001-106.1.4.1
Additionally, for a Coordinated Request the Transmission Provider may respond by setting the status to CR ACCEPTED or CR_COUNTEROFFER.
Entergy
Shall?
001- 106.1.4
The Transmission Provider shall respond to the request, consistent with its filed tariffs, within the Provider Response Time Limit defined in Table 105-A NITS Request Timing Requirements. The time limit is measured from the time the request is QUEUED.  To indicate its evaluation of the request, a Transmission Provider shall respond by setting the state of the request to one of the following:

I.       INVALID

II.
DECLINED

III.
REFUSED 

IV.
SUPERSEDED 

V.
COUNTEROFFER/CR_COUNTEROFFER

VI.
ACCEPTED/CR_ACCEPTED
001-106.1.5
From ACCEPTED, CR_ACCEPTED, COUNTEROFFER, CR_COUNTEROFFER, the Network Customer may change the status of the request for Secondary Network Transmission Service to CONFIRMED, REBID or WITHDRAWN. The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 105-A NITS Request Timing Requirements to change the state of the request. The Customer Confirmation Time Limit is measured from the first time the request is moved to ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER, and is not reset with subsequent iterations of negotiation.
MISO et al

52. 001-106.1.5 states the “Customer Confirmation Time Limit is measured from the first time the request is moved to ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER, and is not reset with subsequent iterations of negotiation. “  Does this suggest that if the Transmission Provider takes there full allotted time when responding to a rebid (see section WEQ-001-106.1.7) that the Transmission Provider can set the status of the Secondary Network Service to RETRACTED because the Transmission Provider was allotted more time to review the rebid than the Network Customer had, since the customer time limit is not reset during negotiation.
Entergy

 001-106.1.5
From ACCEPTED, CR_ACCEPTED, COUNTEROFFER, CR_COUNTEROFFER, the Network Customer may change the status of the request for Secondary Network Transmission Service to CONFIRMED, REBID or WITHDRAWN. The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 105-A NITS Request Timing Requirements to change the state of the request. The Customer Confirmation Time Limit is measured from the first time the request is moved to ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER, and is not reset with subsequent negotiations.
001-106.1.6
The Network Customer shall use the request status of REBID to initiate or continue the negotiation of Secondary Network Transmission Service capacity.  

001-106.1.7
Should the Network Customer elect to initiate or continue the negotiation of Secondary Network Transmission Service capacity by changing the status of the request for Secondary Network Transmission Service to REBID, the Transmission Provider shall respond by changing the status of the request to DECLINED, SUPERSEDED, ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER within the Provider Counter Time Limit, specified in Table 105-A NITS Request Timing Requirements. The Transmission Provider response time is measured from the most recent REBID time.

001-106.1.8
The Network Customer may negotiate for a lower amount of Secondary Network Transmission Service capacity by updating the capacity requested over time and changing the request status from ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER to REBID. Negotiation for a higher amount of Secondary Network Transmission Service capacity shall not be allowed. A Network Customer seeking additional Secondary Network Transmission Service capacity must submit a new request, which will be assigned a new unique identifier and a new queue time.

001-106.1.9
Once the status of the request for Secondary Network Transmission Service has been set to ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER, the Network Customer may change the status to CONFIRMED after positively acknowledging agreement by setting the requested Secondary Network Transmission Service capacity equal to the Transmission Provider’s granted Secondary Network Transmission Service capacity.  Alternatively, the Network Customer may withdraw the request or the Network Customer may continue negotiations consistent with Business Practice Standard WEQ-001-105.1.5.

001-106.1.10
If, within the time limits specified in Business Practice Standard WEQ-001-105.1.5 Table 105-A NITS Request Timing Requirements, the Network Customer fails to set the status of the ACCEPTED or CR_ACCEPTED request for Secondary Network Transmission Service to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request to RETRACTED.
SOCO

001-106.1.10
If, within the time limits specified in Business Practice Standard WEQ-001-105.1.5 Table 105-A NITS Request Timing Requirements, the Network Customer fails to set the status of the ACCEPTED or CR_ACCEPTED request for Secondary Network Transmission Service to CONFIRMED or WITHDRAWN, the Transmission Provider may set the status of the request to RETRACTED. The request for Secondary Network Transmission Service shall be deemed withdrawn and will receive no further consideration.
Entergy

001-106.1.10
If the Network Customer fails to set the status of the ACCEPTED or CR_ACCEPTED request for Secondary Network Transmission Service to CONFIRMED or WITHDRAWN within the time limits specified in Business Practice Standard WEQ-001-105.1.5 Table 105-A NITS Request Timing Requirements, the Transmission Provider may set the status of the request to RETRACTED.

001-106.2
Releasing Secondary Network Transmission Service Capacity

001-106.2.1
The Network Customer shall have the right to request the Transmission Provider to release all or part of unscheduled capacity associated with a confirmed request for Secondary Network Transmission Service capacity by using the request type RELINQUISH. 

001-106.2.2
Requests for releasing Secondary Network Transmission Service capacity shall be submitted pre-confirmed.

001-106.2.3
Requests for releasing Secondary Network Transmission Service capacity shall be bound by the start/stop times of the Secondary Network Transmission Service reservation  and may not be requested for past hours.
MISO et al

53. 001-106.2.3 indicates that requests for releasing Secondary Network Transmission Service is bound by the start/stop times of the confirmed request for Secondary Network Transmission Service.  First is a confirmed request a reservation.  If so can the term reservation be used rather than a confirmed request?  Second does “bound by the stop time” mean that the relinquishment cannot extend beyond that time or that it must be up through that stop time?
SOCO

001-106.2.3
Requests for releasing Secondary Network Transmission Service capacity shall be bound by the start/stop times of the Secondary Network Transmission Service reservation and may not be requested for past hours.
Entergy

001-106.2.3
Requests for releasing Secondary Network Transmission Service capacity shall be bound by the start/stop times of the Secondary Network Transmission Service reservation, and may not be requested for hours in the past.

001-106.2.4
The Network Customer shall ensure any necessary adjustments of the schedule/e-Tag prior to submitting the request for releasing Secondary Network Transmission Service capacity.

001-106.2.5
The Transmission Provider shall have the right to refuse the request for releasing Secondary Network Transmission Service capacity if the capacity requested for release is not available for the duration of the release request.

001-106.2.6
Upon confirmation of the request for releasing Secondary Network Transmission Service capacity, the available non-firm transfer capability shall be increased by the amount released and for the time period of the release.
MISO et al

54. In 001-106.2.6 and 001-106-2.7, “confirmation of the request for releasing Secondary Network Transmission Service” is somewhat confusing.  In other sections of OASIS standards Confirmation of a request is something that is done by the customer.   Here it looks as if the confirmation of the request is being done by the Transmission Provider, since the request for Relinquishment has to be submitted as pre-confirmed.  The subcommittee may want to consider language such as “Upon verification by the Transmission Provider that the Secondary Network Transmission Service capacity is available to be released…”
001-106.2.6
Upon verification by the Transmission Provider that the Secondary Network Transmission Service capacity is available to be released, the available non-firm transfer capability shall be increased by the amount released and for the time period of the release.

001-106.2.7
Upon confirmation of the requests for releasing Secondary Network Transmission Service capacity, the capacity available on the Secondary Network Transmission Service shall be decreased by the amount released and for the time period of the release.
MISO et al

54. In 001-106.2.6 and 001-106-2.7, “confirmation of the request for releasing Secondary Network Transmission Service” is somewhat confusing.  In other sections of OASIS standards Confirmation of a request is something that is done by the customer.   Here it looks as if the confirmation of the request is being done by the Transmission Provider, since the request for Relinquishment has to be submitted as pre-confirmed.  The subcommittee may want to consider language such as “Upon verification by the Transmission Provider that the Secondary Network Transmission Service capacity is available to be released…”
001-106.2.7
Upon verification by the Transmission Provider that the Secondary Network Transmission Service capacity is available to be released, the capacity available on the Secondary Network Transmission Service shall be decreased by the amount released and for the time period of the release.

001-107
NITS –CONCOMITANT EVALUATION
MISO et al

56. In 001-107, is Concomitant Evaluation a modification of service?  If so, why is it not under WEQ-001-105?  The reason for asking this question is that WEQ-001-107.5 refers back to Table 105-A which can only be used for modification of service.
SOCO

Question if Eligible Transmission Customer use the modification of service will they be able to do concomitant evaluations?

8/3/11 cannot terminated DNR if you are not a Network Customer
Entergy

001-107
NITS – CONCOMITANT EVALUATION
001-107.1
A Concomitant Evaluation only applies to the combination of a request for temporary or indefinite termination of a single Network Resource and a single request for NITS or PTP transmission service on a single transmission provider system.
Entergy

001-107.1
A Concomitant Evaluation only applies to the combination of a request for temporary or indefinite termination of a single Network Resource and a single request for Network or PTP transmission service on a single transmission provider system.

001-107.1.1
To be eligible for Concomitant Evaluation, each of the two single requests must be submitted simultaneously with the Concomitant Evaluation flag set.
MISO et al

55. In 001-107.1.1, this section indicates two single requests must be submitted and the request must be submitted simultaneously.  What constitutes simultaneously if the Customer is submitting separate requests on the OASIS system.  Are user interfaces expected to be developed to duplicate processing so that the two single requests are entered in a single transaction to be sent to the Transmission Providers OASIS system so they can then be parsed out into separate requests?
Entergy

 001-107.1.1
To be eligible for Concomitant Evaluation, each of the two single requests must be submitted simultaneously, with the Concomitant Evaluation flag set.
001-107.1.2
The Transmission Provider shall evaluate the two single requests concomitantly.  Such Concomitant Evaluation must take into account the termination of those Network Resources, as well as all competing requests of higher priority.

001-107.1.2.1
If one of the requests is for PTP transmission service, then the reservation priority for both requests shall be consistent with reservation priority of the PTP request as specified in Business Practice Standard WEQ-001-4.16 Table 4-3.

001-107.1.3
If the Network Customer sets the pre-confirmation flag on one of the requests, the Network Customer shall also set the pre-confirmation flag on the other request.
Entergy

001-107.1.3
If the Network Customer sets the pre-confirmation flag on one of the requests, the Network Customer shall also set the pre-confirmation flag on the other request.

001-107.1.4
In circumstances where the request for new transmission service cannot be granted in its entirety, and an increase in MW value of the termination of a single Network Resource would allow granting of the request for new transmission service in its entirety, the Transmission Provider may, at its sole discretion and on a non-discriminatory basis, counteroffer the request for termination of DNR at a MW value greater than that of the original request for termination of DNR.

001-107.1.5
The withdrawal of one of the single requests submitted for Concomitant Evaluation will result in the withdrawal of both single requests, including any preconfirmed requests.

001-107.1.6
All requests for Concomitant Evaluation shall be assigned the same queue time..  Such requests shall have the same status during the Concomitant Evaluation process, including any final status.
SOCO

001-107.1.6
All requests for Concomitant Evaluation shall be assigned the same queue time.  Such requests shall have the same status during the Concomitant Evaluation process, including any final status.
Entergy

001-107.1.6
All requests for Concomitant Evaluation shall be assigned the same queue time.  Such requests shall have the same status during the Concomitant Evaluation process, including any final status.

001-107.2
A single request that does not have the Concomitant Evaluation flag set will be considered a separate request and will be processed according to the appropriate Business Practice Standards for such request.

001-107.3
Denial of one of the single requests shall result in denial of both single requests. 

001- 107.4
When the Concomitant Evaluation flag has been set for a PTP transmission service request, then the request timing requirements contained in Business Practice Standard WEQ-001-4.13 Table 4-2 shall apply.
Entergy

 001- 107.4
When the Concomitant Evaluation flag has been set for a PTP transmission service request, the request timing requirements contained in Business Practice Standard WEQ-001-4.13 Table 4-2 shall apply.
001- 107.5
When the Concomitant Evaluation flag has been set for a request for designation of Network Resource or Secondary Network Transmission Service request, then the request timing requirements for the request for  designation of Network Resource or Secondary Network Transmission Service contained in Business Practice Standard WEQ-001-105.1.5 Table 105-A NITS Request Timing Requirements shall apply.
Entergy

 001- 107.5
When the Concomitant Evaluation flag has been set for a request for designation of Network Resource or Secondary Network Transmission Service request, the request timing requirements for the request for  designation of Network Resource or Secondary Network Transmission Service contained in Business Practice Standard WEQ-001-105.1.5 Table 105-A NITS Request Timing Requirements shall apply.
001-107.6
If the Transmission Provider counteroffers either of the single requests, the status of both requests shall be set to COUNTEROFFER or CR_COUNTEROFFER.

001-107.6.1
Should the Network Customer elect to initiate or continue the negotiation of the two single requests by changing the status of the two requests to REBID, the Transmission Provider shall respond by changing the status of the request to DECLINED, ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER. All responses shall be within time limits specified in the applicable timing requirements table.
MISO et al

57. In 001-107.6.1 it indicates the Network Customer has to set both requests to REBID, but the response from the Transmission Provider references only a request.  Does the Transmission Provider have to set both request to DECLINED, ACCEPTED, CR_ACCEPTED, COUNTEROFFERED, or CR_COUNTEROFFER for a REBID or can the two requests have separate statuses?
Entergy

001-107.6.1
Should the Network Customer elect to initiate or continue the negotiation of the two single requests by changing the status of the two requests to REBID, the Transmission Provider shall respond by changing the status of the request to DECLINED, ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER. All responses shall be within time limits specified in the applicable timing requirements table.
001-107.7
After the status of both single requests has been set to ACCEPTED or CR_ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the requests by setting the status of both single requests to CONFIRMED or WITHDRAWN. 

001-107.8
Concomitant Evaluation Final Disposition

001-107.8.1
If the Network Customer fails to set the status of both single ACCEPTED or CR_ACCEPTED requests to CONFIRMED or WITHDRAWN within the time limits specified in the applicable timing requirements table, the Transmission Provider may set the status of both single requests to RETRACTED.
SOCO

001-107.8.1
If the Network Customer fails to set the status of both single ACCEPTED or CR_ACCEPTED requests to CONFIRMED or WITHDRAWN within the time limits specified in the applicable timing requirements table, the Transmission Provider may set the status of both single requests to RETRACTED. The Concomitant Evaluation shall be deemed withdrawn and will receive no further consideration.
001-107.8.1.1
In response to a state of RETRACTED, the Network Customer may submit new requests consisting of two single requests both with the Concomitant Evaluation flag set, which will be assigned a new queue time.
Entergy

001-107.8.1.1
In response to a state of RETRACTED, the Network Customer may submit new requests consisting of two single requests, both with the Concomitant Evaluation flag set, which will be assigned a new queue time.

001-107.8.2
After the status of the two single requests has been set to CONFIRMED, the Concomitant Evaluation process shall be terminated. Any subsequent change in the status of one, shall have no impact on the status of the other.
Entergy

001-107.8.2
After the status of the two single requests has been set to CONFIRMED, the Concomitant Evaluation process shall be terminated. Any subsequent change in the status of one request shall have no impact on the status of the other.

001-108
NITS – CHANGE TO NITS APPLICATION STOP_TIME
MISO et al

58. In 001-108, the purpose of Change the NITS Application Start Time may be different than the actual outcome.  In looking at the documentation it may be for the purpose of extending the NITS application (contract).  However, there does not seem to be anything that would preclude the Network Customer from using this function to cancel the NITS Application earlier.  Is that the intent of this section? 

001-108.1
The Network Customer shall submit a request to change a NITS Application STOP_TIME in accordance with Business Practice Standards WEQ-002 and WEQ-013.

001-108.2
If the Network Customer fails to provide timely notice of its intent to exercise its rights to continue transmission service, the NITS Application STOP_TIME shall not change.

001-108.2.1
Any portion (e.g., DNR) of the NITS Application that has a STOP_TIME later than the NITS Application STOP_TIME, shall be set by the Transmission Provider to the same STOP_TIME as the NITS Application.
BPA

Section 001-108.2.1: Recommend that “shall” be replaced with “may”

001-108.2.1
Any portion (e.g., DNR) of the NITS Application that has a STOP_TIME later than the NITS Application STOP_TIME, may
 be set by the Transmission Provider to the same STOP_TIME as the NITS Application.
Entergy

001-108.2.1
Any portion (e.g., DNR) of the NITS Application that has a STOP_TIME later than the NITS Application STOP_TIME shall be set by the Transmission Provider to the same STOP_TIME as the NITS Application.

� Termination of a Network Resource is also known as “Undesignation” of a Network Resource.


� Termination of a Network Resource is also known as “Undesignation” of a Network Resource.





�Change title


�This was marked changed but did not see a change


�Will find reference to the NITS STATUS changes in the 100 series  JT will supply.


�MISO had two suggestions which is right?


�task force will be supplying wording for 001-13 BP


�Marked changed


�?????


�8/3/11 accepted


8/3/11 �Not accepted





Revised 8/17-18/11
43

