NITS Transactions Technical Concept


	Customer

Interaction
	Template
	SubTemplate
	SubSubTemplate
	R
	C
	T
	Q
	DataElements
	Masked?
	Description

	
	BeginTransaction

EndTransaction


	
	
	
	
	
	
	
	
	Opens new transaction consisting of one or more discreet actions/requests to be acted on as a group

	
	
	
	
	x
	
	x
	
	TransactionRef
	No
	TP/OASIS assigned unique identifier assigned on submission

	
	
	
	
	x
	
	x
	
	TransactionStatus
	No
	Pending, Accepted(Executed), Withdrawn, Denied

	Submit/update NITS Agreement
	RequestAgreement
UpdateAgreement
	
	
	
	
	
	
	
	
	Opens new application for NITS.  OASIS/TP assigns unique Application/Agreement identifier in response.

QueryAgreement options:

TBD

	
	
	
	
	x
	
	x
	
	RequestRef
	No
	TP/OASIS assigned unique identifier assigned on submission

	
	
	
	
	x
	x
	x
	
	AgreementStatus
	No
	Pending, Deficiency, Completed for RequestAgreement,  Accepted(Executed), Withdrawn, Denied, etc.

	
	
	
	
	x
	
	x
	
	AgreementRef
	No
	Required for UpdateAgreement

	
	
	
	
	
	
	
	
	
	
	Initial application has initial term; implement renewal as an update to term by requesting new end time


	
	
	
	
	
	
	
	
	
	No
	Required to relate back to Agreement

	
	
	
	
	
	
	
	
	
	
	Required for Update AgreementDesc

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	AgreementStart
	No
	Initial/revised start term of service

	
	
	
	
	
	
	
	
	AgreementStop
	No
	Initial/revised stop term of service Minimum term is one year

	
	
	
	CustomerDesc
	
	
	
	
	
	
	Initial Customer; Transfers set by updating Customer to change CustomerName, CustomerCode, etc.

	
	
	
	
	
	
	
	
	AgreementRef
	No
	Required to relate back to Agreement

	
	
	
	
	
	
	
	
	CustomerDescName
	No
	

	
	
	
	
	
	
	
	
	CustomerDescCode
	No
	Registered entity code of responsible customer (executes service agreement

	
	
	
	
	
	
	
	
	CustomerDescContact
	No
	Contact name, address, phone, fax, e-mail, etc. At TP discretion, may include ability to add additional phone numbers, e-mails and “functions”( e.g. scheduling, billing, contract administration)

	
	
	
	
	
	
	
	
	CustomerDescAttestation
	No
	Attestation that Customer is, or will be upon commencement of service an Eligible Customer under the Tariff

	
	
	
	
	
	
	
	
	CustomerDescStatement
	No
	Signed statement by an authorized officer from or agent of the Network Customer that all of the network resources listed in the application satisfy the following conditions: (1) the Network Customer owns the resources, has committed to purchase generation pursuant to an executed contract, or has committed to purchase generation where execution of a contract is contingent upon the availability of transmission service under Part III of the Tariff, and (2) the Network Resources do not include any resources or any portion thereof, that are committed for sale to non-designated third party load or otherwise cannot be called upon to meet the Network Customer’s Network Load on a non-interruptible basis, except for purposes of fulfilling obligations under a reserve sharing program.

OATT requires signed statement by an authorized officer from or agent of customer – should customer be allowed to mail, fax, and/or attach a file to fulfill the requirement? Perhaps this is just a Y/N check box?

	
	
	
	
	
	
	
	
	CustomerDescStartTime
	No
	Term of Customer’s ownership of service (typically equal to AgreementStart, but could end and another take over for a TRANSFER type arrangement) (can not start before start time of AgreementStart)

	
	
	
	
	
	
	
	
	CustomerDescStopTime
	No
	Term of Customer’s ownership of service (typically equal to AgreementStop, but could end and another take over for a TRANSFER type arrangement) (can not go beyond stop time of  AgreementStop)

	
	
	
	AgentDesc
	
	
	
	
	
	
	AgentDesc subtype implemented at TP discretion

	
	
	
	
	
	
	
	
	AgreementRef
	No
	Required to relate back to Agreement

	
	
	
	
	
	
	
	
	AgentDescRole
	???
	One of enumerated roles: Scheduler, Billing, etc

	
	
	
	
	
	
	
	
	AgentDescName
	???
	Unique identifier of authorized agent (registered entity code

	
	
	
	
	
	
	
	
	AgentDescContact
	???
	Contact information

	
	
	
	
	
	
	
	
	AgentDescTransactionStart
	???
	Earliest start time for transactions entered by authorized agent(can not start before start time of AgreementStart)

	
	
	
	
	
	
	
	
	AgentDescTransactionStop
	???
	Latest stop time for transactions entered by authorized agent(can not go beyond stop time of  AgreementStop)

	
	
	
	
	
	
	
	
	AgentDescAuthorizationStart
	???
	Start time when authorized agent can begin to enter information/transactions(can not start before start time of AgreementStart)

	
	
	
	
	
	
	
	
	AgentDescAuthorizationStop
	???
	Stop time when authorized agent can no longer enter information/transactions(can not go beyond stop time of  AgreementStop)

	Submit/update NITS Resource
	
	RequestResource
UpdateResource
EliminateResource
	
	
	
	
	
	
	
	Way to designate a resource (add) under a NITS Agreement, or undesignated (eliminate) resource, or update those things that could be ‘corrected’ or adjusted for an existing resource

QueryResource option will have a query that meets to requirements of 18 CFR 37,6(e)(1)(vi) to post a list of the TP’s current designated network resources and all network customers’ current designated network resources on OASIS. This list of resources should include the name of the resource, its geographic and electrical location, its total installed capacity and the amount of capacity to be designated as a network resource.

	
	
	
	
	
	
	
	
	RequestRef
	No
	TP/OASIS assigned unique identifier assigned on submission

	
	
	
	
	
	
	
	
	ResourceStatus
	No
	Pending, Accepted(Executed), Withdrawn, Denied, etc.

	
	
	
	
	
	
	
	
	AgreementRef
	No
	Required to relate back to Agreement unless part of transaction with AddAgreement

	
	
	
	
	
	
	
	
	ResourceRef
	No
	Required for UpdateResource

	
	
	
	
	
	
	
	
	GenerationRef
	No
	Map specific generators to named resources Refers to a gen asset setup through AddGeneration(?)

	
	
	
	
	
	
	
	
	TransmissionCapacityRef
	No
	Do we need the TransmissionCapacityRef to tie a  DNR(s) to a transmission allocation (where/when applicable)?


	
	
	
	
	
	
	
	
	ResourceStart
	No
	Start time of designation (can not start before start time of AgreementStart)

	
	
	
	
	
	
	
	
	ResourceStop
	No
	Stop time of designation (can not go beyond stop time of  AgreementStop)

	
	
	
	ResourceDesc
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	ResourceRef
	No
	Required to relate back to Resource

	
	
	
	
	
	
	
	
	ResourceDescName
	No
	Owned Generator = TSIN registered name

Purchased Power = TP option for a naming convention

Planned Resource = “Planned Resource” (To be used when submitting annual forecast of loads and resources for resources which have not yet been designated. When using “Planned Resource” only the POD and ResourceCapacity information are required to be completed. Do we need a business practice on the minimum information required when forecasting DNRs?)

	
	
	
	
	
	
	
	
	ResourceDescSystemLocation
	No
	On-/Off-system

	
	
	
	
	
	
	
	
	ResourceDescType
	No
	Owned Generation/Puchased Power (TP discretion to require further description of Purchased Power types of UnitPurchase/Slice of System))

	
	
	
	
	
	
	
	
	ResourceDescLocation
	???
	If off-system purchase, identification of control area (TSIN-registered value)  where power/energy will originate(at TP discretion allow for null as a valid value); if off-system generation, identification of  control area (TSIN-registered value)  where generator is located . Not required for on-system resources

	
	
	
	
	
	
	
	
	ResourceDescTitleTakenLocation
	???
	If off-system purchase, identification of control are (TSIN-registered value) where title to the power/energy is taken (at TP discretion, allow for null as a valid value). Only specified (applicable/required) for Purchased Power resources

	
	
	
	
	
	
	
	
	ResourceDescElectricalLocation
	No
	If Owned Generation = ResourceLocation

If Purchased Power = POR

	
	
	
	
	
	
	
	
	ResourceDescGeographicLocation
	No
	County and State where generation is located. Only specified (applicable/required) for Owned Generation resources

	
	
	
	
	
	
	
	
	ResourceDescService
	No
	Transmission service attributes (increment, class, etc.).  Specifically increment and class (determines if this is a designated or non-designated resource)

	
	
	
	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	ResourceDescPOR
	No
	If Off-system, TSIN-registered POR for import of resource.

If On-system, TP option to require

	
	
	
	
	
	
	
	
	ResourceDescPOD
	No
	TP may modify as needed

	
	
	
	
	
	
	
	
	ResourceDescSink
	No
	TP may modify as needed; null means “all” designated loads


	
	
	
	
	
	
	
	
	ResourceDescAttestation
	No
	Yes/No check box. Attestation for qualification of resource, or re-Attestation at end of term for temporary undesignation (EliminateResource)

The Network Customer attests that the network resource(s) listed satisfy the following conditions: (1) the Network Customer owns the resources, has committed to purchase generation pursuant to an executed contract, or has committed to purchase generation where execution of a contract is contingent upon the availability of transmission service under Part III of the Tariff; and (2) the Network Resources do not include any resources, or any portion thereof, that are committed for sale to non-designated third party load or otherwise cannot be called upon to meet the Network Customer’s Network Load on a non-interruptible basis, except for purposes of fulfilling obligations under a reserve sharing program.

	
	
	
	
	
	
	
	
	ResourceDescCustomerComment
	No
	Customer may use this field to, among other things, track who specifically submitted the attestation.

	
	
	
	ResourceCapacity
	
	
	
	
	
	
	One or more profiled start/stop/MW for capacity designated or eliminated or updated

	
	
	
	
	
	
	
	
	ResourceRef
	No
	

	
	
	
	
	
	
	
	
	ResourceCapacityStart
	No
	

	
	
	
	
	
	
	
	
	ResourceCapacityStop
	No
	

	
	
	
	
	
	
	
	
	ResourceCapacityDesignated
	No
	

	
	
	
	ResourceExternalTransmission
	
	
	
	
	
	
	One or more sets of TPCode/TPAref for each leg of external transmission arrangements if applicable

	
	
	
	
	
	
	
	
	ResourceRef
	No
	

	
	
	
	
	
	
	
	
	ResourceExternalTransmissionTPCode
	???
	

	
	
	
	
	
	
	
	
	ResourceExternalTransmissionTPAref
	???
	(Include sufficient characters for explanation in instances where the external TP does not have/use an OASIS)

	
	
	
	ResourceProjection
	
	
	
	
	
	
	A method to submit a projection of resources to be used for some planning forecast – basic resource information without attestation

	
	
	
	
	
	
	
	
	ResourceRef
	No
	

	
	
	
	
	
	
	
	
	ResourceProjectionStart
	Yes
	

	
	
	
	
	
	
	
	
	ResourceProjectionStop
	Yes
	

	
	
	
	
	
	
	
	
	ResourceProjectionCapacity
	Yes
	

	
	
	
	

	
	
	
	
	
	
	Map specific generators to named resources

	
	
	
	
	
	
	
	
	
	
	Refers to a gen asset setup through AddGeneration(?)


	Submit/update NITS Generation
	
	RequestGeneration
UpdateGeneration
EliminateGeneration
	
	
	
	
	
	
	
	Basic method to define set gen assets for future use or to declare gen to be bound to a resource designation

	
	
	
	
	
	
	
	
	RequestRef
	
	

	
	
	
	
	
	
	
	
	RequestStatus
	No
	Pending, Accepted(Executed), Withdrawn, Denied

	
	
	
	
	
	
	
	
	AgreementRef
	No
	If not specified or if GenerationUse is “public”, generation asset information is outside bounds of a specific agreement and may be referenced by a request to designate a resource.


	
	
	
	
	
	
	
	
	ResourceRef
	No
	

	
	
	
	
	
	
	
	
	GenerationRef
	No
	

	
	
	
	
	
	
	
	
	GenerationStart
	No
	Start time of generation (can not start before start time of AgreementStart & ResourceStart)

	
	
	
	
	
	
	
	
	GenerationStop
	No
	Stop time of generation (can not go beyond stop time of  AgreementStop & ResourceStop)

	
	
	
	GenerationDesc
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	GenerationRef
	No
	Unique id for resource – could use ResourceName?


	
	
	
	
	
	
	
	
	GenerationDescName
	No
	Specific name given to resource by customer

	
	
	
	
	
	
	
	
	GenerationDescGeographicLocation
	No
	(maybe PhysicalLocation)

	
	
	
	
	
	
	
	
	GenerationDescElectricalLocation
	No
	Equivalent to generating BA where resource is metered?  Or, is this On-/Off-system designation?  Or, is this some electrically modeled transmission element?


	
	
	
	
	
	
	
	
	GenerationDescGenerationInfoUse
	No
	Public/Private?  May other network customers use this information when designating their network resources?


	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	Alternative to having specific numbers or rigid template structure  is to allow the upload of a document which contains the required information from Pro Forma.  WEQ-001 BPs would set what information would be required to be including in what document.  Key would be to define specific documents that could be uploaded via OASIS:

Operating Characteristics

Maintanence Schedules

Operating Restrictions

Redispatch Options

We could 1) define the documents and what must be included, or 2) actually provide a specific form with fields to be supplied, or 3) define the specific template elements in fixed structure.

	
	
	
	GenerationAttribute
	
	
	
	
	
	
	Base physical attributes for resource.

Required in On-system, Owned Generation (or UnitPurchase?)

	
	
	
	
	
	
	
	
	GenerationRef
	No
	

	
	
	
	
	
	
	
	
	GenerationAttributeGeneratorJointOwnership
	???
	Yes/No

	
	
	
	
	
	
	
	
	GenerationAttributeGenerationOperationControl
	???
	Yes/No Does the Network Customer have operational control of the generation?

	
	
	
	
	
	
	
	
	GenerationAttributeType
	Yes
	UnitSize (nameplate), VAR Leading, VAR Lagging, Min Loading, Normal Loading

	
	
	
	
	
	
	
	
	
	

	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	GenerationAttributeValue
	Yes
	

	
	
	
	
	
	
	
	
	GenerationAttributeDesc
	Yes
	

	
	
	
	
	
	
	
	
	GenerationAttributeAttachment
	Yes
	Optional document defining attributes

	
	
	
	GenerationRestriction
	
	
	
	
	
	
	Operating Characteristics for resource (If needed)

	
	
	
	
	
	
	
	
	GenerationRef
	No
	

	
	
	
	
	
	
	
	
	GenerationRestrictionType
	Yes
	OperatingRestrictions, Interruptible Characteristics, MaintSchedule, MustRun,  Arrangements governing sales

	
	
	
	
	
	
	
	
	GenerationRestrictionDesc
	Yes
	General description of nature of the operating restriction

	
	
	
	
	
	
	
	
	GenerationRestrictionStart
	Yes
	

	
	
	
	
	
	
	
	
	GenerationRestrictionStop
	Yes
	

	
	
	
	
	
	
	
	
	GenerationRestrictionAttachment
	Yes
	Optional document stating restrictions

	
	
	
	GenerationDispatch
	
	
	
	
	
	
	Redispatch information

	
	
	
	
	
	
	
	
	GenerationRef
	No
	

	
	
	
	
	
	
	
	
	GenerationDispatchCost
	Yes
	

	
	
	
	
	
	
	
	
	GenerationDispatchArrangements

	Yes
	

	
	
	
	
	
	
	
	
	GenerationDispatchMeritOrder
	Yes
	

	
	
	
	
	
	
	
	
	GenerationDispatch(others??)
	Yes
	

	Submit/update NITS Load
	
	RequestLoad
UpdateLoad
EliminateLoad
	
	
	
	
	
	
	
	Way to add (designate?) a load under a NITS Agreement, or eliminate (undesignate?) load, or update those things that could be ‘corrected’ or adjusted for an existing

	
	
	
	
	
	
	
	
	RequestRef
	No
	

	
	
	
	
	
	
	
	
	RequestStatus
	No
	Pending, Accepted(Executed), Withdrawn, Denied

	
	
	
	
	
	
	
	
	AgreementRef
	No
	Required unless part of transaction with AddAgreement

	
	
	
	
	
	
	
	
	LoadRef
	No
	Required for UpdateLoad

	
	
	
	
	
	
	
	
	LoadStart
	No
	Start time of network load (can not start before start time of AgreementStart)

	
	
	
	
	
	
	
	
	LoadStop
	No
	Stop time of network load (can not go beyond stop time of  AgreementStop)

	
	
	
	LoadDesc
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	LoadRef
	No
	Unique id for load

	
	
	
	
	
	
	
	
	LoadDescName
	No
	Need to discuss if NAESB standards will have any requirements for naming load or to leave at TP discretion

	
	
	
	
	
	
	
	
	LoadDescLocation
	???
	POD/Substation/Load Zone – TP discretion regarding level of detail required

	
	
	
	
	
	
	
	
	LoadDescDeliveryVoltage
	???
	

	
	
	
	
	
	
	
	
	LoadDescSink
	No
	TSIN-registered value (may be input later by either TP or cust

	
	
	
	
	
	
	
	
	LoadDescInterruptibleLoad
	???
	Yes/No Is all or a portion of the Load interruptible

	
	
	
	
	
	
	
	
	LoadDescInterruptDesc
	???
	Description of conditions under which interruption can be implemented

	
	
	
	
	
	
	
	
	LoadDescInterruptLimitsValue
	???
	Limitations on interruptions value (e.g. number of times per year or MW)

	
	
	
	
	
	
	
	
	LoadDescInterruptLimitsType
	???
	Frequency or MW

	
	
	
	
	
	
	
	
	LoadDescInterruptLimitsPeriod
	???
	Limitation on interruptions period (e.g. Annual, Monthly,

	
	
	
	
	
	
	
	
	
	
	


	
	
	
	
	
	
	
	
	
	
	

	
	
	
	LoadProjection
	
	
	
	
	
	
	A method to submit initial load forecast for TPs assessment of transmission service availability and future projection of load to be used for some planning forecast.  Possibly near term load forecast (operating horizon), etc.

	
	
	
	
	
	
	
	
	LoadRef
	
	

	
	
	
	
	
	
	
	
	LoadProjectionStart
	Yes
	Start time of network load projection (can not start before start time of AgreementStart & LoadStart)

	
	
	
	
	
	
	
	
	LoadProjectionStop
	Yes
	Stop time of network load projection (can not go beyond stop time of  AgreementStop & LoadStop)

	
	
	
	
	
	
	
	
	LoadProjectionProjectedLoad
	Yes
	MW

	
	
	
	
	
	
	
	
	LoadProjectionProjectedInterruptibleLoad
	Yes
	MW

	Submit/update NITS Customer System Info
	
	RequestCustSystemInfo
UpdateCustSystemInfo
EliminateCustSystemInfo
	
	
	
	
	
	
	
	Way to provide OATT-required information regarding the customer’s transmission system.  Information not required to be provided when customer does not own a transmission system

Need to discuss if NAESB standards will have any requirements for information on customer-owned transmission systems or to leave at TP discretion.

Alternative to having specific numbers or rigid template structure  is to allow the upload of a document which contains the required information from Pro Forma.  WEQ-001 BPs would set what information would be including in what document.  Key would be to define specific documents that could be uploaded via OASIS:

· Load Flow and stability data, such as real and reactive parts of the load, lines, transformers, reactive devises and load type, including normal and emergency ratings of all transmission equipment in a load flow format compatible with that used by the TP

· Operating restrictions needed for reliability

· Operating guides employed by system operators

· Contractual restrictions or committed uses of the customer’s transmission system, other than the customer’s network loads and resources

· Location (on the network customer’s system) of Network Resources

· Thermal ratings of customer’s control area ties with other control areas 

· 10 year projection of system expansions or upgrades

· Transmission system maps that include any proposed expansions and upgrades

We could 1) define the documents and what must be included, or 2) actually provide a specific form with fields to be supplied, or 3) define the specific template elements in fixed structure.

	
	
	
	
	
	
	
	
	RequestRef
	No
	

	
	
	
	
	
	
	
	
	RequestStatus
	No
	Pending, Accepted(Executed), Withdrawn, Denied

	
	
	
	
	
	
	
	
	AgreementRef
	No
	Required unless part of transaction with AddAgreement

	
	
	
	
	
	
	
	
	CustSystemInfoRef
	No
	Required for UpdateCustSystemInfo

	
	
	
	CustSystemInfoDesc
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	CustSystemInfoRef
	No
	Unique id for customer-owned transmission system

	
	
	
	
	
	
	
	
	CustSystemInfoDescName
	No
	

	
	
	
	
	
	
	
	
	CustSystemInfoDescLoadFlow
	Yes
	Load Flow and stability data, such as real and reactive parts of the load, lines, transformers, reactive devises and load type, including normal and emergency ratings of all transmission equipment in a load flow format compatible with that use

	
	
	
	
	
	
	
	
	CustSystemInfoDescOpRestrictions
	Yes
	Operating restrictions needed for reliability

	
	
	
	
	
	
	
	
	CustSystemInfoDescOpGuides
	Yes
	Operating guides employed by system operators

	
	
	
	
	
	
	
	
	CustSystemInfoDescContractRestrictions
	Yes
	Contractual restrictions or committed uses of the customer’s transmission system, other than the customer’s network loads and resources

	
	
	
	
	
	
	
	
	CustSystemInfoDescDNRLocations
	Yes
	Location (on the network customer’s system) of Network Resources

	
	
	
	
	
	
	
	
	CustSystemInfoDescTieThermalRating
	Yes
	Thermal ratings of customer’s control area ties with other control areas

	
	
	
	
	
	
	
	
	CustSystemInfoDescProjection
	Yes
	10 year projection of system expansions or upgrades

	
	
	
	
	
	
	
	
	CustSystemInfoDescMaps
	Yes
	Transmission system maps that include any proposed expansions and upgrades

	Submit/update NITS Transmission
	
	RequestTransmissionCapacityAllocation
UpdateTransmissionCapacityAllocation
EliminateTransmissionCapacityAllocation
	
	
	
	
	
	
	
	Way to add/request (who will be put on OASIS is currently under discussion in the subcommittee; may be a regional or ATC-MOD difference. It has been determined that there will be Transmission Capacity Allocation records/template) a transmission capacity allocation under a NITS Agreement, or eliminate or reduce a transmission capacity allocation (due to undesignation; are there other reasons to remove/reduce and, if so, will the process be the same?) Is there a need for an UpdateTransmissionCapacity Allocation?

	
	
	
	
	
	
	
	
	RequestRef
	No
	

	
	
	
	
	
	
	
	
	RequestStatus
	No
	Pending, Accepted(Executed), Withdrawn, Denied

	
	
	
	
	
	
	
	
	AgreementRef
	No
	Required unless part of transaction with AddAgreement

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationRef
	No
	Required for  UpdateTransmission CapacityAllocation

	
	
	
	
	
	
	
	
	ResourceRef
	No
	Zero to many

	
	
	
	
	
	
	
	
	LoadRef
	No
	Zero to many

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationStart
	No
	Start time of transmission capacity allocation (can not start before start time of AgreementStart)

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationStop
	No
	Stop time of transmission capacity allocation (can not go beyond stop time of  AgreementStop)

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationPathName
	No
	

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationPOR
	No
	

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationPOD
	No
	

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationSource
	No
	May need a specific definition to be tied to unreserved use determination??

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationSink
	No
	

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationServiceClass
	No
	Firm, Secondary

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationServiceType
	No
	Network

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationServiceIncrement
	No
	Used for Secondary Network.

Potential future use if FERC rules that Firm Network Service is not all Tier 1.

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationServicePeriod
	No
	

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationServiceWindow
	No
	

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationServiceSubclass
	No
	Free Form Text

	
	
	
	TransmissionCapacityAllocationProfile
	
	
	
	
	
	
	A method to profile the transmission capacity allocation.

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationRef
	
	

	
	
	
	
	
	
	
	
	

	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	TransmissionCapacityAllocationProfile
	Yes
	MW


R = Request
C = Customer supplied data

T = TP/OASIS supplied data

Q = Query data

Need:  

1. Structure to bind undesignation with concomitant request for PTP (could also use for ancillary services – some sort of related ref).

2. Network Ancillary Service sub-templates will look substantively similar to the current ancillary service templates.
3. Audit sub-templates.

Sample NITS WEQ-002 Standards

Template: BeginTransaction
1.  Input

TransactionRef

TransactionStatus

2.  Response

To Be Determined

Template: EndTransaction
1.  Input

TransactionRef

TransactionStatus

2.  Response

To Be Determined

Template:QueryTransaction
1.  Input

TransactionRef

TransactionStatus

2.  Response

To Be Determined

Template:  AddAgreement

1. Input

Requestref

RequestStatus

AgreementRef

Then select subtemplate???
Subtemplate:  AgreementDesc
1. Input

AgreementRef

AgreementStatus

AgreementStart

AgreementStop

2.  Response

To Be Determined

Subtemplate:  CustomerDesc
1. Input

CustomerName

CustomerCode

CustomerContact

CustomerAttestation

CustomerStatement

CustomerStartTime

CustomerStopTime

2.  Response

To Be Determined

Subtemplate:  AgentDesc

1. Input

AgentRole

AgentName

AgentContact

TransactionStart

TransactionStop

AuthorizationStart

AuthorizationStop

2.  Response

To Be Determined

Template:  UpdateAgreement

1. Input

Requestref

RequestStatus

AgreementRef

Then select subtemplate???
Subtemplate:  AgreementDesc
1. Input

AgreementRef

AgreementStatus

AgreementStart

AgreementStop

2.  Response

To Be Determined

Subtemplate:  CustomerDesc

1. Input

CustomerName

CustomerCode

CustomerContact

CustomerAttestation

CustomerStatement

CustomerStartTime

CustomerStopTime

2.  Response

To Be Determined

Subtemplate:  AgentDesc
1. Input

AgentRole

AgentName

AgentContact

TransactionStart

TransactionStop

AuthorizationStart

AuthorizationStop

2.  Response

To Be Determined

Template:  QueryAgreement
1. Input

Requestref

RequestStatus

AgreementRef

Then select subtemplate???
Subtemplate:  AgreementDesc
1. Input

AgreementRef

AgreementStatus

AgreementStart

AgreementStop

2.  Response

To Be Determined

Subtemplate:  CustomerDesc

1. Input

CustomerName

CustomerCode

CustomerContact

CustomerAttestation

CustomerStatement

CustomerStartTime

CustomerStopTime

2.  Response

To Be Determined

Subtemplate:  AgentDesc
1. Input

AgentRole

AgentName

AgentContact

TransactionStart

TransactionStop

AuthorizationStart

AuthorizationStop

2.  Response

To Be Determined

�MO: The subcommittee has not yet discussed renewals, what they are and what to do with them on OASIS. The few times we’ve touched on it, it appeared that renewals for NITS may be a contentious issue. We might want to remove any references to renewals in this document so that we don’t get sidetracked.


�I don't think that this needs to be here.


�Start and stop need to be moved up one level.


�MO: I disagree with including sink in the resource record. JT agrees


�If this is the forward looking reference number I think that it needs to be moved up one level.


�MO: Paul, what were you intending this be used for?


�MO: Paul, how will this be used? JT every subtemplate has to be referenceed back to the agreement.


�MO: What would be the reason for not using the ResourceName?


�MO: Why is this duplicated from above? If needed, then should use RsourceSystenLocation (on/off system), ResourceLocation (fo r off-system, BA where gen is located), GeographicLocation (county/state where gen is located, null for purchased power) and ElectricalLocation (ResourceLocation for gen, POR for purchased power). Whould we also include  ResourceType (owned generation/purchased power)?


�MO: Does this fit better under Generation Attribute?


�Start and stop need to be moved up one level.


�MO: Paul, what sort of information are you envisioning being provided here?


�Start and stop need to be moved up one level.


�Start and stop need to be moved up one level.






- 1 -
Revised 8/18/2009

