Additions to WEQ-000-1 (Acronym)

NSR – Network Scheduling Right
Additions to WEQ-000-2 (Glossary)
Application – Shall have the same meaning as defined in the FERC Pro Forma OATT.  
Designated Agent – Shall have the same meaning as defined in the FERC Pro Forma OATT.
Network Customer –Shall have the same meaning as defined in the FERC Pro Forma OATT. 

Network Resource – Shall have the same meaning as defined in the FERC Pro Forma OATT.

Network Load – Shall have the same meaning as defined in the FERC Pro Forma OATT.
Network Scheduling Right (NSR) – Optional mechanism on OASIS, enabled at the Transmission Provider’s discretion, to facilitate e-Tag validation. When used, the mechanism shall either 1) allow requests for network transmission capacity or 2) allow Transmission Provider posting of the scheduling rights associated with NITS. 

Pre-submittal Workspace – Functionality or facility provided by OASIS wherein Eligible Customers may enter, save, and revise information in preparation for submittal of a NITS Application or NITS modification of service.
001-100
INDEX OF NITS REQUIREMENTS

001-101
NITS – GENERAL REQUIREMENTS

001-101.12
Designation Network Resource Information Requirements
001-102
NITS – APPLICATION

001-102.1 
Submission of NITS Application 

001-102.2
Initial Review of NITS Application

001-102.3
Invalid NITS Application

001-102.4
Deficient NITS Application

001-102.5
Completed NITS Application

001-103
NITS – EVALUATION OF NITS APPLICATION

001-103.1
Review of  Completed NITS Application

001-103.2
Study of NITS Application

001-103.3
Declining a NITS Application

001-103.4
Refusal of Completed NITS Application

001-103.5
Counteroffer to NITS Application

001-103.6
Acceptance of NITS Application

001-103.7
Changes to NITS Application Prior To Confirmation of the NITS Application
001-103.8
Customer Actions

001-103.9
Final Disposition of NITS Application

001-103-10
Changes to a CONFIRMED NITS Application

001-104
NITS – ADMINISTRATIVE CHANGES

001-105
NITS – MODIFICATION OF SERVICE

001-105.1
General Requirements 
001-105.2
Designation of New Network Resource 
001-105.2.1
Submission of Request for Designation of New Network Resource

001-105.2.2
Initial Review of Request for Designation of New Network Resource

001-105.2.3
Invalid Request for Designation of New Network Resource

001-105.2.4
Deficient Request for Designation of New Network Resource
001-105.2.5
Completed Request for Designation of New Network Resource

001-105.2.6
Review of Completed Request for Designation of New Network Resource

001-105.2.7
Study of Request for Designation of New Network Resource

001-105.2.8
Decline of Request for Designation of New Network Resource

001-105.2.9
Refusal of Request for Designation of New Network Resource

001-105.2.10
Counteroffer to Request for Designation of New Network Resource

001-105.2.11
Acceptance of Request for Designation of New Network Resource

001-105.2.12
Customer Actions

001-105.2.13
Final Disposition of Request for Designation of New Network Resource

001-105.3     Termination of Network Resource

001-105.3.2
Temporary Termination of Network Resource
001-105.3.3
Submission of Request for Temporary Termination of Network Resource 

001-105.3.4
Initial Review of Request for Temporary Termination of Network Resource 

001-105.3.5
Invalid Request for Temporary Termination of Network Resource 

001-105.3.6
Deficient Request for Temporary Termination of Network Resource 

001-105.3.7
Completed Request for Temporary Termination of Network Resource 

001-105.3.8
Acceptance of Request for Temporary Termination of Network Resource 

001-105.3.9
Customer Actions

001-105.3.10
Final Disposition of Request for Temporary Termination of Network Resource 


001-105.3.11Indefinite Termination of Network Resource

001-105.3.12
Submission of Request for Indefinite Termination of Network Resource

001-105.3.13
Initial Review of Request for Indefinite Termination of Network Resource

001-105.3.14
Invalid Request for Indefinite Termination of Network Resource

001-105.3.15
Completed Request for Indefinite Termination of Network Resource

001-105.3.16
Acceptance of Request for Indefinite Termination of Network Resource

001-105.3.17
Customer Actions

001-105.3.18
Final Disposition of Request for Indefinite Termination of Network Resource

001-105.4
Designation of New Network Load
001-105.4.1
Request for Designation of New Network Load 

001-105.4.2
Submission of Request for Designation of New Network Load

001-105.4.3
Initial Review of Request for Designation of New Network Load

001-105.4.4
Invalid Request for Designation of New Network Load

001-105.4.5
Deficient Request for Designation of New Network Load
001-105.4.6
Completed Request for Designation of New Network Load

001-105.4.7
Review of Completed Request for Designation of New Network Load

001-105.4.8
Study of Request for Designation of New Network Load

001-105.4.9
Declining Request for Designation of New Network Load

001-105.4.10
Refusal of Request for Designation of New Network Load

001-105.4.11
Counteroffer to Request for Designation of New Network Load

001-105.4.12
Acceptance of Request for Designation of New Network Load

001-105.4.13
Customer Actions

001-105.4.14
Final Disposition of Request for Designation of New Network Load


001-105.5         Indefinite Termination of Network Load

001-105.5.1
Submission of Request for Indefinite Termination of Network Load

001-105.5.2
Initial Review of Request for Indefinite Termination of Network Load

001-105.5.3
Invalid Request for Indefinite Termination of Network Load

001-105.5.4
Completed Request for Indefinite Termination of Network Load

001-105.5.5
Review of Request for Indefinite Termination of Network Load

001-105.5.6
Declining Request for Indefinite Termination of Network Load

001-105.5.7
Acceptance of Request for Indefinite Termination of Network Load

001-105.5.8
Customer Actions

001-105.5.9
Final Disposition of Request for Indefinite Termination of Network Load

001-105.6
NSR

001-105.6.2
Submission of Request for New NSR
001-105.10
Request for Secondary Network Transmission Service 
001-105.10.1
Submission of Request for Secondary Network Transmission Service

001-105.10.2
Initial Review of Request for Secondary Network Transmission Service
001-105.10.3
Invalid Request for Secondary Network Transmission Service

001-105.10.4

Completed Request for Secondary Network Transmission Service

001-105.10.5
Review of Completed Request for Secondary Network Transmission Service

001-105.10.6

Decline of Request for Secondary Network Transmission Service

001-105.10.7
Refusal of Request for Secondary Network Transmission Service 

001-105.10. 8
Counteroffer to Request for Secondary Network Transmission Service

001-105.10.9
Acceptance of Request for Secondary Network Transmission Service

001-105.10.10
Customer Actions

001-105.10.11
Final Disposition of Request for Secondary Network Transmission Service


001-105.11         Release 
of Secondary Network Transmission Service

001-105.11.3
Request for Termination of Secondary Network Transmission Service

001-105.11.4
Submission of Request for Termination of Secondary Network Transmission Service

001-105.11.5
Initial Review of Request for Termination of Secondary Network Transmission Service

001-105.11.6
Invalid Request for Termination of Secondary Network Transmission Service

001-105.11.7
Completed Request for Termination of Secondary Network Transmission Service

001-105.11.8
Acceptance of Request for Termination of Secondary Network Transmission Service

001-105.11.9
Customer Actions

001-105.11.10
Final Disposition of Request for Termination of Secondary Network Scheduling Right 
001-106
NITS – REQUEST FOR 


CONCOMITANT REQUESTS 
001-106.6
Customer Actions

001-106.7
Final Disposition of the Request For Concomitant Evaluation

001-107
NITS – ANNUAL UPDATES

001-108
NITS – EXTENSION OF NITS APPLICATION STOP_TIME  

001-101
NITS – GENERAL REQUIREMENTS

The following practices are defined to enhance consistency of processing NITS requests.

001-101.1
OASIS shall support the queuing and processing of all requests for NITS, including the NITS Application and any subsequent modifications of service, as specified in the technical requirements of Business Practice Standards WEQ-002, WEQ-003 and WEQ-013. 
001-101.2
OASIS shall support capability that allows the Eligible Transmission Customer to submit information required for the arrangement of NITS through multiple requests that together represent the service being requested.  This shall include multiple requests submitted as part of a single NITS Application, as well as multiple requests submitted as modifications of service (including concomitant evaluations).

001-101.2.1
A Designated Agent may act on behalf of an Eligible Transmission Customer or a Network Customer unless explicitly restricted by that customer.
001-101.3
All requests for NITS and the current status of those requests shall be posted on OASIS using the defined values for STATUS as set forth in Business Practice Standards WEQ-013 for NITS.  

001-101.4
The Transmission Provider may opt to input information into OASIS on behalf of a Network Customer at the request of the Network Customer and shall specify the circumstances as required in Business Practice Standards WEQ-001-13.  
001- 101.5
The Transmission Provider shall provide a Pre-submittal Workspace. 
001-101.5.1
OASIS shall restrict access to and viewing of all information associated with the Pre-submittal Workspace to only the Transmission Provider, the Eligible Transmission Customer and its Designated Agent.  

001-101.5.2
OASIS shall have the ability to allow an Eligible Transmission Customer to replicate all or some of an existing NITS Application into a Pre-submittal Workspace for use in a subsequent NITS Application or NITS modification of service.

001-101.5.3
Audit and data retention requirements set forth in Title 18 CFR 37.6 and 37.7 are not applicable to the information in the Pre-submittal Workspace. 

001-101.5.3.1
OASIS shall have the ability to submit all information in the Pre-submittal Workspace as the NITS Application.
001-101.5.3.1.1
The Transmission Provider may remove information from the Pre-Submittal Workspace once the NITS Application has been submitted. 

001-101.5.3.2
If information is entered into the Pre-submittal Workspace on OASIS by the Eligible Transmission Customer and a NITS Application is not submitted within 6 months of the time of the last update to the Pre-submittal Workspace, then the Transmission Provider may remove all information from the Pre-submittal Workspace.  The Eligible Transmission Customer may request and the Transmission Provider may agree to a later removal date.

001-101.5.3.3
The Eligible Transmission Customer may remove the information contained in the Pre-submittal Workspace at any time.

001- 101.6
As an alternative to entering the information directly on OASIS, OASIS shall provide the ability for an Eligible Transmission Customer to complete the Application off OASIS and upload the NITS Application to OASIS for additional modifications in the Pre-submittal Workspace or for submittal of the request(s) to the Transmission Provider. 
001-101.7
The Eligible Transmission Customer may set the status of NITS-related request(s) (whether uploaded to or entered directly on OASIS) to PRESUBMITTED to indicate that the Eligible Transmission Customer desires to save the information entered and continue working on the request(s) in the Pre-submittal Workspace.  Alternatively, the Eligible Transmission Customer may submit its NITS-related request(s) (whether uploaded to or entered directly on OASIS) to indicate the Eligible Transmission Customer’s desire to formally submit the request(s).

001- 101.8
Any required information, including deposits, which is not submitted electronically through OASIS shall be provided to the Transmission Provider by some other method, as specified in Business Practice Standards WEQ-001-13. 

001-101.9
Consistent with the requirements in Business Practice Standards WEQ-013-x, Transmission Providers are required to post a reason for certain STATUS changes.

001-101.10
The Eligible Transmission Customer shall have the ability to remove a NITS Application or request for modification of service from further consideration by setting the status of the request to WITHDRAWN at any time prior to confirmation.

001-101.11
Consistent with the requirements in Business Practice Standards WEQ-001-13, the Transmission Provider shall specify in their posted Business Practice the method the Eligible Transmission Customer shall use to identify the provision of ancillary services associated with the NITS Application. 

001-101.12
Designated Network Resource Information Requirements:
001-101.12.1
For Network Customer-owned or -leased generation, the Network Customer shall use the TSIN-registered Source
 name if available. 

001-101.12.2
For Network Customer-owned or –leased generation, the electrical location will be identified by the BAA where the generation is electrically located and the geographical location will be identified by the county or parish and state. 

001-101.12.3
For purchased power, the electrical location is the point of receipt (on the Transmission Provider’s system referenced in the Customer’s Application or request for modification of service) and the geographical location is “not applicable”. 

001-101.13
Designated Network Load Information Requirements:

001-101.13.1
For all requests for designation of Network Load, the Network Customer shall use the TSIN-registered Sink name if available. 

001-102
NITS – APPLICATION

001- 102.1 
Submission of NITS Application 

001- 102.1.1 
An Eligible Transmission Customer shall submit, or arrange for the submittal of, the NITS Application on the Transmission Provider’s OASIS in accordance with the technical requirements of Business Practice Standards WEQ-002, WEQ-003 and WEQ-013. 

001-102.1.1.1
OASIS shall assign a unique identifier to each NITS Application.  

001-102.1.1.2
An Eligible Transmission Customer may enter and update information on OASIS for a NITS Application prior to submission by setting the status of the NITS Application to PRESUBMITTED. 

001-102.1.1.2.1
Information (e.g., load forecasts, resource designations, etc.) associated with such a PRESUBMITTED NITS Application (whether provided electronically or by other means) shall not be considered by the Transmission Provider until the NITS Application is submitted.  

001- 102.1.2
The Eligible Transmission Customer shall indicate to the Transmission Provider that the NITS Application is ready for Transmission Provider review for consistency with the Transmission Provider’s minimum information requirements which are posted as specified in Business Practice Standards WEQ-001-13, by submitting the NITS Application on OASIS.

001-102.1.2.1
OASIS shall set the queue time for the NITS Application to the time that the Eligible Transmission Customer submits the NITS Application and shall set the status of the NITS Application to QUEUED.

001-102.1.2.1.1
OASIS shall set the queue time of all associated portions submitted as part of a NITS Application,, which require a queue time (e.g., DNRs, DNLs, NSRs, etc.), to the queue time of the NITS Application and shall set the status of such  portions to QUEUED.
001-102.1.2.2
The Transmission Provider shall acknowledge the queued NITS Application  by setting the status of the NITS Application to RECEIVED.

001-102.1.2.2.1
The Transmission Provider shall acknowledge the queued associated portions of the NITS Application as specified in Business Practice Standard WEQ-001-102.1.2.1.1 by setting the status of such portions to RECEIVED.
001-102.2
Initial Review of NITS Application

001- 102.2.1
The Transmission Provider shall respond to a NITS Application by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 

III.
COMPLETED 

001-102.3
Invalid NITS Application

001-102.3.1
If the required information, as specified in the Transmission Provider’s minimum information requirements that are posted  in accordance with Business Practice Standards WEQ-001-13, has not been 
provided in the NITS Application, the Transmission Provider shall set the status of the NITS Application to INVALID. The NITS Application shall be deemed withdrawn and will receive no further consideration.

001-102.3.1.1
If any portion of a NITS Application is set to a status of INVALID, the entire NITS Application will be set to a status of INVALID.

001-102.3.2
In response to a state of INVALID, the Eligible Transmission Customer may submit a new NITS Application, which will be assigned a new queue time.   

001-102.4
Deficient NITS Application

001-102.4.1
The Transmission Provider shall determine if each portion of information required in a NITS Application can be deemed sufficient (i.e. consistent with the Transmission Provider’s OATT requirements for a Completed Application).

001-102.4.1.1
If deemed sufficient, the Transmission Provider shall set the status of such portion to COMPLETED.  

001-102.4.1.2
If not deemed sufficient, the Transmission Provider shall set the status of such portion to DEFICIENT
001-102.4.2
If the Transmission Provider determines that any portion of the NITS Application is deficient, the Transmission Provider shall set the status of the overall NITS Application to DEFICIENT and may begin informal communications with the Eligible Transmission Customer to resolve those deficiencies. 

001-102.4.3
The Eligible Transmission Customer shall remedy the deficiency and shall set that portion’s status to REEVALUATE. Once all deficiencies have been remedied, the Eligible Transmission Customer shall set the status of the overall NITS Application to REEVALUATE.

001-102.4.4
Upon notification that the Eligible Transmission Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:

001-102.4.4.1
If the information provided for any portion identified as deficient fails to remedy that deficiency, the Transmission Provider shall set the status for that portion of the NITS Application to DEFICIENT.

001-102.4.4.2
If the information provided for any portion identified as deficient remedies that deficiency, the Transmission Provider shall set the status for that portion of the NITS Application to COMPLETED.

001-102.4.4.3
If the information provided for any portion of the NITS Application is deemed by the Transmission Provider to be a significant change to the overall NITS Application, the Transmission Provider shall set the status of the overall NITS Application to DECLINED.

001-102.4.4.3.1
Once the status of the overall NITS Application has been set to DECLINED, the Transmission Provider shall set the status of all portions of the NITS Application to DECLINED.

001-102.4.5
If the Eligible Transmission Customer fails to respond to the Transmission Provider’s notice of a deficient NITS Application, or fails to remedy the deficiency to the Transmission Provider’s satisfaction in a timely manner, the Transmission Provider shall set the status of the overall NITS Application to DECLINED.

001-102.4.5.1
Once the status of the overall NITS Application has been set to DECLINED, the Transmission Provider shall set the status of all portions of the NITS Application to DECLINED.

001-102.4.6
If the Eligible Transmission Customer fails to provide the necessary credit or deposit information in a timely manner, the Transmission Provider may respond by setting the status of the overall NITS Application to DECLINED.

001-102.4.6.1
Once the status of the overall NITS Application has been set to DECLINED, the Transmission Provider shall set the status of all portions of the NITS Application to DECLINED.

001-102.4.7
In response to a state of DECLINED, the Eligible Transmission Customer may submit a new NITS Application, which will be assigned a new queue time. 

001-102.4.8
When the Transmission Provider determines that all deficiencies have been remedied and all portions of the NITS Application have been identified as COMPLETED, the Transmission Provider shall continue processing the NITS Application in accordance with the Business Practice Standards for a Completed NITS Application.

001-102.5
Completed NITS Application

001-102.5.1
When the Transmission Provider has reviewed the entire NITS Application for completeness and all portions associated with the NITS Application have been deemed COMPLETED, the Transmission Provider shall indicate that the NITS Application is deemed complete by setting the status of the overall NITS Application to COMPLETED.

001-102.5.2
Consistent with the requirements of Business Practice Standard WEQ-001-102.1.2.1.1, the Transmission Provider shall ensure that the queue times of all COMPLETED portions associated with the COMPLETED NITS Application are set to the same queue time established on the initial submission of the NITS Application.

001-102.5.3
The COMPLETED NITS Application and set of associated COMPLETED portions shall constitute the entire initial NITS Application to be considered and evaluated further for granting of service by the Transmission Provider.

001-103
NITS – EVALUATION OF NITS APPLICATION

001-103.1
Review of  Completed NITS Application

001- 103.1.1
Once the Transmission Provider has set the status of the NITS Application to COMPLETED, the Transmission Provider shall change the status of the overall NITS Application to one of the following to indicate its evaluation of the NITS Application:

I.
STUDY

II.
DECLINED

III.
REFUSED 

IV.
COUNTEROFFER

V.
ACCEPTED 

001-103.2
Study of NITS Application

001-103.2.1 
If the Transmission Provider determines that some level of study is required or is being performed, the Transmission Provider shall set the status of the overall NITS Application to STUDY.

001-103.2.2
From the status of STUDY, the Transmission Provider shall set the status of the overall NITS Application to DECLINED, REFUSED, COUNTEROFFER, or ACCEPTED.

001-103.3
Declining a NITS Application

001-103.3.1
If at any time in the evaluation of the NITS Application or conduct of any associated study(ies) the Transmission Provider determines that the Eligible Transmission Customer has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.), the Transmission Provider shall set the status of the overall NITS Application to DECLINED.

001-103.3.1.1
Once the status of the overall NITS Application has been set to DECLINED, the Transmission Provider shall set the status of all portions of the NITS Application to DECLINED.

001-103.3.2
In response to a state of DECLINED, the Eligible Transmission Customer may submit a new NITS Application, which will be assigned a new queue time. 

001-103.4
Refusal of Completed NITS Application

001-103.4.1
If at any time in the evaluation of the NITS Application or conduct of any associated study(ies) the Transmission Provider determines that the requested service cannot be provided due to insufficient transfer capability consistent with the Transmission Provider’s tariff requirements, the Transmission Provider may set the status of the overall NITS Application to REFUSED.

001-103.4.2
In response to a state of REFUSED, the Eligible Transmission Customer may submit a new NITS Application, which will be assigned a new queue time.

001-103.5
Counteroffer to NITS Application

001-103.5.1
When, in the evaluation of the NITS Application or on completion of any applicable study(ies), and, where appropriate, through informal communication with the Eligible Transmission Customer, the Transmission Provider determines that the requested transmission service may only be granted in part, the Transmission Provider shall set the status of the overall NITS Application to COUNTEROFFER.

001-103.5.2
Prior to setting the status of the overall NITS Application to COUNTEROFFER, the Transmission Provider shall update the status associated with each portion of the Completed Application as follows:

001-103.5.2.1
The status of any portion of the NITS Application that will not be granted shall be set to the appropriate final state.

001-103.5.2.2
The status of any portion of the NITS Application that is to be granted as specified in the NITS Application shall be set to ACCEPTED.

001-103.5.2.3
The status of any portion of the NITS Application that is to be granted at a reduced capacity shall be set to COUNTEROFFER.

001-103.6
Acceptance of NITS Application

001-103.6.1
When, in the evaluation of the NITS Application or on completion of any applicable study(ies), and, where appropriate, through informal communication with the Eligible Transmission Customer, the Transmission Provider determines that the requested transmission service may be granted, the Transmission Provider shall set the status of the overall NITS Application to ACCEPTED.

001-103.6.2
Prior to setting the status of the overall NITS Application to ACCEPTED, the Transmission Provider shall update the status associated with each portion of the NITS Application to ACCEPTED.

001-103.7
Changes to NITS Application Prior To Confirmation of the NITS Application
001-103.7.1
A request for a change to a NITS Application which is an administrative change in accordance with Business Practice Standards WEQ 001-104 may be made at any time.
001-103.7.2
The status of a request for a change to a NITS Application in any final state other than CONFIRMED which is a request for modification of service in accordance with Business Practice Standards WEQ 001-105 shall be set to INVALID.

001-103.7.3
If, during informal communications, it is determined that a change to the NITS Application is necessary, the Eligible Transmission Customer shall use the process for modification of service in accordance with Business Practice Standards WEQ 001-105 to submit a request for such change.  Such a request for change will be deemed by the Transmission Provider to be part of the NITS Application as initially submitted.
001-103.7.3.1
If the request is outside the scope of informal communications, the Transmission Provider may deny the request by setting the status of the request to INVALID.

001-103.8
Customer Actions

001-103.8.1
After the status of the overall NITS Application has been set to ACCEPTED or COUNTEROFFER by the Transmission Provider, the Eligible Transmission Customer may confirm or withdraw the overall NITS Application by setting the status to CONFIRMED or WITHDRAWN. 

001-103.8.1.1
Confirming the overall NITS Application shall constitute the Network Customer’s agreement to receive service as specified in all portions of the NITS Application that are not already in a final state. Confirming the overall NITS Application shall set the status of all portions of the NITS Application not already in a final state to CONFIRMED. The Network Customer is not permitted to CONFIRM only a portion of the NITS Application.

001-103.8.1.1.1
If the Eligible Transmission Customer requests the Transmission Provider to file an unexecuted service agreement at FERC, the Eligible Transmission Customer, at the time of setting the status of the overall NITS Application to CONFIRMED, shall also set the indicator to “Unexecuted” (language in green to be determined by tech team).
001-103.8.1.2
Withdrawal of the overall NITS Application shall constitute the Eligible Transmission Customer’s withdrawal of all portions of the NITS Application including those portions already in a final state.  Withdrawal of the overall NITS Application shall set the status of all portions of the NITS Application to WITHDRAWN.

001-103.8.1.3
The Eligible Transmission Customer may not act on the individual portions of the NITS Application.  Once the overall NITS Application is in a final state of CONFIRMED, any subsequent changes must be made through a request for modification of service as provided for in the Business Practice Standards WEQ 001-105.  

001-103.9
Final Disposition of NITS Application

001-103.9.1
Once CONFIRMED the overall NITS Application shall remain CONFIRMED throughout its term of service regardless of subsequent modification of service unless otherwise mutually agreed; in which case the Transmission Provider shall set the status of the overall NITS Application and all portions of the NITS Application that are not already in a final state to ANNULLED.

001-103.9.1.1
If a Commission order related to a NITS Application is issued, the Eligible Transmission Customer shall use the modifications of service process as provided for in the Business Practice Standards WEQ-001-105 to modify the overall NITS Application to reflect the Commission order.

001-103.9.1.1.2
If the Eligible Transmission Customer determines not to accept the terms and conditions ordered by the Commission, the Eligible Transmission Customer may request that the Transmission Provider set the status of the overall NITS Application and all portions of the NITS Application that are not already in a final state to ANNULLED.

001-103.9.2
If, within the time limits specified in the Transmission Provider’s tariff for execution of a service agreement or for requesting filing of an unexecuted service agreement, the Eligible Transmission Customer fails to set the status to CONFIRMED or WITHDRAWN or does not request the Transmission Provider to file at FERC an unexecuted service agreement, the Transmission Provider may set the status of the overall NITS Application to RETRACTED. Retraction of the overall NITS Application shall set the status of the portions not already in a final state to RETRACTED.

001-103.9.2.1
In response to a state of RETRACTED, the Eligible Transmission Customer may submit a new NITS Application, which will be assigned a new queue time. 

001-103.10            Changes to A CONFIRMED NITS Application 

001-103.10.1
Any request submitted by the Eligible Transmission Customer associated with a NITS Application that is deemed by the Transmission Provider to be a request for modification of service shall be processed in accordance with the applicable Business Practice Standards WEQ 001-105 when the overall NITS Application status is CONFIRMED.

001-104 
NITS – ADMINISTRATIVE CHANGES

001-104.1
The Network Customer shall have the right to request administrative changes pursuant to the NITS Application. 
001-104.2
A request for administrative changes shall be submitted to the Transmission Provider on OASIS and assigned a unique identifier in accordance with the Business Practice Standards WEQ-002 and WEQ-013 and with explicit reference to the associated NITS Application.
001-104.3
A request for administrative changes shall be submitted as pre-confirmed. 

001-104.4
The Transmission Provider will accept or deny the request within 7 calendar days of receipt of the request. The Transmission Provider will provide a reason for denial of a request for administrative change.

001-104.5
The types of requests considered administrative changes will be in accordance with Business Practice Standards WEQ-002 and WEQ-013].
NOTE: 08/31/2010 – JT to put something in the template structures to address the effective date of the change as well as the time frame for the TC to act.  
001-105
NITS – MODIFICATION OF SERVICE

001-105.1
General Requirements 
001-105.1.1
The Network Customer shall have the right to request modification of service pursuant to the NITS Application. 

001-105.1.2
Any CONFIRMED request for modification of service shall be incorporated into the associated NITS Application.
001-105.1.3
A request for modification of service shall be submitted to the Transmission Provider on OASIS in accordance with the Business Practice Standards  WEQ-002 and WEQ-013 and with explicit reference to the associated NITS Application.
001-105.1.4
A request for modification of service shall be queued, assigned a unique identifier by OASIS, and evaluated in the same manner as any other request, subject to the other requirements of the Business Practice Standards. 
001-105.1.5
The following timing requirements shall apply to all requests for modifications of service requests, including DNR, DNL, and NSR requests, as well as all requests for secondary network service:

Table 105-a

NITS ReqUest Timing Requirements9
	Request
	Duration1
	Time Queued Prior to Start


	Provider Evaluation Time Limit2
	Customer Confirmation Time Limit3 After ACCEPTED 

or COUNTEROFFER4
	Provider Counter Time Limit after REBID5

	Secondary Network (Non-firm) (includes request for release of)
	Hourly

Hourly

Hourly

Daily

Weekly

Monthly
	< 1 hour

> 1 hour

Day ahead

N/A

N/A

N/A
	Best effort

30 minutes

30 minutes

30 minutes

4 hours

2 days6
	5 minutes

5 minutes

30 minutes

2 hours

24 hours

24 hours
	5 minutes

5 minutes

10 minutes

10 minutes

4 hours

4 hours

	Designation of Network Resource/Designation of Network Load (firm)
	Daily

Daily

Weekly

Monthly

Yearly
	<24 hours

N/A

N/A

N/A

60 days8
	Best effort

30 days7
30 days7
30 days7
30 days7
	2 hours

24 hours

48 hours

4 days

15 days
	30 minutes

4 hours

4 hours

4 hours

4 hours

	Temporary Termination of Network Resource 
	Hourly

Hourly

Hourly

Daily

Daily

Weekly

Monthly

Yearly
	< 1 hour

> 1hour

Day ahead

<24 hours

N/A

N/A

N/A

60 days8
	Best effort

30 min

30 min

Best effort

30 days7
30 days7
30 days7
30 days7
	5 minutes

5 minutes

30 minutes

2 hours

24 hours

48 hours

4 days

15 days
	N/A


	Indefinite Termination of Network Resource/ Network Load
	Hourly

Hourly

Hourly

Daily

Daily

Weekly

Monthly

Yearly
	< 1 hour

> 1hour

Day ahead

<24 hours

N/A

N/A

N/A

2 days8
	Best effort

30 min

30 min

Best effort

1 day7
1 day7
1 day7
3 days7
	5 minutes

5 minutes

30 minutes

2 hours

24 hours

24 hours

24 hours

24 hours
	N/A


Notes for Table 105-A:

1
For the purposes of Table 105-A, duration is defined as follows:


Hourly = 1 Hour < 24 Hours


Daily = 24 Hours < 168 Hours


Weekly = 168 Hours < 720 Hours


Monthly = 720 Hours < 8760 Hours


Yearly = 8760 Hours

2
Measurement starts at the time the request is COMPLETED.

3
Confirmation time limits are not to be interpreted to extend scheduling deadlines.

4
Measurement starts at the time the request is first moved to either ACCEPTED or COUNTEROFFER.  The time limit does not reset on subsequent changes of state.

5
Measurement starts at the time the Network Customer changes the state to REBID.  The measurement resets each time the request is changed to REBID.

6
Days are defined as calendar days.

7

Transmission Providers shall make best efforts to respond within 72 hours or prior to the scheduling deadline, whichever is earlier.

8
Whenever feasible and on a nondiscriminatory basis, Transmission Providers should accommodate requests made with less than 60 days notice.

9 
Each of the single requests in a concomitant evaluation shall have the timing requirement specified above for that type of request and, when applicable for PTP, the timing requirement specified in Table 4.2, Request Timing Requirements. 
001-105.1.6
The following requests are considered modification of service:

· Request for designation of a new Network Resource

· Request for temporary termination of Network Resource with redesignation of same Network Resource
· Request for indefinite termination of Network Resource

· Request for designation of new Network Load

· Request for indefinite termination of Network Load

· Request for new NSR
· Request for temporary termination of NSR
· Request for indefinite termination of NSR
· Request for Secondary Network Transmission Service 
· Request for termination of Secondary Network Transmission Service
001-105.2
Designation of New Network Resource 
001-105.2.1
Submission of Request for Designation of New Network Resource

001-105.2.1.1
The Network Customer may enter and update information on OASIS to support a request for designation of new Network Resource prior to submission to the Transmission Provider by setting the status of the request to PRESUBMITTED.

001- 105.2.1.2
The Eligible Transmission Customer shall indicate to the Transmission Provider that a request for designation of new Network Resource is ready for Transmission Provider review for consistency with the Transmission Provider’s minimum information requirements which are posted as specified in Business Practice Standards WEQ-001-13, by submitting the request for designation of new Network Resource on OASIS.
.  

001- 105.2.1.3
The Network Customer shall indicate to the Transmission Provider that the request for designation of new Network Resource is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.2.1.3.1
OASIS shall set the queue time for the request for designation of new Network Resource to the time that the Network Customer submits the request, and shall set the status of the request to QUEUED.

001-105.2.1.3.2
The Transmission Provider shall acknowledge the queued request for designation of new Network Resource by setting the status of the request to RECEIVED.

001-105.2.2
Initial Review of Request for Designation of New Network Resource

001- 105.2.2.1
The Transmission Provider shall respond to the request by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 

III.
COMPLETED 

001-105.2.3
Invalid Request for Designation of New Network Resource

001-105.2.3.1
If the required information, as specified in the Transmission Provider’s minimum information requirements that are posted in accordance with Business Practice Standards WEQ-001-13, has not been 
provided in the request for designation of new Network Resource, the Transmission Provider shall set the status of the request for designation of new Network Resource to INVALID. The request for designation of new Network Resource shall be deemed withdrawn and will receive no further consideration.
001-105.2.3.2
In response to a state of INVALID, the Network Customer may submit a new request for designation of new Network Resource, which will be assigned a new queue time. 
001-105.2.4
Deficient Request for Designation of New Network Resource
001-105.2.4.1
For each valid request for designation of new Network Resource, the Transmission Provider shall determine if the request can be deemed sufficient (i.e. consistent with the Transmission Provider’s OATT requirements for the request for designation of new Network Resource).  

001-105.2.4.1.1
If deemed sufficient, the Transmission Provider shall set the status of such request to COMPLETED.  

001-105.2.4.1.2
If deemed insufficient, the Transmission Provider shall set the status of such request to DEFICIENT. 

001-105.2.4.2
A request for designation of a new Network Resource shall be accompanied by an attestation. 
001-105.2.4.3
If the Transmission Provider determines that the request for designation of new Network Resource is deficient, the Transmission Provider shall set the request to DEFICIENT and begin informal communications with the Network Customer to resolve the deficiencies. 

001-105.2.4.4
The Network Customer shall remedy the deficiency and shall set the status of the request for designation of new Network Resource to REEVALUATE.

001-105.2.4.5
Upon notification that the Network Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:

001-105.2.4.5.1
If the information provided fails to remedy the deficiency, the Transmission Provider shall set the status of the request for designation of new Network Resource to DEFICIENT.

001-105.2.4.5.2
If the information provided remedies the deficiency, the Transmission Provider shall set the status of the request for designation of new Network Resource to COMPLETED.

001-105.2.4.5.3
If the information provided is deemed by the Transmission Provider to be a significant change to the request for designation of new Network Resource, the Transmission Provider shall set the status of the request to DECLINED.

001-105.2.4.5.3.1
Once the status of the request for designation of new Network Resource has been set to DECLINED, the Transmission Provider shall set the status of all portions of the request for designation of new Network Resource to DECLINED.

001-105.2.4.6
If the Network Customer fails to respond to the Transmission Provider’s notice of a deficient request for designation of new Network Resource, or fails to remedy the deficiency to the Transmission Provider’s satisfaction, the Transmission Provider shall set the status of the request to DECLINED.

001-105.2.4.6.1
Once the status of the request for designation of new Network Resource has been set to DECLINED, the Transmission Provider shall set the status of all portions of the request for designation of new Network Resource to DECLINED.

001-105.2.4.7
In response to a state of DECLINED, the Network Customer may submit a new request for designation of new Network Resource, which will be assigned a new queue time.  

001-105.2.5
Completed Request for Designation of New Network Resource

001-105.2.5.1
Once the Transmission Provider has set the status of the request for designation of new Network Resource to COMPLETED, the Transmission Provider shall continue processing the request in accordance with Business Practice Standard WEQ-001-105.2.6.

001-105.2.6
Review of Completed Request for Designation of New Network Resource

001- 105.2.6.1
Once the Transmission Provider has set the status of the request for designation of new Network Resource to COMPLETED, the Transmission Provider shall respond to the request, consistent with filed tariffs, within the Provider Response Time Limit defined in Table 105-A, NITS Request Timing Requirements. To indicate its evaluation of the request, a Transmission Provider may respond by setting the state of the request to one of the following:
I.
STUDY

II.
DECLINED

III.
REFUSED 

IV.
COUNTEROFFER

V.
ACCEPTED 

001-105.2.7
Study of Request for Designation of New Network Resource

001-105.2.7.1 
If the Transmission Provider determines that some level of study is required or is being performed, the Transmission Provider shall set the status of the request for designation of new Network Resource to STUDY.

001-105.2.7.2
From the status of STUDY, the Transmission Provider shall set the status of the request for designation of new Network Resource to DECLINED, REFUSED, COUNTEROFFER, or ACCEPTED.

001-105.2.8
Decline of Request for Designation of New Network Resource

001-105.2.8.1
If, at any time in the evaluation of the request for designation of new Network Resource or conduct of any associated study(ies), the Transmission Provider determines that the Network Customer has failed to meet any of the terms and conditions for the designation of a new Network Resource (e.g., failure to execute a study agreement, etc.), the Transmission Provider shall set the status of the request to DECLINED. 
001-105.2.8.1.1
Once the status of the request for designation of a new Network Resource has been set to DECLINED, the Transmission Provider shall set the status of all portions of the request for designation of a new Network Resource to DECLINED
.
001-105.2.8.2
In response to a state of DECLINED, the Eligible Transmission Customer may submit a new request for designation of new Network Resource, which will be assigned a new queue time.   

001-105.2.9
Refusal of Request for Designation of New Network Resource

001-105.2.9.1
If, at any time in the evaluation of the request for designation of new Network Resource or conduct of any associated study(ies), the Transmission Provider determines that the requested service cannot be provided due to lack of availability of transfer capability consistent with the Transmission Provider’s tariff requirements, the Transmission Provider may set the status of the request to REFUSED.

001-105.2.9.2
In response to a state of REFUSED, the Network Customer may submit a new request for designation of new Network Resource, which will be assigned a new queue time.  

001-105.2.10
Counteroffer to Request for Designation of New Network Resource

001-105.2.10.1
When, in the evaluation of a request for designation of new Network Resource or on completion of any applicable study(ies), the Transmission Provider determines that the request may be granted in part, the Transmission Provider may make a partial offer.  

001-105.2.10.1.1
If the Transmission Provider makes a partial offer, the Transmission Provider shall notify the Network Customer on OASIS by setting the amount of Network Resource capacity granted over time in the response to the request for designation of new Network Resource and setting the status of such request to COUNTEROFFER.

001-105.2.11
Acceptance of Request for Designation of New Network Resource

001-105.2.11.1
When, in the evaluation of the request for designation of new Network Resource or on completion of any applicable study(ies), the Transmission Provider determines that the request can be approved, the Transmission Provider shall set the status of the request to ACCEPTED.

001-105.2.12
Customer Actions

001-105.2.12.1
From ACCEPTED or COUNTEROFFER, the Network Customer may change the status of the request for designation of new Network Resource to CONFIRMED, REBID or WITHDRAWN.  The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 105-A NITS Request Timing Requirements to change the state of the request.  The Customer Confirmation Time Limit is measured from the first time the request is moved to ACCEPTED or COUNTEROFFER, and is not reset with subsequent iterations of negotiation. 

001-105.2.12.1.1
The Network Customer shall use the request status of REBID to initiate negotiation of designated Network Resource capacity or engage in continued negotiation of the designated Network Resource capacity with the Transmission Provider.

001-105.2.12.1.2
The Network Customer may negotiate for a lower amount of designated Network Resource capacity by updating the capacity requested over time and changing the request status from ACCEPTED or COUNTEROFFER to REBID.  For example, the Network Customer may choose to coordinate the level of transmission service purchased across multiple Transmission Providers.  Negotiation for a higher amount of designated Network Resource capacity shall not be allowed.  A Network Customer seeking additional designated Network Resource capacity must submit a new request, which will be assigned a new queue time.

001-105.2.12.1.3
Once the status of the request for designation of a new Network Resource has been set to ACCEPTED or COUNTEROFFER, the Network Customer may change the status to CONFIRMED after positively acknowledging agreement by setting the requested designated Network Resource capacity equal to the Transmission Provider’s granted designated Network Resource capacity.  Alternatively, the Network Customer may withdraw the request or the Network Customer may continue negotiations consistent with Business Practice Standard WEQ-001-105.2.12.1.2.
001-105.2.13
Final Disposition of Request for Designation of New Network Resource

001-105.2.13.1
Should the Network Customer elect to initiate or continue the negotiation of designation of new Network Resource capacity by moving the request to REBID, the Transmission Provider shall respond by setting the status of the request to DECLINED, SUPERSEDED, ACCEPTED, or COUNTEROFFER within the Provider Counter Time Limit as specified in Table 105-A NITS Request Timing Requirements. 
 
001-105.2.13.1.1
The Transmission Provider shall positively acknowledge agreement to the designation of new Network Resource capacity over time by setting the granted new Network Resource capacity equal to the Network Customer’s requested new Network Resource capacity prior to acceptance of the request.   
001-105.2.13.2
If the Network Customer fails to set the status of the ACCEPTED request for designation of new Network Resource to CONFIRMED or WITHDRAWN within the time limits specified in Table 105-A NITS Request Timing Requirements, the Transmission Provider may set the status of the request to RETRACTED. 

001-105.2.13.2.1
In response to a state of RETRACTED, the Network Customer may submit a new request for designation of new Network Resource, which will be assigned a new queue time.

001-105.3
Termination
 of Network Resource

001-105.3.1
A Network Customer may terminate the designation of a Network Resource on a temporary or indefinite basis for all or a portion of the capacity of the Network Resource..
001-105.3.1.1
If a Network Customer submits a request for termination of Network Resource with a term that does not extend to the end of the term of the designated Network Resource, such request shall be a request for temporary termination of Network Resource.  
001-105.3.1.2
If a Network Customer submits a request for termination of Network Resource with term that extends to the end of the term of the designated Network Resource, such request shall be a request for indefinite termination of Network Resource.  .
001-105.3.1.3
The Transmission Provider shall not deny a valid and complete request for termination of Network Resource.

001-105.3.2
Temporary Termination of Network Resource

001-105.3.3
Submission of Request for Temporary Termination of Network Resource 

001-105.3.3.1
A request for temporary termination of Network Resource must include  redesignation of the same resource in accordance with Business Practice Standards WEQ 001-105-xxx.
001-105.3.3.2
Prior to submission to the Transmission Provider, the Network Customer may enter and update information on OASIS to request temporary termination of Network Resource by setting the status of the request to PRESUBMITTED.  [CONSISTENCY CHECK WITH OTHER SECTIONS]
001- 105.3.3.3
The Network Customer shall indicate to the Transmission Provider that the request for temporary termination of Network Resource is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.3.3.4
OASIS shall set the queue time for the request for temporary termination of Network Resource to the time that the Network Customer submits the request and shall set the request to QUEUED.

001-105.3.3.5
The Transmission Provider shall acknowledge the queued request for temporary termination of a Network Resource by setting the status of the request to RECEIVED.

001-105.3.4
Initial Review of Request for Temporary Termination of Network Resource 

001- 105.3.4.1
001- 105.3.4.1
The Transmission Provider shall respond to a request by setting the status to one of the following:

I.
INVALID 

II.
DEFICIENT 

III.
COMPLETED 

001-105.3..5
Invalid Request for Temporary Termination of Network Resource 

001-105.3.5.1
If the required information, as specified in the Transmission Provider’s minimum information requirements that are posted  in accordance with Business Practice Standards WEQ-001-13, has not been 
provided in the request for temporary termination of Network Resource, the Transmission Provider shall set the status of the request for temporary termination of Network Resource to INVALID. The request for temporary termination of Network Resource shall be deemed withdrawn and will receive no further consideration.
001-105.3.5.2
In response to a state of INVALID, the Network Customer may submit a new request for temporary termination of Network Resource, which will be assigned a new queue time. 

001-105.3.6
Deficient Request for Temporary Termination of Network Resource 

001-105.3.6.1
For each valid request for temporary termination of Network Resource, the Transmission Provider shall determine if the request can be deemed sufficient (i.e. consistent with the Transmission Provider’s OATT requirements for the request for temporary termination of Network Resource ).
  

001-105.3.6.1.1
If deemed sufficient, the Transmission Provider shall set the status of such request to COMPLETED.  

001-105.3.6.1.2
If deemed insufficient, the Transmission Provider shall set the status of such request to DEFICIENT
001-105.3.6.2
Redesignation of the Network Resource shall meet the following requirements:

001-105.3.6.2.1
Any redesignation shall be accompanied by an attestation. 

001-105.3.6.2.2
The STOP_TIME for the temporary termination of Network Resource shall also be the effective date and time that the same Network Resource is redesignated.

001-105.3.6.2.3
The request shall include all data necessary consistent with the requirements for designation of a new Network Resource.  Previously submitted data may be incorporated by reference with the exception of the attestation required in Business Practice Standard WEQ 001-105.3.5.2.

001-105.3.6.3
If the Transmission Provider determines that the request for temporary termination of Network Resource is deficient, the Transmission Provider shall set the request to DEFICIENT and begin informal communications with the Eligible Transmission Customer to resolve the deficiencies. 

001-105.3.6.4
The Network Customer shall remedy the deficiency and shall set the status of the request for temporary termination of Network Resource to REEVALUATE.

001-105.3.6.5
Upon notification that the Network Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:

001-105.3.6.5.1
If the information provided fails to remedy the deficiency, the Transmission Provider shall set the status of the request for temporary termination of Network Resource to DEFICIENT.

001-105.3.6.5.2
If the information provided remedies the deficiency, the Transmission Provider shall set the status of the request for temporary termination of Network Resource to COMPLETED.

001-105.3.6.5.3
If the information provided is deemed by the Transmission Provider to be a significant change to the request for temporary termination of Network Resource, the Transmission Provider shall set the status of the request to DECLINED.

001-105.3.6.5.3.1
Once the status of the request for temporary termination of Network Resource has been set to DECLINED, the Transmission Provider shall set the status of all portions of the request for temporary termination of Network Resource to DECLINED.

001-105.3.6.6
If the Network Customer fails to respond to the Transmission Provider’s notice of a deficient request for temporary termination of Network Resource, or fails to remedy the deficiency to the Transmission Provider’s satisfaction in a timely manner, the Transmission Provider shall set the status of the request to DECLINED.

001-105.3.6.6.1
Once the status of the request for temporary termination of Network Resource has been set to DECLINED, the Transmission Provider shall set the status of all portions of the request for temporary termination of Network Resource to DECLINED.

001-105.3.6.7
In response to a state of DECLINED, the Network Customer may submit a new request for temporary termination of Network Resource, which will be assigned a new queue time.  

001-105.3.7
Completed Request for Temporary Termination of Network Resource 

001-105.3.7.1
Once the Transmission Provider has set the status of the request for temporary termination of Network Resource to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.3.8
Acceptance of Request for Temporary Termination of Network Resource 

001-105.3.8.1
Once the status of the request for temporary termination of Network Resource is set to COMPLETED, OASIS shall set the status of the request to ACCEPTED.

001-105.3.9
Customer Actions

001-105.3.9.1
After the status of the request for temporary termination of Network Resource has been set to ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request by setting the status to CONFIRMED or WITHDRAWN. 

001-105.3.9.2
The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 105-A NITS Request Timing Requirements to change the state of the request.  
001-105.3.10
Final Disposition of Request for Temporary Termination of Network Resource 

001-105.3.10.1
If the Network Customer fails to set the status of the ACCEPTED request for temporary termination of Network Resource to CONFIRMED or WITHDRAWN within the time limits specified in Table 105-A NITS Request Timing Requirements, the Transmission Provider may set the status of the request to RETRACTED
. 
001-105.3.10.1.1
In response to a state of RETRACTED, the Network Customer may submit a new request for temporary termination of Network Resource, which will be assigned a new queue time.   

001-105.3.11
Indefinite Termination of Network Resource

001-105. 3.12
Submission of Request for Indefinite Termination of Network Resource

001-105. 3.12.1
Prior to submission to the Transmission Provider, the Network Customer may enter and update information on OASIS to request indefinite termination of Network Resource by setting the status of the request to PRESUBMITTED. 

001- 105. 3.12.2
The Network Customer shall indicate to the Transmission Provider that the request for indefinite termination of Network Resource is ready for Transmission Provider review by submitting the request on OASIS.  

001-105. 3.12.2.1
OASIS shall set the queue time for the request for indefinite termination of Network Resource to the time that the Network Customer submits the request and shall set the request to QUEUED.

001-105. 3.12.2.2
The Transmission Provider shall acknowledge the queued request for indefinite termination of Network Resource by setting the status of the request to RECEIVED.

001-105. 3.13
Initial Review of Request for Indefinite Termination of Network Resource

001- 105. 3.13.1
quest is consistent with the Transmission Provider’s tariff requirements.

001- 105. 3.13.1
The Transmission Provider shall respond to a request for indefinite termination of Network Resource by setting the status to one of the following:

I.
INVALID 

II.
COMPLETED

001-105. 3.14
Invalid Request for Indefinite Termination of Network Resource

001-105. 3.14.1
If the required information, as specified in the Transmission Provider’s minimum information requirements that are posted  in accordance with Business Practice Standards WEQ-001-13, has not been 
provided in the request for indefinite termination of Network Resource, the Transmission Provider shall set the status of the request for indefinite termination of Network Resource to INVALID. The request for indefinite termination of Network Resource shall be deemed withdrawn and will receive no further consideration.
001-105. 3.14.2
In response to a state of INVALID, the Network Customer may submit a new request for indefinite termination of Network Resource, which will be assigned a new queue time.   

001-105. 3.15
Completed Request for Indefinite Termination of Network Resource 

001-105. 3.15.1
Once the Transmission Provider has set the status of the request for indefinite termination of Network Resource to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105. 3.16
Acceptance of Request for Indefinite Termination of Network Resource

001-105. 3.16.1
Once the request for indefinite termination of Network Resource is deemed to be valid, OASIS shall set the status of the request to ACCEPTED.

001-105. 3.17
Customer Actions

001-105. 3.17.1
After the status of the request for indefinite termination of Network Resource has been set to ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request by setting the status to CONFIRMED or WITHDRAWN. 

001-105.3.17.2
The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 105-A NITS Request Timing Requirements to change the state of the request.  
001-105.3.18
Final Disposition of Request for Indefinite Termination of Network Resource

001-105.3.18.1
If the Network Customer fails to set the status of the ACCEPTED request for indefinite termination of Network Resource to CONFIRMED or WITHDRAWN within the time limits specified in Table 105-A NITS Request Timing Requirements, the Transmission Provider may set the status of the request to RETRACTED
.
001-105.3.18.1.1
In response to a state of RETRACTED, the Network Customer may submit a new request for indefinite termination of Network Resource, which will be assigned a new queue time.   

001-105.4
Designation of New Network Load

001-105.4.1
The Network Customer shall submit a request for designation of new Network Load on OASIS, including the information specified in Business Practice Standard WEQ 001-101.13.
 
001-105.4.1.1
A request for designation of new Network Load may be a request for either (1) a load addition to a Network Customer’s existing Network Load(s) exclusive of projected load growth or (2) a load addition that is separate from a Network Customer’s existing Network Load(s).

001-105.4.2
Submission of Request for Designation of New Network Load

001-105.4.2.1
The Network Customer may enter and update information on OASIS in association with a request for designation of new Network Load prior to submission to the Transmission Provider by setting the status of the request to PRESUBMITTED.

001- 105.4.2.2
The Network Customer shall indicate to the Transmission Provider that the request for designation of new Network Load is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.6

NSR
001-105.6.1
Enabling the NSR is at the Transmission Provider’s discretion.  If enabled, the request for new NSR shall, at the Transmission Provider’s discretion, allow either:

001-105.6.1.1
the Network Customer to request network transmission capacity, by submitting a request for new NSR on OASIS, or 
001-105.6.1.2
the Transmission Provider to post on OASIS the scheduling rights associated with NITS by completing a request for new NSR and setting the status of the request to ACCEPTED.   
001-105.6.1.3
If the request for new NSR is used, the Transmission Provider shall specify, in accordance with Business Practice Standards WEQ-001-13, the minimum information required.

001-105.6.1.4
If the request for termination of NSR is used, the Transmission Provider shall specify, in accordance with Business Practice Standards WEQ-001-13, the minimum information required. 
001-105.6.2
Submission of Request for New NSR
START HERE ON OCTOBER 12 MEETING

A request for new NSR shall only be granted when associated with one or more DNRs. The capacity granted for request for new NSR may be less than the capacity granted for all associated DNRs.

001-105.6.2.1
The Network Customer may enter and update information on OASIS to support a request for new NSR prior to submission to the Transmission Provider by setting the status of the request to PRESUBMITTED.

001- 105.6.2.2
The Network Customer shall indicate to the Transmission Provider that the request for new NSR is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.10
Secondary Network Transmission Service – to be rewritten
Price negotiation not applicable

TP may require Sink to be provided

Allow release of confirmed secondary network (require TP to allow request to release)

Address transmission capacity hoarding?

001-105.10.1
Submission of Request for Secondary Network Transmission Service 

001-105.10.1.1
The Network Customer may enter and update information on OASIS in association with a request for Secondary Network Transmission Service prior to submission to the Transmission Provider by setting the status of the request to PRESUBMITTED.

001- 105.10.1.2
The Network Customer shall indicate to the Transmission Provider that the request for Secondary Network Transmission Service is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.10.1.2.1
OASIS shall set the queue time for the request for Secondary Network Transmission Service to the time that the Network Customer submits the request, which shall set the status of the request to QUEUED.

001-105.10.1.2.2
The Transmission Provider shall acknowledge the queued request for Secondary Network Transmission Service by setting the status of the request to RECEIVED.

001-105.10.2
Initial Review of Request for Secondary Network Transmission Service
001- 105.10.2.1
The Transmission Provider shall respond to a request by setting the status to one of the following:

I.
INVALID 

II.
COMPLETED

001-105.10.3
Invalid Request for Secondary Network Transmission Service
001-105.10.3.1
If the required information, as specified in the Transmission Provider’s minimum information requirements that are posted  in accordance with Business Practice Standards WEQ-001-13, has not been 
provided in the request for Secondary Network Transmission Service, the Transmission Provider shall set the status of the request for Secondary Network Transmission Service to INVALID. The request for Secondary Network Transmission Service shall be deemed withdrawn and will receive no further consideration. .
001-105.10.3.2
In response to a state of INVALID, the Network Customer may submit a new request for Secondary Network Transmission Service, which will be assigned a new queue time.   

001-105.10.4
Completed Request for Secondary Network Transmission Service
001-105.10.4.1
Once the Transmission Provider has set the status of the request for Secondary Network Transmission Service to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.10.5
Review of Completed Request for Secondary Network Transmission Service 

001- 105.10.5.1
Once the Transmission Provider has set the status of the request for Secondary Network Transmission Service to COMPLETED, the Transmission Provider shall respond to the request, consistent with filed tariffs, within the Provider Response Time Limit defined in Table 105-A NITS Request  Timing Requirements. The time limit is measured from the time the request is QUEUED.  To indicate its evaluation of the request, a Transmission Provider may respond by setting the state of the request to one of the following:
I.
DECLINED

II.
REFUSED 

III.
COUNTEROFFER

IV.
ACCEPTED 

001-105.10.6
Decline of Request for Secondary Network Transmission Service
001-105.10.6.1
If, at any time in the evaluation of the request for Secondary Network Transmission Service, the Transmission Provider determines that the Network Customer has failed to meet any of the terms and conditions for Secondary Network Transmission Service, the Transmission Provider shall set the status of the request to DECLINED.

001-105.10.6.1.1
Once the status of the request for Secondary Network Transmission Service has been set to DECLINED, the Transmission Provider shall set the status of all portions of the request for Secondary Network Transmission Service to DECLINED.

001-105.10.6.2
In response to a state of DECLINED, the Network Customer may submit a new request for Secondary Network Transmission Service, which will be assigned a new queue time.

001-105.10.7
Refusal of Request for Secondary Network Transmission Service
001-105.10.7.1
If, at any time in the evaluation of the request for Secondary Network Transmission Service, the Transmission Provider determines that the requested service cannot be provided due to lack of availability of transfer capability consistent with the Transmission Provider’s tariff requirements, the Transmission Provider may set the status of the request to REFUSED.

001-105.10.7.2
In response to a state of REFUSED, the Network Customer may submit a new request for Secondary Network Transmission Service, which will be assigned a new queue time.

001-105.10.8
Counteroffer to Request for Secondary Network Transmission Service
001-105.10.8.1
When, in the evaluation of a request for Secondary Network Transmission Service, the Transmission Provider determines that the request may be granted in part, the Transmission Provider may make a partial offer.  

001-105.10.8.1.1
If the Transmission Provider makes a partial offer, the Transmission Provider shall notify the Network Customer on OASIS by setting the amount of Secondary Network Transmission Service capacity granted over time in the response to the request for Secondary Network Transmission Service and setting the status of such request to COUNTEROFFER.

001-105.10.9
Acceptance of Request for Secondary Network Transmission Service
001-105.10.9.1
When, in the evaluation of the request for Secondary Network Transmission Service, the Transmission Provider determines that the request can be approved, the Transmission Provider shall set the status of the request to ACCEPTED.

001-105.10.10
Customer Actions

001-105.10.10.1
From ACCEPTED or COUNTEROFFER, the Network Customer may change the status of the request for Secondary Network Transmission Service to CONFIRMED, REBID or WITHDRAWN. The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 105-A NITS Request Timing Requirements to change the state of the request. The Customer Confirmation Time Limit is measured from the first time the request is moved to ACCEPTED or COUNTEROFFER, and is not reset with subsequent iterations of negotiation. 

001-105.10.10.1.1
The Network Customer shall use the request status of REBID to initiate or continue the negotiation of Secondary Network Transmission Service capacity.

001-105.10.10.1.2
Should the Network Customer elect to initiate or continue the negotiation of Secondary Network Transmission Service capacity by moving the request to REBID, the Transmission Provider shall respond by taking the request to a DECLINED, SUPERSEDED, ACCEPTED, or COUNTEROFFER state within the Provider Counter Time Limit, specified in Table 105-A NITS Request Timing Requirements. The Transmission Provider response time is measured from the most recent REBID time.

001-105.10.10.1.3
The Network Customer may negotiate for a lower amount of Secondary Network Transmission Service capacity by updating the capacity requested over time and changing the request status from ACCEPTED or COUNTEROFFER to REBID. Negotiation for a higher amount of Secondary Network Transmission Service capacity shall not be allowed. A Network Customer seeking additional Secondary Network Transmission Service capacity must submit a new request, which will be assigned a new queue time.

001-105.10.10.1.4
Once the status of the request for Secondary Network Transmission Service has been set to ACCEPTED or COUNTEROFFER, the Network Customer may change the status to CONFIRMED after positively acknowledging agreement by setting the requested Secondary Network Transmission Service capacity equal to the Transmission Provider’s granted Secondary Network Transmission Service capacity.  Alternatively, the Network Customer may withdraw the request or the Network Customer may continue negotiations consistent with Business Practice Standard WEQ-001-105-.10.10.1.2.

001-105.10.11
Final Disposition of Request for Secondary Network Transmission Service
001-105.10.11.1
Should the Network Customer elect to initiate or continue the negotiation of secondary Network Transmission Service capacity by moving the request to REBID, the Transmission Provider shall respond by setting the status of the request to DECLINED, SUPERSEDED, ACCEPTED, or COUNTEROFFER within the Provider Counter Time Limit as specified in Table 105-A NITS Request Timing Requirements. 
 
001-105.10.11.1.1
The Transmission Provider shall positively acknowledge agreement to the secondary Network Transmission Service capacity over time by setting the granted secondary Network Transmission Service capacity equal to the Network Customer’s requested secondary Network Transmission Service capacity prior to acceptance of the request.   

001-105.10.11.2
If the Network Customer fails to set the status of the ACCEPTED request for secondary Network Transmission Service to CONFIRMED or WITHDRAWN within the time limits specified in Table 105-A NITS Request Timing Requirements, the Transmission Provider may set the status of the request to RETRACTED. 

001-105.10.11.2.1
In response to a state of RETRACTED, the Network Customer may submit a new request for secondary Network Transmission Service, which will be assigned a new queue time.

001-105.11
Termination of Secondary Network Transmission Service
001-105.11.1
Request for Termination of Secondary Network Transmission Service
001-105.11.1.1
The Transmission Provider shall not refuse a valid and complete request for termination of Secondary Network Transmission Service.

001-105.11.2
Submission of Request for Termination of Secondary Network Transmission Service 

001-105.11.2.1
The Network Customer may enter and update information on OASIS in association with a request for termination of Secondary Network Transmission Service prior to submission to the Transmission Provider by setting the status of the request to PRESUBMITTED.

001-105.11.2.2
The Network Customer shall indicate to the Transmission Provider that the request for termination of Secondary Network Transmission Service is ready for Transmission Provider review by submitting the request on OASIS.  

001-105.11.2.3
OASIS shall set the queue time for the request for termination of Secondary Network Transmission Service to the time that the Network Customer submits the request, which shall set the request to QUEUED.

001-105.11.2.4
The Transmission Provider shall acknowledge the queued request for termination of Secondary Network Transmission Serviceby setting the status of the request to RECEIVED.

001-105.11.3
Initial Review of Request for Termination of Secondary Network Transmission Service 

001- 105.11.3.1
The Transmission Provider shall respond to a request by setting the status to one of the following:

I.
INVALID 

II.
COMPLETED

001-105.11.4
Invalid Request for Termination of Secondary Network Transmission Service 

001-105.11.4.1
If the required information, as specified in the Transmission Provider’s minimum information requirements that are posted  in accordance with Business Practice Standards WEQ-001-13, has not been 
provided in the termination of Secondary Network Transmission Service, the Transmission Provider shall set the status of the Secondary Network Transmission Service to INVALID. The Secondary Network Transmission Service shall be deemed withdrawn and will receive no further consideration.
001-105.11.4.2
In response to a state of INVALID, the Network Customer may submit a new request for termination of Secondary Network Transmission Service, which will be assigned a new queue time.

001-105.11.5
Completed Request for Termination of Secondary Network Transmission Service 

001-105.11.5.1
Once the Transmission Provider has set the status of the request for termination of Secondary Network Transmission Service to COMPLETED, the Transmission Provider shall continue processing the request in accordance with these Business Practice Standards.

001-105.11.6
Acceptance of Request for Termination of Secondary Network Transmission Service
001-105.11.6.1
Once the status of the request for termination of Secondary Network Transmission Service is set to COMPLETED, the status of the request shall then be changed to ACCEPTED.

001-105.11.7
Customer Actions

001-105.11.7.1
After the status of the request for termination of Secondary Network Transmission Service has been set to ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the request by setting the status to CONFIRMED or WITHDRAWN. 

001-105.11.8
Final Disposition of Request for Termination of Secondary Network Transmission Service 

001-105.11.8.1
If the Network Customer fails to set the status of the ACCEPTED request for termination of secondary Network Transmission Service to CONFIRMED or WITHDRAWN within the time limits specified in Table 105-A NITS Request Timing Requirements, the Transmission Provider may set the status of the request to RETRACTED
.
001-105.11.8.1.1
In response to a state of RETRACTED, the Network Customer may submit a new request for termination of secondary Network Transmission Service, which will be assigned a new queue time.   

Note:  Need implementation plan 
001-106
NITS – CONCOMITANT REQUESTS 

001-106
NITS – REQUEST FOR CONCOMITANT EVALUATION

001-106.1
The Network Customer shall only be allowed to request a concomitant evaluation of a request for temporary or indefinite termination of a single Network Resource and a single request for NITS or PTP transmission service on a single transmission provider system.

001-106.1.1
To be eligible for concomitant evaluation, each of the two single requests must be submitted together with the concomitant evaluation flag set. 

001-106.1.2
The Transmission Provider shall evaluate the two single requests concomitantly.
001-106.1.3
The Transmission Provider shall assign the same queue time to each of the two single requests.

001-106.2
A single request that does not have the concomitant evaluation flag set will be considered a separate request and will be processed according to the appropriate Business Practice Standards for such request.

001-106-2.1
When associated with a request for concomitant evaluation, the withdrawal of one portion of the request for concomitant evaluation will result in the withdrawal of all portions of the request for concomitant evaluation, including any preconfirmed portions.
001-106.3
Denial of one of the single requests shall result in denial of both single requests. 

001- 106.4
The Transmission Provider shall respond to a request for concomitant evaluations by setting the appropriate status according to the Business Practice Standards for each of the single requests.

001-106.5
If the Transmission Provider counteroffers the single request paired with the request for temporary or indefinite termination of Network Resource, the status of both requests shall be set to COUNTEROFFER.

001-106.5.1
Should the Network Customer elect to initiate or continue the negotiation of the two single requests by changing the status of the two requests to REBID, the Transmission Provider shall respond by changing the status of the request to DECLINED, ACCEPTED, or COUNTEROFFER within the Provider Counter Time Limit, specified in the applicable timing table (i.e., Table 105-A NITS Request Timing Requirements or for PTP, Table 4.2 Request Timing Requirements). The Transmission Provider response time is measured from the most recent REBID time.

001-106.6
Customer Actions

001-106.6.1
After the status of the two single requests has been set to ACCEPTED by the Transmission Provider, the Network Customer may confirm or withdraw the requests by setting the status of each single request to CONFIRMED or WITHDRAWN. 

001-106.7
Final Disposition of the Request For Concomitant Evaluation

001-105.7.1
If the Network Customer fails to set the status of the two single ACCEPTED requests for concomitant evaluation to CONFIRMED or WITHDRAWN within the time limits specified in Table 105-A NITS Request Timing Requirements, the Transmission Provider may set the status of the request to RETRACTED
.
001-105.7.1.1
In response to a state of RETRACTED, the Network Customer may submit a new request for concomitant evaluation consisting of two single requests, which will be assigned a new queue time.   

001-106.7.2
If one of the single requests is DISPLACED, the treatment of the other single request shall be as specified in the Transmission Provider’s posted business practice which is posted as specified in Business Practice Standards WEQ-001-13,
001-107
NITS – ANNUAL UPDATES

001-107.1
Consistent with the Transmission Provider’s tariff requirements and, if applicable, the network operating agreement or Transmission Provider’s posted business practice, the Network Customer shall provide annual updates of Network Load and Network Resource forecasts.\
001-108
NITS – EXTENSION OF NITS APPLICATION STOP_TIME 
001-108.1
Consistent with the Transmission Provider’s tariff requirements and, if applicable, the Transmission Provider’s posted business practice, renewal of service (rollover rights) may be provided, as specified in Business Practice Standards WEQ-002.

Agreed 8/18/2010 – conceptually agreed to following (JT volunteer to write up draft, with review by Marie, for the meeting in Houston):
Customer may request extension of stop_time of NITS Application

Who can do it (Confirmed NITS Application with a term of 5 years or longer with 1 year notice or as stipulated in the TP’s OATT [to allow for the transition from 1 yr/60 day to 5 yr/1 yr] and consistent with any restrictions specified in the service agreement)

How they do it

TP response

If they don’t do it within required time, what TP will do (indefinite termination of all DNRs at end of current service term) Customer may reapply for service with new queue time

State Table for NITS Application 

and Request for Modification of Service
(* indicates final state)

	State
	TP Response Options
	TC Response Options

	PRESUBMITTED
	
	

	QUEUED
	RECEIVED
	WITHDRAWN*

	RECEIVED
	INVALID*

DEFICIENT

COMPLETED

STUDY

COUNTEROFFER

ACCEPTED

DECLINED
	WITHDRAWN*

	DEFICIENT
	INVALID*

DECLINED*

COMPLETED
	REEVALUATE

WITHDRAWN*

	REEVALUATE
	INVALID*

DEFICIENT

COMPLETED

STUDY

COUNTEROFFER

ACCEPTED

DECLINED*
	WITHDRAWN*

REEVALUATE

	COMPLETED
	REFUSED

DECLINED

STUDY

COUNTEROFFER

ACCEPTED
	WITHDRAWN*

	STUDY
	COUNTEROFFER

ACCEPTED

REFUSED

DECLINED*
	WITHDRAWN*

	COUNTEROFFER
	RETRACTED*
	WITHDRAWN*

CONFIRMED*

REBID

	REBID
	COUNTEROFFER

SUPERSEDED

ACCEPTED

DECLINED
	

	ACCEPTED
	RETRACTED*
	WITHDRAWN*

CONFIRMED*

REBID

	CONFIRMED*
	ANNULLED*

(may be used if customer fails to complete the Application process such as failing to participate in the service agreement phase of the Application process)
	


Note: The following changes in state definitions will be applicable to WEQ-003 and WEQ-013. May also need to change the title of the State Diagram in WEQ-013 to reflect that it is applicable to Point-to-Point only.
QUEUED – initial status assigned by TSIP on receipt of "customer services purchase request".

INVALID – assigned by TSIP or Transmission Provider indicating an invalid field in the request, such as improper POR, POD, source, sink, etc. or that the request does not meet minimum information or data requirements. (Final state). 

RECEIVED – assigned by Seller to acknowledge QUEUED requests and indicate the service request is being evaluated, including for completing the required ancillary services.

STUDY – assigned by Seller to indicate some level of study is required or being performed to evaluate service request.

REFUSED – assigned by Seller to indicate service request has been denied due to lack of availability of transfer capability. (Final state).

COUNTEROFFER – assigned by Seller to indicate that a new OFFER_PRICE and/or CAPACITY_GRANTED over time is being proposed in the negotiation of requested service (e.g., offering of partial service or negotiation of price).

REBID – assigned by Transmission Customer to indicate that a new BID_PRICE and/or CAPACITY_REQUESTED over time is being proposed. 

SUPERSEDED – assigned by Seller when a request which has not yet been confirmed is preempted by another reservation request. (Final state).

ACCEPTED – assigned by Seller to indicate the service request at the designated BID_PRICE and CAPACITY_REQUESTED has been approved/accepted. Depending upon the type of ancillary services required, the Seller may or may not require all ancillary service reservations to be completed before accepting a request.

DECLINED – assigned by the Seller to indicate that the terms and conditions, such as the BID_PRICE, are unacceptable and that negotiations are terminated or that contractual terms have not been met or the Transmission Customer has failed to respond to a deficiency within an established timeframe.  (Final state).

RETRACTED - assigned by Seller when the Transmission Customer fails to confirm or withdraw the request within the required time period. (Final state).

WITHDRAWN – assigned by the Transmission Customer during request evaluation to withdraw the request from any further action. (Final state).

CONFIRMED – assigned by the Transmission Customer in response to the Seller posting "ACCEPTED" status, to confirm service. (Final state, unless overridden by DISPLACED or ANNULLED state).

DISPLACED – assigned by Seller when a "CONFIRMED" reservation from a Transmission Customer is displaced by a higher priority reservation, and the Transmission Customer is not offered or has not exercised right of first refusal (i.e. refused to match terms of new request). (Final state).

ANNULLED – assigned by the Seller when, by mutual agreement with the Transmission Customer, a confirmed reservation is to be voided or assigned unilaterally by the Seller when a confirmed reservation is to be voided. (Final state).

DEFICIENT – assigned by Transmission Provider indicating a correctable deficiency in the NITS Application or request for modification of service, such as missing, incomplete, or inconsistent information. 

REEVALUATE – assigned by the Eligible Transmission Customer or Network Customer during the NITS Application or request for modification of service process indicating that deficiencies have been corrected and submitting the revised NITS Application or request for modification of service to the Transmission Provider for review.
COMPLETED – assigned by Transmission Provider to acknowledge receipt of a completed NITS Application or request for modification of service and to indicate the request is being evaluated, including for completing the required ancillary services.
PRESUBMITTED – assigned by OASIS prior to submission by the Network Customer, to be used while developing a NITS Application or a request for modification of service.

APPENDIX XXX

	  STATE
	PRESUBMITTED
	QUEUED
	RECEIVED
	DEFICIENT
	REEVALUATE
	COMPLETED
	STUDY
	COUNTER

-OFFER
	REBID
	ACCEPTED
	CONFIRMED

	Initial Application
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	N
	Y
	Y

	Designate Network Resource
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	Y

	Temporary Termination  of Network Resource (with redesignation of the same Network Resource)
	Y
	Y
	Y
	Y
	Y
	Y
	N
	N
	N
	Y
	Y

	Designate Network Load
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	Y
	N
	Y
	Y

	Indefinite Termination of Network Resource
	Y
	Y
	Y
	N
	N
	Y
	N
	N
	N
	Y
	Y

	Indefinite Termination Of Network Load
	Y
	Y
	Y
	N
	N


	Y
	N
	N
	N
	Y
	Y

	Request Network Scheduling Rights
	Y
	Y
	Y
	N
	N
	Y
	Y
	Y
	Y
	Y
	Y

	Temporary Termination Network Scheduling Rights
	Y
	Y
	Y
	N
	N
	Y
	N
	N
	N
	Y
	Y

	Indefinite Termination Network  Scheduling Rights
	Y
	Y
	Y
	N
	N
	Y
	N
	N
	N
	Y
	Y

	Request Secondary Network Resource
	Y
	Y
	Y
	N
	N
	Y
	N
	Y
	Y
	Y
	Y

	Terminate Secondary Network Resource
	Y
	Y
	Y
	N
	N
	Y
	N
	N
	N
	Y
	Y


� Termination of a Network Resource is also known as “Undesignation” of a Network Resource.





�Need to change terminology through out


�Replace with new NAESB term from James Culliton?


�Repeat throughout, except for NSR





9/23/10 done jtw





�Repeat throughout, except for NSR





9/23/10 done jtw


�Repeat throughout, except for NSR





9/23/10 done jtw





�Anywhere we use DECLINED, we need to add this paragraph as a sub-provision.





923/10 done jtw but may need to look at wording of other sections used wording of 103.3.1.1


�Anywhere we use DECLINED, we need to add this paragraph as a sub-provision.





923/10 done jtw but may need to look at wording of other sections used wording of 103.3.1.1


�Anywhere we use DECLINED, we need to add this paragraph as a sub-provision.





923/10 done jtw but may need to look at wording of other sections used wording of 103.3.1.1


�Anywhere we use DECLINED, we need to add this paragraph as a sub-provision.





923/10 done jtw but may need to look at wording of other sections


�See notes in final disposition sections of temporary and indefinite termination.


�Repeat throughout, except for NSR








9/23/10 done jtw


�Repeat throughout, except for NSR





9/23/10 done jtw


�Repeat throughout, except for NSR





9/23/10 done jtw





�Anywhere we use DECLINED, we need to add this paragraph as a sub-provision.





923/10 done jtw but may need to look at wording of other sections used wording of 103.3.1.1


�Anywhere we use DECLINED, we need to add this paragraph as a sub-provision.





923/10 done jtw but may need to look at wording of other sections used wording of 103.3.1.1


�923/10 done jtw but may need to look at wording of other sections used wording of 103.3.1.1





�JT to make all customer action and final disposition sections consistent with this one. 


�Repeat throughout, except for NSR


 9/23/10 done jtw


�Repeat throughout, except for NSR





9/23/10 done jtw





�Anywhere we use DECLINED, we need to add this paragraph as a sub-provision.





923/10 done jtw but may need to look at wording of other sections used wording of 103.3.1.1


�Anywhere we use DECLINED, we need to add this paragraph as a sub-provision.





923/10 done jtw but may need to look at wording of other sections used wording of 103.3.1.1


�9/23/10 done to make all customer action and final disposition sections consistent with section 001-105.2.13.1 





�Repeat throughout, except for NSR





9/23/10 done jtw


�9/23/10 done to make all customer action and final disposition sections consistent with section 001-105.2.13.1 





�9/23/10 done to make all customer action and final disposition sections consistent with section 001-105.2.13.2.1


�Consensus decision is that this section is not needed and that a “short and sweet” approach similar to the NSR approach described below will be taken in revisions to this section. 


�9/29/10


During discussion, it was the goup’s consensus that only the following informations shall be included on the template for new load:  customer name; customer idetifying information; seller code; seller DUNS; sink identification; start time; customer comment field; seller comment field.


�Usually the Network Customer has advanced notice of a New Network Load such that it can be accounted for in the next update to the required Load Forecast. Why can’t this New Network Load be addressed through the Load Forecast update rather than this process?  Also, if a Network Customer submits a New Network Load in a given year, will it continue to be a New Network Load OR would it be incorporated in a future year(s) projected load forecast? We may want to address these items in the requirements above given this is a new concept for Network Customers.


�Agreed upon revisions  (08/04/2010) for NSR are as below:





Straw Vote on whether to have a template – passed.





Per a straw vote, Option 1 is the OS preferred subcommittee option.  Option 1 is as follows:  





Short and sweet – 5 votes


A short WEQ-001 wording


A detailed WEQ-002, WEQ-003, WEQ-013





More detailed explanation of Option 1:





Re-wording 001-105.7.1 through 001-105.7.3.  Delete from 001- 105.7.4.3 down through 001-105.10.





�9/29/10:  We need language that requires the NSR and DNR requests to be submitted together. (timing issue)





Also need to dcide the location of this paragraph and review what we have put in the Informal Comments document and the parking lot to address Duke co


�Repeat throughout, except for NSR


 9/23/10 done jtw if we use for secondary sections


�Anywhere we use DECLINED, we need to add this paragraph as a sub-provision.





923/10 done jtw but may need to look at wording of other sections used wording of 103.3.1.1


�9/23/10 done to make all customer action and final disposition sections consistent with section 001-105.2.13 if we use this secondary sections


�Repeat throughout, except for NSR





9/23/10 done jtw if we use for the secondary sections


�9/23/10 done to make all customer action and final disposition sections consistent with section 001-105.2.13.1 





�9/23/10 done to make all customer action and final disposition sections consistent with section 001-105.2.13.2.1


�9/23/10 done to make all customer action and final disposition sections consistent with section 001-105.2.13.1 





�9/23/10 done to make all customer action and final disposition sections consistent with section 001-105.2.13.2.1






Page 29 of 43
9-29-2010


