[image: image1.wmf] 


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant: WEQ

                            
Requesters:
OASIS Subcommittee                                     Request No.: 
2009 AP Item 2(a)(i)(1-8), 2009 AP Item 3(b)(i)(1), and 2009 AP Item 3(a)(i)
                                     
Request Title:
Network Service on OASIS 

1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

  X   Accept as requested


  X Change to Existing Practice

      Accept as modified below


      Status Quo

      Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:




Per Recommendation:
      Initiation




      Initiation 

  X  Modification




 X   Modification

      Interpretation



      Interpretation

      Withdrawal




      Withdrawal

      Principle 




      Principle 

      Definition 




      Definition 

  X  Business Practice Standard 


  X  Business Practice Standard 

      Document 




      Document 

      Data Element 



      Data Element

      Code Value 




      Code Value 

      X12 Implementation Guide


     X12 Implementation Guide

      Business Process Documentation

      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:


The Commission issued Orders 890, 890-A and 890-B directing Transmission Providers to develop through NAESB, Business Practice Standards including OASIS functionality related to Network Integration Transission Service (NITS).

Recommended Standards:
The following modifications to WEQ-001 Definitions, New Section WEQ-001-n, new section WEQ-002-n, new section WEQ-003 and new section WEQ-013-n. are recommended to implement the Commission’s findings in Orders 890, 890-A, 890-B and 890-C.

Additions and corrections to WEQ-001 Definitions; enumeration to be established by NAESB staff at time of ratification:
Changes to WEQ-000-0.0

May need to Redefine or new define:

Assignee

Reseller

Transfer

Unexercised Rollover Rights

Additions to WEQ-000-0.0

001-0.nn
May need to Define:
· Network Integration Transmission Service(NITS) Application – 

· Network Integration Transmission Service Agreement (NITSA) – 

· Designated Network Resource (DNR) – Any designated generating resource owned, purchased or leased by a Network Customer under the Network Integration Transmission Service Tariff.   Network Resources do not include any resource, or any portion thereof, that is committed for sale to third parties or otherwise cannot be called upon to meet the Network Customer's Network Load on a non-interruptible basis, except for purposes of fulfilling obligations under a reserve sharing program.
· Designated Network Load (DNL) – The load that a Network Customer designates for Network Integration Transmission Service under Part III of the Tariff.  The Network Customer's Network Load shall include all load served by the output of any Network Resources designated by the Network Customer.  A Network Customer may elect to designate less than its total load as Network Load but may not designate only part of the load at a discrete Point of Delivery.  Where a Eligible Customer has elected not to designate a particular load at discrete points of delivery as Network Load, the Eligible Customer is responsible for making separate arrangements under Part II of the Tariff for any Point-To-Point Transmission Service that may be necessary for such non-designated load.
· Transmission Capacity Allocation (TCA) – 
· Scheduling Forecast

· Annual Load and Resource Update

· NITS Transaction/ NITS Batch Submittal (a NITS Batch Submittal may contain a single NITS Request)

· NITS Request – each piece of a Batch Submittal or Transaction (for each Request a different reference number may need to be generated)

· Temporary termination of a DNR

· Permanent termination of a DNR
· Network Customer - An entity receiving transmission service pursuant to the terms of the Transmission Provider's Network Integration Transmission Service under Part III of the Tariff.
· Others?

Changes to WEQ-001-1.0












Will address in a NITS specific section






























Will address “aggregation”, “disaggregation” and transfers in a NITS specific section.









Will address rollover/renewal in a NITS specific section
Additions to WEQ-001

001-xx
Negotiations for Network Integration Transmission Service Application (NITS Application)
The following practices are defined in order to enhance consistency of the application process across OASIS Phase IA nodes.

001-xx.1
A Transmission Provider/Seller shall respond to a Network Customer’s network integration transmission service application request, consistent with filed tariffs, within the Provider Response Time Limit defined in Table 4-x Agreement Timing Requirements.  The time limit is measured from the time the OASIS Transmission application request is SUBMITTED.  A Transmission Provider may respond by setting the state of the reservation request to one of the following:

    I.
RECEIVED
    II.
EVALUATE (leading to DENIED or EXECUTED)
    III.
DEFICIENT (leading to DENIED or EXECUTED)
    IV.
DENIED
    V.
EXECUTED
001-xx.2
Prior to setting a request to DEFICIENT or DENIED a Transmission Provider shall evaluate the appropriate resources and ascertain that the requested application is (or is not) appropriate.
001-xx.2.1
If the Transmission Provider determines there is insufficient information available to grant the Network Customer’s request, and there is no obligation to provide deficiency, the Transmission Provider may respond by setting the request status to DENIED.
001-xx.2.1
If the Transmission Provider determines there is insufficient credit or deposit information, the Transmission Provider may respond by setting the request status to DENIED.
001-xx.3
If the Transmission Provider determines there is sufficient information available to grant the Network Customer’s request, the Transmission Provider shall respond by setting the request status to EVALUATE.
001-xx.3.1
If the Transmission Provider determines there is incorrect information in the Network Customer’s request , the Transmission Provider shall respond by setting the request status to DEFICIENT.
001-xx.3.2
If the Transmission Provider determines there is sufficient information available to grant the Network Customer’s request, the Transmission Provider shall respond by setting the request status to EXECUTED.
001-xx.4
The Transmission Provider shall use the status of DEFICIENT to initiate the negotiation correcting information.
001-xx.4.1
If the Network Customer is attempting to correct information and has not done so in a reasonable time period  , and the Transmission Provider elects to not continue on with the deficiency, the Transmission Provider shall notify the customer by setting the request status to DENIED.
001-xx.5
The Network Customer may change a request from SUBMITTED, RECEIVED, EVALUTE, DEFICIENT, or REEVALUATE to REMOVE at any time prior to EXECUTED.
001-xx.5.1
From DEFICIENT, a Network Customer may change the status to REMOVE or REEVALUATE.  The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 4-x Application Request Timing Requirements to change the state of the request to REEVALUATE.  The Customer Confirmation Time Limit is measured from the first time the request is moved to DEFICIENT, and is not reset with subsequent iterations of negotiation.
001-xx.6
After expiration of the Customer Confirmation Time Limit, specified in Table 4-x Application Request Timing Requirements, the Transmission Provider has a right to move the request to the DENIED state.
001-xx.7
The following timing requirements shall apply to all Network Integration Transmission Service Application requests:

Table 4-x
APPlication REQUEST Timing Requirements
	Application
	Status
	Provider Evaluation Time Limit1
	Customer Confirmation Time Limit2

	NITS Application
	SUBMITTED
	15 days
	

	NITS Application
	DEFICIENT
	
	15 days


Notes for Table 4-x:
1
Consistent with regulations and filed tariffs, measurement starts at the time the request is SUBMITTED.
2
Consistent with regulations and filed tariffs, measurement starts at the time the request is DEFICIENT.
001-xx(1) 
Negotiations for Transmission Capacity Allocations (TCA), Designation of Network Resources (DNR), and Designation of Network Load (DNL)
The following practices are defined in order to enhance consistency of the transmission capacity allocation reservation process across OASIS Phase IA nodes.

001-xx(1).1
A Transmission Provider/Seller shall respond to a Network Customer’s service request, consistent with filed tariffs, within the Provider Response Time Limit defined in Table 4-x Service Request Timing Requirements.  The time limit is measured from the time the OASIS TCA, DNR, or DNL request is QUEUED.  A Transmission Provider may respond by setting the state of the reservation request to one of the following:

    I.
INVALID

    II.
DECLINED

    III.
REFUSED

    IV.
COUNTEROFFER

    V.
ACCEPTED

    VI.
RECEIVED or STUDY (leading to REFUSED, COUNTEROFFER, or ACCEPTED).
001-xx(1).2
Prior to setting a request to ACCEPTED, COUNTEROFFER, or REFUSED a Transmission Provider shall evaluate the appropriate resources and/or ascertain that the requested transfer capability is (or is not) available.
001-xx(1).2.1
If the Transmission Provider determines there is insufficient transfer capability available to grant the Network Customer’s request or the appropriate resources and there is no obligation to provide Partial Service (or Partial Service is also not available in cases where the Transmission Provider is obligated to provide Partial Service), the Transmission Provider may respond by setting the request status to REFUSED.
001-xx(1).3
If the Transmission Provider determines there is sufficient transfer capability available or the appropriate resources are valid to grant the Network Customer’s request and all other Transmission Provider requirements have been met, the Transmission Provider shall respond by setting the request status to ACCEPTED.
001-xx(1).4
The Transmission Provider shall use the status of COUNTEROFFER to initiate the negotiation of requested capacity (Partial Service) or resource
001-xx(1).4.1
The Transmission Provider is not required to provide short-term Partial Service in response to a Long-Term request.
001-xx(1).4.2
If the available transfer capability can support only a portion of the total capacity requested by the Network Customer and the Transmission Provider is obligated or elects to offer what limited capability is available to the customer, the Transmission Provider shall notify the Network Customer on OASIS by setting the amount of capacity being offered over time in the transmission request and updating the request status to COUNTEROFFER.
001-xx(1).4.3
If the available resource can support a portion of the resource requested by the Network Customer and the Transmission Provider is obligated or elects to offer what limited resource is available to the customer, the Transmission Provider shall notify the Network Customer on OASIS by setting the amount of resource being offered over time in the request and updating the request status to COUNTEROFFER.
001-xx(1).5
Consistent with the requirements in Standard WEQ-013-x, Transmission Providers are required to post a reason for certain STATUS changes.
001-xx(1).6
The Network Customer may change a request from QUEUED, RECEIVED, STUDY, COUNTEROFFER, REBID, or ACCEPTED to WITHDRAWN at any time prior to CONFIRMED.
001-xx(1).7
From ACCEPTED or COUNTEROFFER, a Network Customer may change the status to CONFIRMED, REBID or WITHDRAWN.  The Network Customer has the amount of time designated as Customer Confirmation Time Limit in Table 4-x Service Request Timing Requirements to change the state of the request to CONFIRMED.  The Customer Confirmation Time Limit is measured from the first time the request is moved to ACCEPTED or COUNTEROFFER, and is not reset with subsequent iterations of negotiation.
001-xx(1).7.1
The Network Customer shall use the request status of REBID to initiate or continue the negotiation of capacity.
001-xx(1).7.2
The Network Customer may negotiate for a lower amount of transmission capacity allocation by updating the capacity requested over time and changing the request status from ACCEPTED or COUNTEROFFER to REBID.  For example, the Network Customer may choose to coordinate the level of transmission capacity allocation across multiple Transmission Providers or other such purposes.  Negotiation for a higher amount of transmission capacity allocation shall not be allowed. A Network Customer seeking additional transmission capacity allocation must submit a new request which will be assigned a new queue position.
001-xx(1).7.3
The Network Customer shall positively acknowledge and agree to the transmission capacity allocation over time by setting the requested transmission capacity allocation equal to the Transmission Provider’s granted capacity prior to confirmation of the transmission capacity allocation request.
001-xx(1).8
After expiration of the Customer Confirmation Time Limit, specified in Table 4-x Service Request Timing Requirements, the Transmission Provider has a right to move the request to the RETRACTED state.
001-xx(1).9
Should the Network Customer elect to initiate or continue the negotiation of capacity by moving a transmission service request to REBID, the Transmission Provider shall respond by taking the request to a SUPERSEDED, ACCEPTED, or COUNTEROFFER state within the Transmission Provider Counter Time Limit, specified in Table 4-x Service Request Timing Requirements.  The Transmission Provider response time is measured from the most recent REBID time.
001-xx(1).9.1
The Transmission Provider shall positively acknowledge and agree to the transmission capacity allocation over time by setting the granted capacity equal to the Network Customer’s bid requested transmission capacity allocation prior to acceptance of the transmission capacity allocation request.
001-xx(1).10
The following timing requirements shall apply to all TCA, DNR, and DNL requests:

Table 4-x
service REQUEST Timing Requirements
	Class  name will probably change
	Duration Of the TCA, DNR, DNL not of the NITSA
	Time Queued Prior to Start

(When the request is queued within this timeframe the following evaluation and confirmation time limits apply)
	Provider Evaluation Time Limit1
	Customer Confirmation Time Limit2 After ACCEPTED or COUNTEROFFER3
	Provider Counter Time Limit after REBID4

	Secondary Network/nondesignated resource/ non-firm network service/non-firm
	Hourly
Daily

Weekly

Monthly
	< 1 hour

> 1hour

Day ahead

N/A

N/A

N/A
	Best effort

30 minutes

30 minutes

30 minutes

4 hours

2 days5
	5 minutes

5 minutes

30 minutes

2 hours

24 hours

24 hours
	5 minutes

5 minutes

10 minutes

10 minutes

4 hours

4 hours

	Designation of new network resource/firm
	Daily

Weekly

Monthly
Yearly
	<24 hours
N/A

N/A

N/A

60 days7

	Best effort

30 days6
30 days6
30 days6
30 days6
	2 hours

24 hours

48 hours

4 days

15 days
	30 minutes

4 hours

4 hours

4 hours

4 hours


Notes for Table 4-x:
1
Consistent with regulations and filed tariffs, measurement starts at the time the request is QUEUED.

2
Confirmation time limits are not to be interpreted to extend scheduling deadlines or to override pre-exemption deadlines.

3
Measurement starts at the time the request is first moved to either ACCEPTED or COUNTEROFFER.  The time limit does not reset on subsequent changes of state.

4
Measurement starts at the time the Network Customer changes the state to REBID.  The measurement resets each time the request is changed to REBID.

5
Days are defined as calendar days.

6
Subject to expedited time requirements of Section 17.1 of the pro forma tariff.  Transmission Providers shall make best efforts to respond within 72 hours, or prior to the scheduling deadline, whichever is earlier, to a request
for Daily Firm Service received during period 2-30 days ahead of the service start time.

7
Subject to Section 17.1 of the pro forma tariff, whenever feasible and on a nondiscriminatory basis, Transmission Providers should accommodate requests made with less than 60 days notice.
001-xx(1).11
For a request or reservation that is SUPERSEDED or DISPLACED, the Transmission Provider must indicate the Reference Number of the competing request and the reason for denial of service in the SELLER_COMMENTS field.
001-xx(1).12
Given competing requests for a constrained resource when a right-of-first-refusal is not required to be offered, the Transmission Provider may immediately move requests in the CONFIRMED state to DISPLACED, or from any pending (not confirmed) state to SUPERSEDED, if the competing request is of higher priority, based on the rules represented in Table 4-3.  These state changes require dynamic notification to the Network Customer if the Network Customer has requested dynamic notification on OASIS.
001-xx(2)
Business Practice Requirements for Network Integration Transmission Service Application (NITS Application)

001- xx(2).1 
Requirements Dealing with the NITS Application 

001- xx(2).1.1 
An Eligible Customer shall submit the NITS Application on OASIS. 

001- xx(2).1.2
The Transmission Provider shall provide the capability on OASIS for the customer to enter, add, and revise information related to the NITS Application over an extended period of time prior to submittal to the Transmission Provider for consideration.. 

001- xx(2).1.3
Transmission Providers may view any information on pending (before submittal) NITS Applications if such information has been entered and stored on the Transmission Provider’s OASIS. 

001- xx(2).1.4
An Eligibile Customer may, as an alternative to entering the information directly on OASIS, complete the application off OASIS and upload the NITS  Application to OASIS.

001- xx(2).1.5
OASIS shall have upload functionality associated with NITS Applications.

001- xx(2).1.6
Any required information, including deposits, which can not be supplied electronically through OASIS will be promptly mailed to the Transmission Provider.

001- xx(2).1.7
The Transmission Provider shall specify the minimum amount of information required prior to submittal of a NITS Application.

001- xx(2).1.8
Queue time is the time the NITS Application is submitted on OASIS (not the time the Eligible Customer begins entering information into an a NITS Application).

001- xx(2).1.9
The Transmission Provider shall have 15 days from the date of submittal of the NITS Application to notify the Eligible Customer of all deficiencies in the NITS Application. 

001- xx(2).1.10
The Eligible Customer shall have 15 days from the date of notification by the Transmission Provider to remedy that deficiency.

001- xx(2).1.11
If the deficiency is not remedied by the deadline, the NITS Application shall be deemed invalid.
001- xx(2).1.12
The Transmission Provider shall specify the amount of information required for an executed NITS Application.
001- xx(2).1.13
The Eligible Customer shall include a signed statement attesting that all of the DNR’s in the NITS application satisfies the required conditions.
001- xx(2).1.14
The application shall include a statement that the party requesting service is, or will be upon commencement of service, an Eligible Customer.
001- xx(2).1.15
The Network Customer may enter in information for DNR’s, DNL’s, and TCA’s during the NITS application process.
001- xx(2).1.16
The Transmission Provider may post a business practice specifying the circumstances under which the Transmission Provider will input information into OASIS for the benefit of a Network Customer. 
NOTE: OASIS will have a data element to record Executed Application date – NAESB will not define what this time is the OATT defines, the significance of this time is that it starts the 30 day clock for the transmission provider to offer the customer a system impact study agreement (section 32.1 of the pro forma OATT)
001- xx(2).2
Requirements for Dealing with Modifications to the NITS Application:
001- xx(2).2.1
General Requirements
Draft, but not finalized and may be superceded in response to note below:
001- xx(2).2.1.1
The Network Customer shall have the right to request modifications to the NITS Application for a TCA, DNR, DNL, Generation, Load Projection, Customer Information, and Agent Information on OASIS.
001- xx(2).2.1.2
A request to modify shall be submitted to the Transmission Provider on OASIS.
001- xx(2).2.1.3
A request to modify for TCA, DNR, and DNL shall be queued and evaluated in the same manner as any other network request, subject to the other requirements of this standard

001- xx(2).2.1.4
No additional deposit shall be required for a request to modify.

001- xx(2).2.1.5
A request to modify must be submitted, and is subject to all request timing requirements consistent with requests for Network of similar duration and type.
001- xx(2).2.1.6
The Transmission Provider may post a business practice specifying the circumstances under which the Transmission Provider will input information into OASIS for the benefit of a Network Customer.
Note:  The Transmission Provider will be responsible for posting sufficient data to document ATC/ETC calculations.  This may include specific ETC set asides for load growth which are not captured in specific DNRs, but are reflected in load forecasts.  This section may belong in standard WEQ-001-19, 20 – Version 002 in that area addressing the ATC calculation methodology.

Can/should the customer have the ability to include ancillary service request(s)?
Need transition – TP needs to create the TSNs for existing NITS agreements and maybe own load.
001-xx(2).2.2
Requirements for Dealing with Modifications to the NITS Application for Designated Network Resource:
001-xx(2).2.2.1
Designation (addition) of New Designation Network Resource
001-xx(2).2.2.1.1
A request to add a new Designated Network Resource shall be submitted to the primary Transmission Provider with a request type of ORIGINALDNR.
001-xx(2).2.2.1.2
The Transmission Provider will evaluate the request consistent with the Transmission Provider’s business practice(s) and OATT.
001-xx(2).2.2.1.3
If the Transmission Provider determines that only a portion of the requested Designated Network Resource can be accomodated, the Transmission Provider shall extend to the Network Customer that portion of the resource that can be accommodated through a COUNTEROFFER.
001-xx(2).2.2.1.4
Upon confirmation of the new DNR request, the DNR will be included under the NITS Application.
001-xx(2).2.2.1.5
For off-system Network Customer-owned generation, the Network Customer should use the TSIN-registered source name if available. If not available, The Network Customer should use a Transmission Provider-approved (the Transmission Provider providing this network service) name which could later be modified to reflect the TSIN-registered name (after the initial submission, but prior to confirmation of the DNR).
001-xx(2).2.2.1.5.1
For off-system Network Customer-owned generation, electrical location will be identified by the balancing authority area where the generation is electrically located and geographical location will be identified by the county and state.
001-xx(2).2.2.1.6
For on-system Network Customer-owned generation, the Network Customer should use the TSIN-registered source name if available. If not available, The Network Customer should use a Transmission Provider-approved (the Transmission Provider providing this network service) name which could later be modified to reflect the TSIN-registered name (after the initial submission, but prior to confirmation of the DNR).
001-xx(2).2.2.1.6.1
For on-system Network Customer-owned generation, electrical location will be identified by the balancing authority area where the generation is electrically located and geographical location will be identified by the county and state.
001-xx(2).2.2.1.7
For off-system purchased power, electrical location is the point of receipt (on the network Transmission Provider’s system) and geographical is “not applicable”. 
001-xx(2).2.2.1.8
For on-system purchased power, electrical location is the point of receipt (on the network Transmission Provider’s system) and geographical is “not applicable”.
001-xx(2).2.2.2
Undesignation (termination) of Designated Network Resource
001-xx(2).2.2.2.1
The Transmission Provider will evaluate the request consistent with the Transmission Provider’s business practice(s) and OATT.
001-xx(2).2.2.2.2
The Transmission Provider must accommodate all requests for termination of DNR’s.
001-xx(2).2.2.2.3
A request to temporarly terminate a Designated Network Resource shall be submitted to the primary Transmission Provider with a request type of TERMINATEDNR.
001-xx(2).2.2.2.3.1
Submittal of a Temporary Termination of a DNR constitutes a re-Designation of the specified Network Resource by the Network Customer. By submitting a Temporary Termination of a DNR the Network Customer incorporates by reference the previously submitted information regarding the specified DNR and attests that at the Stop Time of the Termination the Network Resource satisfies the following conditions
001-xx(2).2.2.2.3.1.1
The Network Customer owns the resource, has committed to purchase generation pursuant to an executed contract, or has  committed to purchase generation where execution of a contract is contingent upon the availability of transmission service under Part III of the OATT; and
001-xx(2).2.2.2.3.1.2
The Network Resources does not include any resources, or any portion thereof, that is committed for sale to non-designated third party load or otherwise cannot be called upon to meet the Network Customer’s Network Load on a non-interruptible basis, except for purposes of fulfilling obligations under a reservce sharing program.
001-xx(2).2.2.2.3.2
The Network Customer shall have the right to request a partial temporary termination of a Designated Network Resource
001-xx(2).2.2.2.4
A request to permanently terminate a Designated Network Resource shall be submitted to the primary Transmission Provider with a request type of ELIMINATEDNR.
001-xx(2).2.2.2.4.1
Once a permanent termination has been confirmed the Network Customer must request a Designation (addition) of New Network Resource WEQ-001-xx(2).2.4.1 to add the DNR back into the list of available DNR’s.
001-xx(2).2.2.2.4.2
Once a permanent termination has been confirmed the Tranmission Provider will not be responsible for notification that the DNR has been eliminated.
001-xx(2).2.2.2.5
A request to update certain information of a Designation Network Resource shall be submitted to the primary Transmission Provider with a request type of UPDATEDNR.
001-xx(2).2.3
Requirements for Dealing with Modifications to the NITS Application for Designated Network Load:
001-xx(2).2.3.1
Designation (addition) of New Designation Network Load
001-xx(2).2.3.1.1
A request to add a new Designated Network Load shall be submitted to the primary Transmission Provider with a request type of ORIGINALDNL.
001-xx(2).2.3.1.2
The Transmission Provider will evaluate the request consistent with the Transmission Provider’s business practice(s) and OATT.
001-xx(2).2.3.1.3
If the additional load can be aggregated under an existing DNL assigned under the NITS Application, the Transmission Provider shall input the name of such DNL in the the SELLER_COMMENTS field and will deny the new DNL request.
001-xx(2).2.3.1.4
The Network Customer should update the Scheduling Forecast to reflect the additional load at that DNL.
001-xx(2).2.3.1.5
If the additional load can not be aggregated under an existing DNL assigned under the NITS Application, the Transmission Provider shall assign a unique DNL reference number, update the new DNL request with that name and register the new name with TSIN.
001-xx(2).2.3.1.6
Upon confirmation of the new DNL request, the DNL will be included under the NITS Application.
001-xx(2).2.3.2
Undesignation (termination) of Designated Network Load
001-xx(2).2.3.2.1
The Transmission Provider will evaluate the request consistent with the Transmission Provider’s business practice(s) and OATT.
001-xx(2).2.3.2.2
The Transmission Provider must accommodate all requests for termination of DNL’s.

001-xx(2).2.3.2.3
A request to temporarly terminate a Designated Network Load shall be submitted to the primary Transmission Provider with a request type of TERMINATEDNL.
001-xx(2).2.3.2.3.1
The Network Customer shall have the right to request a partial temporary termination of a Designated Network Load

001-xx(2).2.3.2.4
A request to permanently terminate a Designated Network Load shall be submitted to the primary Transmission Provider with a request type of ELIMINATEDNL.
001-xx(2).2.3.2.4.1
Once a permanent termination has been confirmed the Network Customer must request a Designation (addition) of New Network Load WEQ-001-xx(2).2.5.1 to add the DNL back into the list of available DNL’s.
001-xx(2).2.3.2.5
A request to update certain information of a Designation Network Load shall be submitted to the primary Transmission Provider with a request type of UPDATEDNL.
001-xx(2).2.4
Requirements for Dealing with Modifications to the NITS Application for Transmission Capacity Allocation:
001-xx(2).2.4.1
A request to add a new Transmission Capacity Allocation shall be submitted to the primary Transmission Provider with a request type of ORIGINALTCA.

001-xx(2).2.4.2
The Transmission Provider will evaluate the request consistent with the Transmission Provider’s business practice(s) and OATT.
001-xx(2).2.4.3
If the Transmission Provider determines that only a portion of the requested Transmission Capacity Allocation can be accomodated, the Transmission Provider shall extend to the Network Customer that portion of the resource that can be accommodated through a COUNTEROFFER.
001-xx(2).2.4.4
Upon confirmation of the new TCA request, the TCA will be included under the NITS Application.
001-xx(2).2.5
Requirements for Dealing with Modifications to the NITS Application for Generation Information:
001-xx(2).2.5.1
A request to add new Generation Information shall be submitted to the primary Transmission Provider with a request type of ORIGINALGEN.
001-xx(2).2.5.2
A request to modify Generation Information shall be submitted to the primary Transmission Provider with a request type of UPDATEGEN.
001-xx(2).2.5.3
A request to permanently terminate Generation Information shall be submitted to the primary Transmission Provider with a request type of ELIMINATEGEN.
001-xx(2).2.6
Requirements for Dealing with Modifications to the NITS Application for Transmisson Customer System Information:
001-xx(2).2.6.1
A request to add new Network Customer System Information shall be submitted to the primary Transmission Provider with a request type of ORIGINALTCSI.
001-xx(2).2.6.2
A request to modify Network Customer System Information shall be submitted to the primary Transmission Provider with a request type of UPDATETCSI.
001-xx(2).2.6.3
A request to permanently terminate Network Customer System Information shall be submitted to the primary Transmission Provider with a request type of ELIMINATETCSI.
001-xx(2).2.7
Requirements for Dealing with Modifications to the NITS Application for Transmisson Customer Description:
001-xx(2).2.7.1
A request to modify Network Customer Description shall be submitted to the primary Transmission Provider with a request type of UPDATETCD.
001-xx(2).2.7.2
A request to transfer Network Customer Description from one Network Customer to another shall be submitted to the primary Transmission Provider with a request type of TRANSFERTCD.
001-xx(2).2.8
Requirements for Dealing with Modifications to the NITS Application for Agent Description:
001-xx(2).2.8.1
A request to add new Agent Description shall be submitted to the primary Transmission Provider with a request type of ORIGINALAD.
001-xx(2).2.8.2
A request to modify Agent Description shall be submitted to the primary Transmission Provider with a request type of UPDATEAD.
001-xx(2).2.9
Requirements for Dealing with Requests to Deliver Energy to Network Loads from Non-designated Resources:
001-xx(2).3
NITS Transactions/Batch Submittals

Any Network Customer shall have the right to request simultaneous evaluations for modifications or NITS transactions which are dependant upon each other.
Note:  All of Section n.3 and its subsections to be discussed after determination of technical specifications.  

001-xx(2).3.1
The Network Customer shall be allowed to request batch submittals from a single customer to a single transmission provider for requests which are dependant upon each other.

001-xx(2).3.2
The Transmission Provider must process the request as a single group with the same queue time.

001-xx(2).3.2.1
Failure of any single request piece fails all batched requests in the batch submittal.

001-xx(2).3.2.2
If the request for batch submittal is denied for any reason, all rights and obligations shall remain per the orginal individual pieces.
001-xx(2).3.3
To be considered a batch submittal the requests which are dependent upon each other must be submitted at the same time and require that the flag be set to so indicate that the requests are to be processed together.

001-xx(2).3.3.1
Any requests not submitted at the same time with the flag set will be considered two separate requests and will be processed accordingly.
001-xx(2).3.4
Counteroffers for batch submittals will be handled in accordance with the Transmission Provider’s business practices.
















































· 
· 
· 
· 






· 
· 
· 
· 






	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	
	

	
	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	








1. 















2. 


































Will address WEQ-002, 003 and 013 after get closer to consensus on the totality of WEQ-001.
4.  SUPPORTING DOCUMENTATION
a.  Description of Request:
WEQ 2008 AP

	2
	Develop business practice standards in support of the FERC RM05-25-000 and RM05-17-000 (OATT Reform)

	
	a)
	Develop version 2 business practice standards to better coordinate the use of the transmission system among neighboring transmission providers.  Such business practice standards would be based on recommendations from NERC's Long Term ATC/AFC Task Force and would involve revised procedures for the ATC calculation and/or revised protocols as determined by the final order.

Status: Underway using joint standards development process with NERC.  Request R050004 was expanded to include the Order No. 890 (Docket Nos. RM05-25-000 and RM05-17-000) and Order No. 890-A (Docket Nos. RM05-17-001, 002 and RM05-25-001, 002), “Preventing Undue Discrimination and Preference in Transmission Services”, issued April 11, 2007).

	
	
	iii)
	Group 3: Network Service On OASIS

	
	
	
	1. Use of OASIS to Make Electronic Requests to Designate and Terminate  Network Resource

Status:  Underway.
	  1st Q, 2009
	ESS/ITS

	
	
	
	2. Ability to Query Requests to Designate and Terminate Network Resources and Allow for Queries of All Information Provided with Designation Requests

Status:  Underway.
	 1st Q, 2009
	ESS/ITS

	
	
	
	3. Masking of Designated Network Resource Operating Restrictions and Generating Cost Information

Status:  Underway.
	 1st Q, 2009
	ESS/ITS

	
	
	
	4. Procedural Requirements for Submitting Designations over new OASIS Functionality

Status:  Underway.
	 1st Q, 2009
	ESS/ITS

	
	
	
	5. Specify How Designated Network Service Informational Postings are Posted on OASIS

Status:  Underway.
	 1st Q, 2009
	ESS/ITS

	
	
	
	6. Set Forth the Treatment of OASIS Requests when the Customer Fails to Provide the Necessary Attestation

Status:  Underway.
	 1st Q, 2009
	ESS/ITS

	
	
	
	7. Procedural Requirements for Submitting Both Temporary and Indefinite Terminations of Network Resources

Status:  Underway.
	 1st Q, 2009
	ESS/ITS

	
	
	
	8. Procedures for Submitting and Processing Requests for Concomitant Evaluations of Transmission Requests and Temporary Terminations

Status:  Underway.
	 1st Q, 2009
	ESS/ITS

	
	b)
	Develop the needed business practices as companion to the NERC standards for ATC related efforts.

	
	
	i)
	Develop standards to support existing Request No. R05004.

Status:  Underway.
	4th Q, 2008
	BPS, ESS/ITS

	
	
	
	1.    The  processing of transmission service requests, which use  TTC/ATC/AFC, in coordination with NERC changes to MOD 001 where the allocation of flowgate capability based on historical Network Native Load impacts the evaluation of transmission service requests, requiring the posting of those allocation values in conjunction with queries of service offerings on OASIS

Status: Not Started
	4th Q, 2008
	ESS/ITS

	3
	Develop business practices standards to improve the current operation of the wholesale electric market and develop and maintain business practice and communication standards for OASIS and Electronic Scheduling

	
	a)
	Develop and/or maintain business practice standards as needed for OASIS and electronic scheduling. Specific items to address include:

	
	
	ii)
	Network Services: Determine and develop needed business practice standards or other support is needed to support use of OASIS for Network Service transactions (R04006E). (Related to AP 2(a)(iii))

Status: Underway.
	2nd Q, 2008
	ESS/ITS


WEQ 2009 AP

	2
	Develop business practice standards in support of the FERC RM05-25-000 and RM05-17-000 (OATT Reform)

	
	a)
	Develop version 2 business practice standards to better coordinate the use of the transmission system among neighboring transmission providers.  Such business practice standards would be based on recommendations from NERC's Long Term ATC/AFC Task Force and would involve revised procedures for the ATC calculation and/or revised protocols as determined by the final order.

Status: Underway

Development is using joint standards development process with NERC.  Request R050004 was expanded to include the Order No. 890 (Docket Nos. RM05-25-000 and RM05-17-000) and Order No. 890-A (Docket Nos. RM05-17-001, 002 and RM05-25-001, 002), “Preventing Undue Discrimination and Preference in Transmission Services,” issued April 11, 2007).

	
	
	i)
	Group 3: Network Service On OASIS

	
	
	
	1. Use of OASIS to Make Electronic Requests to Designate and Terminate  Network Resource

Status:  Underway
	4th Q, 2009
	OASIS

	
	
	
	2. Ability to Query Requests to Designate and Terminate Network Resources and Allow for Queries of All Information Provided with Designation Requests

Status:  Underway
	4th Q, 2009
	OASIS

	
	
	
	3. Masking of Designated Network Resource Operating Restrictions and Generating Cost Information

Status:  Underway
	4th  Q, 2009
	OASIS

	
	
	
	4. Procedural Requirements for Submitting Designations over new OASIS Functionality

Status:  Underway
	4th  Q, 2009
	OASIS

	
	
	
	5. Specify How Designated Network Service Informational Postings are Posted on OASIS

Status:  Underway
	4th  Q, 2009
	OASIS

	
	
	
	6. Develop standards for the treatment of OASIS Requests when the Customer Fails to Provide the Necessary Attestation

Status:  Underway
	4th  Q, 2009
	OASIS

	
	
	
	7. Procedural Requirements for Submitting Both Temporary and Indefinite Terminations of Network Resources

Status:  Underway
	4th  Q, 2009
	OASIS

	
	
	
	8. Procedures for Submitting and Processing Requests for Concomitant Evaluations of Transmission Requests and Temporary Terminations

Status:  Underway
	4th  Q, 2009
	OASIS

	
	b)
	Develop the needed business practices as companion to the NERC standards for ATC related efforts

	
	
	i)
	Develop standards to support existing Request No. R05004.
	
	

	
	
	
	1.    The  processing of transmission service requests, which use  TTC/ATC/AFC, in coordination with NERC changes to MOD 001 where the allocation of flowgate capability based on historical Network Native Load impacts the evaluation of transmission service requests, requiring the posting of those allocation values in conjunction with queries of service offerings on OASIS

Status:  Underway
	4th Q, 2009
	OASIS

	3
	Develop business practices standards to improve the current operation of the wholesale electric market and develop and maintain business practice and communication standards for OASIS and Electronic Scheduling

	
	a)
	Develop and/or maintain business practice standards as needed for OASIS and electronic scheduling. Specific items to address include:

	
	
	i)
	Network Services: Determine and develop needed business practice standards or other support is needed to support use of OASIS for Network Service transactions (R04006E). (Related to AP 2(a)(iii))

Status: Underway 
	4th  Q, 2009
	OASIS


FERC Orders

In FERC Order 890 under Docket Nos. RM05-17-000 and RM05-25-000 issued February 16, 2007, the Commission made the following conclusions regarding Network Integration Service on OASIS:

385.  The Commission adopts the NOPR proposal and requires transmission providers and network customers to use OASIS to request designation of new network resources and to terminate designation of network resources.  This information shall be posted on OASIS for 90 days and available for audit for a five-year period.  Transmission customers thus shall be able to query requests to designate and terminate a network resource.  This requirement adds valuable transparency without undue burden, since it is nothing more than maintaining a database of designation requests made and responded to electronically.  The Commission orders public utilities, working through NAESB, to develop appropriate templates for OASIS. [footnote omitted]

1477.  We direct transmission providers to develop OASIS functionality to (1) allow all of the information required for a request to designate network resources to be provided electronically, (2) mask information about operating restrictions and generating cost on OASIS, and (3) allow for queries of all information provided with designation requests in accordance with section 37.6 of the Commission’s regulations.  As provided in paragraph 385, we also direct transmission providers to work in conjunction with NAESB to develop business practice standards describing procedural requirements for submitting designations over any new OASIS functionality.  Transmission providers need not implement this new OASIS functionality and any related business practices until NAESB develops appropriate standards.  Prior to implementation of this new OASIS functionality, any information that cannot be provided electronically may be submitted by transmitting the information to the transmission provider by telefax or providing the information by telephone over the transmission provider’s time recorded telephone line. [footnote omitted]

1504.  In response to South Carolina E&G’s request, we reiterate that not all of the information required by section 29.2 of the pro forma OATT for designation of a network resource will be made publicly available on OASIS.  As discussed above, information about operating restrictions and generating cost will be masked to protect commercially sensitive information.  South Carolina E&G has also requested clarification of the Commission’s intent with respect to how designated network resource information is posted.  Our existing regulations specify the view, download, and query requirements for information posted regarding network resource designations.  The details of how those informational postings are accomplished are best left to be determined as part of the NAESB standards development process. [footnote omitted]

1532.  In response to TranServ’s request that the exact nature of how the customer would make an attestation should be determined in the NAESB forum, we note that the contents and the specific information that is required to be provided with the attestation are specified in the pro forma OATT, and we are requiring that the attestation be submitted through OASIS with each request to designate a new network resource.  The appropriate subject for transmission providers to coordinate with NAESB to resolve is limited to the appropriate formatting of such information to be provided in OASIS.  In response to TranServ's request that NAESB should also determine the treatment of OASIS requests where the customer fails to provide the necessary attestation, we point out that we have already directed that such requests are to be found deficient by the transmission provider and treated in accordance with the procedures in section 29.2 of the pro forma OATT.

1541.  We direct transmission providers to develop OASIS functionality and, working through NAESB, business practice standards describing the procedural requirements for submitting both temporary and indefinite terminations of network resources, to allow network customers to provide all required information for such terminations.  Such OASIS functionality should allow for electronic submittal of the type of termination (temporary or indefinite), the effective date and time of the termination, and identification and capacity of resource(s) or portions thereof to be terminated.  For temporary terminations, such OASIS functionality should also allow for electronic submittal of (1) effective date and time of redesignation, following the period of temporary termination; (2) information and attestation for redesignating the network resource following the temporary termination, in accordance with section 30.2 of the pro forma OATT; and (3) identification of any related transmission service requests to be evaluated concomitantly with the request for temporary termination.  In response to TranServ’s request, we clarify that the request for temporary termination of the resource and the requests for the related transmission service identified in item (3), if any, should be evaluated as a single request, and approved or disapproved as such.  We specifically direct transmission providers, working through NAESB, to develop business standards describing the procedures for submitting and processing requests for concomitant evaluations of transmission requests and temporary terminations.  When processing such requests, the evaluation of the transmission service requests identified in item (3) should take into account the undesignation of the network resources identified in the request for termination.  However, the evaluation of the transmission service requests in item (3) should be processed taking proper account of all competing transmission service requests of higher priority.

In FERC Order 890-A under Docket Nos. RM05-17-001, 002 and RM05-25-001, 002 issued December 28, 2007, the Commission made the following conclusions regarding Network Integration Service on OASIS:

919.  The Commission clarifies, in response to South Carolina E&G’s request, that the language in paragraph 1521 of Order No. 890 is only meant to be a paraphrase of the more detailed attestation to be provided in the pro forma OATT itself.  A network customer designating network resources should submit an attestation using the language set forth in sections 29.2(viii) and 30.2 of the pro forma OATT, as amended in Order No. 890, not the language of the preamble.  A network customer is not permitted to merely reference the applicable section of the pro forma OATT when completing the attestation requirement.  If the OASIS customer comment section does not currently allow enough space for a network customer to provide its attestation, transmission providers should modify, in coordination with NAESB, OASIS functionality to accommodate the full attestation.  In the interim, the transmission provider should identify alternate means, such as by telefax or e-mail, for the network customer to provide the attestation. 

In FERC Order 890-B under Docket Nos. RM05-17-001, 002 and RM05-25-001, 002 issued June 23, 2008, the Commission made the following conclusions Network Integration Service on OASIS:

182.  The Commission grants rehearing to more accurately state the requirement to provide an attestation supporting the designation of network resources pursuant to sections 29.2(viii) and 30.2 of the pro forma OATT.  In order to designate a network resource, section 30.7 of the Order No. 888 pro forma OATT required each network customer to demonstrate that (i) it owns or has committed to purchase generation pursuant to an executed contract or (ii) execution of a contract is contingent upon the availability of transmission service in order to designate a generating resource.  In Order No. 890, the Commission adopted the attestation requirement as the means by which the network customer can make this demonstration, revising sections 29.2 and 30.2 accordingly.  We affirm this requirement, consistent with the network customer’s obligations under section 30.7, and grant rehearing of the Commission’s statements in this proceeding indicating that the attestation can instead be submitted at the time a resource designation is confirmed, rather than requested.

188.  In Order No. 890, the Commission directed transmission providers to evaluate as a single request a request for temporary undesignation and related requests for transmission service.  Transmission providers were therefore directed to develop, working through NAESB, business practices allowing for electronic identification of related transmission service requests to be evaluated concomitantly with the request for temporary undesignation.  This was appropriate in light of the Commission’s decision to allow network customers to temporarily undesignate their network resources without forfeiting the right to use the resource at a specified point in the future, provided they pair the temporary undesignation with a request to redesignate the resource.  

209.  We also conclude that concerns regarding the ability to verify or monitor the buyer’s decision to designate a purchase of system power as a network resource are overstated in light of the clarification that the buyer and seller must be on the same transmission system.  In Order No. 890, the Commission directed transmission providers, working through NERC, to develop OASIS functionality for the designation of network resources and for queries of information provided with designation requests.  Parties to a sale of system power on the same transmission system will therefore have ready access to the treatment of the resource.  Sellers also may rely on commitments made by the buyer to designate the purchase as a network resource.  [footnote omitted]

[note – need to update justification section to include any relevant 890-C paragraphs].
b.  Description of Recommendation:

c.  Business Purpose:


Implementation of FERC Orders 890, 890-A and 890-B.
d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):
NAESB will need to add appropriate links to this section.
· NITS Reference Document: 

· NITS Scope Document

· NITS Motions Document 

· Meeting Minutes
� NAESB staff has spoken to the FERC staff liaison regarding the reference to NERC in paragraph 209. The FERC staff liaison indicated that the reference to NERC was an error.





3
OASIS Subcommittee
Revised October 29, 2009
Page 7

[image: image2.wmf] 

_1075620371.doc
[image: image1.png]|

Lo







