WEQ-013-101

Draft


013-101
GENERAL NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION AND MODIFICATION TO SERVICE PROCESSING REQUIREMENTS

013-101.1
NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION AND MODIFICATION TO SERVICE PROCESSING
The basic NITS Application and modification to service process for NITS on OASIS is described below. This Implementation Guide also contains additional requirements and provides guidance for processing business transactions in the implementation of NITS on OASIS. Note that the Transmission Provider may, but is not limited to, interact with OASIS using the applicable NITS templates or the user interface. Transmission Providers may also implement OASIS functions on back-end systems, and are not required to perform all transaction processing on an OASIS Node proper, provided that the results of all transaction processing are correctly posted on OASIS as required by the tariff, regulation, or other established Business Practices.

013-101.2
OVERALL NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION AND MODIFICATION TO SERVICE PROCESSING 
The NITS Application and modification to service request must be submitted on OASIS, and is composed of an NewNITSRequest NITS OASIS INPUT Template, and multiple related NITS OASIS REQUEST Templates, as described in this Implementation Guide.  Some of these NITS OASIS REQUEST Templates provide general customer and agent information, while other NITS OASIS REQUEST Templates provide information specific to a portion of the overall NITS Application or modification to service.  Each NITS OASIS REQUEST Template will contain one or more NITS OASIS DATA Templates conveying the specific information related to the action being requested by the Eligible Network Customer or Network Customer (or Designated Agent). The list of NITS OASIS INPUT, REQUEST, and DATA Templates and associated Data Elements for NITS on OASIS, can be found in Business Practice Standard WEQ 002-101.3.  
013-101.3
NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION AND MODIFICATION TO SERVICE TEMPLATES
A summary of the NITS Application and modification to service NITS OASIS Templates used to execute a NITS Application and modification to service transaction on OASIS can be found in Business Practice Standard WEQ-002-101.3. Note that the OASIS Business Practice Standards require all template functionality to be provided through a user interface. While this section focuses on template execution, all actions must be supported through a browser-based user interface. Detailed examples of the transaction process and description of the business logic to be implemented on the Transmission Provider’s OASIS or through other back-end transaction support services are provided in subsequent sections of this OASIS Implementation Guide.

The applicable NITS OASIS Templates shall be used by the Eligible Network Customer (or Designated Agent) to submit a request for NITS.  All pertinent application-specific information must be provided in the appropriate template.  The initial submission, and progress through evaluation and ultimate approval or denial of each request comprising the full NITS Application or modification to service, is tracked through the use of the STATUS Data Element. 
013-101.4
NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION AND MODIFICATION TO SERVICE STATUS

The following are the defined values that may appear in the STATUS Data Element associated with a new NITS Application or a request for modification of service:

PRESUBMITTED - assigned by OASIS prior to submission by the Eligible Network Customer or Network Customer (or Designated Agent) in a pre-submitted workspace to be saved while developing a NITS Application or request for modification of service, such that the NITS Application or request for modification of service can be submitted at a later date.

QUEUED - initial status assigned by the TSIP on receipt of "Transmission Customer services purchase request” or “Eligible Network Customer or Network Customer (or Designated Agent) NITS Application request”.

INVALID - assigned by the TSIP or Transmission Provider indicating an invalid field in the request, such as improper POR, POD, SOURCE, SINK, etc. or that the request does not meet minimum information or data requirements (Final state).
RECEIVED - assigned by the Transmission Provider or Reseller (PTP only) to acknowledge QUEUED requests and indicate that a service request is being evaluated, including for completing the required ancillary services.

DEFICIENT - assigned by the Transmission Provider to indicate that a correctable deficiency in the NITS Application or request for modification to service, such as missing, incomplete, or inconsistent information.

REEVALUATE - assigned by the Eligible Network Customer or Network Customer (or Designated Agent) during the NITS Application or request for modification of service process indicating that deficiencies have been corrected, and the revised NITS Application or request for modification of service is ready for review.

COMPLETED - assigned by the Transmission Provider to indicate that are no deficiencies or all deficiencies in the NITS Application or request for modification of service have been met.

STUDY - assigned by the Transmission Provider or Reseller (PTP only) to indicate some level of study is required or being performed to evaluate a service request.

REBID - assigned by the Eligible Network Customer or Network Customer (or Designated Agent), or Transmission Customer to indicate that a new value for BID_PRICE (PTP only) and/or CAPACITY_REQUESTED is being proposed.

COUNTEROFFER - assigned by Transmission Provider or Reseller (PTP only) to indicate that a new OFFER_PRICE and/or CAPACITY_GRANTED over time is being proposed in the negotiation of requested service (i.e., offering of Partial Service or negotiation of price).
CR_COUNTEROFFER - assigned by Transmission Provider or Reseller (PTP only) to indicate that a new OFFER_PRICE and/or CAPACITY_GRANTED over time is being proposed in the negotiation of requested service for Coordinated Request (i.e., offering of Partial Service or negotiation of price).

ACCEPTED - assigned by the Transmission Provider or Reseller (PTP only) to indicate the service request at the designated BID_PRICE and CAPACITY_REQUESTED has been approved/accepted. Depending upon the type of ancillary services required, the Seller may or may not require all ancillary service reservations to be completed before accepting a request.
CR_ACCEPTED - assigned by the Transmission Provider or Reseller (PTP only) to indicate the Coordinated Request at the designated BID_PRICE and CAPACITY_REQUESTED has been approved/accepted. Depending upon the type of ancillary services required, the Seller may or may not require all ancillary service reservations to be completed before accepting a Coordinated Request.
DECLINED - assigned by the Transmission Provider or Reseller (PTP only) to indicate that the terms and/or conditions of the request are unacceptable and that negotiations are terminated, that the contractual terms have not been met, or that the Eligible Network Customer or Network Customer (or Designated Agent), or Transmission Customer has failed to remedy a deficiency within an established time frame. (Final state.)

SUPERSEDED - assigned by the Transmission Provider or Reseller (PTP only) when a request which has not yet been confirmed is preempted by another request for service. (Final state.)

RETRACTED - assigned by the Transmission Provider or Reseller (PTP only) when the Eligible Network Customer or Network Customer (or Designated Agent), or Transmission Customer fails to confirm or withdraw the request within the required time period. (Final state.)

REFUSED - assigned by Transmission Provider or Reseller (PTP only) to indicate service request has been denied due to lack of ATC. (Final state.)

CONFIRMED - assigned by the Eligible Network Customer or Network Customer (or Designated Agent), or Transmission Customer in response to the Transmission Provider or Reseller (PTP only) posting "ACCEPTED", “CR_ACCEPTED”, “COUNTEROFFER”, or “CR_COUNTEROFFER” status, to confirm service or the NITS Application. Once a request has been "CONFIRMED", a Transmission Service reservation exist or the NITS Application is completed. (Final state, unless overridden by DISPLACED or ANNULLED state.)

WITHDRAWN - assigned by the Eligible Network Customer or Network Customer (or Designated Agent), or Transmission Customer during the evaluation of a request to withdraw the request from any further action. (Final state.)

DISPLACED - (PTP and Secondary Network Transmission Service only) - assigned by the Transmission Provider or Reseller when a "CONFIRMED" reservation from a Eligible Network Customer or Network Customer (or Designated Agent), or Transmission Customer is displaced by a higher priority reservation, and the Eligible Network Customer or Network Customer (or Designated Agent), or Transmission Customer is not offered or has not exercised right of first refusal (i.e. refused to match terms of new request). (Final state.)

ANNULLED - assigned by the Seller when, by mutual agreement with the Eligible Network Customer or Network Customer (or Designated Agent), or Transmission Customer, a confirmed reservation, NITS Application, or pre-confirmed request is to be voided, or assigned unilaterally by the Transmission Provider when a Resale reservation or NITS Application is to be voided. (Final state.)

DELETED – assigned by the Eligible Network Customer or Network Customer (or Designated Agent) to permanently remove a PRESUBMITTED request from the Pre-submittal Workspace. (Final state.)

[image: image1.png]RETRACTED"

TP/TSIP

1. Not applicable to Temporary Termination of Network Resource or NSR.

2. Not applicable to Indefinite Termination of Network Resource or NSR.

3. Not applicable to Designation of New Network Load or Undesignation of Network Load.
Other types of Modifications of Service shall use the state transitions described in WEQ-001.




Exhibit 101 - State Diagram for NITS Application & Modification of Service Process
013-101.5
ACCEPTED OR CR_ACCEPTED STATUS RESTRICTIONS
OASIS shall block a request from being set to a status of ACCEPTED or CR_ACCEPTED by the Transmission Provider if the value for CAPACITY_GRANTED does not exactly match the corresponding value for CAPACITY_REQUESTED over every START_TIME/STOP_TIME interval. This ensures that both parties to the transaction are in agreement to the terms of the request. 
If the request is flagged as PRECONFIRMED=YES and CG_STATUS is null, OASIS shall immediately set the request STATUS to CONFIRMED when it is accepted. 

If the request is flagged as PRECONFIRMED=YES and CG_STATUS is non-null, i.e., it is a Coordinated Request, OASIS shall not set the request STATUS to CONFIRMED until after expiration of the Network Customer confirmation time limit (RESPONSE_TIME_LIMIT), specified in Business Practice Standard WEQ-001-105.1.5 Table 105-A,
013-101.6
CONFIRMED STATUS RESTRICTIONS
OASIS shall block a request from being set to a status of CONFIRMED by the Eligible Network Customer (or Designated Agent) if the value for CAPACITY_REQUESTED does not exactly match the corresponding value for CAPACITY_GRANTED over every START_TIME/STOP_TIME interval. This ensures that both parties to the transaction are in agreement to the terms of the request.
013-101.7
NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION AND MODIFICATION TO SERVICE PROCESSING

A new NITS Application or a request for modification of service, reserve or purchase NITS or ancillary service(s) shall be submitted by the Eligible Network Customer or Network Customer (or Designated Agent) on OASIS via the NewNITSRequest NITS OASIS INPUT Template.
OASIS should screen submitted requests to validate proper use of NITS OASIS INPUT and REQUEST Templates. Additional restrictions based on specific NITS OASIS INPUT and REQUEST Templates are detailed in subsequent Business Practice Standards. Validations on the service requested, service start time and duration, submission time, etc., are specified  in Business Practice Standard WEQ-001-013.1.4.

Once the new NITS request has been submitted on OASIS, the Transmission Provider may take any of the following actions via the UpdateNITSRequest NITS OASIS INPUT Template:

• 
Acknowledge receipt by setting the STATUS to RECEIVED, COMPLETED, DEFICIENT or STUDY

• 
Deny the request by setting the STATUS to INVALID, DECLINED, RETRACTED, or REFUSED

• 
Approve the request by setting the STATUS to ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER 
At any time during the processing of a request, the Eligible Network Customer or Network Customer (or Designated Agent) may set the status to WITHDRAWN to remove the request from further consideration by the Transmission Provider.

Prior to NITS Application being completed, the Eligible Network Customer or Network Customer (or Designated Agent) may take any of the following actions via the UpdateNITSRequest NITS OASIS INPUT Template:

• 
WITHDRAW the request

• 
Continue negotiation of the request by setting the STATUS to REEVALUATE
When the Transmission Provider has approved the request, the Eligible Network Customer or Network Customer (or Designated Agent) may take any of the following actions via the UpdateNITSRequest NITS OASIS INPUT Template:

• 
WITHDRAW the request

• 
Continue negotiation of the request by setting the STATUS to REBID

• 
Complete the request by setting the status to CONFIRMED
Prior to final confirmation by the Eligible Network Customer or Network Customer (or Designated Agent), the Transmission Provider may override their approval of the request as follows:

• 
Retract approval based on exceeding of the Eligible Network Customer confirmation time limits and/or scheduling deadlines or other criteria established by the Transmission Provider by setting the status to RETRACTED
Once CONFIRMED on OASIS by the Eligible Network Customer or Network Customer (or Designated Agent) a NITS Application or service reservation shall be deemed to exist. The Transmission Provider makes the following change to a CONFIRMED NITS Application or service reservation: 
· Nullify the NITS Application or service reservation for cause by setting the status to ANNULLED
· Displace the Secondary Network Transmission Service reservation in-whole to accommodate a higher priority competing request by setting the STATUS to DISPLACED
The Transmission Provider shall provide a reason in the SELLER_COMMENTS whenever a NITS Application or service request is set to the status of INVALID, REFUSED, DECLINED, RETRACTED, ANNULLED, or DISPLACED. The Transmission Provider, when not acting as the Seller, shall provide a reason in the PROVIDER_COMMENTS whenever a service request is set to the STATUS of ANNULLED or DISPLACED.
013-102
NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION PROCESSING

The following Business Practice Standard identifies specific OASIS processing requirements that must be implemented by OASIS and/or associated back-end support systems. Before the NITS Application has been submitted, the results of all NITS Application processing shall be viewable by the requesting Eligible Network Customer or Network Customer, or their prospective Designated Agents, via the QueryNITSRequest NITS OASIS QUERY Template and corresponding NITS OASIS REQUEST Templates.

013-102.1
PRE-SUBMITTED NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION PROCESS
The following pre-submitted NITS Application process should be used as a business process guideline and illustrates the valid changes that may be made to the process by the Transmission Provider and the Eligible Network Customer (or Designated Agent) during the pre-submitted NITS Application process; however, individual tariffs may dictate specific allowed actions between states that are not reflected in this diagram.

[image: image2.png]NITSApp(01) Process Map

NOTE: This process map does not illustrate all possible NITS Application scenarios.

Customer:

. OASIS:
Submits New Recgs/g:SIV.ITS Generates
NITS Application p—p» - — ——p| Application Ref,
: Application via
on OASIS via Template Sends Request
Template P

Template response

\ 4
OASIS Template:
NewNITSRequest
(N

NewNITSApplication
(N

NITSService
NITSCustomer
NITSAgent

Key to WEQ-002 Data Template elements used
in this Process Map:

Templates use a nested hierarchy. As
shown in Example A below, to use a
DATA template, a specific INPUT and
REQUEST template must also be
referenced. Hence, the scenarios here
show the first three levels of the
hierarchy. Example B:

Example A:

In Example B below, the INPUT template
is NewNITSRequest, the REQUEST
template is NewNITSApplication, and the
DATA templates are NITSService,
NITSCustomer, and NITSAgent.

OASIS Template:
NewNITSRequest
OASIS Template:

[N
iNPUT Template NewNITSApplication
(N

REQUEST Template NITSService
[N

NITSCustomer
DATA Template(s) NITSAgent





Exhibit 102.1 – PRE-SUBMITTED NETWORK INTERGRATION TRANSMISSION SERVICE APPLICATION Process

Pre-submitted NITS Application requests may be developed by the Eligible Network Customer or its Designated Agent offline or developed on OASIS using the Transmission Provider’s Pre-submittal Workspace to arrange for a new NITS Application, Transmission Service or ancillary service with the Transmission Provider.  
013-102.2
PRE-SUBMITTED NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION 
Pre-submitted NITS Applications shall be submitted by the Eligible Network Customer (or Designated Agent) to arrange for a new NITS Application on OASIS. The following are requirements for the NITS Application request associated with pre-submittal of the new NITS Application using the NewNITSRequest NITS OASIS INPUT Template.  
NewNITSRequest NITS OASIS INPUT Template may be used to open a new OASIS Pre-submittal Workspace and begin the process for submitting a new NITS Application. Along with this NITS OASIS INPUT Template a single NITS OASIS REQUEST Template NewNITSApplication with the NITS OASIS DATA Templates NITSService, NITSCustomer, and NITSAgent (optional) must also be submitted for a new NITS Application. 
Data structures for the NITS OASIS INPUT, REQUEST, and DATA Templates are defined in Business Practice Standards WEQ-002-100.
To create the Pre-submittal Workspace the Eligible Network Customer (or Designated Agent) must submit the request with the STATUS of PRESUBMITTED. OASIS will then create the Pre-submittal Workspace and assign a unique application reference number (APPLICATION_REF) for the NITS Application as a whole and a unique request reference number (ASSIGNMENT_REF) used to identify the NewNITSApplication NITS OASIS REQUEST Template itself. The OASIS will return a request response to the Eligible Network Customer (or Designated Agent) indicating the success/failure of the NewNITSApplication NITS OASIS REQUEST Template request.

Once the Pre-submittal Workspace has been created for the new NITS Application, the Eligible Network Customer (or Designated Agent) may add all required information associated with the initial NITS Application through the submission of the appropriate NITS OASIS INPUT, REQUEST and DATA Templates.  Minimum information requirements that must be submitted in the initial application for NITS are subject to the Transmission Provider’s Business Practices.

013-102.3
ADD INFORMATION TO THE PRE-SUBMITTED NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION
To add information to the pre-submitted NITS Application process the following should be used as a business process guideline and illustrates the valid changes that may be made to the process by the Eligible Network Customer (or Designated Agent) during the pre-submitted stage of the NITS Application; however, individual tariffs may dictate specific allowed actions between states that are not reflected in this diagram.

[image: image3.png]NITSApp(02) Process Map

NOTE: This process map does not illustrate all possible NITS Application scenarios.

Customer: NOTE: The NewNITSRequest input template is

Submits one or / for adding new data only to a NITS
»| more NITS Application.
templates to

OASIS
Customer: Customer: Customer:
Add Load Add Generation Add Resource
) 4 \ ) 4
OASIS Template: OASIS Template: OASIS Template:
NewNITSRequest NewNITSRequest NewNITSRequest
s EN N

AddNITSLoad AddNITSGeneration AddNITSResource

N Ly s
NITSLoadDescription NITSGenerationDescription NITSResourceDescription
NITSLoadForecast (optional) NITSGenerationDispatch NITSResourceForecast (optional)

Customer: Customer: (optional)
Add DNR Add Agent Customer:
Add Ancillary
\ v
OASIS Template: OASIS Template: L
NewNITSRequest NewNITSRequest OASIS Template:
- - o NewNITSRequest

AddNITSDNR NewNITSApplication L,

L - AddNITSAnNcillary
NITSResourceDescription NITSAgent L
NITSResourceForecast (optional) NITSAncillaryService
NITSResourceDesignation NITSAncillaryCapacity
NITSResourceCapacity
NITSSchedulingRights
AuxiliaryTransmission

l

OASIS:
OASIS returns
Assignment Ref for
each request.

Go to
NITSApp
(03)





Exhibit 102.3 – ADD INFORMATION TO THE PRE-SUBMITTED NETWORK INTERGRATION TRANSMISSION SERVICE APPLICATION PROCESS
The NewNITSRequest NITS OASIS INPUT Template is used to add additional requests and information to the pre-submitted NITS Application. The specific NITS Application that the additional requests will be added to must be identified by its unique APPLICATION_REF identifier, returned by OASIS with the NewNITSApplication NITS OASIS REQUEST Template request.
Along with the NewNITSRequest NITS OASIS INPUT Template, NITS OASIS REQUEST Templates AddNITSLoad, AddNITSGeneration, AddNITSResource, AddNITSDNR, and AddNITSAncillary may be submitted to add the required information to the NITS Application. The specific NITS OASIS DATA Templates associated with each specific NITS OASIS REQUEST Template are defined in Business Practice Standards WEQ-002-101.3.
When adding requests to the Pre-submittal Workspace the Eligible Network Customer (or Designated Agent) must submit each request with the STATUS of PRESUBMITTED. OASIS will then add the information to the Pre-submittal Workspace and return a request response to the Eligible Network Customer (or Designated Agent) indicating the success/failure of submitted information along with a unique ASSIGNMENT_REF identifier to be used in any subsequent request to update information or STATUS associated with that specific request.

013-102.4
UPDATING INFORMATION TO THE PRE-SUBMITTED OR COMPLETED NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION
To update information in the pre-submitted or completed NITS Application process, the following should be used as a business process guideline, and illustrates the valid changes that may be made to the application by the Transmission Provider and the Eligible Network Customer (or Designated Agent) during the pre-submitted or completed NITS Application process; however, individual tariffs may dictate specific allowed actions between states that are not reflected in this diagram.

[image: image4.png]NITSApp(03) Process Map

NOTE: This process map does not illustrate all possible NITS Application scenarios.

Customer: Are updates to one or
more requests to a NITS Application
in PRESUBMITTED state required?

Customer: Does the NITS
Application need new piece parts?

Yes
v
Customer: Cule;g::eer: Customer:
Update Service Customer Update Agent
v y v

OASIS Template: OASIS Template: OASIS Template:
UpdateNITSRequest UpdateNITSRequest UpdateNITSRequest
N EN N

NewNITSApplication
[N

NITSService

NewNITSApplication
(N

NITSCustomer

NewNITSApplication
(N

Customer:
Update Load

\ 4

OASIS Template:
UpdateNITSRequest
[N

AddNITSLoad

(N
NITSLoadDescription
NITSLoadForecast (optional)

v

NITSAgent
Customer: Customer:
Update Update
Generation Resource

'

Customer:
Update DNR

’

OASIS Template:
UpdateNITSRequest
[N

AddNITSGeneration
(N

NITSGenerationDescription

NITSGenerationDispatch

OASIS Template:
UpdateNITSRequest
(N

AddNITSResource
(N

NITSResourceDescription
NITSResourceForecast (optional)

OASIS Template:
UpdateNITSRequest
(N

AddNITSDNR

(N
NITSResourceDescription
NITSResourceForecast (optional)
NITSResourceDesignation
NITSResourceCapacity
NITSSchedulingRights
AuxiliaryTransmission

(optional)
Customer:
Update Ancillary

v

OASIS Template:
UpdateNITSRequest
(N

AddNITSAnNcillary
[N

NITSAnNcillaryService
NITSAnNcillaryCapacity





Exhibit 102.4 – UPDATING INFORMATION TO THE PRE-SUBMITTED OR COMPLETED NETWORK INTERGRATION TRANSMISSION SERVICE APPLICATION PROCESS
The UpdateNITSRequest NITS OASIS INPUT Template is used to update existing information in a request associated with a pre-submitted or completed NITS Application. The specific NITS request to be updated must be identified by its NITS OASIS REQUEST Template name and unique APPLICATION_REF and ASSIGNMENT_REF identifiers assigned when the request was initially submitted on OASIS.  Along with the UpdateNITSRequest NITS OASIS INPUT Template NITS OASIS REQUEST Templates NewNITSApplication, AddNITSLoad, AddNITSGeneration, AddNITSResource, AddNITSDNR, and AddNITSAncillary may be submitted to modify information with any of the existing requests present in the pre-submitted or completed NITS Application.  The specific NITS OASIS DATA Templates associated with each specific NITS OASIS REQUEST Template are defined in Business Practice Standards WEQ-002-101.3. 

To update the Pre-submittal Workspace, the Eligible Network Customer (or Designated Agent) must submit the update request with the STATUS of PRESUBMITTED. OASIS will then modify the information in the Pre-submittal Workspace and return a request response to the Eligible Network Customer (or Designated Agent) indicating the success/failure of the update.
To update a completed NITS Application, the Eligible Network Customer (or Designated Agent) must submit the update request with the STATUS of QUEUED. OASIS will then return a request response to the Eligible Network Customer (or Designated Agent) indicating the success/failure of the update. The Transmission Provider will then make the appropriate review and set the appropriate STATUS indicating the acceptance or denial of administrative changes. 

To remove an existing request from the pre-submitted or completed NITS Application in its entirety, the Eligible Network Customer (or Designated Agent) may submit the UpdateNITSRequest NITS OASIS INPUT Template with the NITS OASIS REQUEST Template identifying the specific request to be removed and updating the STATUS to DELETED.  OASIS will disassociate that request from the pre-submitted or completed NITS Application and return a request response to the Eligible Network Customer (or Designated Agent) indicating the success/failure of the update.
013-102.5
SUBMITTING THE NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION
The following should be used as a business process guideline for completing the process, and illustrates the valid changes that may be made to the application by the Transmission Provider and the Eligible Network Customer (or Designated Agent) during the pre-submitted NITS Application process; however, individual tariffs may dictate specific allowed actions between states that are not reflected in this diagram.

[image: image5.png]NITSApp(04) Process Map

NOTE: This process map does not illustrate all possible NITS Application scenarios.

Customer: TP/TSIP:
From Submits NITS Sets status of
NITSApp Application to p{ NITS Application
(03) Transmission to RECEIVED
Provider

v

OASIS Template:
UpdateNITSRequest
(N

NewNITSApplication
(STATUS = QUEUED)

OASIS/Transmission Provider: Is the
NITS Application or one or more piece
parts Deficient?

OASIS: L
Application processed as
> Seezstii;a:l?.?;f l described in Business Practice
Erom Application to Standards, including the NITS
r A .
NITSApp COMPLETED Application State Diagram,
(05)





Exhibit 102.5 – SUBMITTING THE NETWORK INTERGRATION TRANSMISSION SERVICE APPLICATION PROCESS
UpdateNITSRequest NITS OASIS INPUT Template is used to complete the information in the pre-submitted NITS Application and submit the NITS Application to the Transmission Provider. The Eligible Network Customer (or Designated Agent) must submit the UpdateNITSRequest NITS OASIS INPUT Template along with the NewNITSApplication NITS OASIS REQUEST Template to set the pre-submitted NITS Application STATUS to QUEUED.  OASIS will set NewNITSApplication NITS OASIS REQUEST Template request, as well as all existing requests associated with that NITS Application by APPLICATION_REF that have a status of PRESUBMITTED, to the STATUS of QUEUED and update the TIME_QUEUED to the time the NITS Application is updated to QUEUED.  
013-102.6
COMPLETING THE NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION
Once the NITS Application is submitted by the Eligible Network Customer (or Designated Agent), the Transmission Provider shall acknowledge its receipt by setting the STATUS of the NewNITSApplication NITS OASIS REQUEST Template request to RECEIVED.
The Transmission Provider will then review the NITS Application for the specified minimum information requirements. If the information has not been provided the Transmission Provider shall set the STATUS of the NewNITSApplication NITS OASIS REQUEST Template request to INVALID or DEFICIENT. 
The Transmission Provider shall then determine if each of the individual requests (e.g., AddNITSResource NITS OASIS REQUEST Template) and associated information required in a NITS Application are sufficient (i.e. consistent with the Transmission Provider’s OATT requirements for a Completed Application). The Transmission Provider shall set the STATUS of each such individual request to COMPLETED. If not deemed sufficient, the Transmission Provider shall set the STATUS of each such individual request to INVALID or DEFICIENT. 
The Eligible Network Customer (or Designated Agent) must take the appropriate actions to remove all deficiencies identified by the Transmission Provider in the NITS Application. Once all the individual requests considered part of the NITS Application have been set to the STATUS of COMPLETED, the Transmission Provider shall set the overall NewNITSApplication NITS OASIS REQUEST Template request to the STATUS of COMPLETED and the process can continue with the evaluation of the completed NITS Application.
013-102.7
DEFICIENT PROCESSING
The following should be used as a business process guideline for deficiency processing and illustrates the valid changes that may be made to the application by the Transmission Provider and the Eligible Network Customer (or Designated Agent) during the submitted NITS Application process; however, individual tariffs may dictate specific allowed actions between states that are not reflected in this diagram.

[image: image6.png]NITSApp(05) Process Map

NOTE: This process map does not illustrate all possible NITS Application scenarios.

OASIS:
OASIS: Sets status of
Sets status of individual NITS
entire NITS |———» Application piece
Application to parts to either
DEFICIENT COMPLETED or
DEFICIENT

Customer: To resolve a
deficiency, does the

Customer want to withdraw
an existing piece part?

No

Customer: To resolve a
deficiency, does the

Customer want to update an
existing piece part?

Customer: Customer:
Withdraw Update
piece part piece part

v v

OASIS Template: See OASIS Templates from
UpdateNITSRequest NITSApp(03)
[N

ASSIGNMENT_REF = #
(STATUS = WITHDRAWN)

Customer:
Add
piece part

v

See OASIS Templates from
NITSApp(02)

.

No

Yes

Customer:
Updates NITS
Application to status of
REEVALUATE.

\ 4
OASIS Template:
UpdateNITSRequest
[N

NewNITSApplication
(STATUS = REEVALUATE)

Customer: Is the NITS
Application ready for
reevaluation by the
Transmission Provider?

Customer: To resolve a
deficiency, the Customer will
add a piece part.





Exhibit 102.7 – DEFICIENT PROCESSING

Deficient processing to the submitted NITS Application shall be submitted by the Eligible Network Customer (or Designated Agent) to remedy the deficient information to the NITS Application on OASIS. The following are requirements for NITS Application request associated with remedying the deficient NITS Application using the UpdateNITSRequest and/or NewNITSRequest NITS OASIS INPUT Templates.  
The UpdateNITSRequest NITS OASIS INPUT Template structure is used to remedy deficient information to the submitted NITS Application by updating or adding additional information to the NITS OASIS DATA Templates associated with the specific request(s) that have been marked DEFICIENT.  The applicable NITS OASIS DATA Templates associated with each NITS OASIS REQUEST Template, and any restrictions on the information that may be updated in the existing request are set forth in Business Practice Standard WEQ-002-101.3.
If the deficiency can be remedied by updating the information associated with a given DEFICIENT request, the Eligible Network Customer (or Designated Agent) can use the UpdateNITSRequest NITS OASIS INPUT Template structure to submit the updated information and reset the request STATUS to REEVALUATE for reconsideration by the Transmission Provider.

If the deficiency cannot be remedied by updating the information associated with a given DEFICIENT request, the Eligible Network Customer (or Designated Agent) can use the UpdateNITSRequest NITS OASIS INPUT Template structure to set the request STATUS to WITHDRAWN to remove that request from further consideration by the Transmission Provider.  New information can then be added to the NITS Application by submission of one or more new NITS request using the NewNITSRequest NITS OASIS INPUT Template.
The NewNITSRequest NITS OASIS INPUT Template is used to add additional requests to the NITS Application to remedy deficiency by using the process as described in Business Practice Standard WEQ-013-102.1.  New requests may be added to the Pre-submittal Workspace and updated prior to submission for consideration by the Transmission Provider, or the requests may be submitted directly with the STATUS of QUEUED to be considered by the Transmission Provider as part of the NITS Application.
Once the Eligible Network Customer (or Designated Agent) has withdrawn, updated, or added information to remedy the deficiency to a submitted NITS Application the Eligible Network Customer (or Designated Agent) must submit the request with the STATUS of REEVALUATE using the UpdateNITSRequest NITS OASIS INPUT Template and the NewNITSApplication NITS OASIS REQUEST Template structure. 
Any new or updated NITS requests that are QUEUED or set to REEVALUATE may be set to a STATUS of INVALID, DECLINED, or DEFICIENT if the Transmission Provider determines that the Eligible Network Customer (or Designated Agent) has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.).  If the new or updated information has remedied the deficiency for that portion of the NITS Application, the Transmission Provider shall set the STATUS of associated request to COMPLETED.
The Transmission Provider will then continue the processing in accordance with Business Practice Standard WEQ-013-102.7 until all deficiencies are resolved and the Transmission Provider sets the NewNITSApplication NITS OASIS REQUEST Template request STATUS of the entire NITS Application to COMPLETED. 
013-103
EVALUATION OF NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION

The exhibit as shown in Business Practice Standard WEQ 013-101.4 should be used as a business process guideline and illustrates the valid changes that may be made to the STATUS value by the Transmission Provider and the Eligible Transmission Customer during the NITS Application process; however, individual tariffs may dictate specific actions allowed between states that are not reflected in this diagram.

013-103.1
Review of Completed NETWORK INTEGRATION TRANSMISSION SERVICE Application
The completed NITS Application will be reviewed by the Transmission Provider prior to the NITS Application STATUS being set to CONFIRMED. The following are requirements for a NITS Application request associated with confirming the submitted NITS Application using the UpdateNITSRequest NITS OASIS INPUT Template.  
UpdateNITSRequest NITS OASIS INPUT Template is used to set the status of the overall NITS Application. Along with this NITS OASIS INPUT Template, the NewNITSApplication NITS OASIS REQUEST Template must also be submitted to update the status. No NITS OASIS DATA Templates are required, as the STATUS Data Element being updated is included in the NITS OASIS REQUEST Template Header Record.
UpdateNITSRequest NITS OASIS INPUT Template and the NewNITSApplication NITS OASIS REQUEST Template structure is used to set the STATUS to STUDY from COMPLETED, if the Transmission Provider determines that some level of study is required or is being performed.
UpdateNITSRequest NITS OASIS INPUT Template and the NewNITSApplication NITS OASIS REQUEST Template is used to set the STATUS to DECLINED, REFUSED, COUNTEROFFER, CR_COUNTEROFFER, ACCEPTED, or CR_ACCEPTED from STUDY according to the Business Practice Standards WEQ-001-103.2 through WEQ-001-103.6.

UpdateNITSRequest NITS OASIS INPUT Template and the NewNITSApplication NITS OASIS REQUEST Template structure is used to set the STATUS to DECLINED from STUDY, if the Transmission Provider determines that the Eligible Network Customer (or Designated Agent) has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.).
UpdateNITSRequest NITS OASIS INPUT Template and the NewNITSApplication NITS OASIS REQUEST Template structure is used to set the STATUS to REFUSED from STUDY, if the Transmission Provider determines that the requested service cannot be provided due to insufficient transfer capability consistent with the Transmission Provider’s tariff requirements.

UpdateNITSRequest NITS OASIS INPUT Template and NewNITSApplication NITS OASIS REQUEST Template structure is used to set the STATUS to COUNTEROFFER or CR_COUNTEROFFER from STUDY, if the Transmission Provider determines that the NITS Application is to be granted only in part as specified in the NITS Application. Prior to setting the overall NITS Application to COUNTEROFFER or CR_COUNTEROFFER, the Transmission Provider shall update the status associated with each portion of the completed NITS Application to COUNTEROFFER or CR_COUNTEROFFER.
UpdateNITSRequest NITS OASIS INPUT Template and the NewNITSApplication NITS OASIS REQUEST Template structure is used to set the STATUS to ACCEPTED or CR_ACCEPTED from STUDY, if the Transmission Provider determines that the NITS Application is to be granted as specified in the NITS Application. Prior to setting the overall NITS Application to ACCEPTED or CR_ACCEPTED the Transmission Provider shall update the status associated with each portion of the completed NITS Application to ACCEPTED or CR_ACCEPTED.

Once the NITS Application has been set to the STATUS of ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER, the Eligible Network Customer (or Designated Agent) must set the STATUS of the overall NITS Application to CONFIRMED or WITHDRAWN according to the time limits specified in the Transmission Provider’s tariff for execution of a service agreement or for requesting filing of an unexecuted service agreement using the UpdateNITSRequest NITS OASIS INPUT Template and the NewNITSApplication NITS OASIS REQUEST Template structure.
UpdateNITSRequest NITS OASIS INPUT Template and the NewNITSApplication NITS OASIS REQUEST Template structure is used to set the STATUS to RETRACTED from ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER, if the Eligible Network Customer (or Designated Agent) has not set the STATUS to CONFIRMED or WITHDRAWN according to the time limits specified in the Transmission Provider’s tariff for execution of a service agreement or for requesting filing of an unexecuted service agreement.
Once the overall NITS Application has been set to the STATUS of CONFIRMED, any changes to the NITS Application will be made in accordance with Business Practice Standard WEQ-013-105 unless otherwise mutually agreed; in which case the Transmission Provider shall set the status of the overall NITS Application and all data structures of the NITS Application that are not already in a final state to ANNULLED using the UpdateNITSRequest NITS OASIS INPUT Template and the NewNITSApplication NITS OASIS REQUEST Template structure.
UpdateNITSRequest NITS OASIS INPUT Template structure is used to make administrative changes in accordance with Business Practice Standards WEQ-001-104 and WEQ-013-104.

UpdateNITSRequest NITS OASIS INPUT Template structure is used if the request is not an administrative change, the Transmission Provider shall set the STATUS of the request to INVALID.

UpdateNITSRequest NITS OASIS INPUT Template structure is used if, during informal communications, it is determined that a change to the NITS Application is necessary, the Eligible Network Customer (or Designated Agent) shall use the process for modification of service in accordance with Business Practice Standards WEQ 001-105 and WEQ-013-105 to submit a request for such change.
Once the overall NITS Application has been set to the STATUS of CONFIRMED any changes to the NITS Application will be made in accordance with Business Practice Standard WEQ-013-105 unless otherwise mutually agreed, in which case the Transmission Provider shall set the status of the overall NITS Application and all data structures of the NITS Application that are not already in a final state to ANNULLED, using the UpdateNITSRequest NITS OASIS INPUT Template and the NewNITSApplication NITS OASIS REQUEST Template structure.

013-104
NETWORK INTEGRATION TRANSMISSION SERVICE – ADMINISTRATIVE CHANGES 
Administrative changes to the NITS Applications prior to confirmation shall be submitted by the Eligible Network Customer (or Designated Agent) to update the information on OASIS. The requirements for requesting administrative changes shall be made in accordance with Business Practice Standards WEQ-001-104.

The request for administrative changes must be submitted PRECONFIRMED and with the STATUS of QUEUED.

The following are considered administrative changes:

Modify an Eligible Network Customer 

Add/Modify an Designated Agent

013-105
NETWORK INTEGRATION TRANSMISSION SERVICE MODIFICATION TO SERVICE PROCESSING 
The following Business Practice Standard identifies specific OASIS processing requirements that must be implemented by OASIS and/or associated back-end support systems. Before the modification to service has been submitted, the results of all modification to service processing shall be viewable by the requesting Eligible Network Customer or Network Customer (or Designated Agent), or their prospective Designated Agents, via the QueryNITSRequest NITS OASIS QUERY Template and corresponding NITS OASIS REQUEST Templates.

013-105.1
PRE-SUBMITTED DESIGNATED NETWORK RESOURCE PROCESSING
The following DNR processing of submitted or confirmed NITS Application should be used as a business process guideline, and illustrates the valid changes that may be made to the process by the Transmission Provider, the Eligible Network Customer or the Network Customer (or Designated Agent) during the submitted or confirmed NITS Application process; however, individual tariffs may dictate specific allowed actions between states that are not reflected in this diagram.

[image: image7.emf]START

AddDNR(01)Process Map

Note: This process map does not illustrate all possible NITS DNR Addition scenarios.

NITS Process Map: AddDNR (01)

Typical Scenarios ONLY, 06-27-2011 Revision 1

Questions/Comments/Errata: e-mail WEQ_OS@naesb.org or pblee@bpa.gov

(This box shall be removed prior to publication in the S&CP booklet.)

Customer:“Is the DNR already a 

defined named NITS Resource 

under the NITS Application 

[WEQ 002-6.3.2.12]

1

No

Yes

Customer:

Defines 

Resource 

OASIS Template:

NewNITSRequest

9 

AddNITSDNR

9

NITSResourceDescription

NITSNITSResourceForecast (optional)

NITSResourceDesignation

NITSResourceCapacity

NITSSchedulingRights

AuxiliaryTransmission (optional)

OASIS Template:

INPUT Template

9 

REQUEST Template

9

DATA Template(s)

Key to WEQ-002 Data Template elements used 

in this Process Map:

Templates use a nested hierarchy. As 

shown in Example A below, to use a 

DATA template, a specific INPUT and 

REQUEST template must also be 

referenced. Hence, the scenarios here 

show the first three levels of the 

hierarchy.

OASIS Template:

NewNITSRequest

9 

NewNITSApplication

9

NITSService

NITSCustomer

NITSAgent

Example A:

Example B:

In Example B below, the INPUT template 

is NewNITSRequest, the REQUEST 

template is NewNITSApplication, and the 

DATA templates are NITSService, 

NITSCustomer, and NITSAgent. 

NOTE: The 

AuxiliaryTransmission 

data template is used 

only for resources 

identified as 

OFF_SYSTEM

Customer:

References 

previously 

defined 

Resource 

OASIS Template:

NewNITSRequest

9 

AddNITSDNR

9

NITSResourceDescription

NITSNITSResourceForecast (optional)

Go to 

AddDNR 

(02)




Exhibit 105.1 – PRE-SUBMITTED DESIGNATED NETWORK RESOURCE PROCESSING

Pre-submitted modification to service requests may be developed by the Eligible Network Customer or Network Customer, or their Designated Agent, offline or developed on OASIS using the Transmission Provider’s Pre-submittal Workspace to arrange for modification to service with the Transmission Provider.

013-105.1.1
PRE-SUBMITTED DESIGNATED NETWORK RESOURCE 

Pre-submitted DNRs shall be submitted by the Eligible Network Customer or Network Customer (or Designated Agent) to arrange for a new or modified DNR on OASIS. The following are requirements for the DNR request associated with pre-submittal of the DNR using the NewNITSRequest NITS OASIS INPUT Template.  
NewNITSRequest NITS OASIS INPUT Template may be used to open a new OASIS Pre-submittal Workspace and begin the process for submitting a new or modification DNR. Along with this NITS OASIS INPUT Template a single NITS OASIS REQUEST Template AddNITSDNR with the NITS OASIS DATA Templates NITSResourceDescription, NITSResourceForecast, NITSResourceDesignation, NITSResourceCapacity, NITSSchedulingRights, and AuxillaryTransmission must also be submitted for a new or modification DNR. 

Data structures for the NITS OASIS INPUT, REQUEST, and DATA Templates are defined in Business Practice Standards WEQ-002-100.
To create the Pre-submittal Workspace, the Eligible Network Customer or Network Customer (or Designated Agent) must submit the request with the STATUS of PRESUBMITTED, along with the required ASSIGNMENT_REF and APPLICATION_REF Data Elements. OASIS will then create the Pre-submittal Workspace and use the inputted reference numbers assigned for making addition(s) or modification(s) to the NITS Application. OASIS will return a request response to the Eligible Network Customer or Network Customer (or Designated Agent), indicating the success/failure of the NewNITSRequest NITS OASIS REQUEST Template request.
Once the Pre-submittal Workspace has been created for the DNR, the Eligible Network Customer or Network Customer (or Designated Agent) may add all required information associated with the DNR through the submission of the appropriate NITS OASIS INPUT, REQUEST and DATA Templates.  Minimum information requirements for submission of the DNR are subject to the Transmission Provider’s Business Practices.
If the Eligible Network Customer or Network Customer (or Designated Agent) does not wish to create a Pre-submittal Workspace, then the Eligible Network Customer or Network Customer (or Designated Agent) must submit the request with the STATUS of QUEUED along with the required ASSIGNMENT_REF and APPLICATION_REF Data Elements in the appropriate NITS OASIS DATA Templates. Minimum information requirements that must be submitted in the DNR are subject to the Transmission Provider’s Business Practices.

013-105.1.2
ADD INFORMATION TO THE PRE-SUBMITTED DESGINATED NETWORK RESOURCE
To add information in the pre-submitted DNR process is defined in accordance with Business Practice Standard WEQ-013-102.1.2 for add DNR; however, individual tariffs may dictate specific permissible actions between states that are not reflected in this diagram.

[image: image9.emf]From

AddDNR 

(02)

NITS Process Map: AddDNR (02)

Typical Scenarios ONLY, 06-27-2011 Revision 1

Questions/Comments/Errata: e-mail WEQ_OS@naesb.org or pblee@bpa.gov

(This box shall be removed prior to publication in the S&CP booklet.)

Customer:Does the 

AddDNR request require 

an update before TP 

assessment?

1

Yes

No

AddDNR(02)Process Map

Note: This process map does not illustrate all possible NITS DNR Addition scenarios.

OASIS Template:

UpdateNITSRequest

9 

AddNITSDNR

9

NITSResourceDescription

NITSNITSResourceForecast (optional)

NITSResourceDesignation

NITSResourceCapacity

NITSSchedulingRights

AuxiliaryTransmission (optional)

Customer:

Updates DNR 

Customer:

Submits NITS 

DNR request to 

Transmission 

Provider

OASIS/Transmission 

Provider:Is the DNR request 

Deficient?

2

No

Yes

TP/TSIP:

Sets status of 

NITS DNR 

request to 

RECEIVED

OASIS Template:

UpdateNITSRequest

9 

AddNITSDNR

ASSIGNMENT_REF

(STATUS = QUEUED)

OASIS:

Sets status of 

DNR request to 

COMPLETED

DNR request processed 

as described in Business 

Practice Standards, including the 

NITS Modification of Service

State Diagram.


Exhibit 105.1.2 – ADD INFORMATION TO THE PRE-SUBMITTED DESIGNATED NETWORK RESOURCE PROCESSING 

013-105.1.3
UPDATING INFORMATION TO THE PRE-SUBMITTED OR COMPLETED DESIGNATED NETWORK RESOURCE
To update information in the pre-submitted or completed DNR process is defined in accordance to Business Practice Standard WEQ-013-102.1.3 for update DNR; however, individual tariffs may dictate specific allowed actions between states that are not reflected in this 
diagram.
013-105.1.4
SUBMITTING THE DESIGNATED NETWORK RESOURCE
To complete the process to the pre-submitted DNR process is defined in accordance to Business Practice Standard WEQ-013-102.1.4 for update DNR; however, individual tariffs may dictate specific allowed actions between states that are not reflected in this 
diagram.
013-105.1.5
COMPLETING THE DESIGNATED NETWORK RESOURCE
Once submitted by the Eligible Network Customer or Network Customer (or Designated Agent) the Transmission Provider shall acknowledge receipt of the NITS Application by setting the STATUS of the AddNITSDNR NITS OASIS REQUEST Template request to RECEIVED.

The Transmission Provider will then review the DNR for the specified minimum information requirements. If the minimum information has not been provided the Transmission provider shall set the STATUS of the AddNITSDNR NITS OASIS REQUEST Template request to INVALID or DEFICIENT. 
The Transmission Provider shall determine if each of the individual requests (e.g., AddNITSResource NITS OASIS REQUEST Template), and associated information required in a DNR can be deemed sufficient (i.e. consistent with the Transmission Provider’s OATT requirements for a Completed Application). If sufficient, the Transmission Provider shall set the STATUS of each such individual request to COMPLETED. If insufficient, the Transmission Provider shall set the STATUS of each such individual request to INVALID or DEFICIENT. 

The Eligible Network Customer or Network Customer (or Designated Agent) must take the appropriate actions required to repair all deficiencies identified by the Transmission Provider in the DNR. Once all the individual requests considered as part of the DNR have been set to the STATUS of COMPLETED, the Transmission Provider shall set the overall AddNITSDNR NITS OASIS REQUEST Template request to the STATUS of COMPLETED and the process can continue with the evaluation of the completed DNR.

013-105.1.6
DEFICIENT PROCESSING

Deficient information processing of the submitted DNR shall be submitted by the Eligible Network Customer or Network Customer (or Designated Agent) to remedy the deficiency. The following are requirements for DNR request associated with remedying the deficient DNR using the UpdateNITSRequest and/or NewNITSRequest NITS OASIS INPUT Templates.  
The UpdateNITSRequest NITS OASIS INPUT Template structure is used to remedy deficient information to the submitted DNR by updating or adding additional information to the NITS OASIS DATA Templates associated with the specific request(s) that have been marked DEFICIENT.  The applicable NITS OASIS DATA Templates associated with each NITS OASIS REQUEST Template, and any restrictions on the information that may be updated in the existing request, are set forth in Business Practice Standard WEQ-002-101.x.x.

If the deficiency can be remedied by updating the information associated with a given DEFICIENT request, the Eligible Network Customer or Network Customer (or Designated Agent) can use the UpdateNITSRequest NITS OASIS INPUT Template structure to submit the updated information and reset the request’s STATUS to REEVALUATE for reconsideration by the Transmission Provider.

If the deficiency cannot be remedied by updating the information associated with a given DEFICIENT request, the Eligible Network Customer or Network Customer (or Designated Agent) can use the UpdateNITSRequest NITS OASIS INPUT Template structure to set the request’s STATUS to WITHDRAWN and remove that request from further consideration by the Transmission Provider.  New information can then be added to the NITS Application by submission of one or more new DNR requests using the NewNITSRequest NITS OASIS INPUT Template.
The NewNITSRequest NITS OASIS INPUT Template is used to add additional requests to the DNR to remedy the deficiency by using the process as described in Business Practice Standard WEQ-013-102.2.  New requests may be added to the Pre-submittal Workspace and updated prior to submission for consideration by the Transmission Provider, or the requests may be submitted directly with the STATUS of QUEUED to be considered by the Transmission Provider as part of the NITS Application.
Once the Eligible Network Customer or Network Customer (or Designated Agent) has withdrawn, updated, or added information to remedy the deficiency to a submitted DNR the Eligible Network Customer or Network Customer (or Designated Agent) must submit the request with the STATUS of REEVALUATE using the UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure. 
Any new or updated DNR requests that are QUEUED or set to REEVALUATE may be set to the STATUS to INVALID, DECLINED, DEFICIENT if the Transmission Provider determines that the Eligible Network Customer or Network Customer (or Designated Agent) has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.).  If the new or updated information has remedied the deficiency for that portion of the DNR, the Transmission Provider shall set the STATUS of associated request to COMPLETED.
The Transmission Provider will then continue the processing using the process in accordance with Business Practice Standard WEQ-013-102.4 until all deficiencies are resolved and the Transmission Provider sets the AddNITSDNR NITS OASIS REQUEST Template request STATUS of the entire DNR to COMPLETED. 
013-105.1.7
EVALUATION OF DESIGNATED NETWORK RESOURCE
The exhibit as shown in Business Practice Standard WEQ 013-101.3 should be used as a business process guideline and illustrates the valid changes that may be made to the STATUS value by the Transmission Provider, the Eligible Network Customer, or Network Customer (or Designated Agent) during the DNR process; however, individual tariffs may dictate specific actions allowed between states that are not reflected in this diagram.
013-105.1.8
REVIEW OF COMPLETED DESGINATED NETWORK RESOURCE 

The Transmission Provider shall review of the completed DNR prior to setting the DNR STATUS to CONFIRMED. The following are requirements for the DNR request(s) associated with confirming the submitted DNR, using the UpdateNITSRequest NITS OASIS INPUT Template.  
UpdateNITSRequest NITS OASIS INPUT Template is used to set the status of the overall DNR. Along with this NITS OASIS INPUT Template, the AddNITSDNR NITS OASIS REQUEST Template must also be submitted to update the status. No NITS OASIS DATA Templates are required as the STATUS Data Element being updated is included in the NITS OASIS REQUEST Template Header Record.

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure is used to set the STATUS to STUDY from COMPLETED, if the Transmission Provider determines that some level of study is required or is being performed.
UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template is used to set the STATUS to DECLINED, REFUSED, COUNTEROFFER, CR_COUNTEROFFER, ACCEPTED, or CR_ACCEPTED from STUDY, according to the Business Practice Standards WEQ-001-103.2 through WEQ-001-103.6.

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure is used to set the STATUS to DECLINED from STUDY if the Transmission Provider determines that the Eligible Network Customer or Network Customer (or Designated Agent) has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.).
UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure is used to set the STATUS to REFUSED from STUDY if the Transmission Provider determines that the requested service cannot be provided due to insufficient transfer capability consistent with the Transmission Provider’s tariff requirements.

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure is used to set the STATUS to COUNTEROFFER or CR_COUNTEROFFER from STUDY, if the Transmission Provider determines that the DNR is to be granted only in part as requested in the DNR. Prior to setting the overall DNR to COUNTEROFFER or CR_COUNTEROFFER the Transmission Provider shall update the status associated with each portion of the completed DNR to COUNTEROFFER or CR_COUNTEROFFER.
UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS Template structure is used to set the STATUS to ACCEPTED or CR_ACCEPTED from STUDY, if the Transmission Provider determines that the DNR is to be granted as specified in the DNR. Prior to setting the overall DNR to ACCEPTED or CR_ACCEPTED the Transmission Provider shall update the status associated with each portion of the completed DNR to ACCEPTED or CR_ACCEPTED.

Once the DNR has been set to the STATUS of ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER the Eligible Network Customer or Network Customer (or Designated Agent) must set the STATUS of the overall DNR to CONFIRMED or WITHDRAWN according to the time limits specified in the Transmission Provider’s tariff for execution of a service agreement or for requesting filing of an unexecuted service agreement using the UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure.

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure is used to set the STATUS to RETRACTED from ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER if the Eligible Network Customer or Network Customer (or Designated Agent) has not set the STATUS to CONFIRMED or WITHDRAWN according to the time limits specified in the Transmission Provider’s tariff for execution of a service agreement or for requesting filing of an unexecuted service agreement.
Once the overall DNR has been set to the STATUS of CONFIRMED any changes to the NITS Application will be made in accordance with Business Practice Standard WEQ-013-105 unless otherwise mutually agreed; in which case the Transmission Provider shall set the status of the overall NITS Application and all data structures of the NITS Application that are not already in a final state to ANNULLED using the UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure.

UpdateNITSRequest NITS OASIS INPUT Template structure is used to make administrative changes in accordance with Business Practice Standards WEQ-001-104 and WEQ-013-102.3.1.

UpdateNITSRequest NITS OASIS INPUT Template structure is used if the request is not an administrative change the Transmission Provider shall set the STATUS of the request to INVALID.

UpdateNITSRequest NITS OASIS INPUT Template structure is used if, during informal communications, it is determined that a change to the DNR is necessary, the Eligible Network Customer or Network Customer (or Designated Agent) shall use the process for modification of service in accordance with Business Practice Standards WEQ 001-105 and WEQ-013-105 to submit a request for such change.
Once the overall DNR has been set to the STATUS of CONFIRMED any changes to the NITS Application will be made in accordance with Business Practice Standard WEQ-013-105 unless otherwise mutually agreed; in which case the Transmission Provider shall set the status of the overall DNR and all data structures of the DNR that are not already in a final state to ANNULLED using the UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure.
013-105.2 
PRE-SUBMITTED TERMINATION
 OF DESIGNATED NETWORK RESOURCE
The following termination processing to terminate (temporary or permanent) of DNRs should be used as a business process guideline and illustrates the valid changes that may be made to the process by the Transmission Provider, the Eligible Network Customer or the Network Customer (or Designated Agent) during the termination process; however, individual tariffs may dictate specific allowed actions between states that are not reflected in this diagram.
Exhibit 105.2 – TERMINATE (TEMPORARY OR PERMANENT) DNR PROCESSING 

013-105.2.1
PRE-SUBMITTED TERMINATION 

Pre-submitted termination (temporary or permanent) requests may be developed by the Eligible Network Customer or Network Customer, or their Designated Agent, offline or developed on OASIS using the Transmission Provider’s Pre-submittal Workspace to arrange for termination (temporary or permanent) with the Transmission Provider.

Pre-submitted termination shall be submitted by the Eligible Network Customer or Network Customer (or Designated Agent) to arrange for the termination on OASIS. The following are requirements for the termination request associated with pre-submittal of the termination using the NewNITSRequest NITS OASIS INPUT Template.  
NewNITSRequest NITS OASIS INPUT Template may be used to open a new OASIS Pre-submittal Workspace and begin the process for submitting a termination. Along with this NITS OASIS INPUT Template a single NITS OASIS REQUEST Template TerminateNITSDNR with the NITS OASIS DATA Templates NITSResourceDesignation and NITSResourceCapacity must also be submitted for a termination. 

Data structures for the NITS OASIS INPUT, REQUEST, and DATA Templates are defined in Business Practice Standards WEQ-002-100.
To create the Pre-submittal Workspace the Eligible Network Customer or Network Customer (or Designated Agent) must submit the request with the STATUS of PRESUBMITTED along with the required ASSIGNMENT_REF and APPLICATION_REF Data Elements. OASIS will then create the Pre-submittal Workspace and use the inputted reference numbers assigned for making addition or modification to the NITS Application. The OASIS will return a request response to the Eligible Network Customer or Network Customer (or Designated Agent) indicating the success/failure of the NewNITSRequest NITS OASIS REQUEST Template request.

Once the Pre-submittal Workspace has been created for the termination, the Eligible Network Customer or Network Customer (or Designated Agent) may add all required information associated with the termination through the submission of the appropriate NITS OASIS INPUT, REQUEST and DATA Templates.  Minimum information requirements that must be submitted for the termination are subject to the Transmission Provider’s Business Practices.

If the Eligible Network Customer or Network Customer (or Designated Agent) does not wish to create a Pre-submittal Workspace then the Eligible Network Customer or Network Customer (or Designated Agent) must submit the request with the STATUS of QUEUED along with the required ASSIGNMENT_REF and APPLICATION_REF Data Elements in the appropriate NITS OASIS DATA Templates. Minimum information requirements that must be submitted in the termination are subject to the Transmission Provider’s Business Practices.

013-105.2.2
COMPLETING THE TERMINATION
To complete the process to the pre-submitted termination process is defined in accordance to Business Practice Standard WEQ-013-102.1.4 for update DNR; however, individual tariffs may dictate specific allowed actions between states that are not reflected in this diagram.
Once submitted by the Eligible Network Customer or Network Customer (or Designated Agent) the Transmission Provider shall acknowledge receipt of the NITS Application by setting the STATUS of the TerminateNITSDNR NITS OASIS REQUEST Template request to RECEIVED.

The Transmission Provider will then review the termination for the specified minimum information requirements as required. If the information has not been provided the Transmission provider shall set the STATUS of the TerminateNITSDNR NITS OASIS REQUEST Template request to INVALID or DEFICIENT (temporary only).
The Transmission Provider shall then determine if each of the individual requests (e.g., TerminateNITSDNR NITS OASIS REQUEST Template) and associated information required in a termination can be deemed sufficient (i.e. consistent with the Transmission Provider’s OATT requirements for a termination). If deemed sufficient, the Transmission Provider shall set the STATUS of each such individual request to COMPLETED. If not deemed sufficient, the Transmission Provider shall set the STATUS of each such individual request to INVALID or DEFICIENT (temporary only). 

The Eligible Network Customer or Network Customer (or Designated Agent) must take the appropriate actions required to remove all deficiencies identified by the Transmission Provider in the termination. Once all the individual requests to be considered part of the termination for evaluation have been set to the STATUS of COMPLETED, the Transmission Provider shall set the overall TerminateNITSDNR NITS OASIS REQUEST Template request to the STATUS of COMPLETED and the process can continue with the evaluation of the completed termination. 

Deficient processing to the submitted termination shall be submitted by the Eligible Network Customer or Network Customer (or Designated Agent) to remedy the deficient information to the termiation on OASIS. The following are requirements for termination request associated with remedying the deficient termination using the UpdateNITSRequest and/or NewNITSRequest NITS OASIS INPUT Templates.  
The UpdateNITSRequest NITS OASIS INPUT Template structure is used to remedy deficient information to the submitted termination by updating or adding additional information to the NITS OASIS DATA Templates associated with the specific request(s) that have been marked DEFICIENT.  The applicable NITS OASIS DATA Templates associated with each NITS OASIS REQUEST Template, and any restrictions on the information that may be updated in the existing request are set forth in Business Practice Standard WEQ-002-101.x.x.
If the deficiency can be remedied by updating the information associated with a given DEFICIENT request, the Eligible Network Customer or Network Customer (or Designated Agent) can use the UpdateNITSRequest NITS OASIS INPUT Template structure to submit the updated information and reset the request’s STATUS to REEVALUATE for reconsideration by the Transmission Provider.

If the deficiency cannot be remedied by updating the information associated with a given DEFICIENT request, the Eligible Network Customer or Network Customer (or Designated Agent) can use the UpdateNITSRequest NITS OASIS INPUT Template structure to set the request’s STATUS to WITHDRAWN and remove that request from further consideration by the Transmission Provider.  New information can then be added to the NITS Application by submission of one or more new termination requests using the NewNITSRequest NITS OASIS INPUT Template.
The NewNITSRequest NITS OASIS INPUT Template is used to add additional requests to the termination to remedy the deficiency by using the process as described in Business Practice Standard WEQ-013-102.2.  New requests may be added to the Pre-submittal Workspace and updated prior to submission for consideration by the Transmission Provider, or the requests may be submitted directly with the STATUS of QUEUED to be considered by the Transmission Provider as part of the NITS Application.
Once the Eligible Network Customer or Network Customer (or Designated Agent) has withdrawn, updated, or added information to remedy the deficiency to a submitted termination the Eligible Network Customer or Network Customer (or Designated Agent) must submit the request with the STATUS of REEVALUATE using the UpdateNITSRequest NITS OASIS INPUT Template and the TerminateNITSDNR NITS OASIS REQUEST Template structure. 
Any new or updated termination requests that are QUEUED or set to REEVALUATE may be set to the STATUS to INVALID, DECLINED, DEFICIENT if the Transmission Provider determines that the Eligible Network Customer or Network Customer (or Designated Agent) has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.).  If the new or updated information has remedied the deficiency for that portion of the termination, the Transmission Provider shall set the STATUS of associated request to COMPLETED.
The Transmission Provider will then continue the processing using the process in accordance with Business Practice Standard WEQ-013-102.4 until all deficiencies are resolved and the Transmission Provider sets the TerminateNITSDNR NITS OASIS REQUEST Template request STATUS of the entire termination to COMPLETED. 
013-105.2.3
EVALUATION OF TERMINATION
The exhibit as shown in Business Practice Standard WEQ 013-101.3 should be used as a business process guideline and illustrates the valid changes that may be made to the STATUS value by the Transmission Provider, the Eligible Network Customer, or Network Customer (or Designated Agent) during the termination process; however, individual tariffs may dictate specific actions allowed between states that are not reflected in this diagram.
Review of the completed termination process will be made by the Transmission Provider and shall be made prior to the termination STATUS being set to CONFIRMED. The following are requirements for the termination request associated with confirming the submitted termination using the UpdateNITSRequest NITS OASIS INPUT Template.  
UpdateNITSRequest NITS OASIS INPUT Template is used to set the status of the overall termination. Along with this NITS OASIS INPUT Template the TerminateNITSDNR NITS OASIS REQUEST Template, must also be submitted to update the status. No NITS OASIS DATA Templates are required as the STATUS Data Element being updated is included in the NITS OASIS REQUEST Template Header Record.

UpdateNITSRequest NITS OASIS INPUT Template and the TerminateNITSDNR NITS OASIS Template structure will be used to set the STATUS to ACCEPTED or CR_ACCEPTED from COMPLETED, if the Transmission Provider determines that the termination is to be granted as specified in the termination. Prior to setting the overall termination to ACCEPTED or CR_ACCEPTED the Transmission Provider shall update the status associated with each portion of the completed termination to ACCEPTED or CR_ACCEPTED.

Once the termination has been set to the STATUS of ACCEPTED or CR_ACCEPTED the Eligible Network Customer or Network Customer (or Designated Agent) must set the STATUS of the overall termination to CONFIRMED or WITHDRAWN according to the time limits specified in the Transmission Provider’s tariff for execution of a termination using the UpdateNITSRequest NITS OASIS INPUT Template and the TerminateNITSDNR NITS OASIS REQUEST Template structure.

UpdateNITSRequest NITS OASIS INPUT Template and the TerminateNITSDNR NITS OASIS REQUEST Template structure will be used to set the STATUS to RETRACTED from ACCEPTED or CR_ACCEPTED if the Eligible Network Customer or Network Customer (or Designated Agent) has not set the STATUS to CONFIRMED or WITHDRAWN according to the time limits specified in the Transmission Provider’s tariff for termination.
013-105.3
PRE-SUBMITTED NETWORK LOAD PROCESSING

The following Network Load processing should be used as a business process guideline and illustrates the valid changes that may be made to the process by the Transmission Provider, the Eligible Network Customer or the Network Customer (or Designated Agent) during the Network Load process; however, individual tariffs may dictate specific allowed actions between states that are not reflected in this diagram.
Exhibit 105.3 – NETWORK LOAD PROCESSING 

Pre-submitted modification to service requests may be developed by the Eligible Network Customer or Network Customer, or their Designated Agent, offline or developed on OASIS using the Transmission Provider’s Pre-submittal Workspace to arrange for modification to service with the Transmission Provider.

013-105.3.1
PRE-SUBMITTED NETWORK LOAD 

Pre-submitted Network Load shall be submitted by the Eligible Network Customer or Network Customer (or Designated Agent) to arrange for a new or modification Network Load on OASIS. The following are requirements for the Network Load request associated with pre-submittal of the Network Load using the NewNITSRequest NITS OASIS INPUT Template.  
NewNITSRequest NITS OASIS INPUT Template may be used to open a new OASIS Pre-submittal Workspace and begin the process for submitting a new or modification Network Load. Along with this NITS OASIS INPUT Template a single NITS OASIS REQUEST Template AddNITSLoad with the NITS OASIS DATA Templates NITSLoadDescription and NITSLoadForecast must also be submitted for a new or modification Network Load. 

Data structures for the NITS OASIS INPUT, REQUEST, and DATA Templates are defined in Business Practice Standards WEQ-002-100.
To create the Pre-submittal Workspace the Eligible Network Customer or Network Customer (or Designated Agent) must submit the request with the STATUS of PRESUBMITTED along with the required ASSIGNMENT_REF and APPLICATION_REF Data Elements. OASIS will then create the Pre-submittal Workspace and use the inputted reference numbers assigned for making addition or modification to the NITS Application. The OASIS will return a request response to the Eligible Network Customer or Network Customer (or Designated Agent) indicating the success/failure of the NewNITSRequest NITS OASIS REQUEST Template request.

Once the Pre-submittal Workspace has been created for the Network Load, the Eligible Network Customer or Network Customer (or Designated Agent) may add all required information associated with the Network Load through the submission of the appropriate NITS OASIS INPUT, REQUEST and DATA Templates.  Minimum information requirements that must be submitted for the Network Load are subject to the Transmission Provider’s Business Practices.

If the Eligible Network Customer or Network Customer (or Designated Agent) does not wish to create a Pre-submittal Workspace then the Eligible Network Customer or Network Customer (or Designated Agent) must submit the request with the STATUS of QUEUED along with the required ASSIGNMENT_REF and APPLICATION_REF Data Elements in the appropriate NITS OASIS DATA Templates. Minimum information requirements that must be submitted in the Network Load are subject to the Transmission Provider’s Business Practices.

013-105.3.2
ADD INFORMATION TO THE PRE-SUBMITTED NETWORK LOAD
To add additional information to the pre-submitted Network Load process is define in accordance to Business Practice Standard WEQ-013-102.1.2 for add Network Load; however, individual tariffs may dictate specific allowed actions between states that are not reflected in this diagram.

013-105.3.3
UPDATING INFORMATION TO THE PRE-SUBMITTED OR COMPLETED NETWORK LOAD
To update information in the pre-submitted or completed Network Load process is defined in accordance to Business Practice Standard WEQ-013-102.1.3 for update Network Load; however, individual tariffs may dictate specific allowed actions between states that are not reflected in this diagram.
013-105.3.4
SUBMITTING THE NETWORK LOAD
To complete the process to the pre-submitted Network Load process is defined in accordance to Business Practice Standard WEQ-013-102.1.4 for update Network Load; however, individual tariffs may dictate specific allowed actions between states that are not reflected in this diagram.
013-105.3.5
COMPLETING THE NETWORK LOAD
Once submitted by the Eligible Network Customer or Network Customer (or Designated Agent) the Transmission Provider shall acknowledge receipt of the Network Load by setting the STATUS of the AddNITSLoad NITS OASIS REQUEST Template request to RECEIVED.

The Transmission Provider will then review the Network Load for the specified minimum information requirements as required. If the information has not been provided the Transmission provider shall set the STATUS of the AddNITSLoad NITS OASIS REQUEST Template request to INVALID or DEFICIENT. 
The Transmission Provider shall then determine if each of the individual requests (e.g., AddNITSLoad NITS OASIS REQUEST Template) and associated information required in a Network Load can be deemed sufficient (i.e. consistent with the Transmission Provider’s OATT requirements for a Completed Application). If deemed sufficient, the Transmission Provider shall set the STATUS of each such individual request to COMPLETED. If not deemed sufficient, the Transmission Provider shall set the STATUS of each such individual request to INVALID or DEFICIENT. 

The Eligible Network Customer or Network Customer (or Designated Agent) must take the appropriate actions required to remove all deficiencies identified by the Transmission Provider in the Network Load. Once all the individual requests to be considered part of the Network Load for evaluation have been set to the STATUS of COMPLETED, the Transmission Provider shall set the overall AddNITSLoad NITS OASIS REQUEST Template request to the STATUS of COMPLETED and the process can continue with the evaluation of the completed Network Load.

013-105.3.6
DEFICIENT PROCESSING

Deficient processing to the submitted Network Load shall be submitted by the Eligible Network Customer or Network Customer (or Designated Agent) to remedy the deficient information to the Network Load on OASIS. The following are requirements for Network Load request associated with remedying the deficient Network Load using the UpdateNITSRequest and/or NewNITSRequest NITS OASIS INPUT Templates.  
The UpdateNITSRequest NITS OASIS INPUT Template structure is used to remedy deficient information to the submitted Network Load by updating or adding additional information to the NITS OASIS DATA Templates associated with the specific request(s) that have been marked DEFICIENT.  The applicable NITS OASIS DATA Templates associated with each NITS OASIS REQUEST Template, and any restrictions on the information that may be updated in the existing request are set forth in Business Practice Standard WEQ-002-101.x.x.

If the deficiency can be remedied by updating the information associated with a given DEFICIENT request, the Eligible Network Customer or Network Customer (or Designated Agent) can use the UpdateNITSRequest NITS OASIS INPUT Template structure to submit the updated information and reset the request’s STATUS to REEVALUATE for reconsideration by the Transmission Provider.

If the deficiency cannot be remedied by updating the information associated with a given DEFICIENT request, the Eligible Network Customer or Network Customer (or Designated Agent) can use the UpdateNITSRequest NITS OASIS INPUT Template structure to set the request’s STATUS to WITHDRAWN and remove that request from further consideration by the Transmission Provider.  New information can then be added to the NITS Application by submission of one or more new Network Load requests using the NewNITSRequest NITS OASIS INPUT Template.
The NewNITSRequest NITS OASIS INPUT Template is used to add additional requests to the Network Load to remedy the deficiency by using the process as described in Business Practice Standard WEQ-013-102.2.  New requests may be added to the Pre-submittal Workspace and updated prior to submission for consideration by the Transmission Provider, or the requests may be submitted directly with the STATUS of QUEUED to be considered by the Transmission Provider as part of the Network Load.
Once the Eligible Network Customer or Network Customer (or Designated Agent) has withdrawn, updated, or added information to remedy the deficiency to a submitted Network Load the Eligible Network Customer or Network Customer (or Designated Agent) must submit the request with the STATUS of REEVALUATE using the UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSLoad NITS OASIS REQUEST Template structure. 
Any new or updated Network Load requests that are QUEUED or set to REEVALUATE may be set to the STATUS to INVALID, DECLINED, DEFICIENT if the Transmission Provider determines that the Eligible Network Customer or Network Customer (or Designated Agent) has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.).  If the new or updated information has remedied the deficiency for that portion of the Network Load, the Transmission Provider shall set the STATUS of associated request to COMPLETED.
The Transmission Provider will then continue the processing using the process in accordance with Business Practice Standard WEQ-013-102.4 until all deficiencies are resolved and the Transmission Provider sets the AddNITSLoad NITS OASIS REQUEST Template request STATUS of the entire DNR to COMPLETED. 
013-105.3.7
EVALUATION OF NETWORK LOAD
The exhibit as shown in Business Practice Standard WEQ 013-101.3 should be used as a business process guideline and illustrates the valid changes that may be made to the STATUS value by the Transmission Provider, the Eligible Network Customer, or Network Customer (or Designated Agent) during the Network Load process; however, individual tariffs may dictate specific actions allowed between states that are not reflected in this diagram.
013-105.3.8
REVIEW OF COMPLETED NETWORK LOAD
Review of the completed Network Load process will be made by the Transmission Provider and shall be made prior to the Network Load STATUS being set to CONFIRMED. The following are requirements for Network Load request associated with confirming the submitted Network Load using the UpdateNITSRequest NITS OASIS INPUT Template.  
UpdateNITSRequest NITS OASIS INPUT Template is used to set the status of the overall Network Load. Along with this NITS OASIS INPUT Template the AddNITSLoad NITS OASIS REQUEST Template, must also be submitted to update the status. No NITS OASIS DATA Templates are required as the STATUS Data Element being updated is included in the NITS OASIS REQUEST Template Header Record.

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSLoad NITS OASIS REQUEST Template structure will be used to set the STATUS to STUDY from COMPLETED, if the Transmission Provider determines that some level of study is required or is being performed.
UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSLoad NITS OASIS REQUEST Template will be used to set the STATUS to DECLINED, REFUSED, COUNTEROFFER, CR_COUNTEROFFER, ACCEPTED, or CR_ACCEPTED from STUDY according to the Business Practice Standards WEQ-001-103.2 through WEQ-001-103.6.

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSLoad NITS OASIS REQUEST Template structure will be used to set the STATUS to DECLINED from STUDY, if the Transmission Provider determines that the Eligible Network Customer or Network Customer (or Designated Agent) has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.).
UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSLoad NITS OASIS REQUEST Template structure will be used to set the STATUS to REFUSED from STUDY, if the Transmission Provider determines that the requested service cannot be provided due to insufficient transfer capability consistent with the Transmission Provider’s tariff requirements.

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSLoad NITS OASIS REQUEST Template structure will be used to set the STATUS to COUNTEROFFER or CR_COUNTEROFFER from STUDY, if the Transmission Provider determines that the Network Load is to be granted only in part as specified in the Network Load. Prior to setting the overall Network Load to COUNTEROFFER or CR_COUNTEROFFER the Transmission Provider shall update the status associated with each portion of the completed Network Load to COUNTEROFFER or CR_COUNTEROFFER.
UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSLoad NITS OASIS Template structure will be used to set the STATUS to ACCEPTED or CR_ACCEPTED from STUDY, if the Transmission Provider determines that the Network Load is to be granted as specified in the Network Load. Prior to setting the overall Network Load to ACCEPTED or CR_ACCEPTED the Transmission Provider shall update the status associated with each portion of the completed Network Load to ACCEPTED or CR_ACCEPTED.

Once the Network Load has been set to the STATUS of ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER the Eligible Network Customer or Network Customer (or Designated Agent) must set the STATUS of the overall Network Load to CONFIRMED or WITHDRAWN according to the time limits specified in the Transmission Provider’s tariff for Network Load using the UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSLoad NITS OASIS REQUEST Template structure.

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSLoad NITS OASIS REQUEST Template structure will be used to set the STATUS to RETRACTED from ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER if the Eligible Network Customer or Network Customer (or Designated Agent) has not set the STATUS to CONFIRMED or WITHDRAWN according to the time limits specified in the Transmission Provider’s tariff for Network Load.
Once the overall Network Load has been set to the STATUS of CONFIRMED any changes to the NITS Application will be made in accordance with Business Practice Standard WEQ-013-105 unless otherwise mutually agreed; in which case the Transmission Provider shall set the status of the overall NITS Application and all data structures of the NITS Application that are not already in a final state to ANNULLED using the UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSLoad NITS OASIS REQUEST Template structure.

UpdateNITSRequest NITS OASIS INPUT Template structure will be used if, during informal communications, it is determined that a change to the Network Load is necessary, the Eligible Network Customer or Network Customer (or Designated Agent) shall use the process for modification of service in accordance with Business Practice Standards WEQ 001-105 and WEQ-013-105 to submit a request for such change.
Once the overall Network Load has been set to the STATUS of CONFIRMED any changes to the Network Load will be made in accordance with Business Practice Standard WEQ-013-105 unless otherwise mutually agreed; in which case the Transmission Provider shall set the status of the overall Network Load and all data structures of the Network Load that are not already in a final state to ANNULLED using the UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSLoad NITS OASIS REQUEST Template structure.
013-105.4
NETWORK INTEGRATION TRANSMISSION SERVICE –CONCOMITANT EVALUATION
The exhibit as shown in Business Practice Standard WEQ 013-101.3 should be used as a business process guideline and illustrates the valid changes that may be made to the STATUS value by the Transmission Provider or the Network Customer (or Designated Agent) during the Concomitant Evaluation process; however, individual tariffs may dictate specific actions allowed between states that are not reflected in this diagram.
Concomitant Evaluation shall be submitted by the Network Customer (or Designated Agent) to arrange for Concomitant Evaluation on OASIS. The following are requirements for the Concomitant Evaluation request using the NewConcomitantRequest NITS OASIS INPUT Template.  
NewConcomitantRequest NITS OASIS INPUT Template may be used to begin the process for submitting a Concomitant Evaluation. Along with this NITS OASIS INPUT Template NITS OASIS REQUEST Template TerminateNITSDNR, plus one of these AddNITSDNR, AddNITSSecondary, and AddPTPService NITS OASIS REQUEST Templates, with the NITS OASIS DATA Templates NITSResourceDesignation, NITSResourceCapacity, NITSResourceDescription, NITSResourceForecast, NITSSchedulingRights, AuxillaryTransmisison, NITSSecondaryService, NITSSecondaryCapacity, PTPService, and PTPCapacity must also be submitted for a Concomitant Evaluation. 

Data structures for the NITS OASIS INPUT, REQUEST, and DATA Templates are defined in Business Practice Standards WEQ-002-100.
The Network Customer (or Designated Agent) shall indicate to the Transmission Provider that the request for Concomitant Evaluation is ready for Transmission Provider review by submitting the request on OASIS.

OASIS shall set the queue time for the request for Concomitant Evaluation to the time that the Network Customer (or Designated Agent) submits the request, and shall set the status of the request to QUEUED.

Once submitted by the Network Customer (or Designated Agent) the Transmission Provider shall acknowledge receipt of the Concomitant Evaluation by setting the STATUS of the TerminateNITSDNR plus one of these AddNITSDNR, AddNITSSecondary, and AddPTPService NITS OASIS REQUEST Template requests to RECEIVED.

AddNITSDNR processing
If the AddNITSDNR NITS OASIS REQUEST Template has been submitted with the TerminateNITSDNR NITS OASIS REQUEST Template, the Transmission Provider will then review the Concomitant Evaluation for the specified minimum information requirements as required for adding DNR’s. If the information has not been provided the Transmission Provider shall set the STATUS of the AddNITSDNR NITS OASIS REQUEST Template request to INVALID or DEFICIENT. 
The Transmission Provider shall then determine if each of the individual NITS OASIS DATA Templates (e.g., NITSResourceDesignation NITS OASIS DATA Template) and associated information required in a Concomitant Evaluation can be deemed sufficient (i.e. consistent with the Transmission Provider’s OATT requirements for a Concomitant Evaluation). If deemed sufficient, the Transmission Provider shall set the STATUS of the request to COMPLETED. If not deemed sufficient, the Transmission Provider shall set the STATUS of the request to INVALID or DEFICIENT. 
The Network Customer (or Designated Agent) must take the appropriate actions required to remove all deficiencies identified by the Transmission Provider in the Concomitant Evaluation. Once the request to be considered part of the Concomitant Evaluation for evaluation have been set to the STATUS of COMPLETED, the Transmission Provider shall set the overall AddNITSDNR NITS OASIS REQUEST Template request to the STATUS of COMPLETED and the process can continue with the evaluation of the completed DNR.

Deficient processing to the submitted DNR shall be submitted by the Network Customer (or Designated Agent) to remedy the deficient information to the DNR on OASIS. The following are requirements for DNR request associated with remedying the deficient DNR using the UpdateConcomitantRequest and/or NewConcomitantRequest NITS OASIS INPUT Templates.  
The UpdateConcomitantRequest NITS OASIS INPUT Template structure is used to remedy deficient information to the submitted DNR by updating or adding additional information to the NITS OASIS DATA Templates associated with the specific request(s) that have been marked DEFICIENT.  The applicable NITS OASIS DATA Templates associated with each NITS OASIS REQUEST Template, and any restrictions on the information that may be updated in the existing request are set forth in Business Practice Standard WEQ-002-101.x.x.

If the deficiency can be remedied by updating the information associated with a given DEFICIENT request, the Network Customer (or Designated Agent) can use the UpdateConcomitantRequest NITS OASIS INPUT Template structure to submit the updated information and reset the request’s STATUS to REEVALUATE for reconsideration by the Transmission Provider.

If the deficiency cannot be remedied by updating the information associated with a given DEFICIENT request, the Network Customer (or Designated Agent) can use the UpdateConcomitantRequest NITS OASIS INPUT Template structure to set the request’s STATUS to WITHDRAWN and remove that request from further consideration by the Transmission Provider.  The withdrawal of the request submitted for Concomitant Evaluation will result in the withdrawal of both single requests, including any pre-confirmed requests.

Once the Network Customer (or Designated Agent) has withdrawn or updated information to remedy the deficiency to a submitted DNR the Network Customer (or Designated Agent) must submit the request with the STATUS of REEVALUATE using the UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure. 
Any updated DNR request that is set to REEVALUATE may be set to the STATUS to INVALID, DECLINED, DEFICIENT if the Transmission Provider determines that the Network Customer (or Designated Agent) has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.).  If the updated information has remedied the deficiency for that DNR, the Transmission Provider shall set the STATUS of associated request to COMPLETED.

Review of the completed DNR process will be made by the Transmission Provider and shall be made prior to the DNR STATUS being set to CONFIRMED. The following are requirements for DNR request associated with confirming the submitted DNR using the UpdateConcomitantRequest NITS OASIS INPUT Template.  
UpdateConcomitantRequest NITS OASIS INPUT Template is used to set the status of the overall DNR. Along with this NITS OASIS INPUT Template the AddNITSDNR NITS OASIS REQUEST Template, must also be submitted to update the status. No NITS OASIS DATA Templates are required as the STATUS Data Element being updated is included in the NITS OASIS REQUEST Template Header Record.

UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure will be used to set the STATUS to STUDY from COMPLETED, if the Transmission Provider determines that some level of study is required or is being performed.
UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template will be used to set the STATUS to DECLINED, REFUSED, COUNTEROFFER, CR_COUNTEROFFER, ACCEPTED, or CR_ACCEPTED from STUDY according to the Business Practice Standards WEQ-001-103.2 through WEQ-001-103.6.

UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure will be used to set the STATUS to DECLINED from STUDY, if the Transmission Provider determines that the Network Customer (or Designated Agent) has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.).
UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure will be used to set the STATUS to REFUSED from STUDY, if the Transmission Provider determines that the requested service cannot be provided due to insufficient transfer capability consistent with the Transmission Provider’s tariff requirements.

UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure will be used to set the STATUS to COUNTEROFFER or CR_COUNTEROFFER from STUDY, if the Transmission Provider determines that the DNR is to be granted only in part as specified in the DNR. Prior to setting the overall DNR to COUNTEROFFER or CR_COUNTEROFFER the Transmission Provider shall update the status associated with each portion of the completed DNR to COUNTEROFFER or CR_COUNTEROFFER.
UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS Template structure will be used to set the STATUS to ACCEPTED or CR_ACCEPTED from STUDY, if the Transmission Provider determines that the DNR is to be granted as specified in the DNR. Prior to setting the overall DNR to ACCEPTED or CR_ACCEPTED the Transmission Provider shall update the status associated with each portion of the completed DNR to ACCEPTED or CR_ACCEPTED.

Once the DNR has been set to the STATUS of ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER the Network Customer (or Designated Agent) must set the STATUS of the DNR to CONFIRMED or WITHDRAWN according to the time limits specified in the Transmission Provider’s tariff for execution of a service agreement or for requesting filing of an unexecuted service agreement using the UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure.

UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure will be used to set the STATUS to RETRACTED from ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER if the Network Customer (or Designated Agent) has not set the STATUS to CONFIRMED or WITHDRAWN according to the time limits specified in the Transmission Provider’s tariff for execution of a service agreement or for requesting filing of an unexecuted service agreement.
Once the DNR has been set to the STATUS of CONFIRMED any changes to the NITS Application will be made in accordance with Business Practice Standard WEQ-013-105 unless otherwise mutually agreed; in which case the Transmission Provider shall set the status of the overall Concomitant Evaluation and all data structures of the Concomitant Evaluation that are not already in a final state to ANNULLED using the UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSDNR NITS OASIS REQUEST Template structure.

AddNITSSecondary, and AddPTPService processing
Review of the request for Concomitant Evaluation process will be made by the Transmission Provider and shall be made prior to the Concomitant Evaluation STATUS being set to CONFIRMED. The following are requirements for Concomitant Evaluation request associated with confirming the submitted Concomitant Evaluation using the NewConcomitantRequest NITS OASIS INPUT Template.  
UpdateConcomitantRequest NITS OASIS INPUT Template is used to set the status of the overall Concomitant Evaluation. Along with this NITS OASIS INPUT Template the TerminateNITSDNR, AddNITSSecondary, or AddPTPService NITS OASIS REQUEST Templates, must also be submitted to update the status. No NITS OASIS DATA Templates are required as the STATUS Data Element being updated is included in the NITS OASIS REQUEST Template Header Record.

UpdateConcomitantRequest NITS OASIS INPUT Template and the TerminateNITSDNR, AddNITSSecondary, or AddPTPService NITS OASIS REQUEST Templates will be used to set the STATUS to INVALID, DECLINED, REFUSED, SUPERSEDED, COUNTEROFFER, CR_COUNTEROFFER, ACCEPTED, or CR_ACCEPTED from RECEIVED according to the Business Practice Standards WEQ-001-106.1.4 through WEQ-001-106.10.

UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSSecondary or AddPTPService NITS OASIS REQUEST Template structure will be used to set the STATUS to INVALID from RECEIVED, if the Transmission Provider determines that the requested service has an invalid field in the request, such as improper POR, POD, SOURCE, SINK, etc. or that the request does not meet minimum information or data requirements.

UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSSecondary or AddPTPService NITS OASIS REQUEST Template structure will be used to set the STATUS to DECLINED from RECEIVED, if the Transmission Provider determines that the Network Customer (or Designated Agent) has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.).
UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSSecondary or AddPTPService NITS OASIS REQUEST Template structure will be used to set the STATUS to REFUSED from RECEIVED, if the Transmission Provider determines that the requested service cannot be provided due to insufficient transfer capability consistent with the Transmission Provider’s tariff requirements.

UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSSecondary or AddPTPService NITS OASIS REQUEST Template structure will be used to set the STATUS to SUPERSEDED from RECEIVED, if the Transmission Provider determines that the requested service which has not been confirmed is preempted by another reservation request.

UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSSecondary or AddPTPService NITS OASIS REQUEST Template structure will be used to set the STATUS to COUNTEROFFER or CR_COUNTEROFFER from RECEIVED, if the Transmission Provider determines that the Secondary Network Transmission Service or PTP Transmission Service is to be granted only in part as specified in the Secondary Network Transmission Service or PTP Transmission Service request. 

UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSSecondary or AddPTPService NITS OASIS Template structure will be used to set the STATUS to ACCEPTED or CR_ACCEPTED from RECEIVED, if the Transmission Provider determines that the Secondary Network Transmission Service or PTP Transmission Service is to be granted as specified in the Secondary Network Transmission Service or PTP Transmission Service request.

Once the Secondary Network Transmission Service or PTP Transmission Service has been set to the STATUS of ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER the Network Customer (or Designated Agent) must set the STATUS of the overall Secondary Network Transmission Service or PTP Transmission Service to CONFIRMED or WITHDRAWN according to the time limits specified in the Transmission Provider’s tariff for execution of a Secondary Network Transmission Service or PTP Transmission Service using the UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSSecondary or AddPTPService NITS OASIS REQUEST Template structure.

UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSSecondary or AddPTPService NITS OASIS REQUEST Template structure will be used to set the STATUS to RETRACTED from ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER if the Network Customer (or Designated Agent) has not set the STATUS to CONFIRMED or WITHDRAWN according to the time limits specified in the Transmission Provider’s tariff for execution of a Secondary Network Transmission Service or PTP Transmission Service.

Once the overall Secondary Network Transmission Service or PTP Transmission Service has been set to the STATUS of CONFIRMED any changes to the Secondary Network Transmission Service or PTP Transmission Service will be made in accordance with Business Practice Standard WEQ-013-106 unless otherwise mutually agreed; in which case the Transmission Provider shall set the status of the overall Secondary Network Transmission Service or PTP Transmission Service to ANNULLED using the UpdateConcomitantRequest NITS OASIS INPUT Template and the AddNITSSecondary or AddPTPService NITS OASIS REQUEST Template structure.

013-106
SECONDARY NETWORK TRANSMISSION SERVICE
The exhibit as shown in Business Practice Standard WEQ 013-101.3 should be used as a business process guideline and illustrates the valid changes that may be made to the STATUS value by the Transmission Provider, the Eligible Network Customer or Network Customer (or Designated Agent) during the Secondary Network Transmission Service process; however, individual tariffs may dictate specific actions allowed between states that are not reflected in this diagram.

013-106.1
REQUEST FOR SECONDARY NETWORK TRANSMISSION SERVICE 

Secondary Network Transmission Service shall be submitted by the Eligible Network Customer or Network Customer (or Designated Agent) to arrange for new Secondary Network Transmission Service on OASIS. The following are requirements for the Secondary Network Transmission Service request using the NewNITSRequest NITS OASIS INPUT Template.  
NewNITSRequest NITS OASIS INPUT Template may be used to begin the process for submitting a new Secondary Network Transmission Service. Along with this NITS OASIS INPUT Template a single NITS OASIS REQUEST Template AddNITSSecondary with the NITS OASIS DATA Templates NITSSecondaryService, NITSSecondaryCapacity, and AuxillaryTransmission must also be submitted for a new Secondary Network Transmission Service. 

Data structures for the NITS OASIS INPUT, REQUEST, and DATA Templates are defined in Business Practice Standards WEQ-002-100.
The Eligible Network Customer or Network Customer (or Designated Agent) shall indicate to the Transmission Provider that the request for Secondary Network Transmission Service is ready for Transmission Provider review by submitting the request on OASIS.

OASIS shall set the queue time for the request for Secondary Network Transmission Service to the time that the Eligible Network Customer or Network Customer (or Designated Agent) submits the request, and shall set the status of the request to QUEUED.

Once submitted by the Eligible Network Customer or Network Customer (or Designated Agent) the Transmission Provider shall acknowledge receipt of the Secondary Network Transmission Service by setting the STATUS of the AddNITSSecondary NITS OASIS REQUEST Template request to RECEIVED.

Review of the request for Secondary Network Transmission Service process will be made by the Transmission Provider and shall be made prior to the Secondary Network Transmission Service STATUS being set to CONFIRMED. The following are requirements for Secondary Network Transmission Service request associated with confirming the submitted Secondary Network Transmission Service using the NewNITSRequest NITS OASIS INPUT Template.  
UpdateNITSRequest NITS OASIS INPUT Template is used to set the status of the overall Secondary Network Transmission Service. Along with this NITS OASIS INPUT Template the AddNITSSecondary NITS OASIS REQUEST Template, must also be submitted to update the status. No NITS OASIS DATA Templates are required as the STATUS Data Element being updated is included in the NITS OASIS REQUEST Template Header Record.

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSSecondary NITS OASIS REQUEST Template will be used to set the STATUS to INVALID, DECLINED, REFUSED, SUPERSEDED, COUNTEROFFER, CR_COUNTEROFFER, ACCEPTED, or CR_ACCEPTED from RECEIVED according to the Business Practice Standards WEQ-001-106.1.4 through WEQ-001-106.10.

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSSecondary NITS OASIS REQUEST Template structure will be used to set the STATUS to INVALID from RECEIVED, if the Transmission Provider determines that the requested service has an invalid field in the request, such as improper POR, POD, SOURCE, SINK, etc. or that the request does not meet minimum information or data requirements.

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSSecondary NITS OASIS REQUEST Template structure will be used to set the STATUS to DECLINED from RECEIVED, if the Transmission Provider determines that the Eligible Network Customer or Network Customer (or Designated Agent) has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.).

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSSecondary NITS OASIS REQUEST Template structure will be used to set the STATUS to REFUSED from RECEIVED, if the Transmission Provider determines that the requested service cannot be provided due to insufficient transfer capability consistent with the Transmission Provider’s tariff requirements.

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSSecondary NITS OASIS REQUEST Template structure will be used to set the STATUS to SUPERSEDED from RECEIVED, if the Transmission Provider determines that the requested service which has not been confirmed is preempted by another reservation request.

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSSecondary NITS OASIS REQUEST Template structure will be used to set the STATUS to COUNTEROFFER or CR_COUNTEROFFER from RECEIVED, if the Transmission Provider determines that the Secondary Network Transmission Service is to be granted only in part as specified in the Secondary Network Transmission Service request. 

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSSecondary NITS OASIS Template structure will be used to set the STATUS to ACCEPTED or CR_ACCEPTED from RECEIVED, if the Transmission Provider determines that the Secondary Network Transmission Service is to be granted as specified in the Secondary Network Transmission Service request.

Once the Secondary Network Transmission Service has been set to the STATUS of ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER the Eligible Network Customer or Network Customer (or Designated Agent) must set the STATUS of the overall Secondary Network Transmission Service to CONFIRMED or WITHDRAWN according to the time limits specified in the Transmission Provider’s tariff for execution of a Secondary Network Transmission Service using the UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSSecondary NITS OASIS REQUEST Template structure.

UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSSecondary NITS OASIS REQUEST Template structure will be used to set the STATUS to RETRACTED from ACCEPTED, CR_ACCEPTED, COUNTEROFFER, or CR_COUNTEROFFER if the Eligible Network Customer or Network Customer (or Designated Agent) has not set the STATUS to CONFIRMED or WITHDRAWN according to the time limits specified in the Transmission Provider’s tariff for execution of a Secondary Network Transmission Service.

Once the overall Secondary Network Transmission Service has been set to the STATUS of CONFIRMED any changes to the Secondary Network Transmission Service will be made in accordance with Business Practice Standard WEQ-013-106 unless otherwise mutually agreed; in which case the Transmission Provider shall set the status of the overall Secondary Network Transmission Service to ANNULLED using the UpdateNITSRequest NITS OASIS INPUT Template and the AddNITSSecondary NITS OASIS REQUEST Template structure.

013-106.2
RELEASING SECONDARY NETWORK TRANSMISSION SERVICE
Releasing Secondary Network Transmission Service shall be submitted by the Eligible Network Customer or Network Customer (or Designated Agent) to arrange for termination of Secondary Network Transmission Service on OASIS. The following are requirements for the Secondary Network Transmission Service request using the NewNITSRequest NITS OASIS INPUT Template.
NewNITSRequest NITS OASIS INPUT Template may be used to begin the process for submitting a termination for Secondary Network Transmission Service. Along with this NITS OASIS INPUT Template a single NITS OASIS REQUEST Template TerminateNITSSecondary with the NITS OASIS DATA Templates NITSSecondaryService, and NITSSecondaryCapacity must also be submitted for a termination of Secondary Network Transmission Service.

Data structures for the NITS OASIS INPUT, REQUEST, and DATA Templates are defined in Business Practice Standards WEQ-002-100.
The Eligible Network Customer or Network Customer (or Designated Agent) shall indicate to the Transmission Provider that the request for releasing Secondary Network Transmission Service is ready for Transmission Provider review by submitting the request on OASIS.

OASIS shall set the queue time for the request for releasing Secondary Network Transmission Service to the time that the Eligible Network Customer or Network Customer (or Designated Agent) submits the request (STATUS = PRECONFIRMED), and shall set the status of the request to QUEUED.

Once submitted by the Eligible Network Customer or Network Customer (or Designated Agent) the Transmission Provider shall acknowledge receipt of the releasing Secondary Network Transmission Service by setting the STATUS of the AddNITSSecondary NITS OASIS REQUEST Template request to RECEIVED.

Review of the request for releasing Secondary Network Transmission Service process will be made by the Transmission Provider and shall be made prior to the Secondary Network Transmission Service STATUS being set to CONFIRMED. The following are requirements for releasing Secondary Network Transmission Service request associated with confirming the submitted Secondary Network Transmission Service using the NewNITSRequest NITS OASIS INPUT Template.  
UpdateNITSRequest NITS OASIS INPUT Template is used to set the status of the releasing Secondary Network Transmission Service. Along with this NITS OASIS INPUT Template the TerminateNITSSecondary NITS OASIS REQUEST Template, must also be submitted to update the status. No NITS OASIS DATA Templates are required as the STATUS Data Element being updated is included in the NITS OASIS REQUEST Template Header Record.

UpdateNITSRequest NITS OASIS INPUT Template and the TerminateNITSSecondary NITS OASIS REQUEST Template will be used to set the STATUS to INVALID, DECLINED, or ACCEPTED from RECEIVED according to the Business Practice Standards WEQ-001-106.2 through WEQ-001-106.2.7.

UpdateNITSRequest NITS OASIS INPUT Template and the TerminateNITSSecondary NITS OASIS REQUEST Template structure will be used to set the STATUS to INVALID from RECEIVED, if the Transmission Provider determines that the requested service has an invalid field in the request, such as improper POR, POD, SOURCE, SINK, etc. or that the request does not meet minimum information or data requirements.

UpdateNITSRequest NITS OASIS INPUT Template and the TerminateNITSSecondary NITS OASIS REQUEST Template structure will be used to set the STATUS to DECLINED from RECEIVED, if the Transmission Provider determines that the Eligible Network Customer or Network Customer (or Designated Agent) has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.).

UpdateNITSRequest NITS OASIS INPUT Template and the TerminateNITSSecondary NITS OASIS Template structure will be used to set the STATUS to ACCEPTED from RECEIVED, if the Transmission Provider determines that the Secondary Network Transmission Service is to be granted as specified in the releasing Secondary Network Transmission Service request.

Once the Secondary Network Transmission Service has been set to the STATUS of ACCEPTED the OASIS will set the STATUS of the releasing Secondary Network Transmission Service to CONFIRMED using the UpdateNITSRequest NITS OASIS INPUT Template and the TerminateNITSSecondary NITS OASIS REQUEST Template structure.

Once the releasing Secondary Network Transmission Service has been set to the STATUS of CONFIRMED any changes to the Secondary Network Transmission Service will be made in accordance with Business Practice Standard WEQ-013-106 unless otherwise mutually agreed; in which case the Transmission Provider shall set the status of the overall Secondary Network Transmission Service to ANNULLED using the UpdateNITSRequest NITS OASIS INPUT Template and the TerminateNITSSecondary NITS OASIS REQUEST Template structure.

013-107
NETWORK INTEGRATION TRANSMISSION SERVICE – EXTENSION OF NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION STOP_TIME
The exhibit as shown in Business Practice Standard WEQ 013-101.3 should be used as a business process guideline and illustrates the valid changes that may be made to the STATUS value by the Transmission Provider, the Eligible Network Customer or Network Customer (or Designated Agent) during the extension of NITS Application STOP_TIME process; however, individual tariffs may dictate specific actions allowed between states that are not reflected in this diagram.

Extension of NITS Application STOP_TIME shall be submitted by the Eligible Network Customer or Network Customer (or Designated Agent) to arrange for the extension of NITS Application STOP_TIME on OASIS. The following are requirements for the extension of NITS Application STOP_TIME request using the NewNITSRequest NITS OASIS INPUT Template.  
NewNITSRequest NITS OASIS INPUT Template may be used to begin the process for submitting an extension of NITS Application STOP_TIME. Along with this NITS OASIS INPUT Template a single NITS OASIS REQUEST Template ModifyNITSService with the NITS OASIS DATA Template NITSService must also be submitted for an extension of NITS Application STOP_TIME. 

Data structures for the NITS OASIS INPUT, REQUEST, and DATA Templates are defined in Business Practice Standards WEQ-002-100.
The Network Customer or Designated Agent shall indicate to the Transmission Provider that the request for extension of NITS Application STOP_TIME is ready for Transmission Provider review by submitting the request on OASIS.

OASIS shall set the queue time for the request for extension of NITS Application STOP_TIME to the time that the Network Customer or Designated Agent submits the request (STATUS = PRECONFIRMED),, and shall set the status of the request to QUEUED.

Once submitted by the Network Customer or Designated Agent the Transmission Provider shall acknowledge receipt of the extension of NITS Application STOP_TIME by setting the STATUS of the ModfiyNITSService NITS OASIS REQUEST Template request to RECEIVED.

Review of the request for extension of NITS Application STOP_TIME process will be made by the Transmission Provider and shall be made prior to the extension of NITS Application STOP_TIME STATUS being set to CONFIRMED. The following are requirements for extension of NITS Application STOP_TIME request associated with confirming the submitted extension of NITS Application STOP_TIME using the NewNITSRequest NITS OASIS INPUT Template.  
Once successfully submitted on OASIS, the Transmission Provider may take any of the following actions to set the STATUS to INVALID, DECLINED, or ACCEPTED from RECEIVED according to the Business Practice Standards WEQ-001-106.1.4 through WEQ-001-106.10:
Set the STATUS to INVALID from RECEIVED, if the Transmission Provider determines that the requested service has an invalid field in the request, such as improper POR, POD, SOURCE, SINK, etc. or that the request does not meet minimum information or data requirements.

Set the STATUS to DECLINED from RECEIVED, if the Transmission Provider determines that the Eligible Network Customer or Network Customer (or Designated Agent) has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.).
Set the STATUS to ACCEPTED from RECEIVED, if the Transmission Provider determines that the extension of NITS Application STOP_TIME is to be granted as specified in the extension of NITS Application STOP_TIME request.

Once the extension of NITS Application STOP_TIME has been set to the STATUS of ACCEPTED the OASIS will set the STATUS of the extension of NITS Application STOP_TIME to CONFIRMED 
Once the overall extension of NITS Application STOP_TIME has been set to the STATUS of CONFIRMED any changes to the extension of NITS Application STOP_TIME will be made in accordance with Business Practice Standard WEQ-013-107. 

013-x
Appendix x – NITS EXAMPLES


The following examples document the handling of NITS processing.
EXAMPLE 1 FOR PRE-SUBMITTED NETWORK INTEGRATION TRANSMISSION SERVICE APPLICATION 


Example of a request to Transmission Provider (AAA) by Network Customer (BBB) to begin a NITS Application in a Pre-submittal Workspace.



INPUT
VERSION=↵
TEMPLATE=↵
OUTPUT_FORMAT=↵
PRIMARY_PROVIDER_CODE=↵
PRIMARY_PROVIDER_DUNS=↵
RETURN_TZ=↵
INPUT=NewNITSRequest↵
REQUEST=NewNITSApplication↵
DATA=NITSService,APPLICATION_NAME,START_TIME,STOP_TIME,SERVICE_DESCRIPTION,FILING_STATUS,TIME_OF_LAST_UPDATE,RECORD_STATUS,ERROR_MESSAGE↵
,20120101000000ES,20201231000000ES,New NITS Application,,,,, ↵
DATA=NITSCustomer,CUSTOMER_CODE,CUSTOMER_DUNS,CUSTOMER_NAME,CUSTOMER_PHONE,CUSTOMER_FAX,CUSTOMER_EMAIL,TRANSMISSION_OWNER,CUSTOMER_STATEMENT,ATTESTOR_NAME,ATTESTATION_SUBMITTER,STATUS_NOTIFICATION,CUSTOMER_COMMENTS,EFFECTIVE_START_TIME,EFFECTIVE_STOP_TIME,AFFILIATE_FLAG,TIME_OF_LAST_UPDATE,RECORD_STATUS,ERROR_MESSAGE↵
BBB,123456789,John Doe,2222222222,3333333333,,AAA,,John Doe VP,John Doe VP,,,20120101000000ES,,,,,, ↵
DATA=NITSAgent,AGENT_CODE,AGENT_DUNS,AGENT_NAME,AGENT_FAX,AGENT_EMAIL,STATUS_NOTIFICATION,AGENT_COMMENTS,EFFECTIVE_START_TIME,EFFECTIVE_STOP_TIME,TIME_OF_LAST_UPDATE,RECORD_STATUS,ERROR_MESSAGE↵
CCC,123456789,John Smith,4444444444,5555555555,,,,20120101000000ES,202012310000ES,,,,



RESPONSE

REQUEST_STATUS=200↵
ERROR_MESSAGE=Success↵
TIME_STAMP=20110706140000ES↵
VERSION=1.6↵
TEMPLATE=↵
OUTPUT_FORMAT=DATA↵
PRIMARY_PROVIDER_CODE=AAA↵
PRIMARY_PROVIDER_DUNS=123456789↵
RETURN_TZ=ES↵
DATA=NITSService,APPLICATION_NAME,START_TIME,STOP_TIME,SERVICE_DESCRIPTION,FILING_STATUS,TIME_OF_LAST_UPDATE,RECORD_STATUS,ERROR_MESSAGE↵
,20120101000000ES,20201231000000ES,New NITS Application,,,,, ↵
DATA=NITSCustomer,CUSTOMER_CODE,CUSTOMER_DUNS,CUSTOMER_NAME,CUSTOMER_PHONE,CUSTOMER_FAX,CUSTOMER_EMAIL,TRANSMISSION_OWNER,CUSTOMER_STATEMENT,ATTESTOR_NAME,ATTESTATION_SUBMITTER,STATUS_NOTIFICATION,CUSTOMER_COMMENTS,EFFECTIVE_START_TIME,EFFECTIVE_STOP_TIME,AFFILIATE_FLAG,TIME_OF_LAST_UPDATE,RECORD_STATUS,ERROR_MESSAGE↵
BBB,123456789,John Doe,2222222222,3333333333,,AAA,,John Doe VP,John Doe VP,,,20120101000000ES,,,,,, ↵
DATA=NITSAgent,AGENT_CODE,AGENT_DUNS,AGENT_NAME,AGENT_FAX,AGENT_EMAIL,STATUS_NOTIFICATION,AGENT_COMMENTS,EFFECTIVE_START_TIME,EFFECTIVE_STOP_TIME,TIME_OF_LAST_UPDATE,RECORD_STATUS,ERROR_MESSAGE↵
CCC,123456789,John Smith,4444444444,5555555555,,,,20120101000000ES,202012310000ES,,,,

More examples to be developed
� Termination of a Designated Network Resource is also known as “Undesignation” of a Network Resource.





�New definition change in weq-003 if accepted


�Change in weq-003


�Entergy has questions about green highlight. This is old language. If changed will have to change all occurrences throughout WEQ standards.


�New definition change in weq-003 if accepted. 


Also the correct wording is request for modification of service. 


�The correct wording is request for modification of service.


�New definition change in weq-003 if accepted.


�This is old language. If changed will have to change all occurrences throughout WEQ standards.


�This is old language. If changed will have to change all occurrences throughout WEQ standards.


�This is old language. If changed will have to change all occurrences throughout WEQ standards.


�This is old and new language. If changed will have to change all occurrences throughout WEQ standards.


�This is old language. If changed will have to change all occurrences throughout WEQ standards.


�This is old language. If changed will have to change all occurrences throughout WEQ standards.


�This is old language. If changed will have to change all occurrences throughout WEQ standards.


�This is old language. If changed will have to change all occurrences throughout WEQ standards.


�This is old language. If changed will have to change all occurrences throughout WEQ standards.


�This is old language. If changed will have to change all occurrences throughout WEQ standards.


�This is old language. If changed will have to change all occurrences throughout WEQ standards.





Need to look at to make sure that this is not part of new language.


�New definition change in weq-003 if accepted


�Comment on numbering. Normally we do not sub bullet 013 standards.


�Correct language


�Need to look at the numbering of the process maps to and from.


�Need process map


�Need process map


�Question about consolidation 


�Need a new process map here.


�Need a new process map for this.





10/26-27/11
1 of 56

_1370839770.vsd
The height of the text box and its associated line increases or decreases as you add text. To change the width of the comment, drag  the side handle.


START


 AddDNR(01) Process Map
 Note: This process map does not illustrate all possible NITS DNR Addition scenarios.


Customer: “Is the DNR already a defined named NITS Resource under the NITS Application 
[WEQ 002-6.3.2.12]


1


No


Yes


Customer:
Defines Resource 


OASIS Template:
NewNITSRequest
9 
   AddNITSDNR
 9
     NITSResourceDescription
     NITSNITSResourceForecast (optional)
     NITSResourceDesignation
     NITSResourceCapacity
     NITSSchedulingRights
     AuxiliaryTransmission (optional)


OASIS Template:
INPUT Template
9 
   REQUEST Template
 9
     DATA Template(s)


Key to WEQ-002 Data Template elements used in this Process Map:


Templates use a nested hierarchy. As shown in Example A below, to use a DATA template, a specific INPUT and REQUEST template must also be referenced. Hence, the scenarios here show the first three levels of the hierarchy.


OASIS Template:
NewNITSRequest
9 
   NewNITSApplication
 9
     NITSService
     NITSCustomer
     NITSAgent


NITS Process Map: AddDNR (01)
Typical Scenarios ONLY, 06-27-2011 Revision 1
Questions/Comments/Errata: e-mail WEQ_OS@naesb.org or pblee@bpa.gov
(This box shall be removed prior to publication in the S&CP booklet.)


Example A:


Example B:


In Example B below, the INPUT template is NewNITSRequest, the REQUEST template is NewNITSApplication, and the DATA templates are NITSService, NITSCustomer, and NITSAgent. 


NOTE: The AuxiliaryTransmission data template is used only for resources identified as OFF_SYSTEM


Customer:
References previously defined Resource 


OASIS Template:
NewNITSRequest
9 
   AddNITSDNR
 9
     NITSResourceDescription
     NITSNITSResourceForecast (optional)


Go to AddDNR (02)


NITS Process Map: AddDNR (02)
Typical Scenarios ONLY, 06-27-2011 Revision 1
Questions/Comments/Errata: e-mail WEQ_OS@naesb.org or pblee@bpa.gov
(This box shall be removed prior to publication in the S&CP booklet.)


From AddDNR (02)


OASIS Template:
UpdateNITSRequest
9 
   AddNITSDNR
 9
     NITSResourceDescription
     NITSNITSResourceForecast (optional)
     NITSResourceDesignation
     NITSResourceCapacity
     NITSSchedulingRights
     AuxiliaryTransmission (optional)


Customer:
Updates DNR 


No


Customer:
Submits NITS DNR request to Transmission Provider


Customer: Does the AddDNR request require an update before TP assessment?


1


Yes


OASIS/Transmission Provider: Is the DNR request Deficient?


2


No


Yes


TP/TSIP:
Sets status of NITS DNR request to RECEIVED


OASIS Template:
UpdateNITSRequest
9 
   AddNITSDNR
   ASSIGNMENT_REF
   (STATUS = QUEUED)


OASIS:
Sets status of DNR request to COMPLETED


DNR request processed 
as described in Business 
Practice Standards, including the NITS Modification of Service
State Diagram.


 AddDNR(02) Process Map
 Note: This process map does not illustrate all possible NITS DNR Addition scenarios.



_1370839926.vsd
The height of the text box and its associated line increases or decreases as you add text. To change the width of the comment, drag  the side handle.


START


 AddDNR(01) Process Map
 Note: This process map does not illustrate all possible NITS DNR Addition scenarios.


Customer: “Is the DNR already a defined named NITS Resource under the NITS Application 
[WEQ 002-6.3.2.12]


1


No


Yes


Customer:
Defines Resource 


OASIS Template:
NewNITSRequest
9 
   AddNITSDNR
 9
     NITSResourceDescription
     NITSNITSResourceForecast (optional)
     NITSResourceDesignation
     NITSResourceCapacity
     NITSSchedulingRights
     AuxiliaryTransmission (optional)


OASIS Template:
INPUT Template
9 
   REQUEST Template
 9
     DATA Template(s)


Key to WEQ-002 Data Template elements used in this Process Map:


Templates use a nested hierarchy. As shown in Example A below, to use a DATA template, a specific INPUT and REQUEST template must also be referenced. Hence, the scenarios here show the first three levels of the hierarchy.


OASIS Template:
NewNITSRequest
9 
   NewNITSApplication
 9
     NITSService
     NITSCustomer
     NITSAgent


NITS Process Map: AddDNR (01)
Typical Scenarios ONLY, 06-27-2011 Revision 1
Questions/Comments/Errata: e-mail WEQ_OS@naesb.org or pblee@bpa.gov
(This box shall be removed prior to publication in the S&CP booklet.)


Example A:


Example B:


In Example B below, the INPUT template is NewNITSRequest, the REQUEST template is NewNITSApplication, and the DATA templates are NITSService, NITSCustomer, and NITSAgent. 


NOTE: The AuxiliaryTransmission data template is used only for resources identified as OFF_SYSTEM


Customer:
References previously defined Resource 


OASIS Template:
NewNITSRequest
9 
   AddNITSDNR
 9
     NITSResourceDescription
     NITSNITSResourceForecast (optional)


Go to AddDNR (02)


NITS Process Map: AddDNR (02)
Typical Scenarios ONLY, 06-27-2011 Revision 1
Questions/Comments/Errata: e-mail WEQ_OS@naesb.org or pblee@bpa.gov
(This box shall be removed prior to publication in the S&CP booklet.)


From AddDNR (02)


OASIS Template:
UpdateNITSRequest
9 
   AddNITSDNR
 9
     NITSResourceDescription
     NITSNITSResourceForecast (optional)
     NITSResourceDesignation
     NITSResourceCapacity
     NITSSchedulingRights
     AuxiliaryTransmission (optional)


Customer:
Updates DNR 


No


Customer:
Submits NITS DNR request to Transmission Provider


Customer: Does the AddDNR request require an update before TP assessment?


1


Yes


OASIS/Transmission Provider: Is the DNR request Deficient?


2


No


Yes


TP/TSIP:
Sets status of NITS DNR request to RECEIVED


OASIS Template:
UpdateNITSRequest
9 
   AddNITSDNR
   ASSIGNMENT_REF
   (STATUS = QUEUED)


OASIS:
Sets status of DNR request to COMPLETED


DNR request processed 
as described in Business 
Practice Standards, including the NITS Modification of Service
State Diagram.


 AddDNR(02) Process Map
 Note: This process map does not illustrate all possible NITS DNR Addition scenarios.



