Slice of System Designations/Undesignations and Plant (Unit) Designations/Undesignations

Is there a way to meet the FERC undesignation requirements to undesignate at the slice of system level for making off-system firm third party sales but simultaneously provide details (when needed) indicating which plant (unit) is affected (undesignated)? This solution should also permit undesignation at the slice of system level for sales delivered to a third party on the Transmission Provider’s system without indicating which plant (unit) is affected (undesignated).  
The generation templates (on-system and off-system) allow input of generator (plant or unit) or purchased power information as appropriate.

The resource templates allow pointing to one or more generation templates when designating a resource. NAESB standards will not limit the combinations that can be done when designating resources (e.g. slice-of-system, plant-by-plant).

When undesignating a slice-of-system resource, the customer will be allowed to undesignate the slice-of-system and, optionally, point to a specific generation record such that only a single generator is undesignated without impacting the designation status of the remainder of the slice-of-system
12/15/10:  Subcommittee believes that current standards address allowing undesignation of a portion of the amount of capacity of a DNR, and no further action is required.  The subcommittee agrees that the customer should not be allowed to specify which unit shall be undesignated when the DNR is a slice of system.  
12/15/10

