

[image: image2.wmf] 


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant:
Wholesale Electric Quadrant (WEQ) and Retail Electric Quadrant (REQ)

                                       Requesters:
NAESB Smart Grid Task Force (SGTF)
                                       Request No.: 
2010 WEQ Annual Plan Item 6(b) / 2010 Retail Annual Plan Item 9(b)
                                       Request Title:
Requirements Specifications for Common Scheduling Mechanism for Energy Transactions – for NIST PAP04

1.
RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

	X
	Accept as requested
	X
	Change to Existing Practice

	
	Accept as modified below
	
	Status Quo

	
	Decline
	
	


2.
TYPE OF DEVELOPMENT/MAINTENANCE

	Per Request:
	Per Recommendation:

	X
	Initiation
	X
	Initiation

	
	Modification
	
	Modification

	
	Interpretation
	
	Interpretation

	
	Withdrawal
	
	Withdrawal

	
	
	
	

	X
	Principle
	X
	Principle

	X
	Definition
	X
	Definition

	X
	Business Practice Standard
	X
	Business Practice Standard

	
	Document
	
	Document

	
	Data Element
	
	Data Element

	
	Code Value
	
	Code Value

	
	X12 Implementation Guide
	
	X12 Implementation Guide

	
	Business Process Documentation
	
	Business Process Documentation


3.
RECOMMENDATION

SUMMARY:
The NAESB Smart Grid Task Force (SGTF) submits this Recommendation to define the range of information required to establish the breadth of the communication requirement. There is no need for the cases to be exhaustive, merely illustrative of the full scope.

WEQ-000

New Abbreviations/Acronyms and Defined Terms to be added to WEQ-000 are Included in the Recommendation Request Titled Requirements Specifications for Common Electricity Product and Pricing Definitions – for NIST PAP03 to avoid redundancy between recommendations.
WEQ-017

New Business Practice Standards WEQ-017 – Specifications for Common Scheduling Mechanism for Energy Transactions
(NOTE: NAESB Retail numbering convention will replace WEQ numbering convention in NAESB Retail publication)
Recommended Standards: 
Executive Summary
Specifications for Common Scheduling Mechanism for Energy Transactions 

The following contains a set of requirements relating to the use of date and time based data elements that are used in transactions for Demand Response programs. This information is being provided to NIST in order to aid in the development of a standard representation for date/time based data elements derived from an XML representation of iCalendar
.

Although there are many other areas where date/time based data elements are used in energy industry transactions this recommendation is limited in scope to only those date/time based data elements that are utilized in Demand Response programs. 

Introduction
Specifications for Common Scheduling Mechanism for Energy Transactions 

Smart grid interfaces must communicate between domains,that is between different business and consumer entities with different values and approaches (ontologies). Such interfaces must be simplified to bare essentials, and be understandable by parties with different backgrounds and expectations. 

To achieve cross-domain understandability, and thereby enhance interoperation, smart grid transactions must use semantic models from different areas developed by different standards groups. Each of these vocabularies is most fully defined in one area. We have agreed, within the NIST process, to use the vocabularies from the appropriate domain experts to compose the message that flow between domains on the smart grid.

In the following, we defined transactions as grid events that occur between domains, or whose effects and outcomes must be communicated between domains. This activity makes no assertions about any other events.

Smart grid transactions communicate three classes of information. They communicate information about events that that occur during power management and distribution. They invoke financial or business transactions that guide those events. They communicate schedules and interval information for the flows of energy. Per agreement, all semantics relating to Power Management will use the CIM from IEC TC57. All financial and market semantics will be based upon the definitions found in ISO 20022
 and in their most common expression, FIX. All elements relating to schedule and interval will be expressed in the notation of the IETF iCalendar (RFC 5545
) standard, as defined in the XML representation iCalendar developed by CalConnect.  The purpose of this approach is to increase interoperation and understanding between domains.
The group primarily associated with the development of interoperable enterprise date, time, and interval standards for the IETF is the CalConnect. CalConnect and the Organization for the Advancement of Structured Information Standards will work together to define the common communication of date time and interval to meet the needs of smart grid transaction communications as well as for building systems integration, enterprise interaction, and financial transactions. This commonality is anticipated to reduce barriers to interoperation and thereby to expand participation in DR and DER.

The purpose of this action is to define the requirements for standard communication of date, time, schedule, and interval by smart grid actors, with particular attention to DR. These requirements will be submitted to the Organization for the Advancement of Structured Information Standards and CalConnect technical committee to define the applicable communication standards to support them.
Scope: The scope of the following is to define the range of information required to establish the breadth of the communication requirement. There is no need for the cases to be exhaustive, merely illustrative of the full scope.

Business Practice Standards
017-1
Specification for Common Scheduling Mechanism for Energy Transactions 

017-1.1
ACTORS LIST

There were no actors provided for the associated use cases.

017-2
Common Scheduling Mechanism for Energy Transactions Use Cases
017-2.1
Use Case Overview
The use case modeling technique is used for capturing business and date requirements relative to electric product and price information.  

The use cases included in this document are not intended to be required or exhaustive and are provided for clarification purposes.

017-2.1.1
Requirements for Date and Time Usage
Demand Response programs employ a combination of absolute dates/times, absolute periods (range) of dates/times, relative dates/times, recurring dates/times, absolute intervals and absolute durations in order to communicate temporal information pertaining to demand response transactions. Demand Response programs must also accommodate time zone variations, leap years, leap seconds, and the use of daylight savings time. Any calendaring/scheduling standard that is applicable to Demand Response programs must be capable of supporting this range of requirements. 

An incomplete, but representative, set of instances is provided below. The sample data included are non-normative representations; they are included to clarify the expectation of information that will be in the standard.

	Type of Representation
	Representative Instance
	Sample Data

	Absolute date/time
	Effective start date

Effective start date and time
	2009-11-01

2009-11-01T01:00:00-Z

	Absolute Periods (range)
	Deployment Period
	2009-11-01T01:00:00-Z/ 2009-11-02T24:00:00-Z

	Relative date/time (time-point)
	Reduction Deadline
	30 minutes from a specified point in time

	Recurring date/time
	Market Closing
	Every day at 12:00 noon

	Absolute Interval
	Meter Data Recording
Interval

System Frequency
	Every 5 minutes

60 cycles per second

	Absolute Duration
	Outage Duration

Minimum Run Time
	2 days

4 hours


It is an additional requirement that all schedule and interval communications be able to express the precision required in the response. For example, an actor may be required to perform within five minutes, or within five milliseconds of the agreed upon time.

017-A
Appendix A – Entity-Relationship Model 

The following terms and definitions correspond to a set of actor and objects within the overall information model for demand response.  Figure 1A contains a data model used to illustrate the entity-relationships within the model.

Proper (and Improper) Usage of the Entity-Relationship Model.    The entity-relationship model is used to show cardinality among objects in the model, for example every Resource belongs to one and only one Service Provider and a Premise contains one or more End Devices.  The Entity-Relationship model does not provide use case information; actors are objects in the model and do not “act” in the model.  The Entity-Relationship model does not imply process.  For example, a Service Provider is associated with many Resources; however the enrollment of those Resources may be managed by a System Operators or a Utility Distribution Operator.  Both Use Cases and Process Maps are separate components of the Business Practice Standards.

Reading Crow’s Foot Notation.    Objects in the model which share a relationship are connected with a cardinality line.  Each end of the cardinality line contains a Crow’s Foot notation, as documents in the legend of the figure.  The four notations utilized are “exactly-one”, “one-or-more”, “zero-or-one”, and “zero-or-more”.  The cardinality line is bi-directional; meaning it can be read in two directions.  For example: a Premise is related to one-or-more End Devices (reading top to bottom) and every End Device is related to exactly-one Premise (reading bottom to top).

Optional Objects.  The entity-relationship model is designed to support multiple business models and not every business model will require all objects to function.  Therefore, all objects in the model are considered optional.  For example, a Utility Distribution Operator may design a Demand Response program which requires the definition of Resources and Premises, but does not require Response Method Aggregations and Response Methods.  In this example, the relationship between Resource and Premise is transitive: a Resource is comprised of one-or-more Premises and each Premise is associated with zero-or-more Resources.

Applicability to Retail and Wholesale.  The entity-relationship model is applicable to both wholesale and retail.  When using the model for wholesale, the applicable business entities are 2.1 (System Operator) and 2.3 (Market Participant), while in retail markets, the parallel business entities are 2.3 (Utility Distribution Operator) and 2.4 (Utility Customers).  Other than the swapping of the two pairs of terms, the models are identical, including the names of and relationships among objects.  
Figure 1A. Entity-Relationship Model for Smart Grid Use Cases

[image: image1.emf] 

Supporting Objects 4. Resource Objects 1. Regulators 2. Business Entities 3. Participant Roles

1.1 Federal

1.2 Reliability

1.3 

Environmental

1.4 State

2.1 System 

Operator

(SO)

2.3 Utility 

Distribution 

Operator (UDO)

3.1 Service 

Provider (SP) 

3.2 Load Serving 

Entity

(LSE)

3.3 Scheduling 

Entity 

(SE)

3.4 Designated 

Dispatch Entity 

(DDE)

3.5 Transmission/

Distribution 

Service Provider 

(TDSP)

3.6 Meter 

Authority (MA)

1.5 

Municipal, 

Cooperative, or 

other utility 

Authority

4.3

Premise

4.2

Response 

Method 

Aggregation

4.1

Resource

5.4

Zone

5.6

P-Node

5.1

Measurement

5.2

Control

5.5 

Communication 

Method

(CM)

5.3

Enrollment

2.4 Utility 

Customer

(UC)

Takes on one or 

more Resourceroles

W

H

O

L

E

S

A

L

E  

T

E

R

M

S

R

E

T

A

I

L

 

T

E

R

M

S

4.5

End Device

4.4

Response 

Method

Exactly One

One or More

Zero or One

Zero or More

2.2 Market 

Participant

(MP)

Takes on one or 

more Participant

roles



4.  Supporting Documentation
a.  Description of Request:

On September 30, 2009, the National Institute of Standards and Technology officially assigned NAESB the responsibility to develop Requirements and Use Cases pertinent to Priority Action Plan items 3, 4 and 9. A complete description of each item is available on the NIST Web site located at http://collaborate.nist.gov/twiki-sggrid/bin/view/SmartGrid/WebHome  in the section titled Priority Action Plans (PAPs).
This recommendation specifically pertains to PAP 04
, “A Common Scheduling Mechanism for Energy Transactions”.

b.  Description of Recommendation:

The scope of this recommendation is to define the range of information required to establish the breadth of the communication requirement. There is no need for the cases to be exhaustive, merely illustrative of the full scope.

c.  Business Purpose:

This recommendation has been developed in response to a request from NIST to provide use cases and requirements germane to the use of dates/times within a broad spectrum of energy transactions. The scope of this effort has been limited to Demand Response Programs in order to meet NIST’s deadline for this effort.

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):
Assumptions – The Smart Grid Task Force assumes as given that common semantics for communicating schedule, interval, and sequence will enhance interoperation between domains and between business entities.
Joint Smart Grid Standards Task Force and Fix Protocol Meeting Notes/Documents:

· September 17, 2009 Meeting Notes – To be posted
· October 1, 2009 Meeting Notes – To be posted
· October 15, 2009 Meeting Notes – To be posted
NAESB Smart Grid Standards Task Force Sub-Group Meeting Notes/Documents:
· October 13, 2009 Meeting Notes – To be posted
· October 20, 2009 Meeting Notes – To be posted
· October 27, 2009 Meeting Notes – To be posted
· November 3, 2009 Meeting Notes – To be posted
· November 4-6, 2009 Meeting Notes – To be posted
· November 10, 2009 Meeting Notes – To be posted
NAESB Smart Grid Standards Task Force Meeting Notes/Documents:
· October 22, 2009 Meeting Notes – http://naesb.org/pdf4/smart_grid_ssd102209notes.doc 
· October 29, 2009 Meeting Notes – To be posted
· November 5, 2009 Meeting Notes – To be posted
· November 13, 2009 Meeting Notes – To be posted
· December 3, 2009 Meeting Notes – To be posted
· December 10, 2009 Meeting Notes –http://naesb.org/pdf4/smart_grid_ssd121009notes.doc 
· December 17, 2009 Meeting Notes – http://naesb.org/pdf4/smart_grid_ssd121709notes.doc 
· January 7, 2010 Meeting Notes – To be posted
· January 14, 2010 Meeting Notes – To be posted
· January 21, 2010 Meeting Notes – To be posted
· January 28, 2010 Meeting Notes – To be posted
e.  Additional Documentation from Subcommittee(s)/Task Force(s):
· The Task Force is including the following materials to include complete set of abbreviations, acronyms, and definitions.  The changes to the abbreviations, acronyms, and definitions are only listed in the Recommended Standards. 

	Abbreviation / Acronym
	Meaning

	BAS
	Building Automation System

	CalConnect
	Calendaring and Scheduling Consortium

	CIM
	Common Information Model

	C&I
	Commercial and Industrial

	DDE
	Designated Dispatch Entity

	DER
	Distributed Energy Resource

	DR
	Demand Response

	EA
	Environmental Authority

	ED
	End Device

	EMS
	Energy Management System

	ESI
	Energy Services Interface

	FIX
	Financial Information eXchange protocol

	FR
	Federal Regulator

	GWAC
	GridWise Architecture Council

	iCalendar
	Internet Calendaring and Scheduling Core Object Specification

	IEC TC57
	International Electrotechnical Commisssion Technical Committee 57

	IETF
	Internet Engineering Task Force

	IRC Council
	Independent System Operator/Regional Transmission Operator Council

	ISIN
	International Security Identifier Number

	ISO
	International Organization for Standardization

	ISOs/RTOs
	Independent System Operators/Regional Transmission Operators

	kW
	Kilowatt

	kWh
	Kilowatt Hour

	LA
	Local Authority

	LSE
	Load Serving Entity

	MA
	Meter Authority

	MBL
	Maximum Base Load

	MB/MA
	Meter Before/Meter After

	MGO
	Metering Generator Output

	MP
	Market Participant

	MWh
	Megawatt Hour

	NIST
	National Institute of Standards and Technology

	PAP
	Priority Action  Plan

	RM
	Response Method

	RMA
	Response Method Aggregation

	OpenSG
	Open Smart Grid

	PUC
	Public Utility Commission

	SE
	Scheduling Entity

	SGTF
	Smart Grid Task Force

	SO
	System Operator

	SP
	Service Provider

	SR
	State Regulator

	TDSP
	Transmission/Distribution Service Provider

	UC
	Utility Customer

	UCAIug
	UCA International Users Group

	UDO
	Utility Distribution Operator

	UML
	Unified Modeling Language

	XML
	Extensible Markup Language


	Term
	Definition

	Baseline
	A Baseline is an estimate of the electricity that would have been consumed by a Demand Resource in the absence of a Demand Response Event. The Baseline is compared to the actual metered electricity consumption during the Demand Response Event to determine the Demand Reduction Value.  Depending on the type of Demand Response product or service, Baseline calculations may be performed in real-time or after-the-fact.  

	Business Entity
	The wholesale or retail entity that interacts with other entities in its market.

	Communication Method
	The method by which an object communicates with another object to instruct, measure, report or control.

	Control
	The role associated with the control of an End Device.

	Designated Dispatch Entity (DDE)
	A role which carries the responsibility of receiving and processing demand resource dispatch instructions or market information and (optionally) providing response information.  

	Distributed Energy Resources (DER)
	DERs are small, modular, energy generation and storage technologies that provide electric capacity or energy where it is needed.  DERs may be either connected to the local electric power grid (e.g., for voltage support) or isolated from the grid in stand-alone applications, such as part of a MicroGrid. Definition of DER provided by the Department of Energy, http://www1.eere.energy.gov/femp/pdfs/31570.pdf

	End Device (ED)
	A physical end-use device that consumes or supplies electricity.

	Environmental Authority (EA)
	A regulatory authority responsible for the development, reporting and enforcement of environmental activities.

	Federal Regulator (FR)
	A federal regulatory authority.

	Load Serving Entity (LSE)
	A role which carries the responsibility of serving end-users and selling electric energy to end-users.

	Local Authority (LA)
	A regulatory authority responsible for the oversight and administration of utility service-related functions within its jurisdiction.

	Market Enrollment
	The collection of enrollment or tariff data for a Resource Object to provide a specific market product or service.

	Market Participant (MP)
	An organization registered with the System Operator that may take on roles such as SP, LSE, TDSP, DDE, SE, and/or MA in accordance with the SO’s market rules.

	Maximum Base Load (MBL)
	A performance evaluation methodology based solely on a Demand Resource’s ability to reduce to a specified level of electricity Demand, regardless of its electricity consumption or Demand at Deployment.

	Measurement
	The role associated with the device or algorithm that measures the consumption or supply of an End Device.

	Meter Authority (MA)
	A role which carries the responsibility of providing data necessary to determine the performance of a Resource.

	Meter Before /Meter After (MB/MA)
	A role which carries the responsibility of providing data necessary to determine the performance of a Resource.

	Metering Generator Output (MGO)
	A performance evaluation methodology, used when a generation asset is located behind the Demand Resource’s revenue meter, in which the Demand Reduction Value is based on the output of the generation asset.

	P-Node
	The price location of the Premise in the transmission and/or distribution network.

	Participant
	The entity that represents resources to a market or distribution operator.

	Premise
	The location at which connection to the transmission or distribution system is made.

	Regulator
	A rule-making and enforcement entity.

	Response Method
	A measurable action taken in response to an instruction to change consumption.

	Response Method Aggregation (RMA)
	A logical entity that has a reportable interval level consumption, e.g. an RMA may be a physical entity with its own meter, a neighborhood of homes that has a net meter, or an estimate of consumption of an aggregation of retail customers.

	Resource
	A market-dependent group of Response Method Aggregations that represents a dispatchable entity.

	Resource Object
	Physical and logical types of demand response resource objects.

	Scheduling Entity (SE)
	A role which carries the responsibility of submitting bids/offers and receives schedules and awards.

	Service Provider (SP)
	A role which carries the responsibility of coordinating resources to deliver electricity products and services to a market or distribution operator.

	State Regulator (SR)
	A regulatory authority responsible for the oversight and administration of electric utilities.

	Supporting Objects
	Objects that support the interaction of Business Entities and Resource Objects.

	System Operator (SO)
	A System Operator is a Balancing Authority, Transmission Operator, or Reliability Coordinator whose responsibility is to monitor and control an electric system in real time (based on NERC definition).  The System Operator is responsible for initiating Advance Notifications, Deployment, and Release/Recall instructions.

	Transmission/Distribution Service Provider (TDSP)
	A role which carries the responsibility of operating a local electricity transmission and/or distribution system.

	Utility Customer (UC)
	An end-use customer of the Utility Distribution Operator that takes on roles such as Facility or Resource.

	Utility Distribution Operator (UDO)
	An entity which carries the responsibility of operating an electricity distribution system.

	Zone
	A physical or electrical region.


� � HYPERLINK "http://tools.ietf.org/html/rfc5545" �http://tools.ietf.org/html/rfc5545�





� International Organization for Standardization ISO 20022 Universal financial industry message scheme


� Internet Calendaring and Scheduling Core Object Specification (iCalendar)


� � HYPERLINK "http://collaborate.nist.gov/twiki-sggrid/bin/view/SmartGrid/PAP04Schedules" �http://collaborate.nist.gov/twiki-sggrid/bin/view/SmartGrid/PAP04Schedules�





3
Revised by the NAESB Smart Grid Task Force June 5, 2010
Page 9

[image: image3.wmf] 

_1075620371.doc
[image: image1.png]|

Lo







