

[image: image2.wmf] 


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant:
Wholesale Electric Quadrant (WEQ) and Retail Electric Quadrant (REQ)

                                       Requesters:
NAESB Smart Grid Task Force (SGTF)
                                       Request No.: 
2010 WEQ Annual Plan Item 6(b) / 2010 Retail Annual Plan Item 9(b)
                                       Request Title:
Requirements Specifications for Common Scheduling Mechanism for Energy Transactions – for NIST PAP04

1.
RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

	X
	Accept as requested
	X
	Change to Existing Practice

	
	Accept as modified below
	
	Status Quo

	
	Decline
	
	


2.
TYPE OF DEVELOPMENT/MAINTENANCE

	Per Request:
	Per Recommendation:

	X
	Initiation
	X
	Initiation

	
	Modification
	
	Modification

	
	Interpretation
	
	Interpretation

	
	Withdrawal
	
	Withdrawal

	
	
	
	

	X
	Principle
	X
	Principle

	X
	Definition
	X
	Definition

	X
	Business Practice Standard
	X
	Business Practice Standard

	
	Document
	
	Document

	
	Data Element
	
	Data Element

	
	Code Value
	
	Code Value

	
	X12 Implementation Guide
	
	X12 Implementation Guide

	
	Business Process Documentation
	
	Business Process Documentation


3.
RECOMMENDATION

SUMMARY:
The NAESB Smart Grid Task Force (SGTF) submits this Recommendation to define the range of information required to establish the breadth of the communication requirement. There is no need for the cases to be exhaustive, merely illustrative of the full scope.

New WEQ-016 Abbreviations/Acronyms and Defined Terms to be added to WEQ-000
(NOTE: NAESB Retail numbering convention will replace WEQ numbering convention in NAESB Retail publication)
000-1
ABBREVIATIONS AND ACRONYMS 
	Abbreviation / Acronym
	Meaning

	DDE
	Designated Dispatch Entity

	EA
	Environmental Authority

	ED
	End Device

	FR
	Federal Regulator

	LA
	Local Authority

	LSE
	Load Serving Entity

	MA
	Metering Authority

	MP
	Market Participant

	RA
	Reliability Authority

	RM
	Response Method

	RMA
	Response Method Aggregation

	SE
	Scheduling Entity

	SO
	System Operator

	SP
	Service Provider

	SR
	State Regulator

	TDSP
	Transmission/Distribution Service Provider

	UC
	Utility Customer

	UDO
	Utility Distribution Operator


000-2
DEFINITION OF TERMS 
	Term
	Definition

	Business Entity
	The wholesale or retail entity that interacts with other entities in its market.

	Communication Method
	The method by which an object communicates with another object to instruct, measure or control.

	Control
	The role associated with the control of an End Device.

	Demand Response Objects
	Physical and logical types of demand response resource objects.

	Designated Dispatch Entity
	A role which carries the responsibility of receiving and processing demand resource dispatch instructions or market information and (optionally) providing response information.  

	End Device
	A physical end-use device that consumes or supplies electricity.

	Environmental Authority
	A regulatory authority responsible for the development, reporting and enforcement of environmental activities.

	Facility
	The location at which connection to the transmission or distribution system is made.

	Federal Regulator
	A Federal regulatory authority.

	Load Serving Entity
	A role which carries the responsibility of serving end-users and selling electric energy to end-users.

	Local Authority
	A regulatory authority responsible for the oversight and administration of utility service-related functions within its jurisdiction.

	Market Enrollment
	The collection of enrollment or tariff data for a Demand Resource Object to provide a specific market product or service.

	Market Participant
	An organization registered with the System Operator that may take on roles such as SP, LSE, TDSP, DDE, SE, and/or MA in accordance with the System Operator’s market rules.

	Measurement
	The role associated with the device or algorithm that measures the consumption or supply of an End Device.

	Metering Authority
	A role which carries the responsibility of providing data necessary to determine the performance of a Resource.

	P-Node
	The price location of the Facility in the transmission and/or distribution network.

	Participant
	The entity that represents resources to a market or distribution operator.

	Regulator
	A rule-making and enforcement entity.

	Reliability Authority
	A regulatory authority responsible for the development, reporting and enforcement of electric reliability-related activities.

	Response Method
	A measurable action taken in response to an instruction to change consumption.

	Response Method Aggregation
	A logical entity that has a reportable interval level consumption, e.g. a site may also be a physical entity that may have its own meter, a neighborhood of homes that has a net meter, or an estimate of consumption of an aggregation of retail customers.

	Resource
	A market-dependent group of Response Method Aggregations that represents a dispatchable entity.

	Scheduling Entity
	A role which carries the responsibility of submitting bids/offers and receives Schedules and Awards.

	Service Provider
	A role which carries the responsibility of coordinating resources to deliver electricity products and services to a market or distribution operator.

	State Regulator
	A regulatory authority responsible for the oversight and administration of electric utilities.

	Supporting Objects
	Objects that support the interaction of Business Entities and Demand Response Objects.

	System Operator
	An entity which carries the responsibility of administering the demand response process, from Resource enrollment to performance evaluation.

	Transmission/Distribution Service Provider
	A role which carries the responsibility of operating a local electricity transmission and/or distribution system.

	Utility Customer
	An end-use customer of the Utility Distribution Operator that takes on roles such as Facility or Resource.

	Utility Distribution Operator
	An entity which carries the responsibility of operating an electricity distribution system.

	Zone
	A physical or electrical region.


New Business Practice Standards WEQ-016 – Smart Grid Activities
(NOTE: NAESB Retail numbering convention will replace WEQ numbering convention in NAESB Retail publication)
Recommended Standards: 
Executive Summary
Requirements Specification for Common Scheduling Mechanism for Energy Transactions 

The following contains a set of requirements relating to the use of date and time based data elements that are used in transactions for Demand Response Programs. This information is being provided to NIST in order to aid in the development of a standard representation for date/time based data elements derived from an XML representation of iCalendar
.

Although there are many other areas where date/time based data elements are used in energy industry transactions this recommendation is limited in scope to only those date/time based data elements that are utilized in Demand Response Programs. 

Introduction
Requirements Specification for Common Scheduling Mechanism for Energy Transactions 

Smart grid interfaces must communicate between domains, that is between different business and consumer entities with different values and approaches (ontologies). Such interfaces must be simplified to bare essentials, and be understandable by parties with different backgrounds and expectations. 

To achieve cross-domain understandability, and thereby enhance interoperation, smart grid transactions must use semantic models from different areas developed by different standards groups. Each of these vocabularies is most fully defined in one area. We have agreed, within the NIST process, to use the vocabularies from the appropriate domain experts to compose the message that flow between domains on the smart grid.

In the following, we defined transactions as grid events that occur between domains, or whose effects and outcomes must be communicated between domains. This activity makes no assertions about any other events.

Smart grid transactions communicate three classes of information. They describe events used within the power management and distribution of the grid. They invoke financial or business transactions concerning those transactions. They communicate schedules and interval information for the flows of energy. Per agreement, all semantics relating to Power Management will use the Common Information Model (CIM) from IEC TC57. All financial and market semantics will be based upon the definitions found in ISO 20022 (Financial Documents) and in their most common expression, FIX. All elements relating to schedule and interval will be expressed in the notation of the IETF iCalendar (RFC 5545) standard, as defined in the XML representation of iCalendar developed by CalConnect.  The purpose of this approach is to increase interoperation and understanding between domains.

The group primarily associated with the development of interoperable enterprise date, time, and interval standards for the IETF is the Calendaring and Scheduling Consortium (CalConnect). CalConnect and OASIS will work together to define the common communication of date time and interval to meet the needs of smart grid transaction communications as well as for building systems integration, enterprise interaction, and financial transactions. This commonality is anticipated to reduce barriers to interoperation and thereby to expand participation in DR and DER.

The purpose of this action is to define the requirements for standard communication of date, time, schedule, and interval by smart grid actors, with particular attention to demand response (DR). These requirements will be submitted to the OASIS and CalConnect technical committee to define the applicable communication standards to support them.
Scope: The scope of the following is to define the range of information required to establish the breadth of the communication requirement. There is no need for the cases to be exhaustive, merely illustrative of the full scope.

Assumptions: We assume as given that common semantics for communicating schedule, interval, and sequence will enhance interoperation between domains and between business entities.

Business Practice Standards
016-1
Requirements Specification for Common Scheduling Mechanism for Energy Transactions 

016-1.1
Use Case Overview
016-1.1.1
Requirements for Date and Time Usage
Demand Response Programs employ a combination of absolute dates/times, absolute periods (range) of dates/times, relative dates/times, recurring dates/times, absolute intervals and absolute durations in order to communicate temporal information pertaining to demand response transactions. Demand Response Programs must also accommodate time zone variations, leap years, leap seconds, and the use of daylight savings time. Any calendaring/scheduling standard that is applicable to Demand Response programs must be capable of supporting this range of requirements. 

An incomplete, but representative, set of instances is provided below. The sample data included are non-normative representations; they are included to clarify the expectation of information that will be in the standard.

	Type of Representation
	Representative Instance
	Sample Data

	Absolute date/time
	Effective start date

Effective start date and time
	2009-11-01

2009-11-01T01:00:00-Z

	Absolute Periods (range)
	Deployment Period
	2009-11-01T01:00:00-Z/ 2009-11-02T24:00:00-Z

	Relative date/time (time-point)
	Reduction Deadline
	30 minutes from a specified point in time

	Recurring date/time
	Market Closing
	Every day at 12:00 noon

	Absolute Interval
	Meter Data Recording
Interval

System Frequency
	Every 5 minutes

60 cycles per second

	Absolute Duration
	Outage Duration

Minimum Run Time
	2 days

4 hours


It is an additional requirement that all schedule and interval communications be able to express the precision required in the response. For example, an actor may be required to perform within five minutes, or within five milliseconds of the agreed upon time.

016-1.2
Specific Use Cases
016-1.2.1
Date and Time Based Data Elements Utilized in Demand Response Programs
The representative instances named in the table below are representative of those used in smart grid transactions. Although some instances may have be seen under other names in different markets, standardizing those names is beyond the scope of this activity, which is limited to standardizing communication of date, time, schedule, and interval. These instances are sufficiently diverse to define the range of communications that the standard must support.
	Representative Instances
	Description

	Adjustment Window
	The period prior to a Demand Response Event used for calculating a Baseline Adjustment.

	Advance Notification
	One or more communications to Demand Resources of an impending Demand Response Event transmitted in advance of the actual event.

	Baseline Window
	The window of time preceding and optionally following, a Demand Response Event over which electricity consumption data is collected for the purpose of establishing a Baseline.

	Demand Response Event
	The periods, deadlines, and transitions during which Demand Resources perform. The Program Administrator should specify the duration and applicability of a Demand Response Event. Not all deadlines, periods, and transitions may be applicable to all Demand Response products or services.

	Deployment
	The time at which a Demand Resource begins reducing Demand on the system in response to an instruction.

	Deployment Period
	The time in a Demand Response Event beginning with the Deployment and ending with the Release/Recall

	Meter Data Recording Interval
	The time between electricity meter consumption recordings

	Meter Data Reporting Deadline
	The maximum allowed time from the end of a Demand Response Event (Normal Operations) to the time when meter data submission is required for performance evaluation and settlement. The Meter Data Reporting Deadline may be either relative (a number of hours/days after Normal Operations) or fixed (a fixed calendar time, such as end-of-month).

	Normal Operations
	The time following Release/Recall at which a Program Administrator may require a Demand Resource to have returned its Load consumption to normal levels, and to be available again for Deployment

	Performance Window
	The period in a Demand Response Event analyzed by the Program Administrator to measure and verify the Demand Reduction Value for a Demand Resource.

	Ramp Period
	The time between Deployment and Reduction Deadline, representing the period of time over which a Demand Resource is expected to achieve its change in Demand

	Recovery Period
	The time between Release/Recall and Normal Operations, representing the window over which Demand Resources are required to return to their normal Load.

	Reduction Deadline
	The time at the end of the Ramp Period when a Demand Resource is required to have met its Demand Reduction Value obligation

	Release/Recall
	The time when a Program Administrator notifies a Demand Resource that the Deployment Period has ended or will end

	Sustained Response Period
	The time between Reduction Deadline and Release/Recall, representing the window over which a Demand Resource is required to maintain its reduced net consumption of electricity

	Telemetry Interval
	The time unit between communications between a Demand Resource or Demand Response Provider and a Program Administrator


016-A
Appendix A – Entity-Relationship Model 

The following terms and definitions correspond to a set of actor/object classes and sub-classes as illustrated in the entity-relationship model in Figure 1 of Appendix A. Abbreviations/Acronyms correspond to the IDs shown in the figure.

ABBREVIATIONS AND ACRONYMS 
	Abbreviation / Acronym
	Meaning

	DDE
	Designated Dispatch Entity

	EA
	Environmental Authority

	ED
	End Device

	FR
	Federal Regulator

	LA
	Local Authority

	LSE
	Load Serving Entity

	MA
	Metering Authority

	MP
	Market Participant

	RA
	Reliability Authority

	RM
	Response Method

	RMA
	Response Method Aggregation

	SE
	Scheduling Entity

	SO
	System Operator

	SP
	Service Provider

	SR
	State Regulator

	TDSP
	Transmission/Distribution Service Provider

	UC
	Utility Customer

	UDO
	Utility Distribution Operator


DEFINITION OF TERMS 
	Term
	Definition

	Business Entity
	The wholesale or retail entity that interacts with other entities in its market.

	Communication Method
	The method by which an object communicates with another object to instruct, measure or control.

	Control
	The role associated with the control of an End Device.

	Demand Response Objects
	Physical and logical types of demand response resource objects.

	Designated Dispatch Entity
	A role which carries the responsibility of receiving and processing demand resource dispatch instructions or market information and (optionally) providing response information.  

	End Device
	A physical end-use device that consumes or supplies electricity.

	Environmental Authority
	A regulatory authority responsible for the development, reporting and enforcement of environmental activities.

	Facility
	The location at which connection to the transmission or distribution system is made.

	Federal Regulator
	A Federal regulatory authority.

	Load Serving Entity
	A role which carries the responsibility of serving end-users and selling electric energy to end-users.

	Local Authority
	A regulatory authority responsible for the oversight and administration of utility service-related functions within its jurisdiction.

	Market Enrollment
	The collection of enrollment or tariff data for a Demand Resource Object to provide a specific market product or service.

	Market Participant
	An organization registered with the System Operator that may take on roles such as SP, LSE, TDSP, DDE, SE, and/or MA in accordance with the System Operator’s market rules.

	Measurement
	The role associated with the device or algorithm that measures the consumption or supply of an End Device.

	Metering Authority
	A role which carries the responsibility of providing data necessary to determine the performance of a Resource.

	P-Node
	The price location of the Facility in the transmission and/or distribution network.

	Participant
	The entity that represents resources to a market or distribution operator.

	Regulator
	A rule-making and enforcement entity.

	Reliability Authority
	A regulatory authority responsible for the development, reporting and enforcement of electric reliability-related activities.

	Response Method
	A measurable action taken in response to an instruction to change consumption.

	Response Method Aggregation
	A logical entity that has a reportable interval level consumption, e.g. a site may also be a physical entity that may have its own meter, a neighborhood of homes that has a net meter, or an estimate of consumption of an aggregation of retail customers.

	Resource
	A market-dependent group of Response Method Aggregations that represents a dispatchable entity.

	Scheduling Entity
	A role which carries the responsibility of submitting bids/offers and receives Schedules and Awards.

	Service Provider
	A role which carries the responsibility of coordinating resources to deliver electricity products and services to a market or distribution operator.

	State Regulator
	A regulatory authority responsible for the oversight and administration of electric utilities.

	Supporting Objects
	Objects that support the interaction of Business Entities and Demand Response Objects.

	System Operator
	An entity which carries the responsibility of administering the demand response process, from Resource enrollment to performance evaluation.

	Transmission/Distribution Service Provider
	A role which carries the responsibility of operating a local electricity transmission and/or distribution system.

	Utility Customer
	An end-use customer of the Utility Distribution Operator that takes on roles such as Facility or Resource.

	Utility Distribution Operator
	An entity which carries the responsibility of operating an electricity distribution system.

	Zone
	A physical or electrical region.


Figure 1. Entity-Relationship Model for Smart Grid Use Cases

[image: image1.emf]Supporting Objects 4. Demand Resource 

Objects

1. Regulators 2. Business Entities 3. Participant Roles

1.1 Federal

1.2 Reliability

1.3 

Environmental

1.4 State

2.1 System 

Operator

(SO)

2.3 Utility 

Distribution 

Operator (UDO)

3.1 Service 

Provider (SP) 

3.2 Load Serving 

Entity

(LSE)

3.3 Scheduling 

Entity 

(SE)

3.4 Designated 

Dispatch Entity 

(DDE)

3.5 Transmission/

Distribution 

Service Provider 

(TDSP)

3.6 Meter 

Authority (MA)

1.5 

Municipal, 

Cooperative, or 

other utility 

Authority

4.3

Facility

4.2

Response 

Method 

Aggregation

4.1

Resource

5.4

Zone

5.6

P-Node

5.1

Measurement

5.2

Control

5.5 

Communication 

Method

(CM)

5.3

Market 

Enrollment

2.4 Utility 

Customer

(UC)

Takes on one or 

more Resource roles

W

H

O

L

E

S

A

L

E  

T

E

R

M

S

R

E

T

A

I

L

 

T

E

R

M

S

4.5

End Device

4.4

Response 

Method

Exactly One

One or More

Zero or One

Zero or More

2.2 Market 

Participant

(MP)

Takes on one or 

more Participant

roles


4.  Supporting Documentation
a.  Description of Request:

On September 30, 2009, the National Institute of Standards and Technology officially assigned NAESB the responsibility to develop Requirements and Use Cases pertinent to Priority Action Plan items 3, 4 and 9. A complete description of each item is available on the NIST Web site located at http://collaborate.nist.gov/twiki-sggrid/bin/view/SmartGrid/WebHome  in the section titled Priority Action Plans (PAPs).
This recommendation specifically pertains to PAP 04
, “A Common Scheduling Mechanism for Energy Transactions”.

b.  Description of Recommendation:

The scope of this recommendation is to define the range of information required to establish the breadth of the communication requirement. There is no need for the cases to be exhaustive, merely illustrative of the full scope.

c.  Business Purpose:

This recommendation has been developed in response to a request from NIST to provide use cases and requirements germane to the use of dates/times within a broad spectrum of energy transactions. The scope of this effort has been limited to Demand Response Programs in order to meet NIST’s deadline for this effort.

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):
Assumptions - We assume as given that common semantics for communicating schedule, interval, and sequence will enhance interoperation between domains and between business entities.

Joint Smart Grid Standards Task Force and Fix Protocol Meeting Notes/Documents:

· September 17, 2009 Meeting Notes – To be posted
· October 1, 2009 Meeting Notes – To be posted
· October 15, 2009 Meeting Notes – To be posted
NAESB Smart Grid Standards Task Force Sub-Group Meeting Notes/Documents:
· October 13, 2009 Meeting Notes – To be posted
· October 20, 2009 Meeting Notes – To be posted
· October 27, 2009 Meeting Notes – To be posted
· November 3, 2009 Meeting Notes – To be posted
· November 4-6, 2009 Meeting Notes – To be posted
· November 10, 2009 Meeting Notes – To be posted
NAESB Smart Grid Standards Task Force Meeting Notes/Documents:
· October 22, 2009 Meeting Notes – http://naesb.org/pdf4/smart_grid_ssd102209notes.doc 
· October 29, 2009 Meeting Notes – To be posted
· November 5, 2009 Meeting Notes – To be posted
· November 13, 2009 Meeting Notes – To be posted
· December 3, 2009 Meeting Notes – To be posted
· December 10, 2009 Meeting Notes –http://naesb.org/pdf4/smart_grid_ssd121009notes.doc 
· December 17, 2009 Meeting Notes – http://naesb.org/pdf4/smart_grid_ssd121709notes.doc 
· January 7, 2010 Meeting Notes – To be posted
· January 14, 2010 Meeting Notes – To be posted
· January 21, 2010 Meeting Notes – To be posted
· January 28, 2010 Meeting Notes – To be posted
� � HYPERLINK "http://tools.ietf.org/html/rfc5545" �http://tools.ietf.org/html/rfc5545�





� � HYPERLINK "http://collaborate.nist.gov/twiki-sggrid/bin/view/SmartGrid/PAP04Schedules" �http://collaborate.nist.gov/twiki-sggrid/bin/view/SmartGrid/PAP04Schedules�





3
Approved by the NAESB Smart Grid Task Force – January 28, 2010
Page 1

[image: image3.wmf] 

_1075620371.doc
[image: image1.png]|

Lo







