REVIEW OF NERC PROJECT 2007-09

Standard MOD-026-1 — Verification of Models and Data for Generator Excitation System Functions
Standard PRC-024-1 ---- Generator Frequency and Voltage Protective Relay Settings

I have reviewed the progress of NERC Project 2007-09 in which NERC is developing two new standards MOD-026-1 Verification of Models and Data for Generator Excitation System Functions and PRC-024-1 Generator Frequency and Voltage Protective Relay Settings.  Draft standards have been developed and posted for a 45 days Industry comments 02/17/09 – 14/02/09.

Both of these standards are addressing reliability issues related with testing of generators for including correct data in simulation models for reliability evaluation. These standards also require generator owners to provide this data to Reliability Coordinators, Planning Coordinators, Transmission Operators, and Transmission Planners.

These draft standards can be accessed from NERC website through following links:

MOD-026-1
http://www.nerc.com/docs/standards/sar/MOD-026-1_Draft1_2009Feb17.pdf
PRC-024-1  http://www.nerc.com/docs/standards/sar/PRC-024-1_Draft1_2009Feb17.pdf
These new standards do not either impact any current NAESB Business Practice Standards, nor these standards require development of any new NAESB Business Practice Standards.  I recommend that No Action is needed on the part of SRS in response to these standards.

Narinder K. Saini
