


Prepared By:  Jim Cyrulewski

                        JDRJC Associates

                        6/9/2010
NAESB vs NERC Glossary Comparison 

Differences Only
NAESB Glossary is the basis for comparison.  Only terms in NAESB Glossary that are different than NERC Glossay listed.  Where there is a difference, NERC definition is highlighted in bold and portion underlined.       

000-2
DEFINTION OF TERMS

The terms listed in the following table are used in the Business Practice Standards and shall have the definitions specified in the table.

	TERM
	DEFINITION

	Area Control Error (ACE) 
	The instantaneous difference between a BA’s Net Actual Interchange and Net Interchange Schedule, taking into account the effects of Frequency Bias and correction for meter error.
NERC Def:

The instantaneous difference between a Balancing Authority’s net actual and scheduled interchange, taking into account the effects of Frequency Bias and correction for meter error. 

	Automatic Generation Control (AGC) 
	Equipment that automatically adjusts generation in a BAA from a central location to maintain the BA’s Interchange Schedule plus Frequency Bias.  AGC may also accommodate automatic Inadvertent Interchange payback and Time Error Correction.
NERC Def.: Only difference is in scond sentence where NERC did not inlclude Interchange.

	Bulk Electric System 
	The electrical generation resources, transmission lines, interconnections with neighboring systems, and associated equipment, generally operated at voltages of 100 kV or higher. Radial transmission facilities serving only load with one transmission source are generally not included in this definition.
NERC Def.: As defined by the Regional Reliability Organization, the electrical generation resources, transmission lines, interconnections with neighboring systems, and associated equipment, generally operated at voltages of 100 kV or higher. Radial transmission facilities serving only load with one transmission source are generally not included in this definition.

	Business Practice 
	Refers collectively to any practices adopted by the Transmission Provider as defined in their OATT, or Transmission Provider specific practices or requirements.
NERC Def.: Those business rules contained in the Transmission Service Provider’s applicable tariff, rules, or procedures; associated Regional Reliability Organization or regional entity business practices; or NAESB Business Practices. (FERC approval pending) 

	Firm Transmission Service 
	The highest quality service offered to Transmission Customers under a filed rate schedule that anticipates no planned interruption.  Firm Transmission Service includes firm PTP and firm NITS.

NERC Def: Second sentence not included.

	Interconnection 
	Any one of the four major electric system networks in North America: Eastern Interconnection, Western Interconnection, ERCOT Interconnection, and Quebec Interconnection.
NERC Def. When capitalized, any one of the three major electric system networks in North America: Eastern, Western, and ERCOT.  Missing Quebec. 

	Native Load (NL) 
	The demand imposed on an electric utility or an entity by the requirements of all customers located within a franchised service territory that the electric utility or entity has statutory or contractual obligation to serve.  
NERC Def.: The end-use customers that the Load-Serving Entity is obligated to serve 

Note: This definition is only applicable to Business Practice Standards WEQ-008.

	Network Integration Transmission Service (NITS) 
	As specified in the Transmission Provider’s tariff, service that allows an electric Transmission Customer to integrate, plan, economically dispatch and regulate its network resources in a manner comparable to that in which the Transmission Provider serves Native Load Customers.
NERC Def. Service that allows an electric transmission customer to integrate, plan, economically dispatch and regulate its network reserves in a manner comparable to that in which the Transmission Owner serves Native Load customers.  Did not include beginning of sentence As specified in the Transmission Provider’s tariff,   

	Non-Firm Transmission Service 
	As specified in the Transmission Provider’s tariff, Transmission Service that is reserved and scheduled on an as-available basis, is subject to Curtailment or interruption, and has less priority than Firm Transmission Service.  
NERC Def.: Transmission service that is reserved on an as-available basis and is subject to curtailment or interruption.   Did not include beginning of sentence As specified in the Transmission Provider’s tariff and and has less priority than Firm Transmission Service.  

	Open Access Same-Time Information System (OASIS) 
	Comprises the computer systems and associated communications facilities that public utilities are required to provide for the purpose of making available to all transmission users comparable interactions with Transmission Service Information and any back-end supporting systems or user procedures that collectively perform the transaction processing functions associated with handling of requests on OASIS.
NERC Def.: An electronic posting system that the Transmission Service Provider maintains for transmission access data and that allows all transmission customers to view the data simultaneously. 

	Point-to-Point Transmission Service (PTP) 
	The reservation and transmission of capacity and energy on either a firm or non-firm basis from the PORs to the PODs as specified in the Transmission Provider's tariff.
NERC Def.: Last protion of sentence as specified in the Transmission Provider's tariff not included

	Postback 
	A variable component of the Transmission Provider’s selected ATC or AFC calculation methodology that positively impacts ATC or AFC based on a change in status of a Transmission Service reservation or use of reserved capacity, or other conditions as specified by the Transmission Provider.
NERC Def.: Positive adjustments to ATC or AFC as defined in Business Practices. Such Business Practices may include processing of redirects and unscheduled service. (FERC approval pending) 

	Reallocation 
	The process used to totally or partially curtail Transactions during TLR levels 3a, 3b or 5a events to allow Transactions using equal or higher priority to be implemented.
NERC Def.: The total or partial curtailment of Transactions during TLR Level 3a or 5a to allow Transactions using higher priority to be implemented. 

	Request for Interchange (RFI) 
	A collection of required data, as defined in Business Practice Standards WEQ-004-C, necessary for the purpose of submitting to the IA as an Arranged Interchange.
NERC Def.: A collection of data as defined in the NAESB RFI Datasheet, to be submitted to the Interchange Authority for the purpose of implementing bilateral Interchange between a Source and Sink Balancing Authority. 


	Transfer Distribution Factor (TDF) 
	The portion of an Interchange Transaction, expressed in percent that flows across a transmission facility (Flowgate).
NERC Def.: Pointed to Distribution Factor definition.

	Transmission Customer 
	Any Eligible Transmission Customer (or its designated agent) that can or does execute a service agreement or can or does receive Transmission Service.
NERC Def.

1. Any eligible customer (or its designated agent) that can or does execute a transmission service agreement or can or does receive transmission service. 

2. Any of the following responsible entities: Generator Owner, Load-Serving Entity, or Purchasing-Selling Entity. 

	Transmission Service 
	Services needed to move energy from a POR to a POD provided to Transmission Customers by Transmission Providers.
NERC Def.: Services provided to the Transmission Customer by the Transmission Service Provider to move energy from a Point of Receipt to a Point of Delivery. 


3
November 11, 2009
Page 1

