NERC Project 2010-12
Order 693 Directives
(Jim Cyrulewski)

MOD-017-1  Aggregated Actual and Forecast Demands and Net Energy for Load
More specifics on load data to be provided and added annual review of load forecast accuracy.  Modified Compliance section.  Do not believe NAESB Impact
MOD-019-1  Forecasts of Interruptible Demands and DCLM Data
More specifics on Interruptible Demand and Load Management forecast data and added annual review of forecast variation.  Modified Compliance section.  Do not believe NAESB Impact
MOD-020-1  Providing Interruptible Demands and DCLM Data
More specifics on supplying Interruptible Demand and Load Management forecast data.  Modified Compliance section.  Do not believe NAESB Impact.

MOD-021-1 Accounting Methodology for Effects of DSM in Forecasts  
Modification to effective date and Compliance sections.  No NAESB Impact.

PRC-004-2  Analysis and Mitigation of Transmission and Generation Protection System Misoperations
Basically added more functional entities (including Load Serving Entity) to the Requirements and Measures.  Modified Compliance section.  Do not believe NAESB Impact
VAR-001-2  Voltage and Reactive Control     

More specifics on what are considered reactive resources.  Modified Compliance section.  Do not believe NAESB Impact
