NERC Project 2010-12
Order 693 Directives
(Narinder K Saini)

BAL-002-1  Disturbance Control Performance
Modified DSM definition, included DSM in Operating reserves, replaced NERC Operating Committee with ERO, and included Compliance Monitoring and Enforcement Process, changed levels of non-compliance.  
These changes do not have impact on NAESB Business Practice Standards.
BAL-005-1  Automatic Resource Control 
Changed the title form Automatic Generation Control to Automatic Resource Control and made corresponding change to the definition.  Modified definition of Regulating Reserve to include DSM.  Modified R5 to include the non availability of service due to transmission constraints impacting non-firm transmission service.  Modified R17 and added R17.1 for calibration of frequency devices.  

These changes do not have impact on NAESB Business Practice Standards.
EOP-001-2  Emergency Operations Planning
Expanded R2.1 to include emergencies that arise due to a lack of transmission capability and those whose mitigation plans are hindered by a lack of transmission capability.  Made corresponding changes in Voilation Severity Levels.

These changes do not have impact on NAESB Business Practice Standards.
EOP-002-3 Capacity and Energy Emergencies  
Modified R2 to include on or more actions described in capacity and energy plan.  Included a new requirement R6.3 and R6.8 to recognize DSM options and any available alternative technologies designed to supply energy or reduce demand on Bulk Electric System.  Modified Measures to accommodate changes in requirements.
These changes do not have impact on NAESB Business Practice Standards.
EOP-003-2  Load Shedding Plans
Expanded R3 to include sub requirements to recognize Interconnected Transmission Operators, Regional Entities, Reliability Coordinators, Generator Owners, Balancing Authorities, and Transmission Operators for coordinating Load shagging plans.  Included new requirement R8 and R9 requiring testing of Load Shedding plans.  Made corresponding changes in the Compliance section and VSLs.

These changes do not have impact on NAESB Business Practice Standards.
EOP-004-2  Disturbance Reporting

Included Distribution Providers to the Applicability Section.  Modified R2 and added R3 to include Distribution Provider for Analysis of Bulk Electric System Disturbances.  Made corresponding changes to Compliance section and VSL sections.

These changes do not have impact on NAESB Business Practice Standards.
FAC-002-1  Coordination of Plans for New Facilities

Modified R1.4 to include assessment under both normal and contingency conditions, and to refer to TPL-002-0, and TPL-003-0.  

These changes do not have impact on NAESB Business Practice Standards.
