NAESB Standards Review Subcommittee

Analysis of NERC Project 2007-03: Real-time Operations

November 6, 2008

Purpose

The purpose of this analysis is to identify those standards contained in NERC Project 2007-03: Real-time Operations that may present an opportunity for NAESB to develop parallel and complementary business practices.

Analysis

Each standard contained in the NERC Project 2007-03 was reviewed for potential NAESB input and development. Below are the NERC standards identified as providing potential opportunities for the development of NAESB business practices. 

Standards

The highlighted standards are those that have been identified for potential NAESB business practices. The related NAESB Projects (in red) are taken from the WEQ 2008 Annual Plan.

Project 2007-03: Real-time Operations


Standards Involved

COM-001-1 Telecommunications 

COM-002-2 Communications and Coordination 

IRO-004-1 Reliability Coordination – Operations Planning 

IRO-005-2 Reliability Coordination – Current Day Operations 

IRO-006-3 Reliability Coordination – Transmission Loading Relief 

TOP-001-1 Reliability Responsibilities and Authorities 

TOP-002-2 Normal Operations Planning 

TOP-003-0 Planned Outage Coordination 

TOP-004-1 Transmission Operations 

TOP-005-1 Operational Reliability Information 

TOP-006-1 Monitoring System Conditions 

TOP-007-0 Reporting SOL and IROL Violations 

TOP-008-0 Response to Transmission Violations 

PER-001-0 Operating Personnel Responsibility and Authority


Justification for NAESB consideration

IRO-005-2 Reliability Coordination – Current Day Operations

R3 - As portions of the transmission system approach or exceed SOLs or IROLs, the Reliability Coordinator shall work with its Transmission Operators and Balancing Authorities to evaluate and assess any additional Interchange Schedules that would violate those limits. If a potential or actual IROL violation cannot be avoided through proactive intervention, the Reliability Coordinator shall initiate control actions or emergency procedures to relieve the violation without delay, and no longer than 30 minutes. The Reliability Coordinator shall ensure all resources, including load shedding, are available to address a potential or actual IROL violation. [Annual Plan Item 1]
R4. Each Reliability Coordinator shall monitor its Balancing Authorities’ parameters to ensure that the required amount of operating reserves is provided and available as required to meet the Control Performance Standard and Disturbance Control Standard requirements. If necessary, the Reliability Coordinator shall direct the Balancing Authorities in the Reliability Coordinator Area to arrange for assistance from neighboring Balancing Authorities. The Reliability Coordinator shall issue Energy Emergency Alerts as needed and at the request of its Balancing Authorities and Load-Serving Entities. [Annual Plan Item 1]
R14. Each Reliability Coordinator shall make known to Transmission Service Providers within its Reliability Coordinator Area, SOLs or IROLs within its wide-area view. The Transmission Service Providers shall respect these SOLs or IROLs in accordance with filed tariffs and regional Total Transfer Calculation and Available Transfer Calculation processes. [Annual Plan Items 1 & 2b]

IRO-006-3 Reliability Coordination – Transmission Loading Relief 

All requirements, R1 thru R5. [Annual Plan Item 1]

TOP-001-1 Reliability Responsibilities and Authorities

R2. Each Transmission Operator shall take immediate actions to alleviate operating emergencies including curtailing transmission service or energy schedules, operating equipment (e.g., generators, phase shifters, breakers), shedding firm load, etc. [Annual Plan Item 1]

Recommendation

TBD by SRS

Respectfully Submitted,

Patrick Brown

Manager, NERC & Regional Coordination

PJM Interconnection, LLC

