[image: image1.png]0

I

0




North American Energy Standards Board

1301 Fannin, Suite 2350, Houston, Texas 77002

Phone: (713) 356-0060, Fax: (713) 356-0067, E-mail: naesb@naesb.org


Home Page: www.naesb.org

via posting

TO:
NAESB Wholesale Electric Quadrant (WEQ) Business Practice Subcommittee (BPS), Time and Inadvertent Management Task Force (TIMTF)
FROM: 
Deonne Cunningham, Meeting Administrator / Project Manager
RE:
Time and Inadvertent Management Task Force Meeting Draft Minutes – July 24, 2008
DATE:

August 5, 2008
NORTH AMERICAN ENERGY STANDARDS BOARD
WHOLESALE ELECTRIC QUADRANT

Time and Inadvertent Management Task Force Conference Call

July 24, 2008 – 1:00 PM to 4:00 PM Central

DRAFT MINUTES
1. Administrative
Mr. Bilke welcomed the participants to the conference call.  Ms. Cunningham gave the antitrust guidance.  Mr. Bilke moved to adopt the agenda as written.  The Agenda was adopted without discussion or opposition.  There was no meeting minutes approved during the conference call.
2. Review and approve changes to Time and Inadvertent Management business practices straw proposals
Mr. Bilke provided a brief overview of the purpose of the Time and Inadvertent Management task force.  The group reviewed and revised the WEQ-006 straw proposal.  In reference to Section 6-4, Mr. Bilke indicated that NERC made changes to its standard on time error corrections.  He said each Interconnection Time Monitor shall monitor time error and make a reasonable effort to initiate or terminate corrective action orders according to the offset table.  He noted that he made modifications in the offset table.  Mr. Skiba noted that the “shall” used in this sentence will be changed to “should” due to a recommendation to go forth to the Executive Committee (EC) during the August 19 meeting.
In Section 6-5, Mr. Bilke said that the Time Monitor may choose Method 2 to reduce the depth and number of Time Error Corrections.  He explained that if a 20 second time error would occur at 2200 hours, the time monitor would send out a reminder at 2400 hours that there will be a .01 offset.  Mr. Rodriquez indicated that the group will want to ensure the definitions mentioned in this straw proposal are correct and consistent with NERC standards.  Mr. Skiba said that the WEQ BPS will be addressing NAESB definition of terms at the next meeting.  Mr. Stout suggested that the each interconnection time monitor be able to choose their time error correction initiation method.  Mr. Aikens stated that Method 2 might be in conflict with the current BAL-004 standard and will need to resolve this issue for those that are involved in field trials.  Mr. Bikens stated that some steps may not apply and said that he would coordinate with Mr. Rodriquez on this issue.  Mr. Rodriquez said that there is not a provision for field tests in NERC standards.  He indicated that a new BAL-004 standard would have to be drafted to include the field test at 0.10HZ.  He said that he will consult with the NERC Standards Committee (SC) regarding whether a NERC standard can be violated if a field test is only provided for in the NAESB standard and not the NERC standard.
Mr. Rodriquez provided general comments to the WEQ-006 straw proposal.  In regards to Section 6-6, he questioned is a notification should be necessary when there is a time error correction.  Mr. Bilke said that notification is sent through the Reliability Coordinator (RC) and the Balancing Authority (BA).  He undertook to review the NERC standard regarding the time error notification issue.  As it relates to Sections 6-4, and 6-5, Mr. Rodriquez said that a statement is missing from Method 1 and Method 2 to indicate that only these are the only methods used for the time error correction initiation.  
Next, the group reviewed WEQ-007- inadvertent time management payback.  Mr. Bilke indicated that the issue of viewing peak inadvertent may be placed in the Frequently Asked Questions section of the recommendation.  In regards to Section 11.3.2, Mr. Rodriquez indicated that language may be confusing and that a definition for net interchange schedule may be necessary.  The group also reviewed and revised other definitions listed in the straw proposal.  Mr. Helsburg made the following motion:  Move that the corrected drafts of WEQ-006 and WEQ-007 be forwarded to NAESB WEQ BPS.  During the discussion of the motion, Mr. Aikens stated that any changes to BAL-004 or BAL-006 have yet to be fully determined by the NERC drafting team.  He indicated that possible future discussion between NERC and NAESB could be held in regards to this business practice.  With a simple majority vote, the motion passed with no opposition or abstentions.  Mr. Bilke will revise the documents and send to the WEQ BPS.  He will send information to Mr. Rodriquez regarding the field trial study of the time error initiation methods.
3. Review and approve high level implementation plan
The group reviewed and held discussion regarding the high level implementation plan.  This document may be viewed via the following link: http://naesb.org/pdf3/weq_timtf072408w3.doc.  Mr. Skiba said that the WEQ BPS will review this implementation plan and may possibly recommend to group to continue forward with the plan.  Mr. Skiba also noted that it is possible for this plan to be posted on the NAESB website for an informal comment period.  The group revised and held extensive discussion on the high level implementation plan.  Mr. Rodriquez suggested that the field trial should be hosted by NASEB.  Mr. Bilke said that most BAs have experience in dealing with NERC and only half of BAs in the industry have contact with NAESB.  Mr. Skiba said that if the task force is confident with the process, the subcommittee will request that the business practice be documented into a standard recommendation that is then posted for informal comments.  He noted that then the WEQ BPS will notice the recommendation a possible voting item for its next meeting and may vote it out of subcommittee to post for a 30 day formal comment period.
4. Action Items
· Mr. Bilke will revise the documents and send to the WEQ BPS.

· Mr. Bilke will send information to Mr. Rodriquez regarding the field trial study of the time error initiation methods.
5. Adjourn
Mr. Bilke made a motion to adjourn the meeting.  The meeting adjourned at 2:39p.m. Central on July 24, 2008.

6. Attendance

	Name
	Organization

	Bill Helsburg
	

	Polly Irons
	Entergy

	Adam Griffin
	Entergy

	Jerry Stout 
	Entergy

	Terry Bilke
	Midwest ISO

	Ed Skiba
	Midwest ISO

	Deonne Cunningham
	NAESB

	Andy Rodriquez
	NERC

	Tom Vandervort
	NERC

	Larry Wilkins
	TVA

	Larry Goins 
	TVA


WEQ Time and Inadvertent Management Task Force Conference Call July 14, 2008

Draft Minutes
Page 1

