WGQ Annual Plan Item 8 Gas Quality Reporting ( RP07-504) submitted by Dolores Chezar, National Grid November  6, 2004 
Proposed NAESB WGQ Standard No. 4.3.x1
The Transportation Service Provider (TSP) should provide on its Informational Postings Web  Site hourly average gas quality information  (or other agreed to measure of rapidly changing gas quality) to the extent that the TSP is required to do so in its tariff, a settlement agreement or FERC order.  
Gas quality parameters posted should include those included in the TSP’s tariff, settlement agreement or FERC order and should be posted as soon as practical at locations agreed to by the TSP and its shippers.
Proposed NAESB WGQ Standard No. 4.3.x2
Data provided pursuant to proposed NAESB WGQ Standard 4.3.x1 should be provided in a tabular downloadable file to be described by the TSP.  The first row of the file should contain the column headers. The date and hour should begin on the second row of the file.    
Proposed NAESB WGQ Standard No.4.3.x3

Data provided pursuant to proposed NAESB WGQ Standard 2.3x1 should be made available in a single download for one and /or all location (s) posted for a specified hour range within the most recent three month period.  
