Timing Table

|  | A | B | C | D |
| --- | --- | --- | --- | --- |
| If Actual Arranged Interchange (RFI) is Submitted | IA Makes Initial Distribution of Arranged Interchange | GPE, LSE, and PSE Conduct Market Assessments IA Verifies Reliability Data Complete | IA Compiles and Distributes Status | BA Prepares Confirmed Interchange for Implementation | Minimum Total Reliability Period (Columns A through D) |
| <1 hour prior to ramp start | < 1 minute from RFI submission | < 10 minutes from Arranged Interchange receipt from IA for all Interconnections except WECC | < 1 minute from receipt of all Reliability Assessments | > 3 minutes prior to ramp start | 15 minutes |
| <20 minutes prior to ramp start | < 1 minute from RFI submission | < 5 minutes from Arranged Interchange receipt from IA for WECC | < 1 minute from receipt of all Reliability Assessments | > 3 minutes prior to ramp start | 10 minutes |
| >20 minutes to <1 hour prior to ramp start | < 1 minute from RFI submission | < 10 minutes from Arranged Interchange receipt from IA for WECC | < 1 minute from receipt of all Reliability Assessments | > 3 minutes prior to ramp start | 15 minutes |
| >1 hour to < 4 hours prior to ramp start | < 1 minute from RFI submission | < 20 minutes from Arranged Interchange receipt from IA | < 1 minute from receipt of all Reliability Assessments | > 39 minutes prior to ramp start | 1 hour plus 1 minute |
| > 4 hours prior to ramp start | < 1 minute from RFI submission | < 2 hours from Arranged Interchange receipt from IA | < 1 minute from receipt of all Reliability Assessments | > 1 hour 58 minutes prior to ramp start | 4 hours |

# Footnotes

This PSE reference applies to PSE’s whose transmission rights are cited on Arranged Interchange.

These Market Assessments take place in concurrence with NERC Reliability Assessments (as found in NERC INT-005-1).

# Text boxes

Interchange Timeline with Minimum Reliability-Related Response Times

Ramp Start

Request for Interchange Submitted