FORMAL COMMENTS

Quadrant:	Wholesale Electric Quadrant

Recommendation: 	Number: 2012 WEQ Annual Plan Item 5(a)

Title: Add AFC and TFC Values to the “System_Attribute” Data Element

Submitted By:	Standards Review Subcommittee

Date:	February 10, 2012

Under the Standards Review Subcommittee (SRS) Scope of Work, which was approved by the SRS on May 18, 2010, the SRS agreed to review recommendations and if subcommittee deemed appropriate, they would submit advisory comments to the Executive Committee (EC) for consideration.  As stated in the Scope of Work these comments are “not intended to change the scope of the Business Practices or recommendation, but to provide consistency and uniformity across all WEQ Business Practices.”

The Standards Review Subcommittee has identified two consistency concerns with the recommendation.  Both concerns are with revisions to WEQ-013-3.3.1.

- With the additions of TFC, FAFC – Firm Available Flowgate Capability, and NFAFC – Non-firm Available Flowgate Capability in the list of SYSTEM_ATTRIBUTE values, the scope of the section has been expanded from Available Transfer Capability (ATC) to include Available Flowgate Capability (AFC) though the section header “ATC Related Query/Response Requirements” has not been modified to reflect the increased scope.

- In the current version of the Business Practice Standards there is language for each of the bulleted SYSTEM_ATTRIBUTE values listed in the beginning of the section that state “the following are systemdata template data requirements for providing”…  After each of these statements there is a subsequent table that includes the Data Elements and Restrictions/Requirements based on the SYSTEM_ATTRIBUTE value.  For the new SYSTEM_ATTRIBUTE values (TFC, FAFC – Firm Available Flowgate Capability, and NFAFC – Non-firm Available Flowgate Capability), there is no documentation in the section to identify systemdata template data requirements for AFC.  From a consistency perspective the Business Practice Standard should include the AFC data requirements for the systemdata template in order to account for all of the SYSTEM_ATTRIBUTE values that are listed in this section.

# Footnotes

There is one exception ATC_ANNOTATION which has a statement that the value is no longer used and was replaced by ZERO_FATC_NARRATIVE, ZERO_NFATC_NARRATIVE, FATC_CHANGE_NARRATIVE, NFATC_CHANGE_NARRATIVE