FORMAL COMMENTS

Quadrant:	Wholesale Electric Quadrant

Recommendation: 	WEQ 2010 AP Item 6 (c); Requirements Specifications for Wholesale Standard DR Signals – for NIST PAP09

Submitted By:	Standards Review Subcommittee (SRS)

Date:	April 9, 2010

Under the Standards Review Subcommittee (SRS) Scope of Work, which was approved by the SRS on March 6, 2008, the SRS agreed to review recommendations and if subcommittee deemed appropriate, they would submit advisory comments to the Executive Committee (EC) for consideration.  As stated in the Scope of Work these comments are “not intended to change the scope of the Business Practices or recommendation, but to provide consistency and uniformity across all WEQ Business Practices.”

It is the SRS understanding that this recommendation will be included as standards in the WEQ Business Practice Standards and will be filed with the Federal Energy Regulatory Commission (FERC). Therefore, the SRS would like to point out inconsistencies between this recommendation and existing standards as well as a number of concerns specific to the recommendation itself.

It is also the SRS’ understanding that these comments may be reviewed by the Smart Grid Task Force.  The task force may review these comments, suggest modifications to the recommendation, and submit late comments for Executive Committee consideration.

WEQ-000

The terms and definitions do not seem to take into account existing definitions of terms and FERC Order 676-C which requested that NAESB resolve differences within its standards and differences between NERC and NAESB Standards.  Below are examples that illustrate inconsistencies with the definitions for the same term.

Facility -	NERC Definition  - A set of electrical equipment that operates as a single Bulk Electric System Element (e.g., a line, a generator, a shunt compensator, transformer, etc.)

Recommendation Definition – The location at which connection to the transmission or distribution system is made.

Load Serving Entity - 	Glossary Definition The responsible entity that secures energy and Transmission Service (and related Interconnection Operations Services) to serve the electrical demand and energy requirements of its end-use customer.

Recommendation Definition – A role which carries the responsibility of serving end-users and selling electric energy to end-users.

System Operator -	Demand Response Final Action – A System Operator is a Balancing Authority, Transmission Operator, or Reliability Coordinator, whose responsibility is to monitor and control an electric system in real time (based on NERC definition).  The System Operator is responsible for initiating Advance Notifications, Deployment and Release/Recall Instructions.

Recommendation Definition – An entity which carries the responsibility of administering the deman response process, from Resource enrollment to performance evaluation.

Within Definitions of terms there are capitalized terms which are not defined.  These include:

- Demand Resource Object

- Federal

- Awards

- System Operator

- Schedules

Under 000-2 (page 3), System Operator is used in the definition of Market Paticipant and is also not a defined term.  Included in 000-1, Abbreviations and Acryonyms, is SO (System Operator).  For consistency, either define System Operator in 000-2 or use the acronym SO in the definition of Market Participant.  The SRS recommends use of the acronym SO as it would be more consistent because the definition includes several other acronyms which are included in 000-1.

WEQ-016

- General

  - On page 1 under Recommendation, the acronym NIST is not defined as it used here for the first time in the recommendation.  The acronym is defined on page 5, under the Executive Summary.

- There are terms which are capitalized which are not defined in the WEQ Business Practice Standards such as “Demand Response.”

- Distributed Energy Resources and Inoperability are defined through the use of footnotes.  Recommend adding these terms to the Definition of Terms under 000-2.

- Review the recommendation to correctly include the acronym when the term/phrase is first used.  Several examples include the first time System Operator and Market Participants which are first included in the Executive Summary.

- Numbering for the recommendation starts with 016-2. The SRS suggests renumbering  to start with 016-1 if the decision is to move this Recommendation to a standalone WEQ Business Practice Standard.

- Table 1 includes additional acronyms and definitions.  Recommend moving all of them to the beginning of the recommendation within 000-1 or 000-2 as appropriate with the other already identified acronyms and definitions.

- Under 016-2, there is a section identified as ‘Conventions.’  The SRS recommends renumbering this section to be 016-2.1 and then continue the changed numbering through the remaining recommendation.

- Under 16.2.2, while not capitalized the term cardinality key is used.  It is recommended that this term be defined.  In this section there is an “Error! Reference source not found” Microsoft Word tag reference that need to be corrected.

- Under 016.2-3 the term Baseline is used and has not been defined.

- In terms of flow and understanding, the recommendation uses the term ‘use cases’ without specifically identifying that the Figures included in the recommendation are demonstrating the specific use cases.  The SRS recommends including language that allows for explicit understanding or adding a column to the specific tables that include the Figure number.

- The documented processes need to be verified against the process in the Figures. For example, in section 016-2.4.2 the textual description refers to submit a supply offer and the figure has Submit Offer.  Also, the figure containes two processes Create Award Notice and Collect Award Notification which are not mentioned in the textual description.

- Included in Figures 2, 4 and 6, the descriptions include ‘V-*-*.’  This reference case requires further explicit description of this term.

- Recommend renaming Figure 1, included in Appendix A, Figure 1A.

- Recommned including on Appendix B, where appropriate, the Figure number if that particular case is included in the recommendation. There is no explantion for the table included in the Appendix B.  The task force should consider including and description so that people can understand what is presented in the table.

- Executive Summary –  This recommendation along with the recommendations for PAP03 Requirements Specifications for Common Electricity Product and Pricing Definition and PAP09 Requirements Specifications for Wholesale Standard DR Signals each contain an Executive Summary listed under the “Recommended Standards” section of the recommendation. Based on the standards numbering it appears that all three recommendations will be included in a new set of standards, WEQ-016.

  - First, we question whether WEQ-016 should have an Executive Summary.  The only Business Practice Standards that have an executive summary is WEQ-014 (WEQ/WGQ eTariff Related Standards).  The WEQ-014 standards were approved prior to the SRS review of recommendations. (If the SRS had been reviewing standards at that time, we may have questioned having an Executive Summary in WEQ-014.)

  - Second, the Executive Summaries in the three recommendations though similar are not identical.  With the differences in the Executive Summaries and all three recommendations being included in WEQ-016 it is unclear how a single set of business practices can have three Executive Summaries.

If the EC decides to move forward with including an Excutive Summary, the SRS recommends that all capitalized terms and acronyms be included in WEQ-000.

An option the Smart Grid Task Force may want to consider is to create a separate Business Practice Standard for each PAP recommendation rather than combining them into a single recommendation.

- Introduction – The SRS questions whether it is appropriate to include an “Assumptions” section in the WEQ Business Practice Standards.

The task force may want to consider re-naming this section to “Considerations” and place in an Appendix to the Business Practice Standards.

There are a number of capitalized terms which do not have definitions.  The SRS suggest to either lower case or provide definitions.

- Appendix A – The Standards Review Subcommittee suggests the Abbreviations and Acronyms be deleted from the appendix and only listed in WEQ-000.  Several included in Appendix A are already included in WEQ-000 (LSE, LA, MA).