FORMAL COMMENTS

Quadrant:	Wholesale Electric Quadrant

Recommendations: 	WEQ 2010 AP Item 6 (a) ii - Phase Two Requirements Specification for Common Electricity Product and Pricing Definition – for NIST PAP03

WEQ 2010 AP Item 6 (b) ii - Requirements Specifications for Common Schedule Communication Mechanism for Energy Transactions – for NIST PAP04

WEQ 2010 AP Item 6 (c) ii - Phase Two Requirements Specification for Wholesale Standard DR Signals – for NIST PAP09

WEQ 2010 AP Item 6 - Master Data Requirements List for Business Practice Standards associated with NIST PAP 03 and PAP 09

Submitted By:	California ISO

Date:	November 15, 2010

- CAISO understand the requirements for PAPs 3,4 and 9 are generic and does not distinguish between load adjustment and load curtailment for demand response. In its future expansion of DR , the CAISO will be concentrating  on load adjustment.  Wholesale demand response products in the future will require a positive and negative signal to provide regulation and the potential for other non-regulation load following services. The CAISO believes standards should support the broader concept of demand response as load adjustment versus simply load curtailment.

- Understanding that PAP 9 was not meant to consider local attributes, in the future discussion we would like the group to distinguish separated enrollment and effective dates. A DR can enroll early and have a later effective date. We also believe in future discussions it may be useful to differentiate between scheduled load is the expected load , expected load would be the load for the hour and does not factor in any DR dispatch that the resource has been awarded.