DER Communication Path Interactions

| Interaction | Communication Parties | Responsibility | Control Over |
| --- | --- | --- | --- |
| Communication Path A |  |  |  |
| Communication to and from DER Service Provider’s Bulk Grid Operator facing interface | Bulk Grid Operator (e.g. ISO/RTO) | Communications to DER Service Provider | Bulk Electric operational system |
|  | DER Service Provider (e.g. DER Aggregator) | Communications to Bulk Grid Operator | Bulk Grid Operator facing interface |
| Communication Path B |  |  |  |
| Communication to and from the DER Service Provider’s Utility facing interface | Utility | Communications to DER Service Provider | Utility operational system |
|  | DER Service Provider (e.g. DER Aggregator) | Communications to Utility | Utility facing interface |
| Communication Path C |  |  |  |
| Communication to and from Bulk Grid Operator to DER | Bulk Grid Operator (e.g. ISO/RTO) | Communication directly to DER owner | Bulk Electric operational system |
|  | Individual DER Owner (e.g. homeowners or corporations) | Communications to Bulk Grid Operator | Individual DER., possibly through vendor portal or local interface (e.g. WiFi) |
| Communication Path D |  |  |  |
| Communications to and from Utility to DER | Utility | Communication directly to DER owner | Utility operational system |
|  | Individual DER Owner (e.g. homeowners or corporations) | Communications to Utility | Individual DER, possibly through vendor portal or local interface (e.g. WiFi) |
| Communication Path E |  |  |  |
| Communication to and from the DER Service Provider’s resource facing interface | DER Service Provider (e.g. DER Aggregator) | Communication directly to DER owner | Resource facing interface |
|  | Individual DER Owner (e.g. homeowners or corporations) | Communications to DER Service Provider | Individual DER, possibly through vendor portal or local interface (e.g. WiFi) |