WEQ BPS, WEQ Cybersecurity Subcommittee & RMQ BPS Work Paper

2023 WEQ Annual Plan Item 3.d/2023 RMQ Annual Plan Item 4.a

Subcommittee Discussion/Questions

- Could there be more than one level of intermediary between the DER and ISO/RTO (e.g. co-op or municipality)?

- Are there other third parties that could be interacting with individual DERs and then communicating with the aggregator?

- What is the model for non-RTO market participants?

- Is there a path between a grid operator and distribution utility? (example: utility ISO sends dispatch signals to utility to dispatch a battery on the utility’s system)

- Is there a need to differentiate between DER types? (example: virtual power plant, distribution-level solar/battery)

- Consideration of access control for Paths C, D, and E.

- Consideration of authorization control for Paths C, D, and E.

Potential Threat Vectors to Consider

- Communication protections (integrity of communication; integrity/confidentiality; integrity/confidentiality/availability)

- Vulnerability exploitation (CISA KEV)

- Unauthorized access to credentials