Comments on NAESB Smart Grid Standards

Covering Priority Action Plans 03, 04, and 09

Filed by Tennessee Valley Authority

Pap 03 – Common Electricity Product and Pricing Definition

Terms and definitions found within this standard should match NERC/NAESB glossaries approved by the FERC.   Definitions such as Load Serving Entity, System Operator, and others need to match for industry-wide consistency.

Section WEQ-016.3.7 – 3.7.1 – Sections contain terms that are not defined and need to have definitions; such terms include:  Operating Authority, Maneuverability, Contingency Reserve-Spinning, and Contingency Reserve-Supplemental.

TVA would like to know if the definition of Facility will work for aggregated Demand Response.

Actors should be consistent with those found in PAP-09.

Pap 04 – Specifications for Common Scheduling Mechanism for Energy Transactions

Terms and definitions found within this standard should match NERC/NAESB glossaries approved by the FERC.   Definitions such as Load Serving Entity and Facility need to match for industry-wide consistency.

Section WEQ-016 – Sections contain terms that are defined and need to have definitions; such terms include:  Demand Response Programs, Program Administrator, Market Closing, Absolute Interval, Absolute Duration, and Minimum Run Time.  In addition, there are several acronyms that have not been defined (SML, IETF, and DER).

Please note that the Program Administrator may not always be the dispatcher.

Do standard definitions for Response Method Aggregation, Resource, Scheduling Entity, and Service Provider exist in other approved standards?  If so, we believe these should be changed to reflect those.

What is meant by a Demand Response Event?  TVA’s definition of a DR event is related to something that is controlled by either the utility or the customer (a planned event).  The other two levels TVA deals with are a “steady state” and an automatic demand response state.  TVA suggests that sub-definitions for the term Demand Response Event may be appropriate in order to more succinctly define them as either load or market events.

Pap 09 – Specifications for Wholesale Standard DR Signals

Terms and definitions found within this standard should match NERC/NAESB glossaries approved by the FERC.   Definitions such as Load Serving Entity and Facility need to match for industry-wide consistency.

Also, many sections have terms that have not been defined, such as Demand Resource Object, Federal, Awards, System Operator, and Schedules which need to have definitions.

The term Distributed Energy Resources and Inoperability should be defined in the Glossary.

Actors should be consistent with those found in PAP-03.

Does Scheduling Entity represent an Aggregator?

General Comments:

In general, TVA believes that the Smart Grid effort should use as many existing approved communication protocols and industry standards as possible as a launching pad for the development of future standards.  An example would be starting with FERC, NERC, and the nine Regional Reliability Organizations-approved naming conventions as well as existing “common” communication protocols (examples:  Distributed Network Protocols and IEC 61850) that can appropriately integrated.

In addition, TVA would like to know if any thought has been given to how traditional transmission products would hamper or help the Smart Grid effort.  What kind of transmission constraints would the Smart Grid effort encounter once operational?

Overall, TVA commends NAESB for these recommendations and believes the standards provide a workable framework for producing the granularity needed to integrate Smart Grid efforts into the business model.