## 12-2021
Entity providing this information may be gathering from other sources, including distribution utility, load serving entity, etc.
Type | Category | Remove | Data Element | Provided by Entity | Standard Data Format | Comment | SPP | Distribution utility | Voltus
DER Aggregation Data | Identity |  | DER Aggregation ID | Registration System |  |  | N/A
DER Aggregation Data | Locational | Y | Locational information |  |  |  | N/A
DER Aggregation Data | Locational | Y | Geographic location |  |  |  | N/A
DER Aggregation Data | Geographic Locational |  | Longitude and latitude (conditionally required i.e. offshore wind) |  |  | Long Lat will cover Location/Geographic; for large, singular DERs | Y
DER Aggregation Data | Geographic Locational |  | Street name and number (conditionally required i.e. land-based facilities) |  |  | For large, singular DERs | N/A
DER Aggregation Data | Geographic Locational |  | City (conditionally required i.e. land-based facilities) |  |  |  | N/A
DER Aggregation Data | Geographic Locational |  | State |  |  |  | N/A
DER Aggregation Data | Geographic Locational |  | County |  |  |  | N/A
DER Aggregation Data | Geographic Locational |  | Country |  |  |  | N/A
DER Aggregation Data | Geographic Locational |  | Province |  |  |  | N/A
DER Aggregation Data | Locational | Y | Apartment number |  |  |  | N/A
DER Aggregation Data | Geographic Locational |  | Zip Code |  |  |  | N/A
DER Aggregation Data | Zonal Information |  | Load zone |  |  |  | Y
DER Aggregation Data | Zonal Information |  | Load aggregation point |  |  | Point of Interconnection | Y
DER Aggregation Data | Zonal Information |  | Reserve zone |  |  |  | Y
DER Aggregation Data | Zonal Information |  | Capacity zone |  |  |  | N/A
DER Aggregation Data | Zonal Information |  | Market nodal information (p-node) (may or may not be a single p-node) |  |  |  | Y |  | Aggregator does not have access to this information
DER Aggregation Data | Operational |  | Default distribution factors (for multi-nodal DER aggregations) |  |  |  | N/A
DER Aggregation Data | Network Locational |  | Electrical nodal information (e-node aka service points (RTO/ISO point of interconnection) |  |  |  | Y |  | Aggregator does not have access to this information
DER Aggregation Data | Entity |  | Distribution Utility |  |  |  | Y
DER Aggregation Data | Entity |  | relevant electric retail regulatory authority (RERRA) |  |  |  | Y
DER Aggregation Data | Entity |  | Public State Commission
DER Aggregation Data | Entity |  | Load Serving Entity | Aggregator |  |  | Y
DER Aggregation Data | Entity |  | Market Participant/Aggregator Name | Aggregator |  |  | Y
DER Aggregation Data | Entity |  | Metering agent | Aggregator |  |  | Y
DER Aggregation Data | Entity |  | Balancing Area | Aggregator |  |  | Y
| Entity |  | Asset Owner
DER Aggregation Data | Operational |  | Pseudo-ties/dynamic schedules | Aggregator |  |  | Y
DER Aggregation Data | Locational | Y | Service location (maybe point of interconnection?) | Aggregator |  | Seems duplicative of service delivery point | Y
DER Aggregation Data | Identity | Y | Customer account | Aggregator |  |  | N/A |  | Concern this may burden customers
DER Aggregation Data | Locational |  | Service delivery point [auxillary load drop point] | Aggregator |  |  | Y
DER Aggregation Data | Attestation | Y | Attestation/certificates | Aggregator |  |  | Y
DER Aggregation Data | Attestation |  | DER aggregation would not result in double counting (yes/no) | Aggregator |  |  | Y
DER Aggregation Data | Attestation |  | Distribution utility/load serving entity reliability concern (yes/no) | Aggregator |  | Response not required, if no response RTO proceeds | Y |  | Question of data availability during registration
DER Aggregation Data | Attestation |  | Relevant electric retail regulatory authority allows (yes/no) | Aggregator |  |  | Y
DER Aggregation Data | Entity |  | Operational contact | Aggregator |  |  | Y
DER Aggregation Data | Entity |  | Planning contact | Aggregator |  |  | Y
DER Aggregation Data | Information |  | Ownership of the resource (jointly owned or not) | Aggregator |  |  | Y
DER Aggregation Data | Information | Y | Operational characteristics of the aggregation | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor |  | Nameplate capacity in megawatts | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor |  | Ramp rate | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor |  | Response time | Aggregator |  |  | Y |  | Program based data
DER Aggregation Data | Resource Descriptor |  | Maximum run time | Aggregator |  |  | Y |  | Program based data
DER Aggregation Data | Resource Descriptor |  | Minimum run time | Aggregator |  |  | Y |  | Program based data
DER Aggregation Data | Resource Descriptor |  | DER aggregation type (homogeneous or heterogeneous) | Aggregator |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor |  | Heterogeneous type, including DER type comprising the aggregation | Aggregator |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor |  | Number of DERs in the aggregation | Aggregator |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor |  | DER aggregation profile (historical or expected DER aggregation output with active and reactive power profiles) | Aggregator |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor |  | Dispatchable energy resource (yes/no) | Aggregator |  |  | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Ability to reverse direction (supply vs. demand switching) | Aggregator |  | can be in form of steady state model data | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Voltage control (yes/no; volt-r) | Aggregator |  | can be in form of dynamic model | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Frequency control | Aggregator |  | can be in form of dynamic model | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Inertial control | Aggregator |  | can be in form of dynamic model | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Feeder voltage | Aggregator |  | can be in form of dynamic model | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Feeder impedance – distribution system equivalent feeder impedance | Aggregator |  | can be in form of steady state model data | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Reactive support | Aggregator |  | can be in form of dynamic model | Y |  | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor |  | Total energy capacity/maximum state of charge (megawatt hours or kilowatt hours) | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor |  | Market product eligibility (capacity, energy, regulation, etc.) | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor |  | Telemetry infrastructure to communicate operational characteristics | Aggregator |  |  | Y |  | Reasonable
DER Aggregation Data | Resource Descriptor |  | Metering infrastructure | Aggregator |  |  | Y |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor |  | Efficiency rating | Aggregator |  |  | N/A |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor |  | Battery technology | Aggregator |  |  | N/A |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor | Y | Battery performance over time | Aggregator |  |  | N/A |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor | Y | Solar panel performance over time | Aggregator |  |  | N/A |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor |  | Manufacturer of DER | Aggregator |  |  | N/A |  | Why needed by RTO
DER Aggregation Data | Resource Descriptor | Y | Types of communication protocols supported | Aggregator |  |  | N/A
DER Aggregation Data | Resource Descriptor |  | Operating status | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor |  | Known/planned outages or maintenance | Aggregator |  |  | Y |  | Inapplicable to DER
DER Aggregation Data | Resource Descriptor |  | Duration of outage or maintenance | Aggregator |  |  | Y |  | Inapplicable to DER
DER Aggregation Data | Resource Descriptor |  | Start/end time of outage or maintenance | Aggregator |  |  | Y |  | Inapplicable to DER
DER Aggregation Data | Resource Descriptor |  | Mobility flag | Aggregator |  |  | Y |  | Unclear
DER Aggregation Data | Resource Descriptor | Y | Single phase/three-phase fault indicators | Aggregator |  |  | N/A |  | Aggregator does not have access to this information
DER Aggregation Data | Resource Descriptor | Y | Loss of line faults (transformer configuration) | Aggregator |  |  | N/A |  | Aggregator does not have access to this information
DER Aggregation Data | Resource Descriptor | Y | Weatherization applications | Aggregator |  |  | N/A |  | Inapplicable to many DER
DER Aggregation Data | Resource Descriptor | Y | Designated dispatch entity | Aggregator |  |  | N/A
DER Aggregation Data | Resource Descriptor |  | Nominal amperage/voltage | Aggregator |  |  | Y
DER Aggregation Data | Resource Descriptor | Y | Heat rate | Aggregator |  |  | Y |  | Duplicate
DER Aggregation Data | Resource Descriptor |  | Transient ability limits | Aggregator |  | can be in form of dynamic model | Y |  | Duplicate
DER Aggregation Data | Resource Descriptor | Y | Number of resources in the aggregation | Aggregator |  |  | Y |  | Duplicate
DER ID | Identity |  | DER ID |  |  |  | N/A
DER ID | Locational | Y | Geographic location |  |  | Lat Long will provide | N/A
DER ID | Geographic Locational |  | Longitude and latitude (conditionally required i.e. offshore wind) | Aggregator |  |  | Y
DER ID | Geographic Locational |  | Street name and number (conditionally required i.e. land-based facilities) | Aggregator |  |  | N/A
DER ID | Geographic Locational |  | City (conditionally required i.e. land-based facilities) | Aggregator |  |  | N/A
DER ID | Geographic Locational |  | State (required) | Aggregator |  |  | N/A
DER ID | Geographic Locational |  | County | Aggregator |  |  | N/A
DER ID | Geographic Locational |  | Country (required) | Aggregator |  |  | N/A
DER ID | Geographic Locational |  | Province (required) | Aggregator |  |  | N/A
DER ID | Geographic Locational |  | Apartment number | Aggregator |  |  | N/A
| Geographic Locational |  | Zip Code
DER ID | Zonal Locational |  | Load zone | RTO |  |  | Y
DER ID | Zonal Locational |  | Reserve zone | RTO |  |  | N/A
DER ID | Zonal Locational |  | Capacity zone | RTO |  |  | N/A
DER ID | Zonal Locational |  | Market nodal information (p-node) | RTO |  |  | Y |  | Aggregator does not have access to this information
DER ID | Resource Descriptor |  | Meter information | Aggregator |  | Provided during registration process | Y |  | Difficult for the Aggregator to obtain
DER ID | Locational |  | Substation | Aggregator |  | Provided during registration process | Y |  | Difficult for the Aggregator to obtain
DER ID | Locational |  | Feeder/circuit | Aggregator |  | Provided during registration process | Y |  | Difficult for the Aggregator to obtain
DER ID | Resource Descriptor |  | Phase information | Aggregator |  | Provided during registration process | N/A |  | Difficult for the Aggregator to obtain
DER ID | Entity |  | Distribution Utility | Aggregator |  |  | Y
DER ID | Entity |  | relevant retail electric regulatory authority (RERRA) | Aggregator |  |  | Y
| Entity |  | State Public Service Commission
DER ID | Entity |  | Load Serving Entity | Aggregator |  |  | Y
DER ID | Locational |  | Balancing Area | Aggregator |  |  | Y
DER ID | Locational |  | Service location | Aggregator |  |  | Y
DER ID | Entity |  | Customer account | Aggregator |  |  | N/A |  | Barrier for aggregator
DER ID | Locational |  | Service delivery point [auxillary load drop point] | Aggregator |  |  | Y |  | Barrier for aggregator
DER ID | Locational |  | Retail rate (net metering, dynamic pricing, etc.) | Aggregator |  |  | N/A |  | Barrier for aggregator
DER ID | Resource Descriptor |  | Ownership of the resource (jointly owned or not) | Aggregator |  |  | Y
DER ID | Entity | Y | Operational contact | Aggregator |  |  | Y |  | DERA would have this information
DER ID | Entity | Y | Planning contact | Aggregator |  |  | N/A |  | DERA would have this information
DER ID | Entity | Y | Asset owner contact | Aggregator |  |  | N/A |  | Seems excessive, e.g. each owner of each hot water heater
DER ID | Resource Descriptor |  | Operational characteristics of resources comprising aggregation | Aggregator |  |  | N/A
DER ID | Resource Descriptor |  | DER type | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Dispatchable energy resource (yes/no) | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Nameplate capacity of a DER (in megawatts or kilowatts) | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Battery technology | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Battery performance over time | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Available Energy and Available Storage (in MWh) | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | State of Charge | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Maximum State of Charge | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Minimum State of Charge | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Maximum Charge Limit | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Maximum Discharge Limit | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Maximum Charge Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Maximum Discharge Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Minimum Charge Time | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Maximum Charge Time | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Minimum Run Time | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Maximum Run Time | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Discharge Ramp Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Charge Ramp Rate | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Minimum Discharge Limit | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Minimum Charge Limit | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Performance over time | Aggregator |  |  | N/A
DER ID | Resource Descriptor |  | Number/capacity of PV cells | Aggregator |  |  | N/A
DER ID | Resource Descriptor |  | Autotracking capability | Aggregator |  |  | N/A
DER ID | Resource Descriptor |  | Obstructions | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Number/capacity of turbines | Aggregator |  |  | Y
DER ID | Resource Descriptor |  | Demand reduction capability | Aggregator |  |  | Y
DER ID | Resource Descriptor | Y | Known operational constraints (i.e. analogue to permitting restrictions, environmental restrictions, contractual limit on when individual DER in aggregation can be dispatched) | Aggregator |  |  | N/A
DER ID | Resource Descriptor | Y | Time delay to initiate response (start time) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Ability to reverse direction (supply vs. demand switching) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Voltage control (yes/no; volt-r) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Ride through capability (yes/no) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Frequency control | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Inertial control | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Feeder voltage | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Reactive support | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Sensitivity to ambient weather conditions | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Relevant weather station id | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Total energy capacity/maximum state of charge (megawatt hours or kilowatt hours) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Telemetry infrastructure to communicate operational characteristics | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Metering infrastructure | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Efficiency rating | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Manufacturer of DER | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Types of communication protocols supported | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Applicable operating status conditions | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Mobility flag | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Single phase/three-phase fault indicators | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Loss of line faults (transformer configuration) | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Weatherization applications | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID | Resource Descriptor | Y | Nominal amperage/voltage | Aggregator |  |  | N/A |  | Excessive for each DER
DER ID |  | Y | Distribution level data | Aggregator |  |  | N/A
DER ID |  | Y | Interconnection data | Aggregator |  |  | N/A
DER ID |  | Y | Designated dispatch entity | Aggregator |  |  | N/A

## 1-5-2022
Type | Category | Data Element | Definition Needed | Draft Definition | Comment | SPP | Voltus
DER Aggregation Data | Identity | DER Aggregation ID | Y | A unique identifier associated with one or more Distributed Energy Resources |  | N/A
DER Aggregation Data | Geographic Locational | Longitude and latitude (conditionally required i.e. offshore wind) | N |  | Long Lat will cover Location/Geographic; for large, singular DERs | Y
DER Aggregation Data | Geographic Locational | Street name and number (conditionally required i.e. land-based facilities) | N |  | For large, singular DERs | N/A
DER Aggregation Data | Geographic Locational | City (conditionally required i.e. land-based facilities) | N |  |  | N/A
DER Aggregation Data | Geographic Locational | State | N |  |  | N/A
DER Aggregation Data | Geographic Locational | County | N |  |  | N/A
DER Aggregation Data | Geographic Locational | Country | N |  |  | N/A
DER Aggregation Data | Geographic Locational | Province | N |  |  | N/A
DER Aggregation Data | Geographic Locational | Zip Code | N |  |  | N/A
DER Aggregation Data | Zonal Information | Load zone | A |  | Zone is a defined term: A physical or electrical region. | Y
DER Aggregation Data | Zonal Information | Load aggregation point |  |  | Point of Interconnection | Y
DER Aggregation Data | Zonal Information | Reserve zone | A |  | Zone is a defined term: A physical or electrical region. | Y
DER Aggregation Data | Zonal Information | Capacity zone | A |  | Zone is a defined term: A physical or electrical region. | N/A
DER Aggregation Data | Zonal Information | Market nodal information (p-node) (may or may not be a single p-node) | A |  | P-Node: The price location of the Premise in the transmission and/or distribution network. | Y | Aggregator does not have access to this information
DER Aggregation Data | Operational | Default distribution factors (for multi-nodal DER aggregations) | ? |  | Distribution Factors: The portion of an Interchange Transaction, typically expressed in per unit that flows across a transmission facility (Flowgate). | N/A
DER Aggregation Data | Network Locational | Electrical nodal information (e-node aka service points (RTO/ISO point of interconnection) | A |  | Service Location: The physical location at which connection to the transmission or distribution system is made. | Y | Aggregator does not have access to this information
DER Aggregation Data | Entity | Distribution Utility | ? |  | Utility Distribution Operator (UDO): ) An entity which carries the responsibility of operating an electricity distribution system | Y
DER Aggregation Data | Entity | Relevant Electric Retail Regulatory Authority (RERRA) | ? |  | Applicable Regulatory Aurhority: The state regulatory agency or other governing body that provides oversight, policy guidance, and direction to any parties involved in the process of providing energy to end-use customers through regulations and orders. Local Authority: A regulatory authority responsible for the oversight and administration of utility service-related functions within its jurisdiction. | Y
DER Aggregation Data | Entity | Public State Commission | ? |  | State Regulator (SR): A regulatory authority responsible for the oversight and administration of electric utilities.
DER Aggregation Data | Entity | Load-Serving Entity | Y |  | Load-Serving Enetity (LSE): The responsible entity that secures energy and Transmission Service (and related Interconnected Operations Services) to serve the electrical demand and energy requirements of its end-use customers. | Y
DER Aggregation Data | Entity | Market Participant/Aggregator Name | Y |  | MP: An organization registered with the System Operator that may take on roles such as SP, LSE, TDSP, DDE, SE, and/or MA in accordance with the SO’s market rules. | Y
DER Aggregation Data | Entity | Metering agent | Y - May need alteration (Resource defintion… |  | Meter Authority: A role which carries the responsibility of providing data necessary to determine the perfromance of a Resource | Y
DER Aggregation Data | Entity | Balancing Area | Y |  | Balancing Authority Area (BAA): The collection of generation, transmission, and loads within the metered boundaries of the BA. The BA maintains load-resource balance within this area. | Y
DER Aggregation Data | Entity | Asset Owner
DER Aggregation Data | Operational | Pseudo-ties/dynamic schedules |  |  |  | Y
DER Aggregation Data | Locational | Service delivery point [auxillary load drop point] | A |  | Service Delivery Point: The identifier of the location where electric service is delivered to the Service Location. | Y
DER Aggregation Data | Attestation | DER aggregation would not result in double counting (yes/no) | N |  |  | Y
DER Aggregation Data | Attestation | Distribution utility/load serving entity reliability concern (yes/no) | N |  |  | Y | Question of data availability during registration
DER Aggregation Data | Attestation | Relevant electric retail regulatory authority allows (yes/no) | N |  |  | Y
DER Aggregation Data | Entity | Operational contact (Service Provider?) |  |  |  | Y
DER Aggregation Data | Entity | Planning contact (Service Provider?) |  |  |  | Y
DER Aggregation Data | Information | Ownership of the resource (jointly owned or not) |  |  | JOU: A unit in which two or more entities share ownership | Y
DER Aggregation Data | Resource Descriptor | Nameplate capacity in megawatts |  |  |  | Y
DER Aggregation Data | Resource Descriptor | Ramp rate | A |  | Ramp Rate: The rate, expressed in megawatts per minute, that a generator changes its output or a Demand Resource changes its Load. | Y
DER Aggregation Data | Resource Descriptor | Response time |  |  |  | Y | Program based data
DER Aggregation Data | Resource Descriptor | Maximum run time |  |  |  | Y | Program based data
DER Aggregation Data | Resource Descriptor | Minimum run time |  |  |  | Y | Program based data
DER Aggregation Data | Resource Descriptor | DER aggregation type (homogeneous or heterogeneous) |  |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor | Heterogeneous type, including DER type comprising the aggregation |  |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor | Number of DERs in the aggregation |  |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor | DER aggregation profile (historical or expected DER aggregation output with active and reactive power profiles) |  |  | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor | Dispatchable energy resource (yes/no) |  |  |  | Y | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | Ability to reverse direction (supply vs. demand switching) |  |  | can be in form of steady state model data | Y | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | Voltage control (yes/no; volt-r) |  |  | can be in form of dynamic model | Y | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | Frequency control |  |  | can be in form of dynamic model | Y | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | Inertial control |  |  | can be in form of dynamic model | Y | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | Feeder voltage |  |  | can be in form of dynamic model | Y | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | Feeder impedance – distribution system equivalent feeder impedance |  |  | can be in form of steady state model data | Y | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | Reactive support |  |  | can be in form of dynamic model | Y | Excessive for a minimum standard
DER Aggregation Data | Resource Descriptor | Total energy capacity/maximum state of charge (megawatt hours or kilowatt hours) |  |  |  | Y
DER Aggregation Data | Resource Descriptor | Market product eligibility (capacity, energy, regulation, etc.) |  |  |  | Y
DER Aggregation Data | Resource Descriptor | Telemetry infrastructure to communicate operational characteristics |  |  |  | Y | Reasonable
DER Aggregation Data | Resource Descriptor | Metering infrastructure |  |  |  | Y | Why needed by RTO
DER Aggregation Data | Resource Descriptor | Efficiency rating |  |  |  | N/A | Why needed by RTO
DER Aggregation Data | Resource Descriptor | Battery technology |  |  |  | N/A | Why needed by RTO
DER Aggregation Data | Resource Descriptor | Manufacturer of DER |  |  |  | N/A | Why needed by RTO
DER Aggregation Data | Resource Descriptor | Operating status |  |  |  | Y
DER Aggregation Data | Resource Descriptor | Known/planned outages or maintenance |  |  |  | Y | Inapplicable to DER
DER Aggregation Data | Resource Descriptor | Duration of outage or maintenance |  |  |  | Y | Inapplicable to DER
DER Aggregation Data | Resource Descriptor | Start/end time of outage or maintenance |  |  |  | Y | Inapplicable to DER
DER Aggregation Data | Resource Descriptor | Mobility flag |  |  |  | Y | Unclear
DER Aggregation Data | Resource Descriptor | Nominal amperage/voltage |  |  |  | Y
DER Aggregation Data | Resource Descriptor | Transient ability limits |  |  | can be in form of dynamic model | Y | Duplicate
DER ID | Identity | DER ID |  |  |  | N/A
DER ID | Geographic Locational | Longitude and latitude (conditionally required i.e. offshore wind) |  |  |  | Y
DER ID | Geographic Locational | Street name and number (conditionally required i.e. land-based facilities) |  |  |  | N/A
DER ID | Geographic Locational | City (conditionally required i.e. land-based facilities) |  |  |  | N/A
DER ID | Geographic Locational | State (required) |  |  |  | N/A
DER ID | Geographic Locational | County |  |  |  | N/A
DER ID | Geographic Locational | Country (required) |  |  |  | N/A
DER ID | Geographic Locational | Province (required) |  |  |  | N/A
DER ID | Geographic Locational | Apartment number |  |  |  | N/A
DER ID | Geographic Locational | Zip Code
DER ID | Zonal Locational | Load zone |  |  |  | Y
DER ID | Zonal Locational | Reserve zone |  |  |  | N/A
DER ID | Zonal Locational | Capacity zone |  |  |  | N/A
DER ID | Zonal Locational | Market nodal information (p-node) |  |  |  | Y | Aggregator does not have access to this information
DER ID | Resource Descriptor | Meter information |  |  | Provided during registration process | Y | Difficult for the Aggregator to obtain
DER ID | Locational | Substation |  |  | Provided during registration process | Y | Difficult for the Aggregator to obtain
DER ID | Locational | Feeder/circuit |  |  | Provided during registration process | Y | Difficult for the Aggregator to obtain
DER ID | Resource Descriptor | Phase information |  |  | Provided during registration process | N/A | Difficult for the Aggregator to obtain
DER ID | Entity | Distribution Utility |  |  |  | Y
DER ID | Entity | relevant retail electric regulatory authority (RERRA) |  |  |  | Y
DER ID | Entity | State Public Service Commission
DER ID | Entity | Load Serving Entity |  |  |  | Y
DER ID | Locational | Balancing Area |  |  |  | Y
DER ID | Locational | Service delivery point [auxillary load drop point] |  |  |  | Y | Barrier for aggregator
DER ID | Resource Descriptor | Ownership of the resource (jointly owned or not) |  |  |  | Y
DER ID | Resource Descriptor | Operational characteristics of resources comprising aggregation |  |  |  | N/A
DER ID | Resource Descriptor | DER type |  |  |  | Y
DER ID | Resource Descriptor | Dispatchable energy resource (yes/no) |  |  |  | Y
DER ID | Resource Descriptor | Nameplate capacity of a DER (in megawatts or kilowatts) |  |  |  | Y
DER ID | Resource Descriptor | Battery technology |  |  |  | Y
DER ID | Resource Descriptor | Battery performance over time |  |  |  | Y
DER ID | Resource Descriptor | Available Energy and Available Storage (in MWh) |  |  |  | Y
DER ID | Resource Descriptor | State of Charge |  |  |  | Y
DER ID | Resource Descriptor | Maximum State of Charge |  |  |  | Y
DER ID | Resource Descriptor | Minimum State of Charge |  |  |  | Y
DER ID | Resource Descriptor | Maximum Charge Limit |  |  |  | Y
DER ID | Resource Descriptor | Maximum Discharge Limit |  |  |  | Y
DER ID | Resource Descriptor | Maximum Charge Rate |  |  |  | Y
DER ID | Resource Descriptor | Maximum Discharge Rate |  |  |  | Y
DER ID | Resource Descriptor | Minimum Charge Time |  |  |  | Y
DER ID | Resource Descriptor | Maximum Charge Time |  |  |  | Y
DER ID | Resource Descriptor | Minimum Run Time |  |  |  | Y
DER ID | Resource Descriptor | Maximum Run Time |  |  |  | Y
DER ID | Resource Descriptor | Discharge Ramp Rate |  |  |  | Y
DER ID | Resource Descriptor | Charge Ramp Rate |  |  |  | Y
DER ID | Resource Descriptor | Minimum Discharge Limit |  |  |  | Y
DER ID | Resource Descriptor | Minimum Charge Limit |  |  |  | Y
DER ID | Resource Descriptor | Performance over time |  |  |  | N/A
DER ID | Resource Descriptor | Number/capacity of PV cells |  |  |  | N/A
DER ID | Resource Descriptor | Autotracking capability |  |  |  | N/A
DER ID | Resource Descriptor | Obstructions |  |  |  | Y
DER ID | Resource Descriptor | Number/capacity of turbines |  |  |  | Y
DER ID | Resource Descriptor | Demand reduction capability |  |  |  | Y