## Data Fields
*REQUIRED DATA
Data Source: | Field Description | Notes | Req'd for Agg
Owner/Site Information
Registry | Premise Unique ID
Registry | Created (Date Created)
Site Owner | Full Name (As it appears on utility bill) |  | *
Site Owner | Address 1 (As it appears on utility bill) |  | *
Site Owner | Address 2 (As it appears on utility bill) |  | *
Site Owner | City |  | *
Site Owner | State |  | *
Site Owner | Zip |  | *
Site Owner | Phone Number (primary) | Add field for is mobile or can receive text | *
Site Owner | Phone Number (secondary) | Add field for is mobile or can receive text | *
Site Owner | Email | Add field for is confirmed | *
Registry(GIS) | Geospatial Coordinates |  | *
Site Owner | Utility Account Number |  | *
Site Owner | Want info from equip mfg? | Opt-in by customer if they would like updates on their equipment if manufacturer releases info
Registry | Aggregate DER Unique ID for premise
Site Owner | Data privacy agreement acknowledgement (Required prior to sharing data - Example Utility or State privacy agreement or ISO Market participation agreement) | Executed Agreement stays with site. Can be required to update with change in policy. | *
Assignments
Site Owner | DSO (Distribution Utility Service Provider) | From Authorized Drop Down | *
Site Owner | Aggregator | From Authorized Drop Down | *
Site Owner | DR Aggregator | From Authorized Drop Down | *
Aggregator | TSO | From Authorized Drop Down | *
Aggregator | ISO | From Authorized Drop Down | *
Aggregator | Scheduling Coordinator | From Authorized Drop Down | *
Aggregator | Competative Retail Supplier | From Authorized Drop Down | *
Endorsements
Aggregator | Certifies resource would not negatively affect critical care/load | If applicable | *
Aggregator | Certifies Premise meets required telemetry requirements | If applicable | *
Aggregator | Total Controllable Capacity of Premise (kW) Site |  | *
Aggregator | Maximum Injection Capacity at Premise (kW) Site |  | *
Aggregator | Maximum Withrawal Capacity at Premise (kW) Site |  | *
Inverter
Site Owner or Agent | Manufacturer | From pick list or free form entry with validation | *
Site Owner or Agent | Serial Number | From pick list or free form entry with validation | *
Aggregator | Max Injection Capacity (kW) |  | *
Aggregator | Max Withdrawal Capacity (kW) |  | *
Distributed Generator
Site Owner or Agent | Manufacturer | From pick list or free form entry with validation | *
Site Owner or Agent | Serial Number | From pick list or free form entry with validation | *
Aggregator | Max Injection Capacity (kW) |  | *
Aggregator | Synchronous or Non-Synchronous |  | *
Solar Disconnect
Site Owner or Agent | Manufacturer | From pick list or free form entry with validation | *
Site Owner or Agent | Serial Number | From pick list or free form entry with validation | *
Solar Array
Site Owner or Agent | Manufacturer | From pick list or free form entry with validation | *
Site Owner or Agent | Serial Number | From pick list or free form entry with validation | *
Aggregator | Max Injection Capacity (kW) |  | *
Battery
Site Owner or Agent | Manufacturer | From pick list or free form entry with validation | *
Site Owner or Agent | Serial Number | From pick list or free form entry with validation | *
Aggregator | Max Injection Capacity (kW) |  | *
Aggregator | Max Withdrawal Capacity (kW) |  | *
EV
Site Owner or Agent | VIN
Aggregator | Max Injection Capacity (kW) |  | *
Aggregator | Max Withdrawal Capacity (kW) |  | *
EV Charger
Site Owner or Agent | Manufacturer | From pick list or free form entry with validation | *
Site Owner or Agent | Serial Number | From pick list or free form entry with validation | *
Aggregator | Max Injection Capacity (kW) |  | *
Aggregator | Max Withdrawal Capacity (kW) |  | *
Wind
Site Owner or Agent | Manufacturer | From pick list or free form entry with validation | *
Site Owner or Agent | Serial Number | From pick list or free form entry with validation | *
Aggregator | Max Injection Capacity (kW) |  | *
Demand Response
Aggregator | Total Site Demand Response Capacity (kW) |  | *
DSO INFO
DSO* | Meter ID |  | *
DSO* | Current Tariff |  | *
DSO* | Phase on System
DSO* | Distribution Point of Connection
DSO* | Load Serving Transformer
DSO | Feeder Id
DSO* | Substation Name
DSO | Intermediate Feeder | If applicable
DSO | Intermediate Substation Transformer Name | If applicable
DSO | Intermediate Substation Name | If applicable
DSO* | Transmission Point of Interconnection |  | *
DSO* | Premise is Designated Critical Care or Critical Load? |  | *
DSO* | Attach approved Interconnection Agreement
DSO* | Attach insurance information | If applicable
DSO | R-DER DER MW on Feeder | Future if required by NERC
DSO | R-DER DER MVar on Feeder | Future if required by NERC
DSO | Distribution System equivalent feeder impedance | Future if required by NERC
DSO | U-DER Reactive power-voltage operating mode | Future if required by NERC
DSO | U-DER Tie-Line or dedicated feeder impedance | Future if required by NERC
DSO | U-DER shunt compensation with the facility | Future if required by NERC
ISO/TSO INFO
ISO | Transmission Point of Interconnection | May be different name than utility name | *
ISO | ISO/Transmission Meter ID |  | *
Aggregator | Node/Load Zone |  | *
Aggregator | Sub Node/Sub Load Zone |  | *

## Aggregations and Enrollments
Sched Coord | Comp Retail Supplier | Aggregator | Regulatory Authority | ISO/RTO | TSO | Data Source: | Field Description | Notes
AGGREGATION INFO
R | R | R | R | R | R | Aggregator* | Pick Premises to add to aggregation
[6 empty] | Aggregator* | Aggregrator ID
[6 empty] | Aggregator* | Utility Unique Name of Aggregation
R | R | R | R | R | R | Aggregator* | ISO Unique Name of Aggregation
R | R | R | R | R | R | Registry | Unique Identifier for Aggregation
[6 empty] | Aggregator* | Capacity of Aggregation being registered (kW)
[6 empty] | Aggregator* | Energy of Aggregation being registered (kWh)
R | R | R | R | R | R | Aggregator* | Date Requested to start participation
R | R | R | R | R | R | Aggregator* | Date Requested to end participation
R | R | R | R | R | R | Aggregator* | Who is Scheduling Coordinator for aggregation
[6 empty] | Aggregator* | Pick Utility Progam to Enroll Aggregation | Conflict Check with Tariff
[6 empty] | Aggregator* | Pick ISO Market Product to Enroll Aggregation | Conflict Check with Utility Program
Note: Other fields may be required by Utility or ISO
[6 empty] | DSO | Verify Progam enrolled into
[6 empty] | ISO | Verify Load Zone entered by Aggregator
R |  | R | R | R | R | ISO | Approve Aggregation Capacity Value (kW)
[6 empty] | ISO | Verify Market Program entered by Aggregator
SAMPLE PROCESS OF APPROVAL
Note: Approval Chain is dynamic and other actors can be added - This is just a sample. Each step can require a time period for required approval and can default to approved if no action taken.
R | R | R | R | R | R | REP | Accept/Reject Premise
R | R | R | R | R | R | REP | Reject Reason
R | R | R | R | R | R | Registry | Date Approved or Rejected
R | R | R | R | R | R | DSO | Accept/Reject Premise
R | R | R | R | R | R | DSO | Reject Reason(s)
R | R | R | R | R | R | Registry | Date Accepted/Rejected
R | R | R | R | R | R | DSO | Accept or Reject AGGREGATION
R | R | R | R | R | R | DSO | Reject Reason(s)
R | R | R | R | R | R | Registry | Date AGGREGATION Accepted/Rejected
R | R | R | R | R | R | DSO | Date to be entered into program
R | R | R | R | R | R | DSO | Date to be removed from program
R | R | R | R | R | R | TSO | Accept or Reject AGGREGATION
R | R | R | R | R | R | TSO | Reject Reason(s)
R | R | R | R | R | R | Registry | Date AGGREGATION Accepted/Rejected
R | R | R | R | R | R | SC | Accept or Reject AGGREGATION
R | R | R | R | R | R | SC | Reject Reason(s)
R | R | R | R | R | R | Registry | Date AGGREGATION Accepted/Rejected
R | R | R | R | R | R | ISO | Accept or Reject AGGREGATION
R | R | R | R | R | R | ISO | Reject Reason(s)
R | R | R | R | R | R | Registry | Date Aggregation Accepted/Rejected
R | R | R | R | R | R | ISO | Dispatch ID
R | R | R | R | R | R | ISO | Date to be entered into product
R | R | R | R | R | R | ISO | Date to be removed from product